## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3985-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3985-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3985-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3985-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3985-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3985-5_0_3_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_3985-5_0_3_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_3985-5_0_3_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_3985-5_0_3_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_3985-5_0_3_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_3985-5_0_3_node_80 | 0.4 | n |  | TRUE
11 | bus_LV_3985-5_0_3_node_82 | 0.4 | n |  | TRUE
12 | bus_LV_3985-5_0_3_node_83 | 0.4 | n |  | TRUE
13 | bus_LV_3985-5_0_3_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_3985-5_0_3_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_3985-5_0_3_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_3985-5_0_3_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_3985-5_0_3_node_5 | 0.4 | n |  | TRUE
18 | bus_LV_3985-5_0_3_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_3985-5_0_3_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_3985-5_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_3985-5_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_3985-5_0_3_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_3985-5_0_3_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_3985-5_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_3985-5_0_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_3985-5_0_3_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_3985-5_0_3_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_3985-5_0_3_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_3985-5_0_3_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_3985-5_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_3985-5_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_3985-5_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_3985-5_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_3985-5_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_3985-5_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3985-5_0_3_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_3985-5_0_3_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_3985-5_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3985-5_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_3985-5_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_3985-5_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_3985-5_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_3985-5_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_3985-5_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3985-5_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_3985-5_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_3985-5_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_3985-5_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_3985-5_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_3985-5_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_3985-5_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_3985-5_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_3985-5_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_3985-5_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_3985-5_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_3985-5_0_3_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_3985-5_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_3985-5_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_3985-5_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_3985-5_0_3_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_3985-5_0_3_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_3985-5_0_3_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_3985-5_0_3_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_3985-5_0_3_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_3985-5_0_3_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_3985-5_0_3_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_3985-5_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_3985-5_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_3985-5_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_3985-5_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_3985-5_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_3985-5_0_3_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_3985-5_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_3985-5_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3985-5_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_3985-5_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_3985-5_0_3_node_43 | 0.4 | n |  | TRUE
78 | bus_LV_3985-5_0_3_node_44 | 0.4 | n |  | TRUE
79 | bus_LV_3985-5_0_3_node_45 | 0.4 | n |  | TRUE
80 | bus_MV_180_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3985-5_0_3_load_0 | 0 | 0.002814 | 0.00070525 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3985-5_0_3_load_1 | 1 | 0.0024354 | 0.00061036 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3985-5_0_3_load_2 | 2 | 0.0019006 | 0.00047634 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3985-5_0_3_load_4 | 4 | 0.0011293 | 0.00028303 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3985-5_0_3_load_39 | 5 | 0.0056578 | 0.001418 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3985-5_0_3_load_40 | 6 | 0.00080603 | 0.00020201 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3985-5_0_3_load_50 | 8 | 0.00096902 | 0.00024286 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3985-5_0_3_load_81 | 9 | 0.0014831 | 0.00037171 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3985-5_0_3_load_80 | 10 | 0.00084854 | 0.00021266 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3985-5_0_3_load_82 | 11 | 0.0027511 | 0.00068949 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3985-5_0_3_load_83 | 12 | 0.0017925 | 0.00044925 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3985-5_0_3_load_77 | 13 | 0.0035296 | 0.00088459 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3985-5_0_3_load_70 | 14 | 0.00087769 | 0.00021997 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3985-5_0_3_load_42 | 15 | 0.028253 | 0.0070808 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3985-5_0_3_load_48 | 16 | 0.00044438 | 0.00011137 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3985-5_0_3_load_5 | 17 | 0.0010645 | 0.0002668 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3985-5_0_3_load_6 | 18 | 0.00044769 | 0.0001122 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3985-5_0_3_load_7 | 19 | 0.0018131 | 0.00045441 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3985-5_0_3_load_8 | 20 | 0.0011778 | 0.0002952 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3985-5_0_3_load_9 | 21 | 0.0010797 | 0.0002706 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3985-5_0_3_load_28 | 22 | 0.00081583 | 0.00020447 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3985-5_0_3_load_47 | 23 | 0.00087649 | 0.00021967 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3985-5_0_3_load_46 | 25 | 0.00095608 | 0.00023962 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3985-5_0_3_load_10 | 26 | 0.00039253 | 9.8377e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3985-5_0_3_load_11 | 27 | 0.00037395 | 9.372e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3985-5_0_3_load_12 | 28 | 0.00033963 | 8.5118e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3985-5_0_3_load_13 | 29 | 0.00043461 | 0.00010892 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3985-5_0_3_load_14 | 30 | 0.00035472 | 8.8901e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3985-5_0_3_load_15 | 31 | 0.00054321 | 0.00013614 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3985-5_0_3_load_20 | 33 | 0.00031508 | 7.8967e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3985-5_0_3_load_17 | 34 | 0.00035168 | 8.814e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3985-5_0_3_load_26 | 35 | 0.00025692 | 6.4391e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3985-5_0_3_load_18 | 36 | 0.0004492 | 0.00011258 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3985-5_0_3_load_19 | 37 | 0.00032418 | 8.1247e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3985-5_0_3_load_27 | 38 | 0.00033515 | 8.3998e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3985-5_0_3_load_21 | 39 | 0.00052968 | 0.00013275 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3985-5_0_3_load_22 | 40 | 0.00045338 | 0.00011363 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3985-5_0_3_load_23 | 41 | 0.00025601 | 6.4163e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3985-5_0_3_load_24 | 42 | 0.00047117 | 0.00011809 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3985-5_0_3_load_31 | 43 | 0.00051651 | 0.00012945 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3985-5_0_3_load_32 | 44 | 0.0002983 | 7.476e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3985-5_0_3_load_29 | 45 | 0.00088479 | 0.00022175 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3985-5_0_3_load_30 | 46 | 0.00080024 | 0.00020056 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3985-5_0_3_load_33 | 47 | 0.00069721 | 0.00017474 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3985-5_0_3_load_37 | 48 | 0.00059454 | 0.00014901 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3985-5_0_3_load_38 | 50 | 0.00066375 | 0.00016635 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3985-5_0_3_load_34 | 51 | 0.00037693 | 9.4467e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3985-5_0_3_load_35 | 52 | 0.00035358 | 8.8614e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3985-5_0_3_load_51 | 53 | 0.0075985 | 0.0019044 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3985-5_0_3_load_52 | 54 | 0.0064204 | 0.0016091 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3985-5_0_3_load_58 | 56 | 0.008568 | 0.0021473 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3985-5_0_3_load_55 | 57 | 0.0011461 | 0.00028725 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3985-5_0_3_load_56 | 58 | 0.0010844 | 0.00027177 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3985-5_0_3_load_57 | 59 | 0.0011696 | 0.00029313 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3985-5_0_3_load_72 | 61 | 0.008801 | 0.0022058 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3985-5_0_3_load_73 | 62 | 0.0062046 | 0.001555 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3985-5_0_3_load_74 | 63 | 0.0010317 | 0.00025857 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3985-5_0_3_load_75 | 65 | 0.0010391 | 0.00026043 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3985-5_0_3_load_76 | 66 | 0.00061661 | 0.00015454 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3985-5_0_3_load_54 | 67 | 0.0098047 | 0.0024573 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3985-5_0_3_load_59 | 68 | 0.011984 | 0.0030035 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3985-5_0_3_load_62 | 69 | 0.0057453 | 0.0014399 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3985-5_0_3_load_64 | 70 | 0.014016 | 0.0035127 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3985-5_0_3_load_63 | 71 | 0.0059376 | 0.0014881 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3985-5_0_3_load_66 | 72 | 0.025103 | 0.0062914 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3985-5_0_3_load_67 | 73 | 0.016226 | 0.0040665 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3985-5_0_3_load_68 | 74 | 0.0022789 | 0.00057115 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3985-5_0_3_load_71 | 76 | 0.0019497 | 0.00048865 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3985-5_0_3_load_43 | 77 | 0.00041288 | 0.00010348 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3985-5_0_3_load_44 | 78 | 0.00082395 | 0.0002065 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3985-5_0_3_load_45 | 79 | 0.0007207 | 0.00018063 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3985-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0044556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3985-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3985-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0060057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3985-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3985-5_0_3_line_4 | NAYY 4x150 SE | 3 | 9 | 0.005703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3985-5_0_3_line_5 | NAYY 4x150 SE | 3 | 10 | 0.032481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3985-5_0_3_line_6 | NAYY 4x150 SE | 4 | 11 | 0.0074706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3985-5_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.068249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3985-5_0_3_line_8 | NAYY 4x150 SE | 5 | 7 | 0.1159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3985-5_0_3_line_9 | NAYY 4x150 SE | 5 | 8 | 0.16945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_3985-5_0_3_line_10 | NAYY 4x150 SE | 6 | 49 | 0.13581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3985-5_0_3_line_11 | NAYY 4x150 SE | 7 | 15 | 0.043813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_3985-5_0_3_line_12 | NAYY 4x150 SE | 7 | 16 | 0.16566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3985-5_0_3_line_13 | NAYY 4x150 SE | 8 | 53 | 0.0072034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3985-5_0_3_line_14 | NAYY 4x150 SE | 8 | 54 | 0.047984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3985-5_0_3_line_15 | NAYY 4x150 SE | 9 | 12 | 0.0083335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3985-5_0_3_line_16 | NAYY 4x150 SE | 10 | 13 | 0.0062214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3985-5_0_3_line_17 | NAYY 4x150 SE | 11 | 14 | 0.0032167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3985-5_0_3_line_18 | NAYY 4x150 SE | 13 | 65 | 0.0038278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3985-5_0_3_line_19 | NAYY 4x150 SE | 14 | 75 | 0.020819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3985-5_0_3_line_20 | NAYY 4x150 SE | 16 | 50 | 0.026369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_3985-5_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.0079111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_3985-5_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.074977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3985-5_0_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.032889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3985-5_0_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.012181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_3985-5_0_3_line_25 | NAYY 4x150 SE | 20 | 22 | 0.025698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_3985-5_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.016123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3985-5_0_3_line_27 | NAYY 4x150 SE | 22 | 24 | 0.022009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3985-5_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.00031017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3985-5_0_3_line_29 | NAYY 4x150 SE | 24 | 38 | 0.02658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3985-5_0_3_line_30 | NAYY 4x150 SE | 24 | 41 | 0.026414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3985-5_0_3_line_31 | NAYY 4x150 SE | 25 | 79 | 0.016456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3985-5_0_3_line_32 | NAYY 4x150 SE | 26 | 27 | 0.0084286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3985-5_0_3_line_33 | NAYY 4x150 SE | 26 | 28 | 0.0056484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3985-5_0_3_line_34 | NAYY 4x150 SE | 27 | 29 | 0.023699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3985-5_0_3_line_35 | NAYY 4x150 SE | 29 | 30 | 0.037596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3985-5_0_3_line_36 | NAYY 4x150 SE | 30 | 31 | 0.01435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3985-5_0_3_line_37 | NAYY 4x150 SE | 31 | 32 | 0.033737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3985-5_0_3_line_38 | NAYY 4x150 SE | 32 | 33 | 0.03926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3985-5_0_3_line_39 | NAYY 4x150 SE | 32 | 34 | 0.0019344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3985-5_0_3_line_40 | NAYY 4x150 SE | 33 | 35 | 0.057434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3985-5_0_3_line_41 | NAYY 4x150 SE | 34 | 36 | 0.076962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3985-5_0_3_line_42 | NAYY 4x150 SE | 36 | 37 | 0.033958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3985-5_0_3_line_43 | NAYY 4x150 SE | 37 | 38 | 0.00010918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3985-5_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.029226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_3985-5_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.072357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3985-5_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.030603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_3985-5_0_3_line_47 | NAYY 4x150 SE | 42 | 43 | 0.13471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_3985-5_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.055055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3985-5_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.14125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_3985-5_0_3_line_50 | NAYY 4x150 SE | 45 | 46 | 0.089871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_3985-5_0_3_line_51 | NAYY 4x150 SE | 46 | 47 | 0.065882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3985-5_0_3_line_52 | NAYY 4x150 SE | 47 | 48 | 0.04962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3985-5_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.019421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3985-5_0_3_line_54 | NAYY 4x150 SE | 49 | 51 | 0.01929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3985-5_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.073225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3985-5_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.019082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_3985-5_0_3_line_57 | NAYY 4x150 SE | 54 | 67 | 0.031504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3985-5_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.044035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_3985-5_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.020396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3985-5_0_3_line_60 | NAYY 4x150 SE | 56 | 60 | 0.025951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_3985-5_0_3_line_61 | NAYY 4x150 SE | 57 | 58 | 0.00015929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3985-5_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.015788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3985-5_0_3_line_63 | NAYY 4x150 SE | 60 | 64 | 0.00889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_3985-5_0_3_line_64 | NAYY 4x150 SE | 60 | 69 | 0.0033065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3985-5_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.00046015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3985-5_0_3_line_66 | NAYY 4x150 SE | 61 | 63 | 0.017539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_3985-5_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.014304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_3985-5_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.028846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_3985-5_0_3_line_69 | NAYY 4x150 SE | 64 | 66 | 0.038625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3985-5_0_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.018065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3985-5_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.010346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3985-5_0_3_line_72 | NAYY 4x150 SE | 70 | 71 | 0.039327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3985-5_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0042277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3985-5_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.005682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3985-5_0_3_line_75 | NAYY 4x150 SE | 73 | 75 | 0.02882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3985-5_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.002066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3985-5_0_3_line_77 | NAYY 4x150 SE | 77 | 78 | 0.015605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_3985-5_0_3_line_78 | NAYY 4x150 SE | 78 | 79 | 0.0014008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3985-5_0_3_trafo_52 | 0.25 MVA 20/0.4 kV | 80 | 54 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2713314.54 | 1175673.1424 | 2713318.9921 | 1175672.9646
1 | 2713314.54 | 1175673.1424 | 2713303.1058 | 1175673.5991
2 | 2713324.9929 | 1175672.7249 | 2713318.9921 | 1175672.9646
3 | 2713303.1058 | 1175673.5991 | 2713298.9145 | 1175673.7665 | 2713288.5953 | 1175673.6347
4 | 2713324.9929 | 1175672.7249 | 2713330.2713 | 1175673.0025 | 2713330.6838 | 1175673.0655
5 | 2713324.9929 | 1175672.7249 | 2713326.2405 | 1175677.5184 | 2713327.2394 | 1175679.2829 | 2713329.4374 | 1175680.7143 | 2713338.097 | 1175685.3588 | 2713340.0841 | 1175689.4546 | 2713335.6796 | 1175696.7226
6 | 2713281.1253 | 1175673.5393 | 2713288.5953 | 1175673.6347
7 | 2713287.9551 | 1175997.6558 | 2713354.0976 | 1176014.4815
8 | 2713174.6851 | 1175973.1264 | 2713287.9551 | 1175997.6558
9 | 2713287.9551 | 1175997.6558 | 2713298.1624 | 1175828.5134
10 | 2713485.7136 | 1176047.9628 | 2713354.0976 | 1176014.4815
11 | 2713174.6851 | 1175973.1264 | 2713152.8909 | 1175968.4344 | 2713132.0167 | 1175963.2039
12 | 2713174.6851 | 1175973.1264 | 2713141.8341 | 1176135.4931
13 | 2713298.1624 | 1175828.5134 | 2713299.8539 | 1175826.3994 | 2713301.0699 | 1175823.9541 | 2713301.5902 | 1175822.2675
14 | 2713298.1624 | 1175828.5134 | 2713298.1624 | 1175828.5134 | 2713295.5194 | 1175830.3981 | 2713291.9121 | 1175831.9311 | 2713288.3971 | 1175832.6207 | 2713284.4451 | 1175831.7566 | 2713281.1785 | 1175830.2273 | 2713278.3089 | 1175827.5157 | 2713271.0932 | 1175812.0134 | 2713268.7234 | 1175808.3439 | 2713267.1053 | 1175806.1674 | 2713265.9168 | 1175805.3254
15 | 2713338.9151 | 1175674.3604 | 2713338.2464 | 1175674.2206 | 2713330.6838 | 1175673.0655
16 | 2713335.6796 | 1175696.7226 | 2713334.4016 | 1175698.8315 | 2713331.0494 | 1175700.5244
17 | 2713281.1253 | 1175673.5393 | 2713277.9089 | 1175673.4982
18 | 2713327.5428 | 1175702.0425 | 2713329.3295 | 1175701.393 | 2713331.0494 | 1175700.5244
19 | 2713257.0914 | 1175673.2322 | 2713277.9089 | 1175673.4982
20 | 2713166.2631 | 1176145.3976 | 2713148.8121 | 1176137.9953 | 2713141.8341 | 1176135.4931
21 | 2713246.23 | 1176406.5005 | 2713253.8103 | 1176408.7643
22 | 2713246.23 | 1176406.5005 | 2713224.6259 | 1176400.0486 | 2713220.8953 | 1176399.2221 | 2713216.9187 | 1176398.8691 | 2713194.3713 | 1176397.7095 | 2713188.5077 | 1176396.8761 | 2713182.5372 | 1176395.6293 | 2713177.5205 | 1176394.0781 | 2713173.2301 | 1176392.0022
23 | 2713253.8103 | 1176408.7643 | 2713285.3243 | 1176418.1756
24 | 2713173.2301 | 1176392.0022 | 2713162.2651 | 1176386.6966
25 | 2713310.6128 | 1176420.973 | 2713299.4179 | 1176421.2527 | 2713296.0564 | 1176421.1224 | 2713292.8281 | 1176420.4166 | 2713285.3243 | 1176418.1756
26 | 2713162.2651 | 1176386.6966 | 2713147.7518 | 1176379.6742
27 | 2713332.6146 | 1176420.4235 | 2713310.6128 | 1176420.973
28 | 2713147.7518 | 1176379.6742 | 2713147.4726 | 1176379.5391
29 | 2713332.6146 | 1176420.4235 | 2713334.9764 | 1176422.4806 | 2713337.7106 | 1176423.8443 | 2713340.7109 | 1176424.4792 | 2713347.139 | 1176424.5673 | 2713357.9924 | 1176425.5458
30 | 2713332.6146 | 1176420.4235 | 2713359.0149 | 1176419.579
31 | 2713132.627 | 1176372.4457 | 2713133.5706 | 1176372.8125 | 2713147.4726 | 1176379.5391
32 | 2713577.4644 | 1176461.7187 | 2713569.675 | 1176464.9385
33 | 2713577.4644 | 1176461.7187 | 2713579.8912 | 1176460.7156 | 2713582.7957 | 1176459.8794
34 | 2713546.1124 | 1176465.3721 | 2713563.363 | 1176465.9063 | 2713568.3173 | 1176465.4998 | 2713569.675 | 1176464.9385
35 | 2713515.41 | 1176447.1925 | 2713518.3151 | 1176448.2195 | 2713522.3518 | 1176450.642 | 2713525.7235 | 1176453.4633 | 2713533.7045 | 1176463.1987 | 2713535.9735 | 1176464.4981 | 2713539.3325 | 1176465.1621 | 2713546.1124 | 1176465.3721
36 | 2713515.41 | 1176447.1925 | 2713509.3763 | 1176445.0594 | 2713504.5814 | 1176443.9123 | 2713501.5751 | 1176443.6263
37 | 2713467.8991 | 1176445.5196 | 2713500.9335 | 1176443.5653 | 2713501.5751 | 1176443.6263
38 | 2713467.8991 | 1176445.5196 | 2713463.1839 | 1176448.2434 | 2713445.5237 | 1176454.2692 | 2713433.3225 | 1176463.257
39 | 2713467.8991 | 1176445.5196 | 2713465.968 | 1176445.6325
40 | 2713433.3225 | 1176463.257 | 2713403.3919 | 1176485.3051 | 2713385.6067 | 1176495.0081
41 | 2713391.8549 | 1176429.2712 | 2713393.9959 | 1176429.5116 | 2713413.4673 | 1176432.4149 | 2713423.9425 | 1176434.3809 | 2713429.4297 | 1176435.7078 | 2713433.17 | 1176437.2351 | 2713446.7445 | 1176444.2966 | 2713449.6827 | 1176445.3862 | 2713453.3343 | 1176445.9445 | 2713458.416 | 1176446.074 | 2713465.968 | 1176445.6325
42 | 2713391.8549 | 1176429.2712 | 2713361.4955 | 1176425.8617 | 2713358.1011 | 1176425.5556
43 | 2713358.1011 | 1176425.5556 | 2713357.9924 | 1176425.5458
44 | 2713460.2623 | 1176413.7465 | 2713455.6803 | 1176414.8899 | 2713448.6072 | 1176416.157 | 2713440.3117 | 1176416.9785 | 2713431.3347 | 1176417.2657
45 | 2713359.0149 | 1176419.579 | 2713431.3347 | 1176417.2657
46 | 2713460.2623 | 1176413.7465 | 2713462.5554 | 1176413.1743 | 2713470.6739 | 1176409.9923 | 2713488.1607 | 1176401.3184
47 | 2713488.1607 | 1176401.3184 | 2713508.3375 | 1176268.1297
48 | 2713508.3375 | 1176268.1297 | 2713561.9011 | 1176280.8559
49 | 2713508.3375 | 1176268.1297 | 2713378.1974 | 1176213.2292
50 | 2713378.1974 | 1176213.2292 | 2713367.9148 | 1176210.8806 | 2713352.7818 | 1176206.5473 | 2713338.3962 | 1176200.6938 | 2713312.993 | 1176187.972 | 2713295.2106 | 1176179.6325
51 | 2713295.2106 | 1176179.6325 | 2713290.7349 | 1176177.5335 | 2713283.524 | 1176175.5627 | 2713274.3964 | 1176173.867 | 2713233.7077 | 1176170.9415 | 2713230.3832 | 1176170.303
52 | 2713230.3832 | 1176170.303 | 2713222.1511 | 1176168.7219 | 2713210.1447 | 1176165.2152 | 2713183.9833 | 1176153.3432
53 | 2713166.2631 | 1176145.3976 | 2713169.4965 | 1176146.7692 | 2713183.9833 | 1176153.3432
54 | 2713485.7136 | 1176047.9628 | 2713504.5822 | 1176051.9753
55 | 2713504.5822 | 1176051.9753 | 2713521.7565 | 1176055.6275 | 2713542.4495 | 1176059.4883 | 2713569.8512 | 1176063.5875 | 2713576.7186 | 1176064.3525
56 | 2713301.4553 | 1175803.5586 | 2713303.1126 | 1175810.539 | 2713303.1063 | 1175815.7314 | 2713302.0962 | 1175820.6267 | 2713301.5902 | 1175822.2675
57 | 2713265.9168 | 1175805.3254 | 2713264.3965 | 1175804.2483 | 2713261.5041 | 1175803.1485 | 2713250.7517 | 1175801.2221 | 2713241.0807 | 1175799.5273 | 2713235.6099 | 1175797.588
58 | 2713301.4553 | 1175803.5586 | 2713297.3876 | 1175799.1009 | 2713296.2926 | 1175797.5681 | 2713295.2002 | 1175795.4905 | 2713282.9885 | 1175764.0065
59 | 2713301.4553 | 1175803.5586 | 2713321.8465 | 1175804.0063
60 | 2713273.6039 | 1175739.8115 | 2713282.9885 | 1175764.0065
61 | 2713321.8465 | 1175804.0063 | 2713322.0058 | 1175804.0098
62 | 2713337.7902 | 1175804.3564 | 2713322.0058 | 1175804.0098
63 | 2713273.6039 | 1175739.8115 | 2713282.4907 | 1175740.5242
64 | 2713273.6039 | 1175739.8115 | 2713270.3194 | 1175739.4302
65 | 2713289.9578 | 1175728.0557 | 2713289.6634 | 1175728.4093
66 | 2713289.9578 | 1175728.0557 | 2713293.7386 | 1175723.5138 | 2713302.9009 | 1175716.3512
67 | 2713282.4907 | 1175740.5242 | 2713284.6082 | 1175734.4823 | 2713289.6634 | 1175728.4093
68 | 2713302.9009 | 1175716.3512 | 2713315.6942 | 1175706.35 | 2713327.5428 | 1175702.0425
69 | 2713282.4907 | 1175740.5242 | 2713297.3796 | 1175743.2738 | 2713302.2809 | 1175744.8897 | 2713307.4559 | 1175746.9888 | 2713318.7838 | 1175752.8156
70 | 2713235.6099 | 1175797.588 | 2713218.5831 | 1175791.5526
71 | 2713270.3194 | 1175739.4302 | 2713260.0424 | 1175738.237
72 | 2713222.759 | 1175744.4399 | 2713228.1818 | 1175740.7994 | 2713232.5833 | 1175738.5142 | 2713235.8617 | 1175737.3976 | 2713239.4705 | 1175736.5984 | 2713242.7238 | 1175736.4042 | 2713247.2973 | 1175736.7574 | 2713260.0424 | 1175738.237
73 | 2713229.401 | 1175690.3992 | 2713231.3286 | 1175689.9575 | 2713232.7679 | 1175689.0507 | 2713233.1298 | 1175688.6378
74 | 2713229.401 | 1175690.3992 | 2713229.401 | 1175690.3992 | 2713223.7562 | 1175689.7498
75 | 2713257.0914 | 1175673.2322 | 2713240.0354 | 1175681.983 | 2713237.1676 | 1175684.0303 | 2713233.1298 | 1175688.6378
76 | 2713257.0914 | 1175673.2322 | 2713255.0258 | 1175673.1932
77 | 2713116.278 | 1176367.9243 | 2713127.3774 | 1176370.4052 | 2713131.3214 | 1176371.9383
78 | 2713131.3214 | 1176371.9383 | 2713132.627 | 1176372.4457

## bus_geodata
| x | y | coords
0 | 2713314.54 | 1175673.1424
1 | 2713318.9921 | 1175672.9646
2 | 2713303.1058 | 1175673.5991
3 | 2713324.9929 | 1175672.7249
4 | 2713288.5953 | 1175673.6347
5 | 2713287.9551 | 1175997.6558
6 | 2713354.0976 | 1176014.4815
7 | 2713174.6851 | 1175973.1264
8 | 2713298.1624 | 1175828.5134
9 | 2713330.6838 | 1175673.0655
10 | 2713335.6796 | 1175696.7226
11 | 2713281.1253 | 1175673.5393
12 | 2713338.9151 | 1175674.3604
13 | 2713331.0494 | 1175700.5244
14 | 2713277.9089 | 1175673.4982
15 | 2713132.0167 | 1175963.2039
16 | 2713141.8341 | 1176135.4931
17 | 2713246.23 | 1176406.5005
18 | 2713253.8103 | 1176408.7643
19 | 2713173.2301 | 1176392.0022
20 | 2713285.3243 | 1176418.1756
21 | 2713162.2651 | 1176386.6966
22 | 2713310.6128 | 1176420.973
23 | 2713147.7518 | 1176379.6742
24 | 2713332.6146 | 1176420.4235
25 | 2713147.4726 | 1176379.5391
26 | 2713577.4644 | 1176461.7187
27 | 2713569.675 | 1176464.9385
28 | 2713582.7957 | 1176459.8794
29 | 2713546.1124 | 1176465.3721
30 | 2713515.41 | 1176447.1925
31 | 2713501.5751 | 1176443.6263
32 | 2713467.8991 | 1176445.5196
33 | 2713433.3225 | 1176463.257
34 | 2713465.968 | 1176445.6325
35 | 2713385.6067 | 1176495.0081
36 | 2713391.8549 | 1176429.2712
37 | 2713358.1011 | 1176425.5556
38 | 2713357.9924 | 1176425.5458
39 | 2713431.3347 | 1176417.2657
40 | 2713460.2623 | 1176413.7465
41 | 2713359.0149 | 1176419.579
42 | 2713488.1607 | 1176401.3184
43 | 2713508.3375 | 1176268.1297
44 | 2713561.9011 | 1176280.8559
45 | 2713378.1974 | 1176213.2292
46 | 2713295.2106 | 1176179.6325
47 | 2713230.3832 | 1176170.303
48 | 2713183.9833 | 1176153.3432
49 | 2713485.7136 | 1176047.9628
50 | 2713166.2631 | 1176145.3976
51 | 2713504.5822 | 1176051.9753
52 | 2713576.7186 | 1176064.3525
53 | 2713301.5902 | 1175822.2675
54 | 2713265.9168 | 1175805.3254
55 | 2713301.4553 | 1175803.5586
56 | 2713282.9885 | 1175764.0065
57 | 2713321.8465 | 1175804.0063
58 | 2713322.0058 | 1175804.0098
59 | 2713337.7902 | 1175804.3564
60 | 2713273.6039 | 1175739.8115
61 | 2713289.9578 | 1175728.0557
62 | 2713289.6634 | 1175728.4093
63 | 2713302.9009 | 1175716.3512
64 | 2713282.4907 | 1175740.5242
65 | 2713327.5428 | 1175702.0425
66 | 2713318.7838 | 1175752.8156
67 | 2713235.6099 | 1175797.5881
68 | 2713218.5831 | 1175791.5526
69 | 2713270.3194 | 1175739.4302
70 | 2713260.0424 | 1175738.237
71 | 2713222.759 | 1175744.4399
72 | 2713229.401 | 1175690.3992
73 | 2713233.1298 | 1175688.6378
74 | 2713223.7562 | 1175689.7498
75 | 2713257.0914 | 1175673.2322
76 | 2713255.0258 | 1175673.1932
77 | 2713116.278 | 1176367.9243
78 | 2713131.3214 | 1176371.9383
79 | 2713132.627 | 1176372.4457
80 | 2713218.4845 | 1175791.5177

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1