## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3985-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3985-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3985-6_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3985-6_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3985-6_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3985-6_0_2_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_3985-6_0_2_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_3985-6_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3985-6_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3985-6_0_2_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_3985-6_0_2_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_3985-6_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3985-6_0_2_node_95 | 0.4 | n |  | TRUE
13 | bus_LV_3985-6_0_2_node_92 | 0.4 | n |  | TRUE
14 | bus_LV_3985-6_0_2_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_3985-6_0_2_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_3985-6_0_2_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_3985-6_0_2_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_3985-6_0_2_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_3985-6_0_2_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_3985-6_0_2_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_3985-6_0_2_node_82 | 0.4 | n |  | TRUE
22 | bus_LV_3985-6_0_2_node_81 | 0.4 | n |  | TRUE
23 | bus_LV_3985-6_0_2_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_3985-6_0_2_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_3985-6_0_2_node_90 | 0.4 | n |  | TRUE
26 | bus_LV_3985-6_0_2_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_3985-6_0_2_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_3985-6_0_2_node_84 | 0.4 | n |  | TRUE
29 | bus_LV_3985-6_0_2_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_3985-6_0_2_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_3985-6_0_2_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_3985-6_0_2_node_77 | 0.4 | n |  | TRUE
33 | bus_LV_3985-6_0_2_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_3985-6_0_2_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_3985-6_0_2_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_3985-6_0_2_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_3985-6_0_2_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_3985-6_0_2_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_3985-6_0_2_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_3985-6_0_2_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_3985-6_0_2_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_3985-6_0_2_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_3985-6_0_2_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_3985-6_0_2_node_97 | 0.4 | n |  | TRUE
45 | bus_MV_179_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3985-6_0_2_load_0 | 0 | 0.014319 | 0.0035887 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3985-6_0_2_load_1 | 1 | 0.0026918 | 0.00067462 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3985-6_0_2_load_4 | 4 | 0.0026917 | 0.0006746 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3985-6_0_2_load_73 | 6 | 0.0030559 | 0.00076588 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3985-6_0_2_load_74 | 10 | 0.0036481 | 0.00091429 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3985-6_0_2_load_95 | 12 | 0.0025302 | 0.00063413 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3985-6_0_2_load_92 | 13 | 0.0030203 | 0.00075697 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3985-6_0_2_load_24 | 14 | 0.0027046 | 0.00067785 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3985-6_0_2_load_25 | 15 | 0.0040316 | 0.0010104 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3985-6_0_2_load_28 | 18 | 0.0027684 | 0.00069382 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3985-6_0_2_load_29 | 19 | 0.0051687 | 0.0012954 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3985-6_0_2_load_85 | 20 | 0.0030686 | 0.00076906 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3985-6_0_2_load_82 | 21 | 0.0033597 | 0.00084202 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3985-6_0_2_load_81 | 22 | 0.0044691 | 0.0011201 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3985-6_0_2_load_30 | 23 | 0.0011602 | 0.00029079 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3985-6_0_2_load_31 | 24 | 0.00099528 | 0.00024944 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3985-6_0_2_load_90 | 25 | 0.0033098 | 0.00082951 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3985-6_0_2_load_68 | 26 | 0.0012784 | 0.00032041 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3985-6_0_2_load_71 | 27 | 0.0030057 | 0.0007533 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3985-6_0_2_load_84 | 28 | 0.0049199 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3985-6_0_2_load_75 | 29 | 0.003537 | 0.00088645 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3985-6_0_2_load_76 | 30 | 0.0023111 | 0.00057921 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3985-6_0_2_load_80 | 31 | 0.0032002 | 0.00080204 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3985-6_0_2_load_77 | 32 | 0.0015473 | 0.00038778 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3985-6_0_2_load_91 | 34 | 0.0022839 | 0.0005724 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3985-6_0_2_load_89 | 35 | 0.0028638 | 0.00071775 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3985-6_0_2_load_79 | 36 | 0.0021649 | 0.00054257 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3985-6_0_2_load_83 | 37 | 0.0046819 | 0.0011734 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3985-6_0_2_load_86 | 38 | 0.0031219 | 0.00078242 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3985-6_0_2_load_87 | 39 | 0.0032049 | 0.00080322 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3985-6_0_2_load_96 | 41 | 0.0016096 | 0.00040339 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3985-6_0_2_load_93 | 42 | 0.0027874 | 0.00069858 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3985-6_0_2_load_94 | 43 | 0.0021063 | 0.00052788 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3985-6_0_2_load_97 | 44 | 0.0014392 | 0.0003607 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3985-6_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0061574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3985-6_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.038048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3985-6_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.046425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3985-6_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.036627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3985-6_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.013897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3985-6_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.020666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3985-6_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.074137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3985-6_0_2_line_7 | NAYY 4x150 SE | 5 | 29 | 0.015826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3985-6_0_2_line_8 | NAYY 4x150 SE | 5 | 10 | 0.01251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3985-6_0_2_line_9 | NAYY 4x150 SE | 6 | 30 | 8.8053e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3985-6_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.039859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3985-6_0_2_line_11 | NAYY 4x150 SE | 8 | 9 | 0.006896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3985-6_0_2_line_12 | NAYY 4x150 SE | 8 | 10 | 0.091836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3985-6_0_2_line_13 | NAYY 4x150 SE | 9 | 26 | 0.082657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3985-6_0_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.012744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3985-6_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.03084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3985-6_0_2_line_16 | NAYY 4x150 SE | 13 | 42 | 0.0043465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3985-6_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.035149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3985-6_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.035871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3985-6_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.017103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3985-6_0_2_line_20 | NAYY 4x150 SE | 15 | 18 | 0.011935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3985-6_0_2_line_21 | NAYY 4x150 SE | 16 | 19 | 0.021031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3985-6_0_2_line_22 | NAYY 4x150 SE | 17 | 20 | 0.0078494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3985-6_0_2_line_23 | NAYY 4x150 SE | 17 | 21 | 0.028514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3985-6_0_2_line_24 | NAYY 4x150 SE | 18 | 22 | 0.0066912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3985-6_0_2_line_25 | NAYY 4x150 SE | 21 | 37 | 0.0067415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3985-6_0_2_line_26 | NAYY 4x150 SE | 22 | 36 | 0.03851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3985-6_0_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.032352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3985-6_0_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.081416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3985-6_0_2_line_29 | NAYY 4x150 SE | 25 | 40 | 0.071541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3985-6_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.015004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3985-6_0_2_line_31 | NAYY 4x150 SE | 28 | 37 | 0.018865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3985-6_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0096619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3985-6_0_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.028293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3985-6_0_2_line_34 | NAYY 4x150 SE | 31 | 36 | 0.0029806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3985-6_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.013309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3985-6_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.033251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3985-6_0_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.016518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3985-6_0_2_line_38 | NAYY 4x150 SE | 34 | 41 | 0.063904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3985-6_0_2_line_39 | NAYY 4x150 SE | 35 | 40 | 0.038427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3985-6_0_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.015727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3985-6_0_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.015976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3985-6_0_2_line_42 | NAYY 4x150 SE | 41 | 44 | 0.0019352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3985-6_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.025015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3985-6_0_2_trafo_73 | 0.25 MVA 20/0.4 kV | 45 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2716190.6191 | 1177143.3545 | 2716191.1683 | 1177149.4874
1 | 2716194.0991 | 1177105.6278 | 2716190.0559 | 1177132.8017 | 2716190.1263 | 1177137.851 | 2716190.6191 | 1177143.3545
2 | 2716184.8535 | 1177191.3971 | 2716184.1921 | 1177169.9027 | 2716185.2075 | 1177168.7883 | 2716187.3365 | 1177168.1957 | 2716190.4468 | 1177167.0663 | 2716191.4154 | 1177165.6063 | 2716191.5818 | 1177163.3301 | 2716191.5466 | 1177153.7117 | 2716191.1683 | 1177149.4874
3 | 2716194.0991 | 1177105.6278 | 2716179.9302 | 1177102.2511 | 2716173.0754 | 1177100.1502 | 2716168.7248 | 1177098.2202 | 2716164.6077 | 1177096.0723 | 2716160.2034 | 1177092.7966
4 | 2716184.8535 | 1177191.3971 | 2716198.5739 | 1177193.8423
5 | 2716184.8535 | 1177191.3971 | 2716170.5246 | 1177188.3953 | 2716164.552 | 1177187.5915
6 | 2716098.0771 | 1177057.7247 | 2716101.9026 | 1177063.8807 | 2716105.3664 | 1177067.3946 | 2716110.2185 | 1177071.0688 | 2716114.7533 | 1177073.3582 | 2716120.465 | 1177075.6703 | 2716128.1074 | 1177077.3639 | 2716145.5769 | 1177080.8489 | 2716147.4425 | 1177081.6189 | 2716149.1813 | 1177083.0202 | 2716160.0182 | 1177092.6589 | 2716160.2034 | 1177092.7966
7 | 2716198.5739 | 1177193.8423 | 2716197.4894 | 1177209.6313
8 | 2716198.5739 | 1177193.8423 | 2716204.7106 | 1177193.939 | 2716209.4609 | 1177193.3861 | 2716210.998 | 1177192.978
9 | 2716164.552 | 1177187.5915 | 2716164.4648 | 1177187.5797
10 | 2716092.0131 | 1177096.9011 | 2716093.8932 | 1177092.1898 | 2716094.3941 | 1177089.2196 | 2716095.0724 | 1177077.091 | 2716095.2896 | 1177073.3704 | 2716098.0771 | 1177057.7247
11 | 2716287.4233 | 1177141.9834 | 2716280.6799 | 1177140.4516
12 | 2716280.6799 | 1177140.4516 | 2716277.5451 | 1177149.5416 | 2716275.5779 | 1177153.6174 | 2716272.5907 | 1177157.4622 | 2716267.3348 | 1177163.5868 | 2716262.5908 | 1177167.7533 | 2716259.0576 | 1177170.1865 | 2716253.9097 | 1177172.3216 | 2716239.6375 | 1177175.8586 | 2716233.6458 | 1177177.7438 | 2716230.1896 | 1177179.3669 | 2716227.5395 | 1177181.2057 | 2716217.1345 | 1177190.3104 | 2716212.9342 | 1177192.4639 | 2716210.998 | 1177192.978
13 | 2716287.4233 | 1177141.9834 | 2716299.3398 | 1177144.8163 | 2716302.0291 | 1177145.6913 | 2716304.3053 | 1177146.9696 | 2716306.9109 | 1177148.6102 | 2716308.6271 | 1177150.7783 | 2716309.6967 | 1177153.5676 | 2716309.821 | 1177156.6166 | 2716309.3206 | 1177159.1642 | 2716307.2175 | 1177164.327 | 2716297.2649 | 1177185.9713 | 2716294.1858 | 1177196.9192 | 2716292.304 | 1177204.0766 | 2716291.8703 | 1177206.3552
14 | 2716092.0131 | 1177096.9011 | 2716090.02 | 1177097.9744 | 2716087.1704 | 1177098.275 | 2716083.9293 | 1177097.8676 | 2716079.7868 | 1177096.5458
15 | 2716092.0131 | 1177096.9011 | 2716092.0693 | 1177099.5262 | 2716091.6601 | 1177101.7087 | 2716086.6098 | 1177123.6706 | 2716086.0525 | 1177127.0842
16 | 2716086.0525 | 1177127.0842 | 2716085.3522 | 1177131.3738
17 | 2716190.7302 | 1177276.303 | 2716155.9289 | 1177281.2325
18 | 2716142.2866 | 1177307.9091 | 2716140.41 | 1177304.5482 | 2716139.7731 | 1177301.1224 | 2716139.6963 | 1177297.196 | 2716140.5547 | 1177293.132 | 2716142.4152 | 1177289.4321 | 2716145.4357 | 1177285.8326 | 2716148.4299 | 1177283.589 | 2716151.7958 | 1177282.2866 | 2716155.9289 | 1177281.2325
19 | 2716190.7302 | 1177276.303 | 2716203.693 | 1177273.6522 | 2716207.474 | 1177272.6248
20 | 2716190.7302 | 1177276.303 | 2716191.2274 | 1177264.378
21 | 2716142.2866 | 1177307.9091 | 2716145.0742 | 1177311.1987 | 2716149.2845 | 1177313.6597 | 2716155.0004 | 1177315.7385 | 2716160.6773 | 1177316.7147
22 | 2716207.474 | 1177272.6248 | 2716210.6038 | 1177274.4311 | 2716214.5974 | 1177275.8428
23 | 2716207.474 | 1177272.6248 | 2716219.0169 | 1177269.4795 | 2716235.0538 | 1177265.3902
24 | 2716191.5062 | 1177257.6926 | 2716191.2274 | 1177264.378
25 | 2716235.0538 | 1177265.3902 | 2716241.5863 | 1177263.7244
26 | 2716194.142 | 1177220.5638 | 2716189.2814 | 1177231.9331 | 2716188.7117 | 1177242.396 | 2716191.6586 | 1177254.0389 | 2716191.5062 | 1177257.6926
27 | 2715943.3949 | 1177228.0512 | 2715950.6057 | 1177241.7779 | 2715957.9208 | 1177250.1139 | 2715962.4719 | 1177253.6386
28 | 2716039.1536 | 1177226.2791 | 2715962.4719 | 1177253.6386
29 | 2716039.1536 | 1177226.2791 | 2716051.8688 | 1177232.4738 | 2716061.4678 | 1177235.7618 | 2716082.1226 | 1177239.7419 | 2716093.3517 | 1177240.9601 | 2716101.8189 | 1177239.9232 | 2716107.5092 | 1177236.6199
30 | 2716260.0003 | 1177261.5236 | 2716263.3639 | 1177262.7007 | 2716265.9389 | 1177264.3407 | 2716267.9423 | 1177266.2808 | 2716269.2307 | 1177268.8298 | 2716269.6643 | 1177271.5382
31 | 2716260.0003 | 1177261.5236 | 2716260.0003 | 1177261.5236 | 2716256.5 | 1177260.6885 | 2716252.2051 | 1177261.0167 | 2716241.5863 | 1177263.7244
32 | 2716197.4894 | 1177209.6313 | 2716196.8274 | 1177219.2705
33 | 2716164.4648 | 1177187.5797 | 2716163.1896 | 1177187.4081 | 2716136.2192 | 1177186.0142
34 | 2716194.142 | 1177220.5638 | 2716194.142 | 1177220.5638 | 2716196.8274 | 1177219.2705 | 2716196.8274 | 1177219.2705
35 | 2716122.9278 | 1177185.3273 | 2716136.2192 | 1177186.0142
36 | 2716122.9278 | 1177185.3273 | 2716092.0697 | 1177182.8061 | 2716089.8045 | 1177182.4673
37 | 2716122.9278 | 1177185.3273 | 2716120.4031 | 1177201.6514
38 | 2716089.8045 | 1177182.4673 | 2716078.2349 | 1177180.737 | 2716066.3313 | 1177177.2376 | 2716029.9298 | 1177161.1477
39 | 2716107.5092 | 1177236.6199 | 2716111.1926 | 1177233.1332 | 2716113.8095 | 1177229.8483 | 2716115.5166 | 1177226.5679 | 2716116.8865 | 1177222.9364 | 2716118.0603 | 1177216.7993 | 2716120.4031 | 1177201.6514
40 | 2716124.699 | 1177257.3584 | 2716124.6351 | 1177247.9481 | 2716123.8982 | 1177244.5537 | 2716122.8542 | 1177243.1992 | 2716121.9408 | 1177242.5282
41 | 2716107.5092 | 1177236.6199 | 2716110.9699 | 1177239.5 | 2716113.803 | 1177240.4444 | 2716118.6128 | 1177241.1602 | 2716121.3618 | 1177242.1029 | 2716121.9408 | 1177242.5282
42 | 2716028.1598 | 1177160.3653 | 2716029.9298 | 1177161.1477
43 | 2716078.2667 | 1177155.0087 | 2716083.4697 | 1177144.5021 | 2716084.1524 | 1177142.0136 | 2716084.8362 | 1177137.1012 | 2716085.3522 | 1177131.3738 | 2716085.3522 | 1177131.3738

## bus_geodata
| x | y | coords
0 | 2716190.6191 | 1177143.3545
1 | 2716191.1683 | 1177149.4874
2 | 2716194.0991 | 1177105.6278
3 | 2716184.8535 | 1177191.3971
4 | 2716160.2034 | 1177092.7966
5 | 2716198.5739 | 1177193.8423
6 | 2716164.552 | 1177187.5915
7 | 2716098.0771 | 1177057.7247
8 | 2716280.6799 | 1177140.4516
9 | 2716287.4233 | 1177141.9834
10 | 2716210.998 | 1177192.978
11 | 2716092.0131 | 1177096.9011
12 | 2716079.7868 | 1177096.5458
13 | 2716086.0525 | 1177127.0842
14 | 2716155.9289 | 1177281.2325
15 | 2716190.7302 | 1177276.303
16 | 2716142.2866 | 1177307.9091
17 | 2716207.474 | 1177272.6248
18 | 2716191.2274 | 1177264.378
19 | 2716160.6773 | 1177316.7147
20 | 2716214.5974 | 1177275.8428
21 | 2716235.0538 | 1177265.3902
22 | 2716191.5062 | 1177257.6926
23 | 2715962.4719 | 1177253.6386
24 | 2715943.3949 | 1177228.0512
25 | 2716039.1536 | 1177226.2791
26 | 2716291.8703 | 1177206.3552
27 | 2716269.6643 | 1177271.5382
28 | 2716260.0003 | 1177261.5236
29 | 2716197.4894 | 1177209.6313
30 | 2716164.4648 | 1177187.5797
31 | 2716196.8274 | 1177219.2705
32 | 2716136.2192 | 1177186.0142
33 | 2716122.9278 | 1177185.3273
34 | 2716089.8045 | 1177182.4673
35 | 2716120.4031 | 1177201.6514
36 | 2716194.142 | 1177220.5638
37 | 2716241.5863 | 1177263.7244
38 | 2716124.699 | 1177257.3584
39 | 2716121.9408 | 1177242.5282
40 | 2716107.5092 | 1177236.6199
41 | 2716029.9298 | 1177161.1477
42 | 2716085.3522 | 1177131.3738
43 | 2716078.2667 | 1177155.0087
44 | 2716028.1598 | 1177160.3653
45 | 2716184.8535 | 1177191.3971

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1