## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3986-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3986-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3986-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3986-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3986-2_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3986-2_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3986-2_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3986-2_0_3_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_3986-2_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_3986-2_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_3986-2_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3986-2_0_3_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_3986-2_0_3_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_3986-2_0_3_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_3986-2_0_3_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_3986-2_0_3_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_3986-2_0_3_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_3986-2_0_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_3986-2_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_3986-2_0_3_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_3986-2_0_3_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_3986-2_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_3986-2_0_3_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_3986-2_0_3_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_3986-2_0_3_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_3986-2_0_3_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_3986-2_0_3_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_3986-2_0_3_node_101 | 0.4 | n |  | TRUE
28 | bus_LV_3986-2_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_3986-2_0_3_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_3986-2_0_3_node_100 | 0.4 | n |  | TRUE
31 | bus_LV_3986-2_0_3_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_3986-2_0_3_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_3986-2_0_3_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_3986-2_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_3986-2_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_3986-2_0_3_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_3986-2_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_3986-2_0_3_node_83 | 0.4 | n |  | TRUE
39 | bus_LV_3986-2_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_3986-2_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3986-2_0_3_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_3986-2_0_3_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_3986-2_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_3986-2_0_3_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_3986-2_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_3986-2_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_3986-2_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_3986-2_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_3986-2_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_3986-2_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_3986-2_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_3986-2_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_3986-2_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_3986-2_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_3986-2_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_3986-2_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_3986-2_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_3986-2_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_3986-2_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_3986-2_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_3986-2_0_3_node_99 | 0.4 | n |  | TRUE
62 | bus_LV_3986-2_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_3986-2_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_3986-2_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_3986-2_0_3_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_3986-2_0_3_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_3986-2_0_3_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_3986-2_0_3_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_3986-2_0_3_node_91 | 0.4 | n |  | TRUE
70 | bus_MV_180_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3986-2_0_3_load_0 | 0 | 0.0022215 | 0.00055675 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3986-2_0_3_load_3 | 3 | 0.0035954 | 0.0009011 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3986-2_0_3_load_44 | 7 | 0.0018261 | 0.00045767 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3986-2_0_3_load_17 | 8 | 0.000817 | 0.00020476 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3986-2_0_3_load_14 | 9 | 0.0006572 | 0.00016471 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3986-2_0_3_load_38 | 11 | 0.00076832 | 0.00019256 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3986-2_0_3_load_35 | 12 | 0.00080569 | 0.00020193 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3986-2_0_3_load_27 | 13 | 0.0010397 | 0.00026058 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3986-2_0_3_load_32 | 16 | 0.0030961 | 0.00077596 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3986-2_0_3_load_21 | 18 | 0.0036678 | 0.00091925 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3986-2_0_3_load_40 | 19 | 0.0015531 | 0.00038925 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3986-2_0_3_load_26 | 21 | 0.0010811 | 0.00027095 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3986-2_0_3_load_8 | 22 | 0.0064649 | 0.0016202 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3986-2_0_3_load_11 | 25 | 0.0012757 | 0.00031973 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3986-2_0_3_load_12 | 26 | 0.0010013 | 0.00025096 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3986-2_0_3_load_13 | 28 | 0.00085982 | 0.00021549 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3986-2_0_3_load_69 | 29 | 0.00094967 | 0.00023801 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3986-2_0_3_load_100 | 30 | 0.00094941 | 0.00023795 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3986-2_0_3_load_89 | 31 | 0.0011032 | 0.0002765 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3986-2_0_3_load_82 | 32 | 0.00081862 | 0.00020517 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3986-2_0_3_load_87 | 33 | 0.0011322 | 0.00028376 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3986-2_0_3_load_18 | 34 | 0.0033351 | 0.00083585 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3986-2_0_3_load_22 | 35 | 0.0020888 | 0.0005235 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3986-2_0_3_load_52 | 36 | 0.0028869 | 0.00072352 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3986-2_0_3_load_20 | 37 | 0.0014657 | 0.00036734 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3986-2_0_3_load_83 | 38 | 0.001222 | 0.00030627 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3986-2_0_3_load_23 | 39 | 0.0032109 | 0.00080473 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3986-2_0_3_load_24 | 40 | 0.00070993 | 0.00017792 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3986-2_0_3_load_50 | 41 | 0.00096461 | 0.00024175 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3986-2_0_3_load_57 | 42 | 0.0012236 | 0.00030667 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3986-2_0_3_load_25 | 43 | 0.0007065 | 0.00017707 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3986-2_0_3_load_84 | 44 | 0.00081337 | 0.00020385 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3986-2_0_3_load_28 | 45 | 0.0014612 | 0.0003662 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3986-2_0_3_load_29 | 46 | 0.0015913 | 0.00039881 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3986-2_0_3_load_30 | 47 | 0.0022828 | 0.00057212 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3986-2_0_3_load_31 | 48 | 0.0029743 | 0.00074542 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3986-2_0_3_load_37 | 50 | 0.0018954 | 0.00047504 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3986-2_0_3_load_39 | 51 | 0.0013265 | 0.00033245 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3986-2_0_3_load_41 | 52 | 0.0035119 | 0.00088016 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3986-2_0_3_load_45 | 55 | 0.0023654 | 0.00059283 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3986-2_0_3_load_49 | 56 | 0.0017291 | 0.00043334 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3986-2_0_3_load_55 | 57 | 0.002164 | 0.00054235 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3986-2_0_3_load_46 | 58 | 0.0024609 | 0.00061676 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3986-2_0_3_load_48 | 59 | 0.0020288 | 0.00050847 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3986-2_0_3_load_53 | 60 | 0.0021061 | 0.00052783 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3986-2_0_3_load_99 | 61 | 0.0014779 | 0.00037039 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3986-2_0_3_load_58 | 62 | 0.0037114 | 0.00093017 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3986-2_0_3_load_54 | 63 | 0.002206 | 0.00055287 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3986-2_0_3_load_56 | 64 | 0.0035662 | 0.00089377 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3986-2_0_3_load_85 | 65 | 0.00093662 | 0.00023474 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3986-2_0_3_load_86 | 66 | 0.0010889 | 0.0002729 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3986-2_0_3_load_90 | 68 | 0.0011491 | 0.00028798 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3986-2_0_3_load_91 | 69 | 0.0012404 | 0.00031088 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3986-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.11601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3986-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0040534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3986-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.031521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3986-2_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.11809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3986-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.20042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3986-2_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.019322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3986-2_0_3_line_6 | NAYY 4x150 SE | 4 | 9 | 0.26063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3986-2_0_3_line_7 | NAYY 4x150 SE | 4 | 6 | 0.06571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3986-2_0_3_line_8 | NAYY 4x150 SE | 5 | 13 | 0.067138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3986-2_0_3_line_9 | NAYY 4x150 SE | 6 | 7 | 0.029476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3986-2_0_3_line_10 | NAYY 4x150 SE | 7 | 17 | 0.0060895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3986-2_0_3_line_11 | NAYY 4x150 SE | 8 | 18 | 0.017356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3986-2_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.022784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3986-2_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.015391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3986-2_0_3_line_14 | NAYY 4x150 SE | 11 | 19 | 0.013665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3986-2_0_3_line_15 | NAYY 4x150 SE | 12 | 20 | 0.019762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3986-2_0_3_line_16 | NAYY 4x150 SE | 13 | 21 | 0.13985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3986-2_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.020671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3986-2_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.027339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3986-2_0_3_line_19 | NAYY 4x150 SE | 15 | 36 | 0.014462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3986-2_0_3_line_20 | NAYY 4x150 SE | 15 | 34 | 0.011736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3986-2_0_3_line_21 | NAYY 4x150 SE | 16 | 47 | 0.016311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3986-2_0_3_line_22 | NAYY 4x150 SE | 17 | 54 | 0.010049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3986-2_0_3_line_23 | NAYY 4x150 SE | 17 | 52 | 0.018859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3986-2_0_3_line_24 | NAYY 4x150 SE | 18 | 35 | 0.0033331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3986-2_0_3_line_25 | NAYY 4x150 SE | 19 | 53 | 0.0085927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3986-2_0_3_line_26 | NAYY 4x150 SE | 20 | 50 | 0.020608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3986-2_0_3_line_27 | NAYY 4x150 SE | 20 | 49 | 0.028373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3986-2_0_3_line_28 | NAYY 4x150 SE | 21 | 43 | 0.17715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3986-2_0_3_line_29 | NAYY 4x150 SE | 22 | 23 | 0.032132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3986-2_0_3_line_30 | NAYY 4x150 SE | 23 | 24 | 0.15365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3986-2_0_3_line_31 | NAYY 4x150 SE | 23 | 25 | 0.23351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3986-2_0_3_line_32 | NAYY 4x150 SE | 24 | 26 | 0.15022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3986-2_0_3_line_33 | NAYY 4x150 SE | 24 | 27 | 0.24584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3986-2_0_3_line_34 | NAYY 4x150 SE | 25 | 28 | 0.0081156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3986-2_0_3_line_35 | NAYY 4x150 SE | 26 | 29 | 0.012824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_3986-2_0_3_line_36 | NAYY 4x150 SE | 27 | 30 | 0.06285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3986-2_0_3_line_37 | NAYY 4x150 SE | 28 | 31 | 0.051153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3986-2_0_3_line_38 | NAYY 4x150 SE | 29 | 32 | 0.31694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_3986-2_0_3_line_39 | NAYY 4x150 SE | 31 | 33 | 0.0031476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3986-2_0_3_line_40 | NAYY 4x150 SE | 32 | 38 | 0.083883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3986-2_0_3_line_41 | NAYY 4x150 SE | 32 | 37 | 0.10312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3986-2_0_3_line_42 | NAYY 4x150 SE | 33 | 65 | 0.0098023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3986-2_0_3_line_43 | NAYY 4x150 SE | 35 | 39 | 0.016717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3986-2_0_3_line_44 | NAYY 4x150 SE | 36 | 62 | 0.0076089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3986-2_0_3_line_45 | NAYY 4x150 SE | 38 | 44 | 0.15753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_3986-2_0_3_line_46 | NAYY 4x150 SE | 39 | 40 | 0.00019352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3986-2_0_3_line_47 | NAYY 4x150 SE | 40 | 41 | 0.0062951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3986-2_0_3_line_48 | NAYY 4x150 SE | 41 | 42 | 0.021484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3986-2_0_3_line_49 | NAYY 4x150 SE | 42 | 61 | 0.010637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3986-2_0_3_line_50 | NAYY 4x150 SE | 43 | 44 | 0.34671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_3986-2_0_3_line_51 | NAYY 4x150 SE | 45 | 46 | 0.020436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3986-2_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.0019485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3986-2_0_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.00098672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3986-2_0_3_line_54 | NAYY 4x150 SE | 48 | 49 | 0.028912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3986-2_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.00049542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3986-2_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.014686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3986-2_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.023507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3986-2_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.022511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3986-2_0_3_line_59 | NAYY 4x150 SE | 55 | 58 | 0.018229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3986-2_0_3_line_60 | NAYY 4x150 SE | 56 | 57 | 0.0079381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3986-2_0_3_line_61 | NAYY 4x150 SE | 57 | 60 | 0.010583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3986-2_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.011509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3986-2_0_3_line_63 | NAYY 4x150 SE | 60 | 63 | 0.0088705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3986-2_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.019252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3986-2_0_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.027506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3986-2_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.0034364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3986-2_0_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.0079727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3986-2_0_3_line_68 | NAYY 4x150 SE | 67 | 69 | 0.037096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3986-2_0_3_trafo_3 | 0.25 MVA 20/0.4 kV | 70 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40
0 | 2698258.9138 | 1168523.5688 | 2698267.1001 | 1168523.8362 | 2698283.5511 | 1168523.3161 | 2698298.049 | 1168522.3971 | 2698301.1228 | 1168522.6031 | 2698304.1918 | 1168523.5761 | 2698344.1543 | 1168541.9973 | 2698345.6247 | 1168542.4216 | 2698347.1009 | 1168542.4903 | 2698348.0409 | 1168542.1165 | 2698348.9886 | 1168541.276 | 2698349.8748 | 1168539.5116 | 2698350.1388 | 1168537.4146 | 2698349.8707 | 1168535.0865 | 2698349.7519 | 1168532.9943 | 2698350.0848 | 1168531.3654 | 2698356.7764 | 1168522.5672
1 | 2698359.2302 | 1168519.3409 | 2698356.7764 | 1168522.5672
2 | 2698258.9138 | 1168523.5688 | 2698261.4006 | 1168525.9665 | 2698265.7987 | 1168528.5179 | 2698277.6086 | 1168534.2146 | 2698280.379 | 1168536.1278 | 2698282.2133 | 1168538.1702 | 2698283.864 | 1168541.6105
3 | 2698170.639 | 1168495.4636 | 2698164.5993 | 1168489.3833 | 2698171.5549 | 1168485.7947 | 2698174.1364 | 1168485.2143 | 2698176.6351 | 1168485.4887 | 2698178.7488 | 1168486.3682 | 2698180.304 | 1168487.6944 | 2698181.4952 | 1168490.2155 | 2698187.219 | 1168501.1048 | 2698189.9359 | 1168504.8849 | 2698193.1627 | 1168507.9062 | 2698196.7059 | 1168510.3101 | 2698201.4944 | 1168512.3897 | 2698206.6832 | 1168513.8643 | 2698222.5387 | 1168516.9921 | 2698250.3584 | 1168522.4726 | 2698258.9138 | 1168523.5688
4 | 2698359.2302 | 1168519.3409 | 2698360.6776 | 1168516.4961 | 2698361.1136 | 1168513.7126 | 2698360.843 | 1168511.0732 | 2698360.0992 | 1168508.8151 | 2698358.6554 | 1168506.768 | 2698357.0481 | 1168505.3519 | 2698355.0456 | 1168504.2295 | 2698350.2435 | 1168502.9834 | 2698344.2052 | 1168501.0278 | 2698336.3175 | 1168497.9523 | 2698330.3724 | 1168494.9865 | 2698326.5266 | 1168492.3663 | 2698321.9245 | 1168488.2551 | 2698316.8974 | 1168482.0467 | 2698305.4111 | 1168470.6071 | 2698302.0552 | 1168466.116 | 2698301.1583 | 1168463.8554 | 2698301.1264 | 1168461.131 | 2698301.783 | 1168459.3628 | 2698303.1261 | 1168457.7504 | 2698304.9332 | 1168456.7794 | 2698307.516 | 1168456.1212 | 2698310.0045 | 1168456.0842 | 2698318.7019 | 1168456.927 | 2698321.9773 | 1168456.5137 | 2698324.8752 | 1168455.3159 | 2698326.7716 | 1168453.568 | 2698327.8236 | 1168451.0281 | 2698328.266 | 1168447.8556 | 2698327.7007 | 1168444.5109 | 2698325.5681 | 1168434.9699 | 2698331.5588 | 1168432.3552 | 2698336.5433 | 1168429.4794 | 2698340.9012 | 1168426.5378 | 2698344.7873 | 1168422.9547 | 2698347.5738 | 1168419.676 | 2698353.1869 | 1168412.0742 | 2698361.8438 | 1168400.4419 | 2698367.3748 | 1168395.0512 | 2698370.3476 | 1168393.4878
5 | 2698170.639 | 1168495.4636 | 2698165.6704 | 1168496.9056 | 2698162.5655 | 1168497.6665 | 2698160.6626 | 1168497.4686 | 2698158.4664 | 1168496.4876 | 2698153.1536 | 1168492.516
6 | 2698170.639 | 1168495.4636 | 2698183.6036 | 1168514.3541 | 2698189.0216 | 1168521.0024 | 2698195.3039 | 1168526.7642 | 2698202.6928 | 1168532.2551 | 2698205.8879 | 1168535.3426 | 2698208.5959 | 1168539.6674 | 2698218.9752 | 1168557.0147 | 2698227.4413 | 1168570.5839 | 2698231.7513 | 1168576.1801 | 2698235.4438 | 1168579.7427 | 2698246.0277 | 1168589.2551 | 2698252.2555 | 1168595.9945 | 2698277.5056 | 1168627.0271 | 2698287.1073 | 1168636.6792 | 2698292.6197 | 1168641.7614 | 2698298.1318 | 1168646.8548 | 2698305.7873 | 1168653.3509 | 2698315.5366 | 1168660.0591 | 2698324.6635 | 1168665.5119 | 2698331.2338 | 1168668.6214 | 2698336.8807 | 1168670.6262 | 2698347.9568 | 1168672.9645 | 2698352.1075 | 1168674.2555
7 | 2698127.1039 | 1168446.4104 | 2698146.7066 | 1168471.3241 | 2698153.2931 | 1168478.6141 | 2698164.5993 | 1168489.3833 | 2698170.639 | 1168495.4636
8 | 2698370.3476 | 1168393.4878 | 2698388.6364 | 1168391.5527 | 2698395.5633 | 1168391.5995 | 2698399.7735 | 1168392.5357 | 2698404.7186 | 1168394.4068 | 2698409.3893 | 1168396.6736 | 2698421.4083 | 1168403.1634 | 2698426.9324 | 1168405.6666 | 2698432.2091 | 1168406.9205 | 2698434.0774 | 1168407.1329
9 | 2698127.1039 | 1168446.4104 | 2698122.3931 | 1168439.5736 | 2698117.3811 | 1168431.4867 | 2698112.9927 | 1168423.6545 | 2698111.9282 | 1168421.193
10 | 2698109.5112 | 1168415.6037 | 2698111.9282 | 1168421.193
11 | 2698137.6671 | 1168485.2974 | 2698140.8904 | 1168485.7493 | 2698145.4177 | 1168487.4243 | 2698149.8755 | 1168490.0655 | 2698153.1536 | 1168492.516
12 | 2698079.4783 | 1168356.2426 | 2698083.6173 | 1168365.2936 | 2698085.5923 | 1168368.5724 | 2698088.2029 | 1168371.8393 | 2698091.5388 | 1168375.3211
13 | 2698079.4783 | 1168356.2426 | 2698077.1621 | 1168360.7298 | 2698076.021 | 1168362.6346 | 2698074.5437 | 1168364.0336 | 2698072.7184 | 1168365.1823 | 2698069.1624 | 1168366.8554
14 | 2698091.5388 | 1168375.3211 | 2698100.9924 | 1168385.1883
15 | 2698053.1292 | 1168378.3153 | 2698062.3977 | 1168370.9175 | 2698067.5113 | 1168367.6322 | 2698069.1624 | 1168366.8554
16 | 2698434.0774 | 1168407.1329 | 2698443.8688 | 1168408.2457 | 2698448.493 | 1168408.2104 | 2698452.17 | 1168407.5813 | 2698456.3924 | 1168405.905 | 2698472.7174 | 1168399.0904 | 2698481.9849 | 1168396.9187 | 2698488.6713 | 1168396.2279 | 2698496.0323 | 1168395.9484 | 2698501.6967 | 1168395.0296 | 2698509.4324 | 1168392.9106 | 2698517.6965 | 1168390.3111 | 2698523.8782 | 1168389.5898 | 2698535.3213 | 1168389.6553 | 2698551.9555 | 1168389.6614 | 2698560.343 | 1168390.733 | 2698568.8891 | 1168392.8746 | 2698570.586 | 1168393.5117
17 | 2698085.0611 | 1168429.68 | 2698079.0962 | 1168429.3158 | 2698076.3056 | 1168429.1034 | 2698069.8636 | 1168429.3651 | 2698066.6394 | 1168430.3909 | 2698065.0548 | 1168431.7993
18 | 2698085.0611 | 1168429.68 | 2698062.0733 | 1168414.8815
19 | 2698065.0548 | 1168431.7993 | 2698070.9081 | 1168433.3736 | 2698072.3631 | 1168434.2757 | 2698077.2628 | 1168438.8288
20 | 2698065.0548 | 1168431.7993 | 2698058.4227 | 1168441.4821
21 | 2698062.0733 | 1168414.8815 | 2698048.3587 | 1168406.0526
22 | 2698111.0742 | 1168405.6785 | 2698109.5112 | 1168415.6037
23 | 2698109.5112 | 1168415.6037 | 2698093.9929 | 1168404.8868
24 | 2698134.3564 | 1168484.9549 | 2698135.4145 | 1168484.9816 | 2698137.6671 | 1168485.2974
25 | 2698106.4633 | 1168391.7833 | 2698105.2385 | 1168389.9066 | 2698103.5045 | 1168387.8103 | 2698100.9924 | 1168385.1883
26 | 2698053.1292 | 1168378.3153 | 2698059.5817 | 1168381.6338 | 2698064.4951 | 1168384.5159 | 2698070.7946 | 1168388.8663
27 | 2698025.9909 | 1168370.9012 | 2698028.3084 | 1168370.5499 | 2698031.1519 | 1168370.8075 | 2698034.8188 | 1168371.7346 | 2698039.9126 | 1168373.4077 | 2698045.8363 | 1168375.3611 | 2698053.1292 | 1168378.3153
28 | 2698570.586 | 1168393.5117 | 2698576.8776 | 1168395.8742 | 2698582.9208 | 1168397.063 | 2698593.9898 | 1168397.0668 | 2698599.4206 | 1168397.7897 | 2698605.6775 | 1168400.4163 | 2698659.0803 | 1168427.3322 | 2698696.3243 | 1168442.0643 | 2698705.6818 | 1168448.8556 | 2698714.1048 | 1168458.4779 | 2698724.4837 | 1168471.6082
29 | 2698890.7906 | 1169154.9356 | 2698889.1265 | 1169165.3481 | 2698882.2203 | 1169184.0796 | 2698882.1342 | 1169185.7003
30 | 2699018.9822 | 1169233.23 | 2698981.2511 | 1169205.2127 | 2698967.7094 | 1169191.392 | 2698962.9378 | 1169186.4769 | 2698942.2847 | 1169175.0295 | 2698923.8722 | 1169162.3071 | 2698913.3202 | 1169157.9528 | 2698897.0085 | 1169153.3702 | 2698890.7906 | 1169154.9356
31 | 2698890.7906 | 1169154.9356 | 2698883.2657 | 1169142.4482 | 2698864.8343 | 1169123.8887 | 2698844.209 | 1169109.329 | 2698797.7629 | 1169085.2164 | 2698759.0857 | 1169067.6026 | 2698698.8731 | 1169038.5947 | 2698694.6157 | 1169036.8348 | 2698693.3734 | 1169036.6399
32 | 2699018.9822 | 1169233.23 | 2699036.7927 | 1169226.7417 | 2699064.9114 | 1169219.434 | 2699078.5023 | 1169216.334 | 2699089.2495 | 1169205.6044 | 2699089.674 | 1169191.0133 | 2699083.3012 | 1169183.8814 | 2699045.215 | 1169153.1659
33 | 2699018.9822 | 1169233.23 | 2699154.1264 | 1169438.5893
34 | 2698685.2953 | 1169036.2258 | 2698685.2953 | 1169036.2258 | 2698690.3404 | 1169036.1641 | 2698693.3734 | 1169036.6399
35 | 2699045.215 | 1169153.1659 | 2699036.2656 | 1169145.9485 | 2699035.2556 | 1169145.0886
36 | 2699154.1264 | 1169438.5893 | 2699173.0328 | 1169441.2587 | 2699191.2244 | 1169439.936 | 2699208.6516 | 1169434.8538 | 2699215.0408 | 1169431.1931
37 | 2698685.2953 | 1169036.2258 | 2698675.5268 | 1169037.7329 | 2698671.1084 | 1169037.3824 | 2698666.8454 | 1169035.967 | 2698662.3783 | 1169032.9918 | 2698658.1989 | 1169029.7433 | 2698653.9382 | 1169024.9258 | 2698645.2492 | 1169012.39
38 | 2699035.2556 | 1169145.0886 | 2699128.1933 | 1168842.0795
39 | 2698645.2492 | 1169012.39 | 2698643.4561 | 1169009.803
40 | 2699091.6193 | 1168779.2859 | 2699094.0024 | 1168780.8134 | 2699099.631 | 1168788.0776 | 2699100.1699 | 1168792.9896 | 2699095.6142 | 1168807.4458 | 2699096.9076 | 1168816.2727 | 2699100.0453 | 1168825.119 | 2699109.343 | 1168834.078 | 2699120.7456 | 1168839.792 | 2699128.1933 | 1168842.0795
41 | 2699228.3327 | 1168866.3868 | 2699223.592 | 1168865.6394 | 2699153.8362 | 1168849.9556 | 2699128.1933 | 1168842.0795
42 | 2698637.872 | 1169001.7468 | 2698643.4561 | 1169009.803
43 | 2698134.3564 | 1168484.9549 | 2698129.186 | 1168484.8242 | 2698121.4038 | 1168484.1856 | 2698117.7167 | 1168483.58
44 | 2698082.8367 | 1168444.0083 | 2698077.2628 | 1168438.8288
45 | 2699091.6193 | 1168779.2859 | 2699088.1095 | 1168777.0361 | 2699072.5746 | 1168773.0996 | 2699044.3533 | 1168766.0854 | 2698987.6409 | 1168744.2703 | 2698970.0474 | 1168740.3002 | 2698940.6844 | 1168742.6506
46 | 2698117.5257 | 1168483.5486 | 2698117.7167 | 1168483.58
47 | 2698111.3842 | 1168482.2033 | 2698114.5634 | 1168483.0621 | 2698117.5257 | 1168483.5486
48 | 2698111.3842 | 1168482.2033 | 2698108.1235 | 1168481.3225 | 2698101.7588 | 1168478.728 | 2698091.9478 | 1168473.2568
49 | 2698082.6579 | 1168468.0761 | 2698091.9478 | 1168473.2568
50 | 2698724.4837 | 1168471.6082 | 2698940.6844 | 1168742.6506
51 | 2698029.856 | 1168393.4559 | 2698045.9348 | 1168404.4922 | 2698046.7203 | 1168404.9979
52 | 2698048.3587 | 1168406.0526 | 2698046.7203 | 1168404.9979
53 | 2698029.856 | 1168393.4559 | 2698029.0425 | 1168392.8976
54 | 2698025.9909 | 1168370.9012 | 2698024.014 | 1168371.9585 | 2698022.13 | 1168373.4176 | 2698020.816 | 1168375.1305 | 2698019.9146 | 1168377.3617 | 2698019.4663 | 1168379.5002 | 2698019.5377 | 1168382.1586 | 2698020.2749 | 1168384.8278 | 2698021.6289 | 1168387.2292 | 2698024.3145 | 1168389.6523 | 2698029.0425 | 1168392.8976
55 | 2698093.5852 | 1168404.6053 | 2698093.9929 | 1168404.8868
56 | 2698111.0742 | 1168405.6785 | 2698109.6089 | 1168400.2511 | 2698108.669 | 1168396.867 | 2698107.6953 | 1168394.1494 | 2698106.4633 | 1168391.7833
57 | 2698106.4633 | 1168391.7833 | 2698116.4206 | 1168388.6106 | 2698119.772 | 1168388.2317 | 2698123.7051 | 1168388.3294 | 2698129.43 | 1168388.8565 | 2698129.43 | 1168388.8565
58 | 2698111.0742 | 1168405.6785 | 2698118.3567 | 1168406.9204 | 2698120.3426 | 1168407.6533 | 2698122.2257 | 1168408.5958 | 2698131.7892 | 1168413.8277
59 | 2698129.43 | 1168388.8565 | 2698135.0063 | 1168390.0484 | 2698138.9522 | 1168391.2358 | 2698141.8902 | 1168392.7292 | 2698145.0725 | 1168394.738 | 2698146.1398 | 1168395.5606
60 | 2698131.7892 | 1168413.8277 | 2698138.7533 | 1168417.6375
61 | 2698147.9782 | 1168422.8241 | 2698139.1525 | 1168417.8558 | 2698138.7533 | 1168417.6375
62 | 2698155.2554 | 1168402.587 | 2698146.1398 | 1168395.5606
63 | 2698147.9782 | 1168422.8241 | 2698154.4896 | 1168426.4896 | 2698155.6122 | 1168427.3233
64 | 2698171.0678 | 1168438.8016 | 2698155.6122 | 1168427.3233
65 | 2698637.872 | 1169001.7468 | 2698636.3524 | 1168999.5544 | 2698632.0041 | 1168995.4026 | 2698627.3579 | 1168992.6134 | 2698615.0466 | 1168987.3048
66 | 2698611.8911 | 1168985.9442 | 2698615.0466 | 1168987.3048
67 | 2698611.8911 | 1168985.9442 | 2698604.8149 | 1168982.2712
68 | 2698611.8911 | 1168985.9442 | 2698590.267 | 1168955.8025

## bus_geodata
| x | y | coords
0 | 2698356.7764 | 1168522.5672
1 | 2698258.9138 | 1168523.5688
2 | 2698359.2302 | 1168519.3409
3 | 2698283.864 | 1168541.6105
4 | 2698170.639 | 1168495.4636
5 | 2698370.3476 | 1168393.4878
6 | 2698127.1039 | 1168446.4104
7 | 2698111.9282 | 1168421.193
8 | 2698153.1536 | 1168492.516
9 | 2698352.1075 | 1168674.2555
10 | 2698079.4783 | 1168356.2426
11 | 2698091.5388 | 1168375.3211
12 | 2698069.1624 | 1168366.8554
13 | 2698434.0774 | 1168407.1329
14 | 2698085.0611 | 1168429.68
15 | 2698065.0548 | 1168431.7993
16 | 2698062.0733 | 1168414.8815
17 | 2698109.5112 | 1168415.6037
18 | 2698137.6671 | 1168485.2974
19 | 2698100.9924 | 1168385.1883
20 | 2698053.1292 | 1168378.3153
21 | 2698570.586 | 1168393.5117
22 | 2698882.1342 | 1169185.7003
23 | 2698890.7906 | 1169154.9355
24 | 2699018.9822 | 1169233.23
25 | 2698693.3734 | 1169036.6399
26 | 2699045.215 | 1169153.1659
27 | 2699154.1264 | 1169438.5893
28 | 2698685.2953 | 1169036.2258
29 | 2699035.2556 | 1169145.0886
30 | 2699215.0408 | 1169431.1931
31 | 2698645.2492 | 1169012.39
32 | 2699128.1933 | 1168842.0795
33 | 2698643.4561 | 1169009.803
34 | 2698058.4227 | 1168441.4821
35 | 2698134.3564 | 1168484.9549
36 | 2698077.2628 | 1168438.8288
37 | 2699228.3327 | 1168866.3868
38 | 2699091.6193 | 1168779.2859
39 | 2698117.7167 | 1168483.58
40 | 2698117.5257 | 1168483.5486
41 | 2698111.3842 | 1168482.2033
42 | 2698091.9478 | 1168473.2568
43 | 2698724.4837 | 1168471.6082
44 | 2698940.6844 | 1168742.6506
45 | 2698046.7203 | 1168404.9979
46 | 2698029.856 | 1168393.4559
47 | 2698048.3587 | 1168406.0526
48 | 2698029.0425 | 1168392.8976
49 | 2698025.9909 | 1168370.9012
50 | 2698070.7946 | 1168388.8663
51 | 2698093.5852 | 1168404.6053
52 | 2698093.9929 | 1168404.8868
53 | 2698106.4633 | 1168391.7833
54 | 2698111.0742 | 1168405.6785
55 | 2698129.43 | 1168388.8565
56 | 2698131.7892 | 1168413.8277
57 | 2698138.7533 | 1168417.6375
58 | 2698146.1398 | 1168395.5606
59 | 2698155.2554 | 1168402.587
60 | 2698147.9782 | 1168422.8241
61 | 2698082.6579 | 1168468.0761
62 | 2698082.8367 | 1168444.0083
63 | 2698155.6122 | 1168427.3233
64 | 2698171.0678 | 1168438.8016
65 | 2698637.872 | 1169001.7468
66 | 2698615.0466 | 1168987.3048
67 | 2698611.8911 | 1168985.9442
68 | 2698604.8149 | 1168982.2712
69 | 2698590.267 | 1168955.8025
70 | 2698258.9138 | 1168523.5688

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1