## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3986-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3986-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3986-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3986-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3986-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3986-9_0_3_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_3986-9_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_3986-9_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3986-9_0_3_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_3986-9_0_3_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_3986-9_0_3_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_3986-9_0_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_3986-9_0_3_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_3986-9_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_3986-9_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3986-9_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3986-9_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3986-9_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3986-9_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3986-9_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_3986-9_0_3_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_3986-9_0_3_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_3986-9_0_3_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_3986-9_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_3986-9_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_3986-9_0_3_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_3986-9_0_3_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_3986-9_0_3_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_3986-9_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_3986-9_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_3986-9_0_3_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_3986-9_0_3_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_3986-9_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_3986-9_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_3986-9_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_3986-9_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_3986-9_0_3_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_3986-9_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_3986-9_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3986-9_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_3986-9_0_3_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_3986-9_0_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_3986-9_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_3986-9_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_3986-9_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_3986-9_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_3986-9_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_3986-9_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_3986-9_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_3986-9_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_3986-9_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3986-9_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_3986-9_0_3_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_3986-9_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3986-9_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_3986-9_0_3_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_3986-9_0_3_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3986-9_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_3986-9_0_3_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_3986-9_0_3_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_3986-9_0_3_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_3986-9_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_3986-9_0_3_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_3986-9_0_3_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_3986-9_0_3_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_3986-9_0_3_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_3986-9_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_3986-9_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_MV_180_0_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3986-9_0_3_load_0 | 0 | 0.0246 | 0.0061653 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3986-9_0_3_load_1 | 1 | 0.0047643 | 0.0011941 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3986-9_0_3_load_3 | 3 | 0.0031008 | 0.00077714 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3986-9_0_3_load_4 | 4 | 0.003691 | 0.00092505 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3986-9_0_3_load_5 | 7 | 0.0066557 | 0.0016681 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3986-9_0_3_load_52 | 8 | 0.0053252 | 0.0013346 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3986-9_0_3_load_55 | 9 | 0.0049298 | 0.0012355 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3986-9_0_3_load_56 | 10 | 0.0052685 | 0.0013204 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3986-9_0_3_load_53 | 12 | 0.0053246 | 0.0013345 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3986-9_0_3_load_6 | 13 | 0.0084737 | 0.0021237 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3986-9_0_3_load_7 | 14 | 0.006802 | 0.0017047 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3986-9_0_3_load_9 | 16 | 0.0021104 | 0.00052893 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3986-9_0_3_load_67 | 20 | 0.007188 | 0.0018015 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3986-9_0_3_load_51 | 21 | 0.0071618 | 0.0017949 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3986-9_0_3_load_59 | 22 | 0.0019775 | 0.00049562 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3986-9_0_3_load_22 | 23 | 0.0044765 | 0.0011219 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3986-9_0_3_load_23 | 24 | 0.0013483 | 0.00033792 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3986-9_0_3_load_68 | 25 | 0.0071074 | 0.0017813 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3986-9_0_3_load_61 | 26 | 0.0048168 | 0.0012072 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3986-9_0_3_load_12 | 27 | 0.0065454 | 0.0016404 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3986-9_0_3_load_15 | 29 | 0.0020728 | 0.0005195 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3986-9_0_3_load_49 | 30 | 0.0021876 | 0.00054826 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3986-9_0_3_load_71 | 31 | 0.0026218 | 0.00065707 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3986-9_0_3_load_16 | 32 | 0.0035138 | 0.00088064 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3986-9_0_3_load_17 | 33 | 0.0033702 | 0.00084464 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3986-9_0_3_load_47 | 36 | 0.003282 | 0.00082255 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3986-9_0_3_load_26 | 39 | 0.0033833 | 0.00084795 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3986-9_0_3_load_58 | 40 | 0.0076816 | 0.0019252 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3986-9_0_3_load_57 | 41 | 0.0042231 | 0.0010584 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3986-9_0_3_load_45 | 43 | 0.0031995 | 0.00080187 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3986-9_0_3_load_30 | 44 | 0.0041325 | 0.0010357 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3986-9_0_3_load_27 | 45 | 0.0028544 | 0.00071538 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3986-9_0_3_load_38 | 46 | 0.0027605 | 0.00069184 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3986-9_0_3_load_28 | 48 | 0.0012717 | 0.00031873 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3986-9_0_3_load_32 | 49 | 0.011713 | 0.0029356 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3986-9_0_3_load_43 | 50 | 0.0055078 | 0.0013804 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3986-9_0_3_load_33 | 52 | 0.0060457 | 0.0015152 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3986-9_0_3_load_37 | 53 | 0.0052161 | 0.0013073 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3986-9_0_3_load_39 | 54 | 0.0022059 | 0.00055284 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3986-9_0_3_load_64 | 55 | 0.0053681 | 0.0013454 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3986-9_0_3_load_48 | 56 | 0.0015569 | 0.0003902 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3986-9_0_3_load_44 | 57 | 0.0020048 | 0.00050244 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3986-9_0_3_load_40 | 59 | 0.0033429 | 0.00083781 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3986-9_0_3_load_41 | 60 | 0.003393 | 0.00085036 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3986-9_0_3_load_46 | 61 | 0.0033269 | 0.0008338 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3986-9_0_3_load_66 | 62 | 0.0061407 | 0.001539 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3986-9_0_3_load_69 | 63 | 0.0021738 | 0.0005448 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3986-9_0_3_load_65 | 64 | 0.0046729 | 0.0011711 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3986-9_0_3_load_70 | 65 | 0.0034556 | 0.00086606 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3986-9_0_3_load_60 | 66 | 0.0017454 | 0.00043744 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3986-9_0_3_load_63 | 67 | 0.0022624 | 0.00056701 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3986-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3986-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0023942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3986-9_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3986-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3986-9_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.023788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3986-9_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.029041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3986-9_0_3_line_6 | NAYY 4x150 SE | 5 | 9 | 0.010787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3986-9_0_3_line_7 | NAYY 4x150 SE | 5 | 10 | 0.04051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3986-9_0_3_line_8 | NAYY 4x150 SE | 6 | 11 | 0.017269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3986-9_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.01886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3986-9_0_3_line_10 | NAYY 4x150 SE | 8 | 12 | 0.0073978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3986-9_0_3_line_11 | NAYY 4x150 SE | 9 | 62 | 0.0028081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3986-9_0_3_line_12 | NAYY 4x150 SE | 10 | 63 | 0.016984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3986-9_0_3_line_13 | NAYY 4x150 SE | 11 | 31 | 0.03113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3986-9_0_3_line_14 | NAYY 4x150 SE | 11 | 29 | 0.018707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3986-9_0_3_line_15 | NAYY 4x150 SE | 12 | 18 | 0.011972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3986-9_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.0050917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3986-9_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.024329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3986-9_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.027571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3986-9_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.032981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3986-9_0_3_line_20 | NAYY 4x150 SE | 15 | 18 | 0.011289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3986-9_0_3_line_21 | NAYY 4x150 SE | 16 | 19 | 0.015901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3986-9_0_3_line_22 | NAYY 4x150 SE | 17 | 20 | 0.034806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3986-9_0_3_line_23 | NAYY 4x150 SE | 17 | 21 | 0.024633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3986-9_0_3_line_24 | NAYY 4x150 SE | 18 | 22 | 0.031791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3986-9_0_3_line_25 | NAYY 4x150 SE | 19 | 23 | 0.015833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3986-9_0_3_line_26 | NAYY 4x150 SE | 19 | 24 | 0.011894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3986-9_0_3_line_27 | NAYY 4x150 SE | 20 | 25 | 0.0057135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3986-9_0_3_line_28 | NAYY 4x150 SE | 22 | 26 | 0.0059295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3986-9_0_3_line_29 | NAYY 4x150 SE | 23 | 46 | 0.01253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3986-9_0_3_line_30 | NAYY 4x150 SE | 26 | 66 | 0.002369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3986-9_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.026435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3986-9_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.009751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3986-9_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.03827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3986-9_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.021077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3986-9_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.011657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3986-9_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.021359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3986-9_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.027711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3986-9_0_3_line_38 | NAYY 4x150 SE | 35 | 40 | 0.01751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3986-9_0_3_line_39 | NAYY 4x150 SE | 35 | 41 | 0.014424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3986-9_0_3_line_40 | NAYY 4x150 SE | 35 | 42 | 0.009954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3986-9_0_3_line_41 | NAYY 4x150 SE | 36 | 43 | 0.0012547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3986-9_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.015588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3986-9_0_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.029379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3986-9_0_3_line_44 | NAYY 4x150 SE | 38 | 44 | 0.010902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3986-9_0_3_line_45 | NAYY 4x150 SE | 39 | 45 | 0.004398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3986-9_0_3_line_46 | NAYY 4x150 SE | 40 | 57 | 0.00923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3986-9_0_3_line_47 | NAYY 4x150 SE | 41 | 48 | 0.0022878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3986-9_0_3_line_48 | NAYY 4x150 SE | 42 | 53 | 0.017945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3986-9_0_3_line_49 | NAYY 4x150 SE | 42 | 52 | 0.012789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3986-9_0_3_line_50 | NAYY 4x150 SE | 43 | 61 | 0.017764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3986-9_0_3_line_51 | NAYY 4x150 SE | 45 | 48 | 0.022362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3986-9_0_3_line_52 | NAYY 4x150 SE | 46 | 47 | 0.00013137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3986-9_0_3_line_53 | NAYY 4x150 SE | 47 | 54 | 0.028754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3986-9_0_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.028043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3986-9_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.0059269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3986-9_0_3_line_56 | NAYY 4x150 SE | 51 | 57 | 0.0094018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3986-9_0_3_line_57 | NAYY 4x150 SE | 51 | 59 | 0.019703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3986-9_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.017212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3986-9_0_3_line_59 | NAYY 4x150 SE | 54 | 56 | 0.0025976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3986-9_0_3_line_60 | NAYY 4x150 SE | 55 | 58 | 0.0096356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3986-9_0_3_line_61 | NAYY 4x150 SE | 58 | 67 | 0.013106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3986-9_0_3_line_62 | NAYY 4x150 SE | 58 | 66 | 0.029021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_3986-9_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.0069874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3986-9_0_3_line_64 | NAYY 4x150 SE | 62 | 64 | 0.027635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3986-9_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.0021936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3986-9_0_3_line_66 | NAYY 4x150 SE | 64 | 67 | 0.0087055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3986-9_0_3_trafo_60 | 0.25 MVA 20/0.4 kV | 68 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2702114.7089 | 1170905.8315 | 2702120.2027 | 1170897.9504 | 2702120.9386 | 1170896.9943
1 | 2702113.3398 | 1170907.7956 | 2702114.7089 | 1170905.8315
2 | 2702132.0652 | 1170882.5387 | 2702126.2513 | 1170890.0926 | 2702120.9386 | 1170896.9943
3 | 2702113.3398 | 1170907.7956 | 2702102.8138 | 1170929.6529 | 2702101.5474 | 1170931.7932
4 | 2702147.0014 | 1170864.1288 | 2702145.2816 | 1170865.367 | 2702132.0652 | 1170882.5387
5 | 2702078.1781 | 1170947.4567 | 2702085.251 | 1170945.0532 | 2702090.1249 | 1170942.8235 | 2702095.1258 | 1170939.8733 | 2702097.7211 | 1170937.5492 | 2702099.8437 | 1170934.6723 | 2702101.5474 | 1170931.7932
6 | 2702147.0014 | 1170864.1288 | 2702148.9112 | 1170863.4163 | 2702151.0537 | 1170863.4194 | 2702154.4345 | 1170863.9551 | 2702157.5038 | 1170864.8001
7 | 2702147.0014 | 1170864.1288 | 2702146.1704 | 1170857.6549 | 2702146.1961 | 1170855.6985 | 2702146.9121 | 1170853.6427 | 2702163.1757 | 1170828.6125
8 | 2702063.0793 | 1170955.6498 | 2702065.4844 | 1170953.7117 | 2702070.2463 | 1170950.8686 | 2702078.1781 | 1170947.4567
9 | 2702162.2561 | 1170935.3425 | 2702149.0056 | 1170931.6063 | 2702144.6817 | 1170929.8427 | 2702144.3068 | 1170929.6464
10 | 2702162.2561 | 1170935.3425 | 2702169.3762 | 1170937.3501
11 | 2702157.5038 | 1170864.8001 | 2702160.2112 | 1170865.5455
12 | 2702163.1757 | 1170828.6125 | 2702164.4822 | 1170826.6019 | 2702171.6893 | 1170813.9204
13 | 2702063.0793 | 1170955.6498 | 2702067.1764 | 1170956.3533 | 2702071.2384 | 1170956.4223 | 2702082.9645 | 1170954.8651 | 2702086.0749 | 1170955.0959 | 2702087.4128 | 1170956.0637 | 2702088.6956 | 1170957.5754 | 2702090.888 | 1170961.3929
14 | 2702050.812 | 1170969.6838 | 2702054.7162 | 1170964.1799 | 2702058.3319 | 1170959.8941 | 2702061.6596 | 1170956.7931 | 2702063.0793 | 1170955.6498
15 | 2702180.8986 | 1170940.5991 | 2702169.3762 | 1170937.3501
16 | 2702201.9365 | 1170947.9398 | 2702203.9799 | 1170943.2761
17 | 2702181.4338 | 1170951.8599 | 2702196.9352 | 1170954.1807 | 2702198.8237 | 1170953.8237 | 2702199.7654 | 1170952.8947 | 2702201.9365 | 1170947.9398
18 | 2702203.9799 | 1170943.2761 | 2702208.7935 | 1170932.2906 | 2702212.2743 | 1170930.5376 | 2702214.7246 | 1170929.9901 | 2702217.633 | 1170930.3954 | 2702223.526 | 1170932.4243
19 | 2702181.4338 | 1170951.8599 | 2702180.9328 | 1170954.3196 | 2702179.4619 | 1170958.0192 | 2702177.2092 | 1170961.7944 | 2702172.2617 | 1170967.4472 | 2702161.819 | 1170977.665
20 | 2702181.4338 | 1170951.8599 | 2702181.521 | 1170948.537 | 2702180.8986 | 1170940.5991
21 | 2702238.5607 | 1170937.6007 | 2702223.526 | 1170932.4243
22 | 2702161.819 | 1170977.665 | 2702183.4193 | 1170981.3126 | 2702184.677 | 1170982.0456 | 2702185.447 | 1170983.5597 | 2702185.9676 | 1170985.7922 | 2702185.4214 | 1170993.2259
23 | 2702161.819 | 1170977.665 | 2702160.4651 | 1170978.9873 | 2702156.9657 | 1170983.6308 | 2702154.6261 | 1170987.5713 | 2702152.4122 | 1170993.115 | 2702151.0219 | 1170998.3725 | 2702150.891 | 1170999.2993
24 | 2702180.8986 | 1170940.5991 | 2702181.66 | 1170932.2845 | 2702184.9109 | 1170917.5191 | 2702185.8934 | 1170914.6451 | 2702187.3422 | 1170912.246 | 2702188.9631 | 1170910.3657
25 | 2702238.5607 | 1170937.6007 | 2702239.2789 | 1170934.9668 | 2702240.7304 | 1170932.4121 | 2702248.4573 | 1170925.8078
26 | 2702238.5607 | 1170937.6007 | 2702238.8377 | 1170939.7512 | 2702240.0661 | 1170942.2071 | 2702242.2491 | 1170944.3234 | 2702245.431 | 1170946.6457
27 | 2702185.0028 | 1170998.924 | 2702185.4214 | 1170993.2259
28 | 2702188.9631 | 1170910.3657 | 2702192.8347 | 1170905.8746
29 | 2702256.5832 | 1170916.3388 | 2702255.6717 | 1170917.757 | 2702252.5561 | 1170921.8733 | 2702248.6506 | 1170925.6425 | 2702248.4573 | 1170925.8078
30 | 2702194.3815 | 1170904.0803 | 2702192.8347 | 1170905.8746
31 | 2702045.8639 | 1170978.0829 | 2702044.6621 | 1170981.7092 | 2702038.5799 | 1170987.0538 | 2702028.465 | 1170997.468
32 | 2702045.8639 | 1170978.0829 | 2702048.8562 | 1170972.6524 | 2702050.812 | 1170969.6838
33 | 2702045.8639 | 1170978.0829 | 2702070.0401 | 1171007.7493
34 | 2702243.98 | 1170838.7706 | 2702246.4156 | 1170836.2913 | 2702254.2965 | 1170830.0437 | 2702256.8289 | 1170827.374 | 2702259.054 | 1170824.2139
35 | 2702237.0859 | 1170848.0846 | 2702239.0771 | 1170844.3939 | 2702243.1607 | 1170839.6047 | 2702243.98 | 1170838.7706
36 | 2702237.0859 | 1170848.0846 | 2702248.7435 | 1170855.51 | 2702255.4791 | 1170858.9936
37 | 2702237.0859 | 1170848.0846 | 2702230.9363 | 1170843.8883 | 2702229.2422 | 1170842.2695 | 2702227.8861 | 1170840.1228 | 2702224.4661 | 1170832.4597 | 2702223.0964 | 1170829.3121 | 2702220.9864 | 1170826.4455
38 | 2702255.4791 | 1170858.9936 | 2702272.8254 | 1170861.3846
39 | 2702255.4791 | 1170858.9936 | 2702257.3526 | 1170853.6776 | 2702259.099 | 1170849.9828 | 2702261.501 | 1170846.4325 | 2702261.7699 | 1170846.1178
40 | 2702255.4791 | 1170858.9936 | 2702251.1484 | 1170867.959
41 | 2702220.2338 | 1170825.442 | 2702220.3367 | 1170825.5627 | 2702220.9864 | 1170826.4455
42 | 2702297.8621 | 1170800.2553 | 2702309.25 | 1170810.9339
43 | 2702297.8621 | 1170800.2553 | 2702287.0845 | 1170815.7261 | 2702283.7764 | 1170820.3617 | 2702280.6393 | 1170824.0332
44 | 2702309.25 | 1170810.9339 | 2702317.2484 | 1170818.3425
45 | 2702277.7824 | 1170827.3769 | 2702280.6393 | 1170824.0332
46 | 2702272.8254 | 1170861.3846 | 2702281.969 | 1170862.6449
47 | 2702261.7699 | 1170846.1178 | 2702263.256 | 1170844.3784
48 | 2702251.1484 | 1170867.959 | 2702244.3259 | 1170870.9225 | 2702237.9913 | 1170873.0939 | 2702234.251 | 1170873.8199
49 | 2702251.1484 | 1170867.959 | 2702254.5945 | 1170874.533 | 2702257.4327 | 1170879.088
50 | 2702220.2338 | 1170825.442 | 2702214.9652 | 1170819.2561 | 2702208.3925 | 1170812.2062
51 | 2702277.7824 | 1170827.3769 | 2702263.256 | 1170844.3784
52 | 2702256.6542 | 1170916.2283 | 2702256.5832 | 1170916.3388
53 | 2702256.6542 | 1170916.2283 | 2702274.7905 | 1170924.687 | 2702276.0706 | 1170924.5532 | 2702277.6073 | 1170922.8338 | 2702281.3149 | 1170919.2611
54 | 2702324.9882 | 1170868.1172 | 2702323.9623 | 1170868.0881 | 2702297.1622 | 1170864.677
55 | 2702291.2828 | 1170863.9287 | 2702297.1622 | 1170864.677
56 | 2702291.2828 | 1170863.9287 | 2702281.969 | 1170862.6449
57 | 2702291.2828 | 1170863.9287 | 2702292.5687 | 1170868.3979 | 2702294.1756 | 1170872.439 | 2702296.3126 | 1170876.3557 | 2702300.1293 | 1170881.2947
58 | 2702217.3541 | 1170877.1 | 2702234.251 | 1170873.8199
59 | 2702283.1853 | 1170917.4586 | 2702281.3149 | 1170919.2611
60 | 2702207.8547 | 1170878.6734 | 2702211.1898 | 1170878.2966 | 2702217.3541 | 1170877.1
61 | 2702207.8547 | 1170878.6734 | 2702204.8324 | 1170878.2106 | 2702201.4268 | 1170877.3409 | 2702195.1746 | 1170875.4454
62 | 2702207.8547 | 1170878.6734 | 2702206.1527 | 1170884.2592 | 2702198.4034 | 1170899.4148 | 2702194.3815 | 1170904.0803
63 | 2702300.1293 | 1170881.2947 | 2702304.4018 | 1170886.8236
64 | 2702186.8436 | 1170872.9196 | 2702185.3413 | 1170872.4641 | 2702160.2112 | 1170865.5455
65 | 2702171.6893 | 1170813.9204 | 2702172.7732 | 1170812.0133
66 | 2702195.1746 | 1170875.4454 | 2702186.8436 | 1170872.9196

## bus_geodata
| x | y | coords
0 | 2702114.7089 | 1170905.8315
1 | 2702120.9386 | 1170896.9943
2 | 2702113.3398 | 1170907.7956
3 | 2702132.0652 | 1170882.5387
4 | 2702101.5474 | 1170931.7932
5 | 2702147.0014 | 1170864.1288
6 | 2702078.1781 | 1170947.4567
7 | 2702144.3068 | 1170929.6464
8 | 2702162.2561 | 1170935.3425
9 | 2702157.5038 | 1170864.8001
10 | 2702163.1757 | 1170828.6125
11 | 2702063.0793 | 1170955.6498
12 | 2702169.3762 | 1170937.3501
13 | 2702201.9365 | 1170947.9398
14 | 2702203.9799 | 1170943.2761
15 | 2702181.4338 | 1170951.8599
16 | 2702223.526 | 1170932.4243
17 | 2702161.819 | 1170977.665
18 | 2702180.8986 | 1170940.5991
19 | 2702238.5607 | 1170937.6007
20 | 2702185.4214 | 1170993.2259
21 | 2702150.891 | 1170999.2993
22 | 2702188.9631 | 1170910.3657
23 | 2702248.4573 | 1170925.8078
24 | 2702245.431 | 1170946.6457
25 | 2702185.0028 | 1170998.924
26 | 2702192.8347 | 1170905.8746
27 | 2702028.465 | 1170997.468
28 | 2702045.8639 | 1170978.0829
29 | 2702050.812 | 1170969.6838
30 | 2702070.0401 | 1171007.7493
31 | 2702090.888 | 1170961.3929
32 | 2702259.054 | 1170824.2139
33 | 2702243.98 | 1170838.7706
34 | 2702237.0859 | 1170848.0846
35 | 2702255.4791 | 1170858.9936
36 | 2702220.9864 | 1170826.4455
37 | 2702297.8621 | 1170800.2553
38 | 2702309.25 | 1170810.9339
39 | 2702280.6393 | 1170824.0332
40 | 2702272.8254 | 1170861.3846
41 | 2702261.7699 | 1170846.1178
42 | 2702251.1484 | 1170867.959
43 | 2702220.2338 | 1170825.442
44 | 2702317.2484 | 1170818.3425
45 | 2702277.7824 | 1170827.3769
46 | 2702256.5832 | 1170916.3388
47 | 2702256.6542 | 1170916.2283
48 | 2702263.256 | 1170844.3784
49 | 2702324.9882 | 1170868.1172
50 | 2702297.1622 | 1170864.677
51 | 2702291.2828 | 1170863.9287
52 | 2702257.4327 | 1170879.088
53 | 2702234.251 | 1170873.8199
54 | 2702281.3149 | 1170919.2611
55 | 2702217.3541 | 1170877.1
56 | 2702283.1853 | 1170917.4586
57 | 2702281.969 | 1170862.6449
58 | 2702207.8547 | 1170878.6734
59 | 2702300.1293 | 1170881.2947
60 | 2702304.4018 | 1170886.8236
61 | 2702208.3925 | 1170812.2062
62 | 2702160.2112 | 1170865.5455
63 | 2702171.6893 | 1170813.9204
64 | 2702186.8436 | 1170872.9196
65 | 2702172.7732 | 1170812.0133
66 | 2702194.3815 | 1170904.0803
67 | 2702195.1746 | 1170875.4454
68 | 2702207.8547 | 1170878.6734

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1