## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3988-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3988-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3988-14_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_3988-14_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3988-14_0_4_node_65 | 0.4 | n |  | TRUE
5 | bus_LV_3988-14_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3988-14_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3988-14_0_4_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_3988-14_0_4_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_3988-14_0_4_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_3988-14_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3988-14_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3988-14_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3988-14_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3988-14_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3988-14_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3988-14_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3988-14_0_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_3988-14_0_4_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_3988-14_0_4_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_3988-14_0_4_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_3988-14_0_4_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_3988-14_0_4_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_3988-14_0_4_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_3988-14_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_3988-14_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_3988-14_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3988-14_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3988-14_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_3988-14_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3988-14_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_3988-14_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3988-14_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3988-14_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_3988-14_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_3988-14_0_4_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_3988-14_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_3988-14_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_3988-14_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_3988-14_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_3988-14_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_3988-14_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_3988-14_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_3988-14_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_3988-14_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_3988-14_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_3988-14_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_3988-14_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_3988-14_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3988-14_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_3988-14_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_3988-14_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_3988-14_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_3988-14_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_3988-14_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_3988-14_0_4_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_3988-14_0_4_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_3988-14_0_4_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_3988-14_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_3988-14_0_4_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_3988-14_0_4_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_3988-14_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_3988-14_0_4_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_3988-14_0_4_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_3988-14_0_4_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_3988-14_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_3988-14_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_3988-14_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_3988-14_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3988-14_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_3988-14_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_3988-14_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_3988-14_0_4_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_3988-14_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_3988-14_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_3988-14_0_4_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_3988-14_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_3988-14_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_3988-14_0_4_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_3988-14_0_4_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_3988-14_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_3988-14_0_4_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_3988-14_0_4_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_3988-14_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_3988-14_0_4_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_3988-14_0_4_node_79 | 0.4 | n |  | TRUE
86 | bus_MV_179_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3988-14_0_4_load_0 | 0 | 0.0011176 | 0.00028011 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3988-14_0_4_load_5 | 2 | 0.0020969 | 0.00052554 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3988-14_0_4_load_2 | 3 | 0.00039253 | 9.8378e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3988-14_0_4_load_65 | 4 | 0.0013587 | 0.00034053 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3988-14_0_4_load_3 | 5 | 0.00070496 | 0.00017668 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3988-14_0_4_load_4 | 6 | 0.0010008 | 0.00025081 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3988-14_0_4_load_37 | 7 | 0.0010217 | 0.00025606 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3988-14_0_4_load_34 | 8 | 0.00038464 | 9.6401e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3988-14_0_4_load_64 | 9 | 0.0018861 | 0.00047269 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3988-14_0_4_load_6 | 10 | 0.0061461 | 0.0015403 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3988-14_0_4_load_8 | 12 | 0.0060189 | 0.0015085 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3988-14_0_4_load_10 | 14 | 0.0063008 | 0.0015791 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3988-14_0_4_load_11 | 15 | 0.0051304 | 0.0012858 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3988-14_0_4_load_44 | 17 | 0.0078756 | 0.0019738 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3988-14_0_4_load_45 | 18 | 0.0066443 | 0.0016652 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3988-14_0_4_load_53 | 19 | 0.0053318 | 0.0013363 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3988-14_0_4_load_49 | 20 | 0.0058962 | 0.0014777 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3988-14_0_4_load_46 | 21 | 0.0028443 | 0.00071284 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3988-14_0_4_load_55 | 22 | 0.0052471 | 0.001315 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3988-14_0_4_load_13 | 24 | 0.00041317 | 0.00010355 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3988-14_0_4_load_16 | 27 | 0.0003184 | 7.9798e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3988-14_0_4_load_17 | 28 | 0.00024834 | 6.2239e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3988-14_0_4_load_18 | 29 | 0.00034512 | 8.6494e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3988-14_0_4_load_20 | 31 | 0.00055616 | 0.00013939 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3988-14_0_4_load_21 | 32 | 0.00088776 | 0.00022249 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3988-14_0_4_load_43 | 33 | 0.00015721 | 3.9401e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3988-14_0_4_load_22 | 34 | 0.00045498 | 0.00011403 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3988-14_0_4_load_42 | 35 | 0.00020518 | 5.1422e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3988-14_0_4_load_23 | 36 | 0.00081627 | 0.00020458 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3988-14_0_4_load_24 | 37 | 0.00029595 | 7.4171e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3988-14_0_4_load_25 | 38 | 0.00056043 | 0.00014046 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3988-14_0_4_load_26 | 39 | 0.00044568 | 0.0001117 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3988-14_0_4_load_27 | 40 | 0.0002912 | 7.2981e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3988-14_0_4_load_28 | 41 | 0.00058635 | 0.00014695 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3988-14_0_4_load_29 | 42 | 0.004664 | 0.0011689 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3988-14_0_4_load_30 | 43 | 0.0014957 | 0.00037485 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3988-14_0_4_load_31 | 44 | 0.00081777 | 0.00020495 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3988-14_0_4_load_35 | 47 | 0.0013075 | 0.00032768 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3988-14_0_4_load_36 | 48 | 0.0013573 | 0.00034016 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3988-14_0_4_load_39 | 49 | 0.00038669 | 9.6914e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3988-14_0_4_load_38 | 50 | 0.0015925 | 0.00039911 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3988-14_0_4_load_41 | 52 | 0.00049483 | 0.00012401 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3988-14_0_4_load_47 | 53 | 0.0051488 | 0.0012904 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3988-14_0_4_load_48 | 54 | 0.0041147 | 0.0010312 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3988-14_0_4_load_73 | 55 | 0.0049245 | 0.0012342 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3988-14_0_4_load_74 | 56 | 0.0025967 | 0.00065078 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3988-14_0_4_load_71 | 57 | 0.009756 | 0.0024451 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3988-14_0_4_load_58 | 58 | 0.0026163 | 0.0006557 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3988-14_0_4_load_75 | 59 | 0.0027106 | 0.00067935 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3988-14_0_4_load_76 | 60 | 0.0025959 | 0.00065058 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3988-14_0_4_load_59 | 61 | 0.014734 | 0.0036928 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3988-14_0_4_load_77 | 62 | 0.0046719 | 0.0011709 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3988-14_0_4_load_80 | 63 | 0.0057793 | 0.0014484 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3988-14_0_4_load_81 | 64 | 0.002043 | 0.00051202 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3988-14_0_4_load_51 | 65 | 0.0061895 | 0.0015512 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3988-14_0_4_load_52 | 66 | 0.0023133 | 0.00057977 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3988-14_0_4_load_54 | 67 | 0.0051328 | 0.0012864 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3988-14_0_4_load_60 | 68 | 0.002836 | 0.00071077 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3988-14_0_4_load_56 | 69 | 0.0055278 | 0.0013854 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3988-14_0_4_load_61 | 70 | 0.0022668 | 0.00056812 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3988-14_0_4_load_57 | 71 | 0.010016 | 0.0025102 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3988-14_0_4_load_82 | 72 | 0.002847 | 0.00071354 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3988-14_0_4_load_62 | 73 | 0.0027862 | 0.00069828 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3988-14_0_4_load_63 | 74 | 0.0054392 | 0.0013632 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3988-14_0_4_load_69 | 75 | 0.0059476 | 0.0014906 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3988-14_0_4_load_67 | 76 | 0.0051366 | 0.0012874 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3988-14_0_4_load_70 | 77 | 0.004691 | 0.0011757 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3988-14_0_4_load_66 | 78 | 0.0026088 | 0.00065382 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3988-14_0_4_load_68 | 79 | 0.0048879 | 0.001225 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3988-14_0_4_load_72 | 80 | 0.0046744 | 0.0011715 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3988-14_0_4_load_83 | 81 | 0.0024381 | 0.00061105 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3988-14_0_4_load_84 | 82 | 0.0021842 | 0.00054742 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3988-14_0_4_load_78 | 83 | 0.0044935 | 0.0011262 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3988-14_0_4_load_85 | 84 | 0.0046595 | 0.0011678 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3988-14_0_4_load_79 | 85 | 0.0024574 | 0.00061589 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3988-14_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3988-14_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.31994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3988-14_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.036542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3988-14_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.50955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3988-14_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.24655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3988-14_0_4_line_5 | NAYY 4x150 SE | 4 | 9 | 0.015296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3988-14_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.056495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3988-14_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.019683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3988-14_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0030926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3988-14_0_4_line_9 | NAYY 4x150 SE | 8 | 45 | 0.014188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3988-14_0_4_line_10 | NAYY 4x150 SE | 9 | 74 | 0.0099723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_3988-14_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.035104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3988-14_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0045106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3988-14_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.060556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3988-14_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.021823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3988-14_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0050569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3988-14_0_4_line_16 | NAYY 4x150 SE | 13 | 16 | 0.011749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3988-14_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.011672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3988-14_0_4_line_18 | NAYY 4x150 SE | 15 | 18 | 0.0064013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3988-14_0_4_line_19 | NAYY 4x150 SE | 16 | 19 | 0.01052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3988-14_0_4_line_20 | NAYY 4x150 SE | 16 | 20 | 0.0060167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_3988-14_0_4_line_21 | NAYY 4x150 SE | 18 | 21 | 0.040573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3988-14_0_4_line_22 | NAYY 4x150 SE | 19 | 22 | 0.023982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3988-14_0_4_line_23 | NAYY 4x150 SE | 20 | 23 | 0.019395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3988-14_0_4_line_24 | NAYY 4x150 SE | 21 | 53 | 0.0026045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3988-14_0_4_line_25 | NAYY 4x150 SE | 22 | 69 | 0.001543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3988-14_0_4_line_26 | NAYY 4x150 SE | 23 | 65 | 0.038888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3988-14_0_4_line_27 | NAYY 4x150 SE | 23 | 66 | 0.055791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_3988-14_0_4_line_28 | NAYY 4x150 SE | 24 | 25 | 0.062346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3988-14_0_4_line_29 | NAYY 4x150 SE | 24 | 26 | 0.0010409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3988-14_0_4_line_30 | NAYY 4x150 SE | 25 | 27 | 0.036251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3988-14_0_4_line_31 | NAYY 4x150 SE | 25 | 28 | 0.035917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3988-14_0_4_line_32 | NAYY 4x150 SE | 25 | 29 | 0.021772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3988-14_0_4_line_33 | NAYY 4x150 SE | 26 | 30 | 0.042199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3988-14_0_4_line_34 | NAYY 4x150 SE | 28 | 31 | 0.030819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3988-14_0_4_line_35 | NAYY 4x150 SE | 30 | 32 | 0.019778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3988-14_0_4_line_36 | NAYY 4x150 SE | 31 | 33 | 0.01552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3988-14_0_4_line_37 | NAYY 4x150 SE | 32 | 34 | 0.0046635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3988-14_0_4_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0037795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3988-14_0_4_line_39 | NAYY 4x150 SE | 34 | 36 | 0.014703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3988-14_0_4_line_40 | NAYY 4x150 SE | 35 | 52 | 0.0049616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3988-14_0_4_line_41 | NAYY 4x150 SE | 36 | 37 | 0.014465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3988-14_0_4_line_42 | NAYY 4x150 SE | 37 | 38 | 0.0077642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3988-14_0_4_line_43 | NAYY 4x150 SE | 38 | 39 | 0.011454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3988-14_0_4_line_44 | NAYY 4x150 SE | 39 | 40 | 0.010495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3988-14_0_4_line_45 | NAYY 4x150 SE | 40 | 41 | 0.036148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3988-14_0_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.032946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3988-14_0_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.018472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3988-14_0_4_line_48 | NAYY 4x150 SE | 43 | 45 | 0.020183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3988-14_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.054564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3988-14_0_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.0097046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3988-14_0_4_line_51 | NAYY 4x150 SE | 46 | 48 | 0.027165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3988-14_0_4_line_52 | NAYY 4x150 SE | 47 | 49 | 0.0022813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3988-14_0_4_line_53 | NAYY 4x150 SE | 48 | 50 | 0.0063022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3988-14_0_4_line_54 | NAYY 4x150 SE | 49 | 51 | 0.02448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3988-14_0_4_line_55 | NAYY 4x150 SE | 51 | 52 | 0.02722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3988-14_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.010174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3988-14_0_4_line_57 | NAYY 4x150 SE | 54 | 58 | 0.0020026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3988-14_0_4_line_58 | NAYY 4x150 SE | 55 | 56 | 0.0048614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3988-14_0_4_line_59 | NAYY 4x150 SE | 55 | 57 | 0.014003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3988-14_0_4_line_60 | NAYY 4x150 SE | 56 | 59 | 0.0064854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3988-14_0_4_line_61 | NAYY 4x150 SE | 57 | 75 | 0.014471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_3988-14_0_4_line_62 | NAYY 4x150 SE | 58 | 61 | 0.006866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3988-14_0_4_line_63 | NAYY 4x150 SE | 59 | 60 | 0.0082996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3988-14_0_4_line_64 | NAYY 4x150 SE | 60 | 62 | 0.00092471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3988-14_0_4_line_65 | NAYY 4x150 SE | 62 | 63 | 0.0013555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3988-14_0_4_line_66 | NAYY 4x150 SE | 63 | 64 | 0.011125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3988-14_0_4_line_67 | NAYY 4x150 SE | 64 | 72 | 0.0053374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3988-14_0_4_line_68 | NAYY 4x150 SE | 66 | 67 | 0.015828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_3988-14_0_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.019198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_3988-14_0_4_line_70 | NAYY 4x150 SE | 68 | 70 | 0.01571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_3988-14_0_4_line_71 | NAYY 4x150 SE | 69 | 71 | 0.0022467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3988-14_0_4_line_72 | NAYY 4x150 SE | 70 | 73 | 0.01389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_3988-14_0_4_line_73 | NAYY 4x150 SE | 72 | 81 | 0.004975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3988-14_0_4_line_74 | NAYY 4x150 SE | 73 | 74 | 0.021611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_3988-14_0_4_line_75 | NAYY 4x150 SE | 74 | 77 | 0.047692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_3988-14_0_4_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0035172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_3988-14_0_4_line_77 | NAYY 4x150 SE | 76 | 78 | 0.0026575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_3988-14_0_4_line_78 | NAYY 4x150 SE | 77 | 80 | 0.011985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3988-14_0_4_line_79 | NAYY 4x150 SE | 77 | 79 | 0.019148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_3988-14_0_4_line_80 | NAYY 4x150 SE | 78 | 79 | 0.0096971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_3988-14_0_4_line_81 | NAYY 4x150 SE | 80 | 83 | 0.0093458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3988-14_0_4_line_82 | NAYY 4x150 SE | 81 | 82 | 0.015514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3988-14_0_4_line_83 | NAYY 4x150 SE | 82 | 84 | 0.0074313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3988-14_0_4_line_84 | NAYY 4x150 SE | 83 | 85 | 0.0065137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3988-14_0_4_trafo_53 | 0.25 MVA 20/0.4 kV | 86 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2729065.4595 | 1179118.5122 | 2729064.2697 | 1179113.4273 | 2729061.2093 | 1179102.9315 | 2729059.7128 | 1179098.2513 | 2729058.8894 | 1179094.2529 | 2729058.5139 | 1179090.0417
1 | 2729058.5139 | 1179090.0417 | 2728785.5327 | 1178923.1724
2 | 2729065.4595 | 1179118.5122 | 2729071.28 | 1179123.6301 | 2729074.315 | 1179127.4983 | 2729079.5959 | 1179134.2503 | 2729083.5158 | 1179138.1931 | 2729088.0038 | 1179141.6589 | 2729091.4951 | 1179143.8579
3 | 2728552.2139 | 1179376.1612 | 2728785.5327 | 1178923.1724
4 | 2729070.5424 | 1179389.5132 | 2729091.4951 | 1179143.8579
5 | 2728565.5391 | 1179383.6718 | 2728552.2139 | 1179376.1612
6 | 2729102.8637 | 1179434.171 | 2729090.0635 | 1179406.8769 | 2729083.2556 | 1179399.0023 | 2729078.5295 | 1179394.5306 | 2729070.5424 | 1179389.5132
7 | 2729102.8637 | 1179434.171 | 2729106.0726 | 1179441.0134 | 2729106.8862 | 1179446.8797 | 2729104.8501 | 1179452.7394
8 | 2729104.8501 | 1179452.7394 | 2729103.835 | 1179455.6607
9 | 2729099.467 | 1179469.1586 | 2729102.6984 | 1179458.9318 | 2729103.835 | 1179455.6607
10 | 2728574.2266 | 1179388.5683 | 2728565.5391 | 1179383.6718
11 | 2728719.3735 | 1179529.7888 | 2728723.3645 | 1179536.4683 | 2728731.1922 | 1179545.9766 | 2728737.4276 | 1179559.6269
12 | 2728719.3735 | 1179529.7888 | 2728717.2347 | 1179533.7601
13 | 2728680.896 | 1179491.3013 | 2728715.0966 | 1179510.8052 | 2728719.0818 | 1179514.5491 | 2728720.538 | 1179517.5603 | 2728721.0342 | 1179521.1403 | 2728720.6762 | 1179525.3579 | 2728719.3735 | 1179529.7888
14 | 2728701.925 | 1179544.1459 | 2728703.1351 | 1179544.6735 | 2728707.1743 | 1179545.5497 | 2728709.9529 | 1179544.9867 | 2728712.2815 | 1179542.9574 | 2728717.2347 | 1179533.7601
15 | 2728680.896 | 1179491.3013 | 2728678.0345 | 1179495.4708
16 | 2728680.896 | 1179491.3013 | 2728685.9235 | 1179480.6792
17 | 2728691.2254 | 1179539.4807 | 2728701.925 | 1179544.1459
18 | 2728673.9983 | 1179500.4045 | 2728676.0679 | 1179498.3363 | 2728678.0345 | 1179495.4708
19 | 2728685.9235 | 1179480.6792 | 2728676.1828 | 1179476.7065
20 | 2728685.9235 | 1179480.6792 | 2728688.7731 | 1179475.3802
21 | 2728673.9983 | 1179500.4045 | 2728673.9983 | 1179500.4045 | 2728670.6528 | 1179501.7448 | 2728667.3096 | 1179501.9065 | 2728650.5395 | 1179500.2678 | 2728645.8519 | 1179500.4007 | 2728641.5602 | 1179502.032 | 2728638.7768 | 1179504.9522 | 2728636.941 | 1179507.8817
22 | 2728653.977 | 1179467.6501 | 2728676.1828 | 1179476.7065
23 | 2728697.9592 | 1179458.2987 | 2728688.7731 | 1179475.3802
24 | 2728636.0553 | 1179510.331 | 2728636.941 | 1179507.8817 | 2728636.941 | 1179507.8817
25 | 2728652.5483 | 1179467.0674 | 2728653.977 | 1179467.6501
26 | 2728697.9592 | 1179458.2987 | 2728719.614 | 1179471.273 | 2728731.8651 | 1179476.5843 | 2728732.154 | 1179476.6171
27 | 2728697.9592 | 1179458.2987 | 2728649.3542 | 1179430.91
28 | 2729226.1783 | 1179547.0564 | 2729240.3915 | 1179544.2828 | 2729288.1682 | 1179547.1852
29 | 2729289.2072 | 1179547.2483 | 2729288.1682 | 1179547.1852
30 | 2729207.8799 | 1179519.5417 | 2729210.6209 | 1179520.7239 | 2729218.5427 | 1179524.0637 | 2729221.8961 | 1179530.1627 | 2729221.9657 | 1179536.5022 | 2729223.5928 | 1179541.8524 | 2729226.1783 | 1179547.0564
31 | 2729226.1783 | 1179547.0564 | 2729202.1379 | 1179561.1377 | 2729194.0997 | 1179561.6807
32 | 2729206.46 | 1179537.9025 | 2729207.6699 | 1179538.8515 | 2729217.8362 | 1179542.6511 | 2729226.1783 | 1179547.0564
33 | 2729331.1192 | 1179546.0956 | 2729318.8736 | 1179549.056 | 2729289.2072 | 1179547.2483
34 | 2729163.9594 | 1179556.1262 | 2729189.4104 | 1179561.9975 | 2729194.0997 | 1179561.6807
35 | 2729331.1192 | 1179546.0956 | 2729337.9858 | 1179564.6432
36 | 2729163.9594 | 1179556.1262 | 2729150.5975 | 1179553.0437 | 2729148.7909 | 1179552.9867
37 | 2729337.9858 | 1179564.6432 | 2729339.6049 | 1179569.0166
38 | 2729145.0133 | 1179552.8675 | 2729148.7909 | 1179552.9867
39 | 2729339.6049 | 1179569.0166 | 2729344.7096 | 1179582.8048 | 2729344.7096 | 1179582.8048
40 | 2729140.0542 | 1179552.711 | 2729145.0133 | 1179552.8675
41 | 2729357.4224 | 1179589.7063 | 2729357.4224 | 1179589.7063 | 2729344.7096 | 1179582.8048
42 | 2729357.4224 | 1179589.7063 | 2729358.7856 | 1179597.3499
43 | 2729360.7969 | 1179608.6264 | 2729360.7969 | 1179608.6264 | 2729358.7856 | 1179597.3499
44 | 2729369.2532 | 1179614.2623 | 2729364.5303 | 1179612.6877 | 2729360.7969 | 1179608.6264
45 | 2729403.5453 | 1179625.6946 | 2729369.2532 | 1179614.2623
46 | 2729046.819 | 1179466.0518 | 2729062.2801 | 1179469.8365 | 2729079.2883 | 1179469.0154
47 | 2729029.0419 | 1179461.0482 | 2729041.9593 | 1179464.8622 | 2729046.819 | 1179466.0518
48 | 2729099.467 | 1179469.1586 | 2729081.5512 | 1179468.9061 | 2729079.2883 | 1179469.0154
49 | 2729099.467 | 1179469.1586 | 2729096.3588 | 1179478.9879 | 2729091.5317 | 1179499.0766 | 2729091.7342 | 1179517.35 | 2729093.3523 | 1179522.4108
50 | 2729093.3523 | 1179522.4108 | 2729096.3078 | 1179531.6544
51 | 2729093.3523 | 1179522.4108 | 2729080.8963 | 1179517.7615 | 2729071.7599 | 1179513.684 | 2729068.6824 | 1179513.9291 | 2729068.3187 | 1179514.6156
52 | 2729096.3078 | 1179531.6544 | 2729097.0026 | 1179533.8273
53 | 2729065.3685 | 1179520.1846 | 2729068.3187 | 1179514.6156
54 | 2729112.8477 | 1179551.8522 | 2729105.6995 | 1179545.9495 | 2729098.3141 | 1179537.9291 | 2729097.0026 | 1179533.8273
55 | 2729112.8477 | 1179551.8522 | 2729140.0542 | 1179552.711
56 | 2728632.5958 | 1179519.8987 | 2728636.0553 | 1179510.331
57 | 2728632.5958 | 1179519.8987 | 2728631.9148 | 1179521.782
58 | 2728564.9434 | 1179479.7393 | 2728560.9111 | 1179482.4548
59 | 2728571.9693 | 1179467.8589 | 2728571.9693 | 1179467.8589 | 2728569.0078 | 1179475.1675 | 2728564.9434 | 1179479.7393 | 2728564.9434 | 1179479.7393
60 | 2728560.9111 | 1179482.4548 | 2728560.9111 | 1179482.4548 | 2728555.2344 | 1179485.591
61 | 2728571.9693 | 1179467.8589 | 2728573.3866 | 1179460.217 | 2728573.1769 | 1179455.3867 | 2728572.8377 | 1179453.5537
62 | 2728629.5801 | 1179528.2388 | 2728631.9148 | 1179521.782
63 | 2728555.2344 | 1179485.591 | 2728555.2344 | 1179485.591 | 2728548.6568 | 1179487.6182 | 2728547.2429 | 1179487.7078
64 | 2728546.3201 | 1179487.7663 | 2728547.2429 | 1179487.7078
65 | 2728546.3201 | 1179487.7663 | 2728544.9673 | 1179487.8521
66 | 2728533.8698 | 1179487.531 | 2728541.3179 | 1179488.0834 | 2728544.9673 | 1179487.8521
67 | 2728533.8698 | 1179487.531 | 2728532.4593 | 1179487.4264 | 2728528.6592 | 1179486.4516
68 | 2728635.5644 | 1179423.1395 | 2728649.3542 | 1179430.91
69 | 2728635.5644 | 1179423.1395 | 2728628.6412 | 1179419.2383 | 2728618.8393 | 1179413.7137
70 | 2728618.8393 | 1179413.7137 | 2728605.1531 | 1179405.9996
71 | 2728650.468 | 1179466.2189 | 2728652.5483 | 1179467.0674
72 | 2728593.0528 | 1179399.1795 | 2728605.1531 | 1179405.9996
73 | 2728523.8402 | 1179485.2155 | 2728528.6592 | 1179486.4516
74 | 2728593.0528 | 1179399.1795 | 2728574.2266 | 1179388.5683
75 | 2728574.2266 | 1179388.5683 | 2728549.1601 | 1179429.1412
76 | 2728572.1976 | 1179450.0952 | 2728572.1976 | 1179450.0952 | 2728572.8377 | 1179453.5537
77 | 2728570.7031 | 1179447.8977 | 2728572.1976 | 1179450.0952
78 | 2728537.9263 | 1179425.0885 | 2728544.6612 | 1179426.9879 | 2728549.1601 | 1179429.1412
79 | 2728564.33 | 1179440.6805 | 2728557.7319 | 1179434.7182 | 2728551.4467 | 1179430.2357 | 2728549.1601 | 1179429.1412
80 | 2728570.7031 | 1179447.8977 | 2728568.1303 | 1179444.1147 | 2728564.33 | 1179440.6805
81 | 2728537.9263 | 1179425.0885 | 2728528.9314 | 1179422.5518
82 | 2728523.8402 | 1179485.2155 | 2728508.8123 | 1179481.3606
83 | 2728508.8123 | 1179481.3606 | 2728504.7404 | 1179480.3161 | 2728501.7222 | 1179479.1723
84 | 2728528.9314 | 1179422.5518 | 2728522.6622 | 1179420.7838

## bus_geodata
| x | y | coords
0 | 2729058.5139 | 1179090.0417
1 | 2729065.4595 | 1179118.5122
2 | 2728785.5327 | 1178923.1724
3 | 2729091.4951 | 1179143.8579
4 | 2728552.2139 | 1179376.1612
5 | 2729070.5424 | 1179389.5132
6 | 2729102.8637 | 1179434.171
7 | 2729104.8501 | 1179452.7394
8 | 2729103.835 | 1179455.6607
9 | 2728565.5391 | 1179383.6718
10 | 2728737.4276 | 1179559.6269
11 | 2728719.3735 | 1179529.7888
12 | 2728717.2347 | 1179533.7601
13 | 2728680.896 | 1179491.3013
14 | 2728701.925 | 1179544.1459
15 | 2728678.0345 | 1179495.4708
16 | 2728685.9235 | 1179480.6792
17 | 2728691.2254 | 1179539.4807
18 | 2728673.9983 | 1179500.4045
19 | 2728676.1828 | 1179476.7065
20 | 2728688.7731 | 1179475.3802
21 | 2728636.941 | 1179507.8817
22 | 2728653.977 | 1179467.6501
23 | 2728697.9592 | 1179458.2987
24 | 2729288.1682 | 1179547.1852
25 | 2729226.1783 | 1179547.0564
26 | 2729289.2072 | 1179547.2483
27 | 2729207.8799 | 1179519.5417
28 | 2729194.0997 | 1179561.6807
29 | 2729206.46 | 1179537.9025
30 | 2729331.1192 | 1179546.0956
31 | 2729163.9594 | 1179556.1262
32 | 2729337.9858 | 1179564.6432
33 | 2729148.7909 | 1179552.9867
34 | 2729339.6049 | 1179569.0166
35 | 2729145.0133 | 1179552.8675
36 | 2729344.7096 | 1179582.8048
37 | 2729357.4224 | 1179589.7063
38 | 2729358.7857 | 1179597.3499
39 | 2729360.7969 | 1179608.6264
40 | 2729369.2532 | 1179614.2623
41 | 2729403.5453 | 1179625.6946
42 | 2729046.819 | 1179466.0518
43 | 2729079.2883 | 1179469.0154
44 | 2729029.0419 | 1179461.0482
45 | 2729099.467 | 1179469.1586
46 | 2729093.3523 | 1179522.4108
47 | 2729096.3078 | 1179531.6544
48 | 2729068.3187 | 1179514.6156
49 | 2729097.0026 | 1179533.8273
50 | 2729065.3685 | 1179520.1846
51 | 2729112.8477 | 1179551.8522
52 | 2729140.0542 | 1179552.711
53 | 2728636.0553 | 1179510.331
54 | 2728632.5958 | 1179519.8987
55 | 2728564.9434 | 1179479.7393
56 | 2728560.9111 | 1179482.4548
57 | 2728571.9693 | 1179467.8589
58 | 2728631.9148 | 1179521.782
59 | 2728555.2344 | 1179485.591
60 | 2728547.2429 | 1179487.7078
61 | 2728629.5801 | 1179528.2388
62 | 2728546.3201 | 1179487.7663
63 | 2728544.9673 | 1179487.8521
64 | 2728533.8698 | 1179487.531
65 | 2728732.154 | 1179476.6171
66 | 2728649.3542 | 1179430.91
67 | 2728635.5644 | 1179423.1395
68 | 2728618.8393 | 1179413.7137
69 | 2728652.5483 | 1179467.0674
70 | 2728605.1531 | 1179405.9996
71 | 2728650.468 | 1179466.2189
72 | 2728528.6592 | 1179486.4516
73 | 2728593.0528 | 1179399.1795
74 | 2728574.2266 | 1179388.5683
75 | 2728572.8377 | 1179453.5537
76 | 2728572.1976 | 1179450.0952
77 | 2728549.1601 | 1179429.1412
78 | 2728570.7031 | 1179447.8977
79 | 2728564.33 | 1179440.6805
80 | 2728537.9263 | 1179425.0885
81 | 2728523.8402 | 1179485.2155
82 | 2728508.8123 | 1179481.3606
83 | 2728528.9314 | 1179422.5518
84 | 2728501.7222 | 1179479.1723
85 | 2728522.6622 | 1179420.7838
86 | 2728685.9235 | 1179480.6792

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1