## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3988-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3988-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3988-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3988-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3988-17_0_3_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_3988-17_0_3_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_3988-17_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3988-17_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3988-17_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3988-17_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3988-17_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3988-17_0_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_3988-17_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3988-17_0_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_3988-17_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3988-17_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3988-17_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3988-17_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3988-17_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3988-17_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3988-17_0_3_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_3988-17_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3988-17_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_3988-17_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3988-17_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3988-17_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_3988-17_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_3988-17_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_3988-17_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_3988-17_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_3988-17_0_3_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_3988-17_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_3988-17_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_3988-17_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_3988-17_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_3988-17_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_3988-17_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_3988-17_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_3988-17_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_3988-17_0_3_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_3988-17_0_3_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_3988-17_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_MV_179_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3988-17_0_3_load_0 | 0 | 0.0011856 | 0.00029714 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3988-17_0_3_load_1 | 1 | 0.0014618 | 0.00036637 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3988-17_0_3_load_3 | 3 | 0.0028074 | 0.00070359 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3988-17_0_3_load_44 | 4 | 0.033858 | 0.0084857 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3988-17_0_3_load_4 | 6 | 0.0020406 | 0.00051142 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3988-17_0_3_load_6 | 8 | 0.0015638 | 0.00039192 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3988-17_0_3_load_7 | 9 | 0.0015309 | 0.00038367 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3988-17_0_3_load_23 | 11 | 0.00099734 | 0.00024996 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3988-17_0_3_load_9 | 12 | 0.0023487 | 0.00058863 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3988-17_0_3_load_22 | 13 | 0.0013656 | 0.00034224 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3988-17_0_3_load_10 | 14 | 0.0023125 | 0.00057956 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3988-17_0_3_load_11 | 15 | 0.0023191 | 0.00058122 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3988-17_0_3_load_13 | 17 | 0.001268 | 0.00031778 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3988-17_0_3_load_14 | 18 | 0.0012954 | 0.00032465 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3988-17_0_3_load_18 | 19 | 0.0027937 | 0.00070016 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3988-17_0_3_load_45 | 20 | 0.00084446 | 0.00021164 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3988-17_0_3_load_17 | 21 | 0.0029486 | 0.00073899 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3988-17_0_3_load_15 | 23 | 0.00383 | 0.00095989 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3988-17_0_3_load_16 | 24 | 0.0010859 | 0.00027216 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3988-17_0_3_load_29 | 25 | 0.0014855 | 0.00037231 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3988-17_0_3_load_27 | 26 | 0.0017321 | 0.0004341 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3988-17_0_3_load_25 | 27 | 0.00079137 | 0.00019834 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3988-17_0_3_load_26 | 28 | 0.0013119 | 0.00032878 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3988-17_0_3_load_40 | 29 | 0.00087289 | 0.00021877 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3988-17_0_3_load_30 | 32 | 0.0018739 | 0.00046963 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3988-17_0_3_load_32 | 33 | 0.002174 | 0.00054485 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3988-17_0_3_load_37 | 35 | 0.00084973 | 0.00021296 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3988-17_0_3_load_33 | 36 | 0.0011347 | 0.00028438 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3988-17_0_3_load_34 | 37 | 0.0010519 | 0.00026363 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3988-17_0_3_load_41 | 39 | 0.046953 | 0.011768 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3988-17_0_3_load_42 | 40 | 0.04132 | 0.010356 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3988-17_0_3_load_39 | 41 | 0.00094528 | 0.00023691 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3988-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.16885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3988-17_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.10028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3988-17_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.056453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3988-17_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.38707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3988-17_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.10374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3988-17_0_3_line_5 | NAYY 4x150 SE | 5 | 40 | 0.036069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3988-17_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.032508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3988-17_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.010114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3988-17_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.06022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3988-17_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.005965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3988-17_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.27311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3988-17_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.017422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3988-17_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.044186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3988-17_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.008337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3988-17_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.0099502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3988-17_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.094825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3988-17_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.0077457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3988-17_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.057113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3988-17_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.023051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3988-17_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.011933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3988-17_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.013835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3988-17_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.070235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_3988-17_0_3_line_22 | NAYY 4x150 SE | 21 | 24 | 0.0022373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3988-17_0_3_line_23 | NAYY 4x150 SE | 22 | 34 | 0.16508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3988-17_0_3_line_24 | NAYY 4x150 SE | 22 | 31 | 0.14154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3988-17_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.01749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3988-17_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0012083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3988-17_0_3_line_27 | NAYY 4x150 SE | 26 | 31 | 0.046942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3988-17_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.019941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3988-17_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.17298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3988-17_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.16917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3988-17_0_3_line_31 | NAYY 4x150 SE | 30 | 41 | 0.08462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3988-17_0_3_line_32 | NAYY 4x150 SE | 30 | 35 | 0.13424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3988-17_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.029724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3988-17_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.020466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3988-17_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.15429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3988-17_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.062333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3988-17_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.084861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_3988-17_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.044383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3988-17_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.33663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3988-17_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.014448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3988-17_0_3_trafo_41 | 0.25 MVA 20/0.4 kV | 42 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2727460.5317 | 1177581.7921 | 2727464.1242 | 1177585.5772 | 2727470.1514 | 1177595.1345 | 2727472.5387 | 1177603.6581 | 2727472.2683 | 1177611.7027 | 2727469.9532 | 1177618.8365 | 2727464.2452 | 1177626.9878 | 2727456.835 | 1177633.5797 | 2727444.2912 | 1177639.6509 | 2727424.5385 | 1177647.8818 | 2727409.5612 | 1177658.0267 | 2727394.8635 | 1177671.9247 | 2727379.61 | 1177691.8375 | 2727374.3448 | 1177699.5385
1 | 2727307.967 | 1177773.8544 | 2727321.5099 | 1177763.5565 | 2727342.0394 | 1177742.8438 | 2727355.736 | 1177726.7562 | 2727374.3448 | 1177699.5385
2 | 2727307.967 | 1177773.8544 | 2727308.34 | 1177780.0446 | 2727307.1128 | 1177788.8806 | 2727298.9432 | 1177808.933 | 2727298.7928 | 1177828.6108
3 | 2727298.7928 | 1177828.6108 | 2727231.2292 | 1178209.7349
4 | 2727132.1899 | 1178184.8378 | 2727136.3032 | 1178183.7131 | 2727143.3749 | 1178183.296 | 2727158.1431 | 1178184.3654 | 2727173.194 | 1178187.2421 | 2727184.3286 | 1178190.9587 | 2727191.8769 | 1178194.0209 | 2727224.8586 | 1178207.4191 | 2727231.2292 | 1178209.7349
5 | 2727132.1899 | 1178184.8378 | 2727099.7258 | 1178169.1206
6 | 2726178.1097 | 1178087.5553 | 2726172.4557 | 1178090.3384 | 2726162.466 | 1178094.6537 | 2726156.6151 | 1178096.2651 | 2726147.3694 | 1178096.6815
7 | 2726137.2653 | 1178097.1366 | 2726147.3694 | 1178096.6815
8 | 2726178.1097 | 1178087.5553 | 2726178.1557 | 1178101.711 | 2726177.7433 | 1178110.4087 | 2726176.4011 | 1178118.9756 | 2726174.1509 | 1178126.0111 | 2726171.3474 | 1178132.101 | 2726168.4702 | 1178135.8766 | 2726164.1102 | 1178138.5646 | 2726159.5687 | 1178139.8695
9 | 2726181.7409 | 1178082.8172 | 2726178.1097 | 1178087.5553
10 | 2726137.2653 | 1178097.1366 | 2725978.6215 | 1177874.8219
11 | 2726181.7409 | 1178082.8172 | 2726196.7389 | 1178091.6827
12 | 2725943.9022 | 1177895.685 | 2725950.7163 | 1177895.5704 | 2725959.0341 | 1177894.4331 | 2725965.7657 | 1177891.6614 | 2725969.6544 | 1177889.219 | 2725972.4478 | 1177886.1532 | 2725975.9477 | 1177878.5657 | 2725978.6215 | 1177874.8219
13 | 2726203.9158 | 1178095.9251 | 2726196.7389 | 1178091.6827
14 | 2726203.9158 | 1178095.9251 | 2726206.0442 | 1178097.1833 | 2726211.1759 | 1178099.2372 | 2726213.0567 | 1178099.7532
15 | 2726298.3058 | 1178124.0558 | 2726286.7868 | 1178121.1334 | 2726277.6032 | 1178118.0267 | 2726272.0387 | 1178115.4744 | 2726267.6432 | 1178112.9467 | 2726262.0999 | 1178108.6602 | 2726253.6759 | 1178100.6993 | 2726249.0119 | 1178097.4877 | 2726244.8023 | 1178095.2086 | 2726241.1917 | 1178094.243 | 2726237.655 | 1178094.491 | 2726222.7878 | 1178099.9265 | 2726219.5502 | 1178100.4921 | 2726216.0931 | 1178100.5861 | 2726213.0567 | 1178099.7532
16 | 2726298.3058 | 1178124.0558 | 2726290.9774 | 1178126.5642
17 | 2726298.3058 | 1178124.0558 | 2726332.0628 | 1178132.6841 | 2726353.4293 | 1178138.9658
18 | 2726270.6685 | 1178136.9513 | 2726276.1455 | 1178132.7956 | 2726282.5042 | 1178129.2158 | 2726289.8903 | 1178126.9363 | 2726290.9774 | 1178126.5642
19 | 2726353.4293 | 1178138.9658 | 2726364.8776 | 1178142.3316
20 | 2726270.6685 | 1178136.9513 | 2726263.4836 | 1178142.4028 | 2726259.3497 | 1178144.8731
21 | 2726429.585 | 1178169.2098 | 2726399.1555 | 1178153.9574 | 2726365.9596 | 1178142.6497 | 2726364.8776 | 1178142.3316
22 | 2726257.1699 | 1178145.377 | 2726259.3497 | 1178144.8731 | 2726259.3497 | 1178144.8731
23 | 2726429.585 | 1178169.2098 | 2726438.4921 | 1178164.0382 | 2726455.7604 | 1178160.0104 | 2726478.5067 | 1178157.199 | 2726494.102 | 1178159.2849 | 2726532.1703 | 1178171.5078 | 2726568.4951 | 1178183.027 | 2726579.6848 | 1178185.2425 | 2726588.759 | 1178183.0213
24 | 2726429.585 | 1178169.2098 | 2726437.3714 | 1178175.1338 | 2726442.6308 | 1178179.4589 | 2726449.1382 | 1178185.5004 | 2726454.554 | 1178192.1973 | 2726460.4179 | 1178200.8383 | 2726467.7014 | 1178213.5678 | 2726487.394 | 1178250.4098 | 2726503.7497 | 1178279.4759 | 2726506.1873 | 1178286.3879
25 | 2726257.1699 | 1178145.377 | 2726252.9128 | 1178146.3609 | 2726242.7331 | 1178148.8151 | 2726240.2086 | 1178149.6174
26 | 2726530.6038 | 1178320.3054 | 2726530.8915 | 1178319.1318
27 | 2726506.1873 | 1178286.3879 | 2726517.2933 | 1178294.3724 | 2726525.8182 | 1178298.6109 | 2726530.298 | 1178301.841 | 2726532.1006 | 1178304.4365 | 2726532.9692 | 1178307.4682 | 2726532.8955 | 1178310.958 | 2726530.8915 | 1178319.1318
28 | 2726236.6736 | 1177812.5987 | 2726232.4378 | 1177816.6347 | 2726224.6274 | 1177828.3626
29 | 2726370.5942 | 1177922.0869 | 2726236.6736 | 1177812.5987
30 | 2726370.5942 | 1177922.0869 | 2726383.201 | 1177923.0977 | 2726469.8537 | 1177940.9147 | 2726486.7943 | 1177946.6538 | 2726501.636 | 1177954.7727 | 2726511.8399 | 1177963.1496 | 2726525.1567 | 1177978.6862
31 | 2726525.1567 | 1177978.6862 | 2726579.9253 | 1177975.1279 | 2726608.8058 | 1177967.1093
32 | 2726525.1567 | 1177978.6862 | 2726535.0567 | 1177993.8505 | 2726550.8458 | 1178012.486 | 2726558.9686 | 1178020.5855 | 2726568.9456 | 1178028.1126 | 2726585.0967 | 1178038.283 | 2726628.1224 | 1178060.9792
33 | 2726506.1873 | 1178286.3879 | 2726516.194 | 1178280.1833 | 2726521.1278 | 1178278.1971 | 2726524.522 | 1178277.457 | 2726528.5771 | 1178278.3543 | 2726532.498 | 1178280.1828 | 2726533.1104 | 1178280.4726
34 | 2726533.1104 | 1178280.4726 | 2726545.0686 | 1178286.1301 | 2726548.306 | 1178287.0213 | 2726552.0685 | 1178287.9645
35 | 2726588.759 | 1178183.0213 | 2726604.5586 | 1178151.1871 | 2726610.2295 | 1178143.6235 | 2726613.9173 | 1178139.1203 | 2726627.1085 | 1178130.5369 | 2726630.4841 | 1178127.0612 | 2726633.1564 | 1178123.226 | 2726635.6371 | 1178117.6076 | 2726638.6792 | 1178102.4163 | 2726640.9563 | 1178097.0271 | 2726644.5587 | 1178090.0536 | 2726648.2465 | 1178083.3822 | 2726649.7967 | 1178077.6663 | 2726650.0113 | 1178074.3795 | 2726648.7196 | 1178072.2062 | 2726645.4693 | 1178069.7469 | 2726639.2019 | 1178066.8236 | 2726628.1224 | 1178060.9792
36 | 2726588.759 | 1178183.0213 | 2726607.7283 | 1178171.5689 | 2726624.3506 | 1178166.6495 | 2726646.5614 | 1178161.3256
37 | 2726646.5614 | 1178161.3256 | 2726646.5614 | 1178161.3256 | 2726667.0937 | 1178145.3697 | 2726684.6625 | 1178127.4944 | 2726691.6687 | 1178117.524 | 2726694.5942 | 1178115.0951 | 2726704.5802 | 1178109.5242 | 2726710.5916 | 1178107.415
38 | 2726754.6494 | 1178107.6473 | 2726741.4335 | 1178106.9008 | 2726727.8419 | 1178105.4904 | 2726719.8478 | 1178105.4215 | 2726712.3814 | 1178106.787 | 2726710.5916 | 1178107.415
39 | 2726754.6494 | 1178107.6473 | 2727086.7219 | 1178162.8249
40 | 2727086.7219 | 1178162.8249 | 2727099.7258 | 1178169.1206

## bus_geodata
| x | y | coords
0 | 2727460.5317 | 1177581.7921
1 | 2727374.3448 | 1177699.5385
2 | 2727307.967 | 1177773.8544
3 | 2727298.7928 | 1177828.6108
4 | 2727231.2292 | 1178209.7349
5 | 2727132.1899 | 1178184.8378
6 | 2726147.3694 | 1178096.6815
7 | 2726178.1097 | 1178087.5553
8 | 2726137.2653 | 1178097.1366
9 | 2726159.5687 | 1178139.8695
10 | 2726181.7409 | 1178082.8172
11 | 2725978.6215 | 1177874.8219
12 | 2726196.7389 | 1178091.6827
13 | 2725943.9022 | 1177895.685
14 | 2726203.9158 | 1178095.9251
15 | 2726213.0567 | 1178099.7532
16 | 2726298.3058 | 1178124.0558
17 | 2726290.9774 | 1178126.5642
18 | 2726353.4293 | 1178138.9658
19 | 2726270.6685 | 1178136.9513
20 | 2726364.8776 | 1178142.3316
21 | 2726259.3497 | 1178144.8731
22 | 2726429.585 | 1178169.2098
23 | 2726240.2086 | 1178149.6174
24 | 2726257.1699 | 1178145.377
25 | 2726530.6038 | 1178320.3054
26 | 2726530.8915 | 1178319.1318
27 | 2726224.6274 | 1177828.3626
28 | 2726236.6736 | 1177812.5987
29 | 2726370.5942 | 1177922.0869
30 | 2726525.1567 | 1177978.6862
31 | 2726506.1873 | 1178286.3879
32 | 2726533.1104 | 1178280.4726
33 | 2726552.0685 | 1178287.9645
34 | 2726588.759 | 1178183.0213
35 | 2726628.1224 | 1178060.9792
36 | 2726646.5614 | 1178161.3256
37 | 2726710.5916 | 1178107.415
38 | 2726754.6494 | 1178107.6473
39 | 2727086.7219 | 1178162.8249
40 | 2727099.7258 | 1178169.1206
41 | 2726608.8058 | 1177967.1093
42 | 2727132.1899 | 1178184.8378

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1