## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3988-18_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3988-18_0_3_node_140 | 0.4 | n |  | TRUE
2 | bus_LV_3988-18_0_3_node_71 | 0.4 | n |  | TRUE
3 | bus_LV_3988-18_0_3_node_138 | 0.4 | n |  | TRUE
4 | bus_LV_3988-18_0_3_node_49 | 0.4 | n |  | TRUE
5 | bus_LV_3988-18_0_3_node_146 | 0.4 | n |  | TRUE
6 | bus_LV_3988-18_0_3_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_3988-18_0_3_node_1 | 0.4 | n |  | TRUE
8 | bus_LV_3988-18_0_3_node_2 | 0.4 | n |  | TRUE
9 | bus_LV_3988-18_0_3_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_3988-18_0_3_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_3988-18_0_3_node_135 | 0.4 | n |  | TRUE
12 | bus_LV_3988-18_0_3_node_141 | 0.4 | n |  | TRUE
13 | bus_LV_3988-18_0_3_node_139 | 0.4 | n |  | TRUE
14 | bus_LV_3988-18_0_3_node_137 | 0.4 | n |  | TRUE
15 | bus_LV_3988-18_0_3_node_134 | 0.4 | n |  | TRUE
16 | bus_LV_3988-18_0_3_node_142 | 0.4 | n |  | TRUE
17 | bus_LV_3988-18_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3988-18_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3988-18_0_3_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_3988-18_0_3_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_3988-18_0_3_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_3988-18_0_3_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_3988-18_0_3_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_3988-18_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_3988-18_0_3_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_3988-18_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3988-18_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3988-18_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3988-18_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3988-18_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_3988-18_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_3988-18_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_3988-18_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_3988-18_0_3_node_131 | 0.4 | n |  | TRUE
35 | bus_LV_3988-18_0_3_node_128 | 0.4 | n |  | TRUE
36 | bus_LV_3988-18_0_3_node_129 | 0.4 | n |  | TRUE
37 | bus_LV_3988-18_0_3_node_130 | 0.4 | n |  | TRUE
38 | bus_LV_3988-18_0_3_node_132 | 0.4 | n |  | TRUE
39 | bus_LV_3988-18_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3988-18_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_3988-18_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_3988-18_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_3988-18_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_3988-18_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_3988-18_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3988-18_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_3988-18_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3988-18_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3988-18_0_3_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_3988-18_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_3988-18_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_3988-18_0_3_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_3988-18_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_3988-18_0_3_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_3988-18_0_3_node_107 | 0.4 | n |  | TRUE
56 | bus_LV_3988-18_0_3_node_108 | 0.4 | n |  | TRUE
57 | bus_LV_3988-18_0_3_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_3988-18_0_3_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_3988-18_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_3988-18_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_3988-18_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_3988-18_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_3988-18_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_3988-18_0_3_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_3988-18_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_3988-18_0_3_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_3988-18_0_3_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_3988-18_0_3_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_3988-18_0_3_node_144 | 0.4 | n |  | TRUE
70 | bus_LV_3988-18_0_3_node_133 | 0.4 | n |  | TRUE
71 | bus_LV_3988-18_0_3_node_143 | 0.4 | n |  | TRUE
72 | bus_LV_3988-18_0_3_node_145 | 0.4 | n |  | TRUE
73 | bus_LV_3988-18_0_3_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_3988-18_0_3_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_3988-18_0_3_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_3988-18_0_3_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_3988-18_0_3_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_3988-18_0_3_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_3988-18_0_3_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_3988-18_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_3988-18_0_3_node_118 | 0.4 | n |  | TRUE
82 | bus_LV_3988-18_0_3_node_117 | 0.4 | n |  | TRUE
83 | bus_LV_3988-18_0_3_node_109 | 0.4 | n |  | TRUE
84 | bus_LV_3988-18_0_3_node_110 | 0.4 | n |  | TRUE
85 | bus_LV_3988-18_0_3_node_113 | 0.4 | n |  | TRUE
86 | bus_LV_3988-18_0_3_node_115 | 0.4 | n |  | TRUE
87 | bus_LV_3988-18_0_3_node_111 | 0.4 | n |  | TRUE
88 | bus_LV_3988-18_0_3_node_112 | 0.4 | n |  | TRUE
89 | bus_LV_3988-18_0_3_node_114 | 0.4 | n |  | TRUE
90 | bus_LV_3988-18_0_3_node_122 | 0.4 | n |  | TRUE
91 | bus_LV_3988-18_0_3_node_116 | 0.4 | n |  | TRUE
92 | bus_LV_3988-18_0_3_node_123 | 0.4 | n |  | TRUE
93 | bus_LV_3988-18_0_3_node_119 | 0.4 | n |  | TRUE
94 | bus_LV_3988-18_0_3_node_120 | 0.4 | n |  | TRUE
95 | bus_LV_3988-18_0_3_node_121 | 0.4 | n |  | TRUE
96 | bus_LV_3988-18_0_3_node_124 | 0.4 | n |  | TRUE
97 | bus_LV_3988-18_0_3_node_126 | 0.4 | n |  | TRUE
98 | bus_LV_3988-18_0_3_node_125 | 0.4 | n |  | TRUE
99 | bus_MV_179_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3988-18_0_3_load_0 | 0 | 0.00076195 | 0.00019096 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3988-18_0_3_load_140 | 1 | 0.0010746 | 0.00026932 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3988-18_0_3_load_71 | 2 | 0.0012362 | 0.00030983 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3988-18_0_3_load_49 | 4 | 0.0037557 | 0.00094127 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3988-18_0_3_load_146 | 5 | 0.0024688 | 0.00061875 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3988-18_0_3_load_48 | 6 | 0.0020356 | 0.00051016 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3988-18_0_3_load_3 | 9 | 0.00085541 | 0.00021439 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3988-18_0_3_load_135 | 11 | 0.0012188 | 0.00030545 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3988-18_0_3_load_141 | 12 | 0.0028061 | 0.00070327 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3988-18_0_3_load_139 | 13 | 0.00093834 | 0.00023517 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3988-18_0_3_load_137 | 14 | 0.0011846 | 0.00029688 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3988-18_0_3_load_142 | 16 | 0.0019269 | 0.00048293 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3988-18_0_3_load_13 | 18 | 0.0006413 | 0.00016072 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3988-18_0_3_load_68 | 19 | 0.0058778 | 0.0014731 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3988-18_0_3_load_72 | 20 | 0.00054483 | 0.00013655 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3988-18_0_3_load_67 | 21 | 0.0032258 | 0.00080847 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3988-18_0_3_load_27 | 24 | 0.00037902 | 9.4991e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3988-18_0_3_load_28 | 25 | 0.0007189 | 0.00018017 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3988-18_0_3_load_26 | 26 | 0.00043356 | 0.00010866 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3988-18_0_3_load_23 | 27 | 0.00045917 | 0.00011508 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3988-18_0_3_load_24 | 28 | 0.0005414 | 0.00013569 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3988-18_0_3_load_18 | 29 | 0.00078174 | 0.00019592 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3988-18_0_3_load_25 | 30 | 0.00063122 | 0.0001582 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3988-18_0_3_load_29 | 31 | 0.0011201 | 0.00028073 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3988-18_0_3_load_31 | 33 | 0.001164 | 0.00029173 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3988-18_0_3_load_131 | 34 | 0.00091673 | 0.00022975 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3988-18_0_3_load_128 | 35 | 0.00039944 | 0.00010011 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3988-18_0_3_load_129 | 36 | 0.00057537 | 0.0001442 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3988-18_0_3_load_130 | 37 | 0.00072142 | 0.00018081 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3988-18_0_3_load_132 | 38 | 0.00080295 | 0.00020124 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3988-18_0_3_load_32 | 39 | 0.0045169 | 0.001132 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3988-18_0_3_load_33 | 40 | 0.0014239 | 0.00035686 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3988-18_0_3_load_34 | 41 | 0.0033765 | 0.00084624 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3988-18_0_3_load_43 | 42 | 0.0065782 | 0.0016487 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3988-18_0_3_load_39 | 44 | 0.00045638 | 0.00011438 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3988-18_0_3_load_40 | 46 | 0.0025148 | 0.00063028 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3988-18_0_3_load_37 | 47 | 0.0022274 | 0.00055825 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3988-18_0_3_load_41 | 48 | 0.0045496 | 0.0011402 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3988-18_0_3_load_36 | 50 | 0.0042049 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3988-18_0_3_load_47 | 51 | 0.0032761 | 0.00082108 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3988-18_0_3_load_46 | 53 | 0.0028914 | 0.00072465 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3988-18_0_3_load_76 | 54 | 0.00043057 | 0.00010791 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3988-18_0_3_load_107 | 55 | 0.00075642 | 0.00018958 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3988-18_0_3_load_108 | 56 | 0.00076369 | 0.0001914 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3988-18_0_3_load_64 | 57 | 0.0020618 | 0.00051674 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3988-18_0_3_load_65 | 58 | 0.00095147 | 0.00023846 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3988-18_0_3_load_42 | 59 | 0.003132 | 0.00078495 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3988-18_0_3_load_44 | 60 | 0.0023535 | 0.00058985 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3988-18_0_3_load_45 | 61 | 0.0022855 | 0.0005728 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3988-18_0_3_load_59 | 62 | 0.0015901 | 0.00039852 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3988-18_0_3_load_55 | 63 | 0.0015937 | 0.00039943 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3988-18_0_3_load_66 | 64 | 0.0021203 | 0.00053139 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3988-18_0_3_load_50 | 65 | 0.0030692 | 0.00076922 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3988-18_0_3_load_52 | 67 | 0.0014634 | 0.00036677 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3988-18_0_3_load_144 | 69 | 0.0019085 | 0.00047832 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3988-18_0_3_load_133 | 70 | 0.0013039 | 0.00032679 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3988-18_0_3_load_143 | 71 | 0.0013618 | 0.00034131 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3988-18_0_3_load_145 | 72 | 0.0022844 | 0.00057254 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3988-18_0_3_load_54 | 73 | 0.0023643 | 0.00059254 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3988-18_0_3_load_57 | 74 | 0.0060708 | 0.0015215 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3988-18_0_3_load_58 | 75 | 0.001273 | 0.00031903 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3988-18_0_3_load_60 | 76 | 0.00066703 | 0.00016717 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3988-18_0_3_load_61 | 77 | 0.0013308 | 0.00033352 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3988-18_0_3_load_62 | 78 | 0.00086226 | 0.0002161 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3988-18_0_3_load_77 | 79 | 0.00053675 | 0.00013452 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3988-18_0_3_load_78 | 80 | 0.00065315 | 0.00016369 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3988-18_0_3_load_118 | 81 | 0.0007577 | 0.0001899 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3988-18_0_3_load_109 | 83 | 0.00055322 | 0.00013865 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3988-18_0_3_load_110 | 84 | 0.00030464 | 7.6349e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3988-18_0_3_load_115 | 86 | 0.00061912 | 0.00015517 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3988-18_0_3_load_111 | 87 | 0.00029423 | 7.3741e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3988-18_0_3_load_112 | 88 | 0.002188 | 0.00054838 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3988-18_0_3_load_114 | 89 | 0.0012088 | 0.00030295 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3988-18_0_3_load_122 | 90 | 0.0011958 | 0.0002997 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3988-18_0_3_load_116 | 91 | 0.00067165 | 0.00016833 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3988-18_0_3_load_123 | 92 | 0.0005464 | 0.00013694 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3988-18_0_3_load_119 | 93 | 0.00078215 | 0.00019603 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3988-18_0_3_load_120 | 94 | 0.00083698 | 0.00020977 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3988-18_0_3_load_121 | 95 | 0.00092319 | 0.00023137 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3988-18_0_3_load_124 | 96 | 0.00058932 | 0.0001477 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3988-18_0_3_load_125 | 98 | 0.00025269 | 6.3329e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3988-18_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.25132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3988-18_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.10714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3988-18_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3988-18_0_3_line_3 | NAYY 4x150 SE | 2 | 22 | 0.026272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3988-18_0_3_line_4 | NAYY 4x150 SE | 3 | 14 | 0.030422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3988-18_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.10108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_3988-18_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.045739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_3988-18_0_3_line_7 | NAYY 4x150 SE | 5 | 72 | 0.0062674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_3988-18_0_3_line_8 | NAYY 4x150 SE | 6 | 65 | 0.028231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3988-18_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.016733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3988-18_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.0077198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3988-18_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.047109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3988-18_0_3_line_12 | NAYY 4x150 SE | 8 | 11 | 0.014412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3988-18_0_3_line_13 | NAYY 4x150 SE | 9 | 12 | 0.01863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3988-18_0_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.03719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3988-18_0_3_line_15 | NAYY 4x150 SE | 10 | 14 | 0.0032739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3988-18_0_3_line_16 | NAYY 4x150 SE | 11 | 15 | 0.015723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3988-18_0_3_line_17 | NAYY 4x150 SE | 12 | 16 | 0.030279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3988-18_0_3_line_18 | NAYY 4x150 SE | 15 | 68 | 0.018392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3988-18_0_3_line_19 | NAYY 4x150 SE | 15 | 70 | 0.024892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3988-18_0_3_line_20 | NAYY 4x150 SE | 16 | 71 | 0.01811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3988-18_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.06404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3988-18_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.093974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3988-18_0_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.0090582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3988-18_0_3_line_24 | NAYY 4x150 SE | 19 | 23 | 0.065663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3988-18_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3988-18_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.05932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3988-18_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.078312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3988-18_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.016828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3988-18_0_3_line_29 | NAYY 4x150 SE | 25 | 31 | 0.027161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3988-18_0_3_line_30 | NAYY 4x150 SE | 26 | 30 | 0.028032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3988-18_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.028357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3988-18_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.059444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3988-18_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.012885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3988-18_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.04551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3988-18_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.011632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3988-18_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.13039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3988-18_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.016476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3988-18_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.013648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3988-18_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.020369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3988-18_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0037824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3988-18_0_3_line_41 | NAYY 4x150 SE | 38 | 70 | 0.029842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3988-18_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.064804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3988-18_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.0032908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3988-18_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.050864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3988-18_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.079576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3988-18_0_3_line_46 | NAYY 4x150 SE | 42 | 48 | 0.011018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_3988-18_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.043525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3988-18_0_3_line_48 | NAYY 4x150 SE | 44 | 55 | 0.013411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3988-18_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.033798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3988-18_0_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.025283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3988-18_0_3_line_51 | NAYY 4x150 SE | 46 | 49 | 0.015505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3988-18_0_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.082549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3988-18_0_3_line_53 | NAYY 4x150 SE | 48 | 59 | 0.019727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3988-18_0_3_line_54 | NAYY 4x150 SE | 49 | 57 | 0.026949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3988-18_0_3_line_55 | NAYY 4x150 SE | 49 | 58 | 0.061398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3988-18_0_3_line_56 | NAYY 4x150 SE | 50 | 54 | 0.18389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3988-18_0_3_line_57 | NAYY 4x150 SE | 51 | 52 | 0.055473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_3988-18_0_3_line_58 | NAYY 4x150 SE | 51 | 53 | 0.034082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_3988-18_0_3_line_59 | NAYY 4x150 SE | 52 | 62 | 0.047231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3988-18_0_3_line_60 | NAYY 4x150 SE | 52 | 63 | 0.009774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_3988-18_0_3_line_61 | NAYY 4x150 SE | 53 | 61 | 0.02079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_3988-18_0_3_line_62 | NAYY 4x150 SE | 55 | 56 | 0.0056534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3988-18_0_3_line_63 | NAYY 4x150 SE | 56 | 83 | 0.016132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3988-18_0_3_line_64 | NAYY 4x150 SE | 57 | 64 | 0.0677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3988-18_0_3_line_65 | NAYY 4x150 SE | 59 | 60 | 0.022131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3988-18_0_3_line_66 | NAYY 4x150 SE | 60 | 61 | 0.0097613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_3988-18_0_3_line_67 | NAYY 4x150 SE | 62 | 76 | 0.032945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3988-18_0_3_line_68 | NAYY 4x150 SE | 62 | 64 | 0.055524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3988-18_0_3_line_69 | NAYY 4x150 SE | 63 | 66 | 0.04829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3988-18_0_3_line_70 | NAYY 4x150 SE | 65 | 66 | 0.023012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_3988-18_0_3_line_71 | NAYY 4x150 SE | 66 | 73 | 0.025635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3988-18_0_3_line_72 | NAYY 4x150 SE | 67 | 68 | 0.021202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3988-18_0_3_line_73 | NAYY 4x150 SE | 68 | 69 | 0.023471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3988-18_0_3_line_74 | NAYY 4x150 SE | 69 | 72 | 0.0098133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_3988-18_0_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.03328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3988-18_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.0032743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3988-18_0_3_line_77 | NAYY 4x150 SE | 75 | 77 | 0.052089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3988-18_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.032458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3988-18_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.028446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3988-18_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.0053135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3988-18_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.019048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3988-18_0_3_line_82 | NAYY 4x150 SE | 82 | 93 | 0.016951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3988-18_0_3_line_83 | NAYY 4x150 SE | 82 | 91 | 0.0061356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3988-18_0_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0097269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3988-18_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.004993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3988-18_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.0050157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3988-18_0_3_line_87 | NAYY 4x150 SE | 85 | 87 | 0.035544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3988-18_0_3_line_88 | NAYY 4x150 SE | 86 | 91 | 0.013552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3988-18_0_3_line_89 | NAYY 4x150 SE | 87 | 88 | 0.0031729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3988-18_0_3_line_90 | NAYY 4x150 SE | 88 | 89 | 0.026757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3988-18_0_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0090352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3988-18_0_3_line_92 | NAYY 4x150 SE | 90 | 92 | 0.0083316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3988-18_0_3_line_93 | NAYY 4x150 SE | 92 | 96 | 0.011342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3988-18_0_3_line_94 | NAYY 4x150 SE | 93 | 94 | 0.023617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3988-18_0_3_line_95 | NAYY 4x150 SE | 94 | 95 | 0.0050802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3988-18_0_3_line_96 | NAYY 4x150 SE | 96 | 97 | 0.0056518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3988-18_0_3_line_97 | NAYY 4x150 SE | 97 | 98 | 0.021394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3988-18_0_3_trafo_43 | 0.25 MVA 20/0.4 kV | 99 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2725826.5785 | 1178510.0668 | 2725841.279 | 1178259.1791
1 | 2725826.5785 | 1178510.0668 | 2725910.62 | 1178576.5232
2 | 2725816.2438 | 1178525.0387 | 2725816.9687 | 1178518.905 | 2725817.7259 | 1178516.6971 | 2725819.7694 | 1178514.3827 | 2725826.5785 | 1178510.0668
3 | 2725936.6269 | 1178572.3105 | 2725910.62 | 1178576.5232
4 | 2725816.2438 | 1178525.0387 | 2725785.8871 | 1178527.0317
5 | 2725562.7945 | 1178589.2226 | 2725655.1935 | 1178548.2462
6 | 2725519.0026 | 1178601.1666 | 2725541.1875 | 1178592.6912 | 2725547.9375 | 1178590.82 | 2725554.8728 | 1178589.5865 | 2725560.4542 | 1178589.1363 | 2725562.7945 | 1178589.2226
7 | 2725655.1935 | 1178548.2462 | 2725661.348 | 1178549.4306
8 | 2725519.0026 | 1178601.1666 | 2725492.6306 | 1178611.2416
9 | 2725735.6472 | 1178531.4756 | 2725732.0433 | 1178524.7396 | 2725729.3226 | 1178521.0799 | 2725726.0955 | 1178517.8766
10 | 2725726.0955 | 1178517.8766 | 2725719.6743 | 1178513.5914
11 | 2725735.6472 | 1178531.4756 | 2725742.2051 | 1178530.0231 | 2725749.9684 | 1178529.0407 | 2725761.0148 | 1178528.5942 | 2725782.6202 | 1178527.2462
12 | 2725735.6472 | 1178531.4756 | 2725723.8509 | 1178535.976 | 2725722.2602 | 1178536.7896
13 | 2725719.6743 | 1178513.5914 | 2725704.1785 | 1178503.2502
14 | 2725782.6202 | 1178527.2462 | 2725781.9738 | 1178548.2146 | 2725781.1327 | 1178554.4237 | 2725779.5284 | 1178558.026 | 2725775.5512 | 1178562.5236
15 | 2725782.6202 | 1178527.2462 | 2725785.8871 | 1178527.0317
16 | 2725708.4803 | 1178544.3488 | 2725715.352 | 1178540.3232 | 2725722.2602 | 1178536.7896
17 | 2725704.1785 | 1178503.2502 | 2725700.7909 | 1178500.9895 | 2725688.751 | 1178493.7764 | 2725679.2495 | 1178489.4409 | 2725677.6285 | 1178488.8448
18 | 2725708.4803 | 1178544.3488 | 2725701.035 | 1178549.4854 | 2725694.0329 | 1178555.7209
19 | 2725708.4803 | 1178544.3488 | 2725717.324 | 1178567.6168
20 | 2725677.6285 | 1178488.8448 | 2725671.6494 | 1178486.6462 | 2725662.4704 | 1178484.0632 | 2725660.3033 | 1178483.6595
21 | 2726015.912 | 1178679.4981 | 2726020.8932 | 1178675.5999 | 2726025.0839 | 1178671.1292 | 2726028.8671 | 1178666.0494 | 2726041.7618 | 1178646.395 | 2726053.7539 | 1178628.2538
22 | 2726015.912 | 1178679.4981 | 2725930.7697 | 1178639.7254
23 | 2726053.7539 | 1178628.2538 | 2726058.6241 | 1178620.8863 | 2726058.7634 | 1178620.7077
24 | 2725892.7691 | 1178611.2737 | 2725891.1747 | 1178612.9526 | 2725889.6331 | 1178619.0246 | 2725889.1682 | 1178624.4188 | 2725890.3267 | 1178631.1258 | 2725892.4737 | 1178635.1626 | 2725895.3611 | 1178638.1588 | 2725900.484 | 1178640.6125 | 2725905.4097 | 1178641.5388 | 2725922.9925 | 1178639.9178 | 2725930.7697 | 1178639.7254 | 2725930.7697 | 1178639.7254
25 | 2725936.6269 | 1178572.3105 | 2725935.2873 | 1178581.8671 | 2725935.9187 | 1178587.1797
26 | 2725936.6269 | 1178572.3105 | 2725895.6233 | 1178605.2959 | 2725893.3737 | 1178608.3287 | 2725892.7691 | 1178611.2737
27 | 2725942.4129 | 1178790.9482 | 2725936.3719 | 1178781.9687 | 2725885.3548 | 1178757.9469 | 2725874.2598 | 1178757.6055
28 | 2725951.806 | 1178804.9102 | 2725942.4129 | 1178790.9482
29 | 2725874.2598 | 1178757.6055 | 2725865.9921 | 1178757.3512 | 2725847.52 | 1178761.2978
30 | 2725974.4828 | 1178819.5364 | 2725963.9689 | 1178816.6067 | 2725955.5084 | 1178810.4134 | 2725951.806 | 1178804.9102
31 | 2726014.4009 | 1178819.1339 | 2726011.6133 | 1178818.52 | 2725990.1229 | 1178823.8946 | 2725986.8954 | 1178822.9953
32 | 2726069.6937 | 1178838.2781 | 2726058.2753 | 1178832.9777 | 2726036.4109 | 1178829.9716 | 2726020.7122 | 1178820.5237 | 2726014.4009 | 1178819.1339
33 | 2725974.4828 | 1178819.5364 | 2725986.8954 | 1178822.9953
34 | 2725802.9084 | 1178757.9837 | 2725815.2913 | 1178761.5683 | 2725835.7121 | 1178763.8205 | 2725847.52 | 1178761.2978
35 | 2725802.9084 | 1178757.9837 | 2725805.4434 | 1178753.7338 | 2725808.4584 | 1178747.7693
36 | 2725808.4584 | 1178747.7693 | 2725763.7016 | 1178625.2985
37 | 2725763.7016 | 1178625.2985 | 2725764.066 | 1178610.1173 | 2725763.9616 | 1178608.8312
38 | 2725757.0348 | 1178598.892 | 2725759.1609 | 1178599.4623 | 2725762.2933 | 1178601.3516 | 2725763.568 | 1178603.9802 | 2725763.9616 | 1178608.8312
39 | 2725757.0348 | 1178598.892 | 2725739.1945 | 1178594.1065 | 2725737.4933 | 1178593.2646
40 | 2725737.4933 | 1178593.2646 | 2725734.1034 | 1178591.5868
41 | 2725734.1034 | 1178591.5868 | 2725734.1034 | 1178591.5868 | 2725729.6153 | 1178588.3793 | 2725726.0677 | 1178584.4243 | 2725722.4275 | 1178579.0552 | 2725717.5203 | 1178568.1333 | 2725717.324 | 1178567.6168
42 | 2725657.0672 | 1178769.4729 | 2725640.3268 | 1178768.8615 | 2725615.6994 | 1178761.6405 | 2725594.1437 | 1178755.5914
43 | 2725657.0672 | 1178769.4729 | 2725660.3558 | 1178769.593
44 | 2725582.3546 | 1178706.113 | 2725594.1437 | 1178755.5914
45 | 2725697.8049 | 1178839.8062 | 2725660.3558 | 1178769.593
46 | 2725582.3546 | 1178706.113 | 2725574.7176 | 1178698.1714
47 | 2725697.8049 | 1178839.8062 | 2725739.06 | 1178853.6779
48 | 2725739.06 | 1178853.6779 | 2725747.2878 | 1178856.4444 | 2725751.4519 | 1178858.6889
49 | 2725487.8007 | 1178767.8566 | 2725482.8472 | 1178768.2644 | 2725478.5841 | 1178769.2759 | 2725472.1644 | 1178771.8101 | 2725460.0546 | 1178778.9064 | 2725456.9074 | 1178780.4576
50 | 2725487.8007 | 1178767.8566 | 2725490.8963 | 1178768.5774 | 2725494.7473 | 1178770.0924 | 2725499.3972 | 1178772.8695 | 2725509.6092 | 1178780.1646
51 | 2725442.2984 | 1178785.5509 | 2725453.8224 | 1178781.9782 | 2725456.9074 | 1178780.4576
52 | 2725584.509 | 1178813.2428 | 2725582.4906 | 1178811.9705 | 2725563.972 | 1178801.375 | 2725553.722 | 1178796.6682 | 2725544.1464 | 1178793.6989 | 2725529.7229 | 1178790.4725 | 2725522.7431 | 1178788.0024 | 2725515.3842 | 1178784.2901 | 2725509.6092 | 1178780.1646
53 | 2725574.7176 | 1178698.1714 | 2725561.0439 | 1178683.9524
54 | 2725442.2984 | 1178785.5509 | 2725439.0305 | 1178778.4552 | 2725435.2225 | 1178759.7012
55 | 2725442.2984 | 1178785.5509 | 2725433.3023 | 1178788.1202 | 2725424.6116 | 1178789.9731 | 2725415.8516 | 1178791.1241 | 2725408.5263 | 1178791.2822 | 2725401.6009 | 1178790.5924 | 2725395.7929 | 1178789.1033 | 2725389.6272 | 1178786.4391 | 2725383.4723 | 1178782.4741
56 | 2725584.509 | 1178813.2428 | 2725520.1506 | 1178985.5025
57 | 2725434.3664 | 1178664.9643 | 2725457.902 | 1178677.6324 | 2725472.6357 | 1178684.3121 | 2725479.4388 | 1178686.4671 | 2725484.8087 | 1178687.283
58 | 2725516.383 | 1178676.2774 | 2725505.7023 | 1178682.3691 | 2725500.5973 | 1178684.8975 | 2725496.0674 | 1178686.237 | 2725491.2723 | 1178687.104 | 2725486.1434 | 1178687.4858 | 2725484.8087 | 1178687.283
59 | 2725434.3664 | 1178664.9643 | 2725430.9671 | 1178667.7952 | 2725427.5808 | 1178669.6369 | 2725423.8092 | 1178671.2703 | 2725418.8994 | 1178672.5018 | 2725414.1 | 1178672.8462 | 2725407.3763 | 1178672.005 | 2725389.7776 | 1178667.3949
60 | 2725434.3664 | 1178664.9643 | 2725439.8967 | 1178658.1861 | 2725440.5217 | 1178657.3725
61 | 2725535.1295 | 1178667.7188 | 2725535.1295 | 1178667.7188 | 2725531.041 | 1178668.4226 | 2725525.8611 | 1178670.8715 | 2725516.383 | 1178676.2774
62 | 2725751.4519 | 1178858.6889 | 2725751.4519 | 1178858.6889 | 2725753.4706 | 1178860.4659 | 2725754.7057 | 1178863.1604 | 2725754.7057 | 1178863.1604
63 | 2725754.7057 | 1178863.1604 | 2725755.1276 | 1178865.6377 | 2725756.1171 | 1178879.2204
64 | 2725435.2225 | 1178759.7012 | 2725434.8177 | 1178757.7076 | 2725433.7675 | 1178754.2053 | 2725432.1902 | 1178750.3251 | 2725431.0118 | 1178748.1989 | 2725429.2986 | 1178746.0615 | 2725426.9238 | 1178743.7658 | 2725423.4755 | 1178741.2696 | 2725404.9841 | 1178731.5426 | 2725387.6704 | 1178723.9751 | 2725382.5917 | 1178722.4518
65 | 2725561.0439 | 1178683.9524 | 2725551.843 | 1178674.3846 | 2725545.9563 | 1178669.7135 | 2725544.6889 | 1178669.2713
66 | 2725544.6889 | 1178669.2713 | 2725543.3461 | 1178668.8027 | 2725539.7963 | 1178667.8721 | 2725535.1295 | 1178667.7188
67 | 2725389.7776 | 1178667.3949 | 2725365.0284 | 1178660.9117 | 2725357.8302 | 1178659.3712
68 | 2725389.7776 | 1178667.3949 | 2725382.5917 | 1178722.4518
69 | 2725471.7938 | 1178620.8373 | 2725468.3387 | 1178623.4114 | 2725464.7567 | 1178626.5721 | 2725460.1998 | 1178631.7583 | 2725440.5217 | 1178657.3725
70 | 2725471.7938 | 1178620.8373 | 2725476.805 | 1178617.6843 | 2725483.9326 | 1178614.5645 | 2725492.6306 | 1178611.2416
71 | 2725471.7938 | 1178620.8373 | 2725464.6075 | 1178616.1725 | 2725460.8921 | 1178614.3824 | 2725448.5986 | 1178610.3335
72 | 2725694.0329 | 1178555.7209 | 2725689.9017 | 1178559.5483 | 2725684.0687 | 1178566.1642 | 2725680.1486 | 1178571.6601
73 | 2725694.0329 | 1178555.7209 | 2725670.9845 | 1178551.2852
74 | 2725670.9845 | 1178551.2852 | 2725661.348 | 1178549.4306
75 | 2725448.5986 | 1178610.3335 | 2725429.9592 | 1178604.1947 | 2725416.5295 | 1178601.7223
76 | 2725413.3093 | 1178601.1295 | 2725416.5295 | 1178601.7223
77 | 2725413.3093 | 1178601.1295 | 2725401.4071 | 1178598.9383 | 2725362.0075 | 1178592.1119
78 | 2725330.0258 | 1178586.5708 | 2725362.0075 | 1178592.1119
79 | 2725740.3475 | 1178935.7923 | 2725739.5393 | 1178936.5179 | 2725732.2745 | 1178946.9176 | 2725725.1276 | 1178959.734
80 | 2725740.3475 | 1178935.7923 | 2725744.3014 | 1178932.2426
81 | 2725757.5028 | 1178918.537 | 2725755.543 | 1178920.8754 | 2725747.3211 | 1178929.5315 | 2725744.3014 | 1178932.2426
82 | 2725757.5028 | 1178918.537 | 2725763.7997 | 1178922.2162 | 2725766.382 | 1178922.9931 | 2725771.6642 | 1178923.671 | 2725773.2995 | 1178923.6256
83 | 2725757.5028 | 1178918.537 | 2725758.1134 | 1178914.5692 | 2725758.0184 | 1178912.4503
84 | 2725756.1171 | 1178879.2204 | 2725756.8238 | 1178888.9216
85 | 2725757.1866 | 1178893.9014 | 2725756.8238 | 1178888.9216
86 | 2725757.1866 | 1178893.9014 | 2725757.4113 | 1178898.9121
87 | 2725757.1866 | 1178893.9014 | 2725782.9053 | 1178890.605 | 2725792.5115 | 1178890.2022
88 | 2725757.4113 | 1178898.9121 | 2725758.0184 | 1178912.4503
89 | 2725792.5115 | 1178890.2022 | 2725795.6816 | 1178890.0692
90 | 2725822.2985 | 1178887.7329 | 2725811.0023 | 1178889.4268 | 2725795.6816 | 1178890.0692
91 | 2725822.2985 | 1178887.7329 | 2725831.2338 | 1178886.3931
92 | 2725831.2338 | 1178886.3931 | 2725839.4733 | 1178885.1576
93 | 2725850.5781 | 1178882.986 | 2725847.4283 | 1178883.9648 | 2725839.4733 | 1178885.1576
94 | 2725773.2995 | 1178923.6256 | 2725796.9075 | 1178922.9697
95 | 2725801.9857 | 1178922.8286 | 2725796.9075 | 1178922.9697
96 | 2725855.9754 | 1178881.3089 | 2725850.5781 | 1178882.986
97 | 2725855.9754 | 1178881.3089 | 2725867.3278 | 1178899.4429

## bus_geodata
| x | y | coords
0 | 2725841.279 | 1178259.1791
1 | 2725826.5785 | 1178510.0668
2 | 2725910.62 | 1178576.5232
3 | 2725816.2438 | 1178525.0387
4 | 2725562.7945 | 1178589.2226
5 | 2725655.1935 | 1178548.2462
6 | 2725519.0026 | 1178601.1666
7 | 2725726.0955 | 1178517.8766
8 | 2725735.6472 | 1178531.4756
9 | 2725719.6743 | 1178513.5914
10 | 2725782.6202 | 1178527.2462
11 | 2725722.2602 | 1178536.7896
12 | 2725704.1785 | 1178503.2502
13 | 2725775.5512 | 1178562.5236
14 | 2725785.8871 | 1178527.0317
15 | 2725708.4803 | 1178544.3488
16 | 2725677.6285 | 1178488.8448
17 | 2726015.912 | 1178679.4981
18 | 2726053.7539 | 1178628.2538
19 | 2725930.7697 | 1178639.7254
20 | 2726058.7634 | 1178620.7077
21 | 2725935.9187 | 1178587.1797
22 | 2725936.6269 | 1178572.3105
23 | 2725892.7691 | 1178611.2737
24 | 2725942.4129 | 1178790.9482
25 | 2725874.2598 | 1178757.6055
26 | 2725951.806 | 1178804.9102
27 | 2726014.4009 | 1178819.1339
28 | 2725986.8954 | 1178822.9953
29 | 2726069.6937 | 1178838.2781
30 | 2725974.4828 | 1178819.5364
31 | 2725847.52 | 1178761.2978
32 | 2725802.9084 | 1178757.9837
33 | 2725808.4584 | 1178747.7693
34 | 2725763.7016 | 1178625.2985
35 | 2725757.0348 | 1178598.892
36 | 2725763.9616 | 1178608.8312
37 | 2725737.4933 | 1178593.2646
38 | 2725734.1034 | 1178591.5868
39 | 2725657.0672 | 1178769.4729
40 | 2725594.1437 | 1178755.5914
41 | 2725660.3558 | 1178769.593
42 | 2725582.3546 | 1178706.113
43 | 2725697.8049 | 1178839.8062
44 | 2725739.06 | 1178853.6779
45 | 2725487.8007 | 1178767.8566
46 | 2725456.9074 | 1178780.4576
47 | 2725509.6092 | 1178780.1646
48 | 2725574.7176 | 1178698.1714
49 | 2725442.2984 | 1178785.5509
50 | 2725584.509 | 1178813.2428
51 | 2725484.8087 | 1178687.283
52 | 2725434.3664 | 1178664.9643
53 | 2725516.383 | 1178676.2774
54 | 2725520.1506 | 1178985.5025
55 | 2725751.4519 | 1178858.6889
56 | 2725754.7057 | 1178863.1604
57 | 2725435.2225 | 1178759.7012
58 | 2725383.4723 | 1178782.4741
59 | 2725561.0439 | 1178683.9524
60 | 2725544.6889 | 1178669.2713
61 | 2725535.1295 | 1178667.7188
62 | 2725389.7776 | 1178667.3949
63 | 2725440.5217 | 1178657.3725
64 | 2725382.5917 | 1178722.4518
65 | 2725492.6306 | 1178611.2416
66 | 2725471.7938 | 1178620.8373
67 | 2725680.1486 | 1178571.6601
68 | 2725694.0329 | 1178555.721
69 | 2725670.9845 | 1178551.2852
70 | 2725717.324 | 1178567.6168
71 | 2725660.3033 | 1178483.6595
72 | 2725661.348 | 1178549.4306
73 | 2725448.5986 | 1178610.3335
74 | 2725416.5295 | 1178601.7223
75 | 2725413.3093 | 1178601.1295
76 | 2725357.8302 | 1178659.3712
77 | 2725362.0075 | 1178592.1119
78 | 2725330.0258 | 1178586.5708
79 | 2725725.1276 | 1178959.734
80 | 2725740.3475 | 1178935.7923
81 | 2725744.3014 | 1178932.2426
82 | 2725757.5028 | 1178918.537
83 | 2725756.1171 | 1178879.2204
84 | 2725756.8238 | 1178888.9216
85 | 2725757.1866 | 1178893.9014
86 | 2725757.4113 | 1178898.9121
87 | 2725792.5115 | 1178890.2022
88 | 2725795.6816 | 1178890.0692
89 | 2725822.2985 | 1178887.7329
90 | 2725831.2338 | 1178886.3931
91 | 2725758.0184 | 1178912.4503
92 | 2725839.4733 | 1178885.1576
93 | 2725773.2995 | 1178923.6256
94 | 2725796.9075 | 1178922.9697
95 | 2725801.9858 | 1178922.8286
96 | 2725850.5781 | 1178882.986
97 | 2725855.9754 | 1178881.3089
98 | 2725867.3278 | 1178899.4429
99 | 2725434.3664 | 1178664.9643

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1