## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3988-22_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3988-22_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3988-22_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3988-22_0_3_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_3988-22_0_3_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_3988-22_0_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_3988-22_0_3_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_3988-22_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3988-22_0_3_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_3988-22_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3988-22_0_3_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_3988-22_0_3_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_3988-22_0_3_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_3988-22_0_3_node_3 | 0.4 | n |  | TRUE
14 | bus_LV_3988-22_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_3988-22_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_3988-22_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_3988-22_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_3988-22_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3988-22_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3988-22_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3988-22_0_3_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_3988-22_0_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_3988-22_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_3988-22_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3988-22_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3988-22_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_3988-22_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3988-22_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3988-22_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3988-22_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3988-22_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_3988-22_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_3988-22_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_3988-22_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_3988-22_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3988-22_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_3988-22_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_3988-22_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_3988-22_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_3988-22_0_3_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_3988-22_0_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_3988-22_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_3988-22_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_3988-22_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_3988-22_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3988-22_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_3988-22_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3988-22_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3988-22_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_3988-22_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_3988-22_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_3988-22_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_3988-22_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_3988-22_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_3988-22_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_3988-22_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_3988-22_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_3988-22_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_3988-22_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_3988-22_0_3_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_3988-22_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_3988-22_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_MV_179_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3988-22_0_3_load_0 | 0 | 0.0045998 | 0.0011528 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3988-22_0_3_load_2 | 2 | 0.0023894 | 0.00059885 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3988-22_0_3_load_24 | 5 | 0.0017859 | 0.0004476 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3988-22_0_3_load_60 | 6 | 0.0054991 | 0.0013782 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3988-22_0_3_load_5 | 7 | 0.00098521 | 0.00024692 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3988-22_0_3_load_38 | 8 | 0.0015734 | 0.00039434 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3988-22_0_3_load_4 | 9 | 0.0020908 | 0.000524 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3988-22_0_3_load_59 | 10 | 0.0058685 | 0.0014708 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3988-22_0_3_load_52 | 11 | 0.0027876 | 0.00069865 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3988-22_0_3_load_51 | 12 | 0.0026343 | 0.00066023 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3988-22_0_3_load_3 | 13 | 0.00088322 | 0.00022136 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3988-22_0_3_load_6 | 14 | 0.0039864 | 0.0009991 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3988-22_0_3_load_7 | 15 | 0.004114 | 0.0010311 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3988-22_0_3_load_8 | 16 | 0.0019138 | 0.00047963 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3988-22_0_3_load_9 | 17 | 0.00067633 | 0.0001695 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3988-22_0_3_load_10 | 18 | 0.0011343 | 0.00028428 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3988-22_0_3_load_11 | 19 | 0.0011313 | 0.00028353 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3988-22_0_3_load_12 | 20 | 0.0022413 | 0.00056173 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3988-22_0_3_load_33 | 21 | 0.0018397 | 0.00046106 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3988-22_0_3_load_32 | 22 | 0.0020695 | 0.00051868 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3988-22_0_3_load_13 | 23 | 0.0016371 | 0.0004103 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3988-22_0_3_load_14 | 24 | 0.0015668 | 0.00039268 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3988-22_0_3_load_15 | 25 | 0.00089144 | 0.00022342 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3988-22_0_3_load_17 | 27 | 0.0034727 | 0.00087034 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3988-22_0_3_load_22 | 29 | 0.0018354 | 0.00046 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3988-22_0_3_load_18 | 30 | 0.00080631 | 0.00020208 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3988-22_0_3_load_29 | 31 | 0.0011309 | 0.00028344 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3988-22_0_3_load_19 | 33 | 0.0025758 | 0.00064555 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3988-22_0_3_load_27 | 35 | 0.004418 | 0.0011073 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3988-22_0_3_load_28 | 36 | 0.0026014 | 0.00065196 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3988-22_0_3_load_31 | 39 | 0.0012852 | 0.0003221 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3988-22_0_3_load_50 | 40 | 0.0099253 | 0.0024875 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3988-22_0_3_load_42 | 41 | 0.0030111 | 0.00075464 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3988-22_0_3_load_36 | 42 | 0.001454 | 0.00036441 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3988-22_0_3_load_37 | 43 | 0.0029673 | 0.00074369 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3988-22_0_3_load_34 | 44 | 0.0019862 | 0.00049779 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3988-22_0_3_load_35 | 45 | 0.0012735 | 0.00031918 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3988-22_0_3_load_39 | 46 | 0.00085611 | 0.00021456 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3988-22_0_3_load_40 | 47 | 0.0021026 | 0.00052697 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3988-22_0_3_load_41 | 48 | 0.0062772 | 0.0015732 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3988-22_0_3_load_43 | 49 | 0.0064183 | 0.0016086 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3988-22_0_3_load_45 | 50 | 0.0068192 | 0.0017091 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3988-22_0_3_load_53 | 52 | 0.0033041 | 0.00082809 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3988-22_0_3_load_49 | 53 | 0.0096441 | 0.002417 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3988-22_0_3_load_47 | 54 | 0.0045052 | 0.0011291 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3988-22_0_3_load_48 | 55 | 0.0060738 | 0.0015222 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3988-22_0_3_load_55 | 57 | 0.0070007 | 0.0017545 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3988-22_0_3_load_57 | 59 | 0.0051023 | 0.0012788 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3988-22_0_3_load_61 | 60 | 0.0044131 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3988-22_0_3_load_58 | 61 | 0.0018498 | 0.00046359 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3988-22_0_3_load_62 | 62 | 0.01023 | 0.002564 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3988-22_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.071692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3988-22_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.074355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3988-22_0_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.025855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3988-22_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.011508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3988-22_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.011927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3988-22_0_3_line_5 | NAYY 4x150 SE | 4 | 32 | 0.015783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3988-22_0_3_line_6 | NAYY 4x150 SE | 4 | 8 | 0.0088244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3988-22_0_3_line_7 | NAYY 4x150 SE | 5 | 37 | 0.014993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3988-22_0_3_line_8 | NAYY 4x150 SE | 6 | 10 | 0.0392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3988-22_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.0071839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3988-22_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.00064804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3988-22_0_3_line_11 | NAYY 4x150 SE | 9 | 13 | 0.13642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3988-22_0_3_line_12 | NAYY 4x150 SE | 10 | 61 | 0.02232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3988-22_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.016667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3988-22_0_3_line_14 | NAYY 4x150 SE | 12 | 36 | 0.030036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3988-22_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.034141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3988-22_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.013966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3988-22_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.0064644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3988-22_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0042377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3988-22_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.030477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3988-22_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.0069114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3988-22_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.016337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3988-22_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0069394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3988-22_0_3_line_23 | NAYY 4x150 SE | 22 | 44 | 0.0016387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3988-22_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0058215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3988-22_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.0046946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3988-22_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.016169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3988-22_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0086126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3988-22_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.003614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3988-22_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0096541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3988-22_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.025178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3988-22_0_3_line_31 | NAYY 4x150 SE | 29 | 37 | 0.0032132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3988-22_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.0061262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3988-22_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0017589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3988-22_0_3_line_34 | NAYY 4x150 SE | 32 | 39 | 0.021146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3988-22_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.045391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3988-22_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.023156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3988-22_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.015935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_3988-22_0_3_line_38 | NAYY 4x150 SE | 35 | 38 | 0.013384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3988-22_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.032536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3988-22_0_3_line_40 | NAYY 4x150 SE | 38 | 41 | 0.00067852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3988-22_0_3_line_41 | NAYY 4x150 SE | 39 | 42 | 0.0099533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3988-22_0_3_line_42 | NAYY 4x150 SE | 40 | 52 | 0.079056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3988-22_0_3_line_43 | NAYY 4x150 SE | 41 | 47 | 0.0067687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3988-22_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0042505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3988-22_0_3_line_45 | NAYY 4x150 SE | 43 | 46 | 0.0031366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3988-22_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.010718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3988-22_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0077494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3988-22_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.0033204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3988-22_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.013768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3988-22_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.021061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3988-22_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.019498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3988-22_0_3_line_52 | NAYY 4x150 SE | 51 | 53 | 0.010604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3988-22_0_3_line_53 | NAYY 4x150 SE | 51 | 54 | 0.016519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3988-22_0_3_line_54 | NAYY 4x150 SE | 52 | 56 | 0.010052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3988-22_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.009471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3988-22_0_3_line_56 | NAYY 4x150 SE | 56 | 57 | 0.021434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3988-22_0_3_line_57 | NAYY 4x150 SE | 56 | 58 | 0.037435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3988-22_0_3_line_58 | NAYY 4x150 SE | 57 | 59 | 0.022555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3988-22_0_3_line_59 | NAYY 4x150 SE | 58 | 60 | 0.018931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3988-22_0_3_line_60 | NAYY 4x150 SE | 59 | 61 | 0.0028411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3988-22_0_3_line_61 | NAYY 4x150 SE | 60 | 62 | 0.01632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3988-22_0_3_trafo_51 | 0.25 MVA 20/0.4 kV | 63 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2727297.4886 | 1179052.4781 | 2727303.3006 | 1179047.9981 | 2727306.3456 | 1179046.4061 | 2727310.535 | 1179045.2719 | 2727314.8505 | 1179045.397 | 2727321.5167 | 1179046.0389 | 2727325.5224 | 1179045.6348 | 2727328.2672 | 1179044.1475 | 2727329.9696 | 1179041.3594 | 2727330.2588 | 1179038.5413 | 2727328.913 | 1179035.3326 | 2727326.4994 | 1179032.7461 | 2727316.8023 | 1179029.0709 | 2727315.5441 | 1179027.4986 | 2727315.7377 | 1179025.5791 | 2727320.6495 | 1179015.7531
1 | 2727297.4886 | 1179052.4781 | 2727293.0645 | 1179050.2714 | 2727282.9299 | 1179045.6085 | 2727265.4348 | 1179038.0873 | 2727236.8205 | 1179026.1937 | 2727229.278 | 1179022.9159
2 | 2727205.5656 | 1179012.6112 | 2727229.278 | 1179022.9159
3 | 2727188.9426 | 1179132.9563 | 2727189.8658 | 1179135.9113 | 2727190.3755 | 1179144.3061
4 | 2727188.9426 | 1179132.9563 | 2727177.5559 | 1179129.4084
5 | 2727175.0333 | 1179146.2711 | 2727179.985 | 1179144.1412 | 2727185.4347 | 1179143.7565 | 2727190.3755 | 1179144.3061
6 | 2727190.3755 | 1179144.3061 | 2727194.7825 | 1179144.7999 | 2727199.0743 | 1179145.7226
7 | 2727163.4294 | 1179124.409 | 2727171.48 | 1179127.5153 | 2727177.5559 | 1179129.4084
8 | 2727169.3363 | 1178997.663 | 2727186.5968 | 1179004.368 | 2727205.5656 | 1179012.6112
9 | 2727204.7237 | 1179149.8291 | 2727200.8079 | 1179146.0953 | 2727199.0743 | 1179145.7226
10 | 2727204.7237 | 1179149.8291 | 2727205.1927 | 1179150.2763
11 | 2727205.1927 | 1179150.2763 | 2727326.6613 | 1179212.3731
12 | 2727148.5307 | 1178989.581 | 2727169.3363 | 1178997.663
13 | 2727136.5474 | 1179083.1089 | 2727120.1519 | 1179080.1104
14 | 2727093.4902 | 1179085.7984 | 2727096.9128 | 1179081.6456 | 2727100.2528 | 1179078.7587 | 2727102.9384 | 1179077.8927 | 2727106.5255 | 1179077.7687 | 2727110.0003 | 1179078.2538 | 2727120.1519 | 1179080.1104
15 | 2727059.2805 | 1179184.8263 | 2727082.7582 | 1179185.8218 | 2727093.2206 | 1179187.7685
16 | 2727093.2206 | 1179187.7685 | 2727105.4207 | 1179190.0385 | 2727106.9082 | 1179190.4974
17 | 2727106.9082 | 1179190.4974 | 2727113.0852 | 1179192.4034
18 | 2727113.0852 | 1179192.4034 | 2727117.1345 | 1179193.6528
19 | 2727146.0491 | 1179203.2723 | 2727128.2905 | 1179197.095 | 2727117.1345 | 1179193.6528
20 | 2727152.749 | 1179204.9081 | 2727148.1369 | 1179203.9986 | 2727146.0491 | 1179203.2723
21 | 2727166.9153 | 1179197.8431 | 2727164.1755 | 1179200.5472 | 2727160.4158 | 1179203.0471 | 2727156.5852 | 1179204.567 | 2727152.749 | 1179204.9081 | 2727152.749 | 1179204.9081
22 | 2727171.8544 | 1179192.9685 | 2727166.9153 | 1179197.8431
23 | 2727171.8544 | 1179192.9685 | 2727173.0207 | 1179191.8173
24 | 2727149.9409 | 1179149.7395 | 2727146.7731 | 1179154.6237
25 | 2727144.2185 | 1179158.5624 | 2727146.7731 | 1179154.6237
26 | 2727158.7394 | 1179136.1737 | 2727149.9409 | 1179149.7395
27 | 2727139.5319 | 1179165.7882 | 2727144.2185 | 1179158.5624
28 | 2727158.7394 | 1179136.1737 | 2727155.5188 | 1179134.5154
29 | 2727155.5188 | 1179134.5154 | 2727161.1497 | 1179126.6734
30 | 2727155.5188 | 1179134.5154 | 2727133.1316 | 1179122.9933
31 | 2727163.4294 | 1179124.409 | 2727161.1497 | 1179126.6734
32 | 2727133.1316 | 1179122.9933 | 2727127.6845 | 1179120.1898
33 | 2727175.0333 | 1179146.2711 | 2727173.6673 | 1179145.1628
34 | 2727175.0333 | 1179146.2711 | 2727180.855 | 1179152.8438 | 2727186.4351 | 1179160.7234 | 2727187.5873 | 1179163.1762
35 | 2727086.9342 | 1179100.2588 | 2727097.6083 | 1179104.7105 | 2727127.6845 | 1179120.1898
36 | 2727086.9342 | 1179100.2588 | 2727081.5544 | 1179097.3427 | 2727077.5012 | 1179094.2212 | 2727073.069 | 1179089.8686 | 2727069.4586 | 1179085.4469
37 | 2727086.9342 | 1179100.2588 | 2727090.2453 | 1179091.5226 | 2727093.0219 | 1179086.3666 | 2727093.4902 | 1179085.7984
38 | 2727060.9937 | 1179075.0797 | 2727069.4586 | 1179085.4469
39 | 2727060.9937 | 1179075.0797 | 2727075.5399 | 1179059.8434 | 2727080.4534 | 1179055.5555 | 2727084.6086 | 1179052.786
40 | 2727060.5561 | 1179074.5612 | 2727060.9937 | 1179075.0797
41 | 2727187.5873 | 1179163.1762 | 2727189.0309 | 1179166.2492 | 2727190.0302 | 1179169.9397 | 2727189.9722 | 1179172.6738 | 2727189.9722 | 1179172.6738
42 | 2727084.6086 | 1179052.786 | 2727094.1487 | 1178974.3073
43 | 2727056.1905 | 1179069.3885 | 2727060.5561 | 1179074.5612
44 | 2727189.9722 | 1179172.6738 | 2727188.9784 | 1179175.566 | 2727188.2453 | 1179176.5063
45 | 2727188.2453 | 1179176.5063 | 2727187.2814 | 1179177.7427 | 2727186.1648 | 1179178.8448
46 | 2727180.6492 | 1179184.2883 | 2727173.0207 | 1179191.8173
47 | 2727180.6492 | 1179184.2883 | 2727186.1648 | 1179178.8448
48 | 2727056.1905 | 1179069.3885 | 2727054.0489 | 1179066.8511
49 | 2727045.1689 | 1179056.3297 | 2727054.0489 | 1179066.8511
50 | 2727045.1689 | 1179056.3297 | 2727042.0643 | 1179052.6512 | 2727031.9716 | 1179039.9184
51 | 2727019.8597 | 1179024.6382 | 2727031.9716 | 1179039.9184
52 | 2727019.8597 | 1179024.6382 | 2727013.5853 | 1179016.0899
53 | 2727019.8597 | 1179024.6382 | 2727009.9707 | 1179037.8707
54 | 2727104.1838 | 1178974.8438 | 2727095.8109 | 1178974.3104 | 2727094.1487 | 1178974.3073
55 | 2727004.3011 | 1179045.4573 | 2727009.9707 | 1179037.8707
56 | 2727104.1838 | 1178974.8438 | 2727109.4385 | 1178975.7336 | 2727118.3727 | 1178978.2692 | 2727124.8094 | 1178980.5161
57 | 2727104.1838 | 1178974.8438 | 2727104.4047 | 1178968.7551 | 2727103.7929 | 1178937.4192
58 | 2727124.8094 | 1178980.5161 | 2727128.6147 | 1178981.8445 | 2727145.8824 | 1178988.5522
59 | 2727103.7929 | 1178937.4192 | 2727115.7361 | 1178938.9846 | 2727122.3887 | 1178940.7623
60 | 2727148.5307 | 1178989.581 | 2727145.8824 | 1178988.5522
61 | 2727138.1555 | 1178944.9753 | 2727122.3887 | 1178940.7623

## bus_geodata
| x | y | coords
0 | 2727320.6495 | 1179015.7531
1 | 2727297.4886 | 1179052.4781
2 | 2727229.278 | 1179022.9159
3 | 2727188.9426 | 1179132.9563
4 | 2727190.3755 | 1179144.3061
5 | 2727177.5559 | 1179129.4084
6 | 2727205.5656 | 1179012.6112
7 | 2727204.7237 | 1179149.8291
8 | 2727199.0743 | 1179145.7226
9 | 2727205.1927 | 1179150.2763
10 | 2727169.3363 | 1178997.663
11 | 2727136.5474 | 1179083.1089
12 | 2727120.1519 | 1179080.1104
13 | 2727326.6613 | 1179212.3731
14 | 2727059.2805 | 1179184.8263
15 | 2727093.2206 | 1179187.7685
16 | 2727106.9082 | 1179190.4974
17 | 2727113.0852 | 1179192.4034
18 | 2727117.1345 | 1179193.6528
19 | 2727146.0491 | 1179203.2723
20 | 2727152.749 | 1179204.9081
21 | 2727166.9154 | 1179197.8431
22 | 2727171.8544 | 1179192.9685
23 | 2727146.7731 | 1179154.6237
24 | 2727149.9409 | 1179149.7395
25 | 2727144.2185 | 1179158.5624
26 | 2727158.7394 | 1179136.1737
27 | 2727139.5319 | 1179165.7882
28 | 2727155.5188 | 1179134.5154
29 | 2727161.1497 | 1179126.6734
30 | 2727133.1316 | 1179122.9933
31 | 2727173.6673 | 1179145.1628
32 | 2727175.0333 | 1179146.2711
33 | 2727127.6845 | 1179120.1898
34 | 2727086.9342 | 1179100.2588
35 | 2727069.4586 | 1179085.4469
36 | 2727093.4902 | 1179085.7984
37 | 2727163.4294 | 1179124.409
38 | 2727060.9937 | 1179075.0797
39 | 2727187.5873 | 1179163.1762
40 | 2727084.6086 | 1179052.786
41 | 2727060.5561 | 1179074.5612
42 | 2727189.9722 | 1179172.6738
43 | 2727188.2453 | 1179176.5063
44 | 2727173.0207 | 1179191.8173
45 | 2727180.6492 | 1179184.2883
46 | 2727186.1648 | 1179178.8448
47 | 2727056.1905 | 1179069.3885
48 | 2727054.0489 | 1179066.8511
49 | 2727045.1689 | 1179056.3297
50 | 2727031.9716 | 1179039.9184
51 | 2727019.8597 | 1179024.6382
52 | 2727094.1487 | 1178974.3073
53 | 2727013.5853 | 1179016.0899
54 | 2727009.9707 | 1179037.8707
55 | 2727004.3011 | 1179045.4573
56 | 2727104.1838 | 1178974.8438
57 | 2727124.8094 | 1178980.5161
58 | 2727103.7929 | 1178937.4192
59 | 2727145.8824 | 1178988.5522
60 | 2727122.3887 | 1178940.7623
61 | 2727148.5307 | 1178989.581
62 | 2727138.1555 | 1178944.9753
63 | 2727136.5474 | 1179083.1089

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1