## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_406-17_1_2_node_150 | 0.4 | n |  | TRUE
1 | bus_LV_406-17_1_2_node_73 | 0.4 | n |  | TRUE
2 | bus_LV_406-17_1_2_node_81 | 0.4 | n |  | TRUE
3 | bus_LV_406-17_1_2_node_62 | 0.4 | n |  | TRUE
4 | bus_LV_406-17_1_2_node_63 | 0.4 | n |  | TRUE
5 | bus_LV_406-17_1_2_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_406-17_1_2_node_65 | 0.4 | n |  | TRUE
7 | bus_LV_406-17_1_2_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_406-17_1_2_node_74 | 0.4 | n |  | TRUE
9 | bus_LV_406-17_1_2_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_406-17_1_2_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_406-17_1_2_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_406-17_1_2_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_406-17_1_2_node_70 | 0.4 | n |  | TRUE
14 | bus_LV_406-17_1_2_node_71 | 0.4 | n |  | TRUE
15 | bus_LV_406-17_1_2_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_406-17_1_2_node_86 | 0.4 | n |  | TRUE
17 | bus_LV_406-17_1_2_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_406-17_1_2_node_75 | 0.4 | n |  | TRUE
19 | bus_LV_406-17_1_2_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_406-17_1_2_node_77 | 0.4 | n |  | TRUE
21 | bus_LV_406-17_1_2_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_406-17_1_2_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_406-17_1_2_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_406-17_1_2_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_406-17_1_2_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_406-17_1_2_node_99 | 0.4 | n |  | TRUE
27 | bus_LV_406-17_1_2_node_111 | 0.4 | n |  | TRUE
28 | bus_LV_406-17_1_2_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_406-17_1_2_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_406-17_1_2_node_91 | 0.4 | n |  | TRUE
31 | bus_LV_406-17_1_2_node_92 | 0.4 | n |  | TRUE
32 | bus_LV_406-17_1_2_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_406-17_1_2_node_94 | 0.4 | n |  | TRUE
34 | bus_LV_406-17_1_2_node_101 | 0.4 | n |  | TRUE
35 | bus_LV_406-17_1_2_node_100 | 0.4 | n |  | TRUE
36 | bus_LV_406-17_1_2_node_95 | 0.4 | n |  | TRUE
37 | bus_LV_406-17_1_2_node_96 | 0.4 | n |  | TRUE
38 | bus_LV_406-17_1_2_node_98 | 0.4 | n |  | TRUE
39 | bus_LV_406-17_1_2_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_406-17_1_2_node_102 | 0.4 | n |  | TRUE
41 | bus_LV_406-17_1_2_node_103 | 0.4 | n |  | TRUE
42 | bus_LV_406-17_1_2_node_104 | 0.4 | n |  | TRUE
43 | bus_LV_406-17_1_2_node_105 | 0.4 | n |  | TRUE
44 | bus_LV_406-17_1_2_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_406-17_1_2_node_110 | 0.4 | n |  | TRUE
46 | bus_LV_406-17_1_2_node_107 | 0.4 | n |  | TRUE
47 | bus_LV_406-17_1_2_node_108 | 0.4 | n |  | TRUE
48 | bus_LV_406-17_1_2_node_109 | 0.4 | n |  | TRUE
49 | bus_LV_406-17_1_2_node_112 | 0.4 | n |  | TRUE
50 | bus_MV_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_406-17_1_2_load_81 | 2 | 0.00025356 | 6.3549e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_406-17_1_2_load_62 | 3 | 0.00041621 | 0.00010431 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_406-17_1_2_load_63 | 4 | 0.00074501 | 0.00018672 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_406-17_1_2_load_66 | 7 | 0.0015757 | 0.0003949 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_406-17_1_2_load_74 | 8 | 0.00035279 | 8.8417e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_406-17_1_2_load_72 | 9 | 0.0017491 | 0.00043837 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_406-17_1_2_load_67 | 10 | 0.0014097 | 0.00035331 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_406-17_1_2_load_68 | 11 | 0.00045521 | 0.00011409 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_406-17_1_2_load_70 | 13 | 0.0024553 | 0.00061535 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_406-17_1_2_load_71 | 14 | 0.00065681 | 0.00016461 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_406-17_1_2_load_80 | 15 | 0.00028267 | 7.0843e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_406-17_1_2_load_75 | 18 | 0.0001573 | 3.9423e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_406-17_1_2_load_76 | 19 | 0.00019358 | 4.8516e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_406-17_1_2_load_78 | 21 | 0.00023045 | 5.7756e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_406-17_1_2_load_79 | 22 | 0.00042272 | 0.00010594 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_406-17_1_2_load_82 | 23 | 0.001022 | 0.00025614 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_406-17_1_2_load_87 | 24 | 0.0018442 | 0.00046219 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_406-17_1_2_load_111 | 27 | 0.0033263 | 0.00083366 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_406-17_1_2_load_89 | 28 | 0.0028064 | 0.00070335 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_406-17_1_2_load_90 | 29 | 0.00052125 | 0.00013064 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_406-17_1_2_load_92 | 31 | 0.00038771 | 9.717e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_406-17_1_2_load_93 | 32 | 0.00057139 | 0.0001432 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_406-17_1_2_load_94 | 33 | 0.00054824 | 0.0001374 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_406-17_1_2_load_101 | 34 | 0.00096269 | 0.00024127 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_406-17_1_2_load_95 | 36 | 0.00063925 | 0.00016021 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_406-17_1_2_load_96 | 37 | 0.0011907 | 0.00029842 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_406-17_1_2_load_98 | 38 | 0.00088399 | 0.00022155 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_406-17_1_2_load_102 | 40 | 0.0016464 | 0.00041264 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_406-17_1_2_load_103 | 41 | 0.0026408 | 0.00066183 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_406-17_1_2_load_105 | 43 | 0.00077798 | 0.00019498 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_406-17_1_2_load_106 | 44 | 0.0014469 | 0.00036264 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_406-17_1_2_load_107 | 46 | 0.00060911 | 0.00015266 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_406-17_1_2_load_109 | 48 | 0.00047521 | 0.0001191 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_406-17_1_2_load_112 | 49 | 0.00045927 | 0.0001151 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_406-17_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.21559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_406-17_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.073993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_406-17_1_2_line_2 | NAYY 4x150 SE | 1 | 9 | 0.08693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_406-17_1_2_line_3 | NAYY 4x150 SE | 2 | 15 | 0.0020109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_406-17_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.015628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_406-17_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.037748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_406-17_1_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.052769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_406-17_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.036047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_406-17_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.026945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_406-17_1_2_line_9 | NAYY 4x150 SE | 6 | 9 | 0.024245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_406-17_1_2_line_10 | NAYY 4x150 SE | 8 | 17 | 0.077666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_406-17_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.012273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_406-17_1_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.043215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_406-17_1_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.026222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_406-17_1_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.079297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_406-17_1_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.02275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_406-17_1_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.19456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_406-17_1_2_line_17 | NAYY 4x150 SE | 16 | 24 | 0.081598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_406-17_1_2_line_18 | NAYY 4x150 SE | 16 | 25 | 0.17221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_406-17_1_2_line_19 | NAYY 4x150 SE | 17 | 23 | 0.20203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_406-17_1_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.013858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_406-17_1_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.010423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_406-17_1_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.030026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_406-17_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0085016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_406-17_1_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_406-17_1_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.015759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_406-17_1_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.19088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_406-17_1_2_line_27 | NAYY 4x150 SE | 26 | 38 | 0.0070322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_406-17_1_2_line_28 | NAYY 4x150 SE | 27 | 48 | 0.011537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_406-17_1_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.022058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_406-17_1_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.017587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_406-17_1_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.011211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_406-17_1_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.014162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_406-17_1_2_line_33 | NAYY 4x150 SE | 30 | 33 | 0.030842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_406-17_1_2_line_34 | NAYY 4x150 SE | 31 | 34 | 0.017824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_406-17_1_2_line_35 | NAYY 4x150 SE | 33 | 35 | 0.097612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_406-17_1_2_line_36 | NAYY 4x150 SE | 35 | 39 | 0.34193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_406-17_1_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.0052962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_406-17_1_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.18297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_406-17_1_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.017684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_406-17_1_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.048984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_406-17_1_2_line_41 | NAYY 4x150 SE | 40 | 42 | 0.14523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_406-17_1_2_line_42 | NAYY 4x150 SE | 41 | 43 | 0.0010441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_406-17_1_2_line_43 | NAYY 4x150 SE | 42 | 44 | 0.12873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_406-17_1_2_line_44 | NAYY 4x150 SE | 43 | 45 | 0.018097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_406-17_1_2_line_45 | NAYY 4x150 SE | 45 | 49 | 0.0065435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_406-17_1_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.004161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_406-17_1_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.031954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_406-17_1_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.041545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_406-17_1_2_trafo_99 | 0.25 MVA 20/0.4 kV | 50 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2617139.7935 | 1204405.3903 | 2617256.0004 | 1204586.9788
1 | 2617139.7935 | 1204405.3903 | 2617112.1577 | 1204378.5744 | 2617088.4863 | 1204359.2518 | 2617084.7082 | 1204356.0855
2 | 2617256.0004 | 1204586.9788 | 2617291.4625 | 1204650.4825 | 2617298.4805 | 1204662.8218
3 | 2617084.7082 | 1204356.0855 | 2617083.167 | 1204354.7938
4 | 2617247.0777 | 1204654.7471 | 2617240.1499 | 1204641.7299 | 2617239.5222 | 1204641.1096
5 | 2617260.1616 | 1204689.8027 | 2617255.9775 | 1204671.4695 | 2617247.0777 | 1204654.7471
6 | 2617260.1616 | 1204689.8027 | 2617268.4833 | 1204689.7934 | 2617273.5988 | 1204693.7436 | 2617281.4123 | 1204695.8896 | 2617295.8107 | 1204690.9728 | 2617309.1486 | 1204684.5634
7 | 2617260.1616 | 1204689.8027 | 2617263.7051 | 1204713.9595 | 2617263.8987 | 1204725.5896
8 | 2617309.1486 | 1204684.5634 | 2617313.3809 | 1204694.0475 | 2617319.1575 | 1204709.5666
9 | 2617309.1486 | 1204684.5634 | 2617302.9512 | 1204670.6823 | 2617298.4805 | 1204662.8218
10 | 2617345.11 | 1204782.7546 | 2617334.802 | 1204751.5965 | 2617319.1575 | 1204709.5666
11 | 2617035.9371 | 1204315.8216 | 2617042.4059 | 1204320.6328 | 2617045.6336 | 1204323.3379
12 | 2617002.132 | 1204289.0567 | 2617007.1148 | 1204294.3849 | 2617035.9371 | 1204315.8216
13 | 2617065.7309 | 1204340.181 | 2617045.6336 | 1204323.3379
14 | 2617002.132 | 1204289.0567 | 2617008.3639 | 1204283.1489 | 2617013.0713 | 1204278.2818 | 2617018.2118 | 1204268.2687 | 2617024.5814 | 1204251.3998 | 2617029.7303 | 1204235.7503 | 2617030.5766 | 1204224.3687 | 2617029.7818 | 1204217.6517
15 | 2617065.7309 | 1204340.181 | 2617083.167 | 1204354.7938
16 | 2617032.132 | 1204033.1907 | 2617030.2945 | 1204034.653 | 2617028.3475 | 1204037.1266 | 2617026.7348 | 1204039.7568 | 2617024.0032 | 1204045.3187 | 2617021.756 | 1204051.6936 | 2617019.8099 | 1204059.2255 | 2617017.7405 | 1204070.0033 | 2617016.6888 | 1204081.3955 | 2617012.9705 | 1204096.8378 | 2617011.9182 | 1204108.43 | 2617012.6992 | 1204120.0275 | 2617012.2683 | 1204129.7872 | 2617010.8145 | 1204138.1209 | 2617009.9872 | 1204142.7989 | 2617007.9164 | 1204156.7674 | 2617007.6826 | 1204166.7388 | 2617008.4554 | 1204178.5919 | 2617011.9049 | 1204188.1069 | 2617018.1841 | 1204200.387 | 2617024.2879 | 1204210.1097 | 2617029.7818 | 1204217.6517
17 | 2617032.132 | 1204033.1907 | 2617034.5778 | 1204031.8748 | 2617037.5237 | 1204031.2383 | 2617045.2705 | 1204030.4266 | 2617056.06 | 1204029.7013 | 2617061.8977 | 1204028.7285 | 2617067.608 | 1204027.0883 | 2617079.6006 | 1204023.3427 | 2617087.3054 | 1204021.2413 | 2617094.7035 | 1204019.9839 | 2617102.9291 | 1204019.3403 | 2617108.9792 | 1204018.6016 | 2617111.8825 | 1204018.1097
18 | 2616901.126 | 1203970.1076 | 2616900.7757 | 1203972.9526 | 2616908.5578 | 1203973.0969 | 2616925.5174 | 1203972.311 | 2616952.0004 | 1203969.2619 | 2616957.0774 | 1203968.3091 | 2616960.627 | 1203966.7294 | 2616963.687 | 1203966.1155 | 2616984.3581 | 1203965.6516 | 2616988.7908 | 1203966.5646 | 2616991.8157 | 1203967.5849 | 2616994.0317 | 1203969.4922 | 2616995.834 | 1203972.4211 | 2616998.5506 | 1203977.5539 | 2617001.9497 | 1203986.1126 | 2617006.0682 | 1203993.1615 | 2617013.5009 | 1204003.844 | 2617018.3226 | 1204012.4068 | 2617024.145 | 1204022.1843 | 2617032.132 | 1204033.1907
19 | 2617345.11 | 1204782.7546 | 2617348.9429 | 1204780.4088 | 2617353.1416 | 1204777.8307 | 2617383.7441 | 1204759.0424 | 2617411.6126 | 1204738.8122 | 2617452.4164 | 1204709.4704 | 2617482.7981 | 1204688.3585 | 2617487.8882 | 1204687.962 | 2617492.0905 | 1204689.3751 | 2617502.4242 | 1204701.0894 | 2617508.5093 | 1204708.8321
20 | 2617547.1386 | 1204689.1532 | 2617544.4066 | 1204695.4869 | 2617540.5733 | 1204701.2965
21 | 2617552.279 | 1204680.1016 | 2617550.9718 | 1204682.2878 | 2617547.8836 | 1204687.426 | 2617547.1386 | 1204689.1532
22 | 2617518.5815 | 1204721.6479 | 2617520.8616 | 1204719.6869 | 2617531.5025 | 1204709.5458 | 2617539.6771 | 1204702.6548 | 2617540.5733 | 1204701.2965
23 | 2617552.279 | 1204680.1016 | 2617555.4489 | 1204683.3793 | 2617555.8473 | 1204685.0147 | 2617556.0798 | 1204687.2612
24 | 2617508.5093 | 1204708.8321 | 2617518.5815 | 1204721.6479 | 2617518.5815 | 1204721.6479
25 | 2617127.5474 | 1204016.5647 | 2617124.4197 | 1204016.9004 | 2617116.2707 | 1204017.3662 | 2617111.8825 | 1204018.1097
26 | 2616901.126 | 1203970.1076 | 2616845.2851 | 1203787.5786
27 | 2617127.5474 | 1204016.5647 | 2617129.9988 | 1204015.9269 | 2617132.0937 | 1204014.9435 | 2617133.8017 | 1204013.5809
28 | 2616849.2998 | 1203776.7632 | 2616845.2851 | 1203787.5786
29 | 2617593.8755 | 1204028.1781 | 2617595.6478 | 1204034.3639 | 2617599.0958 | 1204049.2711 | 2617599.1875 | 1204049.5801
30 | 2617587.4065 | 1204011.8385 | 2617593.2155 | 1204025.8743 | 2617593.8755 | 1204028.1781
31 | 2617602.4499 | 1204060.3042 | 2617601.8529 | 1204058.562 | 2617599.1875 | 1204049.5801
32 | 2617587.4065 | 1204011.8385 | 2617578.0865 | 1204009.4987 | 2617573.6634 | 1204008.4183
33 | 2617587.4065 | 1204011.8385 | 2617585.1285 | 1204002.6045 | 2617584.1384 | 1203992.6295 | 2617585.2501 | 1203981.9269 | 2617585.3724 | 1203981.3939
34 | 2617602.4499 | 1204060.3042 | 2617603.8819 | 1204064.4823 | 2617605.6292 | 1204070.4796 | 2617606.4665 | 1204075.496 | 2617606.627 | 1204077.5642
35 | 2617590.9802 | 1203885.5577 | 2617594.2095 | 1203897.2624 | 2617595.8117 | 1203908.6623 | 2617596.0401 | 1203921.5478 | 2617595.7328 | 1203935.51 | 2617592.8816 | 1203953.0668 | 2617588.14 | 1203969.3285 | 2617585.3724 | 1203981.3939
36 | 2617251.2946 | 1203846.471 | 2617590.9802 | 1203885.5577
37 | 2617237.5914 | 1203862.8961 | 2617237.1183 | 1203860.7492 | 2617237.0778 | 1203858.9592 | 2617237.7505 | 1203857.8383 | 2617237.7505 | 1203857.8383
38 | 2617133.8017 | 1204013.5809 | 2617237.5914 | 1203862.8961
39 | 2617251.2946 | 1203846.471 | 2617239.726 | 1203856.0541 | 2617237.7505 | 1203857.8383
40 | 2616872.8311 | 1203668.0855 | 2616872.3962 | 1203671.5635 | 2616870.8915 | 1203687.1455 | 2616868.4739 | 1203716.8717
41 | 2616924.4698 | 1203540.6721 | 2616921.7011 | 1203540.4308 | 2616915.3666 | 1203542.0361 | 2616910.6655 | 1203544.4686 | 2616906.5755 | 1203548.726 | 2616904.6186 | 1203554.6904 | 2616901.8585 | 1203564.8882 | 2616899.4876 | 1203582.7691 | 2616896.5046 | 1203596.4793 | 2616893.0471 | 1203608.4983 | 2616888.9424 | 1203620.6934 | 2616879.3099 | 1203642.5337 | 2616874.4821 | 1203654.8825 | 2616872.8311 | 1203668.0855
42 | 2616868.4739 | 1203716.8717 | 2616868.3893 | 1203717.9124
43 | 2616924.4698 | 1203540.6721 | 2616928.9862 | 1203560.5179 | 2616937.9131 | 1203591.8714 | 2616949.6315 | 1203623.4551 | 2616954.5707 | 1203655.1419 | 2616955.6756 | 1203665.1038
44 | 2616869.4609 | 1203735.9126 | 2616868.6842 | 1203730.752 | 2616868.0387 | 1203722.2233 | 2616868.3893 | 1203717.9124
45 | 2616869.4609 | 1203735.9126 | 2616872.3682 | 1203741.7748
46 | 2616869.4609 | 1203735.9126 | 2616867.3814 | 1203739.5198
47 | 2616867.3814 | 1203739.5198 | 2616847.2843 | 1203733.0598 | 2616840.7585 | 1203732.43 | 2616836.4747 | 1203732.6292
48 | 2616867.3814 | 1203739.5198 | 2616855.4779 | 1203760.1198 | 2616849.2998 | 1203776.7632

## bus_geodata
| x | y | coords
0 | 2617139.7935 | 1204405.3903
1 | 2617256.0004 | 1204586.9788
2 | 2617084.7082 | 1204356.0855
3 | 2617247.0777 | 1204654.7471
4 | 2617239.5222 | 1204641.1096
5 | 2617260.1616 | 1204689.8027
6 | 2617309.1486 | 1204684.5634
7 | 2617263.8987 | 1204725.5896
8 | 2617319.1575 | 1204709.5666
9 | 2617298.4805 | 1204662.8218
10 | 2617035.9371 | 1204315.8216
11 | 2617045.6336 | 1204323.3379
12 | 2617002.132 | 1204289.0567
13 | 2617065.7309 | 1204340.181
14 | 2617029.7818 | 1204217.6517
15 | 2617083.167 | 1204354.7938
16 | 2617032.132 | 1204033.1907
17 | 2617345.11 | 1204782.7546
18 | 2617547.1386 | 1204689.1532
19 | 2617540.5733 | 1204701.2965
20 | 2617552.2789 | 1204680.1016
21 | 2617518.5815 | 1204721.6479
22 | 2617556.0798 | 1204687.2612
23 | 2617508.5093 | 1204708.8321
24 | 2617111.8825 | 1204018.1097
25 | 2616901.126 | 1203970.1076
26 | 2617127.5474 | 1204016.5647
27 | 2616845.2851 | 1203787.5786
28 | 2617593.8755 | 1204028.1781
29 | 2617599.1875 | 1204049.5801
30 | 2617587.4065 | 1204011.8385
31 | 2617602.4499 | 1204060.3042
32 | 2617573.6634 | 1204008.4183
33 | 2617585.3724 | 1203981.3939
34 | 2617606.627 | 1204077.5642
35 | 2617590.9802 | 1203885.5577
36 | 2617237.5914 | 1203862.8961
37 | 2617237.7505 | 1203857.8383
38 | 2617133.8017 | 1204013.5809
39 | 2617251.2946 | 1203846.471
40 | 2616872.8311 | 1203668.0855
41 | 2616868.4739 | 1203716.8717
42 | 2616924.4697 | 1203540.6721
43 | 2616868.3893 | 1203717.9124
44 | 2616955.6756 | 1203665.1038
45 | 2616869.4609 | 1203735.9126
46 | 2616836.4747 | 1203732.6292
47 | 2616867.3814 | 1203739.5198
48 | 2616849.2998 | 1203776.7632
49 | 2616872.3682 | 1203741.7748
50 | 2617127.5474 | 1204016.5647

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1