## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_406-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_406-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_406-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_406-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_406-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_406-3_0_4_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_406-3_0_4_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_406-3_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_406-3_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_406-3_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_406-3_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_406-3_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_406-3_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_406-3_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_406-3_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_406-3_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_406-3_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_406-3_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_406-3_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_406-3_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_406-3_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_406-3_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_406-3_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_406-3_0_4_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_406-3_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_406-3_0_4_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_406-3_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_406-3_0_4_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_406-3_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_406-3_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_406-3_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_406-3_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_406-3_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_406-3_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_406-3_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_406-3_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_406-3_0_4_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_406-3_0_4_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_406-3_0_4_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_406-3_0_4_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_406-3_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_406-3_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_406-3_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_406-3_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_406-3_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_406-3_0_4_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_406-3_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_406-3_0_4_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_406-3_0_4_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_406-3_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_406-3_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_406-3_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_406-3_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_406-3_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_406-3_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_406-3_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_406-3_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_406-3_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_406-3_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_406-3_0_4_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_406-3_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_406-3_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_406-3_0_4_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_406-3_0_4_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_406-3_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_406-3_0_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_406-3_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_406-3_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_406-3_0_4_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_406-3_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_406-3_0_4_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_406-3_0_4_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_406-3_0_4_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_406-3_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_406-3_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_406-3_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_406-3_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_406-3_0_4_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_406-3_0_4_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_406-3_0_4_node_79 | 0.4 | n |  | TRUE
80 | bus_MV_181_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_406-3_0_4_load_0 | 0 | 0.017691 | 0.0044339 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_406-3_0_4_load_1 | 1 | 0.0028339 | 0.00071023 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_406-3_0_4_load_3 | 3 | 0.001246 | 0.00031228 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_406-3_0_4_load_4 | 4 | 0.0011958 | 0.0002997 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_406-3_0_4_load_38 | 5 | 0.0012428 | 0.00031148 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_406-3_0_4_load_37 | 6 | 0.0057137 | 0.001432 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_406-3_0_4_load_5 | 7 | 0.0035259 | 0.00088366 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_406-3_0_4_load_7 | 9 | 0.0036363 | 0.00091135 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_406-3_0_4_load_8 | 10 | 0.0024334 | 0.00060988 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_406-3_0_4_load_9 | 11 | 0.0043682 | 0.0010948 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_406-3_0_4_load_10 | 12 | 0.0024103 | 0.00060407 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_406-3_0_4_load_12 | 13 | 0.002695 | 0.00067544 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_406-3_0_4_load_17 | 16 | 0.0064082 | 0.001606 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_406-3_0_4_load_18 | 17 | 0.0031336 | 0.00078535 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_406-3_0_4_load_15 | 19 | 0.0032128 | 0.00080519 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_406-3_0_4_load_19 | 20 | 0.00070732 | 0.00017727 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_406-3_0_4_load_20 | 21 | 0.0041736 | 0.001046 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_406-3_0_4_load_30 | 23 | 0.0026923 | 0.00067474 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_406-3_0_4_load_23 | 24 | 0.0016145 | 0.00040462 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_406-3_0_4_load_32 | 25 | 0.0018872 | 0.00047298 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_406-3_0_4_load_21 | 26 | 0.0016865 | 0.00042268 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_406-3_0_4_load_29 | 28 | 0.0032187 | 0.00080669 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_406-3_0_4_load_22 | 29 | 0.0048638 | 0.001219 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_406-3_0_4_load_24 | 30 | 0.0025538 | 0.00064004 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_406-3_0_4_load_25 | 31 | 0.00094754 | 0.00023748 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_406-3_0_4_load_26 | 32 | 0.0033739 | 0.00084558 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_406-3_0_4_load_27 | 33 | 0.00051322 | 0.00012862 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_406-3_0_4_load_28 | 34 | 0.0028693 | 0.00071911 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_406-3_0_4_load_35 | 35 | 0.00058349 | 0.00014624 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_406-3_0_4_load_50 | 36 | 0.0020408 | 0.00051148 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_406-3_0_4_load_49 | 37 | 0.0014767 | 0.0003701 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_406-3_0_4_load_81 | 38 | 0.001182 | 0.00029623 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_406-3_0_4_load_80 | 39 | 0.0011744 | 0.00029433 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_406-3_0_4_load_40 | 41 | 0.0025639 | 0.00064257 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_406-3_0_4_load_41 | 42 | 0.002452 | 0.00061453 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_406-3_0_4_load_42 | 43 | 0.0019495 | 0.00048859 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_406-3_0_4_load_43 | 44 | 0.0019171 | 0.00048048 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_406-3_0_4_load_44 | 46 | 0.0019822 | 0.00049678 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_406-3_0_4_load_59 | 47 | 0.0013511 | 0.00033861 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_406-3_0_4_load_56 | 48 | 0.0072829 | 0.0018253 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_406-3_0_4_load_45 | 49 | 0.0011393 | 0.00028553 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_406-3_0_4_load_46 | 50 | 0.00069492 | 0.00017416 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_406-3_0_4_load_47 | 51 | 0.0014698 | 0.00036837 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_406-3_0_4_load_48 | 52 | 0.00060989 | 0.00015285 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_406-3_0_4_load_51 | 53 | 0.0036085 | 0.00090438 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_406-3_0_4_load_52 | 54 | 0.0036064 | 0.00090386 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_406-3_0_4_load_54 | 56 | 0.0042004 | 0.0010527 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_406-3_0_4_load_55 | 57 | 0.00080278 | 0.00020119 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_406-3_0_4_load_57 | 58 | 0.0019349 | 0.00048494 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_406-3_0_4_load_60 | 61 | 0.001043 | 0.00026141 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_406-3_0_4_load_82 | 62 | 0.0036594 | 0.00091714 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_406-3_0_4_load_73 | 63 | 0.003943 | 0.00098822 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_406-3_0_4_load_64 | 65 | 0.0017203 | 0.00043114 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_406-3_0_4_load_66 | 67 | 0.0063333 | 0.0015873 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_406-3_0_4_load_67 | 68 | 0.012499 | 0.0031326 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_406-3_0_4_load_68 | 69 | 0.00055072 | 0.00013802 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_406-3_0_4_load_69 | 70 | 0.00092567 | 0.000232 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_406-3_0_4_load_83 | 71 | 0.00062985 | 0.00015786 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_406-3_0_4_load_71 | 72 | 0.012229 | 0.0030649 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_406-3_0_4_load_74 | 74 | 0.002377 | 0.00059572 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_406-3_0_4_load_75 | 75 | 0.0046996 | 0.0011778 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_406-3_0_4_load_76 | 76 | 0.0011173 | 0.00028001 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_406-3_0_4_load_77 | 77 | 0.00047541 | 0.00011915 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_406-3_0_4_load_78 | 78 | 0.0011489 | 0.00028793 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_406-3_0_4_load_79 | 79 | 0.0009565 | 0.00023972 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_406-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_406-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_406-3_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0056318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_406-3_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0053917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_406-3_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.023602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_406-3_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0096862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_406-3_0_4_line_6 | NAYY 4x150 SE | 6 | 40 | 0.0094882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_406-3_0_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.015786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_406-3_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0064452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_406-3_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.025256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_406-3_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.020597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_406-3_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.015871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_406-3_0_4_line_12 | NAYY 4x150 SE | 12 | 13 | 0.01909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_406-3_0_4_line_13 | NAYY 4x150 SE | 13 | 14 | 0.017447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_406-3_0_4_line_14 | NAYY 4x150 SE | 14 | 18 | 0.03553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_406-3_0_4_line_15 | NAYY 4x150 SE | 14 | 19 | 0.044547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_406-3_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.01194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_406-3_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0068915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_406-3_0_4_line_18 | NAYY 4x150 SE | 16 | 24 | 0.02711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_406-3_0_4_line_19 | NAYY 4x150 SE | 17 | 25 | 0.0028671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_406-3_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.019149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_406-3_0_4_line_21 | NAYY 4x150 SE | 18 | 21 | 0.015962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_406-3_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.024217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_406-3_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.018601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_406-3_0_4_line_24 | NAYY 4x150 SE | 22 | 27 | 0.081224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_406-3_0_4_line_25 | NAYY 4x150 SE | 23 | 28 | 0.0076176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_406-3_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0047319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_406-3_0_4_line_27 | NAYY 4x150 SE | 26 | 29 | 0.0055998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_406-3_0_4_line_28 | NAYY 4x150 SE | 27 | 35 | 0.025074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_406-3_0_4_line_29 | NAYY 4x150 SE | 28 | 34 | 0.023077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_406-3_0_4_line_30 | NAYY 4x150 SE | 29 | 30 | 0.017216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_406-3_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.0084988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_406-3_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.015368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_406-3_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.019108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_406-3_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0031869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_406-3_0_4_line_35 | NAYY 4x150 SE | 35 | 36 | 0.010719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_406-3_0_4_line_36 | NAYY 4x150 SE | 36 | 37 | 0.0077629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_406-3_0_4_line_37 | NAYY 4x150 SE | 37 | 52 | 0.022361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_406-3_0_4_line_38 | NAYY 4x150 SE | 38 | 39 | 0.019947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_406-3_0_4_line_39 | NAYY 4x150 SE | 39 | 79 | 0.030218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_406-3_0_4_line_40 | NAYY 4x150 SE | 40 | 41 | 0.0083063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_406-3_0_4_line_41 | NAYY 4x150 SE | 40 | 42 | 0.039857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_406-3_0_4_line_42 | NAYY 4x150 SE | 41 | 43 | 0.01615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_406-3_0_4_line_43 | NAYY 4x150 SE | 42 | 44 | 0.0041197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_406-3_0_4_line_44 | NAYY 4x150 SE | 43 | 45 | 0.035571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_406-3_0_4_line_45 | NAYY 4x150 SE | 44 | 46 | 0.004905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_406-3_0_4_line_46 | NAYY 4x150 SE | 45 | 47 | 0.021626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_406-3_0_4_line_47 | NAYY 4x150 SE | 45 | 48 | 0.0066823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_406-3_0_4_line_48 | NAYY 4x150 SE | 46 | 49 | 0.0048247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_406-3_0_4_line_49 | NAYY 4x150 SE | 47 | 62 | 8.8087e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_406-3_0_4_line_50 | NAYY 4x150 SE | 48 | 56 | 0.01591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_406-3_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.027642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_406-3_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.033764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_406-3_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0031673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_406-3_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0017764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_406-3_0_4_line_55 | NAYY 4x150 SE | 53 | 55 | 0.053452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_406-3_0_4_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0016174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_406-3_0_4_line_57 | NAYY 4x150 SE | 55 | 57 | 0.012592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_406-3_0_4_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0019291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_406-3_0_4_line_59 | NAYY 4x150 SE | 58 | 59 | 0.044812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_406-3_0_4_line_60 | NAYY 4x150 SE | 59 | 60 | 0.008501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_406-3_0_4_line_61 | NAYY 4x150 SE | 59 | 61 | 0.021298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_406-3_0_4_line_62 | NAYY 4x150 SE | 60 | 67 | 0.058339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_406-3_0_4_line_63 | NAYY 4x150 SE | 60 | 68 | 0.012769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_406-3_0_4_line_64 | NAYY 4x150 SE | 61 | 64 | 0.031451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_406-3_0_4_line_65 | NAYY 4x150 SE | 62 | 63 | 0.041109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_406-3_0_4_line_66 | NAYY 4x150 SE | 63 | 73 | 0.034549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_406-3_0_4_line_67 | NAYY 4x150 SE | 64 | 65 | 0.037234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_406-3_0_4_line_68 | NAYY 4x150 SE | 64 | 66 | 0.042659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_406-3_0_4_line_69 | NAYY 4x150 SE | 65 | 69 | 0.0002634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_406-3_0_4_line_70 | NAYY 4x150 SE | 66 | 70 | 0.047529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_406-3_0_4_line_71 | NAYY 4x150 SE | 69 | 71 | 0.010165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_406-3_0_4_line_72 | NAYY 4x150 SE | 72 | 73 | 0.017745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_406-3_0_4_line_73 | NAYY 4x150 SE | 73 | 74 | 0.0077217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_406-3_0_4_line_74 | NAYY 4x150 SE | 74 | 75 | 0.023998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_406-3_0_4_line_75 | NAYY 4x150 SE | 75 | 76 | 0.0027272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_406-3_0_4_line_76 | NAYY 4x150 SE | 76 | 77 | 0.02106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_406-3_0_4_line_77 | NAYY 4x150 SE | 77 | 78 | 0.0076632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_406-3_0_4_line_78 | NAYY 4x150 SE | 78 | 79 | 0.00019374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_406-3_0_4_trafo_41 | 0.25 MVA 20/0.4 kV | 80 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2616135.4688 | 1207175.403 | 2616145.1865 | 1207178.4327
1 | 2616123.8494 | 1207171.7803 | 2616135.4688 | 1207175.403
2 | 2616123.8494 | 1207171.7803 | 2616118.4734 | 1207170.1023
3 | 2616118.4734 | 1207170.1023 | 2616113.3266 | 1207168.4958
4 | 2616113.3266 | 1207168.4958 | 2616110.5924 | 1207167.6424 | 2616089.8561 | 1207167.4307
5 | 2616080.1704 | 1207167.3318 | 2616089.8561 | 1207167.4307
6 | 2616070.6827 | 1207167.235 | 2616080.1704 | 1207167.3318
7 | 2615963.0592 | 1207051.5612 | 2615958.3218 | 1207048.836 | 2615951.748 | 1207040.8801
8 | 2615947.6426 | 1207035.9115 | 2615951.748 | 1207040.8801
9 | 2615963.0592 | 1207051.5612 | 2615951.1688 | 1207062.3355 | 2615941.9671 | 1207062.7431
10 | 2615963.0592 | 1207051.5612 | 2615983.6414 | 1207050.7844
11 | 2615941.9671 | 1207062.7431 | 2615926.1113 | 1207063.4454
12 | 2615926.1113 | 1207063.4454 | 2615907.0397 | 1207064.2903
13 | 2615889.6101 | 1207065.0623 | 2615907.0397 | 1207064.2903
14 | 2615889.6101 | 1207065.0623 | 2615888.0245 | 1207075.1748 | 2615887.1107 | 1207092.8599 | 2615886.7257 | 1207100.4297
15 | 2615889.6101 | 1207065.0623 | 2615897.4216 | 1207021.2051
16 | 2616062.9882 | 1207076.4309 | 2616051.2013 | 1207078.3361
17 | 2616062.9882 | 1207076.4309 | 2616069.8483 | 1207075.774
18 | 2616051.2013 | 1207078.3361 | 2616024.4383 | 1207082.662
19 | 2616069.8483 | 1207075.774 | 2616072.7023 | 1207075.5007
20 | 2615886.7257 | 1207100.4297 | 2615884.4885 | 1207103.9369 | 2615876.4464 | 1207116.5855
21 | 2615886.7257 | 1207100.4297 | 2615902.4183 | 1207097.509
22 | 2615863.453 | 1207137.0216 | 2615876.4464 | 1207116.5855
23 | 2615920.7048 | 1207094.1054 | 2615902.4183 | 1207097.509
24 | 2615891.1013 | 1207193.6483 | 2615901.55 | 1207164.4488 | 2615873.9272 | 1207155.5485 | 2615863.453 | 1207137.0216
25 | 2615920.7048 | 1207094.1054 | 2615928.1938 | 1207092.7115
26 | 2616024.4383 | 1207082.662 | 2616019.7671 | 1207083.417
27 | 2616014.2172 | 1207084.1427 | 2616016.9131 | 1207083.8783 | 2616019.7671 | 1207083.417
28 | 2615891.1013 | 1207193.6483 | 2615914.1474 | 1207183.7693
29 | 2615951.142 | 1207090.3274 | 2615929.7149 | 1207092.4284 | 2615928.1938 | 1207092.7115
30 | 2616014.2172 | 1207084.1427 | 2615997.0834 | 1207085.8227
31 | 2615988.6252 | 1207086.652 | 2615997.0834 | 1207085.8227
32 | 2615973.3304 | 1207088.1517 | 2615988.6252 | 1207086.652
33 | 2615973.3304 | 1207088.1517 | 2615954.3136 | 1207090.0164
34 | 2615951.142 | 1207090.3274 | 2615954.3136 | 1207090.0164
35 | 2615924.2383 | 1207180.2445 | 2615919.4794 | 1207181.4836 | 2615914.1474 | 1207183.7693
36 | 2615931.7507 | 1207178.2884 | 2615924.2383 | 1207180.2445
37 | 2615931.7507 | 1207178.2884 | 2615948.4308 | 1207173.9453 | 2615953.3917 | 1207172.6578 | 2615953.3917 | 1207172.6578
38 | 2615931.8247 | 1207272.6116 | 2615926.6135 | 1207272.2193 | 2615911.893 | 1207272.1631
39 | 2615961.9576 | 1207274.8799 | 2615931.8247 | 1207272.6116
40 | 2616070.6827 | 1207167.235 | 2616065.6868 | 1207173.871
41 | 2616070.6827 | 1207167.235 | 2616051.7674 | 1207163.5711 | 2616033.2323 | 1207162.7099 | 2616031.2133 | 1207162.9614
42 | 2616065.6868 | 1207173.871 | 2616055.9733 | 1207186.7735
43 | 2616027.1252 | 1207163.4707 | 2616031.2133 | 1207162.9614
44 | 2616057.4224 | 1207218.1942 | 2616061.4125 | 1207198.9609 | 2616059.855 | 1207195.6883 | 2616054.3892 | 1207192.4385 | 2616055.4976 | 1207187.4054 | 2616055.9733 | 1207186.7735
45 | 2616022.2578 | 1207164.077 | 2616027.1252 | 1207163.4707
46 | 2616057.4224 | 1207218.1942 | 2616036.1154 | 1207214.4944
47 | 2616057.4224 | 1207218.1942 | 2616056.8495 | 1207224.8519 | 2616056.8495 | 1207224.8519
48 | 2616022.2578 | 1207164.077 | 2616017.4701 | 1207164.6734
49 | 2616036.1154 | 1207214.4944 | 2616036.0286 | 1207214.4793
50 | 2616072.5722 | 1207227.2842 | 2616056.8495 | 1207224.8519
51 | 2615990.0398 | 1207168.0912 | 2616010.0795 | 1207165.594 | 2616017.4701 | 1207164.6734
52 | 2615990.0398 | 1207168.0912 | 2615956.5347 | 1207172.2662
53 | 2615956.5347 | 1207172.2662 | 2615953.3917 | 1207172.6578
54 | 2616075.9261 | 1207227.803 | 2616074.1707 | 1207227.5314
55 | 2616126.7279 | 1207240.7483 | 2616118.2825 | 1207234.3554 | 2616075.9261 | 1207227.803
56 | 2616074.1707 | 1207227.5314 | 2616072.5722 | 1207227.2842
57 | 2616126.7279 | 1207240.7483 | 2616124.765 | 1207253.1867
58 | 2616124.765 | 1207253.1867 | 2616124.4643 | 1207255.0922
59 | 2616117.9781 | 1207299.4239 | 2616119.2014 | 1207288.4433 | 2616124.4643 | 1207255.0922
60 | 2616117.9781 | 1207299.4239 | 2616109.4685 | 1207299.9457
61 | 2616117.9781 | 1207299.4239 | 2616139.2544 | 1207298.4582
62 | 2616109.4685 | 1207299.9457 | 2616108.1426 | 1207332.1155 | 2616134.272 | 1207331.3216
63 | 2616109.4685 | 1207299.9457 | 2616096.7046 | 1207300.3019
64 | 2616170.6756 | 1207297.0868 | 2616149.8856 | 1207297.9757 | 2616139.2544 | 1207298.4582
65 | 2616031.674 | 1207250.4827 | 2616030.9385 | 1207229.9631 | 2616028.2015 | 1207218.5161 | 2616036.0286 | 1207214.4793 | 2616036.0286 | 1207214.4793
66 | 2616024.3992 | 1207284.0755 | 2616031.8512 | 1207255.4241 | 2616031.674 | 1207250.4827
67 | 2616170.6756 | 1207297.0868 | 2616175.1886 | 1207260.1276
68 | 2616213.4189 | 1207295.268 | 2616191.2673 | 1207296.3753 | 2616170.6756 | 1207297.0868
69 | 2616175.1886 | 1207260.1276 | 2616175.2206 | 1207259.8661
70 | 2616213.4189 | 1207295.268 | 2616222.2036 | 1207248.5581
71 | 2616176.4526 | 1207249.7763 | 2616175.2206 | 1207259.8661
72 | 2616024.3992 | 1207284.0755 | 2616040.9357 | 1207290.5128
73 | 2616024.3992 | 1207284.0755 | 2616016.9308 | 1207282.1137
74 | 2615993.5128 | 1207277.2552 | 2616000.4122 | 1207277.7746 | 2616016.9308 | 1207282.1137
75 | 2615993.5128 | 1207277.2552 | 2615990.7932 | 1207277.0505
76 | 2615990.7932 | 1207277.0505 | 2615969.7924 | 1207275.4697
77 | 2615962.1508 | 1207274.8944 | 2615969.7924 | 1207275.4697
78 | 2615962.1508 | 1207274.8944 | 2615961.9576 | 1207274.8799

## bus_geodata
| x | y | coords
0 | 2616135.4688 | 1207175.403
1 | 2616145.1865 | 1207178.4327
2 | 2616123.8494 | 1207171.7803
3 | 2616118.4734 | 1207170.1023
4 | 2616113.3266 | 1207168.4958
5 | 2616089.8561 | 1207167.4307
6 | 2616080.1704 | 1207167.3318
7 | 2615951.748 | 1207040.8801
8 | 2615963.0592 | 1207051.5612
9 | 2615947.6426 | 1207035.9115
10 | 2615941.9671 | 1207062.7431
11 | 2615983.6414 | 1207050.7844
12 | 2615926.1113 | 1207063.4454
13 | 2615907.0397 | 1207064.2903
14 | 2615889.6101 | 1207065.0623
15 | 2616062.9882 | 1207076.4309
16 | 2616051.2013 | 1207078.3361
17 | 2616069.8483 | 1207075.774
18 | 2615886.7257 | 1207100.4297
19 | 2615897.4216 | 1207021.2051
20 | 2615876.4464 | 1207116.5855
21 | 2615902.4183 | 1207097.509
22 | 2615863.453 | 1207137.0216
23 | 2615920.7048 | 1207094.1054
24 | 2616024.4383 | 1207082.662
25 | 2616072.7023 | 1207075.5007
26 | 2616019.7671 | 1207083.417
27 | 2615891.1013 | 1207193.6483
28 | 2615928.1938 | 1207092.7115
29 | 2616014.2172 | 1207084.1426
30 | 2615997.0834 | 1207085.8227
31 | 2615988.6252 | 1207086.652
32 | 2615973.3304 | 1207088.1517
33 | 2615954.3136 | 1207090.0164
34 | 2615951.142 | 1207090.3274
35 | 2615914.1474 | 1207183.7693
36 | 2615924.2383 | 1207180.2445
37 | 2615931.7507 | 1207178.2884
38 | 2615911.893 | 1207272.1631
39 | 2615931.8247 | 1207272.6116
40 | 2616070.6827 | 1207167.235
41 | 2616065.6868 | 1207173.871
42 | 2616031.2133 | 1207162.9614
43 | 2616055.9733 | 1207186.7735
44 | 2616027.1252 | 1207163.4707
45 | 2616057.4224 | 1207218.1942
46 | 2616022.2578 | 1207164.077
47 | 2616036.1154 | 1207214.4944
48 | 2616056.8495 | 1207224.8519
49 | 2616017.4701 | 1207164.6734
50 | 2615990.0398 | 1207168.0912
51 | 2615956.5347 | 1207172.2662
52 | 2615953.3917 | 1207172.6578
53 | 2616075.9261 | 1207227.803
54 | 2616074.1707 | 1207227.5314
55 | 2616126.7279 | 1207240.7483
56 | 2616072.5722 | 1207227.2842
57 | 2616124.765 | 1207253.1867
58 | 2616124.4643 | 1207255.0922
59 | 2616117.9781 | 1207299.4239
60 | 2616109.4685 | 1207299.9457
61 | 2616139.2544 | 1207298.4582
62 | 2616036.0286 | 1207214.4793
63 | 2616031.674 | 1207250.4827
64 | 2616170.6756 | 1207297.0868
65 | 2616175.1886 | 1207260.1276
66 | 2616213.4189 | 1207295.268
67 | 2616134.272 | 1207331.3216
68 | 2616096.7046 | 1207300.3019
69 | 2616175.2206 | 1207259.8661
70 | 2616222.2036 | 1207248.5581
71 | 2616176.4526 | 1207249.7763
72 | 2616040.9357 | 1207290.5128
73 | 2616024.3992 | 1207284.0755
74 | 2616016.9308 | 1207282.1137
75 | 2615993.5128 | 1207277.2552
76 | 2615990.7932 | 1207277.0505
77 | 2615969.7924 | 1207275.4697
78 | 2615962.1508 | 1207274.8944
79 | 2615961.9576 | 1207274.8799
80 | 2616070.6827 | 1207167.235

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1