## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_407-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_407-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_407-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_407-4_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_407-4_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_407-4_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_407-4_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_407-4_0_2_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_407-4_0_2_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_407-4_0_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_407-4_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_407-4_0_2_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_407-4_0_2_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_407-4_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_407-4_0_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_407-4_0_2_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_407-4_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_407-4_0_2_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_407-4_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_407-4_0_2_node_97 | 0.4 | n |  | TRUE
20 | bus_LV_407-4_0_2_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_407-4_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_407-4_0_2_node_236 | 0.4 | n |  | TRUE
23 | bus_LV_407-4_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_407-4_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_407-4_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_407-4_0_2_node_235 | 0.4 | n |  | TRUE
27 | bus_LV_407-4_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_407-4_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_407-4_0_2_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_407-4_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_407-4_0_2_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_407-4_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_407-4_0_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_407-4_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_407-4_0_2_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_407-4_0_2_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_407-4_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_407-4_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_407-4_0_2_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_407-4_0_2_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_407-4_0_2_node_178 | 0.4 | n |  | TRUE
42 | bus_LV_407-4_0_2_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_407-4_0_2_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_407-4_0_2_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_407-4_0_2_node_239 | 0.4 | n |  | TRUE
46 | bus_LV_407-4_0_2_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_407-4_0_2_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_407-4_0_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_407-4_0_2_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_407-4_0_2_node_209 | 0.4 | n |  | TRUE
51 | bus_LV_407-4_0_2_node_102 | 0.4 | n |  | TRUE
52 | bus_LV_407-4_0_2_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_407-4_0_2_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_407-4_0_2_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_407-4_0_2_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_407-4_0_2_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_407-4_0_2_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_407-4_0_2_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_407-4_0_2_node_101 | 0.4 | n |  | TRUE
60 | bus_LV_407-4_0_2_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_407-4_0_2_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_407-4_0_2_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_407-4_0_2_node_106 | 0.4 | n |  | TRUE
64 | bus_MV_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_407-4_0_2_load_0 | 0 | 0.00011643 | 2.918e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_407-4_0_2_load_4 | 4 | 0.00010977 | 2.7512e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_407-4_0_2_load_8 | 6 | 0.00010869 | 2.7241e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_407-4_0_2_load_14 | 7 | 0.00040588 | 0.00010172 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_407-4_0_2_load_24 | 8 | 0.0001148 | 2.8772e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_407-4_0_2_load_21 | 9 | 4.8314e-05 | 1.2109e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_407-4_0_2_load_7 | 10 | 0.00010143 | 2.5421e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_407-4_0_2_load_56 | 12 | 6.5499e-05 | 1.6416e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_407-4_0_2_load_19 | 15 | 9.4979e-05 | 2.3804e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_407-4_0_2_load_97 | 19 | 0.00046597 | 0.00011678 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_407-4_0_2_load_60 | 20 | 0.0013752 | 0.00034467 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_407-4_0_2_load_236 | 22 | 0.00033465 | 8.3871e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_407-4_0_2_load_20 | 24 | 0.00018404 | 4.6126e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_407-4_0_2_load_18 | 25 | 0.00028346 | 7.1042e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_407-4_0_2_load_235 | 26 | 0.00012238 | 3.067e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_407-4_0_2_load_31 | 30 | 0.00028915 | 7.2468e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_407-4_0_2_load_36 | 31 | 0.00093466 | 0.00023425 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_407-4_0_2_load_25 | 32 | 0.00011256 | 2.8209e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_407-4_0_2_load_26 | 33 | 0.0003171 | 7.9472e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_407-4_0_2_load_27 | 34 | 0.00014356 | 3.5979e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_407-4_0_2_load_28 | 35 | 6.0265e-05 | 1.5104e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_407-4_0_2_load_35 | 38 | 0.00048323 | 0.00012111 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_407-4_0_2_load_30 | 39 | 0.00064075 | 0.00016059 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_407-4_0_2_load_32 | 40 | 0.00018552 | 4.6495e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_407-4_0_2_load_178 | 41 | 0.00010184 | 2.5525e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_407-4_0_2_load_239 | 45 | 0.00014954 | 3.7479e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_407-4_0_2_load_51 | 46 | 7.3313e-05 | 1.8374e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_407-4_0_2_load_52 | 47 | 0.00044098 | 0.00011052 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_407-4_0_2_load_53 | 48 | 6.1313e-05 | 1.5367e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_407-4_0_2_load_55 | 49 | 0.00028446 | 7.1292e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_407-4_0_2_load_209 | 50 | 0.00028338 | 7.1022e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_407-4_0_2_load_102 | 51 | 0.001447 | 0.00036266 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_407-4_0_2_load_64 | 52 | 0.0025617 | 0.00064203 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_407-4_0_2_load_65 | 53 | 0.00094175 | 0.00023602 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_407-4_0_2_load_66 | 54 | 0.00079731 | 0.00019983 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_407-4_0_2_load_67 | 55 | 0.00045401 | 0.00011379 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_407-4_0_2_load_98 | 56 | 0.0012422 | 0.00031132 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_407-4_0_2_load_99 | 57 | 0.0039253 | 0.00098377 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_407-4_0_2_load_100 | 58 | 0.00058164 | 0.00014577 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_407-4_0_2_load_101 | 59 | 0.00052377 | 0.00013127 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_407-4_0_2_load_104 | 61 | 0.00075882 | 0.00019018 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_407-4_0_2_load_105 | 62 | 0.00077252 | 0.00019361 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_407-4_0_2_load_106 | 63 | 0.00059546 | 0.00014924 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_407-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.025704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_407-4_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.066434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_407-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.006257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_407-4_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.019441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_407-4_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.005005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_407-4_0_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.038445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_407-4_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.019957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_407-4_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.070133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_407-4_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.021061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_407-4_0_2_line_9 | NAYY 4x150 SE | 6 | 12 | 0.013346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_407-4_0_2_line_10 | NAYY 4x150 SE | 7 | 14 | 0.017733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_407-4_0_2_line_11 | NAYY 4x150 SE | 8 | 31 | 0.41088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_407-4_0_2_line_12 | NAYY 4x150 SE | 9 | 27 | 0.023033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_407-4_0_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.015117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_407-4_0_2_line_14 | NAYY 4x150 SE | 11 | 36 | 0.044777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_407-4_0_2_line_15 | NAYY 4x150 SE | 11 | 40 | 0.021749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_407-4_0_2_line_16 | NAYY 4x150 SE | 12 | 48 | 0.01877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_407-4_0_2_line_17 | NAYY 4x150 SE | 13 | 14 | 0.027899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_407-4_0_2_line_18 | NAYY 4x150 SE | 13 | 15 | 0.012868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_407-4_0_2_line_19 | NAYY 4x150 SE | 14 | 21 | 0.016169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_407-4_0_2_line_20 | NAYY 4x150 SE | 15 | 25 | 0.0055485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_407-4_0_2_line_21 | NAYY 4x150 SE | 16 | 17 | 0.58256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_407-4_0_2_line_22 | NAYY 4x150 SE | 16 | 18 | 0.72418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_407-4_0_2_line_23 | NAYY 4x150 SE | 16 | 19 | 0.007395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_407-4_0_2_line_24 | NAYY 4x150 SE | 17 | 51 | 0.17762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_407-4_0_2_line_25 | NAYY 4x150 SE | 18 | 20 | 0.13359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_407-4_0_2_line_26 | NAYY 4x150 SE | 19 | 56 | 0.0074561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_407-4_0_2_line_27 | NAYY 4x150 SE | 20 | 43 | 0.070488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_407-4_0_2_line_28 | NAYY 4x150 SE | 21 | 22 | 0.01621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_407-4_0_2_line_29 | NAYY 4x150 SE | 23 | 24 | 0.055756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_407-4_0_2_line_30 | NAYY 4x150 SE | 23 | 25 | 0.017253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_407-4_0_2_line_31 | NAYY 4x150 SE | 24 | 26 | 0.20036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_407-4_0_2_line_32 | NAYY 4x150 SE | 27 | 28 | 0.025764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_407-4_0_2_line_33 | NAYY 4x150 SE | 28 | 29 | 0.022063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_407-4_0_2_line_34 | NAYY 4x150 SE | 28 | 30 | 0.022402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_407-4_0_2_line_35 | NAYY 4x150 SE | 29 | 45 | 0.003623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_407-4_0_2_line_36 | NAYY 4x150 SE | 30 | 39 | 0.014403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_407-4_0_2_line_37 | NAYY 4x150 SE | 31 | 43 | 0.56258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_407-4_0_2_line_38 | NAYY 4x150 SE | 32 | 33 | 0.00050084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_407-4_0_2_line_39 | NAYY 4x150 SE | 32 | 34 | 0.032028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_407-4_0_2_line_40 | NAYY 4x150 SE | 33 | 35 | 0.010614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_407-4_0_2_line_41 | NAYY 4x150 SE | 34 | 36 | 0.0083222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_407-4_0_2_line_42 | NAYY 4x150 SE | 35 | 37 | 0.34381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_407-4_0_2_line_43 | NAYY 4x150 SE | 36 | 38 | 0.019347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_407-4_0_2_line_44 | NAYY 4x150 SE | 37 | 41 | 0.01073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_407-4_0_2_line_45 | NAYY 4x150 SE | 38 | 42 | 0.019158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_407-4_0_2_line_46 | NAYY 4x150 SE | 39 | 40 | 0.013458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_407-4_0_2_line_47 | NAYY 4x150 SE | 42 | 49 | 0.69664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_407-4_0_2_line_48 | NAYY 4x150 SE | 43 | 44 | 0.062087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_407-4_0_2_line_49 | NAYY 4x150 SE | 44 | 52 | 0.014737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_407-4_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.0079436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_407-4_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.00012751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_407-4_0_2_line_52 | NAYY 4x150 SE | 49 | 50 | 0.018005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_407-4_0_2_line_53 | NAYY 4x150 SE | 51 | 58 | 0.0031817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_407-4_0_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.014905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_407-4_0_2_line_55 | NAYY 4x150 SE | 53 | 54 | 0.019899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_407-4_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.024085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_407-4_0_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.033236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_407-4_0_2_line_58 | NAYY 4x150 SE | 57 | 59 | 0.014811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_407-4_0_2_line_59 | NAYY 4x150 SE | 59 | 60 | 0.010725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_407-4_0_2_line_60 | NAYY 4x150 SE | 60 | 61 | 0.023723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_407-4_0_2_line_61 | NAYY 4x150 SE | 61 | 62 | 0.00095181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_407-4_0_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0004429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_407-4_0_2_trafo_13 | 0.25 MVA 20/0.4 kV | 64 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55
0 | 2616492.8252 | 1209834.2388 | 2616487.4447 | 1209834.0794 | 2616477.6001 | 1209837.7544 | 2616468.2759 | 1209840.8131
1 | 2616406.9009 | 1209836.0593 | 2616418.8983 | 1209842.7626 | 2616427.9404 | 1209849.0353 | 2616435.9796 | 1209849.6466 | 2616446.3056 | 1209847.8184 | 2616455.3449 | 1209844.03 | 2616465.2996 | 1209841.7895 | 2616468.2759 | 1209840.8131
2 | 2616492.8252 | 1209834.2388 | 2616499.0814 | 1209833.7557
3 | 2616492.8252 | 1209834.2388 | 2616490.288 | 1209828.2729 | 2616488.4495 | 1209822.4868 | 2616487.014 | 1209816.6352 | 2616486.7934 | 1209815.8023
4 | 2616406.9009 | 1209836.0593 | 2616405.9644 | 1209831.1429
5 | 2616406.9009 | 1209836.0593 | 2616408.2787 | 1209843.6006 | 2616407.1759 | 1209852.2024 | 2616407.219 | 1209858.6617 | 2616408.9895 | 1209867.0934 | 2616412.9284 | 1209872.9185
6 | 2616499.0814 | 1209833.7557 | 2616505.1081 | 1209833.8279 | 2616518.9598 | 1209835.2992
7 | 2616405.9644 | 1209831.1429 | 2616404.6002 | 1209824.202 | 2616397.4596 | 1209811.8311 | 2616386.5096 | 1209802.8517 | 2616363.6154 | 1209787.0914 | 2616357.7155 | 1209783.6697
8 | 2616405.9644 | 1209831.1429 | 2616386.6818 | 1209822.6721
9 | 2616422.8045 | 1209881.6505 | 2616419.6339 | 1209879.3739 | 2616415.0223 | 1209876.0149 | 2616412.9284 | 1209872.9185
10 | 2616536.5937 | 1209837.1722 | 2616518.9598 | 1209835.2992
11 | 2616357.7155 | 1209783.6697 | 2616341.3897 | 1209774.2013 | 2616275.3197 | 1209730.0635 | 2616232.5736 | 1209700.0863 | 2616185.9368 | 1209669.7099 | 2616173.194 | 1209660.1813 | 2616165.0792 | 1209653.6779 | 2616155.7855 | 1209644.6923 | 2616129.8159 | 1209613.3604 | 2616105.6672 | 1209583.1008 | 2616095.4577 | 1209566.9422 | 2616085.5589 | 1209545.4481 | 2616073.4487 | 1209526.6273 | 2616063.6256 | 1209524.9778 | 2616053.2872 | 1209528.4853
12 | 2616364.7019 | 1209817.7781 | 2616366.6176 | 1209817.6055 | 2616375.6158 | 1209817.7524 | 2616386.1519 | 1209822.4394 | 2616386.6818 | 1209822.6721
13 | 2616385.7149 | 1209876.5905 | 2616392.4085 | 1209863.036
14 | 2616353.4747 | 1209904.6847 | 2616381.8784 | 1209887.1304 | 2616385.0239 | 1209881.9027 | 2616385.7149 | 1209876.5905
15 | 2616385.7149 | 1209876.5905 | 2616375.362 | 1209866.0452 | 2616370.6881 | 1209860.8737
16 | 2616422.8045 | 1209881.6505 | 2616422.8045 | 1209881.6505 | 2616425.7867 | 1209886.0834 | 2616427.0262 | 1209894.1579 | 2616427.0117 | 1209899.4164
17 | 2616536.5937 | 1209837.1722 | 2616549.0266 | 1209837.4956 | 2616551.446 | 1209825.5846 | 2616550.2461 | 1209822.5018
18 | 2616550.2461 | 1209822.5018 | 2616559.0965 | 1209823.8492 | 2616562.9633 | 1209824.4674
19 | 2616536.5937 | 1209837.1722 | 2616532.71 | 1209845.455 | 2616530.8217 | 1209852.2202
20 | 2616568.4422 | 1209825.3434 | 2616562.9633 | 1209824.4674
21 | 2616222.3135 | 1208883.8271 | 2616226.0596 | 1208884.3375 | 2616234.7941 | 1208884.1055 | 2616242.4363 | 1208883.059 | 2616254.5585 | 1208883.77 | 2616258.8758 | 1208886.6278 | 2616259.163 | 1208892.8542 | 2616253.1329 | 1208902.0763 | 2616231.9185 | 1208929.812 | 2616270.0868 | 1208934.5404 | 2616296.9758 | 1208938.9048 | 2616316.8438 | 1208953.4336 | 2616329.1732 | 1208970.0987 | 2616350.6525 | 1208984.632 | 2616370.5408 | 1208991.668 | 2616386.6137 | 1209017.9933 | 2616407.0312 | 1209028.7774 | 2616444.1828 | 1209035.3385 | 2616442.386 | 1209041.9372 | 2616442.629 | 1209050.3092 | 2616444.8567 | 1209061.1769 | 2616446.4961 | 1209067.585 | 2616446.2584 | 1209073.8767 | 2616443.7906 | 1209083.9978 | 2616438.225 | 1209098.4349 | 2616406.9989 | 1209145.9313 | 2616384.271 | 1209174.0402 | 2616362.1847 | 1209206.6535 | 2616359.4294 | 1209213.6276 | 2616352.9925 | 1209213.2321 | 2616347.8415 | 1209212.3286 | 2616338.5199 | 1209210.6022 | 2616329.3284 | 1209208.5427 | 2616322.2668 | 1209205.8997
22 | 2616322.2668 | 1209205.8997 | 2616329.3284 | 1209208.5427 | 2616338.5199 | 1209210.6022 | 2616347.8415 | 1209212.3286 | 2616352.9925 | 1209213.2321 | 2616359.4294 | 1209213.6276 | 2616367.017 | 1209251.8474 | 2616369.2108 | 1209280.6694 | 2616368.8754 | 1209289.3733 | 2616366.5724 | 1209297.6828 | 2616360.834 | 1209303.1701 | 2616354.3169 | 1209304.353 | 2616338.1732 | 1209304.22 | 2616331.1982 | 1209303.3004 | 2616321.0646 | 1209303.9287 | 2616311.4103 | 1209307.1931 | 2616289.7546 | 1209321.5533 | 2616252.3621 | 1209339.9619 | 2616240.549 | 1209343.3317 | 2616228.608 | 1209343.3994 | 2616216.4829 | 1209341.321 | 2616187.028 | 1209330.8355 | 2616179.5732 | 1209327.4579 | 2616171.837 | 1209321.3002 | 2616163.1239 | 1209311.0266 | 2616155.0439 | 1209302.7113 | 2616146.3754 | 1209295.5839 | 2616132.543 | 1209289.5544 | 2616120.3375 | 1209286.2419 | 2616101.1553 | 1209285.3899 | 2616093.3841 | 1209283.7347 | 2616085.4737 | 1209280.1448 | 2616079.778 | 1209275.5047 | 2616072.3873 | 1209268.0029 | 2616067.5924 | 1209261.8755 | 2616062.6355 | 1209251.0007 | 2616059.5038 | 1209242.5431 | 2616055.6887 | 1209236.6741 | 2616048.5953 | 1209231.6856 | 2616035.0308 | 1209224.8455 | 2615999.231 | 1209213.3323 | 2615996.0878 | 1209212.012 | 2615982.1605 | 1209210.0626 | 2615971.3978 | 1209207.1545 | 2615964.9742 | 1209204.6249 | 2615945.1612 | 1209195.0779 | 2615931.324 | 1209187.8482 | 2615920.1161 | 1209180.8034 | 2615908.2009 | 1209171.0997 | 2615905.2661 | 1209168.546 | 2615901.9571 | 1209163.779 | 2615896.9006 | 1209153.0374 | 2615894.448 | 1209140.6462 | 2615892.9944 | 1209124.1332 | 2615893.8392 | 1209112.2622 | 2615895.279 | 1209102.4939
23 | 2616322.2668 | 1209205.8997 | 2616322.862 | 1209202.266 | 2616321.3587 | 1209198.8711
24 | 2616222.3135 | 1208883.8271 | 2616221.5813 | 1208881.9129 | 2616217.3751 | 1208880.1005 | 2616206.6721 | 1208877.4256 | 2616155.3594 | 1208870.3498 | 2616132.8125 | 1208862.3846 | 2616110.3546 | 1208849.5726 | 2616091.4701 | 1208833.6241 | 2616081.8942 | 1208824.4377 | 2616076.8696 | 1208815.9751 | 2616072.986 | 1208806.1558
25 | 2615895.279 | 1209102.4939 | 2615879.9498 | 1209093.0814 | 2615870.2845 | 1209086.1519 | 2615865.9063 | 1209083.2498 | 2615858.9103 | 1209081.5192 | 2615852.277 | 1209083.5028 | 2615846.4582 | 1209087.8676 | 2615842.7203 | 1209092.9049 | 2615839.7983 | 1209099.8788 | 2615838.5216 | 1209105.5119 | 2615837.9048 | 1209111.6693 | 2615838.2565 | 1209119.5412 | 2615839.4249 | 1209128.9718 | 2615840.8 | 1209143.5947 | 2615840.7782 | 1209151.8325 | 2615840.5665 | 1209162.7769
26 | 2616315.1218 | 1209194.7852 | 2616321.3587 | 1209198.8711
27 | 2615829.425 | 1209228.4228 | 2615833.9946 | 1209224.9997 | 2615837.7307 | 1209220.5849 | 2615841.7713 | 1209213.1359 | 2615842.7127 | 1209207.802 | 2615842.7263 | 1209202.677 | 2615840.9294 | 1209180.849 | 2615840.5228 | 1209165.0392 | 2615840.5665 | 1209162.7769
28 | 2616544.8413 | 1209858.6403 | 2616536.0742 | 1209857.4265 | 2616530.8217 | 1209852.2202
29 | 2616585.1113 | 1209829.491 | 2616592.6755 | 1209825.9989 | 2616610.1732 | 1209816.9757 | 2616631.9904 | 1209799.8468
30 | 2616585.1113 | 1209829.491 | 2616577.7769 | 1209826.8359 | 2616568.4422 | 1209825.3434
31 | 2616631.9904 | 1209799.8468 | 2616770.7611 | 1209655.3222
32 | 2616364.7019 | 1209817.7781 | 2616352.5843 | 1209818.8901 | 2616343.2306 | 1209820.8879 | 2616339.2681 | 1209821.9554
33 | 2616320.1155 | 1209810.9082 | 2616339.2681 | 1209821.9554
34 | 2616339.2681 | 1209821.9554 | 2616349.6706 | 1209833.8238 | 2616354.1714 | 1209838.6778
35 | 2616320.6041 | 1209807.3186 | 2616320.1155 | 1209810.9082
36 | 2616354.1714 | 1209838.6778 | 2616356.0056 | 1209840.656 | 2616363.2949 | 1209849.8143
37 | 2615829.425 | 1209228.4228 | 2615834.1617 | 1209233.6827 | 2615840.0223 | 1209242.1585 | 2615848.2455 | 1209256.8773 | 2615851.2042 | 1209264.745 | 2615853.0481 | 1209271.6537 | 2615854.1362 | 1209279.8167 | 2615853.9205 | 1209286.6533 | 2615852.9045 | 1209297.1787 | 2615851.4671 | 1209306.0909 | 2615848.3109 | 1209315.4322 | 2615843.2181 | 1209324.1569 | 2615832.9101 | 1209336.1808 | 2615815.4621 | 1209352.188 | 2615806.6574 | 1209361.9813 | 2615802.5208 | 1209368.4407 | 2615800.0565 | 1209374.8266 | 2615797.9736 | 1209383.5704 | 2615801.8737 | 1209406.2489 | 2615812.5977 | 1209429.479 | 2615824.6195 | 1209450.4891 | 2615844.7552 | 1209472.8103 | 2615853.3947 | 1209485.1845 | 2615855.2223 | 1209495.3727 | 2615861.3889 | 1209523.0711 | 2615864.8839 | 1209532.1299 | 2615874.1373 | 1209545.1283 | 2615888.3804 | 1209556.6391 | 2615902.4141 | 1209564.0249 | 2615919.2422 | 1209569.4726 | 2615945.301 | 1209573.4997 | 2615965.3649 | 1209573.9757 | 2615978.3897 | 1209572.0093 | 2615989.3334 | 1209569.4927 | 2615999.4677 | 1209565.5731 | 2616008.2663 | 1209560.9051 | 2616015.1965 | 1209555.7541 | 2616021.5573 | 1209550.3793 | 2616026.9233 | 1209544.6571 | 2616032.4628 | 1209539.4468 | 2616039.0496 | 1209534.8286 | 2616048.5401 | 1209530.0958 | 2616053.2872 | 1209528.4853
38 | 2616313.8516 | 1209897.6234 | 2616313.3534 | 1209897.5721
39 | 2616345.4023 | 1209902.6607 | 2616333.3028 | 1209899.6269 | 2616313.8516 | 1209897.6234
40 | 2616302.888 | 1209895.8553 | 2616309.9089 | 1209897.2173 | 2616313.3534 | 1209897.5721
41 | 2616353.4747 | 1209904.6847 | 2616345.4023 | 1209902.6607
42 | 2615969.7143 | 1209812.5311 | 2615978.2978 | 1209814.2883 | 2616012.9015 | 1209822.6743 | 2616096.4381 | 1209838.3069 | 2616116.8249 | 1209842.6975 | 2616132.597 | 1209847.6316 | 2616223.4631 | 1209875.8928 | 2616267.4424 | 1209887.9077 | 2616299.3884 | 1209895.1764 | 2616302.888 | 1209895.8553
43 | 2616353.4747 | 1209904.6847 | 2616350.2228 | 1209918.2612 | 2616349.4022 | 1209923.5852
44 | 2615969.7143 | 1209812.5311 | 2615959.6916 | 1209808.6987
45 | 2616348.0587 | 1209942.6022 | 2616347.9608 | 1209931.1177 | 2616348.892 | 1209926.8957 | 2616349.4022 | 1209923.5852
46 | 2616370.6881 | 1209860.8737 | 2616366.1558 | 1209855.8588 | 2616363.5343 | 1209850.1151 | 2616363.2949 | 1209849.8143
47 | 2616348.0587 | 1209942.6022 | 2616344.4636 | 1209948.2733 | 2616343.4378 | 1209953.7624 | 2616350.5674 | 1210017.4507 | 2616353.0162 | 1210044.6615 | 2616352.5847 | 1210052.3757 | 2616350.861 | 1210057.396 | 2616346.2752 | 1210061.3412 | 2616341.1939 | 1210063.0172 | 2616333.7015 | 1210062.6632 | 2616325.7121 | 1210060.6069 | 2616245.5091 | 1210022.1563 | 2616184.8121 | 1209987.2725 | 2616155.1254 | 1209968.0817 | 2616120.481 | 1209949.7892 | 2616087.711 | 1209938.0835 | 2616076.3748 | 1209936.9524 | 2616067.0348 | 1209936.8162 | 2616058.7301 | 1209938.8839 | 2616038.9379 | 1209948.0805 | 2616019.3578 | 1209954.7429 | 2615992.4313 | 1209960.3629 | 2615979.9383 | 1209962.7531 | 2615967.838 | 1209963.1878 | 2615951.085 | 1209961.3643 | 2615937.0675 | 1209956.8356 | 2615922.3357 | 1209949.4368 | 2615892.7006 | 1209930.4586 | 2615878.6787 | 1209921.861 | 2615868.228 | 1209916.397 | 2615848.9172 | 1209910.3314 | 2615836.171 | 1209907.8185 | 2615833.0641 | 1209907.2655 | 2615830.5573 | 1209906.8031 | 2615824.925 | 1209907.0661 | 2615820.7653 | 1209907.986
48 | 2615777.7302 | 1209202.9501 | 2615784.0378 | 1209212.0273 | 2615789.7491 | 1209219.5354 | 2615794.882 | 1209221.55 | 2615801.0918 | 1209224.468 | 2615811.3954 | 1209228.5308 | 2615818.0133 | 1209229.4821 | 2615822.7495 | 1209229.1611 | 2615829.425 | 1209228.4228
49 | 2615777.7302 | 1209202.9501 | 2615775.6003 | 1209192.0384 | 2615774.1834 | 1209188.7081
50 | 2616426.9896 | 1209907.4875 | 2616427.007 | 1209901.1507 | 2616427.0114 | 1209899.5439
51 | 2616427.0114 | 1209899.5439 | 2616427.0117 | 1209899.4164
52 | 2615803.1851 | 1209911.8736 | 2615820.7653 | 1209907.986
53 | 2616071.8158 | 1208803.1971 | 2616072.986 | 1208806.1558
54 | 2615774.1834 | 1209188.7081 | 2615771.6796 | 1209182.8229 | 2615765.143 | 1209177.3749
55 | 2615765.143 | 1209177.3749 | 2615763.7313 | 1209176.1983 | 2615750.438 | 1209167.2584 | 2615748.9792 | 1209165.8298
56 | 2615731.3826 | 1209149.3859 | 2615746.3743 | 1209163.2788 | 2615748.9792 | 1209165.8298
57 | 2616053.4386 | 1208776.8068 | 2616054.4807 | 1208777.3269 | 2616058.1473 | 1208779.1489 | 2616066.3144 | 1208789.2875 | 2616071.8158 | 1208803.1971
58 | 2616053.4386 | 1208776.8068 | 2616047.2917 | 1208773.739 | 2616040.2746 | 1208770.0217
59 | 2616030.7971 | 1208765.0011 | 2616040.2746 | 1208770.0217
60 | 2616030.7971 | 1208765.0011 | 2616022.7981 | 1208765.8579 | 2616018.9004 | 1208765.136 | 2616013.443 | 1208762.1309 | 2616009.6414 | 1208758.1776
61 | 2616009.6414 | 1208758.1776 | 2616008.9817 | 1208757.4915
62 | 2616008.9817 | 1208757.4915 | 2616008.6747 | 1208757.1723

## bus_geodata
| x | y | coords
0 | 2616468.2759 | 1209840.8131
1 | 2616492.8252 | 1209834.2388
2 | 2616406.9009 | 1209836.0593
3 | 2616499.0814 | 1209833.7557
4 | 2616486.7934 | 1209815.8023
5 | 2616405.9644 | 1209831.1429
6 | 2616412.9284 | 1209872.9185
7 | 2616518.9598 | 1209835.2992
8 | 2616357.7155 | 1209783.6697
9 | 2616386.6818 | 1209822.6721
10 | 2616392.4085 | 1209863.036
11 | 2616385.7149 | 1209876.5905
12 | 2616422.8045 | 1209881.6505
13 | 2616550.2461 | 1209822.5018
14 | 2616536.5937 | 1209837.1722
15 | 2616562.9633 | 1209824.4674
16 | 2616322.2668 | 1209205.8997
17 | 2616222.3135 | 1208883.8271
18 | 2615895.279 | 1209102.4939
19 | 2616321.3587 | 1209198.8711
20 | 2615840.5665 | 1209162.7769
21 | 2616530.8217 | 1209852.2202
22 | 2616544.8413 | 1209858.6403
23 | 2616585.1113 | 1209829.491
24 | 2616631.9904 | 1209799.8468
25 | 2616568.4422 | 1209825.3434
26 | 2616770.7611 | 1209655.3222
27 | 2616364.7019 | 1209817.7781
28 | 2616339.2681 | 1209821.9554
29 | 2616320.1155 | 1209810.9082
30 | 2616354.1714 | 1209838.6778
31 | 2616053.2872 | 1209528.4853
32 | 2616313.8516 | 1209897.6234
33 | 2616313.3534 | 1209897.5721
34 | 2616345.4023 | 1209902.6607
35 | 2616302.888 | 1209895.8553
36 | 2616353.4747 | 1209904.6847
37 | 2615969.7143 | 1209812.5311
38 | 2616349.4022 | 1209923.5852
39 | 2616363.2949 | 1209849.8143
40 | 2616370.6881 | 1209860.8737
41 | 2615959.6916 | 1209808.6987
42 | 2616348.0587 | 1209942.6022
43 | 2615829.425 | 1209228.4228
44 | 2615777.7302 | 1209202.9501
45 | 2616320.6041 | 1209807.3186
46 | 2616426.9896 | 1209907.4875
47 | 2616427.0114 | 1209899.5439
48 | 2616427.0117 | 1209899.4164
49 | 2615820.7653 | 1209907.986
50 | 2615803.1851 | 1209911.8736
51 | 2616072.986 | 1208806.1558
52 | 2615774.1834 | 1209188.7081
53 | 2615765.143 | 1209177.3749
54 | 2615748.9792 | 1209165.8298
55 | 2615731.3826 | 1209149.3859
56 | 2616315.1218 | 1209194.7852
57 | 2616053.4386 | 1208776.8068
58 | 2616071.8158 | 1208803.1971
59 | 2616040.2746 | 1208770.0217
60 | 2616030.7971 | 1208765.0011
61 | 2616009.6414 | 1208758.1776
62 | 2616008.9817 | 1208757.4915
63 | 2616008.6747 | 1208757.1723
64 | 2615895.279 | 1209102.4939

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1