## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_407-5_1_1_node_66 | 0.4 | n |  | TRUE
1 | bus_LV_407-5_1_1_node_67 | 0.4 | n |  | TRUE
2 | bus_LV_407-5_1_1_node_69 | 0.4 | n |  | TRUE
3 | bus_LV_407-5_1_1_node_68 | 0.4 | n |  | TRUE
4 | bus_LV_407-5_1_1_node_70 | 0.4 | n |  | TRUE
5 | bus_LV_407-5_1_1_node_96 | 0.4 | n |  | TRUE
6 | bus_LV_407-5_1_1_node_71 | 0.4 | n |  | TRUE
7 | bus_LV_407-5_1_1_node_175 | 0.4 | n |  | TRUE
8 | bus_LV_407-5_1_1_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_407-5_1_1_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_407-5_1_1_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_407-5_1_1_node_75 | 0.4 | n |  | TRUE
12 | bus_LV_407-5_1_1_node_76 | 0.4 | n |  | TRUE
13 | bus_LV_407-5_1_1_node_282 | 0.4 | n |  | TRUE
14 | bus_LV_407-5_1_1_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_407-5_1_1_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_407-5_1_1_node_78 | 0.4 | n |  | TRUE
17 | bus_LV_407-5_1_1_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_407-5_1_1_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_407-5_1_1_node_192 | 0.4 | n |  | TRUE
20 | bus_LV_407-5_1_1_node_86 | 0.4 | n |  | TRUE
21 | bus_LV_407-5_1_1_node_101 | 0.4 | n |  | TRUE
22 | bus_LV_407-5_1_1_node_81 | 0.4 | n |  | TRUE
23 | bus_LV_407-5_1_1_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_407-5_1_1_node_83 | 0.4 | n |  | TRUE
25 | bus_LV_407-5_1_1_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_407-5_1_1_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_407-5_1_1_node_89 | 0.4 | n |  | TRUE
28 | bus_LV_407-5_1_1_node_90 | 0.4 | n |  | TRUE
29 | bus_LV_407-5_1_1_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_407-5_1_1_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_407-5_1_1_node_280 | 0.4 | n |  | TRUE
32 | bus_LV_407-5_1_1_node_182 | 0.4 | n |  | TRUE
33 | bus_LV_407-5_1_1_node_93 | 0.4 | n |  | TRUE
34 | bus_LV_407-5_1_1_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_407-5_1_1_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_407-5_1_1_node_294 | 0.4 | n |  | TRUE
37 | bus_LV_407-5_1_1_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_407-5_1_1_node_97 | 0.4 | n |  | TRUE
39 | bus_LV_407-5_1_1_node_98 | 0.4 | n |  | TRUE
40 | bus_LV_407-5_1_1_node_99 | 0.4 | n |  | TRUE
41 | bus_LV_407-5_1_1_node_170 | 0.4 | n |  | TRUE
42 | bus_LV_407-5_1_1_node_171 | 0.4 | n |  | TRUE
43 | bus_LV_407-5_1_1_node_172 | 0.4 | n |  | TRUE
44 | bus_LV_407-5_1_1_node_173 | 0.4 | n |  | TRUE
45 | bus_LV_407-5_1_1_node_174 | 0.4 | n |  | TRUE
46 | bus_LV_407-5_1_1_node_213 | 0.4 | n |  | TRUE
47 | bus_LV_407-5_1_1_node_214 | 0.4 | n |  | TRUE
48 | bus_LV_407-5_1_1_node_258 | 0.4 | n |  | TRUE
49 | bus_LV_407-5_1_1_node_176 | 0.4 | n |  | TRUE
50 | bus_LV_407-5_1_1_node_177 | 0.4 | n |  | TRUE
51 | bus_LV_407-5_1_1_node_216 | 0.4 | n |  | TRUE
52 | bus_LV_407-5_1_1_node_178 | 0.4 | n |  | TRUE
53 | bus_LV_407-5_1_1_node_179 | 0.4 | n |  | TRUE
54 | bus_LV_407-5_1_1_node_180 | 0.4 | n |  | TRUE
55 | bus_LV_407-5_1_1_node_181 | 0.4 | n |  | TRUE
56 | bus_LV_407-5_1_1_node_183 | 0.4 | n |  | TRUE
57 | bus_LV_407-5_1_1_node_191 | 0.4 | n |  | TRUE
58 | bus_LV_407-5_1_1_node_193 | 0.4 | n |  | TRUE
59 | bus_LV_407-5_1_1_node_223 | 0.4 | n |  | TRUE
60 | bus_LV_407-5_1_1_node_184 | 0.4 | n |  | TRUE
61 | bus_LV_407-5_1_1_node_185 | 0.4 | n |  | TRUE
62 | bus_LV_407-5_1_1_node_186 | 0.4 | n |  | TRUE
63 | bus_LV_407-5_1_1_node_187 | 0.4 | n |  | TRUE
64 | bus_LV_407-5_1_1_node_188 | 0.4 | n |  | TRUE
65 | bus_LV_407-5_1_1_node_197 | 0.4 | n |  | TRUE
66 | bus_LV_407-5_1_1_node_189 | 0.4 | n |  | TRUE
67 | bus_LV_407-5_1_1_node_190 | 0.4 | n |  | TRUE
68 | bus_LV_407-5_1_1_node_198 | 0.4 | n |  | TRUE
69 | bus_LV_407-5_1_1_node_211 | 0.4 | n |  | TRUE
70 | bus_LV_407-5_1_1_node_199 | 0.4 | n |  | TRUE
71 | bus_LV_407-5_1_1_node_200 | 0.4 | n |  | TRUE
72 | bus_LV_407-5_1_1_node_201 | 0.4 | n |  | TRUE
73 | bus_LV_407-5_1_1_node_202 | 0.4 | n |  | TRUE
74 | bus_LV_407-5_1_1_node_210 | 0.4 | n |  | TRUE
75 | bus_LV_407-5_1_1_node_207 | 0.4 | n |  | TRUE
76 | bus_LV_407-5_1_1_node_203 | 0.4 | n |  | TRUE
77 | bus_LV_407-5_1_1_node_204 | 0.4 | n |  | TRUE
78 | bus_LV_407-5_1_1_node_205 | 0.4 | n |  | TRUE
79 | bus_LV_407-5_1_1_node_206 | 0.4 | n |  | TRUE
80 | bus_LV_407-5_1_1_node_220 | 0.4 | n |  | TRUE
81 | bus_LV_407-5_1_1_node_296 | 0.4 | n |  | TRUE
82 | bus_LV_407-5_1_1_node_212 | 0.4 | n |  | TRUE
83 | bus_LV_407-5_1_1_node_292 | 0.4 | n |  | TRUE
84 | bus_LV_407-5_1_1_node_221 | 0.4 | n |  | TRUE
85 | bus_LV_407-5_1_1_node_288 | 0.4 | n |  | TRUE
86 | bus_LV_407-5_1_1_node_281 | 0.4 | n |  | TRUE
87 | bus_LV_407-5_1_1_node_287 | 0.4 | n |  | TRUE
88 | bus_LV_407-5_1_1_node_215 | 0.4 | n |  | TRUE
89 | bus_LV_407-5_1_1_node_227 | 0.4 | n |  | TRUE
90 | bus_LV_407-5_1_1_node_219 | 0.4 | n |  | TRUE
91 | bus_LV_407-5_1_1_node_222 | 0.4 | n |  | TRUE
92 | bus_LV_407-5_1_1_node_224 | 0.4 | n |  | TRUE
93 | bus_LV_407-5_1_1_node_225 | 0.4 | n |  | TRUE
94 | bus_LV_407-5_1_1_node_234 | 0.4 | n |  | TRUE
95 | bus_LV_407-5_1_1_node_235 | 0.4 | n |  | TRUE
96 | bus_LV_407-5_1_1_node_236 | 0.4 | n |  | TRUE
97 | bus_LV_407-5_1_1_node_237 | 0.4 | n |  | TRUE
98 | bus_LV_407-5_1_1_node_268 | 0.4 | n |  | TRUE
99 | bus_MV_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_407-5_1_1_load_66 | 0 | 0.00059542 | 0.00014923 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_407-5_1_1_load_70 | 4 | 0.00028569 | 7.1602e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_407-5_1_1_load_96 | 5 | 0.00012301 | 3.0829e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_407-5_1_1_load_71 | 6 | 9.7721e-05 | 2.4491e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_407-5_1_1_load_175 | 7 | 0.00071132 | 0.00017827 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_407-5_1_1_load_72 | 8 | 0.0048389 | 0.0012127 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_407-5_1_1_load_73 | 9 | 0.00096689 | 0.00024233 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_407-5_1_1_load_74 | 10 | 0.00095357 | 0.00023899 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_407-5_1_1_load_282 | 13 | 0.00012414 | 3.1112e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_407-5_1_1_load_87 | 14 | 0.0022117 | 0.00055431 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_407-5_1_1_load_77 | 15 | 0.0001163 | 2.9146e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_407-5_1_1_load_79 | 17 | 7.7527e-05 | 1.943e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_407-5_1_1_load_86 | 20 | 0.00010217 | 2.5606e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_407-5_1_1_load_101 | 21 | 0.0001915 | 4.7993e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_407-5_1_1_load_81 | 22 | 9.8778e-05 | 2.4756e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_407-5_1_1_load_82 | 23 | 0.00038728 | 9.7061e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_407-5_1_1_load_83 | 24 | 5.6299e-05 | 1.411e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_407-5_1_1_load_85 | 26 | 0.00022143 | 5.5496e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_407-5_1_1_load_89 | 27 | 5.2685e-05 | 1.3204e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_407-5_1_1_load_91 | 29 | 0.0002497 | 6.2581e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_407-5_1_1_load_92 | 30 | 0.00032414 | 8.1236e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_407-5_1_1_load_182 | 32 | 0.00011427 | 2.8638e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_407-5_1_1_load_93 | 33 | 0.00011435 | 2.8659e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_407-5_1_1_load_294 | 36 | 0.00047557 | 0.00011919 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_407-5_1_1_load_97 | 38 | 0.00017878 | 4.4807e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_407-5_1_1_load_170 | 41 | 0.0011876 | 0.00029764 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_407-5_1_1_load_171 | 42 | 0.00044158 | 0.00011067 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_407-5_1_1_load_172 | 43 | 0.0021717 | 0.00054427 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_407-5_1_1_load_174 | 45 | 0.00019297 | 4.8364e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_407-5_1_1_load_258 | 48 | 0.00030872 | 7.7373e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_407-5_1_1_load_176 | 49 | 0.00027027 | 6.7737e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_407-5_1_1_load_177 | 50 | 0.00016172 | 4.053e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_407-5_1_1_load_178 | 52 | 0.00034412 | 8.6246e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_407-5_1_1_load_181 | 55 | 0.00010092 | 2.5294e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_407-5_1_1_load_193 | 58 | 0.00044526 | 0.00011159 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_407-5_1_1_load_223 | 59 | 0.00013341 | 3.3435e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_407-5_1_1_load_184 | 60 | 0.00051265 | 0.00012848 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_407-5_1_1_load_185 | 61 | 0.00031569 | 7.912e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_407-5_1_1_load_186 | 62 | 0.00024832 | 6.2235e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_407-5_1_1_load_188 | 64 | 0.00035982 | 9.018e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_407-5_1_1_load_197 | 65 | 0.00037026 | 9.2795e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_407-5_1_1_load_189 | 66 | 0.00059762 | 0.00014978 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_407-5_1_1_load_190 | 67 | 0.00013634 | 3.4169e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_407-5_1_1_load_211 | 69 | 0.00016354 | 4.0986e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_407-5_1_1_load_199 | 70 | 0.00022603 | 5.6649e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_407-5_1_1_load_200 | 71 | 0.00024018 | 6.0196e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_407-5_1_1_load_201 | 72 | 0.00010505 | 2.6329e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_407-5_1_1_load_207 | 75 | 0.00023291 | 5.8373e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_407-5_1_1_load_203 | 76 | 9.1236e-05 | 2.2866e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_407-5_1_1_load_220 | 80 | 0.00011999 | 3.0072e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_407-5_1_1_load_296 | 81 | 0.001529 | 0.0003832 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_407-5_1_1_load_292 | 83 | 0.00071056 | 0.00017808 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_407-5_1_1_load_288 | 85 | 0.00095351 | 0.00023897 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_407-5_1_1_load_281 | 86 | 0.00064601 | 0.0001619 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_407-5_1_1_load_287 | 87 | 0.0003616 | 9.0627e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_407-5_1_1_load_215 | 88 | 0.00046994 | 0.00011778 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_407-5_1_1_load_227 | 89 | 0.00046412 | 0.00011632 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_407-5_1_1_load_219 | 90 | 9.21e-05 | 2.3082e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_407-5_1_1_load_222 | 91 | 0.00017051 | 4.2734e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_407-5_1_1_load_224 | 92 | 0.00017588 | 4.408e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_407-5_1_1_load_225 | 93 | 0.00028398 | 7.1172e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_407-5_1_1_load_234 | 94 | 0.00094005 | 0.0002356 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_407-5_1_1_load_236 | 96 | 0.0002185 | 5.4762e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_407-5_1_1_load_268 | 98 | 0.0012311 | 0.00030854 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_407-5_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_407-5_1_1_line_1 | NAYY 4x150 SE | 1 | 2 | 0.015983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_407-5_1_1_line_2 | NAYY 4x150 SE | 2 | 6 | 0.0040578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_407-5_1_1_line_3 | NAYY 4x150 SE | 2 | 7 | 0.24787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_407-5_1_1_line_4 | NAYY 4x150 SE | 3 | 4 | 0.010584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_407-5_1_1_line_5 | NAYY 4x150 SE | 3 | 5 | 0.13265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_407-5_1_1_line_6 | NAYY 4x150 SE | 4 | 6 | 0.0031948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_407-5_1_1_line_7 | NAYY 4x150 SE | 5 | 34 | 0.023141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_407-5_1_1_line_8 | NAYY 4x150 SE | 7 | 49 | 0.028993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_407-5_1_1_line_9 | NAYY 4x150 SE | 8 | 9 | 0.049772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_407-5_1_1_line_10 | NAYY 4x150 SE | 8 | 10 | 0.032205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_407-5_1_1_line_11 | NAYY 4x150 SE | 9 | 11 | 0.098937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_407-5_1_1_line_12 | NAYY 4x150 SE | 10 | 12 | 0.031337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_407-5_1_1_line_13 | NAYY 4x150 SE | 11 | 13 | 0.12601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_407-5_1_1_line_14 | NAYY 4x150 SE | 12 | 14 | 0.047787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_407-5_1_1_line_15 | NAYY 4x150 SE | 13 | 31 | 0.04666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_407-5_1_1_line_16 | NAYY 4x150 SE | 15 | 16 | 0.11135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_407-5_1_1_line_17 | NAYY 4x150 SE | 16 | 17 | 0.032038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_407-5_1_1_line_18 | NAYY 4x150 SE | 16 | 18 | 0.14145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_407-5_1_1_line_19 | NAYY 4x150 SE | 17 | 19 | 0.12544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_407-5_1_1_line_20 | NAYY 4x150 SE | 18 | 20 | 0.016828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_407-5_1_1_line_21 | NAYY 4x150 SE | 18 | 21 | 0.00416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_407-5_1_1_line_22 | NAYY 4x150 SE | 19 | 67 | 0.0237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_407-5_1_1_line_23 | NAYY 4x150 SE | 20 | 25 | 0.015879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_407-5_1_1_line_24 | NAYY 4x150 SE | 21 | 40 | 0.013531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_407-5_1_1_line_25 | NAYY 4x150 SE | 22 | 23 | 0.029202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_407-5_1_1_line_26 | NAYY 4x150 SE | 23 | 24 | 0.031759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_407-5_1_1_line_27 | NAYY 4x150 SE | 24 | 25 | 0.069391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_407-5_1_1_line_28 | NAYY 4x150 SE | 25 | 26 | 0.026106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_407-5_1_1_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0066164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_407-5_1_1_line_30 | NAYY 4x150 SE | 28 | 29 | 0.060786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_407-5_1_1_line_31 | NAYY 4x150 SE | 28 | 30 | 0.017079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_407-5_1_1_line_32 | NAYY 4x150 SE | 29 | 31 | 0.39033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_407-5_1_1_line_33 | NAYY 4x150 SE | 30 | 32 | 0.17507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_407-5_1_1_line_34 | NAYY 4x150 SE | 31 | 86 | 0.025698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_407-5_1_1_line_35 | NAYY 4x150 SE | 32 | 58 | 0.0041901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_407-5_1_1_line_36 | NAYY 4x150 SE | 33 | 34 | 0.013857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_407-5_1_1_line_37 | NAYY 4x150 SE | 34 | 35 | 0.004036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_407-5_1_1_line_38 | NAYY 4x150 SE | 35 | 36 | 0.014294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_407-5_1_1_line_39 | NAYY 4x150 SE | 35 | 37 | 0.043897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_407-5_1_1_line_40 | NAYY 4x150 SE | 37 | 39 | 0.028693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_407-5_1_1_line_41 | NAYY 4x150 SE | 38 | 39 | 0.017718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_407-5_1_1_line_42 | NAYY 4x150 SE | 39 | 40 | 0.031601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_407-5_1_1_line_43 | NAYY 4x150 SE | 41 | 42 | 0.023594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_407-5_1_1_line_44 | NAYY 4x150 SE | 41 | 43 | 0.020244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_407-5_1_1_line_45 | NAYY 4x150 SE | 42 | 44 | 0.0033917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_407-5_1_1_line_46 | NAYY 4x150 SE | 43 | 45 | 0.017863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_407-5_1_1_line_47 | NAYY 4x150 SE | 44 | 46 | 0.054319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_407-5_1_1_line_48 | NAYY 4x150 SE | 44 | 47 | 0.008707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_407-5_1_1_line_49 | NAYY 4x150 SE | 45 | 48 | 0.45175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_407-5_1_1_line_50 | NAYY 4x150 SE | 46 | 85 | 0.043037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_407-5_1_1_line_51 | NAYY 4x150 SE | 46 | 86 | 0.44953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_407-5_1_1_line_52 | NAYY 4x150 SE | 47 | 87 | 0.029005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_407-5_1_1_line_53 | NAYY 4x150 SE | 48 | 96 | 0.01636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_407-5_1_1_line_54 | NAYY 4x150 SE | 49 | 50 | 0.023788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_407-5_1_1_line_55 | NAYY 4x150 SE | 50 | 51 | 0.16325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_407-5_1_1_line_56 | NAYY 4x150 SE | 51 | 89 | 0.20129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_407-5_1_1_line_57 | NAYY 4x150 SE | 51 | 63 | 0.005058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_407-5_1_1_line_58 | NAYY 4x150 SE | 51 | 88 | 0.023943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_407-5_1_1_line_59 | NAYY 4x150 SE | 52 | 53 | 0.021306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_407-5_1_1_line_60 | NAYY 4x150 SE | 52 | 54 | 0.016907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_407-5_1_1_line_61 | NAYY 4x150 SE | 53 | 55 | 0.0035644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_407-5_1_1_line_62 | NAYY 4x150 SE | 54 | 56 | 0.006454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_407-5_1_1_line_63 | NAYY 4x150 SE | 55 | 57 | 0.005114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_407-5_1_1_line_64 | NAYY 4x150 SE | 56 | 59 | 0.025437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_407-5_1_1_line_65 | NAYY 4x150 SE | 57 | 58 | 0.038561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_407-5_1_1_line_66 | NAYY 4x150 SE | 57 | 66 | 0.018184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_407-5_1_1_line_67 | NAYY 4x150 SE | 60 | 61 | 0.0022759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_407-5_1_1_line_68 | NAYY 4x150 SE | 60 | 62 | 0.014401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_407-5_1_1_line_69 | NAYY 4x150 SE | 61 | 63 | 0.035169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_407-5_1_1_line_70 | NAYY 4x150 SE | 62 | 64 | 0.014897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_407-5_1_1_line_71 | NAYY 4x150 SE | 64 | 65 | 0.051072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_407-5_1_1_line_72 | NAYY 4x150 SE | 65 | 68 | 0.019983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_407-5_1_1_line_73 | NAYY 4x150 SE | 66 | 67 | 0.015548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_407-5_1_1_line_74 | NAYY 4x150 SE | 68 | 69 | 0.025835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_407-5_1_1_line_75 | NAYY 4x150 SE | 69 | 79 | 0.0052685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_407-5_1_1_line_76 | NAYY 4x150 SE | 70 | 71 | 0.013712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_407-5_1_1_line_77 | NAYY 4x150 SE | 70 | 72 | 0.0097711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_407-5_1_1_line_78 | NAYY 4x150 SE | 72 | 73 | 0.0053519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_407-5_1_1_line_79 | NAYY 4x150 SE | 73 | 74 | 0.005697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_407-5_1_1_line_80 | NAYY 4x150 SE | 73 | 75 | 0.020978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_407-5_1_1_line_81 | NAYY 4x150 SE | 74 | 81 | 0.013062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_407-5_1_1_line_82 | NAYY 4x150 SE | 76 | 77 | 0.078706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_407-5_1_1_line_83 | NAYY 4x150 SE | 77 | 78 | 0.097695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_407-5_1_1_line_84 | NAYY 4x150 SE | 78 | 79 | 0.010434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_407-5_1_1_line_85 | NAYY 4x150 SE | 78 | 80 | 0.048349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_407-5_1_1_line_86 | NAYY 4x150 SE | 80 | 90 | 0.019128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_407-5_1_1_line_87 | NAYY 4x150 SE | 81 | 89 | 0.22421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_407-5_1_1_line_88 | NAYY 4x150 SE | 82 | 83 | 0.03967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_407-5_1_1_line_89 | NAYY 4x150 SE | 82 | 84 | 0.030588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_407-5_1_1_line_90 | NAYY 4x150 SE | 84 | 91 | 0.009383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_407-5_1_1_line_91 | NAYY 4x150 SE | 84 | 90 | 0.032629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_407-5_1_1_line_92 | NAYY 4x150 SE | 89 | 93 | 0.028848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_407-5_1_1_line_93 | NAYY 4x150 SE | 92 | 93 | 0.094226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_407-5_1_1_line_94 | NAYY 4x150 SE | 94 | 95 | 0.025889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_407-5_1_1_line_95 | NAYY 4x150 SE | 95 | 96 | 0.014769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_407-5_1_1_line_96 | NAYY 4x150 SE | 95 | 97 | 0.009579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_407-5_1_1_line_97 | NAYY 4x150 SE | 97 | 98 | 0.028963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_407-5_1_1_trafo_89 | 0.25 MVA 20/0.4 kV | 99 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2616602.3384 | 1214139.4785 | 2616594.4156 | 1214145.5489 | 2616584.5709 | 1214150.0522
1 | 2616603.9338 | 1214125.6418 | 2616601.2915 | 1214128.1359 | 2616599.474 | 1214134.4566 | 2616602.3384 | 1214139.4785
2 | 2616603.9338 | 1214125.6418 | 2616607.9884 | 1214125.8003
3 | 2616603.9338 | 1214125.6418 | 2616444.4511 | 1213935.8919
4 | 2616621.7207 | 1214125.5467 | 2616617.1014 | 1214126.1564 | 2616611.1808 | 1214125.925
5 | 2616754.335 | 1214122.4436 | 2616621.7207 | 1214125.5467
6 | 2616611.1808 | 1214125.925 | 2616607.9884 | 1214125.8003
7 | 2616776.6579 | 1214120.5096 | 2616761.8297 | 1214119.0227 | 2616754.335 | 1214122.4436
8 | 2616444.4511 | 1213935.8919 | 2616452.546 | 1213931.0138 | 2616453.372 | 1213928.9371 | 2616459.1937 | 1213924.6951 | 2616460.9755 | 1213914.75
9 | 2616014.5164 | 1214853.163 | 2616031.439 | 1214840.8963 | 2616054.1873 | 1214833.3419 | 2616058.8262 | 1214831.7602
10 | 2616014.5164 | 1214853.163 | 2616005.844 | 1214859.4494 | 2616000.3514 | 1214863.2035 | 2615993.1587 | 1214858.048 | 2615990.5165 | 1214852.6704
11 | 2616153.556 | 1214814.7098 | 2616120.055 | 1214810.9285 | 2616108.616 | 1214811.9649 | 2616098.9492 | 1214814.7738 | 2616078.2891 | 1214825.1241 | 2616058.8262 | 1214831.7602
12 | 2615979.6446 | 1214825.7936 | 2615987.7426 | 1214833.175 | 2615986.8523 | 1214845.2128 | 2615990.5165 | 1214852.6704
13 | 2616153.556 | 1214814.7098 | 2616237.8582 | 1214908.3688
14 | 2615979.6446 | 1214825.7936 | 2615970.3269 | 1214817.3084 | 2615941.1739 | 1214797.6084
15 | 2616275.2486 | 1214925.3578 | 2616272.3754 | 1214923.6046 | 2616270.5577 | 1214921.8431 | 2616264.6428 | 1214913.2888 | 2616260.0843 | 1214908.5626 | 2616256.6657 | 1214906.3076 | 2616253.9735 | 1214904.9996 | 2616250.9217 | 1214904.6689 | 2616247.299 | 1214904.8925 | 2616242.1997 | 1214906.3239 | 2616237.8582 | 1214908.3688
16 | 2616756.8157 | 1214330.9729 | 2616755.4629 | 1214334.0375 | 2616753.5348 | 1214339.135 | 2616751.9214 | 1214345.7898 | 2616750.8449 | 1214353.2243 | 2616750.2969 | 1214359.1039 | 2616750.3688 | 1214368.6762 | 2616750.6525 | 1214378.5604 | 2616751.9526 | 1214397.0078 | 2616754.4084 | 1214417.6708 | 2616756.7673 | 1214429.5619 | 2616759.0242 | 1214437.1725 | 2616760.3811 | 1214440.3601
17 | 2616756.8157 | 1214330.9729 | 2616752.7892 | 1214331.5064 | 2616730.4523 | 1214348.4535
18 | 2616778.7429 | 1214213.8015 | 2616768.7885 | 1214221.1777 | 2616757.5974 | 1214233.5756 | 2616752.6779 | 1214243.8121 | 2616749.9871 | 1214250.0859 | 2616749.0897 | 1214253.2296 | 2616748.715 | 1214256.8639 | 2616748.9472 | 1214260.7112 | 2616749.5072 | 1214264.1591 | 2616751.9977 | 1214267.0455 | 2616755.018 | 1214270.5671 | 2616763.9776 | 1214279.3527 | 2616767.0669 | 1214282.641 | 2616769.8139 | 1214286.1395 | 2616771.9448 | 1214289.9477 | 2616772.7878 | 1214292.6627 | 2616773.2329 | 1214296.4438 | 2616773.0694 | 1214300.5679 | 2616772.4298 | 1214303.8791 | 2616771.1502 | 1214307.9 | 2616768.5003 | 1214313.1289 | 2616764.8229 | 1214319.1665 | 2616759.7761 | 1214326.0562 | 2616756.8157 | 1214330.9729
19 | 2616605.0392 | 1214351.1279 | 2616730.4523 | 1214348.4535
20 | 2616778.7429 | 1214213.8015 | 2616789.0503 | 1214210.4841 | 2616795.0955 | 1214210.501
21 | 2616778.7429 | 1214213.8015 | 2616779.9009 | 1214209.8059
22 | 2616605.0392 | 1214351.1279 | 2616588.555 | 1214368.1565
23 | 2616795.0955 | 1214210.501 | 2616801.3838 | 1214210.5187 | 2616810.7337 | 1214212.8463
24 | 2616782.0266 | 1214196.5231 | 2616781.5343 | 1214204.1705 | 2616779.9009 | 1214209.8059
25 | 2616923.1989 | 1214267.1849 | 2616923.023 | 1214259.6893 | 2616917.2868 | 1214255.1372 | 2616903.7868 | 1214250.1807
26 | 2616874.528 | 1214237.8846 | 2616875.5412 | 1214238.5432 | 2616890.0146 | 1214244.5541 | 2616902.2122 | 1214249.6025 | 2616903.7868 | 1214250.1807
27 | 2616810.7337 | 1214212.8463 | 2616818.376 | 1214214.7466 | 2616828.0624 | 1214218.954 | 2616841.7046 | 1214220.7823 | 2616858.5683 | 1214227.5114 | 2616874.528 | 1214237.8846
28 | 2616810.7337 | 1214212.8463 | 2616809.6759 | 1214208.2074 | 2616806.1853 | 1214199.059 | 2616801.2944 | 1214188.5883
29 | 2616595.4199 | 1214623.8221 | 2616591.1807 | 1214628.9021
30 | 2616595.4199 | 1214623.8221 | 2616589.0934 | 1214643.2044 | 2616580.3922 | 1214667.3273 | 2616579.2477 | 1214672.0156 | 2616578.9406 | 1214675.9504 | 2616579.78 | 1214679.9772 | 2616580.2595 | 1214681.7812
31 | 2616601.0233 | 1214607.7508 | 2616596.5432 | 1214618.5556 | 2616595.4199 | 1214623.8221
32 | 2616580.2595 | 1214681.7812 | 2616275.2486 | 1214925.3578
33 | 2616566.9144 | 1214436.0346 | 2616601.0233 | 1214607.7508
34 | 2616275.2486 | 1214925.3578 | 2616275.0658 | 1214928.359 | 2616274.1706 | 1214930.8246 | 2616272.3791 | 1214933.4324 | 2616268.6411 | 1214936.9242 | 2616264.0835 | 1214940.2248 | 2616258.4572 | 1214942.8221
35 | 2616569.4918 | 1214432.731 | 2616566.9144 | 1214436.0346
36 | 2616776.6579 | 1214120.5096 | 2616772.9066 | 1214112.2166 | 2616771.0351 | 1214107.9311 | 2616771.0137 | 1214107.8553
37 | 2616776.6579 | 1214120.5096 | 2616778.7899 | 1214123.9397
38 | 2616778.7899 | 1214123.9397 | 2616777.9238 | 1214126.7611 | 2616774.8933 | 1214137.6921
39 | 2616778.7899 | 1214123.9397 | 2616788.0849 | 1214124.2548 | 2616787.6803 | 1214127.7001 | 2616788.9501 | 1214140.6888 | 2616787.8922 | 1214157.7177 | 2616787.6616 | 1214158.7065
40 | 2616770.5992 | 1214171.3102 | 2616784.6826 | 1214172.9061 | 2616785.402 | 1214168.2388 | 2616787.6616 | 1214158.7065
41 | 2616770.5992 | 1214171.3102 | 2616769.7542 | 1214166.6052 | 2616764.785 | 1214164.7124 | 2616757.2058 | 1214163.9182
42 | 2616770.5992 | 1214171.3102 | 2616769.645 | 1214175.7545 | 2616770.4895 | 1214180.6262 | 2616776.2999 | 1214185.8566 | 2616782.4948 | 1214189.3648 | 2616782.0266 | 1214196.5231
43 | 2616563.7423 | 1215368.1346 | 2616543.6337 | 1215355.792
44 | 2616563.7423 | 1215368.1346 | 2616580.9954 | 1215378.7245
45 | 2616540.7431 | 1215354.0178 | 2616543.6337 | 1215355.792
46 | 2616596.2194 | 1215388.0689 | 2616580.9954 | 1215378.7245
47 | 2616540.7431 | 1215354.0178 | 2616498.848 | 1215327.9873 | 2616494.4207 | 1215325.4403
48 | 2616540.7431 | 1215354.0178 | 2616540.8659 | 1215345.3132
49 | 2616596.2194 | 1215388.0689 | 2616960.4284 | 1215120.805
50 | 2616494.4207 | 1215325.4403 | 2616481.0936 | 1215353.4195 | 2616491.2579 | 1215359.9512
51 | 2616258.4572 | 1214942.8221 | 2616494.4207 | 1215325.4403
52 | 2616526.6076 | 1215320.0483 | 2616532.6804 | 1215331.6383 | 2616540.8659 | 1215345.3132
53 | 2616960.4284 | 1215120.805 | 2616976.1296 | 1215125.4025
54 | 2616460.9755 | 1213914.75 | 2616460.9755 | 1213914.75 | 2616463.3267 | 1213896.624 | 2616461.4732 | 1213891.4351
55 | 2616352.2955 | 1213774.6952 | 2616353.5763 | 1213775.7104 | 2616392.577 | 1213800.6756 | 2616407.6675 | 1213812.079 | 2616416.0797 | 1213821.4962 | 2616428.3082 | 1213837.9168 | 2616438.3548 | 1213852.3081 | 2616449.055 | 1213866.5455 | 2616456.3668 | 1213878.3612 | 2616460.2818 | 1213888.0997 | 2616461.4732 | 1213891.4351
56 | 2616352.2955 | 1213774.6952 | 2616503.4809 | 1213641.8091
57 | 2616348.3243 | 1213771.5492 | 2616352.2955 | 1213774.6952
58 | 2616352.2955 | 1213774.6952 | 2616352.6233 | 1213782.5894 | 2616350.2982 | 1213791.3214 | 2616347.1406 | 1213797.5754
59 | 2616560.0114 | 1214398.0852 | 2616549.567 | 1214407.1281 | 2616543.9747 | 1214412.1116
60 | 2616532.5154 | 1214424.513 | 2616541.284 | 1214414.5093 | 2616543.9747 | 1214412.1116
61 | 2616560.0114 | 1214398.0852 | 2616563.2625 | 1214396.6239
62 | 2616526.0537 | 1214424.1283 | 2616532.5154 | 1214424.513
63 | 2616567.9269 | 1214394.5273 | 2616563.2625 | 1214396.6239
64 | 2616526.0537 | 1214424.1283 | 2616505.9146 | 1214408.5888
65 | 2616567.9269 | 1214394.5273 | 2616571.327 | 1214419.9622 | 2616569.4918 | 1214432.731 | 2616569.4918 | 1214432.731
66 | 2616567.9269 | 1214394.5273 | 2616571.1723 | 1214388.0882 | 2616574.2994 | 1214383.2608 | 2616577.8683 | 1214379.4493
67 | 2616315.9101 | 1213753.1484 | 2616317.7007 | 1213754.5531
68 | 2616315.9101 | 1213753.1484 | 2616309.6984 | 1213748.2752 | 2616305.3239 | 1213743.459
69 | 2616348.3243 | 1213771.5492 | 2616339.4559 | 1213767.8118 | 2616323.2646 | 1213758.9182 | 2616317.7007 | 1213754.5531
70 | 2616295.1608 | 1213732.5677 | 2616301.9443 | 1213739.7381 | 2616305.3239 | 1213743.459
71 | 2616295.1608 | 1213732.5677 | 2616286.8127 | 1213723.7435 | 2616271.8341 | 1213710.1617 | 2616259.6982 | 1213698.5444 | 2616258.178 | 1213697.3963
72 | 2616240.6912 | 1213688.7762 | 2616244.8224 | 1213688.9986 | 2616251.2772 | 1213692.1846 | 2616258.178 | 1213697.3963
73 | 2616577.8683 | 1214379.4493 | 2616585.1077 | 1214371.7176 | 2616588.555 | 1214368.1565
74 | 2616240.6912 | 1213688.7762 | 2616236.82 | 1213710.2889 | 2616234.9777 | 1213713.8129
75 | 2616232.5369 | 1213718.4819 | 2616234.9777 | 1213713.8129
76 | 2616702.8178 | 1213804.1021 | 2616702.8178 | 1213804.1021 | 2616715.0931 | 1213803.4805 | 2616716.1409 | 1213804.4397
77 | 2616702.8178 | 1213804.1021 | 2616695.8293 | 1213797.273
78 | 2616692.0016 | 1213793.5326 | 2616695.8293 | 1213797.273
79 | 2616686.3065 | 1213793.072 | 2616692.0016 | 1213793.5326
80 | 2616692.0016 | 1213793.5326 | 2616698.149 | 1213789.7254 | 2616707.0569 | 1213779.2555
81 | 2616676.3503 | 1213784.5839 | 2616686.3065 | 1213793.072
82 | 2616178.3139 | 1213800.3368 | 2616198.8909 | 1213813.6444 | 2616225.0314 | 1213833.8155 | 2616230.8132 | 1213841.48 | 2616233.208 | 1213849.0241 | 2616232.0504 | 1213852.5034
83 | 2616178.3139 | 1213800.3368 | 2616225.7114 | 1213731.5374 | 2616226.5131 | 1213730.0054 | 2616225.6037 | 1213723.6327 | 2616222.5492 | 1213718.4882
84 | 2616232.5369 | 1213718.4819 | 2616227.9148 | 1213720.0369 | 2616222.5492 | 1213718.4882
85 | 2616222.5492 | 1213718.4882 | 2616205.4953 | 1213702.7109 | 2616190.0842 | 1213686.0598 | 2616189.1774 | 1213683.8071
86 | 2616188.2931 | 1213665.5383 | 2616187.7294 | 1213666.4979 | 2616186.1686 | 1213676.3326 | 2616189.1774 | 1213683.8071
87 | 2616503.4809 | 1213641.8091 | 2616676.3503 | 1213784.5839
88 | 2616234.7347 | 1213627.9035 | 2616230.3327 | 1213635.0956 | 2616213.9307 | 1213661.7106
89 | 2616234.7347 | 1213627.9035 | 2616226.948 | 1213631.262 | 2616214.5522 | 1213634.1856 | 2616205.9967 | 1213638.1981
90 | 2616207.9963 | 1213629.0316 | 2616205.9967 | 1213638.1981
91 | 2616205.9967 | 1213638.1981 | 2616199.0682 | 1213647.1955 | 2616188.2931 | 1213665.5383
92 | 2616485.9499 | 1213619.2038 | 2616493.6685 | 1213632.1917 | 2616503.4809 | 1213641.8091
93 | 2616446.1778 | 1213533.8714 | 2616467.162 | 1213579.4223 | 2616479.546 | 1213608.4283 | 2616485.9499 | 1213619.2038
94 | 2616990.6679 | 1215125.2044 | 2616990.2161 | 1215134.5751 | 2616989.2775 | 1215138.8415 | 2616986.8089 | 1215144.4711 | 2616983.8279 | 1215149.6691
95 | 2616990.6679 | 1215125.2044 | 2616984.0585 | 1215126.3196 | 2616981.1953 | 1215126.5116 | 2616978.4098 | 1215126.0701 | 2616976.1296 | 1215125.4025
96 | 2616996.9152 | 1215117.9292 | 2616990.6679 | 1215125.2044
97 | 2616996.9152 | 1215117.9292 | 2617014.7834 | 1215128.2302 | 2617022.5624 | 1215131.232

## bus_geodata
| x | y | coords
0 | 2616584.5709 | 1214150.0522
1 | 2616602.3384 | 1214139.4785
2 | 2616603.9338 | 1214125.6418
3 | 2616621.7207 | 1214125.5467
4 | 2616611.1808 | 1214125.925
5 | 2616754.335 | 1214122.4436
6 | 2616607.9884 | 1214125.8003
7 | 2616444.4511 | 1213935.8919
8 | 2616014.5164 | 1214853.163
9 | 2616058.8262 | 1214831.7602
10 | 2615990.5165 | 1214852.6704
11 | 2616153.556 | 1214814.7098
12 | 2615979.6446 | 1214825.7936
13 | 2616237.8582 | 1214908.3688
14 | 2615941.1739 | 1214797.6084
15 | 2616760.3811 | 1214440.3601
16 | 2616756.8157 | 1214330.9729
17 | 2616730.4523 | 1214348.4535
18 | 2616778.7429 | 1214213.8015
19 | 2616605.0392 | 1214351.1279
20 | 2616795.0955 | 1214210.501
21 | 2616779.9009 | 1214209.8059
22 | 2616923.1989 | 1214267.1849
23 | 2616903.7868 | 1214250.1807
24 | 2616874.528 | 1214237.8846
25 | 2616810.7337 | 1214212.8463
26 | 2616801.2944 | 1214188.5883
27 | 2616591.1807 | 1214628.9021
28 | 2616595.4199 | 1214623.8221
29 | 2616580.2595 | 1214681.7812
30 | 2616601.0233 | 1214607.7508
31 | 2616275.2486 | 1214925.3578
32 | 2616566.9144 | 1214436.0346
33 | 2616771.0137 | 1214107.8553
34 | 2616776.6579 | 1214120.5096
35 | 2616778.7899 | 1214123.9397
36 | 2616774.8933 | 1214137.6921
37 | 2616787.6616 | 1214158.7065
38 | 2616757.2058 | 1214163.9182
39 | 2616770.5992 | 1214171.3102
40 | 2616782.0266 | 1214196.5231
41 | 2616563.7423 | 1215368.1346
42 | 2616543.6337 | 1215355.792
43 | 2616580.9954 | 1215378.7245
44 | 2616540.7431 | 1215354.0178
45 | 2616596.2194 | 1215388.0689
46 | 2616494.4207 | 1215325.4403
47 | 2616540.8659 | 1215345.3132
48 | 2616960.4284 | 1215120.805
49 | 2616460.9755 | 1213914.75
50 | 2616461.4732 | 1213891.4351
51 | 2616352.2955 | 1213774.6952
52 | 2616543.9747 | 1214412.1116
53 | 2616560.0114 | 1214398.0852
54 | 2616532.5154 | 1214424.513
55 | 2616563.2625 | 1214396.6239
56 | 2616526.0537 | 1214424.1283
57 | 2616567.9269 | 1214394.5273
58 | 2616569.4918 | 1214432.731
59 | 2616505.9146 | 1214408.5888
60 | 2616315.9101 | 1213753.1484
61 | 2616317.7007 | 1213754.5531
62 | 2616305.3239 | 1213743.459
63 | 2616348.3243 | 1213771.5493
64 | 2616295.1608 | 1213732.5677
65 | 2616258.178 | 1213697.3963
66 | 2616577.8683 | 1214379.4493
67 | 2616588.555 | 1214368.1565
68 | 2616240.6912 | 1213688.7762
69 | 2616234.9777 | 1213713.8129
70 | 2616702.8178 | 1213804.1021
71 | 2616716.1409 | 1213804.4397
72 | 2616695.8293 | 1213797.273
73 | 2616692.0016 | 1213793.5326
74 | 2616686.3065 | 1213793.072
75 | 2616707.0569 | 1213779.2555
76 | 2616232.0504 | 1213852.5034
77 | 2616178.3139 | 1213800.3368
78 | 2616222.5492 | 1213718.4882
79 | 2616232.5369 | 1213718.4819
80 | 2616189.1774 | 1213683.8071
81 | 2616676.3503 | 1213784.5839
82 | 2616234.7347 | 1213627.9035
83 | 2616213.9307 | 1213661.7106
84 | 2616205.9967 | 1213638.1981
85 | 2616491.2579 | 1215359.9512
86 | 2616258.4572 | 1214942.8221
87 | 2616526.6076 | 1215320.0483
88 | 2616347.1406 | 1213797.5754
89 | 2616503.4809 | 1213641.8091
90 | 2616188.2931 | 1213665.5383
91 | 2616207.9963 | 1213629.0316
92 | 2616446.1778 | 1213533.8714
93 | 2616485.9499 | 1213619.2038
94 | 2616983.8279 | 1215149.6691
95 | 2616990.6679 | 1215125.2044
96 | 2616976.1296 | 1215125.4025
97 | 2616996.9152 | 1215117.9292
98 | 2617022.5624 | 1215131.232
99 | 2616591.1807 | 1214628.9021

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1