## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_424-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_424-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_424-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_424-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_424-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_424-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_424-2_0_3_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_424-2_0_3_node_202 | 0.4 | n |  | TRUE
8 | bus_LV_424-2_0_3_node_216 | 0.4 | n |  | TRUE
9 | bus_LV_424-2_0_3_node_214 | 0.4 | n |  | TRUE
10 | bus_LV_424-2_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_424-2_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_424-2_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_424-2_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_424-2_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_424-2_0_3_node_207 | 0.4 | n |  | TRUE
16 | bus_LV_424-2_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_424-2_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_424-2_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_424-2_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_424-2_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_424-2_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_424-2_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_424-2_0_3_node_228 | 0.4 | n |  | TRUE
24 | bus_LV_424-2_0_3_node_213 | 0.4 | n |  | TRUE
25 | bus_LV_424-2_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_424-2_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_424-2_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_424-2_0_3_node_208 | 0.4 | n |  | TRUE
29 | bus_LV_424-2_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_424-2_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_424-2_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_424-2_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_424-2_0_3_node_206 | 0.4 | n |  | TRUE
34 | bus_LV_424-2_0_3_node_217 | 0.4 | n |  | TRUE
35 | bus_LV_424-2_0_3_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_424-2_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_424-2_0_3_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_424-2_0_3_node_212 | 0.4 | n |  | TRUE
39 | bus_LV_424-2_0_3_node_227 | 0.4 | n |  | TRUE
40 | bus_LV_424-2_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_424-2_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_424-2_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_424-2_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_424-2_0_3_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_424-2_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_424-2_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_424-2_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_424-2_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_424-2_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_424-2_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_424-2_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_424-2_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_424-2_0_3_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_424-2_0_3_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_424-2_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_424-2_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_424-2_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_424-2_0_3_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_424-2_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_424-2_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_424-2_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_424-2_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_424-2_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_424-2_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_424-2_0_3_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_424-2_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_424-2_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_424-2_0_3_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_424-2_0_3_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_424-2_0_3_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_424-2_0_3_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_424-2_0_3_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_424-2_0_3_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_424-2_0_3_node_204 | 0.4 | n |  | TRUE
75 | bus_LV_424-2_0_3_node_205 | 0.4 | n |  | TRUE
76 | bus_LV_424-2_0_3_node_215 | 0.4 | n |  | TRUE
77 | bus_MV_182_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_424-2_0_3_load_0 | 0 | 0.0018487 | 0.00046333 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_424-2_0_3_load_1 | 1 | 0.0002774 | 6.9524e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_424-2_0_3_load_3 | 3 | 0.0011987 | 0.00030041 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_424-2_0_3_load_4 | 4 | 0.0010545 | 0.00026429 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_424-2_0_3_load_202 | 7 | 0.001276 | 0.00031979 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_424-2_0_3_load_216 | 8 | 0.0013623 | 0.00034143 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_424-2_0_3_load_214 | 9 | 0.00034319 | 8.6012e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_424-2_0_3_load_6 | 10 | 0.0051278 | 0.0012852 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_424-2_0_3_load_7 | 11 | 0.0017162 | 0.00043012 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_424-2_0_3_load_8 | 12 | 0.0011343 | 0.00028429 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_424-2_0_3_load_9 | 13 | 0.00048479 | 0.0001215 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_424-2_0_3_load_10 | 14 | 0.0078121 | 0.0019579 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_424-2_0_3_load_207 | 15 | 0.00048772 | 0.00012224 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_424-2_0_3_load_11 | 16 | 0.0031429 | 0.00078769 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_424-2_0_3_load_12 | 17 | 0.0026522 | 0.00066471 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_424-2_0_3_load_16 | 21 | 0.0071729 | 0.0017977 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_424-2_0_3_load_17 | 22 | 0.0014654 | 0.00036727 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_424-2_0_3_load_228 | 23 | 0.0013256 | 0.00033222 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_424-2_0_3_load_208 | 28 | 0.00348 | 0.00087217 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_424-2_0_3_load_30 | 31 | 0.0025364 | 0.00063569 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_424-2_0_3_load_217 | 34 | 0.0037873 | 0.00094919 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_424-2_0_3_load_73 | 35 | 0.0024682 | 0.0006186 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_424-2_0_3_load_71 | 37 | 0.002334 | 0.00058496 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_424-2_0_3_load_212 | 38 | 0.00056813 | 0.00014239 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_424-2_0_3_load_227 | 39 | 0.0011584 | 0.00029032 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_424-2_0_3_load_28 | 40 | 0.009276 | 0.0023248 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_424-2_0_3_load_29 | 41 | 0.0018423 | 0.00046173 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_424-2_0_3_load_32 | 42 | 0.0032138 | 0.00080545 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_424-2_0_3_load_56 | 44 | 0.0034167 | 0.0008563 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_424-2_0_3_load_57 | 45 | 0.0017065 | 0.0004277 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_424-2_0_3_load_33 | 46 | 0.0076595 | 0.0019196 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_424-2_0_3_load_34 | 47 | 0.0020289 | 0.0005085 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_424-2_0_3_load_36 | 49 | 0.0018867 | 0.00047284 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_424-2_0_3_load_37 | 50 | 0.0060585 | 0.0015184 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_424-2_0_3_load_54 | 52 | 0.0023807 | 0.00059666 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_424-2_0_3_load_58 | 53 | 0.0018254 | 0.0004575 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_424-2_0_3_load_61 | 54 | 0.00094224 | 0.00023615 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_424-2_0_3_load_39 | 55 | 0.0020467 | 0.00051295 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_424-2_0_3_load_62 | 58 | 0.00081355 | 0.00020389 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_424-2_0_3_load_42 | 59 | 0.0094914 | 0.0023788 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_424-2_0_3_load_43 | 60 | 0.0031941 | 0.00080052 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_424-2_0_3_load_44 | 61 | 0.0029836 | 0.00074776 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_424-2_0_3_load_45 | 62 | 0.0020964 | 0.00052541 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_424-2_0_3_load_46 | 63 | 0.0034023 | 0.00085269 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_424-2_0_3_load_47 | 64 | 0.0013392 | 0.00033563 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_424-2_0_3_load_48 | 65 | 0.0015071 | 0.00037771 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_424-2_0_3_load_50 | 67 | 0.0013057 | 0.00032723 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_424-2_0_3_load_51 | 68 | 0.0034133 | 0.00085546 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_424-2_0_3_load_74 | 69 | 0.011092 | 0.00278 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_424-2_0_3_load_52 | 70 | 0.0028258 | 0.00070822 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_424-2_0_3_load_53 | 71 | 0.0022604 | 0.0005665 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_424-2_0_3_load_55 | 72 | 0.0045505 | 0.0011405 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_424-2_0_3_load_72 | 73 | 0.0021077 | 0.00052825 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_424-2_0_3_load_204 | 74 | 0.00080596 | 0.00020199 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_424-2_0_3_load_205 | 75 | 0.00018943 | 4.7477e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_424-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_424-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.056605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_424-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.00066893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_424-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_424-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.024628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_424-2_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.036059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_424-2_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.036138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_424-2_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.028451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_424-2_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.016409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_424-2_0_3_line_9 | NAYY 4x150 SE | 6 | 39 | 0.025441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_424-2_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.014426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_424-2_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.020828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_424-2_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.025792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_424-2_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.017221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_424-2_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.030098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_424-2_0_3_line_15 | NAYY 4x150 SE | 15 | 75 | 0.030268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_424-2_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.026654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_424-2_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_424-2_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.01859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_424-2_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.002874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_424-2_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.047682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_424-2_0_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.023876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_424-2_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.017681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_424-2_0_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.052971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_424-2_0_3_line_24 | NAYY 4x150 SE | 22 | 25 | 0.09533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_424-2_0_3_line_25 | NAYY 4x150 SE | 24 | 76 | 0.073815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_424-2_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.23632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_424-2_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.063666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_424-2_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.038232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_424-2_0_3_line_29 | NAYY 4x150 SE | 27 | 38 | 0.032489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_424-2_0_3_line_30 | NAYY 4x150 SE | 28 | 33 | 0.0048948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_424-2_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.28369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_424-2_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.033993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_424-2_0_3_line_33 | NAYY 4x150 SE | 30 | 35 | 0.0094328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_424-2_0_3_line_34 | NAYY 4x150 SE | 30 | 36 | 0.28501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_424-2_0_3_line_35 | NAYY 4x150 SE | 30 | 37 | 0.039788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_424-2_0_3_line_36 | NAYY 4x150 SE | 31 | 42 | 0.018159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_424-2_0_3_line_37 | NAYY 4x150 SE | 31 | 40 | 0.019866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_424-2_0_3_line_38 | NAYY 4x150 SE | 32 | 33 | 0.004167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_424-2_0_3_line_39 | NAYY 4x150 SE | 32 | 34 | 0.012422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_424-2_0_3_line_40 | NAYY 4x150 SE | 33 | 74 | 0.16006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_424-2_0_3_line_41 | NAYY 4x150 SE | 35 | 69 | 0.0074625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_424-2_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.11809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_424-2_0_3_line_43 | NAYY 4x150 SE | 37 | 73 | 0.014476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_424-2_0_3_line_44 | NAYY 4x150 SE | 39 | 76 | 0.040217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_424-2_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.023968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_424-2_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.0061702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_424-2_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.022167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_424-2_0_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.095392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_424-2_0_3_line_49 | NAYY 4x150 SE | 44 | 63 | 0.018675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_424-2_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.030949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_424-2_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.027696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_424-2_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.021588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_424-2_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.035495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_424-2_0_3_line_54 | NAYY 4x150 SE | 48 | 51 | 0.036083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_424-2_0_3_line_55 | NAYY 4x150 SE | 49 | 52 | 0.03012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_424-2_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.0037949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_424-2_0_3_line_57 | NAYY 4x150 SE | 51 | 54 | 0.022501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_424-2_0_3_line_58 | NAYY 4x150 SE | 52 | 70 | 0.022142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_424-2_0_3_line_59 | NAYY 4x150 SE | 53 | 67 | 0.013865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_424-2_0_3_line_60 | NAYY 4x150 SE | 54 | 57 | 0.0043459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_424-2_0_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.047915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_424-2_0_3_line_62 | NAYY 4x150 SE | 56 | 57 | 0.022848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_424-2_0_3_line_63 | NAYY 4x150 SE | 57 | 58 | 0.037481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_424-2_0_3_line_64 | NAYY 4x150 SE | 59 | 60 | 0.03447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_424-2_0_3_line_65 | NAYY 4x150 SE | 59 | 61 | 0.0024151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_424-2_0_3_line_66 | NAYY 4x150 SE | 60 | 62 | 0.031375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_424-2_0_3_line_67 | NAYY 4x150 SE | 61 | 63 | 0.016044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_424-2_0_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.038565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_424-2_0_3_line_69 | NAYY 4x150 SE | 64 | 66 | 0.017961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_424-2_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.01251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_424-2_0_3_line_71 | NAYY 4x150 SE | 66 | 68 | 0.0054222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_424-2_0_3_line_72 | NAYY 4x150 SE | 68 | 69 | 0.024338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_424-2_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.0093481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_424-2_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.12264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_424-2_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.022249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_424-2_0_3_trafo_62 | 0.25 MVA 20/0.4 kV | 77 | 58 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2616832.9299 | 1216971.9419 | 2616837.0054 | 1216980.9589 | 2616839.01 | 1216983.4437 | 2616841.4496 | 1216985.1294 | 2616848.7267 | 1216988.9346
1 | 2616820.0442 | 1216919.9541 | 2616818.3148 | 1216922.1728 | 2616816.9416 | 1216924.5703 | 2616815.9691 | 1216927.5915 | 2616815.9432 | 1216931.4047 | 2616817.6851 | 1216938.2135 | 2616832.9299 | 1216971.9419
2 | 2616848.7267 | 1216988.9346 | 2616849.3195 | 1216989.2445
3 | 2616820.0442 | 1216919.9541 | 2616812.9816 | 1216903.1284
4 | 2616843.6871 | 1216913.0501 | 2616822.7429 | 1216918.5609 | 2616820.0442 | 1216919.9541
5 | 2616881.2738 | 1217005.9535 | 2616849.3195 | 1216989.2445
6 | 2616812.9816 | 1216903.1284 | 2616809.0274 | 1216893.7082 | 2616801.6489 | 1216869.4069 | 2616801.4553 | 1216868.9188
7 | 2616843.6871 | 1216913.0501 | 2616857.4834 | 1216937.9328
8 | 2616843.6871 | 1216913.0501 | 2616835.5378 | 1216898.8083
9 | 2616881.2738 | 1217005.9535 | 2616874.8611 | 1217018.8205 | 2616871.0944 | 1217024.78 | 2616868.1773 | 1217027.5386
10 | 2616837.0637 | 1216770.9078 | 2616837.9158 | 1216779.024 | 2616838.3903 | 1216785.271
11 | 2616837.0637 | 1216770.9078 | 2616836.3338 | 1216763.9554 | 2616834.1568 | 1216750.2902
12 | 2616840.5106 | 1216810.9739 | 2616839.8483 | 1216804.4662 | 2616838.3903 | 1216785.271
13 | 2616834.1568 | 1216750.2902 | 2616832.8875 | 1216742.3223 | 2616831.2583 | 1216733.3159
14 | 2616840.5106 | 1216810.9739 | 2616841.4069 | 1216819.7793 | 2616842.8964 | 1216829.9782 | 2616844.9101 | 1216840.7313
15 | 2616844.9101 | 1216840.7313 | 2616846.7105 | 1216850.345 | 2616850.633 | 1216867.2546 | 2616851.4583 | 1216870.2719
16 | 2616927.8531 | 1217116.0763 | 2616948.1676 | 1217098.8201
17 | 2616917.4116 | 1217124.9458 | 2616927.8531 | 1217116.0763
18 | 2616962.3361 | 1217086.7846 | 2616948.1676 | 1217098.8201
19 | 2616914.9631 | 1217126.4619 | 2616917.4116 | 1217124.9458
20 | 2616917.4116 | 1217124.9458 | 2616905.2518 | 1217108.6243 | 2616886.753 | 1217103.2245 | 2616878.9507 | 1217101.2087
21 | 2616962.3361 | 1217086.7846 | 2616970.9621 | 1217091.1671 | 2616981.5823 | 1217100.5944
22 | 2616914.9631 | 1217126.4619 | 2616899.9299 | 1217135.7684
23 | 2616828.8339 | 1217084.6729 | 2616832.3743 | 1217086.306 | 2616846.5963 | 1217092.8498 | 2616878.9507 | 1217101.2087
24 | 2617051.1822 | 1217165.7156 | 2617003.7553 | 1217120.2769 | 2616981.5823 | 1217100.5944
25 | 2616830.1434 | 1217029.4117 | 2616823.0026 | 1217031.2704 | 2616817.7098 | 1217034.6797 | 2616812.7766 | 1217039.7354 | 2616810.0048 | 1217045.5531 | 2616808.4381 | 1217051.9857 | 2616808.6416 | 1217057.8897 | 2616810.1066 | 1217063.3191 | 2616813.3102 | 1217068.6201 | 2616817.3044 | 1217073.5452 | 2616826.472 | 1217082.3983 | 2616828.8339 | 1217084.6729
26 | 2616982.7853 | 1217041.5946 | 2616991.0764 | 1217051.6239 | 2617000.5646 | 1217062.4681 | 2617012.0094 | 1217073.9406 | 2617027.1109 | 1217088.7698 | 2617034.9758 | 1217096.4966 | 2617045.8044 | 1217105.7105 | 2617055.1814 | 1217112.908 | 2617067.9257 | 1217121.1046 | 2617087.3339 | 1217132.2886 | 2617096.7692 | 1217137.6186 | 2617105.6591 | 1217142.5358 | 2617090.2407 | 1217159.0011 | 2617084.3474 | 1217165.2989 | 2617083.434 | 1217166.1635 | 2617072.4966 | 1217176.4937 | 2617069.5744 | 1217176.4075 | 2617054.9192 | 1217162.2243 | 2617054.5158 | 1217162.6011 | 2617051.5855 | 1217165.3388 | 2617051.1822 | 1217165.7156
27 | 2616982.7853 | 1217041.5946 | 2616986.5071 | 1217038.1143 | 2616993.3891 | 1217047.1612 | 2616996.3036 | 1217044.657 | 2616998.4495 | 1217042.8065 | 2617004.2787 | 1217037.6979 | 2617008.223 | 1217033.3844 | 2617010.5246 | 1217030.1891 | 2617012.5995 | 1217026.6263 | 2617014.7831 | 1217022.1967 | 2617016.4904 | 1217017.0875 | 2617017.6592 | 1217011.8323 | 2617017.82 | 1217008.6754
28 | 2616982.7853 | 1217041.5946 | 2616980.3354 | 1217038.2079 | 2616974.2705 | 1217030.0972 | 2616967.8962 | 1217021.363 | 2616959.4912 | 1217011.3001
29 | 2617017.82 | 1217008.6754 | 2617022.2985 | 1217008.7437 | 2617024.0443 | 1217008.7709 | 2617027.8996 | 1217009.0932 | 2617031.5793 | 1217009.7707 | 2617037.6619 | 1217011.6669 | 2617049.4061 | 1217015.262
30 | 2616963.2122 | 1217008.1199 | 2616959.4912 | 1217011.3001
31 | 2617350.2864 | 1217116.837 | 2617347.8377 | 1217128.8367 | 2617338.9899 | 1217153.9143 | 2617333.4357 | 1217168.8511 | 2617313.8262 | 1217209.0395 | 2617316.5552 | 1217210.2926 | 2617343.8531 | 1217222.7788 | 2617350.6221 | 1217226.0559 | 2617368.7999 | 1217234.5468 | 2617382.0504 | 1217240.7333 | 2617389.2845 | 1217245.8795 | 2617394.7429 | 1217243.0493 | 2617404.428 | 1217238.0302 | 2617418.2938 | 1217233.6458 | 2617422.2481 | 1217231.1671 | 2617425.2555 | 1217228.0852 | 2617438.2819 | 1217201.7859 | 2617450.0469 | 1217181.1862 | 2617451.4317 | 1217174.8867
32 | 2617458.7323 | 1217141.689 | 2617451.4317 | 1217174.8867
33 | 2617350.2864 | 1217116.837 | 2617352.1757 | 1217107.5953
34 | 2617161.3753 | 1217052.7552 | 2617171.6132 | 1217056.1755 | 2617189.3959 | 1217062.419 | 2617196.7971 | 1217065.0195 | 2617213.6039 | 1217070.093 | 2617218.0507 | 1217070.6061 | 2617222.8275 | 1217069.875 | 2617225.4542 | 1217069.7936 | 2617253.6602 | 1217080.9146 | 2617266.5918 | 1217087.2778 | 2617272.8378 | 1217090.3421 | 2617281.7096 | 1217096.26 | 2617281.2779 | 1217106.4312 | 2617289.3307 | 1217122.5303 | 2617293.3595 | 1217128.4676 | 2617294.4984 | 1217141.4783 | 2617296.5499 | 1217153.9136 | 2617303.6205 | 1217157.9141 | 2617333.4357 | 1217168.8511 | 2617338.9899 | 1217153.9143 | 2617347.8377 | 1217128.8367 | 2617350.2864 | 1217116.837
35 | 2617350.2864 | 1217116.837 | 2617328.2364 | 1217111.1142 | 2617324.1013 | 1217107.8559 | 2617323.7588 | 1217102.9188 | 2617325.497 | 1217096.3507
36 | 2617458.7323 | 1217141.689 | 2617466.7423 | 1217128.1158 | 2617468.4767 | 1217126.4591
37 | 2617458.7323 | 1217141.689 | 2617478.5913 | 1217142.2183
38 | 2616963.2122 | 1217008.1199 | 2616966.0425 | 1217011.1853
39 | 2616966.0425 | 1217011.1853 | 2616972.7095 | 1217005.1007 | 2616975.0002 | 1217007.6076
40 | 2616963.2122 | 1217008.1199 | 2616949.1395 | 1216994.3833 | 2616939.1363 | 1216985.7612 | 2616906.4645 | 1216961.6661 | 2616898.4604 | 1216954.7395 | 2616891.2916 | 1216947.693 | 2616883.9822 | 1216939.3343 | 2616877.5607 | 1216931.0781 | 2616873.0023 | 1216924.3725 | 2616868.2641 | 1216916.777 | 2616863.7428 | 1216907.6591 | 2616861.6158 | 1216902.7836 | 2616859.9354 | 1216898.3875 | 2616857.9546 | 1216892.8343 | 2616857.5911 | 1216891.656
41 | 2617352.1757 | 1217107.5953 | 2617352.5964 | 1217105.5372 | 2617353.1113 | 1217100.2001
42 | 2617161.3753 | 1217052.7552 | 2617145.3207 | 1217047.3839 | 2617129.6311 | 1217041.8135 | 2617061.234 | 1217018.8827 | 2617049.4061 | 1217015.262
43 | 2617329.2004 | 1217082.3561 | 2617325.497 | 1217096.3507
44 | 2616830.1434 | 1217029.4117 | 2616836.422 | 1217029.0958 | 2616842.1787 | 1217030.8019 | 2616847.7831 | 1217032.6632 | 2616852.4571 | 1217033.3768 | 2616857.3841 | 1217033.2017 | 2616861.7756 | 1217031.8244 | 2616866.2536 | 1217029.3578 | 2616868.1773 | 1217027.5386
45 | 2617498.7438 | 1217149.3214 | 2617494.8085 | 1217142.6506 | 2617478.5913 | 1217142.2183
46 | 2617472.9385 | 1217122.1972 | 2617468.4767 | 1217126.4591
47 | 2617472.9385 | 1217122.1972 | 2617475.6053 | 1217110.9985 | 2617479.7924 | 1217101.2007
48 | 2617472.9385 | 1217122.1972 | 2617486.0507 | 1217118.6446 | 2617564.7471 | 1217117.8637 | 2617567.8343 | 1217117.5125
49 | 2617479.7924 | 1217101.2007 | 2617487.1312 | 1217084.028 | 2617487.1312 | 1217084.028
50 | 2617414.8286 | 1217012.3553 | 2617421.8735 | 1217010.7512 | 2617430.9633 | 1217009.5881 | 2617438.2598 | 1217009.0646 | 2617443.6792 | 1217009.2361 | 2617445.4738 | 1217009.5518
51 | 2617388.3014 | 1217020.2589 | 2617398.9238 | 1217016.7322 | 2617409.7731 | 1217013.5064 | 2617414.8286 | 1217012.3553
52 | 2617445.4738 | 1217009.5518 | 2617448.8839 | 1217010.1518 | 2617455.984 | 1217011.9069 | 2617463.3699 | 1217014.5299 | 2617466.1041 | 1217015.701
53 | 2617388.3014 | 1217020.2589 | 2617405.6052 | 1217031.9048 | 2617407.9976 | 1217034.0685 | 2617409.8572 | 1217036.7532 | 2617410.7893 | 1217039.9022 | 2617411.185 | 1217044.795
54 | 2617388.3014 | 1217020.2589 | 2617378.9682 | 1217024.2007 | 2617373.2129 | 1217027.2968 | 2617368.4498 | 1217031.1519 | 2617363.6076 | 1217036.0962 | 2617359.5471 | 1217041.0872
55 | 2617494.7298 | 1217022.473 | 2617492.2212 | 1217022.9635 | 2617487.6808 | 1217023.306 | 2617484.1673 | 1217022.9511 | 2617479.4957 | 1217021.4365 | 2617466.1041 | 1217015.701
56 | 2617359.5471 | 1217041.0872 | 2617358.1999 | 1217044.635
57 | 2617359.5471 | 1217041.0872 | 2617338.9025 | 1217032.1381
58 | 2617511.9746 | 1217011.1266 | 2617511.5647 | 1217012.0139 | 2617507.996 | 1217017.5177 | 2617504.6016 | 1217020.5428 | 2617494.7298 | 1217022.473
59 | 2617355.3731 | 1217058.0558 | 2617355.2718 | 1217054.6937 | 2617356.5868 | 1217048.8831 | 2617358.1999 | 1217044.635
60 | 2617334.9151 | 1217030.4097 | 2617338.9025 | 1217032.1381
61 | 2617317.0559 | 1217016.5278 | 2617314.9624 | 1217010.7406 | 2617313.6173 | 1217006.0118 | 2617312.8099 | 1217001.7293 | 2617312.6427 | 1216996.5592 | 2617312.9835 | 1216991.5906 | 2617313.8405 | 1216986.6236 | 2617315.4243 | 1216982.3258 | 2617321.1519 | 1216970.976
62 | 2617334.9151 | 1217030.4097 | 2617322.1323 | 1217022.457 | 2617319.0442 | 1217019.3574 | 2617317.0559 | 1217016.5278
63 | 2617334.9151 | 1217030.4097 | 2617330.5542 | 1217031.6978 | 2617326.5595 | 1217032.3421 | 2617322.1041 | 1217032.1736 | 2617313.3477 | 1217030.9586 | 2617307.4611 | 1217029.5852 | 2617305.1109 | 1217028.5556 | 2617302.5355 | 1217026.6471 | 2617300.1907 | 1217023.6913
64 | 2617502.45 | 1217073.7292 | 2617518.7107 | 1217062.7971 | 2617529.988 | 1217053.0964
65 | 2617502.45 | 1217073.7292 | 2617500.4457 | 1217075.0766
66 | 2617529.988 | 1217053.0964 | 2617546.6094 | 1217038.7986 | 2617551.9612 | 1217031.0098
67 | 2617487.1312 | 1217084.028 | 2617500.4457 | 1217075.0766
68 | 2617338.7646 | 1217064.72 | 2617302.2953 | 1217052.1813
69 | 2617355.7495 | 1217070.5597 | 2617338.7646 | 1217064.72
70 | 2617355.7495 | 1217070.5597 | 2617355.3731 | 1217058.0558
71 | 2617355.7495 | 1217070.5597 | 2617355.4092 | 1217075.9712
72 | 2617353.1113 | 1217100.2001 | 2617355.3357 | 1217077.14 | 2617355.4092 | 1217075.9712
73 | 2617511.9746 | 1217011.1266 | 2617514.4524 | 1217005.7632 | 2617515.3914 | 1217002.4539
74 | 2617492.6767 | 1216885.6546 | 2617496.5129 | 1216894.9697 | 2617511.385 | 1216923.0626 | 2617513.9305 | 1216929.9962 | 2617515.8955 | 1216938.1399 | 2617517.8449 | 1216951.5978 | 2617519.8174 | 1216972.7156 | 2617519.7873 | 1216980.4088 | 2617519.0894 | 1216985.4096 | 2617517.3901 | 1216995.4104 | 2617515.3914 | 1217002.4539
75 | 2616857.5911 | 1216891.656 | 2616855.0886 | 1216883.5431 | 2616851.4583 | 1216870.2719

## bus_geodata
| x | y | coords
0 | 2616832.9299 | 1216971.9419
1 | 2616848.7267 | 1216988.9346
2 | 2616820.0442 | 1216919.9541
3 | 2616849.3195 | 1216989.2445
4 | 2616812.9816 | 1216903.1284
5 | 2616843.6871 | 1216913.0501
6 | 2616881.2738 | 1217005.9535
7 | 2616801.4553 | 1216868.9188
8 | 2616857.4834 | 1216937.9328
9 | 2616835.5378 | 1216898.8083
10 | 2616837.0637 | 1216770.9078
11 | 2616838.3903 | 1216785.271
12 | 2616834.1568 | 1216750.2902
13 | 2616840.5106 | 1216810.9739
14 | 2616831.2583 | 1216733.3159
15 | 2616844.9101 | 1216840.7313
16 | 2616927.8531 | 1217116.0763
17 | 2616948.1676 | 1217098.8201
18 | 2616917.4116 | 1217124.9458
19 | 2616962.3361 | 1217086.7846
20 | 2616914.9631 | 1217126.4619
21 | 2616878.9507 | 1217101.2087
22 | 2616981.5823 | 1217100.5944
23 | 2616899.9299 | 1217135.7684
24 | 2616828.8339 | 1217084.6729
25 | 2617051.1822 | 1217165.7156
26 | 2616982.7853 | 1217041.5946
27 | 2617017.82 | 1217008.6754
28 | 2616959.4912 | 1217011.3001
29 | 2617451.4317 | 1217174.8867
30 | 2617350.2864 | 1217116.837
31 | 2617458.7323 | 1217141.689
32 | 2616966.0425 | 1217011.1853
33 | 2616963.2122 | 1217008.1199
34 | 2616975.0002 | 1217007.6076
35 | 2617352.1757 | 1217107.5953
36 | 2617161.3753 | 1217052.7552
37 | 2617325.497 | 1217096.3507
38 | 2617049.4061 | 1217015.262
39 | 2616868.1773 | 1217027.5386
40 | 2617478.5913 | 1217142.2183
41 | 2617498.7438 | 1217149.3214
42 | 2617468.4767 | 1217126.4591
43 | 2617472.9385 | 1217122.1972
44 | 2617479.7924 | 1217101.2007
45 | 2617567.8343 | 1217117.5125
46 | 2617414.8286 | 1217012.3553
47 | 2617445.4738 | 1217009.5518
48 | 2617388.3014 | 1217020.2589
49 | 2617466.1041 | 1217015.701
50 | 2617411.185 | 1217044.795
51 | 2617359.5471 | 1217041.0872
52 | 2617494.7298 | 1217022.473
53 | 2617358.1999 | 1217044.635
54 | 2617338.9025 | 1217032.1381
55 | 2617321.1519 | 1216970.976
56 | 2617317.0559 | 1217016.5278
57 | 2617334.9151 | 1217030.4097
58 | 2617300.1907 | 1217023.6913
59 | 2617502.45 | 1217073.7292
60 | 2617529.988 | 1217053.0964
61 | 2617500.4457 | 1217075.0766
62 | 2617551.9612 | 1217031.0098
63 | 2617487.1312 | 1217084.0279
64 | 2617338.7646 | 1217064.72
65 | 2617302.2953 | 1217052.1813
66 | 2617355.7495 | 1217070.5597
67 | 2617355.3731 | 1217058.0558
68 | 2617355.4092 | 1217075.9712
69 | 2617353.1113 | 1217100.2001
70 | 2617511.9746 | 1217011.1266
71 | 2617515.3914 | 1217002.4539
72 | 2617492.6767 | 1216885.6546
73 | 2617329.2004 | 1217082.3561
74 | 2616857.5911 | 1216891.656
75 | 2616851.4583 | 1216870.2719
76 | 2616830.1434 | 1217029.4117
77 | 2617295.1626 | 1217014.252

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1