## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4726-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4726-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4726-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4726-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4726-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4726-3_0_4_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_4726-3_0_4_node_65 | 0.4 | n |  | TRUE
7 | bus_LV_4726-3_0_4_node_67 | 0.4 | n |  | TRUE
8 | bus_LV_4726-3_0_4_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_4726-3_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_4726-3_0_4_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_4726-3_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_4726-3_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_4726-3_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_4726-3_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4726-3_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4726-3_0_4_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_4726-3_0_4_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_4726-3_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_4726-3_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_4726-3_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4726-3_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4726-3_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4726-3_0_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_4726-3_0_4_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_4726-3_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_4726-3_0_4_node_123 | 0.4 | n |  | TRUE
27 | bus_LV_4726-3_0_4_node_126 | 0.4 | n |  | TRUE
28 | bus_LV_4726-3_0_4_node_121 | 0.4 | n |  | TRUE
29 | bus_LV_4726-3_0_4_node_122 | 0.4 | n |  | TRUE
30 | bus_LV_4726-3_0_4_node_120 | 0.4 | n |  | TRUE
31 | bus_LV_4726-3_0_4_node_124 | 0.4 | n |  | TRUE
32 | bus_LV_4726-3_0_4_node_125 | 0.4 | n |  | TRUE
33 | bus_LV_4726-3_0_4_node_141 | 0.4 | n |  | TRUE
34 | bus_LV_4726-3_0_4_node_140 | 0.4 | n |  | TRUE
35 | bus_LV_4726-3_0_4_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_4726-3_0_4_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_4726-3_0_4_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_4726-3_0_4_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_4726-3_0_4_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_4726-3_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_4726-3_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_4726-3_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_4726-3_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_4726-3_0_4_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_4726-3_0_4_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_4726-3_0_4_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_4726-3_0_4_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_4726-3_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_4726-3_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_4726-3_0_4_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_4726-3_0_4_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_4726-3_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_4726-3_0_4_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_4726-3_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4726-3_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_4726-3_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_4726-3_0_4_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_4726-3_0_4_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_4726-3_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_4726-3_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4726-3_0_4_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_4726-3_0_4_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_4726-3_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_4726-3_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_4726-3_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_4726-3_0_4_node_130 | 0.4 | n |  | TRUE
67 | bus_LV_4726-3_0_4_node_127 | 0.4 | n |  | TRUE
68 | bus_LV_4726-3_0_4_node_128 | 0.4 | n |  | TRUE
69 | bus_LV_4726-3_0_4_node_129 | 0.4 | n |  | TRUE
70 | bus_LV_4726-3_0_4_node_131 | 0.4 | n |  | TRUE
71 | bus_LV_4726-3_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_4726-3_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_4726-3_0_4_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_4726-3_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_4726-3_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_4726-3_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_4726-3_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_4726-3_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_4726-3_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_4726-3_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_4726-3_0_4_node_142 | 0.4 | n |  | TRUE
82 | bus_LV_4726-3_0_4_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_4726-3_0_4_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_4726-3_0_4_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_4726-3_0_4_node_136 | 0.4 | n |  | TRUE
86 | bus_LV_4726-3_0_4_node_137 | 0.4 | n |  | TRUE
87 | bus_LV_4726-3_0_4_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_4726-3_0_4_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_4726-3_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_4726-3_0_4_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_4726-3_0_4_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_4726-3_0_4_node_138 | 0.4 | n |  | TRUE
93 | bus_LV_4726-3_0_4_node_139 | 0.4 | n |  | TRUE
94 | bus_LV_4726-3_0_4_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_4726-3_0_4_node_75 | 0.4 | n |  | TRUE
96 | bus_LV_4726-3_0_4_node_76 | 0.4 | n |  | TRUE
97 | bus_LV_4726-3_0_4_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_4726-3_0_4_node_135 | 0.4 | n |  | TRUE
99 | bus_LV_4726-3_0_4_node_144 | 0.4 | n |  | TRUE
100 | bus_LV_4726-3_0_4_node_82 | 0.4 | n |  | TRUE
101 | bus_LV_4726-3_0_4_node_134 | 0.4 | n |  | TRUE
102 | bus_LV_4726-3_0_4_node_78 | 0.4 | n |  | TRUE
103 | bus_LV_4726-3_0_4_node_80 | 0.4 | n |  | TRUE
104 | bus_LV_4726-3_0_4_node_85 | 0.4 | n |  | TRUE
105 | bus_LV_4726-3_0_4_node_86 | 0.4 | n |  | TRUE
106 | bus_LV_4726-3_0_4_node_87 | 0.4 | n |  | TRUE
107 | bus_LV_4726-3_0_4_node_88 | 0.4 | n |  | TRUE
108 | bus_LV_4726-3_0_4_node_89 | 0.4 | n |  | TRUE
109 | bus_LV_4726-3_0_4_node_101 | 0.4 | n |  | TRUE
110 | bus_LV_4726-3_0_4_node_102 | 0.4 | n |  | TRUE
111 | bus_LV_4726-3_0_4_node_92 | 0.4 | n |  | TRUE
112 | bus_LV_4726-3_0_4_node_99 | 0.4 | n |  | TRUE
113 | bus_LV_4726-3_0_4_node_91 | 0.4 | n |  | TRUE
114 | bus_LV_4726-3_0_4_node_94 | 0.4 | n |  | TRUE
115 | bus_LV_4726-3_0_4_node_90 | 0.4 | n |  | TRUE
116 | bus_LV_4726-3_0_4_node_93 | 0.4 | n |  | TRUE
117 | bus_LV_4726-3_0_4_node_95 | 0.4 | n |  | TRUE
118 | bus_LV_4726-3_0_4_node_97 | 0.4 | n |  | TRUE
119 | bus_LV_4726-3_0_4_node_98 | 0.4 | n |  | TRUE
120 | bus_LV_4726-3_0_4_node_96 | 0.4 | n |  | TRUE
121 | bus_LV_4726-3_0_4_node_108 | 0.4 | n |  | TRUE
122 | bus_LV_4726-3_0_4_node_109 | 0.4 | n |  | TRUE
123 | bus_LV_4726-3_0_4_node_103 | 0.4 | n |  | TRUE
124 | bus_LV_4726-3_0_4_node_104 | 0.4 | n |  | TRUE
125 | bus_LV_4726-3_0_4_node_105 | 0.4 | n |  | TRUE
126 | bus_LV_4726-3_0_4_node_106 | 0.4 | n |  | TRUE
127 | bus_LV_4726-3_0_4_node_107 | 0.4 | n |  | TRUE
128 | bus_LV_4726-3_0_4_node_111 | 0.4 | n |  | TRUE
129 | bus_LV_4726-3_0_4_node_112 | 0.4 | n |  | TRUE
130 | bus_LV_4726-3_0_4_node_110 | 0.4 | n |  | TRUE
131 | bus_LV_4726-3_0_4_node_113 | 0.4 | n |  | TRUE
132 | bus_LV_4726-3_0_4_node_115 | 0.4 | n |  | TRUE
133 | bus_LV_4726-3_0_4_node_117 | 0.4 | n |  | TRUE
134 | bus_LV_4726-3_0_4_node_116 | 0.4 | n |  | TRUE
135 | bus_LV_4726-3_0_4_node_119 | 0.4 | n |  | TRUE
136 | bus_LV_4726-3_0_4_node_118 | 0.4 | n |  | TRUE
137 | bus_LV_4726-3_0_4_node_132 | 0.4 | n |  | TRUE
138 | bus_LV_4726-3_0_4_node_133 | 0.4 | n |  | TRUE
139 | bus_MV_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4726-3_0_4_load_0 | 0 | 0.00051992 | 0.00013031 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4726-3_0_4_load_1 | 1 | 0.00019194 | 4.8106e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4726-3_0_4_load_3 | 3 | 0.00014193 | 3.5572e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4726-3_0_4_load_4 | 4 | 0.00050534 | 0.00012665 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4726-3_0_4_load_39 | 5 | 0.00033405 | 8.372e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4726-3_0_4_load_67 | 7 | 0.00081719 | 0.00020481 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4726-3_0_4_load_63 | 8 | 0.0010629 | 0.00026638 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4726-3_0_4_load_14 | 9 | 7.025e-05 | 1.7606e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4726-3_0_4_load_40 | 10 | 0.00015686 | 3.9313e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4726-3_0_4_load_5 | 12 | 0.00055263 | 0.0001385 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4726-3_0_4_load_6 | 13 | 0.00031948 | 8.0068e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4726-3_0_4_load_7 | 14 | 0.00021797 | 5.4628e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4726-3_0_4_load_8 | 15 | 0.00073699 | 0.00018471 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4726-3_0_4_load_46 | 17 | 0.00026789 | 6.714e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4726-3_0_4_load_9 | 19 | 0.0001264 | 3.168e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4726-3_0_4_load_10 | 20 | 0.00028814 | 7.2214e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4726-3_0_4_load_11 | 21 | 0.00014487 | 3.6307e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4726-3_0_4_load_38 | 24 | 6.4433e-05 | 1.6148e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4726-3_0_4_load_34 | 25 | 0.00013343 | 3.344e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4726-3_0_4_load_126 | 27 | 0.00086946 | 0.00021791 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4726-3_0_4_load_122 | 29 | 0.0011581 | 0.00029025 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4726-3_0_4_load_120 | 30 | 0.00036067 | 9.0391e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4726-3_0_4_load_124 | 31 | 7.0535e-05 | 1.7678e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4726-3_0_4_load_125 | 32 | 0.00022404 | 5.615e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4726-3_0_4_load_141 | 33 | 9.9703e-05 | 2.4988e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4726-3_0_4_load_16 | 35 | 0.00030781 | 7.7144e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4726-3_0_4_load_17 | 36 | 0.00062484 | 0.0001566 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4726-3_0_4_load_18 | 37 | 0.00081692 | 0.00020474 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4726-3_0_4_load_19 | 38 | 0.00041797 | 0.00010475 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4726-3_0_4_load_20 | 39 | 0.00015952 | 3.998e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4726-3_0_4_load_32 | 40 | 0.00074494 | 0.0001867 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4726-3_0_4_load_33 | 42 | 0.00048262 | 0.00012096 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4726-3_0_4_load_25 | 43 | 0.0011334 | 0.00028405 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4726-3_0_4_load_21 | 44 | 0.00033262 | 8.3362e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4726-3_0_4_load_22 | 45 | 0.00068161 | 0.00017083 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4726-3_0_4_load_24 | 46 | 0.00034764 | 8.7127e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4726-3_0_4_load_50 | 47 | 7.1317e-05 | 1.7874e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4726-3_0_4_load_49 | 48 | 0.00072957 | 0.00018285 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4726-3_0_4_load_44 | 49 | 0.00058126 | 0.00014568 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4726-3_0_4_load_26 | 50 | 0.00025408 | 6.3679e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4726-3_0_4_load_27 | 51 | 0.00041563 | 0.00010417 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4726-3_0_4_load_29 | 52 | 0.00092709 | 0.00023235 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4726-3_0_4_load_55 | 53 | 0.0010531 | 0.00026393 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4726-3_0_4_load_56 | 56 | 0.00093556 | 0.00023447 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4726-3_0_4_load_35 | 57 | 0.00034788 | 8.7186e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4726-3_0_4_load_37 | 58 | 0.00011397 | 2.8564e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4726-3_0_4_load_47 | 59 | 0.00034272 | 8.5894e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4726-3_0_4_load_41 | 61 | 0.00059575 | 0.00014931 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4726-3_0_4_load_42 | 62 | 0.00018339 | 4.5962e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4726-3_0_4_load_43 | 63 | 0.00026743 | 6.7025e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4726-3_0_4_load_51 | 64 | 0.00039251 | 9.8372e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4726-3_0_4_load_130 | 66 | 0.00027966 | 7.0089e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4726-3_0_4_load_127 | 67 | 0.0018146 | 0.00045478 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4726-3_0_4_load_61 | 72 | 0.00018913 | 4.7402e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4726-3_0_4_load_60 | 74 | 0.00054891 | 0.00013757 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4726-3_0_4_load_69 | 78 | 0.00013206 | 3.3097e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4726-3_0_4_load_66 | 79 | 0.00049684 | 0.00012452 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4726-3_0_4_load_70 | 80 | 0.00030334 | 7.6023e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4726-3_0_4_load_142 | 81 | 0.00023549 | 5.9018e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4726-3_0_4_load_57 | 82 | 0.0016669 | 0.00041775 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4726-3_0_4_load_62 | 83 | 0.00067026 | 0.00016798 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4726-3_0_4_load_64 | 84 | 0.00041131 | 0.00010308 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4726-3_0_4_load_136 | 85 | 0.00046175 | 0.00011572 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4726-3_0_4_load_137 | 86 | 0.00013196 | 3.3071e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4726-3_0_4_load_72 | 87 | 0.00011292 | 2.8299e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4726-3_0_4_load_73 | 88 | 0.0010653 | 0.00026699 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4726-3_0_4_load_81 | 89 | 0.00028761 | 7.2082e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4726-3_0_4_load_74 | 90 | 0.00020932 | 5.2461e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4726-3_0_4_load_79 | 91 | 0.00017299 | 4.3355e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4726-3_0_4_load_138 | 92 | 0.00086332 | 0.00021637 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4726-3_0_4_load_139 | 93 | 0.0004118 | 0.00010321 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4726-3_0_4_load_83 | 94 | 0.00042534 | 0.0001066 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4726-3_0_4_load_75 | 95 | 9.9092e-05 | 2.4835e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4726-3_0_4_load_77 | 97 | 0.00019648 | 4.9243e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4726-3_0_4_load_82 | 100 | 0.00010739 | 2.6915e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4726-3_0_4_load_134 | 101 | 0.0011724 | 0.00029384 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4726-3_0_4_load_78 | 102 | 0.00057544 | 0.00014422 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4726-3_0_4_load_80 | 103 | 7.477e-05 | 1.8739e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4726-3_0_4_load_85 | 104 | 0.0015606 | 0.00039114 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4726-3_0_4_load_86 | 105 | 0.0014183 | 0.00035545 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4726-3_0_4_load_87 | 106 | 0.00029997 | 7.5179e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4726-3_0_4_load_102 | 110 | 0.00049766 | 0.00012473 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4726-3_0_4_load_99 | 112 | 0.00048524 | 0.00012161 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4726-3_0_4_load_90 | 115 | 0.00030914 | 7.7477e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4726-3_0_4_load_95 | 117 | 0.0015884 | 0.0003981 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4726-3_0_4_load_97 | 118 | 0.00033131 | 8.3034e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4726-3_0_4_load_98 | 119 | 0.00074599 | 0.00018696 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4726-3_0_4_load_108 | 121 | 0.0019568 | 0.00049041 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4726-3_0_4_load_103 | 123 | 0.00017684 | 4.4321e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4726-3_0_4_load_104 | 124 | 0.0018002 | 0.00045118 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4726-3_0_4_load_106 | 126 | 0.0013393 | 0.00033565 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4726-3_0_4_load_107 | 127 | 0.00033989 | 8.5184e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4726-3_0_4_load_111 | 128 | 0.0011102 | 0.00027825 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4726-3_0_4_load_110 | 130 | 0.00085479 | 0.00021423 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4726-3_0_4_load_113 | 131 | 0.00022113 | 5.5421e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4726-3_0_4_load_117 | 133 | 0.00013719 | 3.4384e-05 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4726-3_0_4_load_118 | 136 | 0.00034166 | 8.5627e-05 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4726-3_0_4_load_132 | 137 | 7.6387e-05 | 1.9144e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4726-3_0_4_load_133 | 138 | 0.00019298 | 4.8364e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4726-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4726-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4726-3_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.24205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4726-3_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4726-3_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0056891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4726-3_0_4_line_5 | NAYY 4x150 SE | 4 | 9 | 0.085182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4726-3_0_4_line_6 | NAYY 4x150 SE | 5 | 10 | 0.023261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4726-3_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.060967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4726-3_0_4_line_8 | NAYY 4x150 SE | 6 | 8 | 0.31555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4726-3_0_4_line_9 | NAYY 4x150 SE | 7 | 85 | 0.045847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4726-3_0_4_line_10 | NAYY 4x150 SE | 8 | 83 | 0.011638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4726-3_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.10847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4726-3_0_4_line_12 | NAYY 4x150 SE | 10 | 22 | 0.014126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4726-3_0_4_line_13 | NAYY 4x150 SE | 11 | 26 | 0.064272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4726-3_0_4_line_14 | NAYY 4x150 SE | 11 | 27 | 0.021894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4726-3_0_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.012009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4726-3_0_4_line_16 | NAYY 4x150 SE | 12 | 14 | 0.0090911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4726-3_0_4_line_17 | NAYY 4x150 SE | 14 | 15 | 0.0097307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4726-3_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.004404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4726-3_0_4_line_19 | NAYY 4x150 SE | 16 | 17 | 0.01879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4726-3_0_4_line_20 | NAYY 4x150 SE | 16 | 18 | 0.18307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4726-3_0_4_line_21 | NAYY 4x150 SE | 18 | 52 | 0.046932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4726-3_0_4_line_22 | NAYY 4x150 SE | 18 | 50 | 0.066925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4726-3_0_4_line_23 | NAYY 4x150 SE | 19 | 20 | 0.2203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_4726-3_0_4_line_24 | NAYY 4x150 SE | 19 | 21 | 0.085873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_4726-3_0_4_line_25 | NAYY 4x150 SE | 20 | 22 | 0.098035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_4726-3_0_4_line_26 | NAYY 4x150 SE | 22 | 23 | 0.019495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_4726-3_0_4_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0032341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_4726-3_0_4_line_28 | NAYY 4x150 SE | 23 | 25 | 0.024891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_4726-3_0_4_line_29 | NAYY 4x150 SE | 24 | 47 | 0.0016606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_4726-3_0_4_line_30 | NAYY 4x150 SE | 25 | 57 | 0.013679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_4726-3_0_4_line_31 | NAYY 4x150 SE | 26 | 31 | 0.024089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4726-3_0_4_line_32 | NAYY 4x150 SE | 27 | 32 | 0.00063376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4726-3_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.084462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4726-3_0_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.062633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4726-3_0_4_line_35 | NAYY 4x150 SE | 29 | 31 | 0.0017105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4726-3_0_4_line_36 | NAYY 4x150 SE | 30 | 135 | 0.040157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4726-3_0_4_line_37 | NAYY 4x150 SE | 33 | 34 | 0.1078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4726-3_0_4_line_38 | NAYY 4x150 SE | 34 | 87 | 0.33712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4726-3_0_4_line_39 | NAYY 4x150 SE | 34 | 93 | 0.015329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4726-3_0_4_line_40 | NAYY 4x150 SE | 35 | 36 | 0.040172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_4726-3_0_4_line_41 | NAYY 4x150 SE | 35 | 37 | 0.027611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_4726-3_0_4_line_42 | NAYY 4x150 SE | 36 | 38 | 0.064517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_4726-3_0_4_line_43 | NAYY 4x150 SE | 37 | 39 | 0.025483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_4726-3_0_4_line_44 | NAYY 4x150 SE | 38 | 40 | 0.00935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_4726-3_0_4_line_45 | NAYY 4x150 SE | 39 | 41 | 0.0089535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_4726-3_0_4_line_46 | NAYY 4x150 SE | 40 | 42 | 0.020691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_4726-3_0_4_line_47 | NAYY 4x150 SE | 41 | 43 | 0.0079396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4726-3_0_4_line_48 | NAYY 4x150 SE | 41 | 44 | 0.0023495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_4726-3_0_4_line_49 | NAYY 4x150 SE | 42 | 55 | 0.015151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_4726-3_0_4_line_50 | NAYY 4x150 SE | 43 | 48 | 0.11934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4726-3_0_4_line_51 | NAYY 4x150 SE | 44 | 45 | 0.0023133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_4726-3_0_4_line_52 | NAYY 4x150 SE | 45 | 46 | 0.017721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_4726-3_0_4_line_53 | NAYY 4x150 SE | 46 | 47 | 0.037807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_4726-3_0_4_line_54 | NAYY 4x150 SE | 48 | 49 | 0.0021282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4726-3_0_4_line_55 | NAYY 4x150 SE | 49 | 62 | 0.0036605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4726-3_0_4_line_56 | NAYY 4x150 SE | 50 | 51 | 0.0030889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4726-3_0_4_line_57 | NAYY 4x150 SE | 52 | 53 | 0.0011876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4726-3_0_4_line_58 | NAYY 4x150 SE | 53 | 54 | 0.020695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4726-3_0_4_line_59 | NAYY 4x150 SE | 54 | 63 | 0.032605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4726-3_0_4_line_60 | NAYY 4x150 SE | 55 | 56 | 0.056213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_4726-3_0_4_line_61 | NAYY 4x150 SE | 56 | 82 | 0.017022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_4726-3_0_4_line_62 | NAYY 4x150 SE | 57 | 58 | 0.019281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_4726-3_0_4_line_63 | NAYY 4x150 SE | 58 | 59 | 0.0048286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_4726-3_0_4_line_64 | NAYY 4x150 SE | 59 | 60 | 0.20437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_4726-3_0_4_line_65 | NAYY 4x150 SE | 60 | 66 | 0.5033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_4726-3_0_4_line_66 | NAYY 4x150 SE | 61 | 62 | 0.0097917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4726-3_0_4_line_67 | NAYY 4x150 SE | 61 | 63 | 0.0071106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4726-3_0_4_line_68 | NAYY 4x150 SE | 64 | 65 | 0.0077292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4726-3_0_4_line_69 | NAYY 4x150 SE | 65 | 71 | 0.12579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4726-3_0_4_line_70 | NAYY 4x150 SE | 66 | 70 | 0.29653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_4726-3_0_4_line_71 | NAYY 4x150 SE | 66 | 69 | 0.032737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4726-3_0_4_line_72 | NAYY 4x150 SE | 67 | 68 | 0.027796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4726-3_0_4_line_73 | NAYY 4x150 SE | 68 | 69 | 0.03125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4726-3_0_4_line_74 | NAYY 4x150 SE | 70 | 129 | 0.4541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_4726-3_0_4_line_75 | NAYY 4x150 SE | 71 | 72 | 0.043693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4726-3_0_4_line_76 | NAYY 4x150 SE | 72 | 76 | 0.017152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4726-3_0_4_line_77 | NAYY 4x150 SE | 73 | 74 | 0.02602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_4726-3_0_4_line_78 | NAYY 4x150 SE | 73 | 75 | 0.2718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_4726-3_0_4_line_79 | NAYY 4x150 SE | 74 | 76 | 0.055039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_4726-3_0_4_line_80 | NAYY 4x150 SE | 75 | 77 | 0.31536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4726-3_0_4_line_81 | NAYY 4x150 SE | 75 | 78 | 0.05789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4726-3_0_4_line_82 | NAYY 4x150 SE | 75 | 79 | 0.21371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_4726-3_0_4_line_83 | NAYY 4x150 SE | 76 | 82 | 0.0070301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_4726-3_0_4_line_84 | NAYY 4x150 SE | 77 | 81 | 0.11367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4726-3_0_4_line_85 | NAYY 4x150 SE | 78 | 80 | 5.8495e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4726-3_0_4_line_86 | NAYY 4x150 SE | 79 | 84 | 0.0072401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4726-3_0_4_line_87 | NAYY 4x150 SE | 83 | 84 | 0.0045387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4726-3_0_4_line_88 | NAYY 4x150 SE | 85 | 86 | 0.019178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4726-3_0_4_line_89 | NAYY 4x150 SE | 86 | 92 | 0.040821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4726-3_0_4_line_90 | NAYY 4x150 SE | 87 | 88 | 0.0021194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4726-3_0_4_line_91 | NAYY 4x150 SE | 87 | 89 | 0.31307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4726-3_0_4_line_92 | NAYY 4x150 SE | 88 | 90 | 0.036941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4726-3_0_4_line_93 | NAYY 4x150 SE | 89 | 91 | 0.080629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4726-3_0_4_line_94 | NAYY 4x150 SE | 90 | 94 | 0.063235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4726-3_0_4_line_95 | NAYY 4x150 SE | 91 | 102 | 0.033997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4726-3_0_4_line_96 | NAYY 4x150 SE | 92 | 93 | 0.0060165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4726-3_0_4_line_97 | NAYY 4x150 SE | 95 | 96 | 0.042705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4726-3_0_4_line_98 | NAYY 4x150 SE | 95 | 97 | 0.021256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4726-3_0_4_line_99 | NAYY 4x150 SE | 96 | 98 | 0.31449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4726-3_0_4_line_100 | NAYY 4x150 SE | 97 | 99 | 0.24838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4726-3_0_4_line_101 | NAYY 4x150 SE | 98 | 101 | 0.050899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4726-3_0_4_line_102 | NAYY 4x150 SE | 99 | 100 | 0.14645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4726-3_0_4_line_103 | NAYY 4x150 SE | 100 | 103 | 0.013734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4726-3_0_4_line_104 | NAYY 4x150 SE | 101 | 138 | 0.046761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4726-3_0_4_line_105 | NAYY 4x150 SE | 102 | 103 | 0.021376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4726-3_0_4_line_106 | NAYY 4x150 SE | 104 | 105 | 0.023806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4726-3_0_4_line_107 | NAYY 4x150 SE | 104 | 106 | 0.023446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4726-3_0_4_line_108 | NAYY 4x150 SE | 105 | 107 | 0.07973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4726-3_0_4_line_109 | NAYY 4x150 SE | 106 | 108 | 0.0097726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4726-3_0_4_line_110 | NAYY 4x150 SE | 107 | 113 | 0.034678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4726-3_0_4_line_111 | NAYY 4x150 SE | 108 | 114 | 0.043571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_4726-3_0_4_line_112 | NAYY 4x150 SE | 109 | 110 | 0.010995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
113 | LV_4726-3_0_4_line_113 | NAYY 4x150 SE | 109 | 111 | 0.58219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
114 | LV_4726-3_0_4_line_114 | NAYY 4x150 SE | 109 | 112 | 0.073665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_4726-3_0_4_line_115 | NAYY 4x150 SE | 110 | 121 | 0.024987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
116 | LV_4726-3_0_4_line_116 | NAYY 4x150 SE | 111 | 118 | 0.044514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_4726-3_0_4_line_117 | NAYY 4x150 SE | 113 | 116 | 0.015422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_4726-3_0_4_line_118 | NAYY 4x150 SE | 113 | 117 | 0.037239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_4726-3_0_4_line_119 | NAYY 4x150 SE | 114 | 115 | 0.055349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_4726-3_0_4_line_120 | NAYY 4x150 SE | 116 | 119 | 0.0058123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_4726-3_0_4_line_121 | NAYY 4x150 SE | 117 | 120 | 0.022238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_4726-3_0_4_line_122 | NAYY 4x150 SE | 118 | 120 | 0.032899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_4726-3_0_4_line_123 | NAYY 4x150 SE | 121 | 122 | 0.016016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
124 | LV_4726-3_0_4_line_124 | NAYY 4x150 SE | 122 | 130 | 0.028146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
125 | LV_4726-3_0_4_line_125 | NAYY 4x150 SE | 123 | 124 | 0.0014748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
126 | LV_4726-3_0_4_line_126 | NAYY 4x150 SE | 123 | 125 | 0.031639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
127 | LV_4726-3_0_4_line_127 | NAYY 4x150 SE | 124 | 126 | 0.012068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
128 | LV_4726-3_0_4_line_128 | NAYY 4x150 SE | 125 | 127 | 0.12421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
129 | LV_4726-3_0_4_line_129 | NAYY 4x150 SE | 126 | 128 | 0.024208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
130 | LV_4726-3_0_4_line_130 | NAYY 4x150 SE | 127 | 129 | 0.25158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
131 | LV_4726-3_0_4_line_131 | NAYY 4x150 SE | 128 | 130 | 0.021273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
132 | LV_4726-3_0_4_line_132 | NAYY 4x150 SE | 131 | 132 | 0.02191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_4726-3_0_4_line_133 | NAYY 4x150 SE | 132 | 133 | 0.029852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_4726-3_0_4_line_134 | NAYY 4x150 SE | 133 | 136 | 0.012925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_4726-3_0_4_line_135 | NAYY 4x150 SE | 134 | 135 | 0.07953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_4726-3_0_4_line_136 | NAYY 4x150 SE | 134 | 136 | 0.055237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_4726-3_0_4_line_137 | NAYY 4x150 SE | 137 | 138 | 0.15519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4726-3_0_4_trafo_11 | 0.25 MVA 20/0.4 kV | 139 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2712576.5933 | 1253545.1439 | 2712581.8667 | 1253549.5953 | 2712585.3088 | 1253554.2865
1 | 2712568.4298 | 1253538.2527 | 2712576.5933 | 1253545.1439
2 | 2712720.4772 | 1253755.0561 | 2712597.8372 | 1253571.3614 | 2712585.3088 | 1253554.2865
3 | 2712568.4298 | 1253538.2527 | 2712553.4111 | 1253524.4773
4 | 2712720.4772 | 1253755.0561 | 2712723.6361 | 1253759.7876
5 | 2712553.4111 | 1253524.4773 | 2712510.1784 | 1253484.8237 | 2712493.7659 | 1253463.9948
6 | 2712736.552 | 1253779.1335 | 2712723.6361 | 1253759.7876
7 | 2712913.1013 | 1253313.6692 | 2712911.3127 | 1253252.7287
8 | 2712913.1013 | 1253313.6692 | 2712917.2072 | 1253326.3247 | 2712926.9236 | 1253339.2207 | 2712962.5636 | 1253370.3817 | 2712977.5823 | 1253387.4046 | 2712991.3496 | 1253408.6961 | 2712998.7832 | 1253422.1602 | 2713003.3492 | 1253437.5824 | 2713005.5217 | 1253514.7217 | 2713009.1573 | 1253536.1756 | 2713012.9236 | 1253551.1823 | 2713023.8544 | 1253572.3863 | 2713032.4639 | 1253587.8858 | 2713034.6625 | 1253590.284
9 | 2712911.3127 | 1253252.7287 | 2712910.5854 | 1253227.9497 | 2712903.0436 | 1253220.1327 | 2712893.7772 | 1253215.8813
10 | 2713042.907 | 1253598.4584 | 2713039.9973 | 1253596.1031 | 2713034.6625 | 1253590.284
11 | 2712431.8072 | 1253375.6669 | 2712441.8415 | 1253398.0983 | 2712493.7659 | 1253463.9948
12 | 2712739.7623 | 1253792.2565 | 2712739.8576 | 1253784.0848 | 2712736.552 | 1253779.1335
13 | 2712392.7153 | 1253357.232 | 2712414.6386 | 1253342.2132 | 2712421.9682 | 1253353.673 | 2712431.8072 | 1253375.6669
14 | 2712431.8072 | 1253375.6669 | 2712415.8788 | 1253390.6878
15 | 2712689.5295 | 1254088.1385 | 2712692.4779 | 1254082.1992 | 2712691.8422 | 1254080.3078 | 2712689.2728 | 1254078.1076
16 | 2712689.5295 | 1254088.1385 | 2712687.228 | 1254092.7749 | 2712685.4061 | 1254096.2401
17 | 2712680.8779 | 1254104.853 | 2712685.4061 | 1254096.2401
18 | 2712679.808 | 1254109.1252 | 2712680.8779 | 1254104.853 | 2712680.8779 | 1254104.853
19 | 2712679.808 | 1254109.1252 | 2712673.9869 | 1254112.4505 | 2712668.0431 | 1254118.2534 | 2712665.8376 | 1254121.3225
20 | 2712679.808 | 1254109.1252 | 2712683.9743 | 1254108.6929 | 2712697.3765 | 1254114.2415 | 2712705.2434 | 1254115.6367 | 2712713.0823 | 1254115.3301 | 2712725.6889 | 1254113.524 | 2712737.1983 | 1254111.875 | 2712754.2256 | 1254107.3732 | 2712770.4221 | 1254099.3414 | 2712803.1972 | 1254070.7638 | 2712831.8562 | 1254041.5852 | 2712834.6009 | 1254038.535
21 | 2712834.6009 | 1254038.535 | 2712846.3585 | 1254025.4591 | 2712856.9372 | 1254006.1445 | 2712861.9892 | 1254000.8405
22 | 2712834.6009 | 1254038.535 | 2712861.2291 | 1254063.6299 | 2712870.176 | 1254068.1487 | 2712880.73 | 1254069.9068 | 2712890.3412 | 1254069.7646
23 | 2712471.1153 | 1253622.2076 | 2712495.139 | 1253634.8188 | 2712593.5874 | 1253696.3739 | 2712657.3613 | 1253739.6288
24 | 2712410.9925 | 1253569.4888 | 2712417.2124 | 1253568.7065 | 2712432.5399 | 1253572.7007 | 2712442.3233 | 1253582.1054 | 2712447.8357 | 1253590.2835 | 2712452.472 | 1253602.0702 | 2712459.568 | 1253612.3024 | 2712471.1153 | 1253622.2076 | 2712471.1153 | 1253622.2076
25 | 2712739.7623 | 1253792.2565 | 2712728.2869 | 1253787.7343 | 2712657.3613 | 1253739.6288
26 | 2712758.9584 | 1253795.9694 | 2712739.7623 | 1253792.2565
27 | 2712758.9584 | 1253795.9694 | 2712762.1875 | 1253796.1495
28 | 2712758.9584 | 1253795.9694 | 2712754.3113 | 1253803.0091 | 2712743.836 | 1253815.7002
29 | 2712763.8455 | 1253796.2419 | 2712762.1875 | 1253796.1495
30 | 2712735.1287 | 1253826.2495 | 2712743.836 | 1253815.7002
31 | 2712392.7153 | 1253357.232 | 2712372.0986 | 1253344.7732
32 | 2712415.4177 | 1253391.1226 | 2712415.8788 | 1253390.6878
33 | 2712317.6197 | 1253288.4393 | 2712314.6054 | 1253294.9542 | 2712316.7142 | 1253304.3354 | 2712327.4926 | 1253317.8176 | 2712370.6346 | 1253343.8885
34 | 2712317.6197 | 1253288.4393 | 2712302.1952 | 1253275.1914 | 2712285.5334 | 1253263.8995 | 2712266.7619 | 1253252.0991
35 | 2712372.0986 | 1253344.7732 | 2712370.6346 | 1253343.8885
36 | 2712232.7647 | 1253230.7275 | 2712266.7619 | 1253252.0991
37 | 2712819.8433 | 1253181.9603 | 2712804.2803 | 1253190.282 | 2712795.1138 | 1253196.4237 | 2712781.2576 | 1253199.5402 | 2712763.6511 | 1253197.8592 | 2712739.3319 | 1253191.9804 | 2712728.6499 | 1253182.9807 | 2712723.6583 | 1253176.4198
38 | 2712930.8686 | 1252863.646 | 2712819.8433 | 1253181.9603
39 | 2712819.8433 | 1253181.9603 | 2712833.7755 | 1253188.3524
40 | 2712900.3889 | 1253879.5347 | 2712891.2552 | 1253873.7766 | 2712867.6755 | 1253856.2581
41 | 2712845.5121 | 1253839.792 | 2712867.6755 | 1253856.2581
42 | 2712900.3889 | 1253879.5347 | 2712925.8703 | 1253895.5991 | 2712956.6796 | 1253910.8883
43 | 2712825.0566 | 1253824.5946 | 2712845.5121 | 1253839.792
44 | 2712965.2596 | 1253914.5542 | 2712961.4103 | 1253913.2359 | 2712956.6796 | 1253910.8883
45 | 2712817.8696 | 1253819.255 | 2712825.0566 | 1253824.5946
46 | 2712965.2596 | 1253914.5542 | 2712984.8344 | 1253921.258
47 | 2712817.8696 | 1253819.255 | 2712817.59 | 1253827.1897 | 2712817.59 | 1253827.1897
48 | 2712817.8696 | 1253819.255 | 2712815.9468 | 1253817.9048
49 | 2712999.1681 | 1253926.1669 | 2712984.8344 | 1253921.258
50 | 2712846.8873 | 1253942.398 | 2712844.9995 | 1253922.9808 | 2712843.0104 | 1253909.7541 | 2712838.0925 | 1253897.7503 | 2712817.59 | 1253827.1897
51 | 2712814.0536 | 1253816.5753 | 2712815.9468 | 1253817.9048
52 | 2712799.551 | 1253806.391 | 2712814.0536 | 1253816.5753
53 | 2712799.551 | 1253806.391 | 2712794.5603 | 1253802.8864 | 2712777.1342 | 1253796.983 | 2712763.8455 | 1253796.2419
54 | 2712847.0933 | 1253944.5163 | 2712846.8873 | 1253942.398
55 | 2712847.4475 | 1253948.1596 | 2712847.4475 | 1253948.1596 | 2712847.0933 | 1253944.5163
56 | 2712893.4298 | 1254069.7189 | 2712890.3412 | 1254069.7646
57 | 2712861.9892 | 1254000.8405 | 2712862.8083 | 1253999.9805
58 | 2712878.1221 | 1253986.2537 | 2712875.8696 | 1253987.6342 | 2712872.2923 | 1253990.0236 | 2712862.8083 | 1253999.9805
59 | 2712878.1221 | 1253986.2537 | 2712855.725 | 1253962.5588
60 | 2712999.1681 | 1253926.1669 | 2713024.6341 | 1253892.7693 | 2713037.4378 | 1253886.5973
61 | 2713037.4378 | 1253886.5973 | 2713041.4842 | 1253886.9192 | 2713050.5451 | 1253893.3753 | 2713052.138 | 1253894.2904
62 | 2712722.8553 | 1253841.1191 | 2712735.1287 | 1253826.2495
63 | 2712722.8553 | 1253841.1191 | 2712719.7816 | 1253844.843
64 | 2712544.1976 | 1253934.6678 | 2712565.4347 | 1253909.2167 | 2712586.7468 | 1253895.6993 | 2712687.85 | 1253870.2561 | 2712706.4167 | 1253861.035 | 2712719.7816 | 1253844.843
65 | 2712544.1976 | 1253934.6678 | 2712090.2029 | 1254151.9162
66 | 2712851.0244 | 1253957.2746 | 2712847.4475 | 1253948.1596
67 | 2712851.0244 | 1253957.2746 | 2712851.233 | 1253957.8065 | 2712855.725 | 1253962.5588
68 | 2713176.2786 | 1254034.3055 | 2713169.3896 | 1254037.8101
69 | 2713080.173 | 1253953.0241 | 2713098.6645 | 1253966.3216 | 2713156.5202 | 1254019.0041 | 2713176.2786 | 1254034.3055
70 | 2712049.3878 | 1254019.9139 | 2712053.4165 | 1254025.9507 | 2712059.4269 | 1254028.9558 | 2712071.1423 | 1254029.1776 | 2712146.9516 | 1254010.5524 | 2712158.6404 | 1254008.9947 | 2712166.6601 | 1254011.8934 | 2712171.4754 | 1254017.0333 | 2712174.0894 | 1254024.8449 | 2712173.391 | 1254034.2173 | 2712170.7399 | 1254041.5065 | 2712163.5727 | 1254050.9675 | 2712103.3084 | 1254112.2667 | 2712097.7584 | 1254121.2136 | 2712094.1642 | 1254133.2779 | 2712090.9568 | 1254149.6309 | 2712090.2029 | 1254151.9162
71 | 2712072.9414 | 1254177.6578 | 2712081.3712 | 1254173.2358 | 2712085.2005 | 1254167.0809 | 2712090.2029 | 1254151.9162
72 | 2712090.4738 | 1254202.6215 | 2712096.8514 | 1254204.9553 | 2712117.4192 | 1254209.2156
73 | 2712072.9414 | 1254177.6578 | 2712079.4099 | 1254191.9254 | 2712083.9849 | 1254198.195 | 2712090.4738 | 1254202.6215
74 | 2712259.7625 | 1253617.4835 | 2712049.3878 | 1254019.9139
75 | 2713080.173 | 1253953.0241 | 2713076.1236 | 1253925.2124 | 2713067.606 | 1253912.1574
76 | 2713058.2338 | 1253897.7924 | 2713067.606 | 1253912.1574
77 | 2713134.1656 | 1253922.385 | 2713121.3736 | 1253923.5973 | 2713109.1821 | 1253918.6147
78 | 2713134.1656 | 1253922.385 | 2713251.5945 | 1253677.257
79 | 2713058.2338 | 1253897.7924 | 2713109.1821 | 1253918.6147
80 | 2713251.5945 | 1253677.257 | 2713275.5997 | 1253684.4331 | 2713286.7057 | 1253694.0535 | 2713298.7409 | 1253661.8345 | 2713305.6242 | 1253648.0102 | 2713316.4824 | 1253637.4646 | 2713310.3519 | 1253630.0967 | 2713304.3636 | 1253625.9453 | 2713302.0908 | 1253624.8232 | 2713318.5067 | 1253606.2327 | 2713325.3068 | 1253599.9131 | 2713337.6194 | 1253591.0634 | 2713342.9819 | 1253586.1174 | 2713357.4399 | 1253570.8591 | 2713370.6407 | 1253558.2011 | 2713387.5747 | 1253540.5549 | 2713397.2978 | 1253519.1564 | 2713406.7892 | 1253509.8526 | 2713412.6405 | 1253500.2788 | 2713416.2586 | 1253491.0626 | 2713417.2543 | 1253478.093
81 | 2713251.5945 | 1253677.257 | 2713248.4104 | 1253672.0918 | 2713239.2011 | 1253661.5514 | 2713227.1518 | 1253653.1029 | 2713206.9508 | 1253641.8792
82 | 2713251.5945 | 1253677.257 | 2713190.1309 | 1253663.1371 | 2713172.0272 | 1253657.1417 | 2713147.6996 | 1253639.1842 | 2713107.3198 | 1253624.3673 | 2713052.7582 | 1253606.433 | 2713052.0621 | 1253605.8695
83 | 2713058.2338 | 1253897.7924 | 2713052.138 | 1253894.2904
84 | 2713417.2543 | 1253478.093 | 2713411.3988 | 1253480.0047 | 2713403.0963 | 1253480.0347 | 2713395.4393 | 1253478.2866 | 2713390.8656 | 1253474.3514 | 2713384.3905 | 1253458.1805 | 2713380.7726 | 1253446.1123 | 2713377.8342 | 1253441.1186 | 2713372.6745 | 1253435.4706 | 2713340.2996 | 1253408.9398
85 | 2713206.9508 | 1253641.8792 | 2713206.8997 | 1253641.8508
86 | 2713046.4347 | 1253601.3141 | 2713052.0621 | 1253605.8695
87 | 2713042.907 | 1253598.4584 | 2713046.4347 | 1253601.3141
88 | 2712893.7772 | 1253215.8813 | 2712876.3466 | 1253207.8841
89 | 2712876.3466 | 1253207.8841 | 2712839.2439 | 1253190.8613
90 | 2712930.8686 | 1252863.646 | 2712932.634 | 1252862.4734
91 | 2712622.1207 | 1252811.7981 | 2712930.8686 | 1252863.646
92 | 2712932.634 | 1252862.4734 | 2712950.4655 | 1252850.6284 | 2712965.4815 | 1252846.6517
93 | 2712624.5287 | 1252769.5668 | 2712643.4641 | 1252768.7374 | 2712651.9938 | 1252776.2503 | 2712652.422 | 1252785.8775 | 2712642.9843 | 1252799.1091 | 2712622.1207 | 1252811.7981
94 | 2713008.086 | 1252815.0008 | 2713007.7088 | 1252819.0158 | 2713004.4376 | 1252829.0507 | 2712997.2013 | 1252841.5898 | 2712992.9637 | 1252845.7124 | 2712988.6451 | 1252847.3536 | 2712984.7572 | 1252847.3906 | 2712977.9724 | 1252845.3707 | 2712974.4011 | 1252845.0356 | 2712968.9533 | 1252845.7323 | 2712965.4815 | 1252846.6517
95 | 2712590.5596 | 1252770.8378 | 2712595.3204 | 1252770.8462 | 2712624.5287 | 1252769.5668
96 | 2712833.7755 | 1253188.3524 | 2712839.2439 | 1253190.8613
97 | 2712194.3775 | 1252552.5809 | 2712213.9045 | 1252575.3029 | 2712224.2489 | 1252582.7476
98 | 2712241.5017 | 1252595.1643 | 2712224.2489 | 1252582.7476
99 | 2712194.3775 | 1252552.5809 | 2712420.9077 | 1252334.438
100 | 2712475.1095 | 1252679.5313 | 2712241.5017 | 1252595.1643
101 | 2712420.9077 | 1252334.438 | 2712471.8068 | 1252334.4303
102 | 2712475.1095 | 1252679.5313 | 2712480.7778 | 1252732.3829 | 2712490.7896 | 1252752.8789 | 2712506.1314 | 1252766.5594 | 2712519.9181 | 1252770.7136 | 2712555.4502 | 1252770.7761
103 | 2712555.4502 | 1252770.7761 | 2712569.1839 | 1252770.8002
104 | 2712518.5476 | 1252335.6146 | 2712483.0553 | 1252334.4286 | 2712471.8068 | 1252334.4303
105 | 2712590.5596 | 1252770.8378 | 2712569.1839 | 1252770.8002
106 | 2711153.2365 | 1253579.9044 | 2711168.0261 | 1253568.1095 | 2711168.8459 | 1253563.2893
107 | 2711153.2365 | 1253579.9044 | 2711134.9064 | 1253594.5229
108 | 2711220.5784 | 1253506.1 | 2711203.4326 | 1253515.6861 | 2711187.5028 | 1253529.6431 | 2711169.9265 | 1253556.9359 | 2711168.8459 | 1253563.2893
109 | 2711127.2661 | 1253600.6162 | 2711134.9064 | 1253594.5229
110 | 2711220.5784 | 1253506.1 | 2711224.9278 | 1253495.9399 | 2711229.1005 | 1253485.9433 | 2711219.1923 | 1253477.8505
111 | 2711127.2661 | 1253600.6162 | 2711134.5271 | 1253613.4297 | 2711142.2452 | 1253624.0055 | 2711155.6495 | 1253632.3862
112 | 2711818.3462 | 1253435.1497 | 2711829.2756 | 1253436.345
113 | 2711818.3462 | 1253435.1497 | 2711236.2953 | 1253422.3589
114 | 2711818.3462 | 1253435.1497 | 2711833.3089 | 1253430.9287 | 2711883.835 | 1253409.0757 | 2711886.5527 | 1253407.6496
115 | 2711829.2756 | 1253436.345 | 2711848.9545 | 1253438.497 | 2711854.0863 | 1253439.2772
116 | 2711236.2953 | 1253422.3589 | 2711223.9932 | 1253425.1858 | 2711195.3576 | 1253439.2237
117 | 2711216.9405 | 1253464.3415 | 2711215.3866 | 1253474.7432 | 2711219.1923 | 1253477.8505
118 | 2711219.1923 | 1253477.8505 | 2711214.5497 | 1253483.1344 | 2711204.547 | 1253487.3057 | 2711197.0008 | 1253485.6515 | 2711188.8794 | 1253477.3101
119 | 2711155.6495 | 1253632.3862 | 2711160.8708 | 1253624.0106 | 2711165.4491 | 1253618.5252 | 2711190.6298 | 1253593.3881 | 2711192.4427 | 1253591.3141
120 | 2711216.9405 | 1253464.3415 | 2711212.7096 | 1253460.3563
121 | 2711173.3666 | 1253461.3767 | 2711188.8794 | 1253477.3101
122 | 2711173.3666 | 1253461.3767 | 2711172.821 | 1253458.275 | 2711189.7155 | 1253441.9897 | 2711195.3576 | 1253439.2237
123 | 2711869.9206 | 1253441.6845 | 2711854.0863 | 1253439.2772
124 | 2711869.9206 | 1253441.6845 | 2711897.04 | 1253449.2165
125 | 2711954.7283 | 1253460.4676 | 2711953.3182 | 1253460.0355
126 | 2711979.9538 | 1253477.4042 | 2711969.2768 | 1253464.9254 | 2711954.7283 | 1253460.4676
127 | 2711953.3182 | 1253460.0355 | 2711941.7795 | 1253456.4999
128 | 2711979.9538 | 1253477.4042 | 2712009.2294 | 1253483.763 | 2712051.8653 | 1253490.019 | 2712084.1667 | 1253493.6108 | 2712092.0845 | 1253491.9704 | 2712102.4082 | 1253489.6778
129 | 2711918.2049 | 1253451.3128 | 2711923.3968 | 1253451.8141 | 2711932.8016 | 1253453.749 | 2711941.7795 | 1253456.4999
130 | 2712259.7625 | 1253617.4835 | 2712259.6291 | 1253608.9962 | 2712255.4213 | 1253594.4932 | 2712247.499 | 1253548.2267 | 2712240.0648 | 1253511.2328 | 2712234.5956 | 1253504.7349 | 2712227.1369 | 1253501.2685 | 2712209.5977 | 1253496.877 | 2712150.9406 | 1253486.9802 | 2712121.4757 | 1253485.4434 | 2712102.4082 | 1253489.6778
131 | 2711897.04 | 1253449.2165 | 2711897.3313 | 1253449.2974 | 2711918.2049 | 1253451.3128
132 | 2712083.1286 | 1253141.8873 | 2712065.3456 | 1253153.5049 | 2712064.7293 | 1253153.764
133 | 2712083.1286 | 1253141.8873 | 2712094.3131 | 1253157.8788 | 2712102.3166 | 1253164.4207
134 | 2712111.9063 | 1253173.0753 | 2712105.4693 | 1253166.9975 | 2712102.3166 | 1253164.4207
135 | 2712162.1927 | 1253194.672 | 2712182.8045 | 1253201.8572 | 2712232.7647 | 1253230.7275
136 | 2712162.1927 | 1253194.672 | 2712117.1996 | 1253178.0732 | 2712111.9063 | 1253173.0753
137 | 2712665.4378 | 1252298.0542 | 2712633.8846 | 1252307.794 | 2712616.4208 | 1252320.2947 | 2712602.3278 | 1252327.822 | 2712580.4564 | 1252333.5444 | 2712561.1861 | 1252336.2584 | 2712537.8459 | 1252336.2594 | 2712518.5476 | 1252335.6146

## bus_geodata
| x | y | coords
0 | 2712576.5933 | 1253545.1439
1 | 2712585.3088 | 1253554.2865
2 | 2712568.4298 | 1253538.2527
3 | 2712720.4772 | 1253755.0561
4 | 2712553.4111 | 1253524.4773
5 | 2712723.6361 | 1253759.7876
6 | 2712913.1013 | 1253313.6692
7 | 2712911.3127 | 1253252.7287
8 | 2713034.6625 | 1253590.284
9 | 2712493.7659 | 1253463.9948
10 | 2712736.552 | 1253779.1335
11 | 2712431.8072 | 1253375.6669
12 | 2712689.5295 | 1254088.1385
13 | 2712689.2728 | 1254078.1075
14 | 2712685.4061 | 1254096.2401
15 | 2712680.8779 | 1254104.853
16 | 2712679.808 | 1254109.1252
17 | 2712665.8376 | 1254121.3225
18 | 2712834.6009 | 1254038.535
19 | 2712471.1153 | 1253622.2076
20 | 2712657.3613 | 1253739.6288
21 | 2712410.9925 | 1253569.4888
22 | 2712739.7623 | 1253792.2565
23 | 2712758.9584 | 1253795.9694
24 | 2712762.1875 | 1253796.1495
25 | 2712743.836 | 1253815.7002
26 | 2712392.7153 | 1253357.232
27 | 2712415.8788 | 1253390.6878
28 | 2712317.6197 | 1253288.4393
29 | 2712370.6346 | 1253343.8885
30 | 2712266.7619 | 1253252.0991
31 | 2712372.0986 | 1253344.7732
32 | 2712415.4177 | 1253391.1226
33 | 2712723.6583 | 1253176.4198
34 | 2712819.8433 | 1253181.9603
35 | 2712867.6755 | 1253856.2581
36 | 2712900.3889 | 1253879.5347
37 | 2712845.5121 | 1253839.792
38 | 2712956.6796 | 1253910.8883
39 | 2712825.0566 | 1253824.5946
40 | 2712965.2596 | 1253914.5542
41 | 2712817.8696 | 1253819.255
42 | 2712984.8344 | 1253921.258
43 | 2712817.59 | 1253827.1897
44 | 2712815.9468 | 1253817.9048
45 | 2712814.0536 | 1253816.5753
46 | 2712799.551 | 1253806.391
47 | 2712763.8455 | 1253796.2419
48 | 2712846.8873 | 1253942.398
49 | 2712847.0933 | 1253944.5163
50 | 2712890.3412 | 1254069.7646
51 | 2712893.4298 | 1254069.7189
52 | 2712861.9892 | 1254000.8405
53 | 2712862.8083 | 1253999.9805
54 | 2712878.1221 | 1253986.2537
55 | 2712999.1681 | 1253926.1669
56 | 2713037.4378 | 1253886.5973
57 | 2712735.1287 | 1253826.2495
58 | 2712722.8553 | 1253841.1191
59 | 2712719.7816 | 1253844.843
60 | 2712544.1976 | 1253934.6678
61 | 2712851.0244 | 1253957.2746
62 | 2712847.4475 | 1253948.1596
63 | 2712855.725 | 1253962.5588
64 | 2713169.3896 | 1254037.8101
65 | 2713176.2786 | 1254034.3055
66 | 2712090.2029 | 1254151.9162
67 | 2712117.4192 | 1254209.2156
68 | 2712090.4738 | 1254202.6215
69 | 2712072.9414 | 1254177.6578
70 | 2712049.3878 | 1254019.9139
71 | 2713080.173 | 1253953.0241
72 | 2713067.606 | 1253912.1574
73 | 2713134.1656 | 1253922.385
74 | 2713109.1821 | 1253918.6147
75 | 2713251.5945 | 1253677.257
76 | 2713058.2338 | 1253897.7924
77 | 2713417.2543 | 1253478.093
78 | 2713206.9508 | 1253641.8792
79 | 2713052.0621 | 1253605.8695
80 | 2713206.8997 | 1253641.8508
81 | 2713340.2996 | 1253408.9398
82 | 2713052.138 | 1253894.2904
83 | 2713042.9069 | 1253598.4584
84 | 2713046.4347 | 1253601.3141
85 | 2712893.7772 | 1253215.8813
86 | 2712876.3466 | 1253207.8841
87 | 2712930.8686 | 1252863.646
88 | 2712932.634 | 1252862.4734
89 | 2712622.1207 | 1252811.7981
90 | 2712965.4815 | 1252846.6517
91 | 2712624.5287 | 1252769.5668
92 | 2712839.2439 | 1253190.8613
93 | 2712833.7755 | 1253188.3524
94 | 2713008.086 | 1252815.0008
95 | 2712224.2489 | 1252582.7476
96 | 2712194.3775 | 1252552.5809
97 | 2712241.5017 | 1252595.1643
98 | 2712420.9077 | 1252334.438
99 | 2712475.1095 | 1252679.5313
100 | 2712555.4502 | 1252770.7761
101 | 2712471.8068 | 1252334.4303
102 | 2712590.5596 | 1252770.8378
103 | 2712569.1839 | 1252770.8002
104 | 2711153.2365 | 1253579.9044
105 | 2711168.8459 | 1253563.2893
106 | 2711134.9064 | 1253594.5229
107 | 2711220.5784 | 1253506.1
108 | 2711127.2661 | 1253600.6162
109 | 2711818.3462 | 1253435.1497
110 | 2711829.2756 | 1253436.345
111 | 2711236.2953 | 1253422.3589
112 | 2711886.5527 | 1253407.6496
113 | 2711219.1923 | 1253477.8505
114 | 2711155.6495 | 1253632.3862
115 | 2711192.4427 | 1253591.3141
116 | 2711216.9405 | 1253464.3415
117 | 2711188.8794 | 1253477.3101
118 | 2711195.3576 | 1253439.2237
119 | 2711212.7096 | 1253460.3563
120 | 2711173.3666 | 1253461.3767
121 | 2711854.0863 | 1253439.2772
122 | 2711869.9206 | 1253441.6845
123 | 2711954.7283 | 1253460.4676
124 | 2711953.3182 | 1253460.0355
125 | 2711979.9538 | 1253477.4042
126 | 2711941.7795 | 1253456.4999
127 | 2712102.4082 | 1253489.6778
128 | 2711918.2049 | 1253451.3128
129 | 2712259.7625 | 1253617.4835
130 | 2711897.04 | 1253449.2165
131 | 2712064.7293 | 1253153.764
132 | 2712083.1286 | 1253141.8873
133 | 2712102.3166 | 1253164.4207
134 | 2712162.1927 | 1253194.672
135 | 2712232.7647 | 1253230.7275
136 | 2712111.9063 | 1253173.0753
137 | 2712665.4378 | 1252298.0542
138 | 2712518.5476 | 1252335.6146
139 | 2712410.9925 | 1253569.4888

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1