## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5048-16_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5048-16_0_3_node_86 | 0.4 | n |  | TRUE
2 | bus_LV_5048-16_0_3_node_85 | 0.4 | n |  | TRUE
3 | bus_LV_5048-16_0_3_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_5048-16_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_5048-16_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5048-16_0_3_node_80 | 0.4 | n |  | TRUE
7 | bus_LV_5048-16_0_3_node_120 | 0.4 | n |  | TRUE
8 | bus_LV_5048-16_0_3_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_5048-16_0_3_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_5048-16_0_3_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_5048-16_0_3_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_5048-16_0_3_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_5048-16_0_3_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_5048-16_0_3_node_122 | 0.4 | n |  | TRUE
15 | bus_LV_5048-16_0_3_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_5048-16_0_3_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_5048-16_0_3_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_5048-16_0_3_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_5048-16_0_3_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_5048-16_0_3_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_5048-16_0_3_node_121 | 0.4 | n |  | TRUE
22 | bus_LV_5048-16_0_3_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_5048-16_0_3_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_5048-16_0_3_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_5048-16_0_3_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_5048-16_0_3_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_5048-16_0_3_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_5048-16_0_3_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_5048-16_0_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_5048-16_0_3_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_5048-16_0_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_5048-16_0_3_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_5048-16_0_3_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_5048-16_0_3_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_5048-16_0_3_node_67 | 0.4 | n |  | TRUE
36 | bus_LV_5048-16_0_3_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_5048-16_0_3_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_5048-16_0_3_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_5048-16_0_3_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_5048-16_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_5048-16_0_3_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_5048-16_0_3_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_5048-16_0_3_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_5048-16_0_3_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_5048-16_0_3_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_5048-16_0_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_5048-16_0_3_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_5048-16_0_3_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_5048-16_0_3_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_5048-16_0_3_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_5048-16_0_3_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_5048-16_0_3_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_5048-16_0_3_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_5048-16_0_3_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_5048-16_0_3_node_115 | 0.4 | n |  | TRUE
56 | bus_LV_5048-16_0_3_node_116 | 0.4 | n |  | TRUE
57 | bus_LV_5048-16_0_3_node_114 | 0.4 | n |  | TRUE
58 | bus_LV_5048-16_0_3_node_113 | 0.4 | n |  | TRUE
59 | bus_LV_5048-16_0_3_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_5048-16_0_3_node_117 | 0.4 | n |  | TRUE
61 | bus_LV_5048-16_0_3_node_112 | 0.4 | n |  | TRUE
62 | bus_LV_5048-16_0_3_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_5048-16_0_3_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_5048-16_0_3_node_119 | 0.4 | n |  | TRUE
65 | bus_LV_5048-16_0_3_node_118 | 0.4 | n |  | TRUE
66 | bus_LV_5048-16_0_3_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_5048-16_0_3_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_5048-16_0_3_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_5048-16_0_3_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_5048-16_0_3_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_5048-16_0_3_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_5048-16_0_3_node_89 | 0.4 | n |  | TRUE
73 | bus_LV_5048-16_0_3_node_90 | 0.4 | n |  | TRUE
74 | bus_LV_5048-16_0_3_node_91 | 0.4 | n |  | TRUE
75 | bus_LV_5048-16_0_3_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_5048-16_0_3_node_93 | 0.4 | n |  | TRUE
77 | bus_LV_5048-16_0_3_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_5048-16_0_3_node_95 | 0.4 | n |  | TRUE
79 | bus_LV_5048-16_0_3_node_103 | 0.4 | n |  | TRUE
80 | bus_LV_5048-16_0_3_node_96 | 0.4 | n |  | TRUE
81 | bus_LV_5048-16_0_3_node_102 | 0.4 | n |  | TRUE
82 | bus_LV_5048-16_0_3_node_97 | 0.4 | n |  | TRUE
83 | bus_LV_5048-16_0_3_node_98 | 0.4 | n |  | TRUE
84 | bus_LV_5048-16_0_3_node_99 | 0.4 | n |  | TRUE
85 | bus_LV_5048-16_0_3_node_100 | 0.4 | n |  | TRUE
86 | bus_LV_5048-16_0_3_node_101 | 0.4 | n |  | TRUE
87 | bus_LV_5048-16_0_3_node_104 | 0.4 | n |  | TRUE
88 | bus_LV_5048-16_0_3_node_105 | 0.4 | n |  | TRUE
89 | bus_LV_5048-16_0_3_node_106 | 0.4 | n |  | TRUE
90 | bus_LV_5048-16_0_3_node_107 | 0.4 | n |  | TRUE
91 | bus_LV_5048-16_0_3_node_108 | 0.4 | n |  | TRUE
92 | bus_LV_5048-16_0_3_node_109 | 0.4 | n |  | TRUE
93 | bus_LV_5048-16_0_3_node_110 | 0.4 | n |  | TRUE
94 | bus_LV_5048-16_0_3_node_111 | 0.4 | n |  | TRUE
95 | bus_MV_185_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5048-16_0_3_load_0 | 0 | 0.002383 | 0.00059724 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5048-16_0_3_load_85 | 2 | 0.00048332 | 0.00012113 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5048-16_0_3_load_1 | 3 | 0.0021206 | 0.00053147 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5048-16_0_3_load_3 | 5 | 0.00082615 | 0.00020705 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5048-16_0_3_load_120 | 7 | 0.0025374 | 0.00063592 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5048-16_0_3_load_31 | 9 | 0.0072078 | 0.0018065 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5048-16_0_3_load_32 | 10 | 0.00096913 | 0.00024289 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5048-16_0_3_load_33 | 11 | 0.00069467 | 0.0001741 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5048-16_0_3_load_60 | 12 | 0.00058391 | 0.00014634 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5048-16_0_3_load_61 | 13 | 0.00095226 | 0.00023866 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5048-16_0_3_load_122 | 14 | 0.00051047 | 0.00012794 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5048-16_0_3_load_56 | 16 | 0.0008559 | 0.00021451 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5048-16_0_3_load_58 | 17 | 0.0010878 | 0.00027263 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5048-16_0_3_load_35 | 18 | 0.0017566 | 0.00044026 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5048-16_0_3_load_36 | 19 | 0.00060513 | 0.00015166 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5048-16_0_3_load_37 | 20 | 0.001312 | 0.00032883 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5048-16_0_3_load_121 | 21 | 0.0010047 | 0.0002518 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5048-16_0_3_load_38 | 22 | 0.0018586 | 0.00046582 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5048-16_0_3_load_39 | 23 | 0.00052484 | 0.00013154 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5048-16_0_3_load_42 | 26 | 0.000963 | 0.00024135 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5048-16_0_3_load_43 | 27 | 0.0011536 | 0.00028911 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5048-16_0_3_load_44 | 28 | 0.00060127 | 0.00015069 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5048-16_0_3_load_45 | 29 | 0.00098484 | 0.00024682 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5048-16_0_3_load_47 | 31 | 0.0012297 | 0.00030818 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5048-16_0_3_load_66 | 32 | 0.0045713 | 0.0011457 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5048-16_0_3_load_48 | 33 | 0.0016274 | 0.00040786 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5048-16_0_3_load_67 | 35 | 0.0023082 | 0.00057848 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5048-16_0_3_load_68 | 36 | 0.004599 | 0.0011526 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5048-16_0_3_load_69 | 37 | 0.0025871 | 0.00064838 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5048-16_0_3_load_62 | 38 | 0.0020299 | 0.00050873 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5048-16_0_3_load_63 | 39 | 0.0012375 | 0.00031014 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5048-16_0_3_load_49 | 40 | 0.0052759 | 0.0013223 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5048-16_0_3_load_52 | 43 | 0.00089088 | 0.00022328 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5048-16_0_3_load_53 | 44 | 0.0014266 | 0.00035754 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5048-16_0_3_load_54 | 45 | 0.0011917 | 0.00029867 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5048-16_0_3_load_55 | 46 | 0.0020012 | 0.00050155 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5048-16_0_3_load_73 | 47 | 0.000861 | 0.00021579 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5048-16_0_3_load_81 | 48 | 0.00095722 | 0.0002399 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5048-16_0_3_load_76 | 50 | 0.0020544 | 0.00051489 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5048-16_0_3_load_82 | 52 | 0.0010603 | 0.00026573 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5048-16_0_3_load_57 | 53 | 0.00051936 | 0.00013016 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5048-16_0_3_load_115 | 55 | 0.0048719 | 0.001221 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5048-16_0_3_load_116 | 56 | 0.0030491 | 0.00076417 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5048-16_0_3_load_114 | 57 | 0.0024571 | 0.00061582 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5048-16_0_3_load_113 | 58 | 0.0023503 | 0.00058904 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5048-16_0_3_load_70 | 59 | 0.0021774 | 0.00054572 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5048-16_0_3_load_117 | 60 | 0.004476 | 0.0011218 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5048-16_0_3_load_112 | 61 | 0.0016679 | 0.00041802 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5048-16_0_3_load_72 | 62 | 0.002086 | 0.0005228 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5048-16_0_3_load_74 | 63 | 0.0025749 | 0.00064532 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5048-16_0_3_load_119 | 64 | 0.0013648 | 0.00034204 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5048-16_0_3_load_118 | 65 | 0.0021806 | 0.00054651 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5048-16_0_3_load_78 | 66 | 0.0015597 | 0.00039089 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5048-16_0_3_load_79 | 67 | 0.0010991 | 0.00027547 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5048-16_0_3_load_87 | 68 | 0.0016312 | 0.00040882 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5048-16_0_3_load_83 | 70 | 0.00050029 | 0.00012538 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5048-16_0_3_load_84 | 71 | 0.0012141 | 0.00030427 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5048-16_0_3_load_89 | 72 | 0.00191 | 0.0004787 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5048-16_0_3_load_90 | 73 | 0.0035999 | 0.00090221 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5048-16_0_3_load_91 | 74 | 0.0018647 | 0.00046733 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5048-16_0_3_load_92 | 75 | 0.0036481 | 0.00091431 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5048-16_0_3_load_93 | 76 | 0.0033484 | 0.0008392 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5048-16_0_3_load_95 | 78 | 0.0032039 | 0.00080296 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5048-16_0_3_load_103 | 79 | 0.0031346 | 0.0007856 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5048-16_0_3_load_96 | 80 | 0.0017327 | 0.00043426 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5048-16_0_3_load_102 | 81 | 0.0039723 | 0.00099556 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5048-16_0_3_load_97 | 82 | 0.0029883 | 0.00074893 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5048-16_0_3_load_98 | 83 | 0.0021592 | 0.00054116 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5048-16_0_3_load_99 | 84 | 0.0039143 | 0.00098102 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5048-16_0_3_load_100 | 85 | 0.0021281 | 0.00053335 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5048-16_0_3_load_101 | 86 | 0.0014269 | 0.00035763 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5048-16_0_3_load_104 | 87 | 0.001017 | 0.00025488 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5048-16_0_3_load_106 | 89 | 0.001687 | 0.00042279 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5048-16_0_3_load_107 | 90 | 0.001408 | 0.00035289 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5048-16_0_3_load_108 | 91 | 0.0015413 | 0.00038627 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5048-16_0_3_load_110 | 93 | 0.001555 | 0.00038973 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5048-16_0_3_load_111 | 94 | 0.0027125 | 0.00067982 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5048-16_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.55507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5048-16_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.04748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5048-16_0_3_line_2 | NAYY 4x150 SE | 2 | 71 | 0.0020657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5048-16_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0049831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5048-16_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.01696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5048-16_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.026667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5048-16_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.039858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5048-16_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.003246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5048-16_0_3_line_8 | NAYY 4x150 SE | 8 | 67 | 0.013753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5048-16_0_3_line_9 | NAYY 4x150 SE | 8 | 49 | 0.048009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5048-16_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.14388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5048-16_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.052083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5048-16_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.07781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5048-16_0_3_line_13 | NAYY 4x150 SE | 11 | 15 | 0.076257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5048-16_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.015144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5048-16_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.015889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5048-16_0_3_line_16 | NAYY 4x150 SE | 14 | 21 | 0.0015467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5048-16_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0088187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5048-16_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.036141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5048-16_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.02374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5048-16_0_3_line_20 | NAYY 4x150 SE | 17 | 28 | 0.098609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5048-16_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.010672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5048-16_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.014896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5048-16_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.021995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5048-16_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.015634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5048-16_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.0017522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5048-16_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.019869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5048-16_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.065542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5048-16_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.046358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5048-16_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.026179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5048-16_0_3_line_30 | NAYY 4x150 SE | 27 | 30 | 0.065104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5048-16_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0084833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5048-16_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.011855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5048-16_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.015945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5048-16_0_3_line_34 | NAYY 4x150 SE | 32 | 37 | 0.014047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_5048-16_0_3_line_35 | NAYY 4x150 SE | 33 | 38 | 0.027046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5048-16_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.014263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5048-16_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.012456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5048-16_0_3_line_38 | NAYY 4x150 SE | 35 | 57 | 0.0086927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5048-16_0_3_line_39 | NAYY 4x150 SE | 36 | 58 | 0.024317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5048-16_0_3_line_40 | NAYY 4x150 SE | 37 | 59 | 0.0028838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_5048-16_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.019183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5048-16_0_3_line_42 | NAYY 4x150 SE | 39 | 54 | 0.00035944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5048-16_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.027617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5048-16_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.04517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5048-16_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.032452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5048-16_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.015393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5048-16_0_3_line_47 | NAYY 4x150 SE | 42 | 45 | 0.011463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5048-16_0_3_line_48 | NAYY 4x150 SE | 43 | 46 | 5.4926e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5048-16_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.025381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5048-16_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.02026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5048-16_0_3_line_51 | NAYY 4x150 SE | 47 | 51 | 0.011908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5048-16_0_3_line_52 | NAYY 4x150 SE | 48 | 52 | 0.019937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5048-16_0_3_line_53 | NAYY 4x150 SE | 48 | 53 | 0.063875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5048-16_0_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.02812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5048-16_0_3_line_55 | NAYY 4x150 SE | 50 | 66 | 0.01122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5048-16_0_3_line_56 | NAYY 4x150 SE | 51 | 62 | 0.036746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5048-16_0_3_line_57 | NAYY 4x150 SE | 51 | 59 | 0.01827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5048-16_0_3_line_58 | NAYY 4x150 SE | 52 | 70 | 0.0071179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5048-16_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.070911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5048-16_0_3_line_60 | NAYY 4x150 SE | 54 | 56 | 0.061068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5048-16_0_3_line_61 | NAYY 4x150 SE | 57 | 60 | 0.0016554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5048-16_0_3_line_62 | NAYY 4x150 SE | 58 | 61 | 0.019219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5048-16_0_3_line_63 | NAYY 4x150 SE | 60 | 77 | 0.021216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5048-16_0_3_line_64 | NAYY 4x150 SE | 61 | 92 | 0.0089729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5048-16_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.0073942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5048-16_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.0027339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5048-16_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.026759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5048-16_0_3_line_68 | NAYY 4x150 SE | 65 | 77 | 0.0037438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5048-16_0_3_line_69 | NAYY 4x150 SE | 66 | 68 | 2.8202e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5048-16_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.021876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5048-16_0_3_line_71 | NAYY 4x150 SE | 69 | 72 | 0.017439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5048-16_0_3_line_72 | NAYY 4x150 SE | 69 | 73 | 0.011207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5048-16_0_3_line_73 | NAYY 4x150 SE | 69 | 74 | 0.010119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5048-16_0_3_line_74 | NAYY 4x150 SE | 70 | 71 | 0.013605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5048-16_0_3_line_75 | NAYY 4x150 SE | 72 | 75 | 0.0082396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5048-16_0_3_line_76 | NAYY 4x150 SE | 73 | 76 | 0.048557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5048-16_0_3_line_77 | NAYY 4x150 SE | 74 | 77 | 0.017406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5048-16_0_3_line_78 | NAYY 4x150 SE | 75 | 78 | 0.018413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5048-16_0_3_line_79 | NAYY 4x150 SE | 76 | 79 | 0.034612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5048-16_0_3_line_80 | NAYY 4x150 SE | 78 | 80 | 0.011413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5048-16_0_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.023215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5048-16_0_3_line_82 | NAYY 4x150 SE | 81 | 86 | 0.013928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5048-16_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.01693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5048-16_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.022057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5048-16_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.02135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5048-16_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.015431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5048-16_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.068539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5048-16_0_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.0082106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5048-16_0_3_line_89 | NAYY 4x150 SE | 88 | 90 | 0.038915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5048-16_0_3_line_90 | NAYY 4x150 SE | 89 | 91 | 0.019758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5048-16_0_3_line_91 | NAYY 4x150 SE | 90 | 92 | 0.012009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5048-16_0_3_line_92 | NAYY 4x150 SE | 91 | 93 | 0.014473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5048-16_0_3_line_93 | NAYY 4x150 SE | 92 | 94 | 0.033226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5048-16_0_3_trafo_66 | 0.25 MVA 20/0.4 kV | 95 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2714793.3884 | 1148970.749 | 2714268.9943 | 1149152.7281
1 | 2714793.3884 | 1148970.749 | 2714794.007 | 1148974.9636 | 2714796.1669 | 1148982.9323 | 2714798.1091 | 1148985.4043 | 2714802.5225 | 1148989.1797 | 2714811.9328 | 1148993.1171 | 2714826.0144 | 1148996.9657 | 2714827.1577 | 1148997.3725
2 | 2714829.1039 | 1148998.0649 | 2714827.1577 | 1148997.3725
3 | 2714913.6303 | 1149095.3234 | 2714908.6799 | 1149094.7537
4 | 2714913.6303 | 1149095.3234 | 2714926.4672 | 1149098.3814 | 2714928.2806 | 1149099.9503 | 2714928.9356 | 1149101.1488
5 | 2714949.2326 | 1149118.0508 | 2714942.1855 | 1149113.847 | 2714936.0803 | 1149108.5826 | 2714932.1135 | 1149105.1602 | 2714929.8464 | 1149102.8154 | 2714928.9356 | 1149101.1488
6 | 2714949.2326 | 1149118.0508 | 2714950.0988 | 1149112.9084 | 2714957.4787 | 1149094.0365 | 2714959.8855 | 1149084.6317 | 2714960.3276 | 1149079.9815
7 | 2714952.4879 | 1149118.113 | 2714949.2326 | 1149118.0508
8 | 2714952.4879 | 1149118.113 | 2714956.4814 | 1149128.1848 | 2714959.243 | 1149129.1603
9 | 2714952.4879 | 1149118.113 | 2714955.4175 | 1149114.3107 | 2714958.3745 | 1149108.6745 | 2714962.9627 | 1149103.2806 | 2714968.6926 | 1149100.8438 | 2714969.947 | 1149100.3119 | 2714991.0278 | 1149093.1537
10 | 2715069.8098 | 1148801.2305 | 2715074.0154 | 1148657.4081
11 | 2715069.8098 | 1148801.2305 | 2715077.1052 | 1148808.7175 | 2715095.2663 | 1148826.9987 | 2715101.3608 | 1148834.8425 | 2715104.5627 | 1148839.8312
12 | 2715002.9384 | 1148841.0124 | 2715069.8098 | 1148801.2305
13 | 2715096.8817 | 1148915.6999 | 2715104.5627 | 1148839.8312
14 | 2715002.9384 | 1148841.0124 | 2714993.3095 | 1148835.6473 | 2714989.31 | 1148834.6541
15 | 2714989.31 | 1148834.6541 | 2714981.6212 | 1148832.7447 | 2714974.0738 | 1148832.6006 | 2714973.6565 | 1148832.613
16 | 2714972.1105 | 1148832.659 | 2714973.6565 | 1148832.613
17 | 2715096.8817 | 1148915.6999 | 2715104.9466 | 1148919.2674
18 | 2715096.8817 | 1148915.6999 | 2715095.4012 | 1148917.6174 | 2715092.9416 | 1148918.9157 | 2715090.0792 | 1148919.5949 | 2715073.2911 | 1148918.3068 | 2715062.1913 | 1148917.1719
19 | 2715126.6571 | 1148928.8709 | 2715104.9466 | 1148919.2674
20 | 2714966.7478 | 1148899.8971 | 2714978.021 | 1148899.4316 | 2714989.1215 | 1148898.9208 | 2714998.6916 | 1148899.3148 | 2715011.6592 | 1148900.7743 | 2715020.9951 | 1148902.1756 | 2715032.7351 | 1148907.5922 | 2715042.8479 | 1148912.544 | 2715052.4654 | 1148915.6853 | 2715062.1913 | 1148917.1719 | 2715062.1913 | 1148917.1719
21 | 2714957.2213 | 1148833.1023 | 2714953.5933 | 1148833.2104 | 2714951.1881 | 1148826.5911
22 | 2714957.2213 | 1148833.1023 | 2714972.1105 | 1148832.659
23 | 2714990.2827 | 1148941.2546 | 2714988.8494 | 1148938.9202 | 2714981.7972 | 1148931.7586 | 2714973.8395 | 1148927.1326
24 | 2714998.4583 | 1148954.5806 | 2714993.9817 | 1148947.2792 | 2714990.2827 | 1148941.2546
25 | 2714972.3247 | 1148926.252 | 2714973.8395 | 1148927.1326
26 | 2714998.4583 | 1148954.5806 | 2715006.5423 | 1148955.5688 | 2715017.1759 | 1148960.5086
27 | 2714998.4583 | 1148954.5806 | 2715004.708 | 1148964.7511 | 2715012.2079 | 1148974.2116 | 2715023.4891 | 1148989.9708 | 2715026.932 | 1149000.3212 | 2715028.8816 | 1149008.8307 | 2715030.0574 | 1149011.0521
28 | 2714972.3247 | 1148926.252 | 2714969.9807 | 1148925.1177 | 2714959.7604 | 1148919.3522 | 2714954.6176 | 1148914.3619 | 2714953.0913 | 1148911.0306 | 2714952.3458 | 1148907.8364 | 2714953.6957 | 1148904.7156 | 2714957.8046 | 1148901.1027 | 2714964.3926 | 1148899.9943 | 2714966.7478 | 1148899.8971
29 | 2715017.1759 | 1148960.5086 | 2715020.6948 | 1148962.1433 | 2715040.8933 | 1148971.5913
30 | 2715035.1086 | 1149068.445 | 2715038.8049 | 1149063.9125 | 2715042.3836 | 1149059.9115 | 2715045.4505 | 1149055.3558 | 2715046.5997 | 1149051.086 | 2715046.531 | 1149045.8368 | 2715039.9258 | 1149027.3428 | 2715036.0975 | 1149020.6875 | 2715032.9365 | 1149016.491 | 2715030.0574 | 1149011.0521
31 | 2715048.5775 | 1148975.1857 | 2715040.8933 | 1148971.5913
32 | 2715035.1086 | 1149068.445 | 2715028.9797 | 1149067.6386 | 2715023.3197 | 1149068.0197 | 2715023.3197 | 1149068.0197
33 | 2715048.5775 | 1148975.1857 | 2715049.4167 | 1148975.5782 | 2715063.6436 | 1148980.3898
34 | 2715023.3197 | 1149068.0197 | 2715010.6052 | 1149071.8241 | 2715009.8739 | 1149072.0812
35 | 2715063.6436 | 1148980.3898 | 2715069.4866 | 1148982.3659 | 2715090.2832 | 1148984.2077
36 | 2715068.3039 | 1149086.0904 | 2715068.2452 | 1149090.3699 | 2715067.5625 | 1149093.5368 | 2715064.9759 | 1149099.4803 | 2715064.8294 | 1149099.6971
37 | 2715068.3039 | 1149086.0904 | 2715073.9058 | 1149084.7298 | 2715076.1273 | 1149084.6277 | 2715080.362 | 1149086.05
38 | 2715064.8294 | 1149099.6971 | 2715059.9616 | 1149106.899
39 | 2715080.362 | 1149086.05 | 2715088.658 | 1149088.8364 | 2715097.4553 | 1149092.6848 | 2715102.5342 | 1149095.8103
40 | 2715009.8739 | 1149072.0812 | 2715007.1534 | 1149073.0379
41 | 2715109.3905 | 1148985.905 | 2715103.4229 | 1148985.3714 | 2715090.2832 | 1148984.2077
42 | 2715109.7485 | 1148985.937 | 2715109.3905 | 1148985.905
43 | 2714918.4259 | 1149024.3119 | 2714916.4399 | 1149033.4023 | 2714921.4313 | 1149036.2661 | 2714918.2459 | 1149048.4131
44 | 2714918.4259 | 1149024.3119 | 2714920.6924 | 1149024.6776 | 2714922.705 | 1149025.4609 | 2714949.0368 | 1149035.7477 | 2714955.6526 | 1149040.8217 | 2714957.9198 | 1149044.3673
45 | 2714918.4259 | 1149024.3119 | 2714889.9121 | 1149019.6986 | 2714886.5512 | 1149018.5028
46 | 2714957.9198 | 1149044.3673 | 2714966.2318 | 1149057.3226
47 | 2714957.9198 | 1149044.3673 | 2714962.5344 | 1149044.4331 | 2714965.4703 | 1149046.7462 | 2714967.1526 | 1149049.3628
48 | 2714886.5512 | 1149018.5028 | 2714886.4994 | 1149018.4844
49 | 2714980.8792 | 1149070.7122 | 2714967.1526 | 1149049.3628
50 | 2714886.4994 | 1149018.4844 | 2714867.4111 | 1149011.6934
51 | 2714989.7001 | 1149078.2184 | 2714986.0211 | 1149076.6138 | 2714982.7824 | 1149073.6722 | 2714980.8792 | 1149070.7122
52 | 2714867.4111 | 1149011.6934 | 2714848.6277 | 1149005.0108
53 | 2714867.4111 | 1149011.6934 | 2714880.43 | 1148949.1596
54 | 2714991.0278 | 1149093.1537 | 2715003.7027 | 1149111.1297 | 2715007.2303 | 1149116.1369
55 | 2715007.2303 | 1149116.1369 | 2715013.6924 | 1149125.3094
56 | 2714989.7001 | 1149078.2184 | 2714990.1617 | 1149080.9957 | 2714991.7223 | 1149085.3395 | 2714996.052 | 1149091.882 | 2714998.9837 | 1149094.006 | 2715009.852 | 1149095.5811 | 2715015.432 | 1149096.9774 | 2715016.4522 | 1149097.428
57 | 2714989.7001 | 1149078.2184 | 2714993.3723 | 1149077.7659 | 2714997.7696 | 1149076.3377 | 2715007.1534 | 1149073.0379
58 | 2714848.6277 | 1149005.0108 | 2714841.9216 | 1149002.625
59 | 2715149.9284 | 1149037.9838 | 2715142.3087 | 1149023.9622 | 2715137.1547 | 1149014.7464 | 2715128.7375 | 1148993.0156 | 2715124.8937 | 1148989.184 | 2715120.3751 | 1148986.9073 | 2715109.7485 | 1148985.937
60 | 2715118.07 | 1149039.1982 | 2715126.6303 | 1149016.869 | 2715127.6377 | 1149012.7855 | 2715127.4795 | 1149010.2141 | 2715125.4905 | 1149006.5848 | 2715115.5846 | 1148996.8447 | 2715109.7485 | 1148985.937
61 | 2715059.0346 | 1149108.2705 | 2715059.9616 | 1149106.899
62 | 2715118.9022 | 1149105.8829 | 2715102.5342 | 1149095.8103
63 | 2715045.2823 | 1149123.2758 | 2715048.1693 | 1149122.1079 | 2715051.9166 | 1149120.1337 | 2715054.3218 | 1149115.243 | 2715059.0346 | 1149108.2705
64 | 2715126.5441 | 1149110.5856 | 2715118.9022 | 1149105.8829
65 | 2715016.4522 | 1149097.428 | 2715023.2161 | 1149100.4154
66 | 2715025.5691 | 1149101.7387 | 2715025.0359 | 1149101.2191 | 2715023.2161 | 1149100.4154
67 | 2715042.2666 | 1149121.0574 | 2715031.3009 | 1149112.991 | 2715028.6802 | 1149109.8611 | 2715028.1278 | 1149106.615 | 2715027.5618 | 1149103.68 | 2715025.5691 | 1149101.7387
68 | 2715045.2823 | 1149123.2758 | 2715042.2666 | 1149121.0574
69 | 2715013.6924 | 1149125.3094 | 2715013.7086 | 1149125.3324
70 | 2715026.3075 | 1149143.2159 | 2715013.7086 | 1149125.3324
71 | 2715026.3075 | 1149143.2159 | 2715013.0842 | 1149154.5851
72 | 2715026.3075 | 1149143.2159 | 2715033.2022 | 1149152.0506
73 | 2715026.3075 | 1149143.2159 | 2715033.2831 | 1149135.8854
74 | 2714829.1039 | 1148998.0649 | 2714841.9216 | 1149002.625
75 | 2715013.0842 | 1149154.5851 | 2715011.9868 | 1149155.5286 | 2715005.7955 | 1149158.3221
76 | 2715067.6538 | 1149186.2417 | 2715045.0609 | 1149164.6214 | 2715033.7593 | 1149152.7645 | 2715033.2022 | 1149152.0506
77 | 2715045.2823 | 1149123.2758 | 2715033.2831 | 1149135.8854
78 | 2714990.1913 | 1149167.8036 | 2714996.9267 | 1149162.3236 | 2715005.7955 | 1149158.3221
79 | 2715092.6604 | 1149210.1718 | 2715067.6538 | 1149186.2417
80 | 2714990.1913 | 1149167.8036 | 2714989.2891 | 1149168.5375 | 2714984.1647 | 1149172.6536 | 2714980.72 | 1149173.9393
81 | 2715092.6604 | 1149210.1718 | 2715081.8488 | 1149230.7158
82 | 2715081.8488 | 1149230.7158 | 2715075.3626 | 1149243.0409
83 | 2715027.1351 | 1149272.4069 | 2715027.1351 | 1149272.4069 | 2715026.063 | 1149274.6546 | 2715025.6797 | 1149278.2386 | 2715026.2525 | 1149280.8179 | 2715027.7016 | 1149285.7711 | 2715029.3939 | 1149288.2877
84 | 2715027.1351 | 1149272.4069 | 2715030.0669 | 1149269.6944 | 2715034.4538 | 1149266.7984 | 2715040.1075 | 1149263.9266 | 2715045.6226 | 1149260.5521
85 | 2715045.6226 | 1149260.5521 | 2715048.6011 | 1149258.7297 | 2715056.1861 | 1149256.8733 | 2715064.605 | 1149255.1884 | 2715065.948 | 1149254.6069
86 | 2715065.948 | 1149254.6069 | 2715068.6629 | 1149253.4314 | 2715071.342 | 1149250.6807 | 2715075.3626 | 1149243.0409
87 | 2715149.965 | 1149151.3714 | 2715152.9348 | 1149198.9044 | 2715153.1371 | 1149204.3897 | 2715155.3455 | 1149219.6554
88 | 2715149.965 | 1149151.3714 | 2715142.6133 | 1149155.0273
89 | 2715149.965 | 1149151.3714 | 2715148.8821 | 1149134.0947 | 2715147.2115 | 1149128.6814 | 2715144.1118 | 1149123.6966 | 2715140.0125 | 1149119.1708 | 2715136.6703 | 1149117.0413
90 | 2715124.922 | 1149163.8249 | 2715142.6133 | 1149155.0273
91 | 2715126.5441 | 1149110.5856 | 2715127.8871 | 1149111.4452 | 2715136.6703 | 1149117.0413
92 | 2715111.9629 | 1149170.2692 | 2715124.922 | 1149163.8249
93 | 2715126.5441 | 1149110.5856 | 2715130.0634 | 1149102.8588 | 2715131.3701 | 1149099.1924 | 2715131.5443 | 1149095.7045 | 2715131.3279 | 1149085.3268 | 2715129.8066 | 1149078.5265

## bus_geodata
| x | y | coords
0 | 2714268.9943 | 1149152.7281
1 | 2714793.3884 | 1148970.749
2 | 2714827.1577 | 1148997.3725
3 | 2714908.6799 | 1149094.7537
4 | 2714913.6303 | 1149095.3234
5 | 2714928.9356 | 1149101.1488
6 | 2714949.2326 | 1149118.0508
7 | 2714960.3276 | 1149079.9815
8 | 2714952.4879 | 1149118.113
9 | 2715074.0154 | 1148657.4081
10 | 2715069.8098 | 1148801.2305
11 | 2715104.5627 | 1148839.8312
12 | 2715002.9384 | 1148841.0124
13 | 2714989.31 | 1148834.6541
14 | 2714973.6565 | 1148832.613
15 | 2715096.8817 | 1148915.6999
16 | 2715104.9466 | 1148919.2674
17 | 2715062.1913 | 1148917.1719
18 | 2715126.6571 | 1148928.8709
19 | 2714951.1881 | 1148826.5911
20 | 2714957.2213 | 1148833.1023
21 | 2714972.1105 | 1148832.659
22 | 2714990.2827 | 1148941.2546
23 | 2714973.8395 | 1148927.1326
24 | 2714998.4583 | 1148954.5806
25 | 2714972.3247 | 1148926.252
26 | 2715017.1759 | 1148960.5086
27 | 2715030.0574 | 1149011.0521
28 | 2714966.7478 | 1148899.8971
29 | 2715040.8933 | 1148971.5913
30 | 2715035.1086 | 1149068.445
31 | 2715048.5775 | 1148975.1857
32 | 2715023.3197 | 1149068.0197
33 | 2715063.6436 | 1148980.3898
34 | 2715068.3039 | 1149086.0904
35 | 2715064.8294 | 1149099.6971
36 | 2715080.362 | 1149086.05
37 | 2715009.8739 | 1149072.0812
38 | 2715090.2832 | 1148984.2077
39 | 2715109.3905 | 1148985.905
40 | 2714918.2459 | 1149048.4131
41 | 2714918.4259 | 1149024.3119
42 | 2714957.9198 | 1149044.3673
43 | 2714886.5511 | 1149018.5028
44 | 2714966.2318 | 1149057.3226
45 | 2714967.1526 | 1149049.3628
46 | 2714886.4994 | 1149018.4844
47 | 2714980.8792 | 1149070.7122
48 | 2714867.4111 | 1149011.6934
49 | 2714991.0278 | 1149093.1537
50 | 2715007.2303 | 1149116.1369
51 | 2714989.7001 | 1149078.2184
52 | 2714848.6277 | 1149005.0108
53 | 2714880.43 | 1148949.1596
54 | 2715109.7485 | 1148985.937
55 | 2715149.9284 | 1149037.9838
56 | 2715118.07 | 1149039.1982
57 | 2715059.9616 | 1149106.899
58 | 2715102.5342 | 1149095.8103
59 | 2715007.1534 | 1149073.0379
60 | 2715059.0346 | 1149108.2705
61 | 2715118.9022 | 1149105.8829
62 | 2715016.4522 | 1149097.428
63 | 2715023.2161 | 1149100.4154
64 | 2715025.5691 | 1149101.7387
65 | 2715042.2666 | 1149121.0574
66 | 2715013.6924 | 1149125.3094
67 | 2714959.243 | 1149129.1603
68 | 2715013.7086 | 1149125.3324
69 | 2715026.3075 | 1149143.2159
70 | 2714841.9216 | 1149002.625
71 | 2714829.1039 | 1148998.0649
72 | 2715013.0842 | 1149154.5851
73 | 2715033.2022 | 1149152.0506
74 | 2715033.2831 | 1149135.8854
75 | 2715005.7955 | 1149158.3221
76 | 2715067.6538 | 1149186.2417
77 | 2715045.2823 | 1149123.2758
78 | 2714990.1913 | 1149167.8036
79 | 2715092.6604 | 1149210.1718
80 | 2714980.72 | 1149173.9393
81 | 2715081.8488 | 1149230.7158
82 | 2715027.1351 | 1149272.4069
83 | 2715029.3939 | 1149288.2877
84 | 2715045.6226 | 1149260.5521
85 | 2715065.948 | 1149254.6069
86 | 2715075.3626 | 1149243.0409
87 | 2715155.3455 | 1149219.6554
88 | 2715149.965 | 1149151.3714
89 | 2715142.6133 | 1149155.0273
90 | 2715136.6703 | 1149117.0413
91 | 2715124.922 | 1149163.8249
92 | 2715126.5441 | 1149110.5856
93 | 2715111.9629 | 1149170.2692
94 | 2715129.8066 | 1149078.5265
95 | 2715035.1086 | 1149068.445

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1