## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5048-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5048-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5048-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5048-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5048-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5048-1_0_3_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_5048-1_0_3_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_5048-1_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_5048-1_0_3_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_5048-1_0_3_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_5048-1_0_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_5048-1_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_5048-1_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5048-1_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5048-1_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5048-1_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5048-1_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5048-1_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5048-1_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_5048-1_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_5048-1_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5048-1_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5048-1_0_3_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_5048-1_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5048-1_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5048-1_0_3_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_5048-1_0_3_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_5048-1_0_3_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_5048-1_0_3_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_5048-1_0_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_5048-1_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5048-1_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5048-1_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5048-1_0_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_5048-1_0_3_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_5048-1_0_3_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_5048-1_0_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_5048-1_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5048-1_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5048-1_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5048-1_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_5048-1_0_3_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_5048-1_0_3_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_5048-1_0_3_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_5048-1_0_3_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_5048-1_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5048-1_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_5048-1_0_3_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_5048-1_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_5048-1_0_3_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_5048-1_0_3_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_5048-1_0_3_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_5048-1_0_3_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_5048-1_0_3_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_5048-1_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_5048-1_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_5048-1_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_5048-1_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_5048-1_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_5048-1_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_5048-1_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_5048-1_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_5048-1_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_5048-1_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_5048-1_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_5048-1_0_3_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_5048-1_0_3_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_5048-1_0_3_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_5048-1_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_5048-1_0_3_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_5048-1_0_3_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_5048-1_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_5048-1_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_5048-1_0_3_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_5048-1_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_5048-1_0_3_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_5048-1_0_3_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_5048-1_0_3_node_78 | 0.4 | n |  | TRUE
78 | bus_MV_186_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5048-1_0_3_load_0 | 0 | 0.0065939 | 0.0016526 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5048-1_0_3_load_1 | 1 | 0.0038543 | 0.00096598 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5048-1_0_3_load_2 | 2 | 0.0037475 | 0.00093921 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5048-1_0_3_load_4 | 4 | 0.0041065 | 0.0010292 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5048-1_0_3_load_26 | 5 | 0.0016395 | 0.0004109 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5048-1_0_3_load_41 | 6 | 0.0016448 | 0.00041223 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5048-1_0_3_load_15 | 7 | 0.0063718 | 0.0015969 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5048-1_0_3_load_42 | 8 | 0.006806 | 0.0017058 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5048-1_0_3_load_36 | 9 | 0.0055396 | 0.0013884 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5048-1_0_3_load_16 | 10 | 0.0028652 | 0.00071809 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5048-1_0_3_load_5 | 11 | 0.0062596 | 0.0015688 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5048-1_0_3_load_6 | 12 | 0.005355 | 0.0013421 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5048-1_0_3_load_8 | 14 | 0.0029451 | 0.00073812 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5048-1_0_3_load_9 | 15 | 0.0015217 | 0.00038138 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5048-1_0_3_load_10 | 16 | 0.0015591 | 0.00039074 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5048-1_0_3_load_13 | 17 | 0.0021153 | 0.00053014 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5048-1_0_3_load_11 | 20 | 0.0083066 | 0.0020818 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5048-1_0_3_load_18 | 21 | 0.0028516 | 0.00071467 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5048-1_0_3_load_38 | 22 | 0.0020702 | 0.00051884 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5048-1_0_3_load_12 | 23 | 0.0041257 | 0.001034 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5048-1_0_3_load_58 | 26 | 0.001558 | 0.00039046 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5048-1_0_3_load_64 | 27 | 0.0079994 | 0.0020048 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5048-1_0_3_load_47 | 28 | 0.0033533 | 0.00084042 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5048-1_0_3_load_37 | 29 | 0.0010941 | 0.0002742 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5048-1_0_3_load_19 | 30 | 0.0028333 | 0.00071009 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5048-1_0_3_load_21 | 31 | 0.0017703 | 0.00044368 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5048-1_0_3_load_55 | 33 | 0.0029583 | 0.00074141 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5048-1_0_3_load_54 | 34 | 0.002975 | 0.0007456 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5048-1_0_3_load_53 | 36 | 0.0028181 | 0.00070629 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5048-1_0_3_load_23 | 37 | 0.0010287 | 0.00025782 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5048-1_0_3_load_27 | 39 | 0.001676 | 0.00042005 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5048-1_0_3_load_28 | 40 | 0.0010621 | 0.00026619 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5048-1_0_3_load_56 | 41 | 0.0013868 | 0.00034756 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5048-1_0_3_load_60 | 42 | 0.0029421 | 0.00073736 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5048-1_0_3_load_57 | 43 | 0.0028863 | 0.00072337 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5048-1_0_3_load_61 | 44 | 0.0016018 | 0.00040145 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5048-1_0_3_load_29 | 45 | 0.0020323 | 0.00050933 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5048-1_0_3_load_30 | 46 | 0.0061153 | 0.0015326 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5048-1_0_3_load_62 | 47 | 0.0017877 | 0.00044805 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5048-1_0_3_load_59 | 49 | 0.0049849 | 0.0012493 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5048-1_0_3_load_32 | 51 | 0.0022055 | 0.00055275 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5048-1_0_3_load_33 | 52 | 0.0028272 | 0.00070857 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5048-1_0_3_load_35 | 54 | 0.0098302 | 0.0024637 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5048-1_0_3_load_40 | 56 | 0.0017961 | 0.00045015 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5048-1_0_3_load_43 | 57 | 0.0049135 | 0.0012314 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5048-1_0_3_load_44 | 58 | 0.0033549 | 0.00084083 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5048-1_0_3_load_46 | 60 | 0.0041968 | 0.0010518 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5048-1_0_3_load_48 | 61 | 0.003537 | 0.00088646 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5048-1_0_3_load_50 | 63 | 0.0028686 | 0.00071894 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5048-1_0_3_load_51 | 64 | 0.0043147 | 0.0010814 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5048-1_0_3_load_72 | 65 | 0.0014468 | 0.00036259 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5048-1_0_3_load_73 | 66 | 0.0018423 | 0.00046172 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5048-1_0_3_load_69 | 67 | 0.0023588 | 0.00059117 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5048-1_0_3_load_68 | 68 | 0.0050439 | 0.0012641 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5048-1_0_3_load_70 | 69 | 0.0047156 | 0.0011818 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5048-1_0_3_load_79 | 70 | 0.0022602 | 0.00056645 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5048-1_0_3_load_63 | 71 | 0.0048328 | 0.0012112 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5048-1_0_3_load_65 | 72 | 0.0029903 | 0.00074943 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5048-1_0_3_load_75 | 73 | 0.002046 | 0.00051279 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5048-1_0_3_load_74 | 74 | 0.00303 | 0.00075938 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5048-1_0_3_load_77 | 75 | 0.0019287 | 0.00048337 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5048-1_0_3_load_76 | 76 | 0.0027392 | 0.00068651 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5048-1_0_3_load_78 | 77 | 0.0012781 | 0.00032033 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5048-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5048-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0015549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5048-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0068328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5048-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.012571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5048-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.044773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5048-1_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.009449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5048-1_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.005871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5048-1_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.014374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5048-1_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.024366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5048-1_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0052123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5048-1_0_3_line_10 | NAYY 4x150 SE | 9 | 53 | 0.0027214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5048-1_0_3_line_11 | NAYY 4x150 SE | 10 | 19 | 0.029638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5048-1_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.005182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_5048-1_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.022408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_5048-1_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.023864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5048-1_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.025061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_5048-1_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.006616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5048-1_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.015173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_5048-1_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.028695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5048-1_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.012793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5048-1_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.0029352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_5048-1_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.030553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5048-1_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.030903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5048-1_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.016955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_5048-1_0_3_line_24 | NAYY 4x150 SE | 21 | 30 | 0.02494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5048-1_0_3_line_25 | NAYY 4x150 SE | 22 | 29 | 0.0070945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5048-1_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.02793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_5048-1_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.008179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5048-1_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_5048-1_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.027157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5048-1_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.023869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_5048-1_0_3_line_31 | NAYY 4x150 SE | 27 | 50 | 0.044617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5048-1_0_3_line_32 | NAYY 4x150 SE | 27 | 71 | 0.024677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5048-1_0_3_line_33 | NAYY 4x150 SE | 28 | 59 | 0.02203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_5048-1_0_3_line_34 | NAYY 4x150 SE | 29 | 55 | 0.0075327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5048-1_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.0067324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5048-1_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.033565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5048-1_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.014988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5048-1_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0069731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5048-1_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.0080321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5048-1_0_3_line_40 | NAYY 4x150 SE | 35 | 65 | 0.0068196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5048-1_0_3_line_41 | NAYY 4x150 SE | 35 | 66 | 0.0062535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5048-1_0_3_line_42 | NAYY 4x150 SE | 36 | 62 | 0.027758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5048-1_0_3_line_43 | NAYY 4x150 SE | 37 | 38 | 0.016074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5048-1_0_3_line_44 | NAYY 4x150 SE | 38 | 39 | 0.014173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5048-1_0_3_line_45 | NAYY 4x150 SE | 38 | 40 | 0.0033011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5048-1_0_3_line_46 | NAYY 4x150 SE | 39 | 41 | 0.0082875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5048-1_0_3_line_47 | NAYY 4x150 SE | 40 | 42 | 0.0099591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5048-1_0_3_line_48 | NAYY 4x150 SE | 41 | 43 | 0.025099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5048-1_0_3_line_49 | NAYY 4x150 SE | 42 | 44 | 0.012195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5048-1_0_3_line_50 | NAYY 4x150 SE | 43 | 67 | 0.004732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5048-1_0_3_line_51 | NAYY 4x150 SE | 44 | 69 | 0.01476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5048-1_0_3_line_52 | NAYY 4x150 SE | 45 | 46 | 0.040147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5048-1_0_3_line_53 | NAYY 4x150 SE | 45 | 47 | 0.08301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5048-1_0_3_line_54 | NAYY 4x150 SE | 46 | 48 | 0.024225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5048-1_0_3_line_55 | NAYY 4x150 SE | 48 | 49 | 0.014441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5048-1_0_3_line_56 | NAYY 4x150 SE | 49 | 50 | 0.023134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5048-1_0_3_line_57 | NAYY 4x150 SE | 50 | 68 | 0.018398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5048-1_0_3_line_58 | NAYY 4x150 SE | 51 | 52 | 0.004261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5048-1_0_3_line_59 | NAYY 4x150 SE | 51 | 53 | 0.015862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5048-1_0_3_line_60 | NAYY 4x150 SE | 52 | 54 | 0.02037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5048-1_0_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.008091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5048-1_0_3_line_62 | NAYY 4x150 SE | 57 | 58 | 0.014448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_5048-1_0_3_line_63 | NAYY 4x150 SE | 57 | 59 | 0.019082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_5048-1_0_3_line_64 | NAYY 4x150 SE | 58 | 60 | 0.026954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_5048-1_0_3_line_65 | NAYY 4x150 SE | 59 | 61 | 0.0041353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5048-1_0_3_line_66 | NAYY 4x150 SE | 60 | 62 | 0.0057615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5048-1_0_3_line_67 | NAYY 4x150 SE | 62 | 63 | 0.012917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5048-1_0_3_line_68 | NAYY 4x150 SE | 63 | 64 | 0.019215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5048-1_0_3_line_69 | NAYY 4x150 SE | 65 | 74 | 0.0099374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5048-1_0_3_line_70 | NAYY 4x150 SE | 66 | 75 | 0.0038413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5048-1_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.0065691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5048-1_0_3_line_72 | NAYY 4x150 SE | 70 | 73 | 3.4726e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5048-1_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.0055871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5048-1_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.011912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5048-1_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.01261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5048-1_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.054617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5048-1_0_3_trafo_9 | 0.25 MVA 20/0.4 kV | 78 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2716427.9092 | 1144149.8603 | 2716417.918 | 1144158.3858
1 | 2716427.9092 | 1144149.8603 | 2716429.092 | 1144148.851
2 | 2716412.7203 | 1144162.821 | 2716417.918 | 1144158.3858
3 | 2716438.6547 | 1144140.6912 | 2716429.092 | 1144148.851
4 | 2716412.7203 | 1144162.821 | 2716425.5487 | 1144175.9885 | 2716426.5407 | 1144177.9534 | 2716426.515 | 1144179.2872 | 2716425.5653 | 1144180.3028 | 2716422.9238 | 1144183.7431 | 2716422.9019 | 1144184.8767 | 2716423.3989 | 1144185.8092 | 2716433.0356 | 1144193.8895 | 2716434.0242 | 1144196.0322
5 | 2716405.5222 | 1144168.964 | 2716412.7203 | 1144162.821
6 | 2716438.6547 | 1144140.6912 | 2716438.7771 | 1144140.5868 | 2716443.0311 | 1144136.7776
7 | 2716405.5222 | 1144168.964 | 2716415.4861 | 1144179.3245
8 | 2716405.5222 | 1144168.964 | 2716403.6039 | 1144170.7837 | 2716388.6744 | 1144186.5614
9 | 2716446.9141 | 1144133.3005 | 2716443.0311 | 1144136.7776
10 | 2716386.8039 | 1144188.5381 | 2716388.6744 | 1144186.5614
11 | 2716468.9936 | 1144113.5297 | 2716446.9141 | 1144133.3005
12 | 2716499.9985 | 1144085.471 | 2716503.8257 | 1144081.9774
13 | 2716483.4489 | 1144100.5779 | 2716499.9985 | 1144085.471
14 | 2716503.8257 | 1144081.9774 | 2716521.4509 | 1144065.8886
15 | 2716483.4489 | 1144100.5779 | 2716502.2394 | 1144117.1601
16 | 2716483.4489 | 1144100.5779 | 2716478.5215 | 1144104.9929
17 | 2716532.6573 | 1144055.6591 | 2716521.4509 | 1144065.8886
18 | 2716523.7548 | 1144136.1469 | 2716502.2394 | 1144117.1601
19 | 2716468.9936 | 1144113.5297 | 2716478.5215 | 1144104.9929
20 | 2716532.6573 | 1144055.6591 | 2716534.8251 | 1144053.6802
21 | 2716523.7548 | 1144136.1469 | 2716505.6079 | 1144160.7268
22 | 2716468.9936 | 1144113.5297 | 2716449.7975 | 1144089.3116
23 | 2716534.8251 | 1144053.6802 | 2716547.3473 | 1144042.2496
24 | 2716490.7945 | 1144180.7915 | 2716505.6079 | 1144160.7268
25 | 2716445.3906 | 1144083.7518 | 2716449.7975 | 1144089.3116
26 | 2716567.9808 | 1144023.4257 | 2716557.3312 | 1144033.1375 | 2716549.9522 | 1144039.8773 | 2716547.8709 | 1144041.7716 | 2716547.3473 | 1144042.2496
27 | 2716573.713 | 1144017.577 | 2716567.9808 | 1144023.4257
28 | 2716567.9808 | 1144023.4257 | 2716570.6406 | 1144026.2012 | 2716589.7382 | 1144046.0659
29 | 2716573.713 | 1144017.577 | 2716555.0473 | 1143997.803
30 | 2716606.2806 | 1144063.2728 | 2716589.7382 | 1144046.0659
31 | 2716524.3741 | 1143965.3219 | 2716555.0473 | 1143997.803
32 | 2716555.0473 | 1143997.803 | 2716537.5251 | 1144015.1791
33 | 2716621.5486 | 1144079.154 | 2716606.2806 | 1144063.2728
34 | 2716440.7115 | 1144077.8486 | 2716445.3906 | 1144083.7518
35 | 2716490.7945 | 1144180.7915 | 2716486.7958 | 1144186.2077
36 | 2716541.0655 | 1144162.777 | 2716547.3108 | 1144186.4358 | 2716541.5488 | 1144193.4741
37 | 2716541.0655 | 1144162.777 | 2716549.7292 | 1144150.5463
38 | 2716537.1316 | 1144198.8697 | 2716541.5488 | 1144193.4741
39 | 2716549.7292 | 1144150.5463 | 2716552.6187 | 1144146.467 | 2716554.0088 | 1144143.7713
40 | 2716537.1316 | 1144198.8697 | 2716530.8688 | 1144201.5687
41 | 2716537.1316 | 1144198.8697 | 2716542.8419 | 1144201.4191
42 | 2716571.8829 | 1144122.9457 | 2716557.7618 | 1144136.493 | 2716554.0088 | 1144143.7713
43 | 2716483.116 | 1144245.1018 | 2716475.7966 | 1144240.0238 | 2716470.5181 | 1144235.1785
44 | 2716483.116 | 1144245.1018 | 2716483.4938 | 1144252.2028 | 2716480.4008 | 1144258.5515
45 | 2716483.116 | 1144245.1018 | 2716485.7374 | 1144243.0956
46 | 2716480.4008 | 1144258.5515 | 2716480.1721 | 1144259.021 | 2716475.891 | 1144265.4994
47 | 2716485.7374 | 1144243.0956 | 2716488.7794 | 1144233.6124
48 | 2716459.9432 | 1144284.8611 | 2716474.5423 | 1144267.5402 | 2716475.891 | 1144265.4994
49 | 2716488.7794 | 1144233.6124 | 2716491.4548 | 1144225.2718 | 2716493.2356 | 1144222.3338
50 | 2716459.9432 | 1144284.8611 | 2716456.8935 | 1144288.4793
51 | 2716505.591 | 1144214.5998 | 2716497.5738 | 1144218.8857 | 2716494.0193 | 1144221.0407 | 2716493.2356 | 1144222.3338
52 | 2716480.7359 | 1143978.1915 | 2716472.8623 | 1143971.7759 | 2716470.0918 | 1143970.3548 | 2716460.5665 | 1143966.8352 | 2716457.8715 | 1143965.082 | 2716447.6416 | 1143956.262
53 | 2716447.6416 | 1143956.262 | 2716414.4712 | 1143880.1679
54 | 2716499.5159 | 1143993.4941 | 2716480.7359 | 1143978.1915
55 | 2716499.5159 | 1143993.4941 | 2716509.1985 | 1143982.9073 | 2716509.2597 | 1143982.8363
56 | 2716524.3741 | 1143965.3219 | 2716509.2597 | 1143982.8363
57 | 2716524.3741 | 1143965.3219 | 2716536.0729 | 1143951.122
58 | 2716373.3162 | 1144203.4718 | 2716373.4042 | 1144203.3674 | 2716376.1694 | 1144200.3072
59 | 2716386.8039 | 1144188.5381 | 2716376.1694 | 1144200.3072
60 | 2716373.3162 | 1144203.4718 | 2716360.1933 | 1144219.0515
61 | 2716440.7115 | 1144077.8486 | 2716434.2014 | 1144073.0443
62 | 2716607.6812 | 1144092.2619 | 2716607.2667 | 1144092.6537 | 2716596.6289 | 1144101.5662
63 | 2716621.5486 | 1144079.154 | 2716607.6812 | 1144092.2619
64 | 2716596.6289 | 1144101.5662 | 2716577.3025 | 1144117.7581 | 2716576.045 | 1144118.9617
65 | 2716621.5486 | 1144079.154 | 2716624.7017 | 1144076.4785
66 | 2716571.8829 | 1144122.9457 | 2716576.045 | 1144118.9617
67 | 2716571.8829 | 1144122.9457 | 2716575.0788 | 1144127.4105 | 2716580.0065 | 1144132.9669
68 | 2716593.7848 | 1144146.2735 | 2716586.5359 | 1144140.3294 | 2716580.0065 | 1144132.9669
69 | 2716530.8688 | 1144201.5687 | 2716526.2179 | 1144203.5731 | 2716521.9205 | 1144205.8704
70 | 2716542.8419 | 1144201.4191 | 2716546.3495 | 1144202.9852
71 | 2716511.3843 | 1144211.5028 | 2716505.591 | 1144214.5998
72 | 2716511.3843 | 1144211.5028 | 2716511.4149 | 1144211.4865
73 | 2716533.5579 | 1144019.1132 | 2716537.5251 | 1144015.1791
74 | 2716521.9205 | 1144205.8704 | 2716511.4149 | 1144211.4865
75 | 2716558.0877 | 1144201.1557 | 2716553.7497 | 1144203.6606 | 2716548.4029 | 1144203.9019 | 2716546.3495 | 1144202.9852
76 | 2716558.0877 | 1144201.1557 | 2716564.034 | 1144197.722 | 2716573.4626 | 1144195.8808 | 2716582.9788 | 1144195.8758 | 2716591.7448 | 1144199.6811 | 2716606.8618 | 1144211.3085

## bus_geodata
| x | y | coords
0 | 2716427.9092 | 1144149.8603
1 | 2716417.918 | 1144158.3858
2 | 2716429.092 | 1144148.851
3 | 2716412.7203 | 1144162.821
4 | 2716438.6547 | 1144140.6912
5 | 2716434.0242 | 1144196.0322
6 | 2716405.5222 | 1144168.964
7 | 2716443.0311 | 1144136.7776
8 | 2716415.4861 | 1144179.3245
9 | 2716388.6744 | 1144186.5614
10 | 2716446.9141 | 1144133.3005
11 | 2716499.9985 | 1144085.471
12 | 2716503.8257 | 1144081.9774
13 | 2716483.4489 | 1144100.5779
14 | 2716521.4509 | 1144065.8886
15 | 2716502.2394 | 1144117.1601
16 | 2716478.5215 | 1144104.9929
17 | 2716532.6573 | 1144055.6591
18 | 2716523.7548 | 1144136.1469
19 | 2716468.9936 | 1144113.5297
20 | 2716534.8251 | 1144053.6802
21 | 2716505.6079 | 1144160.7268
22 | 2716449.7975 | 1144089.3116
23 | 2716547.3473 | 1144042.2496
24 | 2716567.9808 | 1144023.4257
25 | 2716573.713 | 1144017.577
26 | 2716589.7382 | 1144046.0659
27 | 2716555.0473 | 1143997.803
28 | 2716606.2806 | 1144063.2728
29 | 2716445.3906 | 1144083.7518
30 | 2716490.7945 | 1144180.7915
31 | 2716486.7958 | 1144186.2077
32 | 2716541.0655 | 1144162.777
33 | 2716541.5488 | 1144193.4741
34 | 2716549.7292 | 1144150.5463
35 | 2716537.1316 | 1144198.8697
36 | 2716554.0088 | 1144143.7713
37 | 2716470.5181 | 1144235.1785
38 | 2716483.116 | 1144245.1018
39 | 2716480.4008 | 1144258.5515
40 | 2716485.7374 | 1144243.0956
41 | 2716475.891 | 1144265.4994
42 | 2716488.7794 | 1144233.6124
43 | 2716459.9432 | 1144284.8611
44 | 2716493.2356 | 1144222.3338
45 | 2716447.6416 | 1143956.262
46 | 2716480.7359 | 1143978.1915
47 | 2716414.4712 | 1143880.1679
48 | 2716499.516 | 1143993.4941
49 | 2716509.2597 | 1143982.8363
50 | 2716524.3741 | 1143965.3219
51 | 2716376.1694 | 1144200.3072
52 | 2716373.3162 | 1144203.4718
53 | 2716386.8039 | 1144188.5381
54 | 2716360.1933 | 1144219.0515
55 | 2716440.7115 | 1144077.8486
56 | 2716434.2014 | 1144073.0443
57 | 2716607.6812 | 1144092.2619
58 | 2716596.6289 | 1144101.5662
59 | 2716621.5486 | 1144079.154
60 | 2716576.045 | 1144118.9617
61 | 2716624.7017 | 1144076.4785
62 | 2716571.883 | 1144122.9457
63 | 2716580.0065 | 1144132.9669
64 | 2716593.7848 | 1144146.2735
65 | 2716530.8688 | 1144201.5687
66 | 2716542.8419 | 1144201.4191
67 | 2716456.8935 | 1144288.4793
68 | 2716536.0729 | 1143951.122
69 | 2716505.5911 | 1144214.5998
70 | 2716511.3843 | 1144211.5028
71 | 2716537.5251 | 1144015.1791
72 | 2716533.5579 | 1144019.1132
73 | 2716511.4149 | 1144211.4865
74 | 2716521.9205 | 1144205.8704
75 | 2716546.3495 | 1144202.9852
76 | 2716558.0877 | 1144201.1557
77 | 2716606.8618 | 1144211.3085
78 | 2716502.2394 | 1144117.1601

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1