## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5048-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5048-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5048-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5048-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5048-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5048-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5048-4_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5048-4_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5048-4_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5048-4_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_5048-4_0_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_5048-4_0_3_node_105 | 0.4 | n |  | TRUE
12 | bus_LV_5048-4_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5048-4_0_3_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_5048-4_0_3_node_132 | 0.4 | n |  | TRUE
15 | bus_LV_5048-4_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_5048-4_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_5048-4_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_5048-4_0_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_5048-4_0_3_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_5048-4_0_3_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_5048-4_0_3_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_5048-4_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_5048-4_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5048-4_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_5048-4_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_5048-4_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_5048-4_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5048-4_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5048-4_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5048-4_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5048-4_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5048-4_0_3_node_123 | 0.4 | n |  | TRUE
33 | bus_LV_5048-4_0_3_node_102 | 0.4 | n |  | TRUE
34 | bus_LV_5048-4_0_3_node_125 | 0.4 | n |  | TRUE
35 | bus_LV_5048-4_0_3_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_5048-4_0_3_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_5048-4_0_3_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_5048-4_0_3_node_104 | 0.4 | n |  | TRUE
39 | bus_LV_5048-4_0_3_node_128 | 0.4 | n |  | TRUE
40 | bus_LV_5048-4_0_3_node_110 | 0.4 | n |  | TRUE
41 | bus_LV_5048-4_0_3_node_108 | 0.4 | n |  | TRUE
42 | bus_LV_5048-4_0_3_node_109 | 0.4 | n |  | TRUE
43 | bus_LV_5048-4_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5048-4_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_5048-4_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5048-4_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_5048-4_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_5048-4_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5048-4_0_3_node_98 | 0.4 | n |  | TRUE
50 | bus_LV_5048-4_0_3_node_99 | 0.4 | n |  | TRUE
51 | bus_LV_5048-4_0_3_node_100 | 0.4 | n |  | TRUE
52 | bus_LV_5048-4_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_5048-4_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_5048-4_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5048-4_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_5048-4_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_5048-4_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_5048-4_0_3_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_5048-4_0_3_node_94 | 0.4 | n |  | TRUE
60 | bus_LV_5048-4_0_3_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_5048-4_0_3_node_118 | 0.4 | n |  | TRUE
62 | bus_LV_5048-4_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_5048-4_0_3_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_5048-4_0_3_node_93 | 0.4 | n |  | TRUE
65 | bus_LV_5048-4_0_3_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_5048-4_0_3_node_111 | 0.4 | n |  | TRUE
67 | bus_LV_5048-4_0_3_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_5048-4_0_3_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_5048-4_0_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_5048-4_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_5048-4_0_3_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_5048-4_0_3_node_122 | 0.4 | n |  | TRUE
73 | bus_LV_5048-4_0_3_node_103 | 0.4 | n |  | TRUE
74 | bus_LV_5048-4_0_3_node_112 | 0.4 | n |  | TRUE
75 | bus_LV_5048-4_0_3_node_126 | 0.4 | n |  | TRUE
76 | bus_LV_5048-4_0_3_node_116 | 0.4 | n |  | TRUE
77 | bus_LV_5048-4_0_3_node_101 | 0.4 | n |  | TRUE
78 | bus_LV_5048-4_0_3_node_120 | 0.4 | n |  | TRUE
79 | bus_LV_5048-4_0_3_node_113 | 0.4 | n |  | TRUE
80 | bus_LV_5048-4_0_3_node_114 | 0.4 | n |  | TRUE
81 | bus_LV_5048-4_0_3_node_115 | 0.4 | n |  | TRUE
82 | bus_LV_5048-4_0_3_node_117 | 0.4 | n |  | TRUE
83 | bus_LV_5048-4_0_3_node_119 | 0.4 | n |  | TRUE
84 | bus_LV_5048-4_0_3_node_129 | 0.4 | n |  | TRUE
85 | bus_MV_185_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5048-4_0_3_load_0 | 0 | 0.002874 | 0.0007203 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5048-4_0_3_load_1 | 1 | 0.0073541 | 0.0018431 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5048-4_0_3_load_2 | 2 | 0.0017597 | 0.00044101 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5048-4_0_3_load_6 | 6 | 0.0019077 | 0.00047812 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5048-4_0_3_load_7 | 7 | 0.00077231 | 0.00019356 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5048-4_0_3_load_25 | 9 | 0.00047703 | 0.00011956 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5048-4_0_3_load_105 | 11 | 0.00074173 | 0.00018589 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5048-4_0_3_load_51 | 13 | 0.00093543 | 0.00023444 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5048-4_0_3_load_132 | 14 | 0.001391 | 0.00034862 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5048-4_0_3_load_21 | 16 | 0.0057992 | 0.0014534 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5048-4_0_3_load_22 | 17 | 0.0017856 | 0.0004475 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5048-4_0_3_load_78 | 19 | 0.0016939 | 0.00042452 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5048-4_0_3_load_10 | 22 | 0.005519 | 0.0013832 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5048-4_0_3_load_14 | 26 | 0.0011353 | 0.00028454 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5048-4_0_3_load_17 | 28 | 0.0009177 | 0.00023 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5048-4_0_3_load_19 | 30 | 0.003338 | 0.00083659 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5048-4_0_3_load_20 | 31 | 0.00074177 | 0.00018591 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5048-4_0_3_load_123 | 32 | 0.0052875 | 0.0013252 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5048-4_0_3_load_62 | 35 | 0.00020443 | 5.1234e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5048-4_0_3_load_59 | 36 | 0.0017551 | 0.00043987 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5048-4_0_3_load_60 | 37 | 0.0014593 | 0.00036573 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5048-4_0_3_load_104 | 38 | 0.00040305 | 0.00010101 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5048-4_0_3_load_128 | 39 | 0.0008204 | 0.00020561 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5048-4_0_3_load_108 | 41 | 0.00033158 | 8.3103e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5048-4_0_3_load_109 | 42 | 0.00037478 | 9.3929e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5048-4_0_3_load_38 | 43 | 0.0010457 | 0.00026207 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5048-4_0_3_load_39 | 44 | 0.001567 | 0.00039273 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5048-4_0_3_load_40 | 45 | 0.0012779 | 0.00032027 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5048-4_0_3_load_41 | 46 | 0.0033016 | 0.00082747 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5048-4_0_3_load_42 | 47 | 0.0010381 | 0.00026016 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5048-4_0_3_load_43 | 48 | 0.0014834 | 0.00037178 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5048-4_0_3_load_99 | 50 | 0.0014918 | 0.00037387 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5048-4_0_3_load_100 | 51 | 0.0016612 | 0.00041634 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5048-4_0_3_load_44 | 52 | 0.0008339 | 0.00020899 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5048-4_0_3_load_45 | 53 | 0.0018186 | 0.00045578 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5048-4_0_3_load_46 | 54 | 0.00077957 | 0.00019538 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5048-4_0_3_load_47 | 55 | 0.0019722 | 0.00049429 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5048-4_0_3_load_49 | 56 | 0.0017167 | 0.00043024 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5048-4_0_3_load_50 | 57 | 0.00057385 | 0.00014382 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5048-4_0_3_load_63 | 58 | 0.0016262 | 0.00040756 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5048-4_0_3_load_94 | 59 | 0.00036209 | 9.0748e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5048-4_0_3_load_65 | 62 | 0.0014214 | 0.00035623 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5048-4_0_3_load_66 | 63 | 0.00073718 | 0.00018475 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5048-4_0_3_load_111 | 66 | 0.0021003 | 0.00052639 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5048-4_0_3_load_67 | 68 | 0.0033302 | 0.00083463 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5048-4_0_3_load_68 | 69 | 0.0011328 | 0.00028392 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5048-4_0_3_load_72 | 71 | 0.00065523 | 0.00016422 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5048-4_0_3_load_122 | 72 | 0.011914 | 0.002986 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5048-4_0_3_load_103 | 73 | 0.018608 | 0.0046636 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5048-4_0_3_load_112 | 74 | 0.0009303 | 0.00023316 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5048-4_0_3_load_126 | 75 | 0.0010942 | 0.00027423 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5048-4_0_3_load_101 | 77 | 0.00094128 | 0.00023591 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5048-4_0_3_load_120 | 78 | 0.00041247 | 0.00010337 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5048-4_0_3_load_113 | 79 | 0.001135 | 0.00028445 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5048-4_0_3_load_114 | 80 | 0.0015944 | 0.0003996 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5048-4_0_3_load_117 | 82 | 0.0011815 | 0.0002961 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5048-4_0_3_load_119 | 83 | 0.00095428 | 0.00023917 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5048-4_0_3_load_129 | 84 | 0.00053842 | 0.00013494 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5048-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_5048-4_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.031379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_5048-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.03262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_5048-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.063798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5048-4_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.029849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_5048-4_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.017452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5048-4_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.016619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5048-4_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.078941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5048-4_0_3_line_8 | NAYY 4x150 SE | 5 | 11 | 0.083857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5048-4_0_3_line_9 | NAYY 4x150 SE | 8 | 12 | 0.074243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5048-4_0_3_line_10 | NAYY 4x150 SE | 8 | 13 | 0.038504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5048-4_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.081129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5048-4_0_3_line_12 | NAYY 4x150 SE | 10 | 18 | 0.042569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5048-4_0_3_line_13 | NAYY 4x150 SE | 10 | 17 | 0.020199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5048-4_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.014485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5048-4_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.018051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5048-4_0_3_line_16 | NAYY 4x150 SE | 13 | 21 | 0.023626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_5048-4_0_3_line_17 | NAYY 4x150 SE | 15 | 25 | 0.002918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5048-4_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0086597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5048-4_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.031995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5048-4_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.10824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5048-4_0_3_line_21 | NAYY 4x150 SE | 20 | 35 | 0.062074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5048-4_0_3_line_22 | NAYY 4x150 SE | 20 | 37 | 0.031435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5048-4_0_3_line_23 | NAYY 4x150 SE | 21 | 57 | 0.018563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5048-4_0_3_line_24 | NAYY 4x150 SE | 21 | 54 | 0.0028425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_5048-4_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.02156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5048-4_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.019577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5048-4_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.037588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5048-4_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.017476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5048-4_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.03922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5048-4_0_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.040544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5048-4_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.023054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5048-4_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.042869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5048-4_0_3_line_33 | NAYY 4x150 SE | 27 | 31 | 0.031369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5048-4_0_3_line_34 | NAYY 4x150 SE | 28 | 32 | 0.010025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5048-4_0_3_line_35 | NAYY 4x150 SE | 29 | 33 | 0.070326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5048-4_0_3_line_36 | NAYY 4x150 SE | 30 | 34 | 0.0044614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5048-4_0_3_line_37 | NAYY 4x150 SE | 30 | 35 | 0.11824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5048-4_0_3_line_38 | NAYY 4x150 SE | 33 | 38 | 0.0095526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5048-4_0_3_line_39 | NAYY 4x150 SE | 34 | 39 | 0.023885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5048-4_0_3_line_40 | NAYY 4x150 SE | 35 | 40 | 0.068644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5048-4_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.00035886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5048-4_0_3_line_42 | NAYY 4x150 SE | 38 | 78 | 0.017151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5048-4_0_3_line_43 | NAYY 4x150 SE | 39 | 84 | 0.02711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5048-4_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.056594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5048-4_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.040471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5048-4_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.010252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5048-4_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.041775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5048-4_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.0057241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5048-4_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.0062853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5048-4_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.015925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5048-4_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.025193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5048-4_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.018466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5048-4_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.015482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5048-4_0_3_line_54 | NAYY 4x150 SE | 50 | 77 | 0.026472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5048-4_0_3_line_55 | NAYY 4x150 SE | 51 | 64 | 0.012591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5048-4_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.058229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_5048-4_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.035271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5048-4_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.010451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_5048-4_0_3_line_59 | NAYY 4x150 SE | 55 | 56 | 0.017939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_5048-4_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.029914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_5048-4_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.0016455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5048-4_0_3_line_62 | NAYY 4x150 SE | 58 | 60 | 0.014457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5048-4_0_3_line_63 | NAYY 4x150 SE | 59 | 61 | 0.016717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5048-4_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.043834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5048-4_0_3_line_65 | NAYY 4x150 SE | 60 | 63 | 0.0090238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5048-4_0_3_line_66 | NAYY 4x150 SE | 61 | 75 | 0.019316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5048-4_0_3_line_67 | NAYY 4x150 SE | 61 | 76 | 0.066188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5048-4_0_3_line_68 | NAYY 4x150 SE | 62 | 64 | 0.011193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5048-4_0_3_line_69 | NAYY 4x150 SE | 63 | 65 | 0.0037724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5048-4_0_3_line_70 | NAYY 4x150 SE | 64 | 66 | 0.01374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5048-4_0_3_line_71 | NAYY 4x150 SE | 65 | 67 | 0.034612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5048-4_0_3_line_72 | NAYY 4x150 SE | 65 | 68 | 0.03461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5048-4_0_3_line_73 | NAYY 4x150 SE | 66 | 74 | 0.018925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5048-4_0_3_line_74 | NAYY 4x150 SE | 67 | 72 | 0.031874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5048-4_0_3_line_75 | NAYY 4x150 SE | 68 | 69 | 0.044781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5048-4_0_3_line_76 | NAYY 4x150 SE | 69 | 70 | 0.20219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5048-4_0_3_line_77 | NAYY 4x150 SE | 70 | 71 | 0.029636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5048-4_0_3_line_78 | NAYY 4x150 SE | 72 | 73 | 0.021005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5048-4_0_3_line_79 | NAYY 4x150 SE | 76 | 80 | 0.00497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5048-4_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.02885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5048-4_0_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.016843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5048-4_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.016885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5048-4_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.041638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5048-4_0_3_trafo_5 | 0.25 MVA 20/0.4 kV | 85 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2715405.2546 | 1145485.1126 | 2715396.0347 | 1145497.5964
1 | 2715405.2546 | 1145485.1126 | 2715405.2546 | 1145485.1126 | 2715415.7265 | 1145465.5889 | 2715419.2904 | 1145457.081
2 | 2715376.6554 | 1145523.8358 | 2715396.0347 | 1145497.5964
3 | 2715437.3082 | 1145396.0554 | 2715436.3539 | 1145400.5402 | 2715432.6356 | 1145417.3247 | 2715426.3164 | 1145440.308 | 2715419.2904 | 1145457.081
4 | 2715376.6554 | 1145523.8358 | 2715372.0325 | 1145530.0848 | 2715359.7463 | 1145548.451
5 | 2715376.6554 | 1145523.8358 | 2715390.9043 | 1145533.9121
6 | 2715437.3082 | 1145396.0554 | 2715440.779 | 1145379.8029
7 | 2715366.4517 | 1145385.6371 | 2715379.0264 | 1145392.7602 | 2715385.846 | 1145398.6279 | 2715391.192 | 1145403.1888 | 2715395.552 | 1145405.4626 | 2715404.1975 | 1145406.6733 | 2715408.4782 | 1145405.8658 | 2715425.0239 | 1145399.8562 | 2715437.3082 | 1145396.0554
8 | 2715359.7463 | 1145548.451 | 2715357.1041 | 1145552.3919 | 2715351.3683 | 1145560.9769 | 2715344.6362 | 1145576.2472 | 2715340.0951 | 1145593.8832 | 2715338.0599 | 1145614.2913 | 2715337.9988 | 1145627.1209 | 2715338.0382 | 1145627.6681
9 | 2715366.4517 | 1145385.6371 | 2715379.0264 | 1145392.7602 | 2715385.846 | 1145398.6279 | 2715391.192 | 1145403.1888 | 2715395.552 | 1145405.4626 | 2715389.5049 | 1145411.829 | 2715381.5891 | 1145419.8718 | 2715374.355 | 1145427.2272 | 2715368.4142 | 1145433.262
10 | 2715366.4517 | 1145385.6371 | 2715348.7143 | 1145375.6133 | 2715342.6334 | 1145369.6931 | 2715337.3358 | 1145361.6348
11 | 2715572.9565 | 1145573.2163 | 2715596.9144 | 1145531.7255 | 2715611.4399 | 1145506.8317 | 2715613.5568 | 1145502.9788
12 | 2715551.6617 | 1145610.0996 | 2715572.9565 | 1145573.2163
13 | 2715572.9565 | 1145573.2163 | 2715579.8674 | 1145576.7067 | 2715590.9921 | 1145582.3116
14 | 2715339.588 | 1145642.0613 | 2715338.533 | 1145634.5472 | 2715338.0382 | 1145627.6681
15 | 2715383.8796 | 1145441.9303 | 2715376.7152 | 1145439.2248 | 2715373.0302 | 1145437.82 | 2715368.4142 | 1145433.262
16 | 2715321.6874 | 1145344.6091 | 2715325.1983 | 1145346.2774 | 2715328.1977 | 1145348.5696 | 2715330.7374 | 1145351.5979 | 2715337.3358 | 1145361.6348
17 | 2715339.588 | 1145642.0613 | 2715336.7681 | 1145642.8412
18 | 2715598.7258 | 1145586.208 | 2715590.9921 | 1145582.3116
19 | 2715551.6617 | 1145610.0996 | 2715560.0059 | 1145614.1844 | 2715580.4039 | 1145624.1559
20 | 2715551.6617 | 1145610.0996 | 2715535.2648 | 1145642.8407 | 2715531.2137 | 1145650.924 | 2715515.6081 | 1145682.0904 | 2715502.5053 | 1145706.5669
21 | 2715502.5053 | 1145706.5669 | 2715489.7851 | 1145730.3392 | 2715486.7831 | 1145738.6206 | 2715484.8075 | 1145748.6784 | 2715484.6224 | 1145764.7311
22 | 2715502.5053 | 1145706.5669 | 2715510.7261 | 1145710.6715 | 2715530.6329 | 1145720.6019
23 | 2715321.6874 | 1145344.6091 | 2715327.284 | 1145333.2641 | 2715328.0732 | 1145330.1771 | 2715328.3294 | 1145327.4629
24 | 2715321.6874 | 1145344.6091 | 2715320.4764 | 1145347.1807
25 | 2715336.1953 | 1145679.5993 | 2715337.3411 | 1145694.8202 | 2715336.4017 | 1145701.0459
26 | 2715330.4857 | 1145719.35 | 2715334.7448 | 1145712.0265 | 2715336.4017 | 1145701.0459
27 | 2715336.1953 | 1145679.5993 | 2715333.6381 | 1145651.3982 | 2715334.3851 | 1145646.8983 | 2715336.7681 | 1145642.8412
28 | 2715330.4857 | 1145719.35 | 2715321.7379 | 1145723.9079 | 2715314.6243 | 1145726.6157
29 | 2715366.7843 | 1145728.7728 | 2715360.4105 | 1145728.1393 | 2715352.8965 | 1145722.0359 | 2715341.6404 | 1145717.9179 | 2715330.4857 | 1145719.35
30 | 2715336.7681 | 1145642.8412 | 2715304.1835 | 1145650.5455 | 2715301.5767 | 1145652.2412 | 2715299.6586 | 1145655.6957
31 | 2715296.0969 | 1145739.4392 | 2715297.2261 | 1145739.4608 | 2715300.0462 | 1145737.4578 | 2715303.8429 | 1145733.0163 | 2715310.9469 | 1145728.0154 | 2715314.6243 | 1145726.6157
32 | 2715366.7843 | 1145728.7728 | 2715368.008 | 1145744.3288 | 2715367.9515 | 1145752.0996 | 2715367.8733 | 1145762.2048 | 2715366.574 | 1145771.5028
33 | 2715366.7843 | 1145728.7728 | 2715366.2197 | 1145726.1491 | 2715363.8262 | 1145715.0959 | 2715358.4857 | 1145698.5612
34 | 2715296.7928 | 1145665.3029 | 2715299.6586 | 1145655.6957
35 | 2715254.1618 | 1145690.8273 | 2715264.744 | 1145697.2338 | 2715275.5643 | 1145703.6449 | 2715279.6864 | 1145708.3046 | 2715286.1264 | 1145734.801 | 2715287.6822 | 1145737.4325 | 2715290.0188 | 1145739.0116 | 2715294.4453 | 1145739.4076 | 2715296.0969 | 1145739.4392
36 | 2715365.8896 | 1145775.9094 | 2715366.0835 | 1145775.0125 | 2715366.574 | 1145771.5028
37 | 2715366.574 | 1145771.5028 | 2715484.6224 | 1145764.7311
38 | 2715254.1618 | 1145690.8273 | 2715254.5571 | 1145700.3717
39 | 2715365.8896 | 1145775.9094 | 2715358.9718 | 1145768.372 | 2715352.1154 | 1145760.4355 | 2715349.4813 | 1145758.6788
40 | 2715481.3429 | 1145833.2352 | 2715482.661 | 1145823.7986 | 2715484.2619 | 1145795.9995 | 2715484.6224 | 1145764.7311
41 | 2715530.9541 | 1145720.7621 | 2715530.6329 | 1145720.6019
42 | 2715254.5571 | 1145700.3717 | 2715255.267 | 1145717.5079
43 | 2715334.706 | 1145765.4504 | 2715332.5126 | 1145761.6058 | 2715332.7711 | 1145758.9423 | 2715334.0591 | 1145756.2874 | 2715335.9398 | 1145754.7891 | 2715338.9399 | 1145754.2238 | 2715342.3329 | 1145754.8113 | 2715346.417 | 1145756.6351 | 2715349.4813 | 1145758.6788
44 | 2715481.3429 | 1145833.2352 | 2715491.2872 | 1145830.8018 | 2715500.1336 | 1145820.6978 | 2715504.244 | 1145810.7143 | 2715506.4878 | 1145801.0953 | 2715509.7333 | 1145792.9409 | 2715511.1821 | 1145789.7803
45 | 2715537.5845 | 1145793.1072 | 2715536.8607 | 1145786.4784 | 2715531.4054 | 1145780.8257 | 2715526.6973 | 1145779.0899 | 2715517.6133 | 1145779.9387 | 2715512.5322 | 1145786.8349 | 2715511.1821 | 1145789.7803
46 | 2715206.2076 | 1145374.8537 | 2715197.3466 | 1145369.6983
47 | 2715228.023 | 1145401.5281 | 2715230.6595 | 1145396.3482 | 2715231.7642 | 1145393.6342 | 2715232.0197 | 1145391.9268 | 2715231.1991 | 1145390.2322 | 2715229.0336 | 1145388.1339 | 2715206.2076 | 1145374.8537
48 | 2715192.399 | 1145366.8198 | 2715197.3466 | 1145369.6983
49 | 2715225.172 | 1145407.1297 | 2715228.023 | 1145401.5281
50 | 2715217.9485 | 1145421.3221 | 2715225.172 | 1145407.1297
51 | 2715206.521 | 1145443.7743 | 2715217.9485 | 1145421.3221
52 | 2715206.521 | 1145443.7743 | 2715189.8239 | 1145435.8875
53 | 2715206.521 | 1145443.7743 | 2715200.4099 | 1145457.9994
54 | 2715171.943 | 1145445.2204 | 2715177.3434 | 1145434.4107 | 2715178.6304 | 1145432.6119 | 2715180.088 | 1145431.9393 | 2715182.21 | 1145432.2911 | 2715189.8239 | 1145435.8875
55 | 2715197.8507 | 1145469.9928 | 2715197.4091 | 1145468.1721 | 2715197.4919 | 1145465.8499 | 2715198.3013 | 1145462.9078 | 2715200.4099 | 1145457.9994
56 | 2715305.4501 | 1145379.0907 | 2715295.7893 | 1145399.6063 | 2715288.2753 | 1145415.173 | 2715279.7862 | 1145431.3476
57 | 2715320.4764 | 1145347.1807 | 2715305.4501 | 1145379.0907
58 | 2715279.7862 | 1145431.3476 | 2715274.9295 | 1145440.6014
59 | 2715266.5929 | 1145456.4853 | 2715274.9295 | 1145440.6014
60 | 2715252.6914 | 1145482.9725 | 2715266.5929 | 1145456.4853
61 | 2715328.4841 | 1145325.8246 | 2715328.3294 | 1145327.4629
62 | 2715245.9727 | 1145495.7739 | 2715252.6914 | 1145482.9725
63 | 2715328.1218 | 1145309.164 | 2715327.8113 | 1145315.3511 | 2715328.6515 | 1145324.0508 | 2715328.4841 | 1145325.8246
64 | 2715245.9727 | 1145495.7739 | 2715212.0609 | 1145479.604 | 2715206.4882 | 1145476.7419
65 | 2715245.9727 | 1145495.7739 | 2715242.8411 | 1145504.2369
66 | 2715328.1218 | 1145309.164 | 2715330.1283 | 1145301.8975 | 2715334.3019 | 1145290.8847
67 | 2715328.1218 | 1145309.164 | 2715321.5338 | 1145304.0346 | 2715315.5112 | 1145298.6826 | 2715309.274 | 1145290.0798 | 2715306.1636 | 1145285.5506 | 2715302.7499 | 1145283.2171 | 2715284.326 | 1145275.3152 | 2715275.0018 | 1145273.0132
68 | 2715197.8507 | 1145469.9928 | 2715199.2403 | 1145472.0763 | 2715201.6501 | 1145474.2571 | 2715206.4882 | 1145476.7419
69 | 2715241.5319 | 1145507.7748 | 2715242.8411 | 1145504.2369
70 | 2715197.8507 | 1145469.9928 | 2715193.8623 | 1145473.608 | 2715189.9148 | 1145480.9741
71 | 2715241.5319 | 1145507.7748 | 2715240.9261 | 1145510.9209 | 2715240.8339 | 1145513.7321 | 2715241.3788 | 1145516.9892 | 2715249.3887 | 1145540.9805
72 | 2715241.5319 | 1145507.7748 | 2715239.1741 | 1145510.1091 | 2715237.6688 | 1145512.4708 | 2715235.7029 | 1145516.0134 | 2715233.3221 | 1145518.7475 | 2715230.2789 | 1145520.3571 | 2715224.5704 | 1145521.8935 | 2715213.1953 | 1145523.2892
73 | 2715189.9148 | 1145480.9741 | 2715180.9754 | 1145497.6551
74 | 2715249.3887 | 1145540.9805 | 2715254.098 | 1145557.9373 | 2715255.8739 | 1145566.7438 | 2715256.368 | 1145572.012
75 | 2715169.737 | 1145530.889 | 2715172.5909 | 1145528.2715 | 2715213.1953 | 1145523.2892
76 | 2715104.1427 | 1145718.5473 | 2715121.5588 | 1145621.048 | 2715126.863 | 1145602.4479 | 2715141.579 | 1145576.3225 | 2715156.5769 | 1145546.7114 | 2715166.4038 | 1145533.946 | 2715169.737 | 1145530.889
77 | 2715104.1427 | 1145718.5473 | 2715131.5845 | 1145729.7375
78 | 2715256.368 | 1145572.012 | 2715256.5697 | 1145574.1621 | 2715256.8258 | 1145589.2993 | 2715256.122 | 1145592.9379
79 | 2715275.0018 | 1145273.0132 | 2715273.2576 | 1145272.5907 | 2715270.2885 | 1145271.4649
80 | 2715243.7889 | 1145260.603 | 2715257.5647 | 1145264.541 | 2715267.3902 | 1145270.366 | 2715270.2885 | 1145271.4649
81 | 2715227.5948 | 1145255.9737 | 2715243.7889 | 1145260.603
82 | 2715227.5948 | 1145255.9737 | 2715223.1909 | 1145264.4285 | 2715221.4978 | 1145271.5832
83 | 2715198.9273 | 1145288.6256 | 2715202.2581 | 1145292.0805 | 2715206.6496 | 1145294.3214 | 2715211.0611 | 1145295.1173 | 2715213.5465 | 1145294.5533 | 2715216.0633 | 1145292.3443 | 2715217.5705 | 1145289.0821 | 2715219.2698 | 1145280.998 | 2715221.4978 | 1145271.5832

## bus_geodata
| x | y | coords
0 | 2715405.2546 | 1145485.1126
1 | 2715396.0347 | 1145497.5964
2 | 2715419.2904 | 1145457.081
3 | 2715376.6554 | 1145523.8358
4 | 2715437.3082 | 1145396.0554
5 | 2715359.7463 | 1145548.451
6 | 2715390.9043 | 1145533.9121
7 | 2715440.779 | 1145379.8029
8 | 2715366.4517 | 1145385.6371
9 | 2715613.5568 | 1145502.9788
10 | 2715572.9565 | 1145573.2163
11 | 2715338.0382 | 1145627.6681
12 | 2715368.4142 | 1145433.262
13 | 2715337.3358 | 1145361.6348
14 | 2715383.8796 | 1145441.9303
15 | 2715339.588 | 1145642.0613
16 | 2715598.7258 | 1145586.208
17 | 2715590.9921 | 1145582.3116
18 | 2715551.6617 | 1145610.0996
19 | 2715580.4039 | 1145624.1559
20 | 2715502.5053 | 1145706.5669
21 | 2715321.6874 | 1145344.6091
22 | 2715336.4017 | 1145701.0459
23 | 2715336.1953 | 1145679.5993
24 | 2715330.4857 | 1145719.35
25 | 2715336.7681 | 1145642.8412
26 | 2715314.6243 | 1145726.6157
27 | 2715366.7843 | 1145728.7728
28 | 2715299.6586 | 1145655.6957
29 | 2715296.0969 | 1145739.4392
30 | 2715366.574 | 1145771.5028
31 | 2715358.4857 | 1145698.5612
32 | 2715296.7928 | 1145665.3029
33 | 2715254.1618 | 1145690.8273
34 | 2715365.8896 | 1145775.9094
35 | 2715484.6224 | 1145764.7311
36 | 2715530.9541 | 1145720.7621
37 | 2715530.6329 | 1145720.6019
38 | 2715254.5571 | 1145700.3717
39 | 2715349.4813 | 1145758.6788
40 | 2715481.3429 | 1145833.2352
41 | 2715537.5845 | 1145793.1072
42 | 2715511.1821 | 1145789.7803
43 | 2715206.2076 | 1145374.8537
44 | 2715197.3466 | 1145369.6983
45 | 2715228.023 | 1145401.5281
46 | 2715192.399 | 1145366.8198
47 | 2715225.172 | 1145407.1297
48 | 2715217.9485 | 1145421.3221
49 | 2715206.521 | 1145443.7743
50 | 2715189.8239 | 1145435.8875
51 | 2715200.4099 | 1145457.9994
52 | 2715305.4501 | 1145379.0907
53 | 2715279.7862 | 1145431.3476
54 | 2715320.4764 | 1145347.1807
55 | 2715274.9295 | 1145440.6014
56 | 2715266.5929 | 1145456.4853
57 | 2715328.3294 | 1145327.4629
58 | 2715252.6914 | 1145482.9725
59 | 2715328.4841 | 1145325.8246
60 | 2715245.9727 | 1145495.7739
61 | 2715328.1218 | 1145309.164
62 | 2715206.4882 | 1145476.7419
63 | 2715242.8411 | 1145504.2369
64 | 2715197.8507 | 1145469.9928
65 | 2715241.5319 | 1145507.7748
66 | 2715189.9148 | 1145480.9741
67 | 2715249.3887 | 1145540.9805
68 | 2715213.1953 | 1145523.2892
69 | 2715169.737 | 1145530.889
70 | 2715104.1427 | 1145718.5473
71 | 2715131.5845 | 1145729.7375
72 | 2715256.368 | 1145572.012
73 | 2715256.122 | 1145592.9379
74 | 2715180.9754 | 1145497.6551
75 | 2715334.3019 | 1145290.8847
76 | 2715275.0018 | 1145273.0132
77 | 2715171.943 | 1145445.2204
78 | 2715255.267 | 1145717.5079
79 | 2715243.7889 | 1145260.603
80 | 2715270.2885 | 1145271.4649
81 | 2715227.5948 | 1145255.9737
82 | 2715221.4978 | 1145271.5832
83 | 2715198.9273 | 1145288.6256
84 | 2715334.706 | 1145765.4504
85 | 2715376.6554 | 1145523.8358

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1