## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5048-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5048-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5048-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5048-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5048-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5048-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5048-9_0_3_node_71 | 0.4 | n |  | TRUE
7 | bus_LV_5048-9_0_3_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_5048-9_0_3_node_86 | 0.4 | n |  | TRUE
9 | bus_LV_5048-9_0_3_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_5048-9_0_3_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_5048-9_0_3_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_5048-9_0_3_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_5048-9_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5048-9_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5048-9_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5048-9_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5048-9_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5048-9_0_3_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_5048-9_0_3_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_5048-9_0_3_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_5048-9_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5048-9_0_3_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_5048-9_0_3_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_5048-9_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_5048-9_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5048-9_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_5048-9_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_5048-9_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5048-9_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5048-9_0_3_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_5048-9_0_3_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_5048-9_0_3_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_5048-9_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5048-9_0_3_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_5048-9_0_3_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_5048-9_0_3_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_5048-9_0_3_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_5048-9_0_3_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_5048-9_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5048-9_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5048-9_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_5048-9_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5048-9_0_3_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_5048-9_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_5048-9_0_3_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_5048-9_0_3_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_5048-9_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_5048-9_0_3_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_5048-9_0_3_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_5048-9_0_3_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_5048-9_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_5048-9_0_3_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_5048-9_0_3_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_5048-9_0_3_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_5048-9_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5048-9_0_3_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_5048-9_0_3_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_5048-9_0_3_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_5048-9_0_3_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_5048-9_0_3_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_5048-9_0_3_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_5048-9_0_3_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_5048-9_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_5048-9_0_3_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_5048-9_0_3_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_5048-9_0_3_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_5048-9_0_3_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_5048-9_0_3_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_5048-9_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_5048-9_0_3_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_5048-9_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_5048-9_0_3_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_5048-9_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_5048-9_0_3_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_5048-9_0_3_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_5048-9_0_3_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_5048-9_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_5048-9_0_3_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_5048-9_0_3_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_5048-9_0_3_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_5048-9_0_3_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_5048-9_0_3_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_5048-9_0_3_node_87 | 0.4 | n |  | TRUE
84 | bus_MV_185_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5048-9_0_3_load_0 | 0 | 0.0077317 | 0.0019378 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5048-9_0_3_load_1 | 1 | 0.0021978 | 0.00055083 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5048-9_0_3_load_3 | 3 | 0.0021649 | 0.00054257 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5048-9_0_3_load_71 | 6 | 0.0028353 | 0.00071058 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5048-9_0_3_load_45 | 7 | 0.0054884 | 0.0013755 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5048-9_0_3_load_86 | 8 | 0.0023833 | 0.0005973 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5048-9_0_3_load_53 | 12 | 0.0036772 | 0.0009216 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5048-9_0_3_load_6 | 13 | 0.0028252 | 0.00070805 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5048-9_0_3_load_7 | 14 | 0.0020656 | 0.0005177 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5048-9_0_3_load_8 | 15 | 0.00072525 | 0.00018176 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5048-9_0_3_load_9 | 16 | 0.0035404 | 0.00088731 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5048-9_0_3_load_10 | 17 | 0.0016603 | 0.00041611 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5048-9_0_3_load_74 | 22 | 0.0013938 | 0.00034931 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5048-9_0_3_load_62 | 23 | 0.00080323 | 0.00020131 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5048-9_0_3_load_11 | 24 | 0.0023028 | 0.00057714 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5048-9_0_3_load_12 | 25 | 0.002304 | 0.00057743 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5048-9_0_3_load_14 | 27 | 0.00304 | 0.0007619 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5048-9_0_3_load_20 | 29 | 0.0030383 | 0.00076148 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5048-9_0_3_load_57 | 30 | 0.0025458 | 0.00063804 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5048-9_0_3_load_46 | 31 | 0.0018803 | 0.00047125 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5048-9_0_3_load_59 | 32 | 0.0023412 | 0.00058676 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5048-9_0_3_load_19 | 33 | 0.00304 | 0.0007619 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5048-9_0_3_load_58 | 34 | 0.0071211 | 0.0017847 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5048-9_0_3_load_60 | 35 | 0.006063 | 0.0015195 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5048-9_0_3_load_17 | 36 | 0.0030425 | 0.00076252 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5048-9_0_3_load_18 | 37 | 0.0030407 | 0.00076207 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5048-9_0_3_load_21 | 38 | 0.0009918 | 0.00024857 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5048-9_0_3_load_22 | 39 | 0.0010664 | 0.00026728 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5048-9_0_3_load_52 | 43 | 0.0011959 | 0.00029973 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5048-9_0_3_load_51 | 44 | 0.0010166 | 0.00025477 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5048-9_0_3_load_85 | 45 | 0.0013868 | 0.00034756 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5048-9_0_3_load_73 | 46 | 0.0036823 | 0.00092286 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5048-9_0_3_load_27 | 48 | 0.0021806 | 0.0005465 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5048-9_0_3_load_28 | 49 | 0.0028501 | 0.0007143 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5048-9_0_3_load_30 | 50 | 0.0026584 | 0.00066626 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5048-9_0_3_load_70 | 53 | 0.0028765 | 0.00072093 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5048-9_0_3_load_72 | 54 | 0.0068617 | 0.0017197 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5048-9_0_3_load_49 | 55 | 0.00056327 | 0.00014117 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5048-9_0_3_load_37 | 57 | 0.0023451 | 0.00058774 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5048-9_0_3_load_50 | 58 | 0.0014381 | 0.00036043 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5048-9_0_3_load_33 | 59 | 0.0022393 | 0.00056123 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5048-9_0_3_load_34 | 60 | 0.001211 | 0.00030349 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5048-9_0_3_load_35 | 61 | 0.0023012 | 0.00057672 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5048-9_0_3_load_36 | 62 | 0.0016806 | 0.00042119 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5048-9_0_3_load_43 | 63 | 0.0084932 | 0.0021286 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5048-9_0_3_load_38 | 64 | 0.00086988 | 0.00021801 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5048-9_0_3_load_39 | 65 | 0.00082605 | 0.00020703 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5048-9_0_3_load_40 | 66 | 0.00055289 | 0.00013857 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5048-9_0_3_load_41 | 67 | 0.0009291 | 0.00023285 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5048-9_0_3_load_42 | 68 | 0.00053345 | 0.0001337 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5048-9_0_3_load_56 | 69 | 0.00097149 | 0.00024348 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5048-9_0_3_load_75 | 70 | 0.0060237 | 0.0015097 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5048-9_0_3_load_67 | 71 | 0.0026128 | 0.00065483 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5048-9_0_3_load_88 | 72 | 0.0029675 | 0.00074373 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5048-9_0_3_load_66 | 73 | 0.0014301 | 0.00035843 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5048-9_0_3_load_61 | 74 | 0.0030771 | 0.00077118 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5048-9_0_3_load_78 | 75 | 0.0019195 | 0.00048108 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5048-9_0_3_load_69 | 76 | 0.0055612 | 0.0013938 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5048-9_0_3_load_80 | 78 | 0.0022194 | 0.00055623 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5048-9_0_3_load_81 | 79 | 0.0011835 | 0.0002966 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5048-9_0_3_load_82 | 80 | 0.0010418 | 0.00026109 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5048-9_0_3_load_83 | 81 | 0.0010878 | 0.00027263 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5048-9_0_3_load_87 | 83 | 0.0016388 | 0.00041073 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5048-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5048-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5048-9_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.024934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5048-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.12262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5048-9_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5048-9_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.095727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5048-9_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.028773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5048-9_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.085043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5048-9_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.014165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5048-9_0_3_line_9 | NAYY 4x150 SE | 9 | 31 | 0.030381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5048-9_0_3_line_10 | NAYY 4x150 SE | 9 | 63 | 0.018773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5048-9_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.078633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5048-9_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.027858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5048-9_0_3_line_13 | NAYY 4x150 SE | 11 | 70 | 0.027431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5048-9_0_3_line_14 | NAYY 4x150 SE | 11 | 71 | 0.035938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5048-9_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0021138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5048-9_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0074257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5048-9_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.010284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5048-9_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0099124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5048-9_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.054601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5048-9_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.012929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5048-9_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.071147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5048-9_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.005878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5048-9_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.031184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5048-9_0_3_line_24 | NAYY 4x150 SE | 19 | 23 | 0.012999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5048-9_0_3_line_25 | NAYY 4x150 SE | 20 | 69 | 0.0078757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5048-9_0_3_line_26 | NAYY 4x150 SE | 21 | 30 | 0.014861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5048-9_0_3_line_27 | NAYY 4x150 SE | 21 | 26 | 0.007854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5048-9_0_3_line_28 | NAYY 4x150 SE | 22 | 75 | 0.013044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5048-9_0_3_line_29 | NAYY 4x150 SE | 23 | 74 | 0.0176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5048-9_0_3_line_30 | NAYY 4x150 SE | 24 | 25 | 0.015223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5048-9_0_3_line_31 | NAYY 4x150 SE | 24 | 26 | 0.012895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5048-9_0_3_line_32 | NAYY 4x150 SE | 25 | 27 | 0.0039029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5048-9_0_3_line_33 | NAYY 4x150 SE | 26 | 28 | 0.068475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5048-9_0_3_line_34 | NAYY 4x150 SE | 27 | 29 | 0.010989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5048-9_0_3_line_35 | NAYY 4x150 SE | 28 | 31 | 0.0052404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5048-9_0_3_line_36 | NAYY 4x150 SE | 28 | 32 | 0.015134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5048-9_0_3_line_37 | NAYY 4x150 SE | 29 | 33 | 0.0062869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5048-9_0_3_line_38 | NAYY 4x150 SE | 30 | 34 | 0.014619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5048-9_0_3_line_39 | NAYY 4x150 SE | 32 | 35 | 0.012766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5048-9_0_3_line_40 | NAYY 4x150 SE | 33 | 36 | 0.011178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5048-9_0_3_line_41 | NAYY 4x150 SE | 34 | 50 | 0.046279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5048-9_0_3_line_42 | NAYY 4x150 SE | 36 | 37 | 0.0066394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5048-9_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.013247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5048-9_0_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.036867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5048-9_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.070345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5048-9_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.099056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5048-9_0_3_line_47 | NAYY 4x150 SE | 41 | 43 | 0.022553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5048-9_0_3_line_48 | NAYY 4x150 SE | 41 | 44 | 0.098859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5048-9_0_3_line_49 | NAYY 4x150 SE | 42 | 45 | 0.11533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5048-9_0_3_line_50 | NAYY 4x150 SE | 43 | 46 | 0.024197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5048-9_0_3_line_51 | NAYY 4x150 SE | 44 | 47 | 0.014239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5048-9_0_3_line_52 | NAYY 4x150 SE | 47 | 55 | 0.02621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5048-9_0_3_line_53 | NAYY 4x150 SE | 47 | 51 | 0.095047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5048-9_0_3_line_54 | NAYY 4x150 SE | 48 | 49 | 0.021076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5048-9_0_3_line_55 | NAYY 4x150 SE | 49 | 50 | 0.026792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5048-9_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.002836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5048-9_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.026509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5048-9_0_3_line_58 | NAYY 4x150 SE | 52 | 54 | 0.02293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5048-9_0_3_line_59 | NAYY 4x150 SE | 53 | 56 | 0.029763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5048-9_0_3_line_60 | NAYY 4x150 SE | 54 | 57 | 0.020073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5048-9_0_3_line_61 | NAYY 4x150 SE | 55 | 58 | 0.0079478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5048-9_0_3_line_62 | NAYY 4x150 SE | 56 | 76 | 0.018031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5048-9_0_3_line_63 | NAYY 4x150 SE | 56 | 73 | 0.0058741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5048-9_0_3_line_64 | NAYY 4x150 SE | 57 | 61 | 0.069275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5048-9_0_3_line_65 | NAYY 4x150 SE | 59 | 60 | 0.0096069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5048-9_0_3_line_66 | NAYY 4x150 SE | 59 | 61 | 0.0012213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5048-9_0_3_line_67 | NAYY 4x150 SE | 60 | 62 | 0.020536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_5048-9_0_3_line_68 | NAYY 4x150 SE | 62 | 63 | 0.007597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_5048-9_0_3_line_69 | NAYY 4x150 SE | 64 | 65 | 0.020851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5048-9_0_3_line_70 | NAYY 4x150 SE | 64 | 66 | 0.017186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5048-9_0_3_line_71 | NAYY 4x150 SE | 65 | 67 | 0.021025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5048-9_0_3_line_72 | NAYY 4x150 SE | 66 | 68 | 0.0095494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5048-9_0_3_line_73 | NAYY 4x150 SE | 67 | 69 | 0.017445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5048-9_0_3_line_74 | NAYY 4x150 SE | 70 | 72 | 0.064555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5048-9_0_3_line_75 | NAYY 4x150 SE | 71 | 73 | 0.0083805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5048-9_0_3_line_76 | NAYY 4x150 SE | 75 | 77 | 0.006248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5048-9_0_3_line_77 | NAYY 4x150 SE | 77 | 78 | 0.033069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5048-9_0_3_line_78 | NAYY 4x150 SE | 77 | 79 | 0.048223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5048-9_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.0087304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5048-9_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.030983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5048-9_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.0090701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5048-9_0_3_line_82 | NAYY 4x150 SE | 82 | 83 | 0.28445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5048-9_0_3_trafo_34 | 0.25 MVA 20/0.4 kV | 84 | 60 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2715658.1458 | 1144900.2397 | 2715650.4053 | 1144911.9141 | 2715644.8274 | 1144920.617
1 | 2715671.0786 | 1144880.7342 | 2715658.1458 | 1144900.2397
2 | 2715644.8274 | 1144920.617 | 2715635.5658 | 1144935.0673 | 2715631.4618 | 1144941.6661
3 | 2715744.8272 | 1144782.8612 | 2715735.7425 | 1144794.0722 | 2715711.2138 | 1144824.2662 | 2715692.5898 | 1144849.5592 | 2715679.1944 | 1144868.7373 | 2715673.8982 | 1144876.3853 | 2715671.0786 | 1144880.7342
4 | 2715613.772 | 1144970.5844 | 2715625.2882 | 1144951.5925 | 2715631.4618 | 1144941.6661
5 | 2715744.8272 | 1144782.8612 | 2715751.8251 | 1144788.6661 | 2715758.8446 | 1144793.3484 | 2715770.0878 | 1144799.0124 | 2715788.1287 | 1144808.0981 | 2715792.9503 | 1144814.7618 | 2715799.6928 | 1144828.6561 | 2715799.5073 | 1144838.3146 | 2715792.4696 | 1144848.1309
6 | 2715613.772 | 1144970.5844 | 2715609.8849 | 1144967.2855 | 2715591.4305 | 1144952.4553
7 | 2715792.4696 | 1144848.1309 | 2715872.8689 | 1144875.8486
8 | 2715580.3887 | 1144943.5821 | 2715591.4305 | 1144952.4553
9 | 2715580.3887 | 1144943.5821 | 2715576.6325 | 1144940.6637 | 2715573.5015 | 1144938.013 | 2715571.794 | 1144935.6788 | 2715570.9287 | 1144933.1049 | 2715570.8719 | 1144930.4576 | 2715571.5899 | 1144927.4805 | 2715573.3214 | 1144923.3553 | 2715576.2581 | 1144918.4345
10 | 2715580.3887 | 1144943.5821 | 2715568.0444 | 1144957.7254
11 | 2715534.0581 | 1145146.9415 | 2715539.6838 | 1145129.7044 | 2715549.0525 | 1145103.2329 | 2715551.6058 | 1145097.5335 | 2715561.4777 | 1145073.2842
12 | 2715561.4777 | 1145073.2842 | 2715543.0502 | 1145065.9485 | 2715541.2563 | 1145065.714 | 2715538.7787 | 1145065.8666 | 2715536.9037 | 1145066.6534 | 2715535.7287 | 1145067.8802
13 | 2715534.0581 | 1145146.9415 | 2715526.5128 | 1145173.3146
14 | 2715534.0581 | 1145146.9415 | 2715510.6544 | 1145141.8231 | 2715505.061 | 1145140.1371 | 2715501.6198 | 1145138.4367 | 2715499.9036 | 1145136.9045
15 | 2715500.2615 | 1144836.8418 | 2715502.3695 | 1144836.6843
16 | 2715500.2615 | 1144836.8418 | 2715495.2795 | 1144837.214 | 2715492.8504 | 1144837.27
17 | 2715512.6246 | 1144835.9182 | 2715502.3695 | 1144836.6843
18 | 2715492.8504 | 1144837.27 | 2715490.0124 | 1144837.3354 | 2715485.7795 | 1144836.8318 | 2715483.1174 | 1144835.9294
19 | 2715566.2529 | 1144842.2657 | 2715561.6122 | 1144842.9884 | 2715556.3577 | 1144843.2545 | 2715550.372 | 1144842.3726 | 2715528.6338 | 1144836.5078 | 2715522.241 | 1144835.6181 | 2715514.1135 | 1144835.807 | 2715512.6246 | 1144835.9182
20 | 2715473.9196 | 1144827.2428 | 2715475.1099 | 1144829.3003 | 2715478.0486 | 1144832.7699 | 2715480.0473 | 1144834.3537 | 2715482.8243 | 1144835.8301 | 2715483.1174 | 1144835.9294
21 | 2715566.2529 | 1144842.2657 | 2715574.6549 | 1144838.98 | 2715581.0319 | 1144834.6882 | 2715588.5172 | 1144826.3039 | 2715593.993 | 1144818.1033 | 2715606.4245 | 1144801.0858 | 2715596.4231 | 1144793.9893
22 | 2715567.318 | 1144848.0455 | 2715566.2529 | 1144842.2657
23 | 2715473.9196 | 1144827.2428 | 2715458.1396 | 1144844.152 | 2715453.0289 | 1144850.379
24 | 2715473.9196 | 1144827.2428 | 2715472.9138 | 1144823.9769 | 2715472.5997 | 1144819.5123 | 2715472.8244 | 1144814.4109
25 | 2715596.4231 | 1144793.9893 | 2715590.1598 | 1144789.5441 | 2715590.0108 | 1144789.4179
26 | 2715567.318 | 1144848.0455 | 2715566.8464 | 1144849.3929 | 2715565.6206 | 1144851.1929 | 2715560.7154 | 1144857.2918 | 2715558.449 | 1144859.8656
27 | 2715567.318 | 1144848.0455 | 2715570.5651 | 1144849.8534 | 2715574.1288 | 1144851.9898
28 | 2715445.1656 | 1144860.7621 | 2715447.6103 | 1144856.9812 | 2715453.0289 | 1144850.379
29 | 2715473.8426 | 1144796.8467 | 2715473.4295 | 1144800.6712 | 2715472.8244 | 1144814.4109
30 | 2715600.6483 | 1144858.5061 | 2715586.8389 | 1144852.1001 | 2715586.8389 | 1144852.1001
31 | 2715574.1288 | 1144851.9898 | 2715579.6948 | 1144851.1069 | 2715582.7304 | 1144851.1207 | 2715586.8389 | 1144852.1001
32 | 2715600.6483 | 1144858.5061 | 2715604.1888 | 1144860.1485
33 | 2715578.9435 | 1144913.9346 | 2715585.5781 | 1144903.8216 | 2715587.8406 | 1144899.6622 | 2715589.3915 | 1144895.7337 | 2715589.999 | 1144892.1096 | 2715589.8621 | 1144887.6262 | 2715589.372 | 1144883.5252 | 2715588.0007 | 1144878.8847 | 2715580.1439 | 1144861.756 | 2715574.1288 | 1144851.9898
34 | 2715604.1888 | 1144860.1485 | 2715614.1571 | 1144864.7727
35 | 2715578.9435 | 1144913.9346 | 2715576.2581 | 1144918.4345
36 | 2715578.9435 | 1144913.9346 | 2715567.3402 | 1144904.2193
37 | 2715614.1571 | 1144864.7727 | 2715619.8602 | 1144867.4183
38 | 2715558.449 | 1144859.8656 | 2715548.7879 | 1144870.8368
39 | 2715557.5518 | 1144896.0238 | 2715567.3402 | 1144904.2193
40 | 2715619.8602 | 1144867.4183 | 2715630.0006 | 1144872.1223
41 | 2715548.7879 | 1144870.8368 | 2715526.6407 | 1144895.9872 | 2715518.1755 | 1144905.5446
42 | 2715636.0235 | 1144874.9163 | 2715630.0006 | 1144872.1223
43 | 2715290.3872 | 1145277.9148 | 2715302.5615 | 1145283.1363
44 | 2715328.1218 | 1145309.164 | 2715321.5338 | 1145304.0346 | 2715315.5112 | 1145298.6826 | 2715309.274 | 1145290.0798 | 2715306.1636 | 1145285.5506 | 2715302.7499 | 1145283.2171 | 2715302.5615 | 1145283.1363
45 | 2715328.1218 | 1145309.164 | 2715330.1283 | 1145301.8975 | 2715350.3631 | 1145248.5044 | 2715352.7755 | 1145243.3249
46 | 2715328.1218 | 1145309.164 | 2715327.8113 | 1145315.3511 | 2715328.6515 | 1145324.0508 | 2715328.0732 | 1145330.1771 | 2715327.284 | 1145333.2641 | 2715321.6874 | 1145344.6091 | 2715325.1983 | 1145346.2774 | 2715328.1977 | 1145348.5696 | 2715330.7374 | 1145351.5979 | 2715342.6334 | 1145369.6931 | 2715348.7143 | 1145375.6133 | 2715366.4517 | 1145385.6371
47 | 2715352.7755 | 1145243.3249 | 2715337.337 | 1145226.8846
48 | 2715352.7755 | 1145243.3249 | 2715357.0955 | 1145235.6468 | 2715367.1592 | 1145219.3951 | 2715378.3553 | 1145205.411 | 2715384.4262 | 1145197.0105 | 2715402.0446 | 1145163.5029 | 2715404.22 | 1145159.2258
49 | 2715366.4517 | 1145385.6371 | 2715377.3703 | 1145351.2118 | 2715384.7344 | 1145332.6514 | 2715394.5604 | 1145314.7608 | 2715403.3995 | 1145305.0679 | 2715413.8549 | 1145297.2516 | 2715419.4719 | 1145294.8909 | 2715425.6956 | 1145292.5529
50 | 2715320.773 | 1145209.2456 | 2715337.337 | 1145226.8846
51 | 2715411.0719 | 1145146.7978 | 2715409.751 | 1145148.3514 | 2715404.22 | 1145159.2258
52 | 2715411.0719 | 1145146.7978 | 2715392.2972 | 1145136.7319 | 2715390.5789 | 1145134.9534 | 2715389.4909 | 1145132.7755
53 | 2715469.1046 | 1145072.9593 | 2715464.0191 | 1145086.0818 | 2715454.3937 | 1145102.6975 | 2715443.8676 | 1145113.7812 | 2715417.0868 | 1145139.7193 | 2715411.0719 | 1145146.7978
54 | 2715500.4113 | 1144925.6011 | 2715496.1765 | 1144930.3823 | 2715488.2383 | 1144942.742
55 | 2715500.4113 | 1144925.6011 | 2715518.1755 | 1144905.5446
56 | 2715469.1046 | 1145072.9593 | 2715471.6472 | 1145074.231
57 | 2715471.6472 | 1145074.231 | 2715479.8442 | 1145080.8257 | 2715482.4652 | 1145084.823 | 2715484.5385 | 1145090.9334 | 2715485.8444 | 1145095.5069
58 | 2715471.6472 | 1145074.231 | 2715486.3794 | 1145056.6602
59 | 2715494.0165 | 1145124.126 | 2715485.8444 | 1145095.5069
60 | 2715499.2763 | 1145041.2783 | 2715486.3794 | 1145056.6602
61 | 2715388.9202 | 1145124.8482 | 2715389.4909 | 1145132.7755
62 | 2715494.0165 | 1145124.126 | 2715511.5614 | 1145119.7591
63 | 2715494.0165 | 1145124.126 | 2715494.9669 | 1145127.4687 | 2715495.8501 | 1145129.6991
64 | 2715542.7516 | 1144987.3506 | 2715511.4846 | 1145026.7176 | 2715499.2763 | 1145041.2783
65 | 2715543.5111 | 1144986.3943 | 2715548.4528 | 1144980.1724 | 2715549.5453 | 1144978.9207
66 | 2715543.5111 | 1144986.3943 | 2715542.7516 | 1144987.3506
67 | 2715549.5453 | 1144978.9207 | 2715563.0489 | 1144963.449
68 | 2715568.0444 | 1144957.7254 | 2715563.0489 | 1144963.449
69 | 2715538.883 | 1144781.3673 | 2715538.883 | 1144781.3673 | 2715558.0509 | 1144773.1615
70 | 2715538.883 | 1144781.3673 | 2715533.2786 | 1144772.6207 | 2715531.5445 | 1144771.6647 | 2715529.4912 | 1144771.3251 | 2715526.8593 | 1144772.0746
71 | 2715576.6985 | 1144778.1438 | 2715575.7598 | 1144777.3489 | 2715568.9436 | 1144772.4817 | 2715565.1543 | 1144771.2861 | 2715561.8523 | 1144771.5341 | 2715558.0509 | 1144773.1615
72 | 2715517.6751 | 1144774.6899 | 2715526.8593 | 1144772.0746
73 | 2715576.6985 | 1144778.1438 | 2715590.0108 | 1144789.4179
74 | 2715526.5128 | 1145173.3146 | 2715467.4734 | 1145199.4237
75 | 2715495.8501 | 1145129.6991 | 2715496.8655 | 1145132.2638 | 2715498.7182 | 1145135.8461 | 2715499.9036 | 1145136.9045
76 | 2715441.7731 | 1144866.0089 | 2715445.1656 | 1144860.7621
77 | 2715441.7731 | 1144866.0089 | 2715442.7505 | 1144875.9676 | 2715440.8622 | 1144887.0833 | 2715449.5614 | 1144879.1111
78 | 2715441.7731 | 1144866.0089 | 2715437.013 | 1144873.3671 | 2715417.6177 | 1144907.7311
79 | 2715417.6177 | 1144907.7311 | 2715413.5519 | 1144914.9348 | 2715413.3986 | 1144915.3669
80 | 2715413.3986 | 1144915.3669 | 2715411.6671 | 1144920.2467 | 2715409.0478 | 1144930.6035 | 2715403.4367 | 1144944.6464
81 | 2715400.0713 | 1144953.069 | 2715403.4367 | 1144944.6464
82 | 2715400.0713 | 1144953.069 | 2715115.6352 | 1144955.8576

## bus_geodata
| x | y | coords
0 | 2715658.1458 | 1144900.2397
1 | 2715644.8274 | 1144920.617
2 | 2715671.0786 | 1144880.7342
3 | 2715631.4618 | 1144941.6661
4 | 2715744.8272 | 1144782.8612
5 | 2715613.772 | 1144970.5844
6 | 2715792.4696 | 1144848.1309
7 | 2715591.4305 | 1144952.4553
8 | 2715872.8689 | 1144875.8486
9 | 2715580.3887 | 1144943.5821
10 | 2715561.4777 | 1145073.2842
11 | 2715534.0581 | 1145146.9415
12 | 2715535.7287 | 1145067.8802
13 | 2715500.2615 | 1144836.8418
14 | 2715502.3695 | 1144836.6843
15 | 2715492.8504 | 1144837.27
16 | 2715512.6246 | 1144835.9182
17 | 2715483.1174 | 1144835.9294
18 | 2715566.2529 | 1144842.2657
19 | 2715473.9196 | 1144827.2428
20 | 2715596.4231 | 1144793.9893
21 | 2715567.318 | 1144848.0455
22 | 2715453.0289 | 1144850.379
23 | 2715472.8244 | 1144814.4109
24 | 2715586.8389 | 1144852.1001
25 | 2715600.6483 | 1144858.5061
26 | 2715574.1288 | 1144851.9898
27 | 2715604.1888 | 1144860.1485
28 | 2715578.9435 | 1144913.9346
29 | 2715614.1571 | 1144864.7727
30 | 2715558.449 | 1144859.8656
31 | 2715576.2581 | 1144918.4345
32 | 2715567.3402 | 1144904.2193
33 | 2715619.8602 | 1144867.4183
34 | 2715548.7879 | 1144870.8367
35 | 2715557.5518 | 1144896.0238
36 | 2715630.0006 | 1144872.1223
37 | 2715636.0235 | 1144874.9163
38 | 2715302.5615 | 1145283.1363
39 | 2715290.3872 | 1145277.9148
40 | 2715328.1218 | 1145309.164
41 | 2715352.7755 | 1145243.3249
42 | 2715366.4517 | 1145385.6371
43 | 2715337.337 | 1145226.8846
44 | 2715404.22 | 1145159.2258
45 | 2715425.6956 | 1145292.5529
46 | 2715320.773 | 1145209.2456
47 | 2715411.0719 | 1145146.7978
48 | 2715488.2383 | 1144942.742
49 | 2715500.4113 | 1144925.6011
50 | 2715518.1755 | 1144905.5446
51 | 2715469.1046 | 1145072.9593
52 | 2715471.6472 | 1145074.231
53 | 2715485.8444 | 1145095.5069
54 | 2715486.3794 | 1145056.6602
55 | 2715389.4909 | 1145132.7755
56 | 2715494.0165 | 1145124.126
57 | 2715499.2763 | 1145041.2783
58 | 2715388.9202 | 1145124.8482
59 | 2715543.5111 | 1144986.3943
60 | 2715549.5453 | 1144978.9207
61 | 2715542.7516 | 1144987.3506
62 | 2715563.0489 | 1144963.449
63 | 2715568.0444 | 1144957.7254
64 | 2715538.883 | 1144781.3673
65 | 2715558.0509 | 1144773.1615
66 | 2715526.8593 | 1144772.0746
67 | 2715576.6985 | 1144778.1438
68 | 2715517.6751 | 1144774.6899
69 | 2715590.0108 | 1144789.4179
70 | 2715526.5128 | 1145173.3146
71 | 2715499.9036 | 1145136.9045
72 | 2715467.4734 | 1145199.4237
73 | 2715495.8501 | 1145129.6991
74 | 2715473.8426 | 1144796.8467
75 | 2715445.1656 | 1144860.7621
76 | 2715511.5614 | 1145119.7591
77 | 2715441.7731 | 1144866.0089
78 | 2715449.5614 | 1144879.1111
79 | 2715417.6177 | 1144907.7311
80 | 2715413.3986 | 1144915.3669
81 | 2715403.4367 | 1144944.6464
82 | 2715400.0713 | 1144953.069
83 | 2715115.6352 | 1144955.8576
84 | 2715580.3887 | 1144943.5821

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1