## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5049-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5049-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5049-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5049-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5049-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5049-19_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5049-19_0_3_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_5049-19_0_3_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_5049-19_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5049-19_0_3_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_5049-19_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5049-19_0_3_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_5049-19_0_3_node_87 | 0.4 | n |  | TRUE
13 | bus_LV_5049-19_0_3_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_5049-19_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5049-19_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5049-19_0_3_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_5049-19_0_3_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_5049-19_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5049-19_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5049-19_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5049-19_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5049-19_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5049-19_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5049-19_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_5049-19_0_3_node_90 | 0.4 | n |  | TRUE
26 | bus_LV_5049-19_0_3_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_5049-19_0_3_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_5049-19_0_3_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_5049-19_0_3_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_5049-19_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5049-19_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5049-19_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5049-19_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5049-19_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5049-19_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5049-19_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_5049-19_0_3_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_5049-19_0_3_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_5049-19_0_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_5049-19_0_3_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_5049-19_0_3_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_5049-19_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_5049-19_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_5049-19_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_5049-19_0_3_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5049-19_0_3_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_5049-19_0_3_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_5049-19_0_3_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_5049-19_0_3_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_5049-19_0_3_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_5049-19_0_3_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_5049-19_0_3_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_5049-19_0_3_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_5049-19_0_3_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_5049-19_0_3_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_5049-19_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_5049-19_0_3_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5049-19_0_3_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_5049-19_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_5049-19_0_3_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_5049-19_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_5049-19_0_3_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_5049-19_0_3_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_5049-19_0_3_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_5049-19_0_3_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_5049-19_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_5049-19_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_5049-19_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_5049-19_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_5049-19_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_5049-19_0_3_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_5049-19_0_3_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_5049-19_0_3_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_5049-19_0_3_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_5049-19_0_3_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_5049-19_0_3_node_93 | 0.4 | n |  | TRUE
77 | bus_LV_5049-19_0_3_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_5049-19_0_3_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_5049-19_0_3_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_5049-19_0_3_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_5049-19_0_3_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_5049-19_0_3_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_5049-19_0_3_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_5049-19_0_3_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_5049-19_0_3_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_5049-19_0_3_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_5049-19_0_3_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_5049-19_0_3_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_5049-19_0_3_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_5049-19_0_3_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_5049-19_0_3_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_5049-19_0_3_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_5049-19_0_3_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_5049-19_0_3_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_5049-19_0_3_node_97 | 0.4 | n |  | TRUE
96 | bus_MV_185_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5049-19_0_3_load_0 | 0 | 0.0040608 | 0.0010177 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5049-19_0_3_load_1 | 1 | 0.0026495 | 0.00066402 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5049-19_0_3_load_3 | 3 | 0.0035435 | 0.00088808 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5049-19_0_3_load_5 | 5 | 0.001633 | 0.00040927 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5049-19_0_3_load_22 | 6 | 0.0021153 | 0.00053015 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5049-19_0_3_load_72 | 7 | 0.004051 | 0.0010153 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5049-19_0_3_load_8 | 8 | 0.0029411 | 0.00073712 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5049-19_0_3_load_42 | 9 | 0.0061975 | 0.0015532 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5049-19_0_3_load_6 | 10 | 0.003671 | 0.00092004 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5049-19_0_3_load_87 | 12 | 0.00029262 | 7.3338e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5049-19_0_3_load_38 | 13 | 0.00029424 | 7.3743e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5049-19_0_3_load_7 | 14 | 0.0029806 | 0.00074701 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5049-19_0_3_load_9 | 15 | 0.0031346 | 0.00078561 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5049-19_0_3_load_45 | 16 | 0.0031936 | 0.0008004 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5049-19_0_3_load_44 | 17 | 0.0023245 | 0.00058257 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5049-19_0_3_load_10 | 18 | 0.0011086 | 0.00027783 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5049-19_0_3_load_11 | 19 | 0.0035563 | 0.00089129 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5049-19_0_3_load_13 | 21 | 0.0022299 | 0.00055887 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5049-19_0_3_load_14 | 22 | 0.001433 | 0.00035914 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5049-19_0_3_load_15 | 23 | 0.0031989 | 0.00080172 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5049-19_0_3_load_90 | 25 | 0.0013139 | 0.00032929 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5049-19_0_3_load_51 | 26 | 0.0013777 | 0.00034527 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5049-19_0_3_load_52 | 27 | 0.0013314 | 0.00033368 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5049-19_0_3_load_48 | 28 | 0.0031887 | 0.00079915 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5049-19_0_3_load_91 | 29 | 0.0028657 | 0.00071822 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5049-19_0_3_load_16 | 30 | 0.0023779 | 0.00059595 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5049-19_0_3_load_17 | 31 | 0.003284 | 0.00082304 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5049-19_0_3_load_19 | 33 | 0.0027602 | 0.00069176 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5049-19_0_3_load_20 | 34 | 0.001093 | 0.00027392 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5049-19_0_3_load_21 | 35 | 0.001577 | 0.00039523 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5049-19_0_3_load_34 | 36 | 0.0016651 | 0.0004173 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5049-19_0_3_load_95 | 38 | 0.0024453 | 0.00061285 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5049-19_0_3_load_47 | 39 | 0.0013127 | 0.00032899 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5049-19_0_3_load_85 | 40 | 0.0020681 | 0.00051832 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5049-19_0_3_load_96 | 41 | 0.0013847 | 0.00034705 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5049-19_0_3_load_43 | 42 | 0.002168 | 0.00054334 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5049-19_0_3_load_23 | 43 | 0.0018281 | 0.00045817 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5049-19_0_3_load_24 | 44 | 0.0032902 | 0.0008246 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5049-19_0_3_load_25 | 45 | 0.0013738 | 0.0003443 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5049-19_0_3_load_26 | 46 | 0.0051163 | 0.0012823 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5049-19_0_3_load_70 | 48 | 0.0024494 | 0.00061388 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5049-19_0_3_load_57 | 50 | 0.00062395 | 0.00015638 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5049-19_0_3_load_28 | 51 | 0.0020389 | 0.00051101 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5049-19_0_3_load_29 | 52 | 0.0022076 | 0.00055327 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5049-19_0_3_load_31 | 54 | 0.0044039 | 0.0011037 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5049-19_0_3_load_32 | 55 | 0.0021488 | 0.00053854 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5049-19_0_3_load_33 | 56 | 0.0018156 | 0.00045503 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5049-19_0_3_load_40 | 57 | 0.0015706 | 0.00039363 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5049-19_0_3_load_68 | 58 | 0.0014873 | 0.00037275 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5049-19_0_3_load_69 | 60 | 0.0030587 | 0.00076659 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5049-19_0_3_load_46 | 61 | 0.0020631 | 0.00051707 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5049-19_0_3_load_35 | 62 | 0.0018343 | 0.00045971 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5049-19_0_3_load_36 | 63 | 0.00055411 | 0.00013887 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5049-19_0_3_load_37 | 64 | 0.00045691 | 0.00011451 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5049-19_0_3_load_39 | 65 | 0.00033175 | 8.3143e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5049-19_0_3_load_58 | 66 | 0.001851 | 0.0004639 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5049-19_0_3_load_55 | 67 | 0.0012738 | 0.00031925 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5049-19_0_3_load_56 | 68 | 0.0053516 | 0.0013412 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5049-19_0_3_load_53 | 69 | 0.0028555 | 0.00071566 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5049-19_0_3_load_61 | 70 | 0.0014988 | 0.00037564 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5049-19_0_3_load_94 | 71 | 0.0028612 | 0.00071709 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5049-19_0_3_load_77 | 72 | 0.0020649 | 0.00051751 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5049-19_0_3_load_75 | 73 | 0.0025174 | 0.00063091 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5049-19_0_3_load_49 | 74 | 0.0029109 | 0.00072955 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5049-19_0_3_load_62 | 75 | 0.0013054 | 0.00032715 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5049-19_0_3_load_93 | 76 | 0.0022517 | 0.00056432 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5049-19_0_3_load_59 | 77 | 0.00078998 | 0.00019799 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5049-19_0_3_load_88 | 78 | 0.0018765 | 0.00047029 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5049-19_0_3_load_63 | 79 | 0.0027957 | 0.00070067 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5049-19_0_3_load_64 | 80 | 0.0012144 | 0.00030437 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5049-19_0_3_load_65 | 81 | 0.0012275 | 0.00030763 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5049-19_0_3_load_66 | 82 | 0.002799 | 0.00070149 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5049-19_0_3_load_67 | 83 | 0.0019666 | 0.00049288 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5049-19_0_3_load_86 | 84 | 0.0016404 | 0.00041113 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5049-19_0_3_load_82 | 85 | 0.0023371 | 0.00058573 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5049-19_0_3_load_78 | 86 | 0.0014965 | 0.00037507 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5049-19_0_3_load_81 | 87 | 0.0015932 | 0.00039928 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5049-19_0_3_load_89 | 88 | 0.00042635 | 0.00010685 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5049-19_0_3_load_73 | 89 | 0.0011575 | 0.0002901 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5049-19_0_3_load_74 | 90 | 0.0020298 | 0.00050871 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5049-19_0_3_load_76 | 91 | 0.0018084 | 0.00045323 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5049-19_0_3_load_83 | 92 | 0.0031827 | 0.00079766 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5049-19_0_3_load_84 | 93 | 0.0034969 | 0.0008764 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5049-19_0_3_load_92 | 94 | 0.0014028 | 0.00035159 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5049-19_0_3_load_97 | 95 | 0.0043417 | 0.0010881 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 91 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5049-19_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_5049-19_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.014662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_5049-19_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_5049-19_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.028499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5049-19_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.051223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5049-19_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.021241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_5049-19_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.054374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5049-19_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.025161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5049-19_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.00040483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_5049-19_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0019742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_5049-19_0_3_line_10 | NAYY 4x150 SE | 9 | 42 | 0.02001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5049-19_0_3_line_11 | NAYY 4x150 SE | 10 | 14 | 0.015738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_5049-19_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.084935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5049-19_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.1088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5049-19_0_3_line_14 | NAYY 4x150 SE | 12 | 78 | 0.019263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5049-19_0_3_line_15 | NAYY 4x150 SE | 13 | 63 | 0.038348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5049-19_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.018387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_5049-19_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0088139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5049-19_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.01285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5049-19_0_3_line_19 | NAYY 4x150 SE | 17 | 61 | 0.011174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5049-19_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.053284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5049-19_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.014173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5049-19_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.070095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5049-19_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.003487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5049-19_0_3_line_24 | NAYY 4x150 SE | 20 | 23 | 0.064907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5049-19_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.019802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5049-19_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.023352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5049-19_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.040103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5049-19_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.01287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5049-19_0_3_line_29 | NAYY 4x150 SE | 24 | 28 | 0.042069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5049-19_0_3_line_30 | NAYY 4x150 SE | 25 | 29 | 0.00033264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5049-19_0_3_line_31 | NAYY 4x150 SE | 27 | 54 | 0.019296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5049-19_0_3_line_32 | NAYY 4x150 SE | 28 | 74 | 0.0043343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5049-19_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.025364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5049-19_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.018454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5049-19_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.018897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5049-19_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.0014028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5049-19_0_3_line_37 | NAYY 4x150 SE | 32 | 35 | 0.013995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5049-19_0_3_line_38 | NAYY 4x150 SE | 33 | 36 | 0.0027838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5049-19_0_3_line_39 | NAYY 4x150 SE | 34 | 37 | 0.0063742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5049-19_0_3_line_40 | NAYY 4x150 SE | 35 | 38 | 0.011486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5049-19_0_3_line_41 | NAYY 4x150 SE | 36 | 39 | 0.02479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5049-19_0_3_line_42 | NAYY 4x150 SE | 37 | 40 | 0.011382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5049-19_0_3_line_43 | NAYY 4x150 SE | 38 | 41 | 0.005999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5049-19_0_3_line_44 | NAYY 4x150 SE | 39 | 61 | 0.0044156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5049-19_0_3_line_45 | NAYY 4x150 SE | 40 | 49 | 0.014867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5049-19_0_3_line_46 | NAYY 4x150 SE | 41 | 95 | 0.0052618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5049-19_0_3_line_47 | NAYY 4x150 SE | 42 | 72 | 0.0022583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_5049-19_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.017388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5049-19_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.023287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5049-19_0_3_line_50 | NAYY 4x150 SE | 44 | 46 | 0.016982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5049-19_0_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.053652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5049-19_0_3_line_52 | NAYY 4x150 SE | 46 | 48 | 0.048453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5049-19_0_3_line_53 | NAYY 4x150 SE | 47 | 49 | 0.058827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5049-19_0_3_line_54 | NAYY 4x150 SE | 48 | 50 | 0.059964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5049-19_0_3_line_55 | NAYY 4x150 SE | 50 | 66 | 0.029361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5049-19_0_3_line_56 | NAYY 4x150 SE | 50 | 65 | 0.058404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5049-19_0_3_line_57 | NAYY 4x150 SE | 51 | 52 | 0.02455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5049-19_0_3_line_58 | NAYY 4x150 SE | 51 | 53 | 0.032351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5049-19_0_3_line_59 | NAYY 4x150 SE | 52 | 54 | 0.032474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5049-19_0_3_line_60 | NAYY 4x150 SE | 53 | 55 | 0.019702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5049-19_0_3_line_61 | NAYY 4x150 SE | 53 | 56 | 0.032392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5049-19_0_3_line_62 | NAYY 4x150 SE | 55 | 57 | 0.0046282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5049-19_0_3_line_63 | NAYY 4x150 SE | 56 | 58 | 0.015673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5049-19_0_3_line_64 | NAYY 4x150 SE | 57 | 59 | 0.012546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5049-19_0_3_line_65 | NAYY 4x150 SE | 58 | 60 | 0.023139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5049-19_0_3_line_66 | NAYY 4x150 SE | 59 | 67 | 0.016201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5049-19_0_3_line_67 | NAYY 4x150 SE | 59 | 68 | 0.015265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5049-19_0_3_line_68 | NAYY 4x150 SE | 59 | 69 | 0.018835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5049-19_0_3_line_69 | NAYY 4x150 SE | 62 | 63 | 0.012068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5049-19_0_3_line_70 | NAYY 4x150 SE | 62 | 64 | 0.018855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5049-19_0_3_line_71 | NAYY 4x150 SE | 64 | 65 | 0.014847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5049-19_0_3_line_72 | NAYY 4x150 SE | 66 | 77 | 0.0072066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5049-19_0_3_line_73 | NAYY 4x150 SE | 67 | 70 | 0.015959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5049-19_0_3_line_74 | NAYY 4x150 SE | 68 | 71 | 0.01613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5049-19_0_3_line_75 | NAYY 4x150 SE | 70 | 75 | 0.0014929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5049-19_0_3_line_76 | NAYY 4x150 SE | 71 | 76 | 0.011657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5049-19_0_3_line_77 | NAYY 4x150 SE | 72 | 73 | 0.0022415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_5049-19_0_3_line_78 | NAYY 4x150 SE | 73 | 89 | 0.0049206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_5049-19_0_3_line_79 | NAYY 4x150 SE | 76 | 94 | 0.0073373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5049-19_0_3_line_80 | NAYY 4x150 SE | 78 | 88 | 0.0017419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5049-19_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.00088611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5049-19_0_3_line_82 | NAYY 4x150 SE | 79 | 81 | 0.0077571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5049-19_0_3_line_83 | NAYY 4x150 SE | 80 | 82 | 0.0048192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5049-19_0_3_line_84 | NAYY 4x150 SE | 81 | 83 | 0.007839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5049-19_0_3_line_85 | NAYY 4x150 SE | 82 | 84 | 0.0025332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5049-19_0_3_line_86 | NAYY 4x150 SE | 83 | 85 | 0.0059008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5049-19_0_3_line_87 | NAYY 4x150 SE | 84 | 86 | 0.010205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5049-19_0_3_line_88 | NAYY 4x150 SE | 85 | 87 | 0.00026186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5049-19_0_3_line_89 | NAYY 4x150 SE | 86 | 91 | 0.0035501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5049-19_0_3_line_90 | NAYY 4x150 SE | 87 | 92 | 0.0040522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5049-19_0_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0025558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_5049-19_0_3_line_92 | NAYY 4x150 SE | 90 | 91 | 0.0033777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
93 | LV_5049-19_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 3.7191e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5049-19_0_3_line_94 | NAYY 4x150 SE | 93 | 94 | 0.012053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5049-19_0_3_trafo_76 | 0.25 MVA 20/0.4 kV | 96 | 91 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2715425.3916 | 1153838.8179 | 2715425.9482 | 1153839.9615 | 2715429.1588 | 1153849.8186 | 2715430.3474 | 1153857.0684 | 2715430.3474 | 1153857.0687
1 | 2715418.9861 | 1153825.6296 | 2715422.4632 | 1153832.801 | 2715425.3916 | 1153838.8179
2 | 2715426.907 | 1153877.1328 | 2715429.7471 | 1153863.9616 | 2715430.3474 | 1153857.0687
3 | 2715418.9861 | 1153825.6296 | 2715412.8973 | 1153825.3905 | 2715391.9879 | 1153833.6398
4 | 2715418.9861 | 1153825.6296 | 2715415.1643 | 1153812.4253 | 2715399.0094 | 1153778.6088
5 | 2715421.0978 | 1153897.5081 | 2715424.4824 | 1153888.3771 | 2715426.907 | 1153877.1328
6 | 2715391.9879 | 1153833.6398 | 2715381.6765 | 1153830.6848 | 2715366.6991 | 1153828.1406 | 2715338.0881 | 1153828.2037
7 | 2715391.9879 | 1153833.6398 | 2715383.8531 | 1153836.8417 | 2715378.9183 | 1153841.6615 | 2715374.3425 | 1153850.0109
8 | 2715421.0978 | 1153897.5081 | 2715420.9571 | 1153897.8877
9 | 2715373.3804 | 1153851.7348 | 2715373.8048 | 1153850.992 | 2715374.3425 | 1153850.0109
10 | 2715414.662 | 1153916.8411 | 2715415.423 | 1153912.9867 | 2715416.8913 | 1153908.8565 | 2715420.9571 | 1153897.8877
11 | 2715373.3804 | 1153851.7348 | 2715365.5722 | 1153865.3991
12 | 2715234.0254 | 1153617.3258 | 2715232.9884 | 1153624.9889 | 2715237.2421 | 1153635.3105 | 2715242.2446 | 1153642.9892 | 2715246.5666 | 1153653.7457 | 2715248.1878 | 1153665.6737 | 2715248.7963 | 1153677.1819 | 2715246.5992 | 1153684.1112 | 2715244.2298 | 1153689.614 | 2715241.4658 | 1153694.4866 | 2715241.0063 | 1153697.3061
13 | 2715234.0254 | 1153617.3258 | 2715250.0289 | 1153644.0722 | 2715256.6201 | 1153657.763 | 2715260.3394 | 1153668.7305 | 2715264.581 | 1153686.4902 | 2715266.8239 | 1153700.4092 | 2715267.9839 | 1153718.8664
14 | 2715241.0063 | 1153697.3061 | 2715240.3006 | 1153701.6358 | 2715237.9432 | 1153706.5162 | 2715235.2264 | 1153708.5211 | 2715229.1471 | 1153708.5602
15 | 2715267.2282 | 1153757.1592 | 2715268.373 | 1153741.3441 | 2715268.4121 | 1153725.6787 | 2715267.9839 | 1153718.8664
16 | 2715357.0259 | 1153881.6225 | 2715358.0745 | 1153878.5203 | 2715365.5722 | 1153865.3991
17 | 2715357.0259 | 1153881.6225 | 2715354.4786 | 1153889.1586 | 2715354.3674 | 1153890.0103
18 | 2715352.705 | 1153902.7519 | 2715354.3674 | 1153890.0103
19 | 2715352.705 | 1153902.7519 | 2715351.447 | 1153912.3939 | 2715351.3965 | 1153913.8432
20 | 2715508.2222 | 1153960.1136 | 2715506.5054 | 1153978.299 | 2715504.9391 | 1153985.1402 | 2715502.554 | 1153991.4542 | 2715495.902 | 1154005.3805 | 2715494.0465 | 1154010.893 | 2715494.0465 | 1154010.893
21 | 2715510.9495 | 1153946.2738 | 2715508.8998 | 1153953.1057 | 2715508.2489 | 1153959.8311 | 2715508.2222 | 1153960.1136
22 | 2715494.0465 | 1154010.893 | 2715492.7516 | 1154017.5838 | 2715492.3971 | 1154024.4594 | 2715493.2379 | 1154039.8303 | 2715494.0792 | 1154052.3771 | 2715493.5212 | 1154059.8603 | 2715491.5913 | 1154065.6494 | 2715488.3501 | 1154072.9922 | 2715485.3939 | 1154079.1096
23 | 2715510.9495 | 1153946.2738 | 2715511.6242 | 1153942.8527
24 | 2715510.9495 | 1153946.2738 | 2715513.3476 | 1153959.6732 | 2715515.4984 | 1153965.5629 | 2715518.222 | 1153968.7951 | 2715521.3583 | 1153971.3236 | 2715525.3546 | 1153972.2231 | 2715537.5941 | 1153972.6582 | 2715543.6057 | 1153970.5165 | 2715549.9478 | 1153967.147 | 2715551.4353 | 1153964.8184 | 2715552.3191 | 1153961.5554 | 2715552.4493 | 1153960.8487
25 | 2715517.2884 | 1153923.8803 | 2715511.7316 | 1153942.3083 | 2715511.6242 | 1153942.8527
26 | 2715557.93 | 1153938.1794 | 2715554.3921 | 1153950.3099 | 2715552.4493 | 1153960.8487
27 | 2715517.2884 | 1153923.8803 | 2715551.5448 | 1153916.7438 | 2715556.0527 | 1153914.336
28 | 2715517.2884 | 1153923.8803 | 2715510.0619 | 1153926.5435 | 2715505.1929 | 1153928.2784
29 | 2715517.2884 | 1153923.8803 | 2715527.9824 | 1153883.1933
30 | 2715558.0231 | 1153937.8601 | 2715557.93 | 1153938.1794
31 | 2715505.1929 | 1153928.2784 | 2715499.6691 | 1153930.2467 | 2715493.1799 | 1153933.2798 | 2715488.2167 | 1153937.1097
32 | 2715527.9824 | 1153883.1933 | 2715529.0841 | 1153879.0014
33 | 2715362.1213 | 1153988.9064 | 2715362.2895 | 1153986.518 | 2715361.8825 | 1153978.1268 | 2715358.524 | 1153963.9503
34 | 2715360.8242 | 1154007.315 | 2715362.1213 | 1153988.9064
35 | 2715354.4078 | 1153945.5123 | 2715355.2514 | 1153950.1366 | 2715358.524 | 1153963.9503
36 | 2715360.8242 | 1154007.315 | 2715360.3394 | 1154008.6314
37 | 2715360.8242 | 1154007.315 | 2715365.9529 | 1154005.1896 | 2715368.6911 | 1154002.0622 | 2715370.7043 | 1153998.2781
38 | 2715354.4078 | 1153945.5123 | 2715353.9083 | 1153942.7737
39 | 2715358.1365 | 1154014.6129 | 2715360.3394 | 1154008.6314
40 | 2715370.7043 | 1153998.2781 | 2715372.7432 | 1153994.4458 | 2715374.7722 | 1153990.6822 | 2715376.4881 | 1153988.3831
41 | 2715351.2426 | 1153918.256 | 2715350.9527 | 1153926.5717 | 2715353.9083 | 1153942.7737
42 | 2715358.1365 | 1154014.6129 | 2715359.3895 | 1154020.1073 | 2715358.993 | 1154025.8403
43 | 2715376.4881 | 1153988.3831 | 2715380.0763 | 1153983.5755
44 | 2715351.2426 | 1153918.256 | 2715351.3965 | 1153913.8432
45 | 2715357.967 | 1154040.6716 | 2715358.993 | 1154025.8403
46 | 2715383.2236 | 1153979.3587 | 2715380.0763 | 1153983.5755
47 | 2715414.2246 | 1153919.0567 | 2715414.2246 | 1153919.0567 | 2715414.662 | 1153916.8411
48 | 2715291.1765 | 1153942.6122 | 2715292.7028 | 1153959.9329
49 | 2715294.7469 | 1153983.1304 | 2715292.7028 | 1153959.9329
50 | 2715290.9622 | 1153925.6351 | 2715291.0708 | 1153941.4128 | 2715291.1765 | 1153942.6122
51 | 2715299.4005 | 1154036.5806 | 2715294.9287 | 1153985.1939 | 2715294.7469 | 1153983.1304
52 | 2715294.1714 | 1153877.3069 | 2715290.9207 | 1153919.6064 | 2715290.9622 | 1153925.6351
53 | 2715299.4005 | 1154036.5806 | 2715305.999 | 1154037.0406 | 2715332.482 | 1154040.6501 | 2715334.1933 | 1154040.6496 | 2715357.967 | 1154040.6716
54 | 2715294.1714 | 1153877.3069 | 2715237.8276 | 1153856.7858
55 | 2715237.8276 | 1153856.7858 | 2715231.299 | 1153873.9681 | 2715227.3985 | 1153884.2317
56 | 2715257.4508 | 1153801.7899 | 2715256.9423 | 1153803.6449 | 2715246.0154 | 1153835.2348 | 2715240.6896 | 1153849.2534 | 2715237.8276 | 1153856.7858
57 | 2715472.2503 | 1153964.98 | 2715464.437 | 1153988.2532
58 | 2715452.9903 | 1154018.4887 | 2715459.4963 | 1154002.9697 | 2715464.437 | 1153988.2532
59 | 2715488.2167 | 1153937.1097 | 2715487.4157 | 1153937.7278 | 2715480.8225 | 1153945.7846 | 2715473.8051 | 1153960.3487 | 2715472.2503 | 1153964.98
60 | 2715452.9903 | 1154018.4887 | 2715447.5121 | 1154024.0319 | 2715437.3956 | 1154030.3151
61 | 2715452.9903 | 1154018.4887 | 2715460.5607 | 1154025.4941 | 2715461.1402 | 1154029.2855 | 2715459.9458 | 1154035.1444 | 2715458.7125 | 1154044.2268 | 2715458.4798 | 1154047.3147
62 | 2715437.3956 | 1154030.3151 | 2715434.5575 | 1154032.0778 | 2715433.3232 | 1154032.4435
63 | 2715457.3018 | 1154062.9432 | 2715458.4798 | 1154047.3147
64 | 2715421.2404 | 1154035.814 | 2715426.4151 | 1154034.4901 | 2715433.3232 | 1154032.4435
65 | 2715455.5626 | 1154086.0167 | 2715457.3018 | 1154062.9432
66 | 2715421.2404 | 1154035.814 | 2715405.2 | 1154038.0918
67 | 2715421.2404 | 1154035.814 | 2715421.1629 | 1154029.8529 | 2715422.0892 | 1154020.5956
68 | 2715421.2404 | 1154035.814 | 2715421.8801 | 1154038.0722 | 2715422.3664 | 1154039.527 | 2715423.0951 | 1154043.9439 | 2715421.7165 | 1154054.3302
69 | 2715265.4676 | 1153769.0897 | 2715267.0477 | 1153759.6532 | 2715267.2282 | 1153757.1592
70 | 2715265.4676 | 1153769.0897 | 2715263.9801 | 1153777.9735 | 2715261.3764 | 1153787.4709
71 | 2715257.4508 | 1153801.7899 | 2715261.3764 | 1153787.4709
72 | 2715224.8384 | 1153890.9682 | 2715227.3985 | 1153884.2317
73 | 2715405.2 | 1154038.0918 | 2715401.7183 | 1154038.5862 | 2715389.2912 | 1154039.21
74 | 2715424.8786 | 1154004.7514 | 2715422.8718 | 1154012.7742 | 2715422.0892 | 1154020.5956
75 | 2715389.2912 | 1154039.21 | 2715387.8002 | 1154039.2849
76 | 2715427.7072 | 1153993.4433 | 2715424.8786 | 1154004.7514
77 | 2715414.2246 | 1153919.0567 | 2715414.5808 | 1153921.2696
78 | 2715415.3629 | 1153926.1277 | 2715414.5808 | 1153921.2696
79 | 2715429.1735 | 1153986.2696 | 2715428.9307 | 1153988.5519 | 2715427.7072 | 1153993.4433
80 | 2715227.4052 | 1153708.5715 | 2715229.1471 | 1153708.5602
81 | 2715429.1057 | 1153947.6536 | 2715429.1149 | 1153948.5396
82 | 2715429.1149 | 1153948.5396 | 2715429.1149 | 1153948.5396 | 2715428.4385 | 1153956.2671
83 | 2715429.1057 | 1153947.6536 | 2715429.0555 | 1153942.8346 | 2715429.0555 | 1153942.8346
84 | 2715427.755 | 1153964.0763 | 2715428.4385 | 1153956.2671
85 | 2715429.0555 | 1153942.8346 | 2715427.4704 | 1153940.8586
86 | 2715427.755 | 1153964.0763 | 2715427.6605 | 1153965.1562 | 2715428.1404 | 1153969.9489
87 | 2715419.6705 | 1153934.4191 | 2715419.7377 | 1153934.506 | 2715422.9345 | 1153937.0801 | 2715425.8851 | 1153938.8823 | 2715427.4704 | 1153940.8586
88 | 2715428.1404 | 1153969.9489 | 2715428.1664 | 1153970.2095
89 | 2715419.6705 | 1153934.4191 | 2715417.4991 | 1153931.6105
90 | 2715428.1664 | 1153970.2095 | 2715428.5702 | 1153974.2415
91 | 2715415.3629 | 1153926.1277 | 2715415.3629 | 1153926.1277 | 2715416.152 | 1153928.5586
92 | 2715416.152 | 1153928.5586 | 2715416.8846 | 1153930.8155 | 2715417.4991 | 1153931.6105
93 | 2715428.5702 | 1153974.2415 | 2715428.5739 | 1153974.2786
94 | 2715429.1735 | 1153986.2696 | 2715429.4831 | 1153983.359 | 2715428.5739 | 1153974.2786

## bus_geodata
| x | y | coords
0 | 2715425.3916 | 1153838.8179
1 | 2715430.3474 | 1153857.0687
2 | 2715418.9861 | 1153825.6296
3 | 2715426.907 | 1153877.1328
4 | 2715391.9879 | 1153833.6399
5 | 2715399.0094 | 1153778.6088
6 | 2715421.0978 | 1153897.5081
7 | 2715338.0881 | 1153828.2037
8 | 2715374.3425 | 1153850.0109
9 | 2715420.9571 | 1153897.8877
10 | 2715373.3804 | 1153851.7348
11 | 2715234.0254 | 1153617.3258
12 | 2715241.0063 | 1153697.3061
13 | 2715267.9839 | 1153718.8664
14 | 2715365.5722 | 1153865.3991
15 | 2715357.0259 | 1153881.6225
16 | 2715354.3674 | 1153890.0102
17 | 2715352.705 | 1153902.7519
18 | 2715508.2222 | 1153960.1136
19 | 2715494.0465 | 1154010.893
20 | 2715510.9495 | 1153946.2738
21 | 2715485.3939 | 1154079.1096
22 | 2715511.6242 | 1153942.8527
23 | 2715552.4493 | 1153960.8487
24 | 2715517.2884 | 1153923.8803
25 | 2715557.93 | 1153938.1794
26 | 2715556.0527 | 1153914.336
27 | 2715505.1929 | 1153928.2784
28 | 2715527.9824 | 1153883.1933
29 | 2715558.0231 | 1153937.8601
30 | 2715362.1213 | 1153988.9064
31 | 2715358.524 | 1153963.9503
32 | 2715360.8242 | 1154007.315
33 | 2715354.4078 | 1153945.5123
34 | 2715360.3394 | 1154008.6314
35 | 2715370.7043 | 1153998.2781
36 | 2715353.9083 | 1153942.7737
37 | 2715358.1365 | 1154014.6129
38 | 2715376.4881 | 1153988.3831
39 | 2715351.2426 | 1153918.256
40 | 2715358.993 | 1154025.8403
41 | 2715380.0763 | 1153983.5755
42 | 2715414.662 | 1153916.8411
43 | 2715292.7028 | 1153959.9329
44 | 2715291.1765 | 1153942.6122
45 | 2715294.7469 | 1153983.1304
46 | 2715290.9622 | 1153925.6351
47 | 2715299.4005 | 1154036.5806
48 | 2715294.1714 | 1153877.3069
49 | 2715357.967 | 1154040.6716
50 | 2715237.8276 | 1153856.7858
51 | 2715464.437 | 1153988.2532
52 | 2715472.2503 | 1153964.98
53 | 2715452.9903 | 1154018.4887
54 | 2715488.2167 | 1153937.1097
55 | 2715437.3956 | 1154030.3151
56 | 2715458.4798 | 1154047.3147
57 | 2715433.3232 | 1154032.4435
58 | 2715457.3018 | 1154062.9432
59 | 2715421.2404 | 1154035.814
60 | 2715455.5626 | 1154086.0167
61 | 2715351.3965 | 1153913.8432
62 | 2715265.4676 | 1153769.0897
63 | 2715267.2282 | 1153757.1592
64 | 2715261.3764 | 1153787.4709
65 | 2715257.4508 | 1153801.7899
66 | 2715227.3985 | 1153884.2317
67 | 2715405.2 | 1154038.0918
68 | 2715422.0892 | 1154020.5956
69 | 2715421.7165 | 1154054.3302
70 | 2715389.2912 | 1154039.21
71 | 2715424.8786 | 1154004.7514
72 | 2715414.2246 | 1153919.0567
73 | 2715414.5808 | 1153921.2696
74 | 2715529.0841 | 1153879.0014
75 | 2715387.8002 | 1154039.2849
76 | 2715427.7072 | 1153993.4433
77 | 2715224.8384 | 1153890.9682
78 | 2715229.1471 | 1153708.5602
79 | 2715429.1149 | 1153948.5396
80 | 2715429.1057 | 1153947.6536
81 | 2715428.4385 | 1153956.2671
82 | 2715429.0555 | 1153942.8346
83 | 2715427.755 | 1153964.0763
84 | 2715427.4704 | 1153940.8586
85 | 2715428.1404 | 1153969.9489
86 | 2715419.6705 | 1153934.4191
87 | 2715428.1664 | 1153970.2095
88 | 2715227.4052 | 1153708.5715
89 | 2715415.3629 | 1153926.1277
90 | 2715416.152 | 1153928.5586
91 | 2715417.4991 | 1153931.6105
92 | 2715428.5702 | 1153974.2415
93 | 2715428.5739 | 1153974.2786
94 | 2715429.1735 | 1153986.2696
95 | 2715383.2236 | 1153979.3587
96 | 2715421.2404 | 1154035.814

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1