## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5049-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5049-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5049-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5049-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5049-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5049-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5049-3_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5049-3_0_3_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_5049-3_0_3_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_5049-3_0_3_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_5049-3_0_3_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_5049-3_0_3_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_5049-3_0_3_node_76 | 0.4 | n |  | TRUE
13 | bus_LV_5049-3_0_3_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_5049-3_0_3_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_5049-3_0_3_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_5049-3_0_3_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_5049-3_0_3_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_5049-3_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5049-3_0_3_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_5049-3_0_3_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_5049-3_0_3_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_5049-3_0_3_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_5049-3_0_3_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_5049-3_0_3_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_5049-3_0_3_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_5049-3_0_3_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_5049-3_0_3_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_5049-3_0_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_5049-3_0_3_node_94 | 0.4 | n |  | TRUE
30 | bus_LV_5049-3_0_3_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_5049-3_0_3_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_5049-3_0_3_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_5049-3_0_3_node_93 | 0.4 | n |  | TRUE
34 | bus_LV_5049-3_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5049-3_0_3_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_5049-3_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5049-3_0_3_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_5049-3_0_3_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_5049-3_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5049-3_0_3_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_5049-3_0_3_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_5049-3_0_3_node_18 | 0.4 | n |  | TRUE
43 | bus_LV_5049-3_0_3_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_5049-3_0_3_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_5049-3_0_3_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_5049-3_0_3_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_5049-3_0_3_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_5049-3_0_3_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_5049-3_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_5049-3_0_3_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_5049-3_0_3_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_5049-3_0_3_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_5049-3_0_3_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_5049-3_0_3_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_5049-3_0_3_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_5049-3_0_3_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_5049-3_0_3_node_27 | 0.4 | n |  | TRUE
58 | bus_LV_5049-3_0_3_node_28 | 0.4 | n |  | TRUE
59 | bus_LV_5049-3_0_3_node_29 | 0.4 | n |  | TRUE
60 | bus_LV_5049-3_0_3_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_5049-3_0_3_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_5049-3_0_3_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_5049-3_0_3_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_5049-3_0_3_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_5049-3_0_3_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_5049-3_0_3_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_5049-3_0_3_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_5049-3_0_3_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_5049-3_0_3_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_5049-3_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_5049-3_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_5049-3_0_3_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_5049-3_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_5049-3_0_3_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_5049-3_0_3_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5049-3_0_3_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5049-3_0_3_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_5049-3_0_3_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_5049-3_0_3_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_5049-3_0_3_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_5049-3_0_3_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_5049-3_0_3_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_5049-3_0_3_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_5049-3_0_3_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_5049-3_0_3_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_5049-3_0_3_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_5049-3_0_3_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_5049-3_0_3_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_5049-3_0_3_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_5049-3_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_5049-3_0_3_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_5049-3_0_3_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_5049-3_0_3_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_5049-3_0_3_node_89 | 0.4 | n |  | TRUE
95 | bus_MV_185_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5049-3_0_3_load_0 | 0 | 0.0011182 | 0.00028024 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5049-3_0_3_load_3 | 3 | 0.0013498 | 0.0003383 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5049-3_0_3_load_4 | 4 | 0.0029687 | 0.00074402 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5049-3_0_3_load_6 | 6 | 0.0017199 | 0.00043104 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5049-3_0_3_load_78 | 7 | 0.002392 | 0.0005995 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5049-3_0_3_load_38 | 8 | 0.0015271 | 0.00038273 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5049-3_0_3_load_44 | 9 | 0.0013214 | 0.00033116 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5049-3_0_3_load_46 | 10 | 0.0020626 | 0.00051695 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5049-3_0_3_load_37 | 11 | 0.0010184 | 0.00025525 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5049-3_0_3_load_76 | 12 | 0.00087691 | 0.00021977 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5049-3_0_3_load_80 | 15 | 0.0010948 | 0.00027438 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5049-3_0_3_load_45 | 17 | 0.0006336 | 0.0001588 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5049-3_0_3_load_15 | 18 | 0.0026291 | 0.00065891 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5049-3_0_3_load_43 | 19 | 0.00056796 | 0.00014234 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5049-3_0_3_load_47 | 20 | 0.0014171 | 0.00035516 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5049-3_0_3_load_7 | 21 | 0.0010571 | 0.00026494 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5049-3_0_3_load_8 | 22 | 0.0023003 | 0.00057651 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5049-3_0_3_load_10 | 24 | 0.002595 | 0.00065036 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5049-3_0_3_load_11 | 25 | 0.0013941 | 0.00034938 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5049-3_0_3_load_12 | 26 | 0.0014308 | 0.00035859 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5049-3_0_3_load_13 | 27 | 0.0019916 | 0.00049914 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5049-3_0_3_load_49 | 28 | 0.002021 | 0.00050652 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5049-3_0_3_load_94 | 29 | 0.0050268 | 0.0012598 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5049-3_0_3_load_92 | 30 | 0.0014127 | 0.00035405 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5049-3_0_3_load_50 | 32 | 0.0009175 | 0.00022995 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5049-3_0_3_load_93 | 33 | 0.0010143 | 0.00025421 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5049-3_0_3_load_24 | 34 | 0.0016294 | 0.00040837 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5049-3_0_3_load_91 | 37 | 0.0022174 | 0.00055573 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5049-3_0_3_load_22 | 39 | 0.0022461 | 0.00056292 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5049-3_0_3_load_17 | 40 | 0.0057992 | 0.0014534 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5049-3_0_3_load_58 | 41 | 0.0009949 | 0.00024935 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5049-3_0_3_load_18 | 42 | 0.00092976 | 0.00023302 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5049-3_0_3_load_20 | 43 | 0.002317 | 0.0005807 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5049-3_0_3_load_82 | 44 | 0.003381 | 0.00084737 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5049-3_0_3_load_54 | 45 | 0.0039357 | 0.00098637 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5049-3_0_3_load_51 | 46 | 0.0018089 | 0.00045336 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5049-3_0_3_load_55 | 47 | 0.001802 | 0.00045162 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5049-3_0_3_load_52 | 48 | 0.0021784 | 0.00054595 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5049-3_0_3_load_33 | 49 | 0.00060217 | 0.00015092 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5049-3_0_3_load_23 | 50 | 0.0013073 | 0.00032765 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5049-3_0_3_load_81 | 53 | 0.0010406 | 0.0002608 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5049-3_0_3_load_34 | 54 | 0.0029639 | 0.00074282 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5049-3_0_3_load_95 | 55 | 0.001331 | 0.00033357 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5049-3_0_3_load_96 | 56 | 0.00043757 | 0.00010967 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5049-3_0_3_load_27 | 57 | 0.00095548 | 0.00023947 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5049-3_0_3_load_28 | 58 | 0.00042811 | 0.00010729 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5049-3_0_3_load_30 | 60 | 0.00042524 | 0.00010658 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5049-3_0_3_load_31 | 61 | 0.0017664 | 0.0004427 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5049-3_0_3_load_35 | 63 | 0.0007745 | 0.00019411 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5049-3_0_3_load_36 | 64 | 0.0013605 | 0.00034099 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5049-3_0_3_load_83 | 65 | 0.0017693 | 0.00044342 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5049-3_0_3_load_90 | 66 | 0.001306 | 0.00032731 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5049-3_0_3_load_40 | 67 | 0.00059993 | 0.00015036 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5049-3_0_3_load_41 | 68 | 0.00060435 | 0.00015146 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5049-3_0_3_load_42 | 69 | 0.00070116 | 0.00017573 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5049-3_0_3_load_59 | 70 | 0.0014649 | 0.00036713 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5049-3_0_3_load_67 | 71 | 0.0016772 | 0.00042035 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5049-3_0_3_load_57 | 72 | 0.0013057 | 0.00032724 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5049-3_0_3_load_53 | 74 | 0.00080675 | 0.00020219 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5049-3_0_3_load_73 | 75 | 0.0032738 | 0.0008205 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5049-3_0_3_load_66 | 77 | 0.0022023 | 0.00055194 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5049-3_0_3_load_60 | 78 | 0.0021847 | 0.00054753 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5049-3_0_3_load_61 | 79 | 0.0021965 | 0.0005505 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5049-3_0_3_load_63 | 81 | 0.0020003 | 0.00050133 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5049-3_0_3_load_64 | 82 | 0.00087964 | 0.00022046 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5049-3_0_3_load_65 | 83 | 0.00074899 | 0.00018772 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5049-3_0_3_load_71 | 84 | 0.0019269 | 0.00048293 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5049-3_0_3_load_70 | 85 | 0.00075017 | 0.00018801 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5049-3_0_3_load_75 | 87 | 0.00074839 | 0.00018756 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5049-3_0_3_load_68 | 88 | 0.0013523 | 0.00033891 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5049-3_0_3_load_85 | 90 | 0.0019788 | 0.00049592 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5049-3_0_3_load_88 | 91 | 0.0018151 | 0.0004549 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5049-3_0_3_load_84 | 92 | 0.001276 | 0.00031981 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5049-3_0_3_load_87 | 93 | 0.0010536 | 0.00026405 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5049-3_0_3_load_89 | 94 | 0.0015261 | 0.00038249 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5049-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5049-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0050572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5049-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.033612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5049-3_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.012088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5049-3_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.003073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5049-3_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.020803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5049-3_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.073172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5049-3_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.015627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5049-3_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.020855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5049-3_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0073342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5049-3_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.058152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5049-3_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.0114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5049-3_0_3_line_12 | NAYY 4x150 SE | 8 | 16 | 0.017165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5049-3_0_3_line_13 | NAYY 4x150 SE | 9 | 19 | 0.01368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5049-3_0_3_line_14 | NAYY 4x150 SE | 10 | 20 | 0.014506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5049-3_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.05647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5049-3_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.0078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5049-3_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.015693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5049-3_0_3_line_18 | NAYY 4x150 SE | 16 | 65 | 0.024031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5049-3_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0083684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5049-3_0_3_line_20 | NAYY 4x150 SE | 18 | 31 | 0.029996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5049-3_0_3_line_21 | NAYY 4x150 SE | 19 | 69 | 0.0097008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5049-3_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0090357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5049-3_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.029484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5049-3_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.035388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5049-3_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.024272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5049-3_0_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.026074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5049-3_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.016222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5049-3_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.02779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5049-3_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.088416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5049-3_0_3_line_30 | NAYY 4x150 SE | 26 | 30 | 0.16748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5049-3_0_3_line_31 | NAYY 4x150 SE | 27 | 31 | 0.001979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5049-3_0_3_line_32 | NAYY 4x150 SE | 28 | 32 | 0.014634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5049-3_0_3_line_33 | NAYY 4x150 SE | 30 | 33 | 0.038054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5049-3_0_3_line_34 | NAYY 4x150 SE | 31 | 35 | 0.030475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5049-3_0_3_line_35 | NAYY 4x150 SE | 32 | 53 | 0.035661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5049-3_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.059485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5049-3_0_3_line_37 | NAYY 4x150 SE | 34 | 50 | 0.0203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5049-3_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.020685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5049-3_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.016087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_5049-3_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.022636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5049-3_0_3_line_41 | NAYY 4x150 SE | 36 | 39 | 0.042607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5049-3_0_3_line_42 | NAYY 4x150 SE | 36 | 40 | 0.018918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5049-3_0_3_line_43 | NAYY 4x150 SE | 37 | 41 | 0.014221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5049-3_0_3_line_44 | NAYY 4x150 SE | 38 | 45 | 0.018423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5049-3_0_3_line_45 | NAYY 4x150 SE | 38 | 46 | 0.019536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5049-3_0_3_line_46 | NAYY 4x150 SE | 39 | 47 | 0.0069482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5049-3_0_3_line_47 | NAYY 4x150 SE | 40 | 42 | 0.010008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5049-3_0_3_line_48 | NAYY 4x150 SE | 41 | 73 | 0.013638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5049-3_0_3_line_49 | NAYY 4x150 SE | 42 | 43 | 0.0050881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5049-3_0_3_line_50 | NAYY 4x150 SE | 43 | 44 | 0.011724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5049-3_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.0098813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5049-3_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.0057208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5049-3_0_3_line_53 | NAYY 4x150 SE | 48 | 74 | 0.012067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5049-3_0_3_line_54 | NAYY 4x150 SE | 49 | 62 | 0.03384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5049-3_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.053033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5049-3_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.056664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5049-3_0_3_line_57 | NAYY 4x150 SE | 52 | 55 | 0.014009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5049-3_0_3_line_58 | NAYY 4x150 SE | 52 | 56 | 0.082027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5049-3_0_3_line_59 | NAYY 4x150 SE | 53 | 54 | 0.045273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5049-3_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.032236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5049-3_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.040345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5049-3_0_3_line_62 | NAYY 4x150 SE | 58 | 60 | 0.0016637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5049-3_0_3_line_63 | NAYY 4x150 SE | 59 | 61 | 0.051164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5049-3_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.035916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5049-3_0_3_line_65 | NAYY 4x150 SE | 61 | 63 | 0.018641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5049-3_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.057286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5049-3_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.010902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5049-3_0_3_line_68 | NAYY 4x150 SE | 66 | 94 | 0.022097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5049-3_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0028946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5049-3_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.0050842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5049-3_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.00085975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5049-3_0_3_line_72 | NAYY 4x150 SE | 71 | 77 | 0.018589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5049-3_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.010677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5049-3_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.0090931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5049-3_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.010229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5049-3_0_3_line_76 | NAYY 4x150 SE | 76 | 87 | 0.033832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5049-3_0_3_line_77 | NAYY 4x150 SE | 76 | 83 | 0.017871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5049-3_0_3_line_78 | NAYY 4x150 SE | 77 | 88 | 0.014493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5049-3_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.0053031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5049-3_0_3_line_80 | NAYY 4x150 SE | 78 | 80 | 0.019037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5049-3_0_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.028213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5049-3_0_3_line_82 | NAYY 4x150 SE | 80 | 82 | 0.012825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5049-3_0_3_line_83 | NAYY 4x150 SE | 80 | 83 | 0.011694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5049-3_0_3_line_84 | NAYY 4x150 SE | 81 | 84 | 0.0034631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5049-3_0_3_line_85 | NAYY 4x150 SE | 82 | 85 | 0.018637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5049-3_0_3_line_86 | NAYY 4x150 SE | 84 | 86 | 0.015248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5049-3_0_3_line_87 | NAYY 4x150 SE | 86 | 89 | 0.014316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5049-3_0_3_line_88 | NAYY 4x150 SE | 86 | 88 | 0.011472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5049-3_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.0038845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5049-3_0_3_line_90 | NAYY 4x150 SE | 89 | 91 | 0.0068575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5049-3_0_3_line_91 | NAYY 4x150 SE | 90 | 92 | 0.0048154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5049-3_0_3_line_92 | NAYY 4x150 SE | 91 | 93 | 0.0067672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5049-3_0_3_line_93 | NAYY 4x150 SE | 93 | 94 | 0.0096827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5049-3_0_3_trafo_91 | 0.25 MVA 20/0.4 kV | 95 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2716320.1672 | 1149537.6681 | 2716316.7281 | 1149534.8109 | 2716300.4412 | 1149530.754
1 | 2716295.5339 | 1149529.5317 | 2716300.4412 | 1149530.754
2 | 2716320.1672 | 1149537.6681 | 2716316.995 | 1149550.4154 | 2716317.1568 | 1149557.5456 | 2716319.3461 | 1149563.881 | 2716320.857 | 1149570.3478
3 | 2716320.1672 | 1149537.6681 | 2716331.6507 | 1149533.893
4 | 2716293.0894 | 1149527.661 | 2716295.5339 | 1149529.5317
5 | 2716295.5339 | 1149529.5317 | 2716308.2175 | 1149519.3696 | 2716307.6442 | 1149514.8555
6 | 2716320.857 | 1149570.3478 | 2716354.2037 | 1149635.4798
7 | 2716331.6507 | 1149533.893 | 2716333.8396 | 1149533.1734 | 2716338.8472 | 1149529.1785 | 2716344.4385 | 1149525.106
8 | 2716293.0894 | 1149527.661 | 2716279.4722 | 1149543.4564
9 | 2716312.1872 | 1149509.0977 | 2716307.6442 | 1149514.8555
10 | 2716354.2037 | 1149635.4798 | 2716299.8602 | 1149656.1793
11 | 2716354.2037 | 1149635.4798 | 2716365.5354 | 1149634.2346
12 | 2716358.313 | 1149515.0003 | 2716344.4385 | 1149525.106
13 | 2716279.4722 | 1149543.4564 | 2716270.5398 | 1149553.8176
14 | 2716312.1872 | 1149509.0977 | 2716321.1722 | 1149497.7098
15 | 2716421.6672 | 1149628.0665 | 2716365.5354 | 1149634.2346
16 | 2716421.0101 | 1149635.8368 | 2716421.6672 | 1149628.0665
17 | 2716421.0101 | 1149635.8368 | 2716418.8438 | 1149651.3794
18 | 2716358.313 | 1149515.0003 | 2716363.4817 | 1149506.2497 | 2716367.1453 | 1149492.8744
19 | 2716260.4681 | 1149519.0691 | 2716253.5322 | 1149517.2353 | 2716252.6488 | 1149516.4318
20 | 2716234.1475 | 1149493.0007 | 2716246.9132 | 1149511.2147 | 2716252.6488 | 1149516.4318
21 | 2716264.2192 | 1149561.1762 | 2716264.5024 | 1149560.8207 | 2716270.5398 | 1149553.8176
22 | 2716185.5487 | 1149532.4919 | 2716192.4362 | 1149526.6433
23 | 2716164.771 | 1149553.3481 | 2716178.7395 | 1149538.2739 | 2716185.5487 | 1149532.4919
24 | 2716192.4362 | 1149526.6433 | 2716194.7687 | 1149524.6626 | 2716219.9629 | 1149504.4056
25 | 2716164.771 | 1149553.3481 | 2716161.7616 | 1149547.7196 | 2716166.9839 | 1149532.5879 | 2716166.9694 | 1149530.7064
26 | 2716164.771 | 1149553.3481 | 2716160.6265 | 1149560.3841 | 2716152.6041 | 1149576.3945
27 | 2716232.6052 | 1149494.2408 | 2716219.9629 | 1149504.4056
28 | 2716166.9694 | 1149530.7064 | 2716166.7557 | 1149502.9173
29 | 2716152.6041 | 1149576.3945 | 2716188.0379 | 1149657.3999
30 | 2716152.6041 | 1149576.3945 | 2715987.8594 | 1149546.2345
31 | 2716234.1475 | 1149493.0007 | 2716232.6052 | 1149494.2408
32 | 2716166.7557 | 1149502.9173 | 2716166.7496 | 1149502.1296 | 2716164.2404 | 1149488.5122
33 | 2715989.0491 | 1149510.724 | 2715994.4882 | 1149529.7748 | 2715993.6248 | 1149537.5189 | 2715987.8594 | 1149546.2345
34 | 2716247.7131 | 1149466.1887 | 2716244.6276 | 1149477.6369 | 2716239.2027 | 1149486.5383 | 2716234.1475 | 1149493.0007
35 | 2716161.3873 | 1149453.0143 | 2716161.7412 | 1149455.2015 | 2716163.1762 | 1149482.7366 | 2716164.2404 | 1149488.5122
36 | 2715934.0554 | 1149488.0489 | 2715989.0491 | 1149510.724
37 | 2715940.777 | 1149471.7068 | 2715941.6646 | 1149480.8032 | 2715940.2033 | 1149484.4998 | 2715934.6439 | 1149488.0508 | 2715934.0554 | 1149488.0489
38 | 2716249.6516 | 1149445.7346 | 2716249.6713 | 1149457.8431 | 2716247.7131 | 1149466.1887
39 | 2716247.7131 | 1149466.1887 | 2716258.0161 | 1149466.7656 | 2716263.7517 | 1149466.1555
40 | 2716249.6516 | 1149445.7346 | 2716256.3739 | 1149444.4189 | 2716262.2343 | 1149440.8073 | 2716269.0432 | 1149435.0014
41 | 2716249.6516 | 1149445.7346 | 2716247.1966 | 1149436.8479 | 2716242.0578 | 1149422.1723 | 2716234.9196 | 1149405.825
42 | 2716249.6516 | 1149445.7346 | 2716231.2995 | 1149450.3278
43 | 2716263.7517 | 1149466.1555 | 2716269.0748 | 1149465.5893 | 2716277.8727 | 1149466.7025
44 | 2716269.0432 | 1149435.0014 | 2716280.5088 | 1149449.4216
45 | 2716269.0432 | 1149435.0014 | 2716275.792 | 1149424.3578 | 2716281.1394 | 1149419.9447
46 | 2716234.9196 | 1149405.825 | 2716232.1391 | 1149399.4574
47 | 2716231.2995 | 1149450.3278 | 2716224.8639 | 1149451.9385 | 2716221.9437 | 1149453.6277 | 2716221.9437 | 1149453.6277
48 | 2716291.0853 | 1149469.9724 | 2716280.896 | 1149467.085 | 2716277.8727 | 1149466.7025
49 | 2716221.9437 | 1149453.6277 | 2716220.7834 | 1149455.2509 | 2716220.6403 | 1149457.0938 | 2716220.6598 | 1149458.3381
50 | 2716222.6595 | 1149469.8636 | 2716220.6884 | 1149460.1746 | 2716220.6598 | 1149458.3381
51 | 2716281.1394 | 1149419.9447 | 2716283.1905 | 1149418.252 | 2716289.2691 | 1149414.3524
52 | 2716229.8498 | 1149394.2147 | 2716232.1391 | 1149399.4574
53 | 2716300.2916 | 1149409.5432 | 2716291.4178 | 1149412.9739 | 2716289.2691 | 1149414.3524
54 | 2716216.3081 | 1149363.2027 | 2716229.8498 | 1149394.2147
55 | 2715936.8082 | 1149419.1017 | 2715935.6083 | 1149424.3822 | 2715937.1167 | 1149434.1956 | 2715940.777 | 1149471.7068
56 | 2715927.4765 | 1149365.2639 | 2715940.7641 | 1149400.7099 | 2715936.8082 | 1149419.1017
57 | 2715927.4765 | 1149365.2639 | 2715914.1653 | 1149369.7442
58 | 2715927.4765 | 1149365.2639 | 2715976.0808 | 1149299.1879
59 | 2716161.3873 | 1149453.0143 | 2716155.8674 | 1149418.8972 | 2716155.4981 | 1149408.1915
60 | 2716186.5792 | 1149300.0728 | 2716186.8384 | 1149300.3701 | 2716190.8533 | 1149307.6302 | 2716200.6585 | 1149329.0366
61 | 2716150.6745 | 1149288.7319 | 2716164.6878 | 1149287.6902 | 2716169.4594 | 1149287.9712 | 2716173.3607 | 1149288.7803 | 2716177.3102 | 1149291.0691 | 2716182.4503 | 1149295.3377 | 2716186.5792 | 1149300.0728
62 | 2716201.3513 | 1149330.5492 | 2716200.6585 | 1149329.0366
63 | 2716150.6745 | 1149288.7319 | 2716150.2543 | 1149267.9098 | 2716147.9851 | 1149243.0049 | 2716147.1647 | 1149237.7387
64 | 2716216.3081 | 1149363.2027 | 2716201.3513 | 1149330.5492
65 | 2716143.6836 | 1149219.4313 | 2716146.1262 | 1149231.0722 | 2716147.1647 | 1149237.7387
66 | 2716143.6836 | 1149219.4313 | 2716143.6221 | 1149219.1381 | 2716138.9713 | 1149201.4366 | 2716134.4735 | 1149186.9513 | 2716126.0409 | 1149164.9986
67 | 2716367.1453 | 1149492.8744 | 2716370.0255 | 1149482.3596
68 | 2716370.0255 | 1149482.3596 | 2716372.6367 | 1149472.8263 | 2716376.6331 | 1149461.2857
69 | 2716259.2471 | 1149567.4164 | 2716261.0509 | 1149565.1526
70 | 2716264.2192 | 1149561.1762 | 2716261.0509 | 1149565.1526
71 | 2716343.1315 | 1149464.9813 | 2716343.6945 | 1149464.3315
72 | 2716355.8664 | 1149450.282 | 2716343.6945 | 1149464.3315
73 | 2716291.0853 | 1149469.9724 | 2716301.1067 | 1149472.8011 | 2716301.3712 | 1149472.7972
74 | 2716300.2916 | 1149409.5432 | 2716306.8391 | 1149407.0119 | 2716308.4842 | 1149405.75
75 | 2716316.2307 | 1149399.11 | 2716313.5978 | 1149401.8277 | 2716308.4842 | 1149405.75
76 | 2716316.2307 | 1149399.11 | 2716294.7797 | 1149372.9007
77 | 2716316.2307 | 1149399.11 | 2716316.9124 | 1149398.4116 | 2716325.7195 | 1149385.7842 | 2716326.6451 | 1149384.6037
78 | 2716355.8664 | 1149450.282 | 2716365.3562 | 1149439.3283
79 | 2716347.891 | 1149388.2681 | 2716351.7993 | 1149391.8526
80 | 2716333.8611 | 1149375.401 | 2716347.891 | 1149388.2681
81 | 2716351.7993 | 1149391.8526 | 2716363.8804 | 1149402.9324 | 2716370.498 | 1149412.7272
82 | 2716333.8611 | 1149375.401 | 2716326.0005 | 1149365.2673
83 | 2716333.8611 | 1149375.401 | 2716326.6451 | 1149384.6037
84 | 2716371.887 | 1149415.8553 | 2716371.3319 | 1149413.9615 | 2716370.498 | 1149412.7272
85 | 2716326.0005 | 1149365.2673 | 2716322.4261 | 1149360.6593 | 2716314.8248 | 1149351.0172 | 2716314.6199 | 1149350.5314
86 | 2716372.8678 | 1149430.6579 | 2716374.1634 | 1149423.6226 | 2716371.887 | 1149415.8553
87 | 2716372.8678 | 1149430.6579 | 2716381.6428 | 1149437.9767 | 2716384.2599 | 1149439.2614
88 | 2716372.8678 | 1149430.6579 | 2716365.3562 | 1149439.3283
89 | 2716384.2599 | 1149439.2614 | 2716387.6312 | 1149437.3317
90 | 2716384.2599 | 1149439.2614 | 2716382.0159 | 1149445.7415
91 | 2716391.8411 | 1149434.9962 | 2716390.5735 | 1149435.6476 | 2716387.6312 | 1149437.3317
92 | 2716379.8015 | 1149452.1361 | 2716382.0159 | 1149445.7415
93 | 2716379.8015 | 1149452.1361 | 2716376.6331 | 1149461.2857

## bus_geodata
| x | y | coords
0 | 2716300.4412 | 1149530.754
1 | 2716320.1672 | 1149537.6681
2 | 2716295.5339 | 1149529.5317
3 | 2716320.857 | 1149570.3478
4 | 2716331.6507 | 1149533.893
5 | 2716293.0894 | 1149527.661
6 | 2716307.6442 | 1149514.8555
7 | 2716354.2037 | 1149635.4798
8 | 2716344.4385 | 1149525.106
9 | 2716279.4722 | 1149543.4564
10 | 2716312.1872 | 1149509.0977
11 | 2716299.8602 | 1149656.1793
12 | 2716365.5354 | 1149634.2346
13 | 2716421.6672 | 1149628.0665
14 | 2716421.0101 | 1149635.8368
15 | 2716418.8438 | 1149651.3794
16 | 2716358.313 | 1149515.0003
17 | 2716260.4681 | 1149519.0691
18 | 2716252.6488 | 1149516.4318
19 | 2716270.5398 | 1149553.8176
20 | 2716321.1722 | 1149497.7098
21 | 2716185.5487 | 1149532.4919
22 | 2716192.4362 | 1149526.6433
23 | 2716164.771 | 1149553.3481
24 | 2716219.9629 | 1149504.4056
25 | 2716166.9694 | 1149530.7064
26 | 2716152.6041 | 1149576.3945
27 | 2716232.6052 | 1149494.2408
28 | 2716166.7557 | 1149502.9173
29 | 2716188.0379 | 1149657.3999
30 | 2715987.8594 | 1149546.2345
31 | 2716234.1475 | 1149493.0007
32 | 2716164.2404 | 1149488.5122
33 | 2715989.0491 | 1149510.724
34 | 2715934.0554 | 1149488.0489
35 | 2716247.7131 | 1149466.1887
36 | 2716249.6516 | 1149445.7346
37 | 2716263.7517 | 1149466.1555
38 | 2716269.0432 | 1149435.0014
39 | 2716234.9196 | 1149405.825
40 | 2716231.2995 | 1149450.3278
41 | 2716277.8727 | 1149466.7025
42 | 2716221.9437 | 1149453.6277
43 | 2716220.6598 | 1149458.3381
44 | 2716222.6595 | 1149469.8636
45 | 2716280.5088 | 1149449.4216
46 | 2716281.1394 | 1149419.9447
47 | 2716232.1391 | 1149399.4574
48 | 2716289.2691 | 1149414.3524
49 | 2716229.8498 | 1149394.2147
50 | 2715940.777 | 1149471.7068
51 | 2715936.8082 | 1149419.1017
52 | 2715927.4765 | 1149365.2639
53 | 2716161.3874 | 1149453.0143
54 | 2716155.4981 | 1149408.1915
55 | 2715914.1653 | 1149369.7442
56 | 2715976.0808 | 1149299.1879
57 | 2716186.5792 | 1149300.0728
58 | 2716200.6585 | 1149329.0366
59 | 2716150.6745 | 1149288.7319
60 | 2716201.3513 | 1149330.5492
61 | 2716147.1647 | 1149237.7387
62 | 2716216.3081 | 1149363.2027
63 | 2716143.6836 | 1149219.4313
64 | 2716126.0409 | 1149164.9986
65 | 2716367.1453 | 1149492.8744
66 | 2716370.0255 | 1149482.3596
67 | 2716259.2471 | 1149567.4164
68 | 2716261.0509 | 1149565.1526
69 | 2716264.2192 | 1149561.1762
70 | 2716343.1315 | 1149464.9813
71 | 2716343.6945 | 1149464.3315
72 | 2716301.3712 | 1149472.7972
73 | 2716291.0853 | 1149469.9724
74 | 2716300.2916 | 1149409.5432
75 | 2716308.4842 | 1149405.75
76 | 2716316.2307 | 1149399.11
77 | 2716355.8664 | 1149450.282
78 | 2716347.891 | 1149388.2681
79 | 2716351.7993 | 1149391.8526
80 | 2716333.8611 | 1149375.401
81 | 2716370.498 | 1149412.7272
82 | 2716326.0005 | 1149365.2673
83 | 2716326.6451 | 1149384.6037
84 | 2716371.887 | 1149415.8553
85 | 2716314.6199 | 1149350.5314
86 | 2716372.8678 | 1149430.6579
87 | 2716294.7797 | 1149372.9007
88 | 2716365.3562 | 1149439.3283
89 | 2716384.2599 | 1149439.2614
90 | 2716387.6312 | 1149437.3317
91 | 2716382.0159 | 1149445.7415
92 | 2716391.8411 | 1149434.9962
93 | 2716379.8015 | 1149452.1361
94 | 2716376.6331 | 1149461.2857
95 | 2716247.7131 | 1149466.1887

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1