## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5049-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5049-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5049-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5049-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5049-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5049-6_0_3_node_214 | 0.4 | n |  | TRUE
6 | bus_LV_5049-6_0_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_5049-6_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5049-6_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5049-6_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5049-6_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5049-6_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_5049-6_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5049-6_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_5049-6_0_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_5049-6_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5049-6_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5049-6_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5049-6_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5049-6_0_3_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_5049-6_0_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_5049-6_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5049-6_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5049-6_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5049-6_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_5049-6_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_5049-6_0_3_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_5049-6_0_3_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_5049-6_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_5049-6_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_5049-6_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_5049-6_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5049-6_0_3_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_5049-6_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_5049-6_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_5049-6_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_5049-6_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5049-6_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_5049-6_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_5049-6_0_3_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_5049-6_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5049-6_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_5049-6_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_5049-6_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_5049-6_0_3_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_5049-6_0_3_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_5049-6_0_3_node_222 | 0.4 | n |  | TRUE
47 | bus_LV_5049-6_0_3_node_220 | 0.4 | n |  | TRUE
48 | bus_LV_5049-6_0_3_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_5049-6_0_3_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_5049-6_0_3_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_5049-6_0_3_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_5049-6_0_3_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_5049-6_0_3_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_5049-6_0_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_5049-6_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_5049-6_0_3_node_216 | 0.4 | n |  | TRUE
57 | bus_LV_5049-6_0_3_node_217 | 0.4 | n |  | TRUE
58 | bus_LV_5049-6_0_3_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_5049-6_0_3_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_5049-6_0_3_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_5049-6_0_3_node_223 | 0.4 | n |  | TRUE
62 | bus_LV_5049-6_0_3_node_193 | 0.4 | n |  | TRUE
63 | bus_LV_5049-6_0_3_node_194 | 0.4 | n |  | TRUE
64 | bus_LV_5049-6_0_3_node_195 | 0.4 | n |  | TRUE
65 | bus_LV_5049-6_0_3_node_215 | 0.4 | n |  | TRUE
66 | bus_LV_5049-6_0_3_node_196 | 0.4 | n |  | TRUE
67 | bus_LV_5049-6_0_3_node_199 | 0.4 | n |  | TRUE
68 | bus_LV_5049-6_0_3_node_197 | 0.4 | n |  | TRUE
69 | bus_LV_5049-6_0_3_node_198 | 0.4 | n |  | TRUE
70 | bus_LV_5049-6_0_3_node_200 | 0.4 | n |  | TRUE
71 | bus_LV_5049-6_0_3_node_201 | 0.4 | n |  | TRUE
72 | bus_LV_5049-6_0_3_node_202 | 0.4 | n |  | TRUE
73 | bus_LV_5049-6_0_3_node_213 | 0.4 | n |  | TRUE
74 | bus_LV_5049-6_0_3_node_204 | 0.4 | n |  | TRUE
75 | bus_LV_5049-6_0_3_node_207 | 0.4 | n |  | TRUE
76 | bus_LV_5049-6_0_3_node_205 | 0.4 | n |  | TRUE
77 | bus_LV_5049-6_0_3_node_206 | 0.4 | n |  | TRUE
78 | bus_LV_5049-6_0_3_node_208 | 0.4 | n |  | TRUE
79 | bus_LV_5049-6_0_3_node_209 | 0.4 | n |  | TRUE
80 | bus_LV_5049-6_0_3_node_210 | 0.4 | n |  | TRUE
81 | bus_LV_5049-6_0_3_node_211 | 0.4 | n |  | TRUE
82 | bus_LV_5049-6_0_3_node_212 | 0.4 | n |  | TRUE
83 | bus_LV_5049-6_0_3_node_218 | 0.4 | n |  | TRUE
84 | bus_LV_5049-6_0_3_node_219 | 0.4 | n |  | TRUE
85 | bus_LV_5049-6_0_3_node_224 | 0.4 | n |  | TRUE
86 | bus_LV_5049-6_0_3_node_221 | 0.4 | n |  | TRUE
87 | bus_LV_5049-6_0_3_node_226 | 0.4 | n |  | TRUE
88 | bus_LV_5049-6_0_3_node_225 | 0.4 | n |  | TRUE
89 | bus_LV_5049-6_0_3_node_228 | 0.4 | n |  | TRUE
90 | bus_LV_5049-6_0_3_node_227 | 0.4 | n |  | TRUE
91 | bus_MV_185_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5049-6_0_3_load_0 | 0 | 0.0098565 | 0.0024703 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5049-6_0_3_load_2 | 2 | 0.0021703 | 0.00054392 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5049-6_0_3_load_4 | 4 | 0.0015202 | 0.00038099 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5049-6_0_3_load_214 | 5 | 0.0014305 | 0.00035853 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5049-6_0_3_load_26 | 6 | 0.0011052 | 0.00027698 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5049-6_0_3_load_5 | 7 | 0.0059745 | 0.0014973 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5049-6_0_3_load_6 | 8 | 0.00033989 | 8.5184e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5049-6_0_3_load_9 | 10 | 0.00027377 | 6.8613e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5049-6_0_3_load_16 | 11 | 0.00033934 | 8.5048e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5049-6_0_3_load_21 | 13 | 0.0036033 | 0.00090307 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5049-6_0_3_load_18 | 14 | 0.00080516 | 0.00020179 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5049-6_0_3_load_11 | 15 | 0.00242 | 0.00060651 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5049-6_0_3_load_12 | 16 | 0.0027408 | 0.00068692 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5049-6_0_3_load_14 | 17 | 0.0023277 | 0.00058337 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5049-6_0_3_load_15 | 18 | 0.0024238 | 0.00060746 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5049-6_0_3_load_49 | 19 | 0.0018803 | 0.00047126 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5049-6_0_3_load_17 | 21 | 0.0060581 | 0.0015183 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5049-6_0_3_load_19 | 22 | 0.00052707 | 0.0001321 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5049-6_0_3_load_22 | 24 | 0.0034485 | 0.00086427 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5049-6_0_3_load_23 | 25 | 0.00081577 | 0.00020445 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5049-6_0_3_load_58 | 26 | 0.00081892 | 0.00020524 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5049-6_0_3_load_34 | 27 | 0.0033925 | 0.00085023 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5049-6_0_3_load_24 | 28 | 0.00099685 | 0.00024983 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5049-6_0_3_load_25 | 29 | 0.0018164 | 0.00045523 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5049-6_0_3_load_27 | 30 | 0.0011198 | 0.00028064 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5049-6_0_3_load_28 | 31 | 0.0019651 | 0.0004925 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5049-6_0_3_load_62 | 32 | 0.0034993 | 0.000877 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5049-6_0_3_load_29 | 33 | 0.0038674 | 0.00096927 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5049-6_0_3_load_32 | 36 | 0.0018871 | 0.00047294 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5049-6_0_3_load_33 | 37 | 0.0025072 | 0.00062837 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5049-6_0_3_load_36 | 40 | 0.00056625 | 0.00014192 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5049-6_0_3_load_37 | 41 | 0.00057295 | 0.0001436 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5049-6_0_3_load_39 | 42 | 0.00072299 | 0.0001812 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5049-6_0_3_load_40 | 43 | 0.0034977 | 0.00087662 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5049-6_0_3_load_60 | 44 | 0.0050149 | 0.0012568 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5049-6_0_3_load_222 | 46 | 0.0024398 | 0.00061146 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5049-6_0_3_load_220 | 47 | 0.0010728 | 0.00026886 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5049-6_0_3_load_59 | 48 | 0.0044966 | 0.001127 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5049-6_0_3_load_70 | 50 | 0.0013758 | 0.00034482 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5049-6_0_3_load_67 | 51 | 0.0033196 | 0.00083196 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5049-6_0_3_load_63 | 52 | 0.0011129 | 0.00027892 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5049-6_0_3_load_65 | 54 | 0.002568 | 0.00064359 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5049-6_0_3_load_66 | 55 | 0.0033054 | 0.00082842 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5049-6_0_3_load_217 | 57 | 0.0011242 | 0.00028175 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5049-6_0_3_load_71 | 59 | 0.0081068 | 0.0020318 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5049-6_0_3_load_72 | 60 | 0.0010449 | 0.00026187 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5049-6_0_3_load_223 | 61 | 0.0021282 | 0.00053339 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5049-6_0_3_load_193 | 62 | 0.00012273 | 3.076e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5049-6_0_3_load_195 | 64 | 8.8269e-05 | 2.2122e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5049-6_0_3_load_196 | 66 | 0.00014274 | 3.5774e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5049-6_0_3_load_199 | 67 | 0.00011088 | 2.7789e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5049-6_0_3_load_198 | 69 | 8.4348e-05 | 2.114e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5049-6_0_3_load_200 | 70 | 0.00010256 | 2.5705e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5049-6_0_3_load_202 | 72 | 0.00010649 | 2.6688e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5049-6_0_3_load_213 | 73 | 0.00015333 | 3.8427e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5049-6_0_3_load_204 | 74 | 0.00014669 | 3.6763e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5049-6_0_3_load_207 | 75 | 0.00024631 | 6.1731e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5049-6_0_3_load_205 | 76 | 0.00014066 | 3.5253e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5049-6_0_3_load_206 | 77 | 0.00019369 | 4.8543e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5049-6_0_3_load_208 | 78 | 0.00012131 | 3.0403e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5049-6_0_3_load_209 | 79 | 0.00037059 | 9.2879e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5049-6_0_3_load_210 | 80 | 0.00016205 | 4.0613e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5049-6_0_3_load_211 | 81 | 0.00011414 | 2.8607e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5049-6_0_3_load_212 | 82 | 0.0002063 | 5.1703e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5049-6_0_3_load_218 | 83 | 0.0018392 | 0.00046095 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5049-6_0_3_load_219 | 84 | 0.0017271 | 0.00043284 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5049-6_0_3_load_224 | 85 | 0.0017746 | 0.00044475 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5049-6_0_3_load_221 | 86 | 0.00092718 | 0.00023237 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5049-6_0_3_load_226 | 87 | 0.0013734 | 0.00034419 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5049-6_0_3_load_225 | 88 | 0.0022687 | 0.00056858 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5049-6_0_3_load_228 | 89 | 0.0026591 | 0.00066643 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5049-6_0_3_load_227 | 90 | 0.0013706 | 0.00034351 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 87 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5049-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.13621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5049-6_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.066236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5049-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.18108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5049-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5049-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.10726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5049-6_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.014277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5049-6_0_3_line_6 | NAYY 4x150 SE | 5 | 65 | 0.089079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5049-6_0_3_line_7 | NAYY 4x150 SE | 6 | 28 | 0.001539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5049-6_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.00071788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5049-6_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.035604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5049-6_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.071105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5049-6_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.088346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5049-6_0_3_line_12 | NAYY 4x150 SE | 11 | 20 | 0.024264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5049-6_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.035016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5049-6_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.067931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5049-6_0_3_line_15 | NAYY 4x150 SE | 14 | 21 | 0.018801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5049-6_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.073716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5049-6_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.01098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5049-6_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0070688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5049-6_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0066026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5049-6_0_3_line_20 | NAYY 4x150 SE | 19 | 45 | 0.022787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5049-6_0_3_line_21 | NAYY 4x150 SE | 20 | 40 | 0.0099203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5049-6_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.011508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5049-6_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.029704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5049-6_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.017577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5049-6_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.054461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5049-6_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0093385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5049-6_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.021321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5049-6_0_3_line_28 | NAYY 4x150 SE | 26 | 48 | 2.5881e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5049-6_0_3_line_29 | NAYY 4x150 SE | 27 | 36 | 0.00014304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5049-6_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.014073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5049-6_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0017274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5049-6_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.015139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5049-6_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.01486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5049-6_0_3_line_34 | NAYY 4x150 SE | 32 | 52 | 0.011049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5049-6_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.025492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5049-6_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.029297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5049-6_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.031606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5049-6_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.036135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5049-6_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.0026594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5049-6_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.006528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5049-6_0_3_line_41 | NAYY 4x150 SE | 39 | 58 | 0.008486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5049-6_0_3_line_42 | NAYY 4x150 SE | 39 | 51 | 0.072829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5049-6_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.022455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5049-6_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.029285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5049-6_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.04028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5049-6_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0024667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5049-6_0_3_line_47 | NAYY 4x150 SE | 44 | 49 | 0.038047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5049-6_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.020937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5049-6_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.0027472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5049-6_0_3_line_50 | NAYY 4x150 SE | 46 | 61 | 0.01603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5049-6_0_3_line_51 | NAYY 4x150 SE | 47 | 83 | 0.0074853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5049-6_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.046221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5049-6_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.014385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5049-6_0_3_line_54 | NAYY 4x150 SE | 50 | 60 | 0.0022011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5049-6_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.012815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5049-6_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0023746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5049-6_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.0081569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5049-6_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.014011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5049-6_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.0057812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5049-6_0_3_line_60 | NAYY 4x150 SE | 56 | 83 | 0.006221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5049-6_0_3_line_61 | NAYY 4x150 SE | 56 | 84 | 0.010854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_5049-6_0_3_line_62 | NAYY 4x150 SE | 57 | 85 | 0.002306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5049-6_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.027345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5049-6_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.0074826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5049-6_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.06572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5049-6_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.011889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5049-6_0_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.4863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5049-6_0_3_line_68 | NAYY 4x150 SE | 64 | 66 | 0.12037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5049-6_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.19498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5049-6_0_3_line_70 | NAYY 4x150 SE | 67 | 70 | 0.22164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5049-6_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.059208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5049-6_0_3_line_72 | NAYY 4x150 SE | 68 | 70 | 0.2228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5049-6_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.0083786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5049-6_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.010332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5049-6_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.0050637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5049-6_0_3_line_76 | NAYY 4x150 SE | 73 | 82 | 0.0099795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5049-6_0_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.33847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5049-6_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.0044137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5049-6_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.084422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5049-6_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.056319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5049-6_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.01062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5049-6_0_3_line_82 | NAYY 4x150 SE | 79 | 80 | 0.0094196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5049-6_0_3_line_83 | NAYY 4x150 SE | 80 | 81 | 0.017739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5049-6_0_3_line_84 | NAYY 4x150 SE | 81 | 82 | 0.007104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5049-6_0_3_line_85 | NAYY 4x150 SE | 84 | 86 | 0.0038154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_5049-6_0_3_line_86 | NAYY 4x150 SE | 85 | 88 | 0.014772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5049-6_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.033327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_5049-6_0_3_line_88 | NAYY 4x150 SE | 87 | 90 | 0.0075689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5049-6_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.0026522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5049-6_0_3_trafo_226 | 0.25 MVA 20/0.4 kV | 91 | 87 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2715635.7217 | 1151130.3876 | 2715638.7661 | 1151123.3858 | 2715639.5902 | 1151117.6533 | 2715639.5869 | 1151112.6276 | 2715638.4997 | 1151099.6759 | 2715639.1243 | 1151093.9395 | 2715640.7873 | 1151087.7006 | 2715643.8871 | 1151081.8117 | 2715647.2802 | 1151076.64 | 2715650.8771 | 1151074.452 | 2715655.1619 | 1151074.0229 | 2715660.0751 | 1151075.2514 | 2715664.5641 | 1151077.3834 | 2715667.8714 | 1151082.2724 | 2715670.5939 | 1151090.4301 | 2715673.316 | 1151094.6074 | 2715677.3054 | 1151097.5638 | 2715692.1456 | 1151104.8091 | 2715696.1713 | 1151104.6752 | 2715699.0828 | 1151102.9967 | 2715701.8284 | 1151099.5582 | 2715703.9602 | 1151095.6965 | 2715705.3434 | 1151091.9687
1 | 2715635.7217 | 1151130.3876 | 2715640.0948 | 1151137.7542 | 2715645.2685 | 1151147.8047 | 2715653.1704 | 1151163.3113 | 2715658.2828 | 1151168.9576 | 2715664.5877 | 1151171.6805 | 2715671.2812 | 1151172.1537 | 2715678.1605 | 1151168.5501 | 2715678.1605 | 1151168.5501
2 | 2715572.5962 | 1151160.341 | 2715573.1473 | 1151122.4261 | 2715569.0649 | 1151106.3148 | 2715568.7176 | 1151085.6053 | 2715570.9676 | 1151076.787 | 2715573.7311 | 1151072.8151 | 2715576.5421 | 1151068.7663 | 2715579.6177 | 1151077.7314 | 2715583.4952 | 1151084.1211 | 2715587.4004 | 1151088.6658 | 2715597.3564 | 1151097.1736 | 2715623.7762 | 1151117.5386 | 2715629.5431 | 1151123.0863 | 2715635.7217 | 1151130.3876
3 | 2715678.1605 | 1151168.5501 | 2715685.1929 | 1151160.6168
4 | 2715572.5962 | 1151160.341 | 2715571.3766 | 1151173.482 | 2715570.201 | 1151179.9304 | 2715568.467 | 1151184.667 | 2715563.1563 | 1151194.1493 | 2715552.7192 | 1151211.9166 | 2715549.9648 | 1151219.4243 | 2715546.219 | 1151250.1843 | 2715542.6203 | 1151261.6399
5 | 2715694.7469 | 1151150.0079 | 2715690.0029 | 1151155.1907 | 2715685.1929 | 1151160.6168
6 | 2715520.2929 | 1151346.1626 | 2715519.0868 | 1151328.1941 | 2715519.8703 | 1151319.7701 | 2715521.4829 | 1151312.5518 | 2715537.8865 | 1151276.7089 | 2715542.6203 | 1151261.6399
7 | 2715695.786 | 1151148.8727 | 2715694.7469 | 1151150.0079
8 | 2715921.2829 | 1150755.0483 | 2715920.8217 | 1150755.5985
9 | 2715898.5111 | 1150783.1923 | 2715910.2673 | 1150766.3961 | 2715920.1025 | 1150756.4564 | 2715920.8217 | 1150755.5985
10 | 2715898.5111 | 1150783.1923 | 2715912.7728 | 1150820.9142 | 2715914.7701 | 1150831.2374 | 2715913.4355 | 1150839.1392 | 2715908.1902 | 1150847.9776 | 2715906.7901 | 1150849.3647
11 | 2715845.4656 | 1150912.9036 | 2715848.9966 | 1150908.3909 | 2715861.4368 | 1150895.1323 | 2715887.4946 | 1150868.4822 | 2715906.7901 | 1150849.3647
12 | 2715834.8543 | 1150934.3031 | 2715835.7301 | 1150929.8836 | 2715839.6373 | 1150920.3523 | 2715845.4656 | 1150912.9036
13 | 2715985.515 | 1150908.2505 | 2715971.9329 | 1150913.0145 | 2715961.745 | 1150895.0285
14 | 2715961.745 | 1150895.0285 | 2715928.7564 | 1150927.9158 | 2715921.5015 | 1150936.6488 | 2715917.7239 | 1150944.6259 | 2715917.4572 | 1150945.7656
15 | 2715917.4572 | 1150945.7656 | 2715914.1264 | 1150960.0004 | 2715913.5537 | 1150964.1429
16 | 2715796.8883 | 1151159.8257 | 2715797.951 | 1151162.0134 | 2715800.0405 | 1151168.7358 | 2715804.8982 | 1151187.6197 | 2715810.2352 | 1151207.5245 | 2715811.3373 | 1151217.6858 | 2715811.5839 | 1151231.2108 | 2715811.5488 | 1151231.5991
17 | 2715790.5855 | 1151150.9597 | 2715794.9525 | 1151155.8405 | 2715796.8883 | 1151159.8257
18 | 2715790.5855 | 1151150.9597 | 2715785.8721 | 1151145.6918
19 | 2715782.1848 | 1151140.2513 | 2715784.3848 | 1151144.0295 | 2715785.8721 | 1151145.6918
20 | 2715787.0711 | 1151118.5195 | 2715781.9445 | 1151131.9856 | 2715781.4047 | 1151136.5005 | 2715782.1848 | 1151140.2513 | 2715782.1848 | 1151140.2513
21 | 2715834.8543 | 1150934.3031 | 2715833.6638 | 1150940.3065 | 2715833.2892 | 1150944.088
22 | 2715911.9776 | 1150975.5422 | 2715913.5537 | 1150964.1429
23 | 2715907.9093 | 1151004.9666 | 2715911.9776 | 1150975.5422
24 | 2715907.9093 | 1151004.9666 | 2715890.3737 | 1151006.1755
25 | 2715907.9093 | 1151004.9666 | 2715901.2804 | 1151043.4093 | 2715898.9139 | 1151058.6784
26 | 2715890.3737 | 1151006.1755 | 2715881.0573 | 1151006.8178
27 | 2715895.6484 | 1151079.7479 | 2715898.9139 | 1151058.6784
28 | 2715881.0573 | 1151006.8178 | 2715881.0547 | 1151006.8179
29 | 2715895.6265 | 1151079.8893 | 2715895.6484 | 1151079.7479
30 | 2715695.786 | 1151148.8727 | 2715696.7238 | 1151147.8481 | 2715707.4687 | 1151141.1086
31 | 2715707.4687 | 1151141.1086 | 2715708.9321 | 1151140.1907
32 | 2715708.9321 | 1151140.1907 | 2715721.757 | 1151132.1465
33 | 2715721.757 | 1151132.1465 | 2715726.4961 | 1151129.174 | 2715734.527 | 1151124.553
34 | 2715744.1038 | 1151119.0425 | 2715734.527 | 1151124.553
35 | 2715891.2538 | 1151111.1842 | 2715891.1501 | 1151118.9652 | 2715892.2378 | 1151129.0707 | 2715893.6072 | 1151136.492
36 | 2715897.8417 | 1151165.414 | 2715897.6816 | 1151158.573 | 2715893.6072 | 1151136.492
37 | 2715891.2538 | 1151111.1842 | 2715892.47 | 1151100.2558 | 2715895.6265 | 1151079.8893
38 | 2715897.8417 | 1151165.414 | 2715888.4517 | 1151162.6316 | 2715876.5456 | 1151161.7242 | 2715867.2115 | 1151161.6224 | 2715863.949 | 1151161.593 | 2715862.1603 | 1151161.3654
39 | 2715859.5222 | 1151161.0297 | 2715862.1603 | 1151161.3654
40 | 2715853.0273 | 1151160.2042 | 2715859.5222 | 1151161.0297
41 | 2715853.0273 | 1151160.2042 | 2715845.0049 | 1151157.3703
42 | 2715853.0273 | 1151160.2042 | 2715852.4104 | 1151144.3818 | 2715845.1661 | 1151097.511 | 2715843.8407 | 1151090.1806 | 2715843.2362 | 1151088.1511
43 | 2715833.2892 | 1150944.088 | 2715831.0754 | 1150966.4332
44 | 2715828.1883 | 1150995.5755 | 2715831.0754 | 1150966.4332
45 | 2715828.1883 | 1150995.5755 | 2715826.5274 | 1151012.3399 | 2715826.2225 | 1151028.1891 | 2715827.6624 | 1151035.6322
46 | 2715828.1309 | 1151038.054 | 2715827.6624 | 1151035.6322
47 | 2715838.0258 | 1151074.7584 | 2715834.9736 | 1151065.7937 | 2715828.8413 | 1151041.7263 | 2715828.1309 | 1151038.054
48 | 2715787.0711 | 1151118.5195 | 2715799.8299 | 1151122.6008 | 2715806.858 | 1151125.3347
49 | 2715787.0711 | 1151118.5195 | 2715784.45 | 1151117.6968
50 | 2715806.858 | 1151125.3347 | 2715808.7004 | 1151126.0514 | 2715814.2064 | 1151129.1926 | 2715818.0723 | 1151132.1801 | 2715819.8365 | 1151134.3909
51 | 2715777.3082 | 1151115.4553 | 2715784.45 | 1151117.6968
52 | 2715838.0258 | 1151074.7584 | 2715825.4634 | 1151081.2213 | 2715815.3994 | 1151085.1304 | 2715806.0754 | 1151088.0865 | 2715794.9148 | 1151090.9243
53 | 2715838.0258 | 1151074.7584 | 2715842.2685 | 1151084.9023 | 2715843.2362 | 1151088.1511
54 | 2715792.7816 | 1151091.4666 | 2715794.9148 | 1151090.9243
55 | 2715755.3306 | 1151112.9615 | 2715754.2821 | 1151113.1859 | 2715744.1038 | 1151119.0425
56 | 2715755.3306 | 1151112.9615 | 2715757.6525 | 1151112.4643
57 | 2715755.3306 | 1151112.9615 | 2715755.4595 | 1151104.8056
58 | 2715771.3727 | 1151113.5923 | 2715766.5113 | 1151112.0646 | 2715760.0951 | 1151111.9412 | 2715757.6525 | 1151112.4643
59 | 2715755.4595 | 1151104.8056 | 2715755.4723 | 1151103.9915 | 2715755.8035 | 1151099.0356
60 | 2715771.3727 | 1151113.5923 | 2715777.3082 | 1151115.4553
61 | 2715771.3727 | 1151113.5923 | 2715775.5072 | 1151103.5563
62 | 2715755.8035 | 1151099.0356 | 2715755.9035 | 1151097.5399 | 2715756.1525 | 1151096.7724
63 | 2715845.0049 | 1151157.3703 | 2715842.8314 | 1151156.6058 | 2715838.5014 | 1151154.599 | 2715837.5046 | 1151154.135 | 2715832.8864 | 1151150.744 | 2715824.5038 | 1151140.2395
64 | 2715819.8365 | 1151134.3909 | 2715824.5038 | 1151140.2395
65 | 2715044.1106 | 1151247.4965 | 2715042.4519 | 1151277.2515 | 2715035.1838 | 1151302.0293 | 2715029.0944 | 1151310.0831
66 | 2715044.1106 | 1151247.4965 | 2715040.3392 | 1151236.2215
67 | 2715044.1106 | 1151247.4965 | 2715520.2929 | 1151346.1626
68 | 2715040.3392 | 1151236.2215 | 2715038.3875 | 1151230.3869 | 2715038.0124 | 1151185.7277 | 2715044.9583 | 1151126.3761 | 2715039.3565 | 1151118.3401
69 | 2714888.0533 | 1150995.3613 | 2715039.3565 | 1151118.3401
70 | 2714888.0533 | 1150995.3613 | 2714888.1476 | 1150990.4153 | 2714889.2399 | 1150982.6643 | 2714891.4826 | 1150939.5672 | 2714887.5556 | 1150922.0472 | 2714890.1529 | 1150885.3166 | 2714888.2247 | 1150874.9062 | 2714876.5041 | 1150857.0041 | 2714858.7346 | 1150821.3082 | 2714845.9487 | 1150797.2484 | 2714837.5282 | 1150788.9469
71 | 2715060.1764 | 1150780.7798 | 2715053.2653 | 1150721.977
72 | 2714837.5282 | 1150788.9469 | 2715060.1764 | 1150780.7798
73 | 2714831.5616 | 1150783.0647 | 2714837.5282 | 1150788.9469
74 | 2714831.5616 | 1150783.0647 | 2714824.5425 | 1150779.1061 | 2714822.7855 | 1150777.6631
75 | 2714822.7855 | 1150777.6631 | 2714818.8724 | 1150774.4493
76 | 2714811.7479 | 1150767.4725 | 2714817.5573 | 1150773.3692 | 2714818.8724 | 1150774.4493
77 | 2714783.3996 | 1150592.3752 | 2714627.0613 | 1150292.1766
78 | 2714783.3996 | 1150592.3752 | 2714785.4873 | 1150596.2639
79 | 2714785.4873 | 1150596.2639 | 2714792.9948 | 1150610.2477 | 2714797.0898 | 1150631.0619 | 2714798.4197 | 1150648.2987 | 2714798.3117 | 1150666.4532 | 2714798.0849 | 1150678.3455
80 | 2714798.0849 | 1150678.3455 | 2714798.0466 | 1150680.3575 | 2714793.7911 | 1150692.529 | 2714785.0453 | 1150704.626 | 2714784.4155 | 1150713.0975 | 2714791.4908 | 1150726.1966 | 2714792.0356 | 1150729.2509
81 | 2714793.9003 | 1150739.7058 | 2714792.0356 | 1150729.2509
82 | 2714793.9003 | 1150739.7058 | 2714794.4875 | 1150742.9982 | 2714796.3369 | 1150748.7851
83 | 2714806.7622 | 1150762.4118 | 2714805.7239 | 1150761.3579 | 2714798.2772 | 1150754.8561 | 2714796.3369 | 1150748.7851
84 | 2714811.7479 | 1150767.4725 | 2714806.7622 | 1150762.4118
85 | 2715775.5072 | 1151103.5563 | 2715776.6398 | 1151100.8072 | 2715776.8016 | 1151099.9808
86 | 2715760.7882 | 1151082.8081 | 2715760.7061 | 1151083.356 | 2715759.9096 | 1151087.2433 | 2715756.9971 | 1151094.1698 | 2715756.1525 | 1151096.7724
87 | 2715776.8016 | 1151099.9808 | 2715777.0996 | 1151098.4589 | 2715777.1508 | 1151095.7914 | 2715775.6655 | 1151092.7831 | 2715772.5614 | 1151088.1092 | 2715770.9469 | 1151086.2213 | 2715770.4524 | 1151085.1889 | 2715770.701 | 1151083.0367 | 2715771.8419 | 1151077.2102 | 2715771.119 | 1151068.8316
88 | 2715769.5725 | 1151061.4672 | 2715770.831 | 1151065.4941 | 2715771.119 | 1151068.8316
89 | 2715761.1816 | 1151080.1852 | 2715760.7882 | 1151082.8081

## bus_geodata
| x | y | coords
0 | 2715705.3434 | 1151091.9687
1 | 2715635.7217 | 1151130.3876
2 | 2715678.1605 | 1151168.5501
3 | 2715572.5962 | 1151160.341
4 | 2715685.1929 | 1151160.6168
5 | 2715542.6203 | 1151261.6399
6 | 2715694.7469 | 1151150.0079
7 | 2715921.2829 | 1150755.0483
8 | 2715920.8217 | 1150755.5985
9 | 2715898.5111 | 1150783.1923
10 | 2715906.7901 | 1150849.3647
11 | 2715845.4656 | 1150912.9036
12 | 2715961.745 | 1150895.0285
13 | 2715985.515 | 1150908.2505
14 | 2715917.4572 | 1150945.7656
15 | 2715811.5488 | 1151231.5991
16 | 2715796.8883 | 1151159.8257
17 | 2715790.5855 | 1151150.9597
18 | 2715785.8721 | 1151145.6918
19 | 2715782.1848 | 1151140.2513
20 | 2715834.8543 | 1150934.3031
21 | 2715913.5537 | 1150964.1429
22 | 2715911.9776 | 1150975.5422
23 | 2715907.9093 | 1151004.9666
24 | 2715890.3737 | 1151006.1755
25 | 2715898.9139 | 1151058.6784
26 | 2715881.0573 | 1151006.8178
27 | 2715895.6484 | 1151079.7479
28 | 2715695.786 | 1151148.8727
29 | 2715707.4687 | 1151141.1086
30 | 2715708.9321 | 1151140.1907
31 | 2715721.757 | 1151132.1465
32 | 2715734.527 | 1151124.553
33 | 2715893.6072 | 1151136.492
34 | 2715891.2538 | 1151111.1842
35 | 2715897.8417 | 1151165.414
36 | 2715895.6265 | 1151079.8893
37 | 2715862.1603 | 1151161.3654
38 | 2715859.5221 | 1151161.0297
39 | 2715853.0273 | 1151160.2042
40 | 2715833.2892 | 1150944.088
41 | 2715831.0754 | 1150966.4332
42 | 2715828.1883 | 1150995.5755
43 | 2715827.6624 | 1151035.6322
44 | 2715828.1309 | 1151038.054
45 | 2715787.0711 | 1151118.5195
46 | 2715806.858 | 1151125.3347
47 | 2715784.45 | 1151117.6968
48 | 2715881.0547 | 1151006.8179
49 | 2715838.0258 | 1151074.7584
50 | 2715794.9148 | 1151090.9243
51 | 2715843.2362 | 1151088.1511
52 | 2715744.1038 | 1151119.0425
53 | 2715755.3306 | 1151112.9615
54 | 2715757.6525 | 1151112.4643
55 | 2715755.4595 | 1151104.8056
56 | 2715771.3727 | 1151113.5923
57 | 2715755.8035 | 1151099.0356
58 | 2715845.0049 | 1151157.3703
59 | 2715824.5038 | 1151140.2395
60 | 2715792.7816 | 1151091.4666
61 | 2715819.8365 | 1151134.3909
62 | 2715029.0944 | 1151310.0831
63 | 2715044.1106 | 1151247.4965
64 | 2715040.3392 | 1151236.2215
65 | 2715520.2929 | 1151346.1626
66 | 2715039.3565 | 1151118.3401
67 | 2714888.0533 | 1150995.3613
68 | 2715060.1764 | 1150780.7798
69 | 2715053.2653 | 1150721.977
70 | 2714837.5282 | 1150788.9469
71 | 2714831.5616 | 1150783.0647
72 | 2714822.7855 | 1150777.6631
73 | 2714818.8724 | 1150774.4493
74 | 2714627.0613 | 1150292.1766
75 | 2714783.3996 | 1150592.3752
76 | 2714785.4873 | 1150596.2639
77 | 2714798.0849 | 1150678.3455
78 | 2714792.0356 | 1150729.2509
79 | 2714793.9003 | 1150739.7058
80 | 2714796.3369 | 1150748.7851
81 | 2714806.7622 | 1150762.4118
82 | 2714811.7479 | 1150767.4725
83 | 2715777.3082 | 1151115.4553
84 | 2715775.5072 | 1151103.5563
85 | 2715756.1525 | 1151096.7724
86 | 2715776.8016 | 1151099.9808
87 | 2715771.119 | 1151068.8316
88 | 2715760.7882 | 1151082.8081
89 | 2715761.1816 | 1151080.1852
90 | 2715769.5725 | 1151061.4672
91 | 2715769.5725 | 1151061.4672

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1