## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5050-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5050-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5050-19_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5050-19_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5050-19_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5050-19_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5050-19_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5050-19_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5050-19_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5050-19_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5050-19_0_4_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_5050-19_0_4_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_5050-19_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5050-19_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5050-19_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5050-19_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_5050-19_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_5050-19_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_5050-19_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_5050-19_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5050-19_0_4_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_5050-19_0_4_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_5050-19_0_4_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_5050-19_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5050-19_0_4_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_5050-19_0_4_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_5050-19_0_4_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_5050-19_0_4_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_5050-19_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5050-19_0_4_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_5050-19_0_4_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_5050-19_0_4_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_5050-19_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5050-19_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5050-19_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5050-19_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5050-19_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_5050-19_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_5050-19_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5050-19_0_4_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_5050-19_0_4_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_5050-19_0_4_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_5050-19_0_4_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_5050-19_0_4_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_5050-19_0_4_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_5050-19_0_4_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_5050-19_0_4_node_80 | 0.4 | n |  | TRUE
47 | bus_LV_5050-19_0_4_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_5050-19_0_4_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_5050-19_0_4_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_5050-19_0_4_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_5050-19_0_4_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_5050-19_0_4_node_95 | 0.4 | n |  | TRUE
53 | bus_LV_5050-19_0_4_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_5050-19_0_4_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_5050-19_0_4_node_78 | 0.4 | n |  | TRUE
56 | bus_LV_5050-19_0_4_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_5050-19_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_5050-19_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_5050-19_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_5050-19_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_5050-19_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_5050-19_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_5050-19_0_4_node_31 | 0.4 | n |  | TRUE
64 | bus_LV_5050-19_0_4_node_32 | 0.4 | n |  | TRUE
65 | bus_LV_5050-19_0_4_node_33 | 0.4 | n |  | TRUE
66 | bus_LV_5050-19_0_4_node_34 | 0.4 | n |  | TRUE
67 | bus_LV_5050-19_0_4_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_5050-19_0_4_node_36 | 0.4 | n |  | TRUE
69 | bus_LV_5050-19_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_5050-19_0_4_node_37 | 0.4 | n |  | TRUE
71 | bus_LV_5050-19_0_4_node_38 | 0.4 | n |  | TRUE
72 | bus_LV_5050-19_0_4_node_39 | 0.4 | n |  | TRUE
73 | bus_LV_5050-19_0_4_node_40 | 0.4 | n |  | TRUE
74 | bus_LV_5050-19_0_4_node_41 | 0.4 | n |  | TRUE
75 | bus_LV_5050-19_0_4_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_5050-19_0_4_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_5050-19_0_4_node_42 | 0.4 | n |  | TRUE
78 | bus_LV_5050-19_0_4_node_43 | 0.4 | n |  | TRUE
79 | bus_LV_5050-19_0_4_node_96 | 0.4 | n |  | TRUE
80 | bus_LV_5050-19_0_4_node_55 | 0.4 | n |  | TRUE
81 | bus_LV_5050-19_0_4_node_47 | 0.4 | n |  | TRUE
82 | bus_LV_5050-19_0_4_node_48 | 0.4 | n |  | TRUE
83 | bus_LV_5050-19_0_4_node_53 | 0.4 | n |  | TRUE
84 | bus_LV_5050-19_0_4_node_49 | 0.4 | n |  | TRUE
85 | bus_LV_5050-19_0_4_node_50 | 0.4 | n |  | TRUE
86 | bus_LV_5050-19_0_4_node_51 | 0.4 | n |  | TRUE
87 | bus_LV_5050-19_0_4_node_52 | 0.4 | n |  | TRUE
88 | bus_LV_5050-19_0_4_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_5050-19_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_5050-19_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_5050-19_0_4_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_5050-19_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_5050-19_0_4_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_5050-19_0_4_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_5050-19_0_4_node_92 | 0.4 | n |  | TRUE
96 | bus_MV_186_1_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5050-19_0_4_load_0 | 0 | 0.00088159 | 0.00022095 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5050-19_0_4_load_1 | 1 | 0.00092815 | 0.00023262 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5050-19_0_4_load_2 | 2 | 0.00070658 | 0.00017709 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5050-19_0_4_load_3 | 3 | 0.001581 | 0.00039624 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5050-19_0_4_load_4 | 4 | 0.0014194 | 0.00035574 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5050-19_0_4_load_5 | 5 | 0.0011961 | 0.00029977 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5050-19_0_4_load_6 | 6 | 0.0013319 | 0.00033381 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5050-19_0_4_load_7 | 7 | 0.00078456 | 0.00019663 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5050-19_0_4_load_8 | 8 | 0.0010938 | 0.00027413 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5050-19_0_4_load_9 | 9 | 0.00070194 | 0.00017592 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5050-19_0_4_load_30 | 10 | 0.0017571 | 0.00044037 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5050-19_0_4_load_29 | 11 | 0.0011537 | 0.00028915 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5050-19_0_4_load_10 | 12 | 0.001277 | 0.00032005 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5050-19_0_4_load_11 | 13 | 0.0019072 | 0.00047798 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5050-19_0_4_load_13 | 15 | 0.0035699 | 0.00089471 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5050-19_0_4_load_14 | 16 | 0.0017182 | 0.00043061 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5050-19_0_4_load_17 | 17 | 0.0013337 | 0.00033426 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5050-19_0_4_load_18 | 18 | 0.0034411 | 0.00086241 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5050-19_0_4_load_15 | 19 | 0.0026081 | 0.00065366 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5050-19_0_4_load_70 | 20 | 0.0046686 | 0.0011701 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5050-19_0_4_load_71 | 21 | 0.0024292 | 0.00060882 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5050-19_0_4_load_72 | 22 | 0.0055793 | 0.0013983 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5050-19_0_4_load_16 | 23 | 0.0034184 | 0.00085674 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5050-19_0_4_load_69 | 24 | 0.0036181 | 0.00090679 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5050-19_0_4_load_73 | 25 | 0.0049748 | 0.0012468 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5050-19_0_4_load_74 | 26 | 0.0021624 | 0.00054195 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5050-19_0_4_load_68 | 27 | 0.0038423 | 0.00096298 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5050-19_0_4_load_19 | 28 | 0.0025096 | 0.00062896 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5050-19_0_4_load_76 | 29 | 0.0051101 | 0.0012807 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5050-19_0_4_load_75 | 30 | 0.0032522 | 0.00081509 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5050-19_0_4_load_77 | 31 | 0.0031169 | 0.00078116 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5050-19_0_4_load_20 | 32 | 0.001352 | 0.00033883 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5050-19_0_4_load_27 | 33 | 0.0011458 | 0.00028717 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5050-19_0_4_load_25 | 34 | 0.0011978 | 0.00030019 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5050-19_0_4_load_21 | 35 | 0.0027199 | 0.00068168 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5050-19_0_4_load_22 | 36 | 0.0011436 | 0.00028661 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5050-19_0_4_load_23 | 37 | 0.0044281 | 0.0011098 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5050-19_0_4_load_24 | 38 | 0.0013434 | 0.00033669 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5050-19_0_4_load_60 | 39 | 0.0024386 | 0.00061118 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5050-19_0_4_load_62 | 40 | 0.0062238 | 0.0015598 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5050-19_0_4_load_58 | 41 | 0.0026192 | 0.00065644 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5050-19_0_4_load_64 | 42 | 0.0022066 | 0.00055304 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5050-19_0_4_load_65 | 43 | 0.0027495 | 0.00068909 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5050-19_0_4_load_66 | 44 | 0.0011639 | 0.00029171 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5050-19_0_4_load_67 | 45 | 0.0015749 | 0.00039471 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5050-19_0_4_load_80 | 46 | 0.0041055 | 0.0010289 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5050-19_0_4_load_81 | 47 | 0.0011717 | 0.00029366 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5050-19_0_4_load_79 | 48 | 0.006596 | 0.0016531 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5050-19_0_4_load_82 | 49 | 0.0032922 | 0.0008251 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5050-19_0_4_load_83 | 50 | 0.0012634 | 0.00031664 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5050-19_0_4_load_84 | 51 | 0.0026701 | 0.0006692 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5050-19_0_4_load_95 | 52 | 0.0037487 | 0.00093951 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5050-19_0_4_load_93 | 53 | 0.0028431 | 0.00071254 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5050-19_0_4_load_26 | 54 | 0.0036466 | 0.00091393 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5050-19_0_4_load_78 | 55 | 0.0063177 | 0.0015834 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5050-19_0_4_load_28 | 56 | 0.0020437 | 0.0005122 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5050-19_0_4_load_56 | 57 | 0.002867 | 0.00071854 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5050-19_0_4_load_57 | 58 | 0.0019193 | 0.00048102 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5050-19_0_4_load_54 | 59 | 0.0032024 | 0.00080259 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5050-19_0_4_load_59 | 60 | 0.00196 | 0.00049123 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5050-19_0_4_load_61 | 61 | 0.0029187 | 0.00073151 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5050-19_0_4_load_63 | 62 | 0.0022754 | 0.00057028 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5050-19_0_4_load_31 | 63 | 0.00071493 | 0.00017918 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5050-19_0_4_load_32 | 64 | 0.0013948 | 0.00034957 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5050-19_0_4_load_33 | 65 | 0.0013318 | 0.00033377 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5050-19_0_4_load_34 | 66 | 0.0036645 | 0.00091841 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5050-19_0_4_load_35 | 67 | 0.0015825 | 0.0003966 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5050-19_0_4_load_36 | 68 | 0.0011347 | 0.00028439 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5050-19_0_4_load_44 | 69 | 0.00097281 | 0.00024381 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5050-19_0_4_load_38 | 71 | 0.0010282 | 0.0002577 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5050-19_0_4_load_39 | 72 | 0.0010642 | 0.00026672 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5050-19_0_4_load_40 | 73 | 0.0028733 | 0.00072012 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5050-19_0_4_load_41 | 74 | 0.0014573 | 0.00036524 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5050-19_0_4_load_45 | 75 | 0.001375 | 0.00034462 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5050-19_0_4_load_46 | 76 | 0.0010602 | 0.00026572 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5050-19_0_4_load_43 | 78 | 0.0010568 | 0.00026485 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5050-19_0_4_load_96 | 79 | 0.001618 | 0.00040551 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5050-19_0_4_load_55 | 80 | 0.00096397 | 0.00024159 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5050-19_0_4_load_47 | 81 | 0.0013571 | 0.00034011 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5050-19_0_4_load_48 | 82 | 0.0026123 | 0.00065469 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5050-19_0_4_load_53 | 83 | 0.0011616 | 0.00029113 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5050-19_0_4_load_49 | 84 | 0.0031426 | 0.00078761 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5050-19_0_4_load_50 | 85 | 0.0018859 | 0.00047266 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5050-19_0_4_load_51 | 86 | 0.001167 | 0.00029249 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5050-19_0_4_load_52 | 87 | 0.0021346 | 0.00053498 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5050-19_0_4_load_85 | 88 | 0.0020367 | 0.00051046 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5050-19_0_4_load_87 | 90 | 0.0013149 | 0.00032954 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5050-19_0_4_load_89 | 91 | 0.0011637 | 0.00029164 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5050-19_0_4_load_88 | 92 | 0.0015987 | 0.00040067 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5050-19_0_4_load_90 | 93 | 0.0032106 | 0.00080464 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5050-19_0_4_load_91 | 94 | 0.0017322 | 0.00043414 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5050-19_0_4_load_92 | 95 | 0.0026448 | 0.00066285 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5050-19_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5050-19_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0023831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5050-19_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.017637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5050-19_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.037926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5050-19_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0020414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5050-19_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 5.1207e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5050-19_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.022644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5050-19_0_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.00065481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5050-19_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.022468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5050-19_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.016783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5050-19_0_4_line_10 | NAYY 4x150 SE | 10 | 11 | 0.026857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5050-19_0_4_line_11 | NAYY 4x150 SE | 11 | 63 | 0.0232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5050-19_0_4_line_12 | NAYY 4x150 SE | 12 | 13 | 0.00053682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5050-19_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.01159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5050-19_0_4_line_14 | NAYY 4x150 SE | 14 | 15 | 0.0071286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5050-19_0_4_line_15 | NAYY 4x150 SE | 15 | 16 | 0.016555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5050-19_0_4_line_16 | NAYY 4x150 SE | 16 | 17 | 0.028342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5050-19_0_4_line_17 | NAYY 4x150 SE | 17 | 18 | 0.0053276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_5050-19_0_4_line_18 | NAYY 4x150 SE | 17 | 19 | 0.029156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_5050-19_0_4_line_19 | NAYY 4x150 SE | 18 | 28 | 0.0043345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_5050-19_0_4_line_20 | NAYY 4x150 SE | 19 | 23 | 0.018064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_5050-19_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0042943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5050-19_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.032522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5050-19_0_4_line_23 | NAYY 4x150 SE | 22 | 25 | 0.00068783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5050-19_0_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.021613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_5050-19_0_4_line_25 | NAYY 4x150 SE | 24 | 27 | 0.00093377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_5050-19_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.019052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5050-19_0_4_line_27 | NAYY 4x150 SE | 26 | 29 | 0.0025633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5050-19_0_4_line_28 | NAYY 4x150 SE | 27 | 45 | 0.020782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_5050-19_0_4_line_29 | NAYY 4x150 SE | 28 | 32 | 0.0040759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_5050-19_0_4_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0098886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5050-19_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.011129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5050-19_0_4_line_32 | NAYY 4x150 SE | 31 | 55 | 0.00018385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5050-19_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.0050233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_5050-19_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.00013797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_5050-19_0_4_line_35 | NAYY 4x150 SE | 34 | 37 | 0.0062417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5050-19_0_4_line_36 | NAYY 4x150 SE | 35 | 36 | 0.013521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_5050-19_0_4_line_37 | NAYY 4x150 SE | 35 | 37 | 0.034014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_5050-19_0_4_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0036199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_5050-19_0_4_line_39 | NAYY 4x150 SE | 38 | 54 | 0.045909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_5050-19_0_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.0053006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_5050-19_0_4_line_41 | NAYY 4x150 SE | 39 | 41 | 0.023313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_5050-19_0_4_line_42 | NAYY 4x150 SE | 40 | 42 | 0.0071352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_5050-19_0_4_line_43 | NAYY 4x150 SE | 41 | 58 | 0.0028158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_5050-19_0_4_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0054375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_5050-19_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.012347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_5050-19_0_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0076544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_5050-19_0_4_line_47 | NAYY 4x150 SE | 46 | 47 | 0.0036771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5050-19_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.018797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5050-19_0_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.026632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5050-19_0_4_line_50 | NAYY 4x150 SE | 48 | 55 | 0.017308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5050-19_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.00020761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5050-19_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.018541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5050-19_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0011319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5050-19_0_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.059255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5050-19_0_4_line_55 | NAYY 4x150 SE | 53 | 95 | 0.0015893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5050-19_0_4_line_56 | NAYY 4x150 SE | 54 | 56 | 0.018286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_5050-19_0_4_line_57 | NAYY 4x150 SE | 56 | 57 | 0.027019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5050-19_0_4_line_58 | NAYY 4x150 SE | 57 | 59 | 0.012938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_5050-19_0_4_line_59 | NAYY 4x150 SE | 58 | 60 | 0.0086231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_5050-19_0_4_line_60 | NAYY 4x150 SE | 59 | 87 | 0.0097331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_5050-19_0_4_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0097414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_5050-19_0_4_line_62 | NAYY 4x150 SE | 61 | 62 | 0.025631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_5050-19_0_4_line_63 | NAYY 4x150 SE | 62 | 88 | 0.021118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5050-19_0_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.045074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5050-19_0_4_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0052813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5050-19_0_4_line_66 | NAYY 4x150 SE | 65 | 66 | 0.019466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5050-19_0_4_line_67 | NAYY 4x150 SE | 66 | 67 | 0.024977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5050-19_0_4_line_68 | NAYY 4x150 SE | 67 | 68 | 0.020114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5050-19_0_4_line_69 | NAYY 4x150 SE | 68 | 69 | 0.039337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5050-19_0_4_line_70 | NAYY 4x150 SE | 69 | 75 | 0.0017655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5050-19_0_4_line_71 | NAYY 4x150 SE | 69 | 74 | 0.025572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5050-19_0_4_line_72 | NAYY 4x150 SE | 70 | 71 | 0.0077209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5050-19_0_4_line_73 | NAYY 4x150 SE | 70 | 72 | 0.0099645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5050-19_0_4_line_74 | NAYY 4x150 SE | 71 | 73 | 0.028619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5050-19_0_4_line_75 | NAYY 4x150 SE | 72 | 74 | 0.016045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5050-19_0_4_line_76 | NAYY 4x150 SE | 73 | 77 | 0.018071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5050-19_0_4_line_77 | NAYY 4x150 SE | 75 | 76 | 0.0018016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5050-19_0_4_line_78 | NAYY 4x150 SE | 76 | 81 | 0.021071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5050-19_0_4_line_79 | NAYY 4x150 SE | 77 | 78 | 0.0078118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5050-19_0_4_line_80 | NAYY 4x150 SE | 79 | 80 | 0.024676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5050-19_0_4_line_81 | NAYY 4x150 SE | 80 | 82 | 0.021369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5050-19_0_4_line_82 | NAYY 4x150 SE | 80 | 83 | 0.029413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5050-19_0_4_line_83 | NAYY 4x150 SE | 81 | 82 | 0.0052315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5050-19_0_4_line_84 | NAYY 4x150 SE | 83 | 86 | 0.015748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_5050-19_0_4_line_85 | NAYY 4x150 SE | 84 | 85 | 0.0087392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_5050-19_0_4_line_86 | NAYY 4x150 SE | 84 | 86 | 0.0025505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_5050-19_0_4_line_87 | NAYY 4x150 SE | 85 | 87 | 0.028918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_5050-19_0_4_line_88 | NAYY 4x150 SE | 88 | 89 | 0.027057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5050-19_0_4_line_89 | NAYY 4x150 SE | 89 | 90 | 0.023381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5050-19_0_4_line_90 | NAYY 4x150 SE | 90 | 91 | 0.00080794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5050-19_0_4_line_91 | NAYY 4x150 SE | 91 | 92 | 0.010014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5050-19_0_4_line_92 | NAYY 4x150 SE | 92 | 93 | 0.0066941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5050-19_0_4_line_93 | NAYY 4x150 SE | 93 | 94 | 0.0079022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5050-19_0_4_line_94 | NAYY 4x150 SE | 94 | 95 | 0.004727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5050-19_0_4_trafo_64 | 0.25 MVA 20/0.4 kV | 96 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2717587.0366 | 1140457.7546 | 2717592.6617 | 1140471.8181 | 2717597.2761 | 1140482.7377
1 | 2717597.2761 | 1140482.7377 | 2717598.2038 | 1140484.9329
2 | 2717604.6981 | 1140501.3093 | 2717603.8518 | 1140498.2984 | 2717598.2038 | 1140484.9329
3 | 2717604.6981 | 1140501.3093 | 2717605.4701 | 1140504.056 | 2717607.0188 | 1140511.0131 | 2717608.2288 | 1140521.9329 | 2717608.8914 | 1140534.4988 | 2717608.6751 | 1140538.8692
4 | 2717608.6751 | 1140538.8692 | 2717608.5741 | 1140540.908 | 2717608.5741 | 1140540.908
5 | 2717608.5741 | 1140540.908 | 2717608.5683 | 1140540.9589
6 | 2717605.9898 | 1140563.4555 | 2717608.5683 | 1140540.9589
7 | 2717605.9898 | 1140563.4555 | 2717605.9153 | 1140564.1061
8 | 2717605.9153 | 1140564.1061 | 2717604.7557 | 1140574.2227 | 2717603.0996 | 1140586.3955
9 | 2717600.8369 | 1140603.0257 | 2717603.0996 | 1140586.3955
10 | 2717597.2162 | 1140629.6376 | 2717600.8369 | 1140603.0257
11 | 2717597.2162 | 1140629.6376 | 2717595.8767 | 1140639.4826 | 2717594.4477 | 1140652.6693
12 | 2717754.3782 | 1140522.3242 | 2717754.2969 | 1140521.7936
13 | 2717756.1334 | 1140533.7803 | 2717754.3782 | 1140522.3242
14 | 2717756.1334 | 1140533.7803 | 2717756.0652 | 1140540.9086
15 | 2717756.0652 | 1140540.9086 | 2717756.0447 | 1140543.0514 | 2717756.1489 | 1140557.4629
16 | 2717756.1489 | 1140557.4629 | 2717756.2235 | 1140567.7716 | 2717755.7879 | 1140572.3551 | 2717754.7203 | 1140576.6149 | 2717752.7036 | 1140580.6338 | 2717750.3013 | 1140584.4869
17 | 2717747.4826 | 1140589.0077 | 2717750.3013 | 1140584.4869
18 | 2717750.3013 | 1140584.4869 | 2717778.7642 | 1140590.8064
19 | 2717747.4826 | 1140589.0077 | 2717745.1893 | 1140592.6859
20 | 2717778.7642 | 1140590.8064 | 2717774.9951 | 1140608.4729
21 | 2717863.1317 | 1140584.3701 | 2717863.3257 | 1140580.0802
22 | 2717863.1317 | 1140584.3701 | 2717861.8721 | 1140612.2193 | 2717861.8995 | 1140616.8639
23 | 2717861.8995 | 1140616.8639 | 2717861.9036 | 1140617.5517
24 | 2717772.7939 | 1140629.9428 | 2717772.8188 | 1140628.9589 | 2717773.4862 | 1140618.0201 | 2717774.5384 | 1140610.6134 | 2717774.9951 | 1140608.4729
25 | 2717772.7703 | 1140630.8763 | 2717772.7939 | 1140629.9428
26 | 2717861.9036 | 1140617.5517 | 2717862.016 | 1140636.6029
27 | 2717862.0311 | 1140639.1662 | 2717862.016 | 1140636.6029
28 | 2717773.3921 | 1140651.6256 | 2717772.5483 | 1140639.6609 | 2717772.7703 | 1140630.8763
29 | 2717745.1893 | 1140592.6859 | 2717743.0328 | 1140596.1445
30 | 2717862.0894 | 1140649.0546 | 2717862.0311 | 1140639.1662
31 | 2717862.0894 | 1140649.0546 | 2717862.1551 | 1140660.183
32 | 2717862.1551 | 1140660.183 | 2717862.1562 | 1140660.3669
33 | 2717740.8263 | 1140600.6573 | 2717743.0328 | 1140596.1445 | 2717743.0328 | 1140596.1445
34 | 2717740.8263 | 1140600.6573 | 2717740.7657 | 1140600.7812
35 | 2717738.8689 | 1140606.726 | 2717738.941 | 1140606.3938 | 2717740.7657 | 1140600.7812 | 2717740.7657 | 1140600.7812
36 | 2717724.5231 | 1140636.5401 | 2717714.9608 | 1140646.0998
37 | 2717724.5231 | 1140636.5401 | 2717730.148 | 1140630.9166 | 2717733.0741 | 1140626.8043 | 2717734.5805 | 1140624.0985 | 2717735.983 | 1140620.0231 | 2717738.8689 | 1140606.726
38 | 2717714.9608 | 1140646.0998 | 2717712.4008 | 1140648.6591
39 | 2717691.3987 | 1140688.5846 | 2717694.5486 | 1140676.8645 | 2717697.4741 | 1140669.2275 | 2717700.2594 | 1140663.6558 | 2717704.2953 | 1140657.4525 | 2717709.1489 | 1140651.9101 | 2717712.4008 | 1140648.6591
40 | 2717774.4984 | 1140684.1588 | 2717774.179 | 1140689.4498
41 | 2717774.179 | 1140689.4498 | 2717774.0946 | 1140690.8478 | 2717772.8391 | 1140700.3964 | 2717770.4972 | 1140712.4525
42 | 2717774.4984 | 1140684.1588 | 2717774.6062 | 1140682.3743 | 2717774.6114 | 1140677.0269
43 | 2717769.9603 | 1140715.2166 | 2717770.4972 | 1140712.4525
44 | 2717774.6114 | 1140677.0269 | 2717774.6168 | 1140671.5894 | 2717774.6168 | 1140671.5894
45 | 2717773.8622 | 1140659.2655 | 2717774.6168 | 1140671.5894
46 | 2717773.8622 | 1140659.2655 | 2717773.4097 | 1140651.8748 | 2717773.3921 | 1140651.6256
47 | 2717862.3692 | 1140696.4713 | 2717862.3909 | 1140700.1484
48 | 2717862.2583 | 1140677.6742 | 2717862.3692 | 1140696.4713
49 | 2717862.3909 | 1140700.1484 | 2717862.5481 | 1140726.7796
50 | 2717862.2583 | 1140677.6742 | 2717862.1562 | 1140660.3669
51 | 2717862.5481 | 1140726.7796 | 2717862.5493 | 1140726.9872
52 | 2717864.1471 | 1140745.403 | 2717863.1895 | 1140740.8096 | 2717862.591 | 1140734.0489 | 2717862.5493 | 1140726.9872
53 | 2717864.1471 | 1140745.403 | 2717864.174 | 1140745.532 | 2717864.485 | 1140746.4826
54 | 2717808.4567 | 1140765.769 | 2717864.485 | 1140746.4826
55 | 2717806.928 | 1140765.3339 | 2717808.4567 | 1140765.769 | 2717808.4567 | 1140765.769
56 | 2717687.8656 | 1140706.5064 | 2717688.1526 | 1140703.5133 | 2717691.1152 | 1140689.6395 | 2717691.3987 | 1140688.5846
57 | 2717683.0337 | 1140732.8999 | 2717683.0337 | 1140732.8999 | 2717685.4981 | 1140726.8217 | 2717686.6172 | 1140719.5275 | 2717687.8656 | 1140706.5064
58 | 2717675.8933 | 1140743.6889 | 2717683.0337 | 1140732.8999
59 | 2717769.9603 | 1140715.2166 | 2717768.316 | 1140723.6816
60 | 2717670.7362 | 1140751.9367 | 2717672.478 | 1140748.8493 | 2717675.8933 | 1140743.6889
61 | 2717768.316 | 1140723.6816 | 2717766.4584 | 1140733.2442
62 | 2717766.4584 | 1140733.2442 | 2717761.9798 | 1140756.3 | 2717761.8438 | 1140758.4399
63 | 2717761.8438 | 1140758.4399 | 2717761.7024 | 1140760.6642 | 2717762.2056 | 1140763.6427 | 2717763.8432 | 1140766.4321 | 2717766.9629 | 1140769.3394 | 2717771.4796 | 1140772.3851 | 2717773.8387 | 1140774.1096
64 | 2717594.4477 | 1140652.6693 | 2717589.7338 | 1140696.1678 | 2717589.4818 | 1140697.4642
65 | 2717588.4737 | 1140702.6484 | 2717589.4818 | 1140697.4642
66 | 2717584.4388 | 1140721.6886 | 2717586.7078 | 1140711.7305 | 2717588.4737 | 1140702.6484
67 | 2717578.8902 | 1140746.0411 | 2717584.4388 | 1140721.6886
68 | 2717578.8902 | 1140746.0411 | 2717574.4217 | 1140765.6529
69 | 2717574.4217 | 1140765.6529 | 2717597.6922 | 1140797.3684
70 | 2717597.6922 | 1140797.3684 | 2717599.4577 | 1140797.3523
71 | 2717581.3233 | 1140806.8453 | 2717586.3667 | 1140806.9436 | 2717592.8147 | 1140808.3702 | 2717594.9515 | 1140797.3933 | 2717597.6922 | 1140797.3684
72 | 2717559.0876 | 1140819.1315 | 2717555.7981 | 1140826.1166
73 | 2717559.0876 | 1140819.1315 | 2717567.1265 | 1140813.2436
74 | 2717555.7981 | 1140826.1166 | 2717554.3692 | 1140833.1379 | 2717554.6418 | 1140838.8804 | 2717556.2465 | 1140843.3592 | 2717560.9252 | 1140848.3537 | 2717563.8635 | 1140851.2177
75 | 2717567.1265 | 1140813.2436 | 2717572.6325 | 1140809.2109 | 2717577.9559 | 1140806.7796 | 2717581.3233 | 1140806.8453
76 | 2717574.3982 | 1140865.7945 | 2717567.001 | 1140854.276 | 2717563.8635 | 1140851.2177
77 | 2717599.4577 | 1140797.3523 | 2717601.2592 | 1140797.3359
78 | 2717601.2592 | 1140797.3359 | 2717615.5594 | 1140797.2058 | 2717615.5273 | 1140803.9764
79 | 2717574.3982 | 1140865.7945 | 2717571.996 | 1140867.9047 | 2717571.0474 | 1140869.2205 | 2717570.6769 | 1140871.2591 | 2717570.8567 | 1140872.1617
80 | 2717630.1053 | 1140825.0768 | 2717626.4355 | 1140829.0948 | 2717623.7664 | 1140833.0566 | 2717622.0814 | 1140837.4267 | 2717621.2731 | 1140844.1711 | 2717621.3926 | 1140847.1494
81 | 2717630.1053 | 1140825.0768 | 2717620.3162 | 1140806.0823
82 | 2717649.9405 | 1140803.3589 | 2717630.1053 | 1140825.0768
83 | 2717620.3162 | 1140806.0823 | 2717615.5273 | 1140803.9764
84 | 2717657.9999 | 1140789.9613 | 2717656.8366 | 1140793.2855 | 2717654.6205 | 1140796.8892 | 2717650.8293 | 1140802.3856 | 2717649.9405 | 1140803.3589
85 | 2717658.8424 | 1140787.5539 | 2717659.4105 | 1140785.9307 | 2717661.3181 | 1140779.1754
86 | 2717658.8424 | 1140787.5539 | 2717657.9999 | 1140789.9613
87 | 2717661.3181 | 1140779.1754 | 2717666.2925 | 1140761.5595 | 2717669.2516 | 1140754.5681 | 2717670.7362 | 1140751.9367
88 | 2717782.0616 | 1140798.0311 | 2717782.4108 | 1140787.6309 | 2717781.5588 | 1140783.2113 | 2717779.8128 | 1140779.6749 | 2717776.6056 | 1140776.1321 | 2717773.8387 | 1140774.1096
89 | 2717782.0616 | 1140798.0311 | 2717793.444 | 1140786.6233 | 2717793.836 | 1140779.3682
90 | 2717793.836 | 1140779.3682 | 2717793.8796 | 1140778.5615
91 | 2717794.4199 | 1140768.5616 | 2717793.8796 | 1140778.5615
92 | 2717794.4199 | 1140768.5616 | 2717794.781 | 1140761.8772 | 2717794.781 | 1140761.8772
93 | 2717802.3815 | 1140764.0401 | 2717794.781 | 1140761.8772
94 | 2717802.3815 | 1140764.0401 | 2717806.928 | 1140765.3339

## bus_geodata
| x | y | coords
0 | 2717587.0366 | 1140457.7546
1 | 2717597.2761 | 1140482.7377
2 | 2717598.2038 | 1140484.9329
3 | 2717604.6981 | 1140501.3093
4 | 2717608.6751 | 1140538.8692
5 | 2717608.5741 | 1140540.908
6 | 2717608.5683 | 1140540.9589
7 | 2717605.9898 | 1140563.4555
8 | 2717605.9153 | 1140564.1061
9 | 2717603.0996 | 1140586.3955
10 | 2717600.8369 | 1140603.0257
11 | 2717597.2162 | 1140629.6376
12 | 2717754.3782 | 1140522.3242
13 | 2717754.2969 | 1140521.7936
14 | 2717756.1334 | 1140533.7803
15 | 2717756.0652 | 1140540.9086
16 | 2717756.1489 | 1140557.4629
17 | 2717750.3013 | 1140584.4869
18 | 2717747.4826 | 1140589.0077
19 | 2717778.7642 | 1140590.8064
20 | 2717863.1317 | 1140584.3701
21 | 2717863.3257 | 1140580.0802
22 | 2717861.8995 | 1140616.8639
23 | 2717774.9951 | 1140608.4729
24 | 2717772.7939 | 1140629.9428
25 | 2717861.9036 | 1140617.5517
26 | 2717862.016 | 1140636.6029
27 | 2717772.7703 | 1140630.8763
28 | 2717745.1893 | 1140592.6859
29 | 2717862.0311 | 1140639.1662
30 | 2717862.0894 | 1140649.0546
31 | 2717862.1551 | 1140660.183
32 | 2717743.0328 | 1140596.1445
33 | 2717740.8263 | 1140600.6573
34 | 2717740.7657 | 1140600.7812
35 | 2717724.5231 | 1140636.5401
36 | 2717714.9608 | 1140646.0998
37 | 2717738.8689 | 1140606.726
38 | 2717712.4008 | 1140648.6591
39 | 2717774.179 | 1140689.4498
40 | 2717774.4984 | 1140684.1588
41 | 2717770.4972 | 1140712.4525
42 | 2717774.6114 | 1140677.0269
43 | 2717774.6168 | 1140671.5894
44 | 2717773.8622 | 1140659.2655
45 | 2717773.3921 | 1140651.6256
46 | 2717862.3692 | 1140696.4713
47 | 2717862.3909 | 1140700.1484
48 | 2717862.2583 | 1140677.6742
49 | 2717862.5481 | 1140726.7796
50 | 2717862.5493 | 1140726.9872
51 | 2717864.1471 | 1140745.403
52 | 2717864.485 | 1140746.4826
53 | 2717808.4567 | 1140765.769
54 | 2717691.3987 | 1140688.5846
55 | 2717862.1562 | 1140660.3669
56 | 2717687.8656 | 1140706.5064
57 | 2717683.0337 | 1140732.8999
58 | 2717769.9603 | 1140715.2166
59 | 2717675.8933 | 1140743.6889
60 | 2717768.316 | 1140723.6816
61 | 2717766.4584 | 1140733.2442
62 | 2717761.8438 | 1140758.4399
63 | 2717594.4477 | 1140652.6693
64 | 2717589.4818 | 1140697.4642
65 | 2717588.4737 | 1140702.6484
66 | 2717584.4388 | 1140721.6886
67 | 2717578.8902 | 1140746.0411
68 | 2717574.4217 | 1140765.6529
69 | 2717597.6922 | 1140797.3684
70 | 2717559.0876 | 1140819.1315
71 | 2717555.7981 | 1140826.1166
72 | 2717567.1265 | 1140813.2436
73 | 2717563.8635 | 1140851.2177
74 | 2717581.3233 | 1140806.8453
75 | 2717599.4577 | 1140797.3523
76 | 2717601.2592 | 1140797.3359
77 | 2717574.3982 | 1140865.7945
78 | 2717570.8567 | 1140872.1617
79 | 2717621.3926 | 1140847.1494
80 | 2717630.1053 | 1140825.0768
81 | 2717615.5273 | 1140803.9764
82 | 2717620.3162 | 1140806.0823
83 | 2717649.9405 | 1140803.3589
84 | 2717658.8424 | 1140787.5539
85 | 2717661.3181 | 1140779.1754
86 | 2717657.9999 | 1140789.9613
87 | 2717670.7362 | 1140751.9367
88 | 2717773.8387 | 1140774.1096
89 | 2717782.0616 | 1140798.0311
90 | 2717793.836 | 1140779.3682
91 | 2717793.8796 | 1140778.5615
92 | 2717794.4199 | 1140768.5616
93 | 2717794.781 | 1140761.8772
94 | 2717802.3815 | 1140764.0401
95 | 2717806.928 | 1140765.3339
96 | 2717782.0616 | 1140798.0311

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1