## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5050-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5050-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5050-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5050-5_0_6_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_5050-5_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5050-5_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5050-5_0_6_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_5050-5_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5050-5_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5050-5_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5050-5_0_6_node_91 | 0.4 | n |  | TRUE
11 | bus_LV_5050-5_0_6_node_88 | 0.4 | n |  | TRUE
12 | bus_LV_5050-5_0_6_node_87 | 0.4 | n |  | TRUE
13 | bus_LV_5050-5_0_6_node_92 | 0.4 | n |  | TRUE
14 | bus_LV_5050-5_0_6_node_89 | 0.4 | n |  | TRUE
15 | bus_LV_5050-5_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5050-5_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5050-5_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5050-5_0_6_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5050-5_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5050-5_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5050-5_0_6_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5050-5_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5050-5_0_6_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_5050-5_0_6_node_93 | 0.4 | n |  | TRUE
25 | bus_LV_5050-5_0_6_node_94 | 0.4 | n |  | TRUE
26 | bus_LV_5050-5_0_6_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_5050-5_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5050-5_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5050-5_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5050-5_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5050-5_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5050-5_0_6_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_5050-5_0_6_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_5050-5_0_6_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_5050-5_0_6_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_5050-5_0_6_node_101 | 0.4 | n |  | TRUE
37 | bus_LV_5050-5_0_6_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_5050-5_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_5050-5_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5050-5_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5050-5_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_5050-5_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_5050-5_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_5050-5_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5050-5_0_6_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5050-5_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_5050-5_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_5050-5_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_5050-5_0_6_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_5050-5_0_6_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_5050-5_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5050-5_0_6_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_5050-5_0_6_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5050-5_0_6_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5050-5_0_6_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_5050-5_0_6_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5050-5_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_5050-5_0_6_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_5050-5_0_6_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_5050-5_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5050-5_0_6_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_5050-5_0_6_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_5050-5_0_6_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_5050-5_0_6_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_5050-5_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_5050-5_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_5050-5_0_6_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_5050-5_0_6_node_130 | 0.4 | n |  | TRUE
69 | bus_LV_5050-5_0_6_node_128 | 0.4 | n |  | TRUE
70 | bus_LV_5050-5_0_6_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_5050-5_0_6_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_5050-5_0_6_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_5050-5_0_6_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_5050-5_0_6_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_5050-5_0_6_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_5050-5_0_6_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_5050-5_0_6_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_5050-5_0_6_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_5050-5_0_6_node_96 | 0.4 | n |  | TRUE
80 | bus_LV_5050-5_0_6_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_5050-5_0_6_node_95 | 0.4 | n |  | TRUE
82 | bus_LV_5050-5_0_6_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_5050-5_0_6_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_5050-5_0_6_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_5050-5_0_6_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_5050-5_0_6_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_5050-5_0_6_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_5050-5_0_6_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_5050-5_0_6_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_5050-5_0_6_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_5050-5_0_6_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_5050-5_0_6_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_5050-5_0_6_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_5050-5_0_6_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_5050-5_0_6_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_5050-5_0_6_node_84 | 0.4 | n |  | TRUE
97 | bus_LV_5050-5_0_6_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_5050-5_0_6_node_86 | 0.4 | n |  | TRUE
99 | bus_LV_5050-5_0_6_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_5050-5_0_6_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_5050-5_0_6_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_5050-5_0_6_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_5050-5_0_6_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_5050-5_0_6_node_104 | 0.4 | n |  | TRUE
105 | bus_LV_5050-5_0_6_node_113 | 0.4 | n |  | TRUE
106 | bus_LV_5050-5_0_6_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_5050-5_0_6_node_111 | 0.4 | n |  | TRUE
108 | bus_LV_5050-5_0_6_node_106 | 0.4 | n |  | TRUE
109 | bus_LV_5050-5_0_6_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_5050-5_0_6_node_115 | 0.4 | n |  | TRUE
111 | bus_LV_5050-5_0_6_node_108 | 0.4 | n |  | TRUE
112 | bus_LV_5050-5_0_6_node_109 | 0.4 | n |  | TRUE
113 | bus_LV_5050-5_0_6_node_110 | 0.4 | n |  | TRUE
114 | bus_LV_5050-5_0_6_node_112 | 0.4 | n |  | TRUE
115 | bus_LV_5050-5_0_6_node_114 | 0.4 | n |  | TRUE
116 | bus_LV_5050-5_0_6_node_134 | 0.4 | n |  | TRUE
117 | bus_LV_5050-5_0_6_node_132 | 0.4 | n |  | TRUE
118 | bus_LV_5050-5_0_6_node_116 | 0.4 | n |  | TRUE
119 | bus_LV_5050-5_0_6_node_117 | 0.4 | n |  | TRUE
120 | bus_LV_5050-5_0_6_node_118 | 0.4 | n |  | TRUE
121 | bus_LV_5050-5_0_6_node_119 | 0.4 | n |  | TRUE
122 | bus_LV_5050-5_0_6_node_120 | 0.4 | n |  | TRUE
123 | bus_LV_5050-5_0_6_node_121 | 0.4 | n |  | TRUE
124 | bus_LV_5050-5_0_6_node_122 | 0.4 | n |  | TRUE
125 | bus_LV_5050-5_0_6_node_135 | 0.4 | n |  | TRUE
126 | bus_LV_5050-5_0_6_node_123 | 0.4 | n |  | TRUE
127 | bus_LV_5050-5_0_6_node_133 | 0.4 | n |  | TRUE
128 | bus_LV_5050-5_0_6_node_124 | 0.4 | n |  | TRUE
129 | bus_LV_5050-5_0_6_node_125 | 0.4 | n |  | TRUE
130 | bus_LV_5050-5_0_6_node_126 | 0.4 | n |  | TRUE
131 | bus_LV_5050-5_0_6_node_131 | 0.4 | n |  | TRUE
132 | bus_LV_5050-5_0_6_node_129 | 0.4 | n |  | TRUE
133 | bus_LV_5050-5_0_6_node_127 | 0.4 | n |  | TRUE
134 | bus_MV_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5050-5_0_6_load_0 | 0 | 0.00018309 | 4.5886e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5050-5_0_6_load_1 | 1 | 0.00018952 | 4.7498e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5050-5_0_6_load_2 | 2 | 0.00028865 | 7.2342e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5050-5_0_6_load_12 | 3 | 0.00064459 | 0.00016155 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5050-5_0_6_load_3 | 4 | 0.0003669 | 9.1954e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5050-5_0_6_load_6 | 8 | 0.0002201 | 5.5161e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5050-5_0_6_load_91 | 10 | 0.00062031 | 0.00015546 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5050-5_0_6_load_88 | 11 | 0.00022562 | 5.6547e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5050-5_0_6_load_87 | 12 | 0.00018187 | 4.5582e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5050-5_0_6_load_92 | 13 | 0.00048265 | 0.00012096 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5050-5_0_6_load_89 | 14 | 0.00034665 | 8.6878e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5050-5_0_6_load_8 | 15 | 0.00038721 | 9.7044e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5050-5_0_6_load_15 | 18 | 0.00017865 | 4.4775e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5050-5_0_6_load_13 | 19 | 0.00021117 | 5.2925e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5050-5_0_6_load_14 | 20 | 0.00032013 | 8.0233e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5050-5_0_6_load_18 | 21 | 0.00023958 | 6.0044e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5050-5_0_6_load_90 | 23 | 0.00034197 | 8.5707e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5050-5_0_6_load_93 | 24 | 0.00021586 | 5.4101e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5050-5_0_6_load_94 | 25 | 0.00027665 | 6.9336e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5050-5_0_6_load_25 | 26 | 0.00025797 | 6.4653e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5050-5_0_6_load_17 | 27 | 0.00061355 | 0.00015377 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5050-5_0_6_load_19 | 28 | 0.00024585 | 6.1615e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5050-5_0_6_load_23 | 29 | 0.00017822 | 4.4667e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5050-5_0_6_load_20 | 30 | 0.00040297 | 0.00010099 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5050-5_0_6_load_21 | 31 | 0.00031175 | 7.8132e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5050-5_0_6_load_33 | 32 | 0.00019239 | 4.8217e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5050-5_0_6_load_54 | 33 | 0.00027194 | 6.8155e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5050-5_0_6_load_101 | 36 | 0.00027377 | 6.8613e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5050-5_0_6_load_22 | 37 | 0.00027211 | 6.8198e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5050-5_0_6_load_24 | 38 | 0.00018166 | 4.5527e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5050-5_0_6_load_26 | 39 | 0.00020579 | 5.1575e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5050-5_0_6_load_27 | 40 | 0.00022387 | 5.6107e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5050-5_0_6_load_28 | 41 | 0.00021361 | 5.3536e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5050-5_0_6_load_29 | 42 | 0.00031946 | 8.0065e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5050-5_0_6_load_30 | 43 | 0.0010143 | 0.00025421 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5050-5_0_6_load_37 | 44 | 0.00034302 | 8.5969e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5050-5_0_6_load_38 | 45 | 0.00041242 | 0.00010336 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5050-5_0_6_load_35 | 48 | 0.00019943 | 4.9982e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5050-5_0_6_load_36 | 49 | 0.00021089 | 5.2854e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5050-5_0_6_load_40 | 50 | 0.00027609 | 6.9195e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5050-5_0_6_load_41 | 51 | 0.00022389 | 5.6112e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5050-5_0_6_load_42 | 52 | 0.00018486 | 4.633e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5050-5_0_6_load_39 | 53 | 0.00026622 | 6.6722e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5050-5_0_6_load_46 | 54 | 0.00024351 | 6.1029e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5050-5_0_6_load_43 | 55 | 0.00017841 | 4.4713e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5050-5_0_6_load_50 | 56 | 0.00027428 | 6.874e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5050-5_0_6_load_48 | 57 | 0.00018607 | 4.6635e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5050-5_0_6_load_44 | 58 | 0.0001909 | 4.7844e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5050-5_0_6_load_45 | 59 | 0.00029872 | 7.4866e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5050-5_0_6_load_51 | 60 | 0.00018619 | 4.6664e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5050-5_0_6_load_47 | 61 | 0.00021945 | 5.5e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5050-5_0_6_load_49 | 62 | 0.00051672 | 0.0001295 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5050-5_0_6_load_57 | 65 | 0.0006181 | 0.00015491 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5050-5_0_6_load_58 | 66 | 0.0053072 | 0.0013301 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5050-5_0_6_load_59 | 67 | 0.00062296 | 0.00015613 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5050-5_0_6_load_130 | 68 | 0.00061335 | 0.00015372 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5050-5_0_6_load_128 | 69 | 0.000905 | 0.00022682 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5050-5_0_6_load_60 | 70 | 0.00055134 | 0.00013818 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5050-5_0_6_load_61 | 71 | 0.00050032 | 0.00012539 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5050-5_0_6_load_62 | 72 | 0.00041214 | 0.00010329 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5050-5_0_6_load_63 | 73 | 0.0004963 | 0.00012438 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5050-5_0_6_load_64 | 74 | 0.0003185 | 7.9823e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5050-5_0_6_load_65 | 75 | 0.00078613 | 0.00019702 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5050-5_0_6_load_66 | 76 | 0.0003015 | 7.5563e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5050-5_0_6_load_67 | 77 | 0.00028686 | 7.1894e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5050-5_0_6_load_68 | 78 | 0.0011156 | 0.0002796 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5050-5_0_6_load_96 | 79 | 0.00038151 | 9.5616e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5050-5_0_6_load_69 | 80 | 0.00028068 | 7.0346e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5050-5_0_6_load_95 | 81 | 0.00051084 | 0.00012803 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5050-5_0_6_load_70 | 82 | 0.0004563 | 0.00011436 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5050-5_0_6_load_71 | 83 | 0.0003637 | 9.1151e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5050-5_0_6_load_72 | 84 | 0.0002882 | 7.223e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5050-5_0_6_load_73 | 85 | 0.00030919 | 7.7489e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5050-5_0_6_load_74 | 86 | 0.00056363 | 0.00014126 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5050-5_0_6_load_75 | 87 | 0.00071216 | 0.00017848 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5050-5_0_6_load_76 | 88 | 0.00030086 | 7.5403e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5050-5_0_6_load_77 | 89 | 0.00040143 | 0.00010061 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5050-5_0_6_load_78 | 90 | 0.00045644 | 0.00011439 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5050-5_0_6_load_79 | 91 | 0.00028304 | 7.0936e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5050-5_0_6_load_80 | 92 | 0.00032648 | 8.1825e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5050-5_0_6_load_81 | 93 | 0.00047139 | 0.00011814 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5050-5_0_6_load_83 | 95 | 0.00039236 | 9.8336e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5050-5_0_6_load_84 | 96 | 0.00035199 | 8.8217e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5050-5_0_6_load_85 | 97 | 0.00031905 | 7.996e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5050-5_0_6_load_86 | 98 | 0.00098705 | 0.00024738 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5050-5_0_6_load_97 | 99 | 0.00046231 | 0.00011587 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5050-5_0_6_load_98 | 100 | 0.00031909 | 7.9971e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5050-5_0_6_load_99 | 101 | 0.00039445 | 9.8859e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5050-5_0_6_load_100 | 102 | 0.0018966 | 0.00047533 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5050-5_0_6_load_102 | 103 | 0.00082042 | 0.00020562 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5050-5_0_6_load_104 | 104 | 0.00039989 | 0.00010022 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5050-5_0_6_load_113 | 105 | 0.00034421 | 8.6267e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5050-5_0_6_load_105 | 106 | 0.00029345 | 7.3545e-05 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5050-5_0_6_load_111 | 107 | 0.00068607 | 0.00017195 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5050-5_0_6_load_106 | 108 | 0.00042113 | 0.00010555 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5050-5_0_6_load_107 | 109 | 0.00028087 | 7.0393e-05 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5050-5_0_6_load_115 | 110 | 0.00042273 | 0.00010594 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5050-5_0_6_load_108 | 111 | 0.00095889 | 0.00024032 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5050-5_0_6_load_109 | 112 | 0.00050373 | 0.00012625 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5050-5_0_6_load_110 | 113 | 0.00029122 | 7.2987e-05 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5050-5_0_6_load_112 | 114 | 0.00027718 | 6.9468e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5050-5_0_6_load_114 | 115 | 0.00047775 | 0.00011974 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5050-5_0_6_load_134 | 116 | 0.0003655 | 9.1602e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5050-5_0_6_load_132 | 117 | 0.0002657 | 6.659e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5050-5_0_6_load_116 | 118 | 0.0011684 | 0.00029283 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5050-5_0_6_load_117 | 119 | 0.00044286 | 0.00011099 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5050-5_0_6_load_118 | 120 | 0.00035105 | 8.7982e-05 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5050-5_0_6_load_119 | 121 | 0.001306 | 0.00032731 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5050-5_0_6_load_120 | 122 | 0.0009369 | 0.00023481 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5050-5_0_6_load_121 | 123 | 0.00032323 | 8.101e-05 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5050-5_0_6_load_122 | 124 | 0.00039268 | 9.8414e-05 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5050-5_0_6_load_135 | 125 | 0.00052909 | 0.0001326 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5050-5_0_6_load_123 | 126 | 0.00087426 | 0.00021911 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5050-5_0_6_load_133 | 127 | 0.00046929 | 0.00011762 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5050-5_0_6_load_124 | 128 | 0.00059478 | 0.00014907 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5050-5_0_6_load_125 | 129 | 0.00056458 | 0.0001415 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5050-5_0_6_load_126 | 130 | 0.00077059 | 0.00019313 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_5050-5_0_6_load_131 | 131 | 0.0006648 | 0.00016661 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_5050-5_0_6_load_129 | 132 | 0.00084097 | 0.00021077 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_5050-5_0_6_load_127 | 133 | 0.0012976 | 0.00032521 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5050-5_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.32221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_5050-5_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.032828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5050-5_0_6_line_2 | NAYY 4x150 SE | 0 | 3 | 0.41835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5050-5_0_6_line_3 | NAYY 4x150 SE | 1 | 4 | 0.005418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_5050-5_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5050-5_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.2537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5050-5_0_6_line_6 | NAYY 4x150 SE | 4 | 7 | 0.22436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5050-5_0_6_line_7 | NAYY 4x150 SE | 5 | 8 | 0.048158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5050-5_0_6_line_8 | NAYY 4x150 SE | 5 | 9 | 0.075679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5050-5_0_6_line_9 | NAYY 4x150 SE | 6 | 18 | 0.24814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5050-5_0_6_line_10 | NAYY 4x150 SE | 6 | 15 | 0.26346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_5050-5_0_6_line_11 | NAYY 4x150 SE | 7 | 10 | 0.35975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5050-5_0_6_line_12 | NAYY 4x150 SE | 8 | 11 | 0.052798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5050-5_0_6_line_13 | NAYY 4x150 SE | 9 | 12 | 0.12303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5050-5_0_6_line_14 | NAYY 4x150 SE | 10 | 13 | 0.025614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_5050-5_0_6_line_15 | NAYY 4x150 SE | 11 | 14 | 0.00081812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5050-5_0_6_line_16 | NAYY 4x150 SE | 13 | 81 | 0.050133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_5050-5_0_6_line_17 | NAYY 4x150 SE | 14 | 23 | 0.023707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5050-5_0_6_line_18 | NAYY 4x150 SE | 15 | 16 | 0.076412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_5050-5_0_6_line_19 | NAYY 4x150 SE | 16 | 17 | 0.042364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_5050-5_0_6_line_20 | NAYY 4x150 SE | 17 | 19 | 0.013892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_5050-5_0_6_line_21 | NAYY 4x150 SE | 17 | 20 | 0.06653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5050-5_0_6_line_22 | NAYY 4x150 SE | 19 | 21 | 0.006126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_5050-5_0_6_line_23 | NAYY 4x150 SE | 20 | 22 | 0.037892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5050-5_0_6_line_24 | NAYY 4x150 SE | 21 | 26 | 0.017995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_5050-5_0_6_line_25 | NAYY 4x150 SE | 22 | 27 | 0.0091443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5050-5_0_6_line_26 | NAYY 4x150 SE | 23 | 24 | 0.054135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5050-5_0_6_line_27 | NAYY 4x150 SE | 24 | 25 | 0.010256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5050-5_0_6_line_28 | NAYY 4x150 SE | 26 | 29 | 0.0023459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_5050-5_0_6_line_29 | NAYY 4x150 SE | 27 | 28 | 0.024657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5050-5_0_6_line_30 | NAYY 4x150 SE | 29 | 37 | 0.00468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_5050-5_0_6_line_31 | NAYY 4x150 SE | 30 | 31 | 0.021687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_5050-5_0_6_line_32 | NAYY 4x150 SE | 30 | 32 | 0.34717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_5050-5_0_6_line_33 | NAYY 4x150 SE | 31 | 33 | 0.018155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_5050-5_0_6_line_34 | NAYY 4x150 SE | 32 | 34 | 0.10049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_5050-5_0_6_line_35 | NAYY 4x150 SE | 33 | 35 | 0.33104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5050-5_0_6_line_36 | NAYY 4x150 SE | 34 | 46 | 0.20698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_5050-5_0_6_line_37 | NAYY 4x150 SE | 35 | 36 | 0.26691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5050-5_0_6_line_38 | NAYY 4x150 SE | 36 | 104 | 0.0016274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5050-5_0_6_line_39 | NAYY 4x150 SE | 36 | 101 | 0.0094255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5050-5_0_6_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0098973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_5050-5_0_6_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0048637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_5050-5_0_6_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0050446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_5050-5_0_6_line_43 | NAYY 4x150 SE | 40 | 41 | 0.0067427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_5050-5_0_6_line_44 | NAYY 4x150 SE | 41 | 42 | 0.0074206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_5050-5_0_6_line_45 | NAYY 4x150 SE | 42 | 43 | 0.0035201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_5050-5_0_6_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0067829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_5050-5_0_6_line_47 | NAYY 4x150 SE | 44 | 45 | 0.017493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_5050-5_0_6_line_48 | NAYY 4x150 SE | 45 | 53 | 0.0053747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_5050-5_0_6_line_49 | NAYY 4x150 SE | 46 | 47 | 0.27822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5050-5_0_6_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0054728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5050-5_0_6_line_51 | NAYY 4x150 SE | 46 | 49 | 0.13715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_5050-5_0_6_line_52 | NAYY 4x150 SE | 47 | 50 | 0.048656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5050-5_0_6_line_53 | NAYY 4x150 SE | 47 | 51 | 0.17217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5050-5_0_6_line_54 | NAYY 4x150 SE | 48 | 52 | 0.10975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5050-5_0_6_line_55 | NAYY 4x150 SE | 49 | 53 | 0.13615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_5050-5_0_6_line_56 | NAYY 4x150 SE | 50 | 54 | 0.0036712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5050-5_0_6_line_57 | NAYY 4x150 SE | 51 | 55 | 0.28771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5050-5_0_6_line_58 | NAYY 4x150 SE | 52 | 56 | 0.044311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5050-5_0_6_line_59 | NAYY 4x150 SE | 54 | 57 | 0.0021987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5050-5_0_6_line_60 | NAYY 4x150 SE | 55 | 58 | 0.010981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5050-5_0_6_line_61 | NAYY 4x150 SE | 56 | 60 | 0.1494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5050-5_0_6_line_62 | NAYY 4x150 SE | 57 | 61 | 0.069114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5050-5_0_6_line_63 | NAYY 4x150 SE | 58 | 59 | 0.0018994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5050-5_0_6_line_64 | NAYY 4x150 SE | 61 | 62 | 0.020594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5050-5_0_6_line_65 | NAYY 4x150 SE | 63 | 64 | 0.004541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5050-5_0_6_line_66 | NAYY 4x150 SE | 63 | 65 | 0.019468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5050-5_0_6_line_67 | NAYY 4x150 SE | 64 | 66 | 0.066993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5050-5_0_6_line_68 | NAYY 4x150 SE | 65 | 67 | 0.027041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5050-5_0_6_line_69 | NAYY 4x150 SE | 67 | 68 | 0.02064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5050-5_0_6_line_70 | NAYY 4x150 SE | 68 | 69 | 0.0025578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5050-5_0_6_line_71 | NAYY 4x150 SE | 69 | 133 | 0.0049293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5050-5_0_6_line_72 | NAYY 4x150 SE | 70 | 71 | 0.0072922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_5050-5_0_6_line_73 | NAYY 4x150 SE | 70 | 72 | 0.01085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_5050-5_0_6_line_74 | NAYY 4x150 SE | 71 | 73 | 0.0059108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_5050-5_0_6_line_75 | NAYY 4x150 SE | 72 | 74 | 0.0064645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_5050-5_0_6_line_76 | NAYY 4x150 SE | 73 | 75 | 0.017742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_5050-5_0_6_line_77 | NAYY 4x150 SE | 74 | 76 | 0.0053216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_5050-5_0_6_line_78 | NAYY 4x150 SE | 75 | 77 | 0.014174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_5050-5_0_6_line_79 | NAYY 4x150 SE | 76 | 78 | 0.0041398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_5050-5_0_6_line_80 | NAYY 4x150 SE | 77 | 79 | 0.018285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_5050-5_0_6_line_81 | NAYY 4x150 SE | 78 | 80 | 0.0057812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_5050-5_0_6_line_82 | NAYY 4x150 SE | 79 | 81 | 0.0049026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_5050-5_0_6_line_83 | NAYY 4x150 SE | 80 | 82 | 0.0022752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5050-5_0_6_line_84 | NAYY 4x150 SE | 82 | 83 | 0.0031921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5050-5_0_6_line_85 | NAYY 4x150 SE | 83 | 84 | 0.0011823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5050-5_0_6_line_86 | NAYY 4x150 SE | 84 | 85 | 0.0068379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5050-5_0_6_line_87 | NAYY 4x150 SE | 85 | 86 | 0.0017765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5050-5_0_6_line_88 | NAYY 4x150 SE | 86 | 87 | 0.0030211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5050-5_0_6_line_89 | NAYY 4x150 SE | 87 | 88 | 0.0016386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5050-5_0_6_line_90 | NAYY 4x150 SE | 88 | 89 | 0.0086999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5050-5_0_6_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0030716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5050-5_0_6_line_92 | NAYY 4x150 SE | 90 | 91 | 0.0025328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5050-5_0_6_line_93 | NAYY 4x150 SE | 91 | 92 | 0.0038312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5050-5_0_6_line_94 | NAYY 4x150 SE | 92 | 93 | 0.0059662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5050-5_0_6_line_95 | NAYY 4x150 SE | 93 | 94 | 0.033424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5050-5_0_6_line_96 | NAYY 4x150 SE | 94 | 95 | 0.060207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5050-5_0_6_line_97 | NAYY 4x150 SE | 95 | 96 | 0.025369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5050-5_0_6_line_98 | NAYY 4x150 SE | 96 | 97 | 0.0017824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5050-5_0_6_line_99 | NAYY 4x150 SE | 97 | 98 | 0.099893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5050-5_0_6_line_100 | NAYY 4x150 SE | 99 | 100 | 0.033231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5050-5_0_6_line_101 | NAYY 4x150 SE | 99 | 101 | 0.015497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5050-5_0_6_line_102 | NAYY 4x150 SE | 100 | 102 | 0.020504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5050-5_0_6_line_103 | NAYY 4x150 SE | 102 | 103 | 0.0027219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5050-5_0_6_line_104 | NAYY 4x150 SE | 103 | 105 | 0.0011382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5050-5_0_6_line_105 | NAYY 4x150 SE | 104 | 106 | 0.0054122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5050-5_0_6_line_106 | NAYY 4x150 SE | 105 | 107 | 0.0071995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5050-5_0_6_line_107 | NAYY 4x150 SE | 106 | 108 | 0.0033682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5050-5_0_6_line_108 | NAYY 4x150 SE | 107 | 112 | 0.0050702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5050-5_0_6_line_109 | NAYY 4x150 SE | 108 | 109 | 0.00082501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5050-5_0_6_line_110 | NAYY 4x150 SE | 109 | 110 | 0.0007008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5050-5_0_6_line_111 | NAYY 4x150 SE | 111 | 112 | 0.004276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5050-5_0_6_line_112 | NAYY 4x150 SE | 111 | 113 | 0.0043071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5050-5_0_6_line_113 | NAYY 4x150 SE | 113 | 114 | 0.0023724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5050-5_0_6_line_114 | NAYY 4x150 SE | 114 | 115 | 0.0038553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_5050-5_0_6_line_115 | NAYY 4x150 SE | 115 | 116 | 0.0029032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_5050-5_0_6_line_116 | NAYY 4x150 SE | 116 | 117 | 0.0079552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_5050-5_0_6_line_117 | NAYY 4x150 SE | 117 | 127 | 0.0015429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_5050-5_0_6_line_118 | NAYY 4x150 SE | 118 | 119 | 0.0052223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_5050-5_0_6_line_119 | NAYY 4x150 SE | 118 | 120 | 0.006226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_5050-5_0_6_line_120 | NAYY 4x150 SE | 119 | 121 | 0.0001556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_5050-5_0_6_line_121 | NAYY 4x150 SE | 120 | 122 | 0.00081926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_5050-5_0_6_line_122 | NAYY 4x150 SE | 121 | 123 | 0.0010403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_5050-5_0_6_line_123 | NAYY 4x150 SE | 122 | 124 | 0.0051992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_5050-5_0_6_line_124 | NAYY 4x150 SE | 123 | 125 | 0.0026651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_5050-5_0_6_line_125 | NAYY 4x150 SE | 124 | 126 | 0.0075709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_5050-5_0_6_line_126 | NAYY 4x150 SE | 125 | 127 | 0.0015245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_5050-5_0_6_line_127 | NAYY 4x150 SE | 126 | 128 | 0.0011146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_5050-5_0_6_line_128 | NAYY 4x150 SE | 128 | 129 | 0.0084639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_5050-5_0_6_line_129 | NAYY 4x150 SE | 129 | 130 | 0.0039588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_5050-5_0_6_line_130 | NAYY 4x150 SE | 130 | 131 | 0.0037913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_5050-5_0_6_line_131 | NAYY 4x150 SE | 131 | 132 | 0.0016077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_5050-5_0_6_line_132 | NAYY 4x150 SE | 132 | 133 | 0.0054474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5050-5_0_6_trafo_20 | 0.25 MVA 20/0.4 kV | 134 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2722866.3221 | 1143218.2988 | 2722874.001 | 1143218.3774 | 2722881.9815 | 1143216.8612 | 2722897.9085 | 1143211.3484 | 2722939.9046 | 1143196.4938 | 2722947.0592 | 1143195.1386 | 2722956.6274 | 1143194.1885 | 2722970.5676 | 1143194.117 | 2722994.5102 | 1143197.0627 | 2723068.6116 | 1143206.3692 | 2723092.2963 | 1143210.6442 | 2723115.5248 | 1143215.7995 | 2723148.8336 | 1143224.6633 | 2723174.9571 | 1143233.3693 | 2723180.0656 | 1143235.3922
1 | 2722866.3221 | 1143218.2988 | 2722866.3221 | 1143218.2988 | 2722857.0172 | 1143216.8972 | 2722838.7241 | 1143212.1325 | 2722834.4619 | 1143210.6426
2 | 2722797.6483 | 1143630.975 | 2722866.3221 | 1143218.2988
3 | 2723180.0656 | 1143235.3922 | 2723185.103 | 1143237.3869
4 | 2722822.8152 | 1143206.5714 | 2722834.4619 | 1143210.6426
5 | 2722797.6483 | 1143630.975 | 2722792.4524 | 1143635.0831 | 2722791.912 | 1143639.7198 | 2722794.1388 | 1143650.417 | 2722800.6871 | 1143656.5323 | 2722808.3494 | 1143662.6814 | 2722813.6269 | 1143665.8911 | 2722815.7665 | 1143669.9263 | 2722813.7067 | 1143672.5417 | 2722808.1735 | 1143671.3171 | 2722800.934 | 1143666.2996 | 2722782.6195 | 1143646.0462 | 2722758.9059 | 1143620.2346 | 2722756.0919 | 1143618.743 | 2722753.3903 | 1143618.8992 | 2722751.9031 | 1143620.2032 | 2722751.5685 | 1143622.2867 | 2722751.8976 | 1143624.6284 | 2722755.0786 | 1143628.4846 | 2722757.3491 | 1143631.7553 | 2722764.7898 | 1143658.6031 | 2722767.1361 | 1143663.432 | 2722771.706 | 1143668.9288 | 2722772.6355 | 1143670.471 | 2722772.812 | 1143671.9978 | 2722771.8385 | 1143673.3679 | 2722770.2279 | 1143674.3135 | 2722768.3195 | 1143674.03 | 2722766.2251 | 1143671.9304 | 2722763.5858 | 1143667.5181 | 2722745.92 | 1143649.0014 | 2722738.0984 | 1143638.9686 | 2722735.7605 | 1143638.2539 | 2722733.0684 | 1143638.3214
6 | 2723392.034 | 1143311.8485 | 2723358.1102 | 1143313.1668 | 2723349.1193 | 1143313.3386 | 2723340.1455 | 1143312.2989 | 2723328.9687 | 1143308.8346 | 2723215.2548 | 1143250.8598 | 2723195.5333 | 1143241.5173 | 2723185.103 | 1143237.3869
7 | 2722822.8152 | 1143206.5714 | 2722820.438 | 1143193.8142 | 2722817.7917 | 1143185.966 | 2722806.1989 | 1143168.9294 | 2722803.1314 | 1143163.4353
8 | 2722753.7067 | 1143176.6998 | 2722770.0073 | 1143187.5724 | 2722774.3055 | 1143190.195 | 2722779.008 | 1143192.2143 | 2722808.302 | 1143201.1834 | 2722822.8152 | 1143206.5714
9 | 2722733.0684 | 1143638.3214 | 2722484.9761 | 1143633.2312
10 | 2722733.0684 | 1143638.3214 | 2722731.8849 | 1143641.3216 | 2722737.6099 | 1143651.6341 | 2722743.5049 | 1143662.6506 | 2722748.0179 | 1143673.2052 | 2722750.7121 | 1143678.3191 | 2722753.3152 | 1143682.2415 | 2722759.8004 | 1143688.8113 | 2722791.7712 | 1143720.9843 | 2722799.1989 | 1143727.3287 | 2722803.9509 | 1143729.9162 | 2722809.9202 | 1143731.6166 | 2722822.0952 | 1143730.586 | 2722834.184 | 1143726.6183 | 2722849.7389 | 1143727.6024 | 2722867.8894 | 1143731.7416 | 2722885.9015 | 1143732.1087 | 2722900.1015 | 1143733.9437 | 2722914.2198 | 1143739.7798 | 2722929.4313 | 1143746.2943 | 2722943.3494 | 1143751.0145
11 | 2723732.0264 | 1143429.4269 | 2723392.034 | 1143311.8485
12 | 2722803.1314 | 1143163.4353 | 2722800.1016 | 1143158.0088 | 2722786.4303 | 1143125.2412 | 2722781.6652 | 1143115.2403
13 | 2722753.7067 | 1143176.6998 | 2722700.4298 | 1143145.9726 | 2722687.5171 | 1143136.7258 | 2722678.699 | 1143132.1767 | 2722670.8904 | 1143129.7718 | 2722664.3938 | 1143129.395 | 2722656.4467 | 1143130.4008 | 2722648.3262 | 1143132.7485 | 2722644.0815 | 1143134.4812
14 | 2723749.5509 | 1143448.0842 | 2723738.7238 | 1143437.2364 | 2723732.0264 | 1143429.4269
15 | 2722781.3133 | 1143114.5017 | 2722781.6652 | 1143115.2403
16 | 2723749.5509 | 1143448.0842 | 2723762.7768 | 1143461.3354 | 2723767.6233 | 1143467.1722 | 2723771.8357 | 1143473.9411 | 2723774.9914 | 1143481.2554 | 2723777.3885 | 1143488.768
17 | 2722781.3133 | 1143114.5017 | 2722771.1164 | 1143093.1003
18 | 2723007.4773 | 1143775.9502 | 2723002.2405 | 1143775.2763 | 2722992.5953 | 1143779.2935 | 2722982.1086 | 1143780.8474 | 2722974.1861 | 1143776.9165 | 2722969.2525 | 1143769.6665 | 2722965.5137 | 1143765.6542 | 2722956.7946 | 1143757.0594 | 2722943.3494 | 1143751.0145
19 | 2723044.9792 | 1143781.4855 | 2723029.4937 | 1143769.5725 | 2723007.4773 | 1143775.9502
20 | 2723044.9792 | 1143781.4855 | 2723051.2209 | 1143793.8959
21 | 2723044.9792 | 1143781.4855 | 2723082.227 | 1143797.9567 | 2723107.2642 | 1143804.1972
22 | 2723054.4821 | 1143799.0755 | 2723051.6576 | 1143794.7642 | 2723051.2209 | 1143793.8959
23 | 2723142.5712 | 1143817.6463 | 2723117.8922 | 1143806.8462 | 2723107.2642 | 1143804.1972
24 | 2723054.4821 | 1143799.0755 | 2723061.5879 | 1143809.9217 | 2723064.3887 | 1143814.0974
25 | 2723142.5712 | 1143817.6463 | 2723143.2383 | 1143826.7663
26 | 2722742.6852 | 1143047.375 | 2722749.2636 | 1143054.3137 | 2722764.5024 | 1143079.2187 | 2722771.1164 | 1143093.1003
27 | 2722742.6852 | 1143047.375 | 2722734.4683 | 1143041.237
28 | 2723064.3887 | 1143814.0974 | 2723065.6954 | 1143816.0456
29 | 2723162.1144 | 1143842.6297 | 2723143.2383 | 1143826.7663
30 | 2723068.3023 | 1143819.9323 | 2723068.3023 | 1143819.9323 | 2723065.6954 | 1143816.0456
31 | 2723730.3472 | 1144158.5321 | 2723717.6176 | 1144140.9737
32 | 2723373.015 | 1144183.1308 | 2723717.6176 | 1144140.9737
33 | 2723741.0035 | 1144173.2307 | 2723730.3472 | 1144158.5321
34 | 2723323.1352 | 1144096.7841 | 2723332.3257 | 1144112.7275 | 2723347.8965 | 1144130.9141 | 2723361.5354 | 1144153.731 | 2723373.015 | 1144183.1308
35 | 2724072.0401 | 1144172.4829 | 2723741.0035 | 1144173.2307
36 | 2723323.1352 | 1144096.7841 | 2723304.058 | 1144092.5467 | 2723277.2755 | 1144092.1991 | 2723230.7906 | 1144079.8407 | 2723192.4278 | 1144062.7342 | 2723144.3503 | 1144048.1646 | 2723131.3974 | 1144048.5449 | 2723123.8461 | 1144050.9258
37 | 2724072.0401 | 1144172.4829 | 2724072.13 | 1144184.5487 | 2724078.9854 | 1144202.1686 | 2724094.679 | 1144227.3423 | 2724101.1161 | 1144258.9301 | 2724097.6302 | 1144267.6978 | 2724088.2039 | 1144274.8978 | 2724067.9687 | 1144282.8982 | 2724049.4631 | 1144300.6077 | 2724044.7199 | 1144324.1599 | 2724068.3202 | 1144369.6436 | 2724087.0403 | 1144384.0721 | 2724092.3457 | 1144388.1063
38 | 2724092.3457 | 1144388.1063 | 2724093.882 | 1144387.5694
39 | 2724092.3457 | 1144388.1063 | 2724083.2122 | 1144390.4345
40 | 2723069.8691 | 1143829.6669 | 2723069.4671 | 1143828.7733 | 2723068.3023 | 1143819.9323
41 | 2723069.8691 | 1143829.6669 | 2723071.8643 | 1143834.1025
42 | 2723071.8643 | 1143834.1025 | 2723073.3792 | 1143837.4703 | 2723073.698 | 1143838.784
43 | 2723073.698 | 1143838.784 | 2723075.2878 | 1143845.3366
44 | 2723075.2878 | 1143845.3366 | 2723075.7759 | 1143847.3482 | 2723075.4026 | 1143852.6858
45 | 2723075.1571 | 1143856.1973 | 2723075.1571 | 1143856.1973 | 2723075.4026 | 1143852.6858
46 | 2723068.6624 | 1143858.1534 | 2723075.1571 | 1143856.1973
47 | 2723068.6624 | 1143858.1534 | 2723064.8541 | 1143859.3004 | 2723053.6003 | 1143866.7858
48 | 2723053.6003 | 1143866.7858 | 2723053.2578 | 1143867.0136 | 2723049.073 | 1143869.6825
49 | 2722851.4454 | 1144030.5134 | 2722891.5028 | 1144027.8942 | 2722943.0394 | 1144037.2286 | 2722997.6407 | 1144032.3605 | 2723084.342 | 1144058.447 | 2723094.3364 | 1144060.2745 | 2723105.718 | 1144056.6598 | 2723123.8461 | 1144050.9258
50 | 2723123.8461 | 1144050.9258 | 2723129.1877 | 1144052.117
51 | 2723123.8461 | 1144050.9258 | 2723120.3934 | 1144046.8414 | 2723111.4561 | 1144044.4462 | 2723098.2875 | 1144041.8312 | 2723089.1058 | 1144039.7313 | 2723080.9992 | 1144031.6603 | 2723075.4516 | 1144023.2524 | 2723073.9813 | 1144019.9645 | 2723075.6827 | 1144016.4524 | 2723073.989 | 1144012.4373 | 2723065.5342 | 1144005.2264 | 2723055.7459 | 1143997.0655 | 2723047.58 | 1143985.1129 | 2723042.0371 | 1143976.4716 | 2723035.0694 | 1143969.0911 | 2723032.2844 | 1143962.0405 | 2723032.2844 | 1143962.0405
52 | 2722851.4454 | 1144030.5134 | 2722846.0756 | 1144026.568 | 2722843.22 | 1144023.3521 | 2722839.5726 | 1144017.874 | 2722836.6494 | 1144010.8096 | 2722830.577 | 1143994.1855 | 2722828.6119 | 1143988.764 | 2722828.6119 | 1143988.764
53 | 2722851.4454 | 1144030.5134 | 2722844.6993 | 1144029.5976 | 2722841.3356 | 1144028.306 | 2722836.9263 | 1144025.1363 | 2722833.7109 | 1144021.8463 | 2722820.3679 | 1144004.3959 | 2722816.6987 | 1144000.7408 | 2722811.9002 | 1143997.4297 | 2722807.6175 | 1143995.2077 | 2722802.6696 | 1143993.5725 | 2722774.9887 | 1143989.0059 | 2722757.5707 | 1143984.7929 | 2722737.1173 | 1143977.8831 | 2722702.3213 | 1143964.844 | 2722698.4639 | 1143963.8014
54 | 2723129.1877 | 1144052.117 | 2723131.4754 | 1144052.6271 | 2723139.0182 | 1144056.6839 | 2723148.9387 | 1144065.5148 | 2723163.532 | 1144080.4119 | 2723165.6834 | 1144083.8471 | 2723169.0571 | 1144090.2872 | 2723176.8678 | 1144101.5433 | 2723179.3299 | 1144111.9675 | 2723186.0814 | 1144124.6475 | 2723192.7507 | 1144131.5663 | 2723195.8748 | 1144135.4629
55 | 2723032.2844 | 1143962.0405 | 2723031.007 | 1143953.8199 | 2723030.3771 | 1143944.7563 | 2723027.5472 | 1143935.0141 | 2723021.3796 | 1143921.5678 | 2723015.0271 | 1143912.2874 | 2723009.0951 | 1143903.8717 | 2723006.8452 | 1143893.9523 | 2723007.3492 | 1143880.9314 | 2723013.289 | 1143872.7691 | 2723022.5823 | 1143867.1547 | 2723028.9353 | 1143866.9953 | 2723037.0694 | 1143871.0973 | 2723045.7572 | 1143871.7972 | 2723049.073 | 1143869.6825
56 | 2722826.3108 | 1143985.9346 | 2722826.8472 | 1143986.3375 | 2722828.6119 | 1143988.764
57 | 2722698.4639 | 1143963.8014 | 2722410.9307 | 1143973.8523
58 | 2723195.8748 | 1144135.4629 | 2723198.7775 | 1144139.0835 | 2723213.2555 | 1144147.1959 | 2723225.4593 | 1144155.2508 | 2723232.4829 | 1144159.9528
59 | 2722826.3108 | 1143985.9346 | 2722824.5527 | 1143984.6142
60 | 2722400.2331 | 1143971.4336 | 2722405.1283 | 1143972.2668 | 2722410.9307 | 1143973.8523 | 2722410.9307 | 1143973.8523
61 | 2723232.4829 | 1144159.9528 | 2723236.235 | 1144162.4648 | 2723240.8205 | 1144170.1638 | 2723248.1045 | 1144177.0952 | 2723258.7436 | 1144181.2155 | 2723267.2653 | 1144187.7608 | 2723274.0335 | 1144199.6073 | 2723278.2476 | 1144215.3155 | 2723280.8005 | 1144231.8124 | 2723279.0142 | 1144238.3471 | 2723276.0234 | 1144243.6341 | 2723274.8006 | 1144253.0601 | 2723270.6131 | 1144266.128 | 2723269.1196 | 1144278.6395 | 2723266.4804 | 1144286.6549
62 | 2722806.5663 | 1143961.5296 | 2722805.8401 | 1143963.216 | 2722804.1211 | 1143964.2039 | 2722797.3908 | 1143964.7784 | 2722786.3841 | 1143963.1977 | 2722784.8502 | 1143963.4 | 2722785.6915 | 1143965.8744 | 2722791.6671 | 1143969.5208 | 2722799.9868 | 1143973.1927 | 2722809.7071 | 1143977.538 | 2722822.1605 | 1143982.8174 | 2722824.5527 | 1143984.6142
63 | 2722400.2331 | 1143971.4336 | 2722400.2331 | 1143971.4336 | 2722398.3354 | 1143971.3541
64 | 2722789.7705 | 1143950.9248 | 2722793.616 | 1143953.0935 | 2722804.6549 | 1143957.9994 | 2722806.0943 | 1143959.7966 | 2722806.5663 | 1143961.5296
65 | 2724116.4265 | 1144606.1981 | 2724120.9791 | 1144606.0917
66 | 2724116.4265 | 1144606.1981 | 2724112.7901 | 1144600.6305 | 2724109.9393 | 1144595.7351 | 2724107.2339 | 1144589.1131
67 | 2724155.1759 | 1144549.3893 | 2724152.6284 | 1144553.6509 | 2724149.4189 | 1144560.9455 | 2724146.9927 | 1144565.6655 | 2724144.6738 | 1144568.5309 | 2724134.0842 | 1144578.8646 | 2724131.5546 | 1144582.2594 | 2724120.9791 | 1144606.0917
68 | 2724101.7499 | 1144562.7555 | 2724102.3508 | 1144570.0722 | 2724103.7148 | 1144577.7389 | 2724106.6683 | 1144587.7289 | 2724107.2339 | 1144589.1131
69 | 2724101.7499 | 1144562.7555 | 2724100.0606 | 1144542.1843
70 | 2724099.8512 | 1144539.6351 | 2724100.0606 | 1144542.1843
71 | 2724099.8512 | 1144539.6351 | 2724099.7019 | 1144537.8174 | 2724098.6771 | 1144534.8858
72 | 2723802.2939 | 1143550.8009 | 2723798.0834 | 1143547.642 | 2723796.711 | 1143546.1483
73 | 2723802.2939 | 1143550.8009 | 2723810.9729 | 1143557.3121
74 | 2723796.711 | 1143546.1483 | 2723794.9702 | 1143544.2536 | 2723793.1494 | 1143541.4561
75 | 2723810.9729 | 1143557.3121 | 2723815.0125 | 1143560.3427 | 2723816.1771 | 1143561.1453
76 | 2723787.3058 | 1143524.7864 | 2723789.693 | 1143533.5601 | 2723792.1829 | 1143539.9712 | 2723793.1494 | 1143541.4561
77 | 2723816.1771 | 1143561.1453 | 2723820.5591 | 1143564.165
78 | 2723783.5846 | 1143511.1099 | 2723787.3058 | 1143524.7864
79 | 2723820.5591 | 1143564.165 | 2723823.9679 | 1143566.514
80 | 2723778.784 | 1143493.4665 | 2723783.5846 | 1143511.1099
81 | 2723828.7283 | 1143569.7945 | 2723823.9679 | 1143566.514
82 | 2723777.3885 | 1143488.768 | 2723778.184 | 1143491.2612 | 2723778.784 | 1143493.4665
83 | 2723828.7283 | 1143569.7945 | 2723830.6017 | 1143571.0855
84 | 2723830.6017 | 1143571.0855 | 2723833.2301 | 1143572.8968
85 | 2723834.2036 | 1143573.5676 | 2723833.2301 | 1143572.8968
86 | 2723834.2036 | 1143573.5676 | 2723837.8298 | 1143576.0664 | 2723839.92 | 1143577.3137
87 | 2723839.92 | 1143577.3137 | 2723841.4455 | 1143578.224
88 | 2723841.4455 | 1143578.224 | 2723843.2524 | 1143579.3022 | 2723844.0936 | 1143579.6673
89 | 2723845.5967 | 1143580.3197 | 2723844.0936 | 1143579.6673
90 | 2723845.5967 | 1143580.3197 | 2723847.4205 | 1143581.1113 | 2723853.7623 | 1143583.3087
91 | 2723853.7623 | 1143583.3087 | 2723856.6646 | 1143584.3144
92 | 2723856.6646 | 1143584.3144 | 2723856.6646 | 1143584.3144 | 2723858.9843 | 1143585.3312
93 | 2723862.4932 | 1143586.8692 | 2723858.9843 | 1143585.3312
94 | 2723862.4932 | 1143586.8692 | 2723862.4932 | 1143586.8692 | 2723867.58 | 1143589.9869
95 | 2723881.7453 | 1143618.9535 | 2723881.5661 | 1143615.325 | 2723880.3293 | 1143609.2955 | 2723878.4869 | 1143603.5536 | 2723875.8688 | 1143598.8966 | 2723872.5366 | 1143594.2027 | 2723867.58 | 1143589.9869
96 | 2723881.7453 | 1143618.9535 | 2723887.1923 | 1143618.7541 | 2723893.3513 | 1143615.3337 | 2723901.8616 | 1143599.9979 | 2723907.212 | 1143591.0348 | 2723909.68 | 1143585.415 | 2723912.3027 | 1143576.0067 | 2723913.5219 | 1143572.3771
97 | 2723913.5219 | 1143572.3771 | 2723915.2998 | 1143567.0843 | 2723916.1967 | 1143562.7219 | 2723916.8685 | 1143553.2291 | 2723917.1263 | 1143547.4193 | 2723917.1263 | 1143547.4193
98 | 2723917.1263 | 1143547.4193 | 2723917.6239 | 1143545.7077
99 | 2723895.9357 | 1143464.5153 | 2723903.3007 | 1143467.135 | 2723910.3117 | 1143477.2527 | 2723917.3629 | 1143485.4143 | 2723930.2064 | 1143499.399 | 2723931.793 | 1143501.8778 | 2723932.1524 | 1143503.8421 | 2723931.2601 | 1143513.9641 | 2723929.8997 | 1143521.0522 | 2723928.5838 | 1143524.85 | 2723926.8725 | 1143528.4396 | 2723920.384 | 1143538.9136 | 2723918.4086 | 1143543.0092 | 2723917.6239 | 1143545.7077
100 | 2724068.1959 | 1144394.2623 | 2724067.0001 | 1144394.5672 | 2724064.4028 | 1144395.6478 | 2724062.5914 | 1144397.0115 | 2724060.9971 | 1144398.6577 | 2724059.619 | 1144400.6307 | 2724058.7644 | 1144402.9369 | 2724058.4313 | 1144405.6764 | 2724058.5471 | 1144409.0145 | 2724059.2308 | 1144413.8875 | 2724060.3196 | 1144419.625 | 2724061.0075 | 1144422.4402
101 | 2724068.1959 | 1144394.2623 | 2724083.2122 | 1144390.4345
102 | 2724066.2882 | 1144442.2353 | 2724064.8143 | 1144438.0191 | 2724061.0075 | 1144422.4402
103 | 2724066.2882 | 1144442.2353 | 2724067.1865 | 1144444.8047
104 | 2724067.5621 | 1144445.8792 | 2724067.1865 | 1144444.8047
105 | 2724093.882 | 1144387.5694 | 2724098.9912 | 1144385.7839
106 | 2724069.9379 | 1144452.6753 | 2724067.5621 | 1144445.8792
107 | 2724102.1709 | 1144384.6727 | 2724102.1709 | 1144384.6727 | 2724098.9912 | 1144385.7839
108 | 2724069.9379 | 1144452.6753 | 2724071.611 | 1144457.4615
109 | 2724102.905 | 1144384.2962 | 2724102.1709 | 1144384.6727
110 | 2724103.5286 | 1144383.9764 | 2724102.905 | 1144384.2962
111 | 2724073.0221 | 1144461.498 | 2724071.611 | 1144457.4615
112 | 2724074.4434 | 1144465.5638 | 2724073.0221 | 1144461.498
113 | 2724074.4434 | 1144465.5638 | 2724075.2263 | 1144467.8033
114 | 2724076.4986 | 1144471.4426 | 2724075.2263 | 1144467.8033
115 | 2724077.4566 | 1144474.1832 | 2724076.4986 | 1144471.4426
116 | 2724080.0818 | 1144481.6928 | 2724077.4566 | 1144474.1832
117 | 2724080.0818 | 1144481.6928 | 2724080.591 | 1144483.1492
118 | 2724082.3681 | 1144488.2329 | 2724084.0915 | 1144493.1627
119 | 2724086.1461 | 1144499.0399 | 2724084.0915 | 1144493.1627
120 | 2724082.3681 | 1144488.2329 | 2724082.3168 | 1144488.0861
121 | 2724086.4164 | 1144499.8133 | 2724086.1461 | 1144499.0399
122 | 2724082.3168 | 1144488.0861 | 2724081.9735 | 1144487.1041
123 | 2724088.1322 | 1144504.7213 | 2724086.4164 | 1144499.8133
124 | 2724081.094 | 1144484.5883 | 2724081.9735 | 1144487.1041
125 | 2724088.1322 | 1144504.7213 | 2724090.6305 | 1144511.8681
126 | 2724080.591 | 1144483.1492 | 2724081.094 | 1144484.5883
127 | 2724090.9983 | 1144512.9202 | 2724090.6305 | 1144511.8681
128 | 2724093.7914 | 1144520.9099 | 2724090.9983 | 1144512.9202
129 | 2724095.0978 | 1144524.647 | 2724093.7914 | 1144520.9099
130 | 2724096.3489 | 1144528.2259 | 2724095.0978 | 1144524.647
131 | 2724096.3489 | 1144528.2259 | 2724096.8795 | 1144529.7436
132 | 2724096.8795 | 1144529.7436 | 2724098.6771 | 1144534.8858

## bus_geodata
| x | y | coords
0 | 2722866.3221 | 1143218.2988
1 | 2723180.0656 | 1143235.3922
2 | 2722834.4619 | 1143210.6426
3 | 2722797.6483 | 1143630.975
4 | 2723185.103 | 1143237.3869
5 | 2722822.8152 | 1143206.5714
6 | 2722733.0684 | 1143638.3214
7 | 2723392.034 | 1143311.8485
8 | 2722803.1314 | 1143163.4353
9 | 2722753.7067 | 1143176.6998
10 | 2723732.0264 | 1143429.4269
11 | 2722781.6652 | 1143115.2403
12 | 2722644.0815 | 1143134.4812
13 | 2723749.5509 | 1143448.0842
14 | 2722781.3133 | 1143114.5017
15 | 2722943.3494 | 1143751.0145
16 | 2723007.4773 | 1143775.9502
17 | 2723044.9792 | 1143781.4855
18 | 2722484.9761 | 1143633.2312
19 | 2723051.2209 | 1143793.8959
20 | 2723107.2642 | 1143804.1972
21 | 2723054.4821 | 1143799.0755
22 | 2723142.5712 | 1143817.6463
23 | 2722771.1164 | 1143093.1003
24 | 2722742.6852 | 1143047.375
25 | 2722734.4683 | 1143041.237
26 | 2723064.3887 | 1143814.0974
27 | 2723143.2383 | 1143826.7663
28 | 2723162.1144 | 1143842.6297
29 | 2723065.6954 | 1143816.0456
30 | 2723717.6176 | 1144140.9737
31 | 2723730.3472 | 1144158.5321
32 | 2723373.015 | 1144183.1308
33 | 2723741.0035 | 1144173.2307
34 | 2723323.1352 | 1144096.7841
35 | 2724072.0401 | 1144172.4829
36 | 2724092.3457 | 1144388.1063
37 | 2723068.3023 | 1143819.9323
38 | 2723069.8691 | 1143829.667
39 | 2723071.8643 | 1143834.1025
40 | 2723073.698 | 1143838.784
41 | 2723075.2878 | 1143845.3366
42 | 2723075.4026 | 1143852.6858
43 | 2723075.1571 | 1143856.1973
44 | 2723068.6624 | 1143858.1534
45 | 2723053.6003 | 1143866.7858
46 | 2723123.8461 | 1144050.9258
47 | 2722851.4454 | 1144030.5134
48 | 2723129.1877 | 1144052.117
49 | 2723032.2844 | 1143962.0405
50 | 2722828.6119 | 1143988.764
51 | 2722698.4639 | 1143963.8014
52 | 2723195.8748 | 1144135.4629
53 | 2723049.0731 | 1143869.6825
54 | 2722826.3108 | 1143985.9346
55 | 2722410.9307 | 1143973.8523
56 | 2723232.4829 | 1144159.9528
57 | 2722824.5527 | 1143984.6142
58 | 2722400.2331 | 1143971.4336
59 | 2722398.3354 | 1143971.3541
60 | 2723266.4804 | 1144286.6549
61 | 2722806.5663 | 1143961.5296
62 | 2722789.7705 | 1143950.9248
63 | 2724116.4265 | 1144606.1981
64 | 2724120.9791 | 1144606.0917
65 | 2724107.2339 | 1144589.1131
66 | 2724155.1759 | 1144549.3893
67 | 2724101.7499 | 1144562.7555
68 | 2724100.0606 | 1144542.1843
69 | 2724099.8512 | 1144539.6351
70 | 2723802.2939 | 1143550.8009
71 | 2723796.711 | 1143546.1483
72 | 2723810.9729 | 1143557.3121
73 | 2723793.1494 | 1143541.4561
74 | 2723816.1771 | 1143561.1453
75 | 2723787.3058 | 1143524.7864
76 | 2723820.5591 | 1143564.165
77 | 2723783.5846 | 1143511.1099
78 | 2723823.9679 | 1143566.514
79 | 2723778.784 | 1143493.4665
80 | 2723828.7283 | 1143569.7945
81 | 2723777.3885 | 1143488.768
82 | 2723830.6017 | 1143571.0855
83 | 2723833.2301 | 1143572.8967
84 | 2723834.2036 | 1143573.5676
85 | 2723839.92 | 1143577.3137
86 | 2723841.4455 | 1143578.224
87 | 2723844.0936 | 1143579.6673
88 | 2723845.5967 | 1143580.3197
89 | 2723853.7623 | 1143583.3087
90 | 2723856.6646 | 1143584.3144
91 | 2723858.9843 | 1143585.3312
92 | 2723862.4932 | 1143586.8692
93 | 2723867.58 | 1143589.9869
94 | 2723881.7453 | 1143618.9535
95 | 2723913.5219 | 1143572.3771
96 | 2723917.1263 | 1143547.4193
97 | 2723917.6239 | 1143545.7077
98 | 2723895.9357 | 1143464.5153
99 | 2724068.1959 | 1144394.2623
100 | 2724061.0075 | 1144422.4402
101 | 2724083.2122 | 1144390.4345
102 | 2724066.2882 | 1144442.2353
103 | 2724067.1865 | 1144444.8047
104 | 2724093.882 | 1144387.5694
105 | 2724067.5621 | 1144445.8792
106 | 2724098.9912 | 1144385.7839
107 | 2724069.9379 | 1144452.6753
108 | 2724102.1709 | 1144384.6727
109 | 2724102.905 | 1144384.2962
110 | 2724103.5286 | 1144383.9764
111 | 2724073.0221 | 1144461.498
112 | 2724071.611 | 1144457.4615
113 | 2724074.4434 | 1144465.5638
114 | 2724075.2263 | 1144467.8033
115 | 2724076.4986 | 1144471.4426
116 | 2724077.4566 | 1144474.1832
117 | 2724080.0818 | 1144481.6928
118 | 2724084.0915 | 1144493.1627
119 | 2724082.3681 | 1144488.2329
120 | 2724086.1461 | 1144499.0399
121 | 2724082.3168 | 1144488.0861
122 | 2724086.4164 | 1144499.8133
123 | 2724081.9735 | 1144487.1041
124 | 2724088.1322 | 1144504.7213
125 | 2724081.094 | 1144484.5882
126 | 2724090.6305 | 1144511.8681
127 | 2724080.591 | 1144483.1492
128 | 2724090.9983 | 1144512.9202
129 | 2724093.7914 | 1144520.9099
130 | 2724095.0978 | 1144524.647
131 | 2724096.3489 | 1144528.2259
132 | 2724096.8795 | 1144529.7436
133 | 2724098.6771 | 1144534.8858
134 | 2723717.6176 | 1144140.9737

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1