## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5050-8_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5050-8_0_5_node_41 | 0.4 | n |  | TRUE
2 | bus_LV_5050-8_0_5_node_42 | 0.4 | n |  | TRUE
3 | bus_LV_5050-8_0_5_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_5050-8_0_5_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_5050-8_0_5_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_5050-8_0_5_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_5050-8_0_5_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_5050-8_0_5_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_5050-8_0_5_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_5050-8_0_5_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_5050-8_0_5_node_3 | 0.4 | n |  | TRUE
12 | bus_LV_5050-8_0_5_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_5050-8_0_5_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_5050-8_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_5050-8_0_5_node_90 | 0.4 | n |  | TRUE
16 | bus_LV_5050-8_0_5_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_5050-8_0_5_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_5050-8_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5050-8_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5050-8_0_5_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_5050-8_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_5050-8_0_5_node_101 | 0.4 | n |  | TRUE
23 | bus_LV_5050-8_0_5_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_5050-8_0_5_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_5050-8_0_5_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5050-8_0_5_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_5050-8_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_5050-8_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5050-8_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5050-8_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5050-8_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_5050-8_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5050-8_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5050-8_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5050-8_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5050-8_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5050-8_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5050-8_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5050-8_0_5_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5050-8_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5050-8_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_5050-8_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_5050-8_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5050-8_0_5_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_5050-8_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_5050-8_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5050-8_0_5_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_5050-8_0_5_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_5050-8_0_5_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_5050-8_0_5_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_5050-8_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_5050-8_0_5_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_5050-8_0_5_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_5050-8_0_5_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5050-8_0_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5050-8_0_5_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5050-8_0_5_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_5050-8_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_5050-8_0_5_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_5050-8_0_5_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_5050-8_0_5_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_5050-8_0_5_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_5050-8_0_5_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5050-8_0_5_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_5050-8_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_5050-8_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_5050-8_0_5_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_5050-8_0_5_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5050-8_0_5_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_5050-8_0_5_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_5050-8_0_5_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5050-8_0_5_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_5050-8_0_5_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_5050-8_0_5_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_5050-8_0_5_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_5050-8_0_5_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_5050-8_0_5_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_5050-8_0_5_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_5050-8_0_5_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_5050-8_0_5_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_5050-8_0_5_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_5050-8_0_5_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_5050-8_0_5_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_5050-8_0_5_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_5050-8_0_5_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_5050-8_0_5_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_5050-8_0_5_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_5050-8_0_5_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_5050-8_0_5_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_5050-8_0_5_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_5050-8_0_5_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_5050-8_0_5_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_5050-8_0_5_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_5050-8_0_5_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_5050-8_0_5_node_99 | 0.4 | n |  | TRUE
96 | bus_LV_5050-8_0_5_node_98 | 0.4 | n |  | TRUE
97 | bus_LV_5050-8_0_5_node_100 | 0.4 | n |  | TRUE
98 | bus_LV_5050-8_0_5_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_5050-8_0_5_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_5050-8_0_5_node_97 | 0.4 | n |  | TRUE
101 | bus_MV_186_1_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5050-8_0_5_load_0 | 0 | 0.0012235 | 0.00030665 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5050-8_0_5_load_41 | 1 | 0.0043763 | 0.0010968 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5050-8_0_5_load_42 | 2 | 0.001326 | 0.00033233 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5050-8_0_5_load_40 | 3 | 0.00099212 | 0.00024865 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5050-8_0_5_load_15 | 8 | 0.00055759 | 0.00013975 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5050-8_0_5_load_32 | 9 | 0.0027679 | 0.0006937 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5050-8_0_5_load_28 | 10 | 0.0024179 | 0.00060598 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5050-8_0_5_load_3 | 11 | 0.0006752 | 0.00016922 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5050-8_0_5_load_5 | 13 | 0.0015071 | 0.00037773 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5050-8_0_5_load_6 | 14 | 0.00040879 | 0.00010245 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5050-8_0_5_load_90 | 15 | 0.0025439 | 0.00063755 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5050-8_0_5_load_89 | 16 | 0.0022739 | 0.00056989 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5050-8_0_5_load_7 | 17 | 0.00062742 | 0.00015725 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5050-8_0_5_load_10 | 18 | 0.00086822 | 0.0002176 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5050-8_0_5_load_11 | 19 | 0.00065041 | 0.00016301 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5050-8_0_5_load_8 | 20 | 0.00040285 | 0.00010096 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5050-8_0_5_load_9 | 21 | 0.00033993 | 8.5194e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5050-8_0_5_load_101 | 22 | 0.0019921 | 0.00049927 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5050-8_0_5_load_72 | 23 | 0.0055609 | 0.0013937 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5050-8_0_5_load_70 | 24 | 0.002107 | 0.00052806 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5050-8_0_5_load_12 | 25 | 0.00067656 | 0.00016956 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5050-8_0_5_load_13 | 26 | 0.0012591 | 0.00031557 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5050-8_0_5_load_21 | 28 | 0.0019661 | 0.00049275 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5050-8_0_5_load_18 | 29 | 0.00099134 | 0.00024845 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5050-8_0_5_load_24 | 30 | 0.00073615 | 0.0001845 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5050-8_0_5_load_19 | 31 | 0.00095787 | 0.00024007 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5050-8_0_5_load_20 | 32 | 0.0017176 | 0.00043047 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5050-8_0_5_load_22 | 33 | 0.00094185 | 0.00023605 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5050-8_0_5_load_23 | 34 | 0.0013709 | 0.00034359 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5050-8_0_5_load_25 | 35 | 0.0009019 | 0.00022604 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5050-8_0_5_load_26 | 36 | 0.0010255 | 0.00025701 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5050-8_0_5_load_27 | 37 | 0.002212 | 0.00055439 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5050-8_0_5_load_29 | 38 | 0.0017354 | 0.00043493 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5050-8_0_5_load_31 | 39 | 0.00097594 | 0.00024459 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5050-8_0_5_load_35 | 40 | 0.00094812 | 0.00023762 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5050-8_0_5_load_37 | 41 | 0.00099007 | 0.00024814 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5050-8_0_5_load_33 | 42 | 0.0024031 | 0.00060226 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5050-8_0_5_load_38 | 43 | 0.0010908 | 0.00027338 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5050-8_0_5_load_34 | 44 | 0.0017446 | 0.00043723 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5050-8_0_5_load_36 | 45 | 0.0027891 | 0.00069902 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5050-8_0_5_load_39 | 46 | 0.0036652 | 0.00091859 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5050-8_0_5_load_62 | 47 | 0.0023608 | 0.00059167 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5050-8_0_5_load_61 | 48 | 0.0012638 | 0.00031673 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5050-8_0_5_load_43 | 49 | 0.002539 | 0.00063634 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5050-8_0_5_load_44 | 50 | 0.0017842 | 0.00044716 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5050-8_0_5_load_45 | 51 | 0.0017806 | 0.00044625 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5050-8_0_5_load_46 | 52 | 0.0029559 | 0.00074083 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5050-8_0_5_load_48 | 54 | 0.0030907 | 0.00077461 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5050-8_0_5_load_49 | 55 | 0.0033704 | 0.00084469 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5050-8_0_5_load_50 | 56 | 0.0028519 | 0.00071476 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5050-8_0_5_load_76 | 57 | 0.0013472 | 0.00033763 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5050-8_0_5_load_77 | 59 | 0.0013921 | 0.0003489 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5050-8_0_5_load_67 | 60 | 0.0013083 | 0.0003279 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5050-8_0_5_load_52 | 62 | 0.0028103 | 0.00070434 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5050-8_0_5_load_53 | 63 | 0.0029376 | 0.00073623 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5050-8_0_5_load_54 | 64 | 0.0045097 | 0.0011302 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5050-8_0_5_load_55 | 65 | 0.0025643 | 0.00064266 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5050-8_0_5_load_57 | 67 | 0.0036136 | 0.00090565 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5050-8_0_5_load_63 | 68 | 0.0020208 | 0.00050647 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5050-8_0_5_load_58 | 69 | 0.0039616 | 0.00099286 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5050-8_0_5_load_68 | 70 | 0.0035459 | 0.00088869 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5050-8_0_5_load_59 | 72 | 0.0041937 | 0.001051 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5050-8_0_5_load_60 | 73 | 0.001449 | 0.00036315 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5050-8_0_5_load_66 | 74 | 0.00077003 | 0.00019299 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5050-8_0_5_load_71 | 75 | 0.0021095 | 0.00052868 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5050-8_0_5_load_69 | 76 | 0.0027039 | 0.00067765 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5050-8_0_5_load_73 | 77 | 0.0025103 | 0.00062914 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5050-8_0_5_load_74 | 78 | 0.0010012 | 0.00025093 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5050-8_0_5_load_75 | 79 | 0.0012702 | 0.00031833 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5050-8_0_5_load_83 | 81 | 0.0020505 | 0.0005139 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5050-8_0_5_load_79 | 82 | 0.003917 | 0.00098169 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5050-8_0_5_load_78 | 83 | 0.0022717 | 0.00056934 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5050-8_0_5_load_84 | 84 | 0.00075235 | 0.00018856 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5050-8_0_5_load_85 | 85 | 0.0015017 | 0.00037635 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5050-8_0_5_load_91 | 86 | 0.0014238 | 0.00035684 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5050-8_0_5_load_80 | 87 | 0.0017561 | 0.00044012 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5050-8_0_5_load_82 | 88 | 0.0057087 | 0.0014307 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5050-8_0_5_load_86 | 89 | 0.0021439 | 0.00053732 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5050-8_0_5_load_94 | 91 | 0.0020981 | 0.00052582 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5050-8_0_5_load_92 | 92 | 0.0025502 | 0.00063914 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5050-8_0_5_load_93 | 93 | 0.0013027 | 0.0003265 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5050-8_0_5_load_99 | 95 | 0.0020302 | 0.00050881 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5050-8_0_5_load_98 | 96 | 0.003142 | 0.00078746 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5050-8_0_5_load_100 | 97 | 0.00198 | 0.00049622 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5050-8_0_5_load_96 | 99 | 0.0026753 | 0.0006705 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5050-8_0_5_load_97 | 100 | 0.0084507 | 0.0021179 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5050-8_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5050-8_0_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0038364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5050-8_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5050-8_0_5_line_3 | NAYY 4x150 SE | 2 | 49 | 0.021877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5050-8_0_5_line_4 | NAYY 4x150 SE | 3 | 43 | 0.01644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5050-8_0_5_line_5 | NAYY 4x150 SE | 4 | 5 | 0.040581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5050-8_0_5_line_6 | NAYY 4x150 SE | 4 | 6 | 0.030724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5050-8_0_5_line_7 | NAYY 4x150 SE | 5 | 7 | 0.004214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5050-8_0_5_line_8 | NAYY 4x150 SE | 5 | 8 | 0.035675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5050-8_0_5_line_9 | NAYY 4x150 SE | 6 | 9 | 0.035918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5050-8_0_5_line_10 | NAYY 4x150 SE | 6 | 10 | 0.013316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5050-8_0_5_line_11 | NAYY 4x150 SE | 7 | 28 | 0.019501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5050-8_0_5_line_12 | NAYY 4x150 SE | 7 | 29 | 0.025788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5050-8_0_5_line_13 | NAYY 4x150 SE | 8 | 27 | 0.025393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5050-8_0_5_line_14 | NAYY 4x150 SE | 9 | 41 | 0.014763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5050-8_0_5_line_15 | NAYY 4x150 SE | 10 | 38 | 0.0047473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5050-8_0_5_line_16 | NAYY 4x150 SE | 11 | 12 | 0.038418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_5050-8_0_5_line_17 | NAYY 4x150 SE | 11 | 13 | 0.027015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_5050-8_0_5_line_18 | NAYY 4x150 SE | 12 | 14 | 0.0035206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_5050-8_0_5_line_19 | NAYY 4x150 SE | 13 | 15 | 0.43155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_5050-8_0_5_line_20 | NAYY 4x150 SE | 14 | 17 | 0.027166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_5050-8_0_5_line_21 | NAYY 4x150 SE | 15 | 16 | 0.047332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_5050-8_0_5_line_22 | NAYY 4x150 SE | 16 | 90 | 0.020326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5050-8_0_5_line_23 | NAYY 4x150 SE | 17 | 20 | 0.0047249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_5050-8_0_5_line_24 | NAYY 4x150 SE | 18 | 19 | 0.024955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5050-8_0_5_line_25 | NAYY 4x150 SE | 19 | 22 | 0.12695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5050-8_0_5_line_26 | NAYY 4x150 SE | 20 | 21 | 0.0017727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_5050-8_0_5_line_27 | NAYY 4x150 SE | 21 | 22 | 0.068003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_5050-8_0_5_line_28 | NAYY 4x150 SE | 22 | 23 | 0.50674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_5050-8_0_5_line_29 | NAYY 4x150 SE | 23 | 24 | 0.017337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_5050-8_0_5_line_30 | NAYY 4x150 SE | 24 | 75 | 0.011274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_5050-8_0_5_line_31 | NAYY 4x150 SE | 25 | 26 | 0.013396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5050-8_0_5_line_32 | NAYY 4x150 SE | 25 | 27 | 0.017583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5050-8_0_5_line_33 | NAYY 4x150 SE | 28 | 30 | 0.025876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5050-8_0_5_line_34 | NAYY 4x150 SE | 29 | 31 | 0.020211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5050-8_0_5_line_35 | NAYY 4x150 SE | 30 | 35 | 0.0026711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5050-8_0_5_line_36 | NAYY 4x150 SE | 31 | 32 | 0.0062515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5050-8_0_5_line_37 | NAYY 4x150 SE | 32 | 33 | 0.010688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5050-8_0_5_line_38 | NAYY 4x150 SE | 33 | 34 | 0.0081018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5050-8_0_5_line_39 | NAYY 4x150 SE | 35 | 36 | 0.026592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5050-8_0_5_line_40 | NAYY 4x150 SE | 36 | 37 | 0.0032354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5050-8_0_5_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0053264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5050-8_0_5_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0016195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5050-8_0_5_line_43 | NAYY 4x150 SE | 40 | 42 | 0.00808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5050-8_0_5_line_44 | NAYY 4x150 SE | 41 | 43 | 0.014442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5050-8_0_5_line_45 | NAYY 4x150 SE | 42 | 44 | 0.033995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5050-8_0_5_line_46 | NAYY 4x150 SE | 44 | 45 | 0.018493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5050-8_0_5_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0086505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5050-8_0_5_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0099142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5050-8_0_5_line_49 | NAYY 4x150 SE | 47 | 48 | 0.012463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5050-8_0_5_line_50 | NAYY 4x150 SE | 48 | 73 | 0.028861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5050-8_0_5_line_51 | NAYY 4x150 SE | 49 | 50 | 0.018707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5050-8_0_5_line_52 | NAYY 4x150 SE | 50 | 51 | 0.040351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5050-8_0_5_line_53 | NAYY 4x150 SE | 52 | 53 | 0.027879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5050-8_0_5_line_54 | NAYY 4x150 SE | 53 | 54 | 0.024696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5050-8_0_5_line_55 | NAYY 4x150 SE | 53 | 55 | 0.022176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5050-8_0_5_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0094088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5050-8_0_5_line_57 | NAYY 4x150 SE | 55 | 57 | 0.014158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5050-8_0_5_line_58 | NAYY 4x150 SE | 56 | 58 | 0.026518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5050-8_0_5_line_59 | NAYY 4x150 SE | 57 | 59 | 0.007205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5050-8_0_5_line_60 | NAYY 4x150 SE | 58 | 60 | 0.0077065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5050-8_0_5_line_61 | NAYY 4x150 SE | 59 | 83 | 0.044057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5050-8_0_5_line_62 | NAYY 4x150 SE | 60 | 61 | 4.8471e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5050-8_0_5_line_63 | NAYY 4x150 SE | 61 | 70 | 0.026572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5050-8_0_5_line_64 | NAYY 4x150 SE | 61 | 66 | 0.013477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5050-8_0_5_line_65 | NAYY 4x150 SE | 62 | 63 | 0.0091657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5050-8_0_5_line_66 | NAYY 4x150 SE | 62 | 64 | 0.022837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5050-8_0_5_line_67 | NAYY 4x150 SE | 63 | 65 | 0.012845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5050-8_0_5_line_68 | NAYY 4x150 SE | 64 | 66 | 0.022487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5050-8_0_5_line_69 | NAYY 4x150 SE | 65 | 67 | 0.03652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5050-8_0_5_line_70 | NAYY 4x150 SE | 66 | 68 | 0.033599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_5050-8_0_5_line_71 | NAYY 4x150 SE | 67 | 69 | 0.0083315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5050-8_0_5_line_72 | NAYY 4x150 SE | 68 | 71 | 0.019208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_5050-8_0_5_line_73 | NAYY 4x150 SE | 69 | 72 | 0.017525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5050-8_0_5_line_74 | NAYY 4x150 SE | 70 | 76 | 0.002567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5050-8_0_5_line_75 | NAYY 4x150 SE | 71 | 74 | 0.030761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_5050-8_0_5_line_76 | NAYY 4x150 SE | 72 | 73 | 0.0047615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5050-8_0_5_line_77 | NAYY 4x150 SE | 74 | 75 | 0.012296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_5050-8_0_5_line_78 | NAYY 4x150 SE | 77 | 78 | 0.022023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5050-8_0_5_line_79 | NAYY 4x150 SE | 78 | 79 | 0.0024615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5050-8_0_5_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0070706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5050-8_0_5_line_81 | NAYY 4x150 SE | 80 | 81 | 0.014624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5050-8_0_5_line_82 | NAYY 4x150 SE | 80 | 82 | 0.025259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5050-8_0_5_line_83 | NAYY 4x150 SE | 81 | 89 | 0.001482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5050-8_0_5_line_84 | NAYY 4x150 SE | 82 | 87 | 0.0042674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5050-8_0_5_line_85 | NAYY 4x150 SE | 83 | 84 | 0.012549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5050-8_0_5_line_86 | NAYY 4x150 SE | 84 | 85 | 0.018456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5050-8_0_5_line_87 | NAYY 4x150 SE | 84 | 86 | 0.033699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5050-8_0_5_line_88 | NAYY 4x150 SE | 85 | 91 | 0.023496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5050-8_0_5_line_89 | NAYY 4x150 SE | 86 | 92 | 0.016527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5050-8_0_5_line_90 | NAYY 4x150 SE | 87 | 88 | 0.021992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5050-8_0_5_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0073386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5050-8_0_5_line_92 | NAYY 4x150 SE | 90 | 94 | 0.026436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5050-8_0_5_line_93 | NAYY 4x150 SE | 91 | 93 | 0.0041813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5050-8_0_5_line_94 | NAYY 4x150 SE | 93 | 98 | 0.022966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5050-8_0_5_line_95 | NAYY 4x150 SE | 94 | 95 | 0.0047044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5050-8_0_5_line_96 | NAYY 4x150 SE | 94 | 96 | 0.019578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5050-8_0_5_line_97 | NAYY 4x150 SE | 95 | 97 | 0.036948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5050-8_0_5_line_98 | NAYY 4x150 SE | 98 | 99 | 0.038163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5050-8_0_5_line_99 | NAYY 4x150 SE | 98 | 100 | 0.037219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5050-8_0_5_trafo_63 | 0.25 MVA 20/0.4 kV | 101 | 68 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2718886.259 | 1139405.9511 | 2718868.3385 | 1139399.1224
1 | 2718885.0075 | 1139409.5776 | 2718886.259 | 1139405.9511
2 | 2718892.0739 | 1139389.1008 | 2718886.259 | 1139405.9511
3 | 2718885.0075 | 1139409.5776 | 2718877.871 | 1139430.2575
4 | 2718897.4369 | 1139373.5601 | 2718892.0739 | 1139389.1008
5 | 2718911.9552 | 1139288.2959 | 2718917.025 | 1139289.4632 | 2718918.725 | 1139289.8637 | 2718923.4483 | 1139284.4086 | 2718925.7958 | 1139282.0087 | 2718926.8765 | 1139279.873 | 2718927.5245 | 1139277.4397 | 2718930.0252 | 1139259.4657
6 | 2718911.9552 | 1139288.2959 | 2718917.025 | 1139289.4632 | 2718918.725 | 1139289.8637 | 2718920.1266 | 1139290.9587 | 2718921.5586 | 1139292.8549 | 2718922.039 | 1139295.0213 | 2718921.9427 | 1139297.9548 | 2718920.6936 | 1139305.9022 | 2718918.681 | 1139312
7 | 2718930.0252 | 1139259.4657 | 2718934.1038 | 1139260.569
8 | 2718930.0252 | 1139259.4657 | 2718935.4975 | 1139224.2126
9 | 2718918.681 | 1139312 | 2718906.9639 | 1139345.9532
10 | 2718918.681 | 1139312 | 2718931.6354 | 1139315.0805
11 | 2718934.1038 | 1139260.569 | 2718952.9276 | 1139265.6644
12 | 2718934.1038 | 1139260.569 | 2718938.1603 | 1139253.4329 | 2718940.8256 | 1139249.3494 | 2718942.6344 | 1139246.9612 | 2718945.9228 | 1139245.2248 | 2718948.9911 | 1139244.507 | 2718951.8281 | 1139244.5496
13 | 2718939.3926 | 1139199.1204 | 2718935.4975 | 1139224.2126
14 | 2718906.9639 | 1139345.9532 | 2718902.1481 | 1139359.9083
15 | 2718931.6354 | 1139315.0805 | 2718936.2539 | 1139316.1787
16 | 2719385.2665 | 1139816.6521 | 2719381.3362 | 1139814.295 | 2719374.2581 | 1139809.296 | 2719370.0811 | 1139804.2433 | 2719365.34 | 1139797.3783 | 2719361.4983 | 1139792.4879 | 2719357.5719 | 1139791.4873
17 | 2719332.8673 | 1139785.4837 | 2719336.7451 | 1139788.9405 | 2719342.4879 | 1139792.2229 | 2719349.7083 | 1139792.7549 | 2719357.5719 | 1139791.4873
18 | 2719385.2665 | 1139816.6521 | 2719384.6 | 1139813.1952
19 | 2718908.6256 | 1139706.4117 | 2719332.8673 | 1139785.4837
20 | 2719381.2626 | 1139786.3105 | 2719381.3459 | 1139794.3705 | 2719383.2503 | 1139806.194 | 2719384.6 | 1139813.1952
21 | 2718882.9553 | 1139684.2643 | 2718912.2896 | 1139694.389 | 2718914.2354 | 1139697.1403 | 2718914.9995 | 1139700.5244 | 2718914.1762 | 1139703.2655 | 2718909.2103 | 1139706.6033 | 2718908.6256 | 1139706.4117
22 | 2718863.7417 | 1139677.6327 | 2718882.9553 | 1139684.2643
23 | 2719381.2626 | 1139786.3105 | 2719381.2138 | 1139781.5858
24 | 2719528.0464 | 1139805.3433 | 2719527.9361 | 1139805.8125 | 2719524.5992 | 1139813.4961 | 2719518.0874 | 1139822.2397 | 2719514.0373 | 1139825.4916
25 | 2719426.5227 | 1139729.1198 | 2719528.0464 | 1139805.3433
26 | 2719381.1955 | 1139779.8132 | 2719381.2138 | 1139781.5858
27 | 2719381.1955 | 1139779.8132 | 2719426.5227 | 1139729.1198
28 | 2718938.6093 | 1139592.2604 | 2719426.5227 | 1139729.1198
29 | 2718934.218 | 1139582.4762 | 2718933.8919 | 1139582.7055 | 2718932.4395 | 1139584.189 | 2718931.4795 | 1139585.6711 | 2718930.9576 | 1139587.5621 | 2718931.483 | 1139589.7851 | 2718933.5193 | 1139592.238 | 2718934.9527 | 1139593.278 | 2718936.4223 | 1139593.2625 | 2718938.1742 | 1139592.5855 | 2718938.6093 | 1139592.2604
30 | 2718934.218 | 1139582.4762 | 2718938.783 | 1139579.2662 | 2718941.0107 | 1139577.0864 | 2718942.2321 | 1139575.2203 | 2718942.3317 | 1139574.8888
31 | 2718956.8108 | 1139201.519 | 2718963.4222 | 1139202.4294 | 2718968.7262 | 1139202.6452 | 2718970.1207 | 1139202.41
32 | 2718939.3926 | 1139199.1204 | 2718956.8108 | 1139201.519
33 | 2718952.9276 | 1139265.6644 | 2718958.5143 | 1139267.1766 | 2718977.5796 | 1139273.5058
34 | 2718951.8281 | 1139244.5496 | 2718956.1205 | 1139244.6142 | 2718962.7355 | 1139245.0559 | 2718969.0315 | 1139245.6804 | 2718971.9896 | 1139245.5442
35 | 2718980.0434 | 1139274.5294 | 2718978.3479 | 1139273.7608 | 2718977.5796 | 1139273.5058
36 | 2718977.8623 | 1139243.5276 | 2718975.9804 | 1139244.4054 | 2718972.7506 | 1139245.5092 | 2718971.9896 | 1139245.5442
37 | 2718977.8623 | 1139243.5276 | 2718984.8086 | 1139240.2877 | 2718987.3887 | 1139238.7126
38 | 2718987.3887 | 1139238.7126 | 2718990.1193 | 1139237.0457 | 2718991.5768 | 1139234.9174 | 2718992.1593 | 1139232.683 | 2718992.1607 | 1139232.669
39 | 2718980.0434 | 1139274.5294 | 2718995.5801 | 1139281.5725 | 2718998.3771 | 1139282.128 | 2719001.1872 | 1139282.0166 | 2719004.5187 | 1139280.0476
40 | 2719006.5228 | 1139277.5076 | 2719004.5187 | 1139280.0476
41 | 2718936.2539 | 1139316.1787 | 2718941.4359 | 1139317.4109
42 | 2718941.4359 | 1139317.4109 | 2718943.0115 | 1139317.7856
43 | 2718950.6337 | 1139320.3908 | 2718946.1622 | 1139318.5348 | 2718943.0115 | 1139317.7856
44 | 2718897.4369 | 1139373.5601 | 2718902.1481 | 1139359.9083
45 | 2718950.6337 | 1139320.3908 | 2718950.6337 | 1139320.3908 | 2718954.697 | 1139323.0504 | 2718958.9372 | 1139327.6593 | 2718961.5944 | 1139331.7923 | 2718962.9736 | 1139335.5887 | 2718963.6173 | 1139340.3935 | 2718963.6786 | 1139345.0868 | 2718962.5821 | 1139349.3297
46 | 2718962.5821 | 1139349.3297 | 2718962.0463 | 1139351.4034 | 2718958.2937 | 1139363.4154 | 2718956.7098 | 1139366.8332
47 | 2718953.0724 | 1139374.6819 | 2718956.7098 | 1139366.8332
48 | 2718948.9038 | 1139383.6771 | 2718953.0724 | 1139374.6819
49 | 2718943.6635 | 1139394.9846 | 2718948.9038 | 1139383.6771
50 | 2718933.527 | 1139421.9601 | 2718939.3961 | 1139404.1929 | 2718943.6635 | 1139394.9846
51 | 2718877.871 | 1139430.2575 | 2718873.7828 | 1139442.104 | 2718871.5044 | 1139447.8437
52 | 2718871.5044 | 1139447.8437 | 2718856.6167 | 1139485.3478
53 | 2718825.4428 | 1139563.8793 | 2718835.729 | 1139537.9669
54 | 2718825.4428 | 1139563.8793 | 2718841.1677 | 1139570.8491 | 2718848.2816 | 1139573.2119
55 | 2718825.4428 | 1139563.8793 | 2718817.4799 | 1139584.5759
56 | 2718848.2816 | 1139573.2119 | 2718850.3847 | 1139573.9104 | 2718853.3675 | 1139574.4028 | 2718855.4303 | 1139574.3434 | 2718857.4926 | 1139573.9171
57 | 2718812.3958 | 1139597.7899 | 2718817.4799 | 1139584.5759
58 | 2718882.8196 | 1139566.3551 | 2718879.4892 | 1139566.7231 | 2718876.4074 | 1139567.3517 | 2718857.4926 | 1139573.9171 | 2718857.4926 | 1139573.9171
59 | 2718812.3958 | 1139597.7899 | 2718809.8086 | 1139604.5143
60 | 2718882.8196 | 1139566.3551 | 2718883.2923 | 1139558.6632
61 | 2718809.8086 | 1139604.5143 | 2718800.5037 | 1139628.6991 | 2718793.9039 | 1139645.6005
62 | 2718883.2953 | 1139558.6148 | 2718883.2923 | 1139558.6632
63 | 2718883.2953 | 1139558.6148 | 2718890.1645 | 1139560.9739 | 2718896.2325 | 1139564.9516 | 2718905.0511 | 1139573.1691
64 | 2718884.5055 | 1139545.2184 | 2718884.5621 | 1139548.1993 | 2718883.2953 | 1139558.6148
65 | 2718894.7964 | 1139501.8684 | 2718899.071 | 1139493.7606
66 | 2718894.7964 | 1139501.8684 | 2718893.5601 | 1139504.2134 | 2718889.7127 | 1139512.4654 | 2718887.4433 | 1139518.3247 | 2718886.1425 | 1139522.9425
67 | 2718899.071 | 1139493.7606 | 2718900.4408 | 1139491.1623 | 2718905.4559 | 1139482.6174
68 | 2718884.5055 | 1139545.2184 | 2718883.9717 | 1139539.9043 | 2718884.043 | 1139535.1136 | 2718885.9296 | 1139523.6985 | 2718886.1425 | 1139522.9425
69 | 2718905.4559 | 1139482.6174 | 2718919.2585 | 1139459.1001 | 2718923.1685 | 1139451.5831 | 2718923.4631 | 1139450.8631
70 | 2718884.5055 | 1139545.2184 | 2718889.7632 | 1139548.1573 | 2718892.5069 | 1139548.6783 | 2718895.6487 | 1139548.5179 | 2718899.5339 | 1139547.7161 | 2718903.9331 | 1139545.8126 | 2718915.4083 | 1139539.9712
71 | 2718923.4631 | 1139450.8631 | 2718926.1427 | 1139444.3145 | 2718926.5366 | 1139443.1221
72 | 2718933.3396 | 1139533.4612 | 2718927.6796 | 1139534.5393 | 2718922.2486 | 1139536.4892 | 2718915.4083 | 1139539.9712
73 | 2718926.5366 | 1139443.1221 | 2718932.0335 | 1139426.4813
74 | 2718906.9259 | 1139574.9223 | 2718906.8986 | 1139574.8907 | 2718905.0511 | 1139573.1691
75 | 2718933.3396 | 1139533.4612 | 2718938.3621 | 1139546.3801 | 2718940.1059 | 1139551.1843 | 2718942.3058 | 1139559.3888 | 2718942.5226 | 1139562.677
76 | 2718932.0335 | 1139426.4813 | 2718933.527 | 1139421.9601
77 | 2718942.5226 | 1139562.677 | 2718942.8388 | 1139567.4715 | 2718942.8331 | 1139573.2197 | 2718942.3317 | 1139574.8888
78 | 2718879.5955 | 1139625.015 | 2718878.4629 | 1139630.902 | 2718874.0743 | 1139646.3178
79 | 2718873.3545 | 1139648.6714 | 2718873.8265 | 1139647.1884 | 2718874.0743 | 1139646.3178
80 | 2718871.2105 | 1139655.4091 | 2718873.3545 | 1139648.6714
81 | 2718871.2105 | 1139655.4091 | 2718866.5516 | 1139669.2716
82 | 2718871.2105 | 1139655.4091 | 2718875.2003 | 1139655.9325 | 2718876.4878 | 1139655.4019 | 2718877.1998 | 1139654.4041 | 2718878.5556 | 1139651.1842 | 2718879.7682 | 1139648.9844 | 2718881.2875 | 1139647.2242 | 2718883.8199 | 1139645.5841 | 2718886.1008 | 1139644.9953 | 2718888.4101 | 1139645.3076 | 2718890.8491 | 1139646.1588
83 | 2718866.5516 | 1139669.2716 | 2718866.0795 | 1139670.6764
84 | 2718890.8491 | 1139646.1588 | 2718894.8782 | 1139647.5648
85 | 2718793.9039 | 1139645.6005 | 2718790.6284 | 1139653.9885 | 2718789.1142 | 1139657.1933
86 | 2718789.1142 | 1139657.1933 | 2718786.1574 | 1139663.4514 | 2718780.4953 | 1139673.5005
87 | 2718789.1142 | 1139657.1933 | 2718756.372 | 1139649.221
88 | 2718780.4953 | 1139673.5005 | 2718780.4262 | 1139673.6233 | 2718766.9625 | 1139692.7074
89 | 2718756.372 | 1139649.221 | 2718747.3763 | 1139663.0852
90 | 2718894.8782 | 1139647.5648 | 2718915.6422 | 1139654.8107
91 | 2718863.7417 | 1139677.6327 | 2718866.0795 | 1139670.6764
92 | 2718863.7417 | 1139677.6327 | 2718852.4853 | 1139701.5606
93 | 2718764.5521 | 1139696.124 | 2718766.9625 | 1139692.7074
94 | 2718751.3131 | 1139714.8896 | 2718764.5521 | 1139696.124
95 | 2718852.4853 | 1139701.5606 | 2718850.4622 | 1139705.8077
96 | 2718852.4853 | 1139701.5606 | 2718863.5921 | 1139705.9156 | 2718870.2771 | 1139709.6309
97 | 2718850.4622 | 1139705.8077 | 2718840.826 | 1139726.0365 | 2718834.5297 | 1139739.1437
98 | 2718751.3131 | 1139714.8896 | 2718768.3531 | 1139724.9873 | 2718770.0562 | 1139725.6101 | 2718772.5193 | 1139725.9254 | 2718786.674 | 1139725.8928
99 | 2718751.3131 | 1139714.8896 | 2718714.1019 | 1139715.6647

## bus_geodata
| x | y | coords
0 | 2718868.3385 | 1139399.1224
1 | 2718886.259 | 1139405.9511
2 | 2718885.0075 | 1139409.5776
3 | 2718892.0739 | 1139389.1008
4 | 2718911.9552 | 1139288.2959
5 | 2718930.0252 | 1139259.4657
6 | 2718918.681 | 1139312
7 | 2718934.1038 | 1139260.569
8 | 2718935.4975 | 1139224.2126
9 | 2718906.9639 | 1139345.9532
10 | 2718931.6354 | 1139315.0805
11 | 2719357.5719 | 1139791.4873
12 | 2719385.2665 | 1139816.6521
13 | 2719332.8673 | 1139785.4837
14 | 2719384.6 | 1139813.1952
15 | 2718908.6256 | 1139706.4117
16 | 2718882.9553 | 1139684.2643
17 | 2719381.2626 | 1139786.3105
18 | 2719514.0373 | 1139825.4916
19 | 2719528.0464 | 1139805.3433
20 | 2719381.2138 | 1139781.5858
21 | 2719381.1955 | 1139779.8132
22 | 2719426.5227 | 1139729.1198
23 | 2718938.6093 | 1139592.2604
24 | 2718934.218 | 1139582.4762
25 | 2718956.8108 | 1139201.519
26 | 2718970.1207 | 1139202.41
27 | 2718939.3926 | 1139199.1204
28 | 2718952.9276 | 1139265.6644
29 | 2718951.8281 | 1139244.5496
30 | 2718977.5796 | 1139273.5058
31 | 2718971.9896 | 1139245.5442
32 | 2718977.8623 | 1139243.5276
33 | 2718987.3887 | 1139238.7126
34 | 2718992.1607 | 1139232.669
35 | 2718980.0434 | 1139274.5294
36 | 2719004.5187 | 1139280.0476
37 | 2719006.5228 | 1139277.5076
38 | 2718936.2539 | 1139316.1787
39 | 2718941.4359 | 1139317.4109
40 | 2718943.0115 | 1139317.7856
41 | 2718902.1481 | 1139359.9083
42 | 2718950.6337 | 1139320.3908
43 | 2718897.4369 | 1139373.5601
44 | 2718962.5821 | 1139349.3297
45 | 2718956.7098 | 1139366.8332
46 | 2718953.0724 | 1139374.6819
47 | 2718948.9038 | 1139383.6771
48 | 2718943.6635 | 1139394.9846
49 | 2718877.871 | 1139430.2575
50 | 2718871.5044 | 1139447.8437
51 | 2718856.6167 | 1139485.3478
52 | 2718835.729 | 1139537.9669
53 | 2718825.4428 | 1139563.8793
54 | 2718848.2816 | 1139573.2119
55 | 2718817.4799 | 1139584.5759
56 | 2718857.4926 | 1139573.9171
57 | 2718812.3958 | 1139597.7899
58 | 2718882.8196 | 1139566.3551
59 | 2718809.8086 | 1139604.5143
60 | 2718883.2923 | 1139558.6632
61 | 2718883.2953 | 1139558.6148
62 | 2718894.7964 | 1139501.8684
63 | 2718899.071 | 1139493.7606
64 | 2718886.1425 | 1139522.9425
65 | 2718905.4559 | 1139482.6174
66 | 2718884.5055 | 1139545.2184
67 | 2718923.4631 | 1139450.8631
68 | 2718915.4083 | 1139539.9712
69 | 2718926.5366 | 1139443.1221
70 | 2718905.0511 | 1139573.1691
71 | 2718933.3396 | 1139533.4612
72 | 2718932.0335 | 1139426.4813
73 | 2718933.527 | 1139421.9601
74 | 2718942.5226 | 1139562.677
75 | 2718942.3317 | 1139574.8888
76 | 2718906.9259 | 1139574.9223
77 | 2718879.5955 | 1139625.015
78 | 2718874.0743 | 1139646.3178
79 | 2718873.3545 | 1139648.6714
80 | 2718871.2105 | 1139655.4091
81 | 2718866.5516 | 1139669.2716
82 | 2718890.8491 | 1139646.1588
83 | 2718793.9039 | 1139645.6005
84 | 2718789.1142 | 1139657.1933
85 | 2718780.4953 | 1139673.5005
86 | 2718756.372 | 1139649.221
87 | 2718894.8782 | 1139647.5648
88 | 2718915.6422 | 1139654.8107
89 | 2718866.0795 | 1139670.6764
90 | 2718863.7417 | 1139677.6327
91 | 2718766.9625 | 1139692.7074
92 | 2718747.3763 | 1139663.0852
93 | 2718764.5521 | 1139696.124
94 | 2718852.4853 | 1139701.5606
95 | 2718850.4622 | 1139705.8077
96 | 2718870.2771 | 1139709.6309
97 | 2718834.5297 | 1139739.1437
98 | 2718751.3131 | 1139714.8896
99 | 2718786.674 | 1139725.8928
100 | 2718714.1019 | 1139715.6647
101 | 2718933.3396 | 1139533.4612

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1