## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5061-20_1_4_node_56 | 0.4 | n |  | TRUE
1 | bus_LV_5061-20_1_4_node_57 | 0.4 | n |  | TRUE
2 | bus_LV_5061-20_1_4_node_58 | 0.4 | n |  | TRUE
3 | bus_LV_5061-20_1_4_node_59 | 0.4 | n |  | TRUE
4 | bus_LV_5061-20_1_4_node_60 | 0.4 | n |  | TRUE
5 | bus_LV_5061-20_1_4_node_86 | 0.4 | n |  | TRUE
6 | bus_LV_5061-20_1_4_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_5061-20_1_4_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_5061-20_1_4_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_5061-20_1_4_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_5061-20_1_4_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_5061-20_1_4_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_5061-20_1_4_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_5061-20_1_4_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_5061-20_1_4_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_5061-20_1_4_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_5061-20_1_4_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_5061-20_1_4_node_71 | 0.4 | n |  | TRUE
18 | bus_LV_5061-20_1_4_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_5061-20_1_4_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_5061-20_1_4_node_106 | 0.4 | n |  | TRUE
21 | bus_LV_5061-20_1_4_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_5061-20_1_4_node_76 | 0.4 | n |  | TRUE
23 | bus_LV_5061-20_1_4_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_5061-20_1_4_node_83 | 0.4 | n |  | TRUE
25 | bus_LV_5061-20_1_4_node_78 | 0.4 | n |  | TRUE
26 | bus_LV_5061-20_1_4_node_79 | 0.4 | n |  | TRUE
27 | bus_LV_5061-20_1_4_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_5061-20_1_4_node_81 | 0.4 | n |  | TRUE
29 | bus_LV_5061-20_1_4_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_5061-20_1_4_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_5061-20_1_4_node_92 | 0.4 | n |  | TRUE
32 | bus_LV_5061-20_1_4_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_5061-20_1_4_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_5061-20_1_4_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_5061-20_1_4_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_5061-20_1_4_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_5061-20_1_4_node_90 | 0.4 | n |  | TRUE
38 | bus_LV_5061-20_1_4_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_5061-20_1_4_node_94 | 0.4 | n |  | TRUE
40 | bus_LV_5061-20_1_4_node_93 | 0.4 | n |  | TRUE
41 | bus_LV_5061-20_1_4_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_5061-20_1_4_node_103 | 0.4 | n |  | TRUE
43 | bus_LV_5061-20_1_4_node_104 | 0.4 | n |  | TRUE
44 | bus_LV_5061-20_1_4_node_105 | 0.4 | n |  | TRUE
45 | bus_MV_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5061-20_1_4_load_56 | 0 | 0.0042111 | 0.0010554 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5061-20_1_4_load_57 | 1 | 0.00071546 | 0.00017931 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5061-20_1_4_load_60 | 4 | 0.0021075 | 0.00052819 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5061-20_1_4_load_86 | 5 | 0.0016809 | 0.00042128 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5061-20_1_4_load_61 | 7 | 0.001116 | 0.0002797 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5061-20_1_4_load_62 | 8 | 0.0015578 | 0.00039042 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5061-20_1_4_load_63 | 9 | 0.0017548 | 0.00043979 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5061-20_1_4_load_64 | 10 | 0.0015716 | 0.00039389 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5061-20_1_4_load_65 | 11 | 0.0011679 | 0.0002927 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5061-20_1_4_load_67 | 14 | 0.0010369 | 0.00025988 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5061-20_1_4_load_69 | 15 | 0.00090915 | 0.00022785 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5061-20_1_4_load_70 | 16 | 0.0019412 | 0.00048652 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5061-20_1_4_load_71 | 17 | 0.0017334 | 0.00043443 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5061-20_1_4_load_72 | 18 | 0.0011729 | 0.00029396 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5061-20_1_4_load_74 | 19 | 0.0012649 | 0.00031701 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5061-20_1_4_load_106 | 20 | 0.0044587 | 0.0011174 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5061-20_1_4_load_75 | 21 | 0.0017014 | 0.00042641 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5061-20_1_4_load_76 | 22 | 0.001938 | 0.00048571 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5061-20_1_4_load_77 | 23 | 0.0015509 | 0.00038869 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5061-20_1_4_load_78 | 25 | 0.0010705 | 0.00026829 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5061-20_1_4_load_79 | 26 | 0.00088408 | 0.00022157 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5061-20_1_4_load_80 | 27 | 0.00069827 | 0.000175 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5061-20_1_4_load_81 | 28 | 0.0011566 | 0.00028987 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5061-20_1_4_load_82 | 29 | 0.0012527 | 0.00031395 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5061-20_1_4_load_87 | 30 | 0.00083502 | 0.00020927 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5061-20_1_4_load_92 | 31 | 0.00098531 | 0.00024694 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5061-20_1_4_load_84 | 32 | 0.001169 | 0.00029299 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5061-20_1_4_load_85 | 33 | 0.0013247 | 0.000332 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5061-20_1_4_load_88 | 34 | 0.0018778 | 0.00047063 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5061-20_1_4_load_95 | 35 | 0.0029862 | 0.00074841 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5061-20_1_4_load_90 | 37 | 0.0018734 | 0.00046953 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5061-20_1_4_load_91 | 38 | 0.0012703 | 0.00031837 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5061-20_1_4_load_94 | 39 | 0.0030585 | 0.00076654 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5061-20_1_4_load_93 | 40 | 0.0030409 | 0.00076212 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5061-20_1_4_load_96 | 41 | 0.0010754 | 0.00026951 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5061-20_1_4_load_103 | 42 | 0.00068089 | 0.00017065 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5061-20_1_4_load_105 | 44 | 0.00077845 | 0.0001951 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5061-20_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.044123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_5061-20_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.36077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_5061-20_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5061-20_1_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.14779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_5061-20_1_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_5061-20_1_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.086886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5061-20_1_4_line_6 | NAYY 4x150 SE | 5 | 30 | 0.0319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5061-20_1_4_line_7 | NAYY 4x150 SE | 6 | 15 | 0.14757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5061-20_1_4_line_8 | NAYY 4x150 SE | 6 | 14 | 0.42239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_5061-20_1_4_line_9 | NAYY 4x150 SE | 7 | 8 | 0.01155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_5061-20_1_4_line_10 | NAYY 4x150 SE | 7 | 9 | 0.014039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_5061-20_1_4_line_11 | NAYY 4x150 SE | 8 | 10 | 0.021142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5061-20_1_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.07182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_5061-20_1_4_line_13 | NAYY 4x150 SE | 10 | 12 | 0.066976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_5061-20_1_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.1269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5061-20_1_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0087919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_5061-20_1_4_line_16 | NAYY 4x150 SE | 13 | 19 | 0.056271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5061-20_1_4_line_17 | NAYY 4x150 SE | 13 | 17 | 0.27871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5061-20_1_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.027097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5061-20_1_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.015007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5061-20_1_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.31065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5061-20_1_4_line_21 | NAYY 4x150 SE | 20 | 44 | 0.014096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5061-20_1_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0090847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5061-20_1_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.000153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5061-20_1_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.014665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5061-20_1_4_line_25 | NAYY 4x150 SE | 24 | 32 | 0.043138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5061-20_1_4_line_26 | NAYY 4x150 SE | 24 | 33 | 0.0070402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5061-20_1_4_line_27 | NAYY 4x150 SE | 25 | 26 | 0.032072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_5061-20_1_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.029697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5061-20_1_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.014154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_5061-20_1_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0093243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5061-20_1_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.01264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_5061-20_1_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.010682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5061-20_1_4_line_33 | NAYY 4x150 SE | 31 | 37 | 0.022773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5061-20_1_4_line_34 | NAYY 4x150 SE | 32 | 34 | 0.017443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5061-20_1_4_line_35 | NAYY 4x150 SE | 33 | 35 | 0.017935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5061-20_1_4_line_36 | NAYY 4x150 SE | 34 | 36 | 0.010765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5061-20_1_4_line_37 | NAYY 4x150 SE | 35 | 41 | 0.010655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5061-20_1_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0096991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5061-20_1_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.015589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5061-20_1_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.031146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5061-20_1_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.016422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5061-20_1_4_line_42 | NAYY 4x150 SE | 42 | 43 | 0.21556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5061-20_1_4_line_43 | NAYY 4x150 SE | 43 | 44 | 0.068905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5061-20_1_4_trafo_65 | 0.25 MVA 20/0.4 kV | 45 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2692991.4087 | 1153147.9714 | 2692998.6859 | 1153145.6232 | 2693007.7332 | 1153143.1725 | 2693014.0814 | 1153140.5801 | 2693016.0439 | 1153137.2417 | 2693016.366 | 1153131.2986 | 2693015.6235 | 1153120.904
1 | 2692680.8821 | 1153323.1217 | 2692686.2883 | 1153315.9005 | 2692690.3104 | 1153310.359 | 2692703.0668 | 1153301.2387 | 2692721.7438 | 1153287.3844 | 2692731.213 | 1153279.4476 | 2692739.1995 | 1153272.6108 | 2692748.1667 | 1153268.3685 | 2692765.5275 | 1153259.764 | 2692783.1367 | 1153249.4845 | 2692790.7406 | 1153245.5659 | 2692802.7575 | 1153240.1367 | 2692821.0809 | 1153234.8046 | 2692829.921 | 1153231.3499 | 2692857.0162 | 1153219.5381 | 2692891.5366 | 1153200.9813 | 2692906.287 | 1153193.4709 | 2692915.3341 | 1153191.0312 | 2692925.6303 | 1153187.7102 | 2692931.996 | 1153183.9839 | 2692942.5951 | 1153175.9537 | 2692961.1787 | 1153160.7534 | 2692969.7005 | 1153156.0599 | 2692979.4506 | 1153151.83 | 2692991.4087 | 1153147.9714
2 | 2693014.1094 | 1153099.033 | 2693014.9779 | 1153111.8654 | 2693015.6235 | 1153120.904
3 | 2692680.8821 | 1153323.1217 | 2692672.0034 | 1153329.6001 | 2692655.0777 | 1153338.8787 | 2692638.5784 | 1153342.894 | 2692612.5539 | 1153351.021 | 2692602.3732 | 1153354.3443 | 2692575.6724 | 1153355.0565 | 2692566.2074 | 1153355.2556 | 2692550.0481 | 1153351.6384 | 2692542.058 | 1153351.738 | 2692540.2605 | 1153351.9588
4 | 2693014.1094 | 1153099.033 | 2693017.6948 | 1153097.9433 | 2693029.3361 | 1153093.338
5 | 2692559.54 | 1153371.652 | 2692556.4402 | 1153368.1244 | 2692550.8149 | 1153368.1491 | 2692541.982 | 1153371.1597 | 2692533.8562 | 1153372.6024 | 2692523.0463 | 1153372.4362 | 2692516.7692 | 1153370.4275 | 2692512.8714 | 1153367.8994 | 2692512.1519 | 1153363.2856 | 2692515.278 | 1153357.6079 | 2692525.8124 | 1153353.734 | 2692540.2605 | 1153351.9588
6 | 2693029.3361 | 1153093.338 | 2693031.6243 | 1153092.4328 | 2693059.6328 | 1153083.3673
7 | 2692559.54 | 1153371.652 | 2692658.2012 | 1153481.3911
8 | 2692559.54 | 1153371.652 | 2692577.2729 | 1153373.7369 | 2692608.6193 | 1153379.8113 | 2692624.162 | 1153378.6162 | 2692649.2913 | 1153373.7998 | 2692662.775 | 1153370.7609 | 2692678.757 | 1153366.4486 | 2692709.924 | 1153359.2572 | 2692723.5223 | 1153357.2542 | 2692742.3377 | 1153355.3316 | 2692762.1863 | 1153354.0809 | 2692771.7415 | 1153352.0157 | 2692787.9638 | 1153341.0811 | 2692810.439 | 1153330.243 | 2692819.1836 | 1153329.9887 | 2692830.9138 | 1153330.6922 | 2692841.3798 | 1153329.2859 | 2692864.9646 | 1153322.6344 | 2692901.1448 | 1153307.383 | 2692914.1832 | 1153303.882 | 2692928.9023 | 1153301.8634 | 2692948.9497 | 1153301.6726 | 2692960.4576 | 1153303.8626 | 2692967.1976 | 1153306.6347
9 | 2693069.0408 | 1153341.9058 | 2693066.7325 | 1153342.2159 | 2693057.5754 | 1153341.1355
10 | 2693069.0408 | 1153341.9058 | 2693082.9552 | 1153340.0366
11 | 2693057.5754 | 1153341.1355 | 2693055.0204 | 1153340.8341 | 2693044.7683 | 1153337.3402 | 2693037.5452 | 1153334.5632
12 | 2693082.9552 | 1153340.0366 | 2693084.8422 | 1153339.7831 | 2693095.9577 | 1153340.0439 | 2693104.4055 | 1153339.1295 | 2693110.0436 | 1153336.3038 | 2693114.8556 | 1153328.8292 | 2693116.7942 | 1153321.577 | 2693124.0742 | 1153314.7965 | 2693139.3904 | 1153311.3979 | 2693141.349 | 1153311.4728
13 | 2692975.1211 | 1153310.4151 | 2692979.2533 | 1153312.6692 | 2693015.6041 | 1153326.1274 | 2693037.5452 | 1153334.5632
14 | 2693231.7533 | 1153362.5024 | 2693228.8582 | 1153355.6978 | 2693227.5282 | 1153348.9176 | 2693228.8087 | 1153338.5756 | 2693230.6922 | 1153330.4331 | 2693226.3295 | 1153325.2291 | 2693217.3785 | 1153321.9663 | 2693206.389 | 1153319.0167 | 2693187.5828 | 1153319.8373 | 2693175.2035 | 1153317.4333 | 2693158.4719 | 1153312.1268 | 2693141.349 | 1153311.4728
15 | 2692975.1211 | 1153310.4151 | 2692971.1867 | 1153308.2753 | 2692967.1976 | 1153306.6347
16 | 2693231.7533 | 1153362.5024 | 2693235.6818 | 1153365.5094 | 2693239.2592 | 1153370.3789 | 2693252.7569 | 1153374.8795 | 2693267.5992 | 1153376.7993 | 2693283.3356 | 1153380.1414
17 | 2693231.7533 | 1153362.5024 | 2693230.4701 | 1153365.5844 | 2693226.2102 | 1153366.6302 | 2693214.7541 | 1153367.5534 | 2693199.9617 | 1153369.3479 | 2693177.0686 | 1153370.461 | 2693158.2404 | 1153370.7255 | 2693107.4161 | 1153376.1875 | 2693086.3244 | 1153379.9082 | 2693061.1913 | 1153382.4658 | 2693029.0033 | 1153387.6718 | 2693007.9287 | 1153390.2924 | 2692994.4955 | 1153388.0614 | 2692986.7185 | 1153389.7757 | 2692984.2537 | 1153394.3404 | 2692988.2583 | 1153397.8933 | 2693001.4903 | 1153401.2218 | 2693006.3921 | 1153403.5757
18 | 2693029.438 | 1153417.4017 | 2693020.8644 | 1153413.295 | 2693013.7618 | 1153407.1149 | 2693006.3921 | 1153403.5757
19 | 2693044.1905 | 1153419.9037 | 2693030.3862 | 1153417.8559 | 2693029.438 | 1153417.4017
20 | 2693283.3356 | 1153380.1414 | 2693351.0032 | 1153683.3335
21 | 2693351.0032 | 1153683.3335 | 2693364.0793 | 1153682.8136 | 2693365.0825 | 1153682.7015
22 | 2693236.6385 | 1153137.5947 | 2693245.2178 | 1153134.607
23 | 2693245.2178 | 1153134.607 | 2693245.3623 | 1153134.5566
24 | 2693257.8466 | 1153127.0742 | 2693253.4948 | 1153130.5756 | 2693247.6977 | 1153133.7433 | 2693245.3623 | 1153134.5566
25 | 2693257.8466 | 1153127.0742 | 2693252.6903 | 1153125.5379 | 2693245.3745 | 1153121.7223 | 2693226.0914 | 1153105.2249 | 2693223.0595 | 1153102.4209
26 | 2693257.8466 | 1153127.0742 | 2693264.886 | 1153127.1832
27 | 2693118.3127 | 1153083.4878 | 2693116.0691 | 1153083.6767 | 2693086.2827 | 1153082.2426
28 | 2693118.3127 | 1153083.4878 | 2693143.1792 | 1153081.3945 | 2693147.8888 | 1153080.8362
29 | 2693086.2827 | 1153082.2426 | 2693073.5469 | 1153081.6294 | 2693072.1519 | 1153081.7813
30 | 2693157.1751 | 1153080.7947 | 2693151.475 | 1153080.411 | 2693147.8888 | 1153080.8362
31 | 2693059.6328 | 1153083.3673 | 2693060.6709 | 1153083.0313 | 2693072.1519 | 1153081.7813
32 | 2693167.782 | 1153082.0111 | 2693160.6975 | 1153081.0318 | 2693157.1751 | 1153080.7947
33 | 2693167.782 | 1153082.0111 | 2693185.3329 | 1153084.4372 | 2693190.3495 | 1153085.0576
34 | 2693209.5699 | 1153091.6124 | 2693213.0705 | 1153093.1827 | 2693223.0595 | 1153102.4209
35 | 2693282.7655 | 1153126.0551 | 2693277.4533 | 1153126.1439 | 2693266.9614 | 1153127.2154 | 2693264.886 | 1153127.1832
36 | 2693199.7484 | 1153087.2063 | 2693209.5699 | 1153091.6124
37 | 2693282.7655 | 1153126.0551 | 2693293.4192 | 1153125.8772
38 | 2693199.7484 | 1153087.2063 | 2693195.5049 | 1153085.6953 | 2693190.3495 | 1153085.0576
39 | 2693199.7484 | 1153087.2063 | 2693202.1991 | 1153085.054 | 2693209.2251 | 1153085.2851 | 2693214.4138 | 1153086.354
40 | 2693243.9279 | 1153095.9983 | 2693237.9141 | 1153093.5452 | 2693224.2801 | 1153088.3866 | 2693214.4138 | 1153086.354
41 | 2693259.5338 | 1153100.6073 | 2693253.7229 | 1153099.9939 | 2693243.9279 | 1153095.9983
42 | 2693432.8834 | 1153691.9861 | 2693415.9848 | 1153693.5694 | 2693403.7552 | 1153692.4568 | 2693395.0834 | 1153694.4791 | 2693382.8203 | 1153695.523 | 2693374.0174 | 1153699.0776 | 2693364.6798 | 1153703.958 | 2693352.2569 | 1153708.3792 | 2693331.4355 | 1153717.4955 | 2693312.541 | 1153721.6163 | 2693303.9488 | 1153724.4516 | 2693303.1654 | 1153728.9533 | 2693305.9993 | 1153731.7656 | 2693309.1828 | 1153732.3264 | 2693316.1291 | 1153728.7429 | 2693333.864 | 1153726.6609 | 2693346.5143 | 1153727.3685 | 2693358.2325 | 1153734.7324 | 2693372.9319 | 1153742.8331
43 | 2693432.8834 | 1153691.9861 | 2693410.1921 | 1153689.0657 | 2693388.0453 | 1153683.6968 | 2693376.1399 | 1153681.4664 | 2693365.0825 | 1153682.7015

## bus_geodata
| x | y | coords
0 | 2692991.4086 | 1153147.9714
1 | 2693015.6235 | 1153120.904
2 | 2692680.8821 | 1153323.1217
3 | 2693014.1094 | 1153099.033
4 | 2692540.2605 | 1153351.9588
5 | 2693029.3361 | 1153093.338
6 | 2692559.54 | 1153371.652
7 | 2693069.0408 | 1153341.9058
8 | 2693057.5754 | 1153341.1355
9 | 2693082.9552 | 1153340.0366
10 | 2693037.5452 | 1153334.5632
11 | 2693141.349 | 1153311.4728
12 | 2692975.1211 | 1153310.4151
13 | 2693231.7533 | 1153362.5024
14 | 2692967.1976 | 1153306.6347
15 | 2692658.2012 | 1153481.3911
16 | 2693029.438 | 1153417.4017
17 | 2693006.3921 | 1153403.5757
18 | 2693044.1905 | 1153419.9037
19 | 2693283.3356 | 1153380.1414
20 | 2693351.0032 | 1153683.3335
21 | 2693236.6385 | 1153137.5947
22 | 2693245.2178 | 1153134.607
23 | 2693245.3623 | 1153134.5566
24 | 2693257.8466 | 1153127.0742
25 | 2693118.3127 | 1153083.4878
26 | 2693086.2827 | 1153082.2426
27 | 2693147.8888 | 1153080.8362
28 | 2693072.1519 | 1153081.7813
29 | 2693157.1751 | 1153080.7947
30 | 2693059.6328 | 1153083.3673
31 | 2693167.782 | 1153082.0111
32 | 2693223.0595 | 1153102.4209
33 | 2693264.886 | 1153127.1832
34 | 2693209.5699 | 1153091.6124
35 | 2693282.7655 | 1153126.0551
36 | 2693199.7484 | 1153087.2063
37 | 2693190.3495 | 1153085.0576
38 | 2693214.4138 | 1153086.354
39 | 2693243.9279 | 1153095.9983
40 | 2693259.5338 | 1153100.6073
41 | 2693293.4192 | 1153125.8772
42 | 2693372.9319 | 1153742.8331
43 | 2693432.8834 | 1153691.9861
44 | 2693365.0825 | 1153682.7015
45 | 2693141.349 | 1153311.4728

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1