## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5063-1_1_3_node_52 | 0.4 | n |  | TRUE
1 | bus_LV_5063-1_1_3_node_36 | 0.4 | n |  | TRUE
2 | bus_LV_5063-1_1_3_node_24 | 0.4 | n |  | TRUE
3 | bus_LV_5063-1_1_3_node_113 | 0.4 | n |  | TRUE
4 | bus_LV_5063-1_1_3_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_5063-1_1_3_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_5063-1_1_3_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_5063-1_1_3_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_5063-1_1_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_5063-1_1_3_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_5063-1_1_3_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_5063-1_1_3_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_5063-1_1_3_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_5063-1_1_3_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_5063-1_1_3_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_5063-1_1_3_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_5063-1_1_3_node_86 | 0.4 | n |  | TRUE
17 | bus_LV_5063-1_1_3_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_5063-1_1_3_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_5063-1_1_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_5063-1_1_3_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_5063-1_1_3_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_5063-1_1_3_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_5063-1_1_3_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_5063-1_1_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_5063-1_1_3_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_5063-1_1_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_5063-1_1_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_5063-1_1_3_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_5063-1_1_3_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_5063-1_1_3_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_5063-1_1_3_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_5063-1_1_3_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_5063-1_1_3_node_96 | 0.4 | n |  | TRUE
34 | bus_LV_5063-1_1_3_node_95 | 0.4 | n |  | TRUE
35 | bus_LV_5063-1_1_3_node_97 | 0.4 | n |  | TRUE
36 | bus_LV_5063-1_1_3_node_94 | 0.4 | n |  | TRUE
37 | bus_LV_5063-1_1_3_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_5063-1_1_3_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_5063-1_1_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_5063-1_1_3_node_100 | 0.4 | n |  | TRUE
41 | bus_LV_5063-1_1_3_node_101 | 0.4 | n |  | TRUE
42 | bus_LV_5063-1_1_3_node_102 | 0.4 | n |  | TRUE
43 | bus_LV_5063-1_1_3_node_103 | 0.4 | n |  | TRUE
44 | bus_LV_5063-1_1_3_node_104 | 0.4 | n |  | TRUE
45 | bus_LV_5063-1_1_3_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_5063-1_1_3_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_5063-1_1_3_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_5063-1_1_3_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_5063-1_1_3_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_5063-1_1_3_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_5063-1_1_3_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_5063-1_1_3_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_5063-1_1_3_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_5063-1_1_3_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_5063-1_1_3_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_5063-1_1_3_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_5063-1_1_3_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_5063-1_1_3_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_5063-1_1_3_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_5063-1_1_3_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_5063-1_1_3_node_78 | 0.4 | n |  | TRUE
62 | bus_LV_5063-1_1_3_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_5063-1_1_3_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_5063-1_1_3_node_90 | 0.4 | n |  | TRUE
65 | bus_LV_5063-1_1_3_node_91 | 0.4 | n |  | TRUE
66 | bus_LV_5063-1_1_3_node_92 | 0.4 | n |  | TRUE
67 | bus_LV_5063-1_1_3_node_93 | 0.4 | n |  | TRUE
68 | bus_LV_5063-1_1_3_node_110 | 0.4 | n |  | TRUE
69 | bus_LV_5063-1_1_3_node_111 | 0.4 | n |  | TRUE
70 | bus_LV_5063-1_1_3_node_109 | 0.4 | n |  | TRUE
71 | bus_LV_5063-1_1_3_node_98 | 0.4 | n |  | TRUE
72 | bus_LV_5063-1_1_3_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_5063-1_1_3_node_105 | 0.4 | n |  | TRUE
74 | bus_LV_5063-1_1_3_node_106 | 0.4 | n |  | TRUE
75 | bus_LV_5063-1_1_3_node_107 | 0.4 | n |  | TRUE
76 | bus_LV_5063-1_1_3_node_108 | 0.4 | n |  | TRUE
77 | bus_LV_5063-1_1_3_node_112 | 0.4 | n |  | TRUE
78 | bus_MV_187_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5063-1_1_3_load_52 | 0 | 0.0017685 | 0.00044323 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5063-1_1_3_load_113 | 3 | 0.0028555 | 0.00071567 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5063-1_1_3_load_66 | 5 | 0.0019756 | 0.00049512 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5063-1_1_3_load_87 | 10 | 0.0063316 | 0.0015869 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5063-1_1_3_load_67 | 11 | 0.0018937 | 0.00047461 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5063-1_1_3_load_65 | 12 | 0.0012848 | 0.000322 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5063-1_1_3_load_63 | 13 | 0.0020026 | 0.0005019 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5063-1_1_3_load_82 | 14 | 0.0074615 | 0.00187 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5063-1_1_3_load_80 | 15 | 0.0019666 | 0.00049288 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5063-1_1_3_load_86 | 16 | 0.003699 | 0.00092705 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5063-1_1_3_load_68 | 17 | 0.0019095 | 0.00047856 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5063-1_1_3_load_41 | 19 | 0.0018138 | 0.00045458 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5063-1_1_3_load_42 | 20 | 0.00041297 | 0.0001035 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5063-1_1_3_load_44 | 22 | 0.00056483 | 0.00014156 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5063-1_1_3_load_46 | 24 | 0.00044403 | 0.00011129 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5063-1_1_3_load_47 | 26 | 0.00062354 | 0.00015628 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5063-1_1_3_load_50 | 27 | 0.0020195 | 0.00050613 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5063-1_1_3_load_53 | 28 | 0.00093892 | 0.00023532 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5063-1_1_3_load_64 | 29 | 0.002021 | 0.00050652 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5063-1_1_3_load_48 | 31 | 0.00045689 | 0.00011451 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5063-1_1_3_load_96 | 33 | 0.00075374 | 0.0001889 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5063-1_1_3_load_95 | 34 | 0.00067189 | 0.00016839 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5063-1_1_3_load_97 | 35 | 0.0007528 | 0.00018867 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5063-1_1_3_load_94 | 36 | 0.00082901 | 0.00020777 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5063-1_1_3_load_56 | 38 | 0.00036966 | 9.2645e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5063-1_1_3_load_57 | 39 | 0.0004627 | 0.00011596 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5063-1_1_3_load_100 | 40 | 0.00071844 | 0.00018006 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5063-1_1_3_load_101 | 41 | 0.00040914 | 0.00010254 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5063-1_1_3_load_103 | 43 | 0.0019189 | 0.00048091 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5063-1_1_3_load_104 | 44 | 0.00068704 | 0.00017219 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5063-1_1_3_load_58 | 45 | 0.0043136 | 0.0010811 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5063-1_1_3_load_59 | 46 | 0.0022231 | 0.00055716 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5063-1_1_3_load_69 | 47 | 0.0018238 | 0.00045709 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5063-1_1_3_load_70 | 48 | 0.0030758 | 0.00077086 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5063-1_1_3_load_71 | 49 | 0.0025936 | 0.00065002 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5063-1_1_3_load_72 | 50 | 0.0042558 | 0.0010666 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5063-1_1_3_load_73 | 51 | 0.0022208 | 0.00055659 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5063-1_1_3_load_75 | 53 | 0.005761 | 0.0014438 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5063-1_1_3_load_81 | 54 | 0.0035924 | 0.00090034 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5063-1_1_3_load_88 | 55 | 0.0018887 | 0.00047335 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5063-1_1_3_load_76 | 56 | 0.0034917 | 0.0008751 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5063-1_1_3_load_79 | 57 | 0.0026024 | 0.00065223 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5063-1_1_3_load_83 | 58 | 0.0023127 | 0.00057962 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5063-1_1_3_load_84 | 59 | 0.0056267 | 0.0014102 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5063-1_1_3_load_77 | 60 | 0.0021357 | 0.00053525 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5063-1_1_3_load_78 | 61 | 0.0044443 | 0.0011139 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5063-1_1_3_load_85 | 62 | 0.0017812 | 0.00044641 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5063-1_1_3_load_89 | 63 | 0.0014703 | 0.00036848 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5063-1_1_3_load_90 | 64 | 0.0016993 | 0.00042589 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5063-1_1_3_load_91 | 65 | 0.0012759 | 0.00031978 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5063-1_1_3_load_92 | 66 | 0.0014271 | 0.00035765 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5063-1_1_3_load_93 | 67 | 0.0016851 | 0.00042232 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5063-1_1_3_load_110 | 68 | 0.0029023 | 0.0007274 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5063-1_1_3_load_111 | 69 | 0.0017711 | 0.00044389 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5063-1_1_3_load_109 | 70 | 0.0018734 | 0.00046951 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5063-1_1_3_load_98 | 71 | 0.00097449 | 0.00024423 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5063-1_1_3_load_99 | 72 | 0.00079192 | 0.00019847 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5063-1_1_3_load_106 | 74 | 0.0012194 | 0.00030562 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5063-1_1_3_load_107 | 75 | 0.0028559 | 0.00071576 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5063-1_1_3_load_108 | 76 | 0.00091481 | 0.00022927 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5063-1_1_3_load_112 | 77 | 0.0016628 | 0.00041674 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5063-1_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.062573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5063-1_1_3_line_1 | NAYY 4x150 SE | 1 | 6 | 0.47389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5063-1_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.04487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5063-1_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.099967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5063-1_1_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.30551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5063-1_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.082366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5063-1_1_3_line_6 | NAYY 4x150 SE | 5 | 12 | 0.017393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5063-1_1_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.10042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5063-1_1_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.25741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5063-1_1_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.015754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5063-1_1_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.098312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5063-1_1_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.050033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5063-1_1_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.047459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5063-1_1_3_line_13 | NAYY 4x150 SE | 10 | 16 | 0.015594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5063-1_1_3_line_14 | NAYY 4x150 SE | 11 | 17 | 0.0041584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5063-1_1_3_line_15 | NAYY 4x150 SE | 13 | 18 | 0.0017639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5063-1_1_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.036811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5063-1_1_3_line_17 | NAYY 4x150 SE | 15 | 61 | 0.0079276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5063-1_1_3_line_18 | NAYY 4x150 SE | 16 | 62 | 0.017264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5063-1_1_3_line_19 | NAYY 4x150 SE | 17 | 47 | 0.086707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5063-1_1_3_line_20 | NAYY 4x150 SE | 18 | 30 | 0.036655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5063-1_1_3_line_21 | NAYY 4x150 SE | 18 | 45 | 0.021459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5063-1_1_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.01336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5063-1_1_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.12491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5063-1_1_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.011611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5063-1_1_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.44797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5063-1_1_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0043685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5063-1_1_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.18485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5063-1_1_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0085146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5063-1_1_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.036271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5063-1_1_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.025075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5063-1_1_3_line_31 | NAYY 4x150 SE | 26 | 31 | 0.012043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5063-1_1_3_line_32 | NAYY 4x150 SE | 28 | 37 | 0.032966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5063-1_1_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.03095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5063-1_1_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0093198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5063-1_1_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.0048356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5063-1_1_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.013567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5063-1_1_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0068673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5063-1_1_3_line_38 | NAYY 4x150 SE | 35 | 71 | 0.013781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5063-1_1_3_line_39 | NAYY 4x150 SE | 36 | 55 | 0.0085395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5063-1_1_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.010567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5063-1_1_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.0089838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5063-1_1_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.0041975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5063-1_1_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.010701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5063-1_1_3_line_44 | NAYY 4x150 SE | 41 | 76 | 0.0018819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5063-1_1_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.023973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5063-1_1_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.017061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5063-1_1_3_line_47 | NAYY 4x150 SE | 43 | 69 | 0.013457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5063-1_1_3_line_48 | NAYY 4x150 SE | 44 | 77 | 0.034516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5063-1_1_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.033143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5063-1_1_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.011333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5063-1_1_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.0013676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5063-1_1_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.0028051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5063-1_1_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.0087976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5063-1_1_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.012883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5063-1_1_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.018631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5063-1_1_3_line_56 | NAYY 4x150 SE | 52 | 55 | 0.010497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5063-1_1_3_line_57 | NAYY 4x150 SE | 53 | 56 | 0.015783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5063-1_1_3_line_58 | NAYY 4x150 SE | 54 | 57 | 0.016757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5063-1_1_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.0069301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5063-1_1_3_line_60 | NAYY 4x150 SE | 57 | 60 | 0.013911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5063-1_1_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.0084792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5063-1_1_3_line_62 | NAYY 4x150 SE | 59 | 62 | 0.0014846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5063-1_1_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.0044952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5063-1_1_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.02536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5063-1_1_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.0072568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5063-1_1_3_line_66 | NAYY 4x150 SE | 64 | 66 | 0.010889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_5063-1_1_3_line_67 | NAYY 4x150 SE | 65 | 67 | 0.013685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5063-1_1_3_line_68 | NAYY 4x150 SE | 66 | 68 | 0.0027749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_5063-1_1_3_line_69 | NAYY 4x150 SE | 67 | 69 | 0.0099433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5063-1_1_3_line_70 | NAYY 4x150 SE | 68 | 70 | 0.012979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_5063-1_1_3_line_71 | NAYY 4x150 SE | 70 | 75 | 0.0028942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_5063-1_1_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.0088894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5063-1_1_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.014718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5063-1_1_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0083402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5063-1_1_3_line_75 | NAYY 4x150 SE | 73 | 75 | 0.0078006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_5063-1_1_3_line_76 | NAYY 4x150 SE | 74 | 76 | 0.016091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5063-1_1_3_trafo_90 | 0.25 MVA 20/0.4 kV | 78 | 64 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31
0 | 2683716.7399 | 1151446.8492 | 2683731.6183 | 1151431.7804 | 2683772.8342 | 1151435.6502
1 | 2683716.7399 | 1151446.8492 | 2683691.8038 | 1151467.6038 | 2683653.7613 | 1151465.9746 | 2683615.5279 | 1151477.5396 | 2683559.9027 | 1151470.7195 | 2683507.2842 | 1151445.7977 | 2683461.8996 | 1151433.3506 | 2683449.3507 | 1151451.5318 | 2683459.7599 | 1151453.7106 | 2683480.3401 | 1151461.4002 | 2683530.8359 | 1151486.0699 | 2683559.5703 | 1151497.9975 | 2683595.614 | 1151510.8939 | 2683616.0807 | 1151518.4378
2 | 2683651.1498 | 1151638.5058 | 2683653.8994 | 1151633.4077 | 2683654.6102 | 1151626.4468 | 2683651.6136 | 1151620.0348 | 2683633.1114 | 1151603.157
3 | 2683576.0346 | 1151590.402 | 2683613.5339 | 1151633.8699 | 2683619.8247 | 1151640.739 | 2683630.8801 | 1151644.9949 | 2683641.8185 | 1151643.3013 | 2683651.1498 | 1151638.5058
4 | 2683576.0346 | 1151590.402 | 2683575.0188 | 1151595.5687 | 2683574.8548 | 1151600.7473 | 2683575.4954 | 1151606.5818 | 2683577.3039 | 1151613.4331 | 2683579.5691 | 1151618.901 | 2683582.7681 | 1151624.5598 | 2683588.6228 | 1151631.8898 | 2683619.7815 | 1151667.6208 | 2683625.8011 | 1151675.7757 | 2683629.8672 | 1151682.5584 | 2683633.0919 | 1151689.6739 | 2683635.7395 | 1151698.5603 | 2683637.0039 | 1151703.6809 | 2683637.161 | 1151708.9528 | 2683636.3132 | 1151713.0657 | 2683633.9594 | 1151717.3021 | 2683630.5164 | 1151720.9231 | 2683626.8471 | 1151723.1624 | 2683622.0898 | 1151724.7084 | 2683618.9003 | 1151724.9976 | 2683614.5408 | 1151724.4257 | 2683609.6005 | 1151722.5671 | 2683605.686 | 1151719.8001 | 2683602.9477 | 1151715.7931 | 2683600.3786 | 1151710.0986 | 2683593.5062 | 1151689.2799 | 2683590.4346 | 1151682.1887 | 2683586.5826 | 1151676.0206 | 2683581.001 | 1151668.9279 | 2683555.2933 | 1151641.3886 | 2683533.2728 | 1151618.8915
5 | 2683576.0346 | 1151590.402 | 2683578.6979 | 1151584.3354 | 2683591.8802 | 1151562.5611 | 2683611.6068 | 1151526.6472 | 2683616.0807 | 1151518.4378
6 | 2683521.0047 | 1151606.5764 | 2683521.8557 | 1151607.2273 | 2683533.2728 | 1151618.8915
7 | 2683414.3807 | 1151577.1988 | 2683415.358 | 1151579.2357 | 2683416.3724 | 1151582.4739 | 2683417.356 | 1151588.491 | 2683418.7402 | 1151597.7267 | 2683420.7799 | 1151606.1932 | 2683422.7128 | 1151610.7226 | 2683425.4068 | 1151615.1736 | 2683427.3001 | 1151617.579 | 2683429.7068 | 1151619.4912 | 2683441.1168 | 1151625.864 | 2683445.2541 | 1151627.5223 | 2683449.4066 | 1151628.0801 | 2683452.9829 | 1151627.5738 | 2683455.8942 | 1151626.3023 | 2683460.9384 | 1151622.3365 | 2683475.4483 | 1151609.4077
8 | 2683414.3807 | 1151577.1988 | 2683415.358 | 1151579.2357 | 2683416.3724 | 1151582.4739 | 2683417.356 | 1151588.491 | 2683418.7402 | 1151597.7267 | 2683420.7799 | 1151606.1932 | 2683422.7128 | 1151610.7226 | 2683425.4068 | 1151615.1736 | 2683397.4275 | 1151655.7099 | 2683385.2428 | 1151663.7127 | 2683374.5643 | 1151673.2482 | 2683349.2244 | 1151697.8231 | 2683340.7756 | 1151703.7764 | 2683336.6665 | 1151714.5036 | 2683319.5368 | 1151731.5322 | 2683296.8013 | 1151768.1726 | 2683290.2831 | 1151781.6125
9 | 2683414.3807 | 1151577.1988 | 2683413.0883 | 1151575.1908 | 2683410.1413 | 1151572.3817 | 2683407.2706 | 1151570.1629 | 2683402.1939 | 1151567.6457
10 | 2683475.4483 | 1151609.4077 | 2683489.6992 | 1151611.8399 | 2683497.1927 | 1151620.5599 | 2683510.4234 | 1151646.1916 | 2683523.6274 | 1151674.291 | 2683529.252 | 1151685.4151
11 | 2683475.4483 | 1151609.4077 | 2683480.9549 | 1151605.3149 | 2683484.8092 | 1151603.0226 | 2683489.7597 | 1151600.8343 | 2683493.8746 | 1151599.6796 | 2683498.5735 | 1151599.0332 | 2683503.439 | 1151599.1006 | 2683508.4627 | 1151599.9374 | 2683513.7775 | 1151601.9233 | 2683517.4884 | 1151603.887 | 2683521.0047 | 1151606.5764
12 | 2683290.2831 | 1151781.6125 | 2683293.1758 | 1151758.3723 | 2683291.8332 | 1151757.7756 | 2683288.9569 | 1151758.1805 | 2683283.2605 | 1151754.9332 | 2683270.9702 | 1151750.3733
13 | 2683388.2226 | 1151560.7184 | 2683402.1939 | 1151567.6457
14 | 2683529.252 | 1151685.4151 | 2683531.1283 | 1151689.1261
15 | 2683269.3164 | 1151749.7597 | 2683270.9702 | 1151750.3733
16 | 2683355.1426 | 1151532.4797 | 2683365.7584 | 1151535.3237 | 2683380.3963 | 1151540.8628 | 2683382.6085 | 1151542.4165 | 2683384.0454 | 1151544.5265 | 2683385.3822 | 1151549.2547
17 | 2683355.1426 | 1151532.4797 | 2683347.4851 | 1151530.4282
18 | 2683372.5791 | 1151553.427 | 2683380.352 | 1151556.8159 | 2683388.2226 | 1151560.7184
19 | 2683531.1283 | 1151689.1261 | 2683535.8495 | 1151698.4635 | 2683544.6545 | 1151716.6517 | 2683547.2275 | 1151724.2808 | 2683546.2848 | 1151732.4725 | 2683543.1457 | 1151736.3312 | 2683538.1951 | 1151736.874 | 2683530.8919 | 1151729.3906 | 2683523.1971 | 1151720.2564 | 2683517.3236 | 1151715.7802
20 | 2683234.1968 | 1151738.9237 | 2683269.3164 | 1151749.7597
21 | 2683269.3164 | 1151749.7597 | 2683267.0968 | 1151763.7372 | 2683268.075 | 1151766.8192 | 2683271.5472 | 1151768.9476
22 | 2682786.5675 | 1151299.4188 | 2682796.9991 | 1151298.6327 | 2682799.8857 | 1151298.9029
23 | 2682668.8134 | 1151307.1333 | 2682680.2253 | 1151315.7059 | 2682689.631 | 1151320.5601 | 2682701.7744 | 1151321.1382 | 2682748.9306 | 1151305.3652 | 2682773.916 | 1151300.3721 | 2682786.5675 | 1151299.4188
24 | 2682811.2802 | 1151300.5439 | 2682809.9475 | 1151299.8447 | 2682799.8857 | 1151298.9029
25 | 2682668.8134 | 1151307.1333 | 2682665.1398 | 1151332.0641 | 2682674.5322 | 1151340.6757 | 2682684.9878 | 1151345.6554 | 2682721.3127 | 1151352.8025 | 2682750.3869 | 1151349.0996 | 2682781.4473 | 1151350.0045 | 2683005.5368 | 1151512.5374 | 2683011.546 | 1151517.0673 | 2683025.3876 | 1151526.3857
26 | 2682815.1486 | 1151302.5733 | 2682811.2802 | 1151300.5439
27 | 2683200.5652 | 1151579.822 | 2683180.7624 | 1151580.8714 | 2683173.7818 | 1151580.5526 | 2683166.3663 | 1151579.4941 | 2683155.3726 | 1151576.8519 | 2683134.0979 | 1151569.9877 | 2683103.271 | 1151560.0345 | 2683062.09 | 1151544.4576 | 2683034.2664 | 1151531.5555 | 2683025.3876 | 1151526.3857
28 | 2682815.1486 | 1151302.5733 | 2682820.7848 | 1151305.5302 | 2682822.68 | 1151306.5452
29 | 2683200.5652 | 1151579.822 | 2683213.1788 | 1151572.9922 | 2683216.6878 | 1151571.7955 | 2683224.9435 | 1151569.8306 | 2683228.4869 | 1151568.3676 | 2683230.3395 | 1151567.059 | 2683231.6927 | 1151565.2322 | 2683232.0358 | 1151563.918
30 | 2683200.5652 | 1151579.822 | 2683203.587 | 1151585 | 2683205.745 | 1151586.5863 | 2683208.4924 | 1151587.736 | 2683220.2245 | 1151587.4868 | 2683221.9028 | 1151587.307
31 | 2682833.2968 | 1151312.2307 | 2682822.68 | 1151306.5452
32 | 2683254.7486 | 1151584.8288 | 2683242.2867 | 1151585.1235 | 2683221.9028 | 1151587.307
33 | 2683234.1968 | 1151738.9237 | 2683257.3945 | 1151728.7827 | 2683262.5712 | 1151726.5641
34 | 2683273.6286 | 1151541.709 | 2683275.3492 | 1151550.8686
35 | 2683273.6286 | 1151541.709 | 2683274.9675 | 1151541.4718 | 2683278.4247 | 1151541.1113
36 | 2683277.854 | 1151564.2028 | 2683277.854 | 1151564.2028 | 2683275.3492 | 1151550.8686
37 | 2683278.4247 | 1151541.1113 | 2683280.7097 | 1151540.8731 | 2683285.2767 | 1151541.0352
38 | 2683277.854 | 1151564.2028 | 2683278.6395 | 1151565.6811 | 2683280.0932 | 1151566.5795 | 2683282.807 | 1151566.8283 | 2683290.4373 | 1151566.0225
39 | 2683293.8108 | 1151541.3383 | 2683285.2767 | 1151541.0352
40 | 2683254.7486 | 1151584.8288 | 2683265.1835 | 1151583.1635
41 | 2683254.7486 | 1151584.8288 | 2683258.2737 | 1151589.1356 | 2683260.1658 | 1151591.9825
42 | 2683265.1835 | 1151583.1635 | 2683267.4417 | 1151582.803 | 2683269.3415 | 1151582.5996
43 | 2683279.9819 | 1151581.46 | 2683269.3415 | 1151582.5996
44 | 2683279.9819 | 1151581.46 | 2683281.048 | 1151581.3458 | 2683281.8475 | 1151581.2181
45 | 2683295.186 | 1151600.8304 | 2683309.6403 | 1151595.2269 | 2683315.1501 | 1151594.2247 | 2683318.0172 | 1151594.361
46 | 2683295.186 | 1151600.8304 | 2683302.7356 | 1151606.0711 | 2683309.1327 | 1151610.6557
47 | 2683331.4603 | 1151594.9796 | 2683324.7155 | 1151594.6795 | 2683318.0172 | 1151594.361
48 | 2683337.1883 | 1151630.7619 | 2683309.1327 | 1151610.6557
49 | 2683271.5472 | 1151768.9476 | 2683275.7013 | 1151771.494 | 2683278.5661 | 1151775.2469 | 2683270.7536 | 1151780.7087 | 2683265.3085 | 1151780.3778 | 2683265.5717 | 1151782.994 | 2683262.9658 | 1151788.3227
50 | 2683314.4476 | 1151542.3313 | 2683325.7596 | 1151543.0231
51 | 2683314.4476 | 1151542.3313 | 2683313.0825 | 1151542.2478
52 | 2683328.5595 | 1151543.1943 | 2683325.7596 | 1151543.0231
53 | 2683304.3014 | 1151541.7108 | 2683313.0825 | 1151542.2478
54 | 2683328.5595 | 1151543.1943 | 2683334.373 | 1151543.5499 | 2683341.3742 | 1151544.449
55 | 2683304.3014 | 1151541.7108 | 2683304.9403 | 1151532.7032 | 2683305.6037 | 1151530.8002 | 2683306.6401 | 1151529.6805 | 2683309.5868 | 1151528.6318 | 2683312.4581 | 1151528.0378
56 | 2683304.3014 | 1151541.7108 | 2683293.8108 | 1151541.3383
57 | 2683356.8985 | 1151547.2451 | 2683354.1353 | 1151546.5472 | 2683342.1349 | 1151544.5467 | 2683341.3742 | 1151544.449
58 | 2683329.2084 | 1151528.4569 | 2683328.5111 | 1151528.3933 | 2683312.4581 | 1151528.0378
59 | 2683363.4458 | 1151549.4448 | 2683360.4687 | 1151548.1468 | 2683356.8985 | 1151547.2451
60 | 2683343.0619 | 1151529.7201 | 2683329.2084 | 1151528.4569
61 | 2683363.4458 | 1151549.4448 | 2683371.2183 | 1151552.8336
62 | 2683372.5791 | 1151553.427 | 2683371.2183 | 1151552.8336
63 | 2683343.0619 | 1151529.7201 | 2683345.7601 | 1151529.9661 | 2683347.4851 | 1151530.4282
64 | 2683361.4266 | 1151589.8511 | 2683362.0852 | 1151587.192 | 2683361.5377 | 1151585.1499 | 2683359.9532 | 1151583.1713 | 2683356.9718 | 1151581.1844 | 2683352.8263 | 1151579.5595 | 2683347.1561 | 1151578.2914 | 2683343.0647 | 1151577.7594
65 | 2683361.4266 | 1151589.8511 | 2683361.4266 | 1151589.8511 | 2683360.0433 | 1151591.0771 | 2683358.4447 | 1151591.7776 | 2683354.808 | 1151592.2165
66 | 2683332.2662 | 1151576.3554 | 2683343.0647 | 1151577.7594
67 | 2683341.2205 | 1151593.1553 | 2683344.3273 | 1151592.4494 | 2683348.3699 | 1151592.0829 | 2683354.808 | 1151592.2165 | 2683354.808 | 1151592.2165
68 | 2683332.2662 | 1151576.3554 | 2683330.1234 | 1151576.0768 | 2683329.5094 | 1151576.0683
69 | 2683331.4603 | 1151594.9796 | 2683331.6041 | 1151594.986 | 2683335.2413 | 1151594.5138 | 2683341.2205 | 1151593.1553
70 | 2683316.5368 | 1151576.0764 | 2683318.8728 | 1151575.9211 | 2683329.5094 | 1151576.0683
71 | 2683313.6491 | 1151576.2685 | 2683316.5368 | 1151576.0764
72 | 2683299.2776 | 1151565.0888 | 2683290.4373 | 1151566.0225
73 | 2683305.8656 | 1151576.7862 | 2683302.9829 | 1151567.1074 | 2683301.7629 | 1151565.4117 | 2683299.9338 | 1151565.0195 | 2683299.2776 | 1151565.0888
74 | 2683305.8656 | 1151576.7862 | 2683297.7036 | 1151578.5009
75 | 2683305.8656 | 1151576.7862 | 2683313.6491 | 1151576.2685
76 | 2683281.8475 | 1151581.2181 | 2683294.0489 | 1151579.2687 | 2683297.7036 | 1151578.5009

## bus_geodata
| x | y | coords
0 | 2683772.8342 | 1151435.6502
1 | 2683716.7399 | 1151446.8492
2 | 2683651.1498 | 1151638.5058
3 | 2683633.1114 | 1151603.157
4 | 2683576.0346 | 1151590.402
5 | 2683533.2728 | 1151618.8915
6 | 2683616.0807 | 1151518.4378
7 | 2683414.3807 | 1151577.1988
8 | 2683475.4483 | 1151609.4077
9 | 2683290.2831 | 1151781.6125
10 | 2683402.1939 | 1151567.6457
11 | 2683529.252 | 1151685.4151
12 | 2683521.0047 | 1151606.5764
13 | 2683270.9702 | 1151750.3733
14 | 2683385.3822 | 1151549.2547
15 | 2683355.1426 | 1151532.4797
16 | 2683388.2226 | 1151560.7184
17 | 2683531.1283 | 1151689.1261
18 | 2683269.3164 | 1151749.7597
19 | 2682786.5675 | 1151299.4188
20 | 2682799.8857 | 1151298.9029
21 | 2682668.8134 | 1151307.1333
22 | 2682811.2802 | 1151300.5439
23 | 2683025.3876 | 1151526.3857
24 | 2682815.1486 | 1151302.5733
25 | 2683200.5652 | 1151579.822
26 | 2682822.68 | 1151306.5452
27 | 2683232.0358 | 1151563.918
28 | 2683221.9028 | 1151587.307
29 | 2683262.5712 | 1151726.5641
30 | 2683234.1968 | 1151738.9237
31 | 2682833.2968 | 1151312.2307
32 | 2683273.6286 | 1151541.709
33 | 2683275.3492 | 1151550.8686
34 | 2683278.4247 | 1151541.1113
35 | 2683277.854 | 1151564.2028
36 | 2683285.2767 | 1151541.0352
37 | 2683254.7486 | 1151584.8288
38 | 2683265.1835 | 1151583.1634
39 | 2683260.1658 | 1151591.9825
40 | 2683269.3415 | 1151582.5996
41 | 2683279.9819 | 1151581.46
42 | 2683295.186 | 1151600.8304
43 | 2683318.0172 | 1151594.361
44 | 2683309.1327 | 1151610.6557
45 | 2683271.5472 | 1151768.9476
46 | 2683262.9658 | 1151788.3227
47 | 2683517.3236 | 1151715.7802
48 | 2683314.4476 | 1151542.3313
49 | 2683325.7596 | 1151543.0231
50 | 2683313.0825 | 1151542.2478
51 | 2683328.5595 | 1151543.1943
52 | 2683304.3014 | 1151541.7108
53 | 2683341.3742 | 1151544.449
54 | 2683312.4581 | 1151528.0378
55 | 2683293.8108 | 1151541.3383
56 | 2683356.8985 | 1151547.2451
57 | 2683329.2084 | 1151528.4569
58 | 2683363.4458 | 1151549.4448
59 | 2683371.2183 | 1151552.8336
60 | 2683343.0619 | 1151529.7201
61 | 2683347.4851 | 1151530.4282
62 | 2683372.5791 | 1151553.427
63 | 2683361.4266 | 1151589.8511
64 | 2683343.0647 | 1151577.7594
65 | 2683354.808 | 1151592.2165
66 | 2683332.2662 | 1151576.3554
67 | 2683341.2205 | 1151593.1553
68 | 2683329.5094 | 1151576.0683
69 | 2683331.4603 | 1151594.9796
70 | 2683316.5368 | 1151576.0764
71 | 2683290.4373 | 1151566.0225
72 | 2683299.2776 | 1151565.0888
73 | 2683305.8656 | 1151576.7862
74 | 2683297.7036 | 1151578.5009
75 | 2683313.6491 | 1151576.2685
76 | 2683281.8475 | 1151581.2181
77 | 2683337.1883 | 1151630.7619
78 | 2683305.8656 | 1151576.7862

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1