## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5071-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5071-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5071-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5071-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5071-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5071-1_0_2_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_5071-1_0_2_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_5071-1_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5071-1_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5071-1_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5071-1_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5071-1_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5071-1_0_2_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_5071-1_0_2_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_5071-1_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5071-1_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5071-1_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5071-1_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5071-1_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_5071-1_0_2_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_5071-1_0_2_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_5071-1_0_2_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_5071-1_0_2_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5071-1_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5071-1_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5071-1_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5071-1_0_2_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_5071-1_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5071-1_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5071-1_0_2_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_5071-1_0_2_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_5071-1_0_2_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_5071-1_0_2_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_5071-1_0_2_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_5071-1_0_2_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_5071-1_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5071-1_0_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5071-1_0_2_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5071-1_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5071-1_0_2_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5071-1_0_2_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_5071-1_0_2_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_5071-1_0_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_5071-1_0_2_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_5071-1_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_5071-1_0_2_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5071-1_0_2_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5071-1_0_2_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_5071-1_0_2_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5071-1_0_2_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5071-1_0_2_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_5071-1_0_2_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_5071-1_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_5071-1_0_2_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_5071-1_0_2_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_5071-1_0_2_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_5071-1_0_2_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_5071-1_0_2_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_5071-1_0_2_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5071-1_0_2_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_5071-1_0_2_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5071-1_0_2_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_5071-1_0_2_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_5071-1_0_2_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_5071-1_0_2_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_5071-1_0_2_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_5071-1_0_2_node_69 | 0.4 | n |  | TRUE
67 | bus_MV_188_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5071-1_0_2_load_0 | 0 | 0.0032756 | 0.00082095 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5071-1_0_2_load_4 | 4 | 0.0080516 | 0.0020179 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5071-1_0_2_load_48 | 5 | 0.0062388 | 0.0015636 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5071-1_0_2_load_47 | 6 | 0.00079745 | 0.00019986 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5071-1_0_2_load_5 | 7 | 0.0069322 | 0.0017374 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5071-1_0_2_load_6 | 8 | 0.0013469 | 0.00033756 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5071-1_0_2_load_8 | 10 | 0.002915 | 0.00073057 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5071-1_0_2_load_9 | 11 | 0.0099139 | 0.0024846 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5071-1_0_2_load_55 | 13 | 0.0019578 | 0.00049068 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5071-1_0_2_load_13 | 14 | 0.005712 | 0.0014316 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5071-1_0_2_load_10 | 15 | 0.0085853 | 0.0021517 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5071-1_0_2_load_11 | 16 | 0.0041994 | 0.0010525 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5071-1_0_2_load_12 | 17 | 0.0030972 | 0.00077622 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5071-1_0_2_load_14 | 18 | 0.0022487 | 0.00056359 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5071-1_0_2_load_24 | 20 | 0.0014328 | 0.00035909 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5071-1_0_2_load_25 | 21 | 0.0042753 | 0.0010715 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5071-1_0_2_load_22 | 22 | 0.0034813 | 0.00087249 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5071-1_0_2_load_15 | 23 | 0.0042253 | 0.001059 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5071-1_0_2_load_16 | 24 | 0.0014858 | 0.00037237 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5071-1_0_2_load_17 | 25 | 0.0026751 | 0.00067044 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5071-1_0_2_load_18 | 26 | 0.0021972 | 0.00055068 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5071-1_0_2_load_19 | 27 | 0.0033783 | 0.00084669 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5071-1_0_2_load_20 | 28 | 0.0016492 | 0.00041333 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5071-1_0_2_load_21 | 29 | 0.0016776 | 0.00042044 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5071-1_0_2_load_59 | 30 | 0.0020985 | 0.00052593 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5071-1_0_2_load_58 | 31 | 0.0022072 | 0.00055317 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5071-1_0_2_load_63 | 32 | 0.0026614 | 0.00066702 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5071-1_0_2_load_37 | 33 | 0.0013941 | 0.0003494 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5071-1_0_2_load_36 | 34 | 0.001112 | 0.00027868 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5071-1_0_2_load_26 | 35 | 0.0040955 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5071-1_0_2_load_27 | 36 | 0.0025253 | 0.0006329 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5071-1_0_2_load_28 | 37 | 0.0014901 | 0.00037347 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5071-1_0_2_load_29 | 38 | 0.0029114 | 0.00072968 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5071-1_0_2_load_30 | 39 | 0.0023003 | 0.00057652 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5071-1_0_2_load_31 | 40 | 0.0025271 | 0.00063336 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5071-1_0_2_load_40 | 42 | 0.0020586 | 0.00051594 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5071-1_0_2_load_39 | 43 | 0.0016137 | 0.00040444 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5071-1_0_2_load_38 | 44 | 0.00074478 | 0.00018666 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5071-1_0_2_load_33 | 45 | 0.0029229 | 0.00073254 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5071-1_0_2_load_34 | 46 | 0.0016025 | 0.00040162 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5071-1_0_2_load_35 | 47 | 0.001939 | 0.00048595 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5071-1_0_2_load_41 | 48 | 0.0018651 | 0.00046743 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5071-1_0_2_load_42 | 49 | 0.0036674 | 0.00091913 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5071-1_0_2_load_43 | 50 | 0.001597 | 0.00040023 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5071-1_0_2_load_44 | 51 | 0.0032394 | 0.00081188 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5071-1_0_2_load_45 | 52 | 0.0012557 | 0.00031472 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5071-1_0_2_load_46 | 53 | 0.0098055 | 0.0024575 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5071-1_0_2_load_62 | 54 | 0.00099768 | 0.00025004 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5071-1_0_2_load_52 | 57 | 0.003604 | 0.00090326 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5071-1_0_2_load_53 | 58 | 0.0025261 | 0.00063311 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5071-1_0_2_load_49 | 59 | 0.00163 | 0.00040853 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5071-1_0_2_load_64 | 61 | 0.0013467 | 0.00033751 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5071-1_0_2_load_56 | 62 | 0.0047386 | 0.0011876 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5071-1_0_2_load_68 | 65 | 0.0035633 | 0.00089305 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5071-1_0_2_load_69 | 66 | 0.0011774 | 0.00029508 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5071-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5071-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.074032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5071-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.078229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5071-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.13029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5071-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5071-1_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.044373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5071-1_0_2_line_6 | NAYY 4x150 SE | 6 | 59 | 0.0021904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5071-1_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.039332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5071-1_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.020529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5071-1_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.019672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5071-1_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.043976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5071-1_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.079988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5071-1_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.040809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5071-1_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.012214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5071-1_0_2_line_14 | NAYY 4x150 SE | 13 | 56 | 0.02292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5071-1_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.061696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5071-1_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.026698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5071-1_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.05016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5071-1_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.058397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5071-1_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.045921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5071-1_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.02047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5071-1_0_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.01647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5071-1_0_2_line_22 | NAYY 4x150 SE | 19 | 22 | 0.04636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5071-1_0_2_line_23 | NAYY 4x150 SE | 20 | 32 | 0.0082267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5071-1_0_2_line_24 | NAYY 4x150 SE | 21 | 33 | 0.0075717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5071-1_0_2_line_25 | NAYY 4x150 SE | 22 | 26 | 0.0096269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5071-1_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.023208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5071-1_0_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0042795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5071-1_0_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0098615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5071-1_0_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0073497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5071-1_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.021053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5071-1_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.022545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5071-1_0_2_line_32 | NAYY 4x150 SE | 29 | 30 | 6.6016e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5071-1_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.11458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5071-1_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.012155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5071-1_0_2_line_35 | NAYY 4x150 SE | 34 | 40 | 0.045627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5071-1_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.023234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5071-1_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.014522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5071-1_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.030285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5071-1_0_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.073411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5071-1_0_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.02073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5071-1_0_2_line_41 | NAYY 4x150 SE | 39 | 41 | 0.010638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5071-1_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.07555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5071-1_0_2_line_43 | NAYY 4x150 SE | 41 | 43 | 0.0083877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5071-1_0_2_line_44 | NAYY 4x150 SE | 43 | 44 | 0.023814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5071-1_0_2_line_45 | NAYY 4x150 SE | 44 | 47 | 0.051964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5071-1_0_2_line_46 | NAYY 4x150 SE | 45 | 46 | 0.015761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5071-1_0_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.044815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5071-1_0_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.0087242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5071-1_0_2_line_49 | NAYY 4x150 SE | 48 | 50 | 0.004885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5071-1_0_2_line_50 | NAYY 4x150 SE | 49 | 51 | 0.010155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5071-1_0_2_line_51 | NAYY 4x150 SE | 50 | 52 | 0.014598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5071-1_0_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.025048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5071-1_0_2_line_53 | NAYY 4x150 SE | 52 | 54 | 0.003636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5071-1_0_2_line_54 | NAYY 4x150 SE | 53 | 55 | 0.006535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5071-1_0_2_line_55 | NAYY 4x150 SE | 54 | 56 | 0.010426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5071-1_0_2_line_56 | NAYY 4x150 SE | 55 | 57 | 0.01978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5071-1_0_2_line_57 | NAYY 4x150 SE | 55 | 58 | 0.028477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5071-1_0_2_line_58 | NAYY 4x150 SE | 56 | 61 | 0.018839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5071-1_0_2_line_59 | NAYY 4x150 SE | 57 | 62 | 0.010853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5071-1_0_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.0051627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5071-1_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.020243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5071-1_0_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.011065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5071-1_0_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.080733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5071-1_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.13052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5071-1_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.059443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5071-1_0_2_trafo_11 | 0.25 MVA 20/0.4 kV | 67 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2702814.3107 | 1148072.0551 | 2702805.8309 | 1148066.6515 | 2702788.5004 | 1148055.8805
1 | 2702724.6901 | 1148073.2948 | 2702734.4194 | 1148071.1926 | 2702747.7654 | 1148069.6079 | 2702758.4833 | 1148059.9845 | 2702769.783 | 1148050.0264 | 2702779.5412 | 1148048.9365 | 2702786.2596 | 1148054.4879 | 2702788.5004 | 1148055.8805
2 | 2702778.203 | 1148140.4382 | 2702780.2885 | 1148133.9029 | 2702786.3698 | 1148125.4679 | 2702793.1488 | 1148114.4099 | 2702801.2373 | 1148104.0301 | 2702806.6471 | 1148096.2397 | 2702809.4492 | 1148086.4257 | 2702812.2399 | 1148077.2786 | 2702814.3107 | 1148072.0551
3 | 2702724.6901 | 1148073.2948 | 2702711.0437 | 1148057.808 | 2702697.9413 | 1148034.7369 | 2702686.4136 | 1148016.618 | 2702677.042 | 1148002.6829 | 2702667.7834 | 1147990.2285 | 2702660.6391 | 1147974.4969 | 2702655.4163 | 1147963.637
4 | 2702778.203 | 1148140.4382 | 2702778.1133 | 1148145.6955 | 2702779.8738 | 1148158.2112 | 2702780.1242 | 1148159.5305
5 | 2702789.0242 | 1148201.7392 | 2702790.5278 | 1148190.5911 | 2702783.5033 | 1148177.3296 | 2702780.1242 | 1148159.5305
6 | 2702789.0242 | 1148201.7392 | 2702789.0242 | 1148201.7392 | 2702788.0072 | 1148203.6792
7 | 2702575.7637 | 1148109.875 | 2702571.0138 | 1148095.4921 | 2702569.8489 | 1148071.3348
8 | 2702590.8431 | 1148123.6362 | 2702576.0319 | 1148110.6871 | 2702575.7637 | 1148109.875
9 | 2702569.8489 | 1148071.3348 | 2702569.5549 | 1148065.2371 | 2702571.1045 | 1148051.7586
10 | 2702590.8431 | 1148123.6362 | 2702613.7971 | 1148140.1373 | 2702624.27 | 1148151.843
11 | 2702692.6193 | 1148184.2851 | 2702688.387 | 1148180.6885 | 2702677.0311 | 1148179.9947 | 2702654.8432 | 1148177.6042 | 2702647.303 | 1148175.2076 | 2702631.6457 | 1148160.087 | 2702624.27 | 1148151.843
12 | 2702692.6193 | 1148184.2851 | 2702711.4038 | 1148193.9223 | 2702729.2575 | 1148202.2406
13 | 2702692.6193 | 1148184.2851 | 2702689.3071 | 1148185.7407 | 2702680.7109 | 1148185.7044
14 | 2702747.9171 | 1148215.1913 | 2702737.2139 | 1148205.9475 | 2702729.2575 | 1148202.2406
15 | 2702680.7109 | 1148185.7044 | 2702669.3535 | 1148185.6564 | 2702653.9544 | 1148185.1382 | 2702640.6004 | 1148183.154 | 2702627.5343 | 1148179.1513 | 2702620.4865 | 1148175.8918
16 | 2702596.4997 | 1148164.2 | 2702603.2236 | 1148167.9082 | 2702620.4865 | 1148175.8918
17 | 2702596.4997 | 1148164.2 | 2702587.2057 | 1148159.0744 | 2702576.8814 | 1148156.8862 | 2702567.0288 | 1148157.2188 | 2702551.7973 | 1148161.7403 | 2702548.9902 | 1148163.3697
18 | 2702548.9902 | 1148163.3697 | 2702513.0173 | 1148184.2505 | 2702497.7375 | 1148191.2421
19 | 2702455.0066 | 1148208.0015 | 2702488.0676 | 1148195.6668 | 2702497.7375 | 1148191.2421
20 | 2702455.0066 | 1148208.0015 | 2702434.5951 | 1148209.5467
21 | 2702455.0066 | 1148208.0015 | 2702455.3866 | 1148217.7252 | 2702458.3019 | 1148223.8008
22 | 2702455.0066 | 1148208.0015 | 2702456.5812 | 1148189.9391 | 2702462.9289 | 1148163.0967 | 2702463.1092 | 1148162.4764
23 | 2702426.3919 | 1148210.1678 | 2702434.5951 | 1148209.5467
24 | 2702464.5584 | 1148228.0654 | 2702458.3019 | 1148223.8008
25 | 2702465.795 | 1148153.2318 | 2702463.1092 | 1148162.4764
26 | 2702476.8894 | 1148122.1519 | 2702470.7203 | 1148136.2789 | 2702468.5463 | 1148143.7619
27 | 2702478.6021 | 1148118.23 | 2702476.8894 | 1148122.1519
28 | 2702465.795 | 1148153.2318 | 2702468.5463 | 1148143.7619
29 | 2702478.6021 | 1148118.23 | 2702481.5434 | 1148111.4945
30 | 2702491.0169 | 1148092.7078 | 2702483.8916 | 1148106.1171 | 2702481.5434 | 1148111.4945
31 | 2702503.9759 | 1148074.3036 | 2702492.8027 | 1148089.3469 | 2702491.0169 | 1148092.7078
32 | 2702504.0153 | 1148074.2506 | 2702503.9759 | 1148074.3036
33 | 2702570.8348 | 1147981.2573 | 2702570.1151 | 1147983.1504 | 2702560.1009 | 1147997.0221 | 2702518.5636 | 1148054.6631 | 2702504.0153 | 1148074.2506
34 | 2702476.6062 | 1148228.0936 | 2702474.7636 | 1148228.6726 | 2702464.5584 | 1148228.0654 | 2702464.5584 | 1148228.0654
35 | 2702519.6771 | 1148213.3481 | 2702504.8691 | 1148217.1327 | 2702485.6054 | 1148225.2659 | 2702476.6062 | 1148228.0936
36 | 2702592.8181 | 1148219.7179 | 2702570.1371 | 1148214.6792
37 | 2702592.8181 | 1148219.7179 | 2702606.9946 | 1148222.8673
38 | 2702540.1795 | 1148210.6794 | 2702559.6 | 1148212.3383 | 2702570.1371 | 1148214.6792
39 | 2702663.0483 | 1148267.3393 | 2702640.4871 | 1148242.1004 | 2702628.0359 | 1148230.4144 | 2702616.1859 | 1148224.9092 | 2702606.9946 | 1148222.8673
40 | 2702519.6771 | 1148213.3481 | 2702522.2034 | 1148212.7024 | 2702538.631 | 1148210.5472 | 2702540.1795 | 1148210.6794
41 | 2702670.1382 | 1148275.2708 | 2702663.0483 | 1148267.3393
42 | 2702670.1382 | 1148275.2708 | 2702686.7523 | 1148295.0662 | 2702689.337 | 1148303.8491 | 2702689.117 | 1148316.7536 | 2702685.8952 | 1148344.2103
43 | 2702670.1382 | 1148275.2708 | 2702662.1144 | 1148273.7665 | 2702661.9459 | 1148273.6188
44 | 2702644.0105 | 1148257.9534 | 2702648.7194 | 1148262.031 | 2702661.9459 | 1148273.6188
45 | 2702597.28 | 1148255.5096 | 2702604.0178 | 1148252.0637 | 2702616.0668 | 1148247.6882 | 2702624.1307 | 1148246.3914 | 2702632.6134 | 1148248.9151 | 2702638.5691 | 1148253.2415 | 2702644.0105 | 1148257.9534
46 | 2702557.0015 | 1148275.019 | 2702548.2866 | 1148280.4444 | 2702544.954 | 1148284.8139
47 | 2702597.28 | 1148255.5096 | 2702592.1939 | 1148258.1107 | 2702563.6885 | 1148270.8559 | 2702557.0015 | 1148275.019
48 | 2702770.3813 | 1148240.1018 | 2702773.1334 | 1148243.1055 | 2702777.2281 | 1148245.31
49 | 2702770.3813 | 1148240.1018 | 2702767.0812 | 1148236.5001
50 | 2702777.2281 | 1148245.31 | 2702777.2281 | 1148245.31 | 2702787.3448 | 1148246.1913
51 | 2702767.0812 | 1148236.5001 | 2702758.5727 | 1148227.2139 | 2702757.2439 | 1148225.7146
52 | 2702810.4204 | 1148240.4208 | 2702808.7252 | 1148241.8227 | 2702804.8298 | 1148245.0472 | 2702797.3833 | 1148247.0659 | 2702787.3448 | 1148246.1913
53 | 2702757.2439 | 1148225.7146 | 2702754.8322 | 1148222.9935
54 | 2702815.4565 | 1148236.2562 | 2702810.4204 | 1148240.4208
55 | 2702747.9171 | 1148215.1913 | 2702754.8322 | 1148222.9935
56 | 2702815.4565 | 1148236.2562 | 2702819.3496 | 1148234.9662 | 2702834.1481 | 1148229.7871
57 | 2702815.4565 | 1148236.2562 | 2702823.763 | 1148229.7493 | 2702820.3383 | 1148222.0416 | 2702812.08 | 1148223.0236 | 2702811.6358 | 1148221.9363
58 | 2702747.9171 | 1148215.1913 | 2702753.2543 | 1148211.6467 | 2702764.491 | 1148209.8705 | 2702765.5468 | 1148209.8885
59 | 2702834.1481 | 1148229.7871 | 2702841.7348 | 1148227.132 | 2702844.1931 | 1148225.7601
60 | 2702785.6103 | 1148208.2517 | 2702788.0072 | 1148203.6792
61 | 2702785.6103 | 1148208.2517 | 2702776.3545 | 1148210.0729 | 2702765.5468 | 1148209.8885
62 | 2702853.8555 | 1148220.3678 | 2702844.1931 | 1148225.7601
63 | 2702853.8555 | 1148220.3678 | 2702866.5014 | 1148217.4818 | 2702884.8272 | 1148214.8262 | 2702901.6504 | 1148213.3568 | 2702910.5722 | 1148214.4543 | 2702911.1301 | 1148224.0587 | 2702904.7696 | 1148236.2468
64 | 2702904.7696 | 1148236.2468 | 2702899.9774 | 1148242.5022 | 2702882.3901 | 1148259.0347 | 2702863.5806 | 1148274.7348 | 2702833.5468 | 1148295.9914 | 2702809.3296 | 1148314.8791 | 2702803.8791 | 1148318.4061
65 | 2702749.2279 | 1148336.0344 | 2702759.0891 | 1148337.4368 | 2702770.6432 | 1148336.3997 | 2702790.1619 | 1148327.2823 | 2702803.8791 | 1148318.4061

## bus_geodata
| x | y | coords
0 | 2702788.5004 | 1148055.8805
1 | 2702814.3107 | 1148072.0551
2 | 2702724.6901 | 1148073.2948
3 | 2702778.203 | 1148140.4382
4 | 2702655.4163 | 1147963.637
5 | 2702780.1242 | 1148159.5305
6 | 2702789.0242 | 1148201.7392
7 | 2702575.7637 | 1148109.875
8 | 2702569.8489 | 1148071.3348
9 | 2702590.8431 | 1148123.6362
10 | 2702571.1045 | 1148051.7586
11 | 2702624.27 | 1148151.843
12 | 2702692.6193 | 1148184.2851
13 | 2702729.2575 | 1148202.2406
14 | 2702680.7109 | 1148185.7044
15 | 2702596.4997 | 1148164.2
16 | 2702620.4865 | 1148175.8918
17 | 2702548.9902 | 1148163.3697
18 | 2702497.7375 | 1148191.2421
19 | 2702455.0066 | 1148208.0015
20 | 2702434.5951 | 1148209.5467
21 | 2702458.3019 | 1148223.8008
22 | 2702463.1092 | 1148162.4764
23 | 2702476.8894 | 1148122.1519
24 | 2702468.5463 | 1148143.7619
25 | 2702478.6021 | 1148118.23
26 | 2702465.795 | 1148153.2318
27 | 2702481.5434 | 1148111.4945
28 | 2702491.0169 | 1148092.7078
29 | 2702503.9759 | 1148074.3036
30 | 2702504.0153 | 1148074.2506
31 | 2702570.8348 | 1147981.2573
32 | 2702426.3919 | 1148210.1678
33 | 2702464.5584 | 1148228.0654
34 | 2702476.6062 | 1148228.0936
35 | 2702592.8181 | 1148219.7179
36 | 2702570.1371 | 1148214.6792
37 | 2702606.9946 | 1148222.8673
38 | 2702540.1795 | 1148210.6794
39 | 2702663.0483 | 1148267.3393
40 | 2702519.6771 | 1148213.3481
41 | 2702670.1382 | 1148275.2708
42 | 2702685.8952 | 1148344.2103
43 | 2702661.9459 | 1148273.6188
44 | 2702644.0105 | 1148257.9534
45 | 2702544.954 | 1148284.8139
46 | 2702557.0015 | 1148275.019
47 | 2702597.28 | 1148255.5096
48 | 2702770.3813 | 1148240.1018
49 | 2702777.2281 | 1148245.31
50 | 2702767.0812 | 1148236.5001
51 | 2702787.3448 | 1148246.1914
52 | 2702757.2439 | 1148225.7146
53 | 2702810.4204 | 1148240.4208
54 | 2702754.8322 | 1148222.9935
55 | 2702815.4565 | 1148236.2562
56 | 2702747.9171 | 1148215.1913
57 | 2702834.1481 | 1148229.7871
58 | 2702811.6358 | 1148221.9363
59 | 2702788.0072 | 1148203.6792
60 | 2702785.6103 | 1148208.2517
61 | 2702765.5468 | 1148209.8885
62 | 2702844.1931 | 1148225.7601
63 | 2702853.8555 | 1148220.3678
64 | 2702904.7696 | 1148236.2468
65 | 2702803.8791 | 1148318.4061
66 | 2702749.2279 | 1148336.0344
67 | 2702692.6193 | 1148184.2851

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1