## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5071-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5071-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5071-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5071-2_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5071-2_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5071-2_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5071-2_0_3_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_5071-2_0_3_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_5071-2_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_5071-2_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_5071-2_0_3_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_5071-2_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_5071-2_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5071-2_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5071-2_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5071-2_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5071-2_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5071-2_0_3_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_5071-2_0_3_node_86 | 0.4 | n |  | TRUE
19 | bus_LV_5071-2_0_3_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_5071-2_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_5071-2_0_3_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_5071-2_0_3_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_5071-2_0_3_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_5071-2_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_5071-2_0_3_node_87 | 0.4 | n |  | TRUE
26 | bus_LV_5071-2_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_5071-2_0_3_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_5071-2_0_3_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_5071-2_0_3_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_5071-2_0_3_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_5071-2_0_3_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_5071-2_0_3_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_5071-2_0_3_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_5071-2_0_3_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_5071-2_0_3_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_5071-2_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_5071-2_0_3_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_5071-2_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_5071-2_0_3_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_5071-2_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_5071-2_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5071-2_0_3_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_5071-2_0_3_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_5071-2_0_3_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_5071-2_0_3_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_5071-2_0_3_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_5071-2_0_3_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_5071-2_0_3_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_5071-2_0_3_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_5071-2_0_3_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_5071-2_0_3_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_5071-2_0_3_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_5071-2_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_5071-2_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_5071-2_0_3_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_5071-2_0_3_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_5071-2_0_3_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_5071-2_0_3_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_5071-2_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_5071-2_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_5071-2_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_5071-2_0_3_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_5071-2_0_3_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_5071-2_0_3_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_5071-2_0_3_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_5071-2_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_5071-2_0_3_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_5071-2_0_3_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_5071-2_0_3_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_5071-2_0_3_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_5071-2_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_5071-2_0_3_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_5071-2_0_3_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_5071-2_0_3_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_5071-2_0_3_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_5071-2_0_3_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_5071-2_0_3_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5071-2_0_3_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_5071-2_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_5071-2_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_5071-2_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_5071-2_0_3_node_59 | 0.4 | n |  | TRUE
83 | bus_LV_5071-2_0_3_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_5071-2_0_3_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_5071-2_0_3_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_5071-2_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_5071-2_0_3_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_5071-2_0_3_node_67 | 0.4 | n |  | TRUE
89 | bus_MV_188_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5071-2_0_3_load_0 | 0 | 0.0039138 | 0.00098089 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5071-2_0_3_load_2 | 2 | 0.0042628 | 0.0010684 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5071-2_0_3_load_4 | 3 | 0.0042173 | 0.001057 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5071-2_0_3_load_5 | 4 | 0.0025659 | 0.00064309 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5071-2_0_3_load_3 | 5 | 0.003434 | 0.00086063 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5071-2_0_3_load_32 | 6 | 0.0025794 | 0.00064645 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5071-2_0_3_load_83 | 7 | 0.0038967 | 0.0009766 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5071-2_0_3_load_18 | 9 | 0.0035153 | 0.00088101 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5071-2_0_3_load_27 | 10 | 0.0031711 | 0.00079476 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5071-2_0_3_load_31 | 11 | 0.0039514 | 0.00099031 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5071-2_0_3_load_6 | 12 | 0.003232 | 0.00081002 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5071-2_0_3_load_7 | 13 | 0.0025468 | 0.00063828 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5071-2_0_3_load_8 | 14 | 0.003118 | 0.00078145 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5071-2_0_3_load_9 | 15 | 0.0020104 | 0.00050386 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5071-2_0_3_load_86 | 18 | 0.0021594 | 0.00054121 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5071-2_0_3_load_36 | 19 | 0.0015457 | 0.00038738 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5071-2_0_3_load_25 | 20 | 0.0011861 | 0.00029726 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5071-2_0_3_load_74 | 21 | 0.0028476 | 0.00071367 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5071-2_0_3_load_63 | 22 | 0.0019208 | 0.00048139 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5071-2_0_3_load_35 | 23 | 0.0021177 | 0.00053075 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5071-2_0_3_load_23 | 24 | 0.0013148 | 0.00032951 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5071-2_0_3_load_87 | 25 | 0.002076 | 0.0005203 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5071-2_0_3_load_39 | 26 | 0.0016927 | 0.00042424 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5071-2_0_3_load_11 | 28 | 0.0046574 | 0.0011673 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5071-2_0_3_load_12 | 29 | 0.0023627 | 0.00059214 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5071-2_0_3_load_64 | 30 | 0.0021004 | 0.0005264 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5071-2_0_3_load_78 | 31 | 0.0026336 | 0.00066003 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5071-2_0_3_load_14 | 32 | 0.0025876 | 0.00064852 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5071-2_0_3_load_15 | 33 | 0.0025135 | 0.00062995 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5071-2_0_3_load_16 | 34 | 0.0020327 | 0.00050945 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5071-2_0_3_load_17 | 35 | 0.0030485 | 0.00076403 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5071-2_0_3_load_57 | 37 | 0.0030602 | 0.00076696 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5071-2_0_3_load_19 | 39 | 0.0026219 | 0.00065712 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5071-2_0_3_load_20 | 40 | 0.0020827 | 0.00052197 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5071-2_0_3_load_71 | 42 | 0.0027412 | 0.00068702 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5071-2_0_3_load_61 | 43 | 0.008113 | 0.0020333 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5071-2_0_3_load_22 | 44 | 0.0017798 | 0.00044606 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5071-2_0_3_load_70 | 45 | 0.0039814 | 0.00099783 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5071-2_0_3_load_60 | 46 | 0.0037083 | 0.00092938 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5071-2_0_3_load_62 | 47 | 0.0022758 | 0.00057037 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5071-2_0_3_load_54 | 48 | 0.0014415 | 0.00036128 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5071-2_0_3_load_55 | 49 | 0.0027292 | 0.000684 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5071-2_0_3_load_24 | 50 | 0.0025846 | 0.00064775 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5071-2_0_3_load_88 | 51 | 0.0026171 | 0.00065591 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5071-2_0_3_load_85 | 52 | 0.0017259 | 0.00043256 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5071-2_0_3_load_41 | 53 | 0.0024554 | 0.00061539 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5071-2_0_3_load_45 | 54 | 0.0037789 | 0.00094708 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5071-2_0_3_load_28 | 55 | 0.002133 | 0.00053458 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5071-2_0_3_load_30 | 56 | 0.0020164 | 0.00050536 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5071-2_0_3_load_33 | 57 | 0.0019839 | 0.00049721 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5071-2_0_3_load_34 | 58 | 0.0024247 | 0.00060769 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5071-2_0_3_load_48 | 59 | 0.0020696 | 0.00051869 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5071-2_0_3_load_43 | 60 | 0.0019383 | 0.00048578 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5071-2_0_3_load_44 | 61 | 0.0043895 | 0.0011001 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5071-2_0_3_load_82 | 62 | 0.0037583 | 0.00094191 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5071-2_0_3_load_40 | 64 | 0.0016931 | 0.00042433 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5071-2_0_3_load_46 | 65 | 0.0029309 | 0.00073454 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5071-2_0_3_load_56 | 66 | 0.0032716 | 0.00081993 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5071-2_0_3_load_79 | 68 | 0.0021764 | 0.00054547 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5071-2_0_3_load_66 | 69 | 0.0022356 | 0.00056029 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5071-2_0_3_load_58 | 70 | 0.0017295 | 0.00043345 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5071-2_0_3_load_65 | 71 | 0.0017412 | 0.00043638 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5071-2_0_3_load_49 | 72 | 0.0019008 | 0.00047639 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5071-2_0_3_load_50 | 73 | 0.0025593 | 0.00064142 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5071-2_0_3_load_51 | 74 | 0.0019872 | 0.00049803 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5071-2_0_3_load_52 | 75 | 0.0025328 | 0.00063478 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5071-2_0_3_load_53 | 76 | 0.0020439 | 0.00051224 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5071-2_0_3_load_75 | 77 | 0.0068499 | 0.0017168 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5071-2_0_3_load_81 | 78 | 0.0025249 | 0.00063281 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5071-2_0_3_load_76 | 79 | 0.002874 | 0.00072028 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5071-2_0_3_load_69 | 80 | 0.0013653 | 0.00034217 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5071-2_0_3_load_80 | 81 | 0.0023291 | 0.00058373 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5071-2_0_3_load_59 | 82 | 0.0016221 | 0.00040653 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5071-2_0_3_load_68 | 83 | 0.0020125 | 0.00050437 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5071-2_0_3_load_73 | 84 | 0.0031431 | 0.00078774 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5071-2_0_3_load_72 | 85 | 0.0026634 | 0.00066751 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5071-2_0_3_load_84 | 86 | 0.0019462 | 0.00048775 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5071-2_0_3_load_77 | 87 | 0.0017929 | 0.00044933 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5071-2_0_3_load_67 | 88 | 0.0033442 | 0.00083813 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5071-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.052226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5071-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.040137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5071-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5071-2_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.022057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5071-2_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.026006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5071-2_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.017912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5071-2_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0052606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5071-2_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.02162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5071-2_0_3_line_8 | NAYY 4x150 SE | 6 | 11 | 0.018409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5071-2_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0069418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5071-2_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.025699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5071-2_0_3_line_11 | NAYY 4x150 SE | 9 | 34 | 0.027523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5071-2_0_3_line_12 | NAYY 4x150 SE | 10 | 55 | 0.040174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5071-2_0_3_line_13 | NAYY 4x150 SE | 11 | 57 | 0.0095555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5071-2_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.011788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5071-2_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.039507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_5071-2_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0046278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_5071-2_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.010289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_5071-2_0_3_line_18 | NAYY 4x150 SE | 15 | 20 | 0.014531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_5071-2_0_3_line_19 | NAYY 4x150 SE | 16 | 21 | 0.038573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_5071-2_0_3_line_20 | NAYY 4x150 SE | 16 | 22 | 0.013687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_5071-2_0_3_line_21 | NAYY 4x150 SE | 16 | 23 | 0.032865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_5071-2_0_3_line_22 | NAYY 4x150 SE | 17 | 18 | 0.031556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_5071-2_0_3_line_23 | NAYY 4x150 SE | 17 | 19 | 0.024438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_5071-2_0_3_line_24 | NAYY 4x150 SE | 18 | 25 | 0.039473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_5071-2_0_3_line_25 | NAYY 4x150 SE | 19 | 23 | 0.027295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_5071-2_0_3_line_26 | NAYY 4x150 SE | 20 | 24 | 0.036253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_5071-2_0_3_line_27 | NAYY 4x150 SE | 21 | 26 | 0.016813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_5071-2_0_3_line_28 | NAYY 4x150 SE | 22 | 27 | 0.0096815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_5071-2_0_3_line_29 | NAYY 4x150 SE | 24 | 50 | 0.01314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_5071-2_0_3_line_30 | NAYY 4x150 SE | 25 | 51 | 0.0096944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_5071-2_0_3_line_31 | NAYY 4x150 SE | 26 | 63 | 0.0019783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5071-2_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.035257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_5071-2_0_3_line_33 | NAYY 4x150 SE | 27 | 29 | 0.023727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5071-2_0_3_line_34 | NAYY 4x150 SE | 28 | 29 | 0.0076544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5071-2_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.020039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5071-2_0_3_line_36 | NAYY 4x150 SE | 31 | 87 | 0.010987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5071-2_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.017729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5071-2_0_3_line_38 | NAYY 4x150 SE | 32 | 34 | 0.016905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5071-2_0_3_line_39 | NAYY 4x150 SE | 33 | 35 | 0.020122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5071-2_0_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.0091464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_5071-2_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.010493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_5071-2_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.02763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_5071-2_0_3_line_43 | NAYY 4x150 SE | 37 | 66 | 0.025903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5071-2_0_3_line_44 | NAYY 4x150 SE | 38 | 53 | 0.012298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_5071-2_0_3_line_45 | NAYY 4x150 SE | 38 | 50 | 0.010608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_5071-2_0_3_line_46 | NAYY 4x150 SE | 39 | 40 | 0.027208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_5071-2_0_3_line_47 | NAYY 4x150 SE | 39 | 41 | 0.009591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_5071-2_0_3_line_48 | NAYY 4x150 SE | 40 | 42 | 0.032929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_5071-2_0_3_line_49 | NAYY 4x150 SE | 40 | 43 | 0.059525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_5071-2_0_3_line_50 | NAYY 4x150 SE | 41 | 44 | 0.041319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_5071-2_0_3_line_51 | NAYY 4x150 SE | 42 | 45 | 0.029477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5071-2_0_3_line_52 | NAYY 4x150 SE | 43 | 47 | 0.037698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5071-2_0_3_line_53 | NAYY 4x150 SE | 43 | 46 | 0.057868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5071-2_0_3_line_54 | NAYY 4x150 SE | 44 | 48 | 0.038203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5071-2_0_3_line_55 | NAYY 4x150 SE | 48 | 49 | 0.026979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_5071-2_0_3_line_56 | NAYY 4x150 SE | 49 | 84 | 0.056527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_5071-2_0_3_line_57 | NAYY 4x150 SE | 51 | 52 | 0.0095322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5071-2_0_3_line_58 | NAYY 4x150 SE | 52 | 86 | 0.026255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_5071-2_0_3_line_59 | NAYY 4x150 SE | 53 | 54 | 0.032581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_5071-2_0_3_line_60 | NAYY 4x150 SE | 54 | 65 | 0.012119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_5071-2_0_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.017119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5071-2_0_3_line_62 | NAYY 4x150 SE | 56 | 59 | 0.017746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5071-2_0_3_line_63 | NAYY 4x150 SE | 57 | 58 | 0.019174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5071-2_0_3_line_64 | NAYY 4x150 SE | 58 | 60 | 0.011066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5071-2_0_3_line_65 | NAYY 4x150 SE | 59 | 62 | 0.040284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5071-2_0_3_line_66 | NAYY 4x150 SE | 60 | 61 | 0.024975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5071-2_0_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.010131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5071-2_0_3_line_68 | NAYY 4x150 SE | 65 | 67 | 0.033757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_5071-2_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.017038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5071-2_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.020179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_5071-2_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.054438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_5071-2_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.02225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5071-2_0_3_line_73 | NAYY 4x150 SE | 70 | 82 | 0.030922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_5071-2_0_3_line_74 | NAYY 4x150 SE | 71 | 88 | 0.020488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5071-2_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.035566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_5071-2_0_3_line_76 | NAYY 4x150 SE | 72 | 74 | 0.0087989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_5071-2_0_3_line_77 | NAYY 4x150 SE | 73 | 75 | 0.016072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_5071-2_0_3_line_78 | NAYY 4x150 SE | 74 | 76 | 0.034552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_5071-2_0_3_line_79 | NAYY 4x150 SE | 75 | 77 | 0.014853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5071-2_0_3_line_80 | NAYY 4x150 SE | 76 | 78 | 0.030913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_5071-2_0_3_line_81 | NAYY 4x150 SE | 77 | 79 | 0.0024449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5071-2_0_3_line_82 | NAYY 4x150 SE | 78 | 80 | 0.041397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_5071-2_0_3_line_83 | NAYY 4x150 SE | 78 | 81 | 0.0080464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5071-2_0_3_line_84 | NAYY 4x150 SE | 80 | 83 | 0.035738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_5071-2_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.0019266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_5071-2_0_3_line_86 | NAYY 4x150 SE | 84 | 86 | 0.024615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_5071-2_0_3_line_87 | NAYY 4x150 SE | 84 | 85 | 0.032692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5071-2_0_3_trafo_57 | 0.25 MVA 20/0.4 kV | 89 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2703040.4114 | 1148355.3724 | 2703041.9179 | 1148339.5882 | 2703046.7749 | 1148320.5703 | 2703051.9849 | 1148304.6603
1 | 2703012.8433 | 1148295.7782 | 2703051.9849 | 1148304.6603
2 | 2703040.4114 | 1148355.3724 | 2703033.7836 | 1148361.6186 | 2703015.4939 | 1148371.1676 | 2703015.4939 | 1148371.1676
3 | 2703040.4114 | 1148355.3724 | 2703043.8496 | 1148359.1224 | 2703050.898 | 1148356.5746 | 2703059.319 | 1148352.232
4 | 2702987.8407 | 1148302.8826 | 2702989.8152 | 1148302.5521 | 2703012.8433 | 1148295.7782
5 | 2702998.0547 | 1148375.2557 | 2703015.4939 | 1148371.1676
6 | 2703059.319 | 1148352.232 | 2703063.9945 | 1148349.8209
7 | 2702966.4082 | 1148305.4652 | 2702975.3494 | 1148304.9732 | 2702987.8407 | 1148302.8826
8 | 2702998.0547 | 1148375.2557 | 2702984.4625 | 1148378.442 | 2702980.0728 | 1148379.163
9 | 2702966.4082 | 1148305.4652 | 2702970.8743 | 1148302.5619 | 2702972.0044 | 1148301.4083
10 | 2702966.4082 | 1148305.4652 | 2702942.7748 | 1148315.5602
11 | 2702987.4207 | 1148278.8995 | 2702979.0589 | 1148294.2076 | 2702972.0044 | 1148301.4083
12 | 2702906.2756 | 1148332.2602 | 2702915.652 | 1148327.1455 | 2702942.7748 | 1148315.5602
13 | 2702970.6437 | 1148380.7118 | 2702980.0728 | 1148379.163
14 | 2702959.2724 | 1148217.5902 | 2702970.5513 | 1148214.1636
15 | 2702959.2724 | 1148217.5902 | 2702953.4244 | 1148219.3668 | 2702944.8657 | 1148220.8438 | 2702936.7462 | 1148220.4383 | 2702920.7033 | 1148216.2506
16 | 2702975.0637 | 1148213.2227 | 2702972.7577 | 1148213.4933 | 2702970.5513 | 1148214.1636
17 | 2702910.5722 | 1148214.4543 | 2702920.7033 | 1148216.2506 | 2702920.7033 | 1148216.2506
18 | 2702975.0637 | 1148213.2227 | 2702981.8547 | 1148212.4258 | 2702989.5481 | 1148212.371
19 | 2702910.5722 | 1148214.4543 | 2702901.6504 | 1148213.3568 | 2702884.8272 | 1148214.8262 | 2702872.2614 | 1148216.6471
20 | 2702910.5722 | 1148214.4543 | 2702911.1301 | 1148224.0587 | 2702909.2488 | 1148227.6637
21 | 2702910.5722 | 1148214.4543 | 2702898.4802 | 1148183.8949
22 | 2702943.5372 | 1148160.1383 | 2702949.7531 | 1148157.7763 | 2702964.5116 | 1148154.8821 | 2702974.1351 | 1148152.7038
23 | 2702943.5372 | 1148160.1383 | 2702932.1032 | 1148170.7609 | 2702923.7863 | 1148173.729
24 | 2702974.1351 | 1148152.7038 | 2702986.4334 | 1148149.9201 | 2703010.6501 | 1148138.292
25 | 2702898.4802 | 1148183.8949 | 2702910.1323 | 1148178.6019 | 2702923.7863 | 1148173.729
26 | 2702989.5481 | 1148212.371 | 2702998.3783 | 1148212.308 | 2703025.7333 | 1148214.237
27 | 2702872.2614 | 1148216.6471 | 2702866.5014 | 1148217.4818 | 2702855.7842 | 1148219.9277
28 | 2702904.7696 | 1148236.2468 | 2702909.2488 | 1148227.6637
29 | 2703038.8388 | 1148215.1807 | 2703036.2608 | 1148214.9793 | 2703025.7333 | 1148214.237
30 | 2703010.6501 | 1148138.292 | 2703013.1521 | 1148137.0907 | 2703019.1047 | 1148133.5639
31 | 2702853.8555 | 1148220.3678 | 2702855.7842 | 1148219.9277
32 | 2702904.7696 | 1148236.2468 | 2702899.9774 | 1148242.5022 | 2702882.3901 | 1148259.0347 | 2702879.9033 | 1148261.1104
33 | 2702904.7696 | 1148236.2468 | 2702906.806 | 1148242.9302 | 2702915.0525 | 1148257.4984
34 | 2702918.8232 | 1148264.1597 | 2702915.0525 | 1148257.4984
35 | 2702864.5194 | 1148273.9511 | 2702879.9033 | 1148261.1104
36 | 2702855.6104 | 1148280.3757 | 2702863.5806 | 1148274.7348 | 2702864.5194 | 1148273.9511
37 | 2702995.5434 | 1148264.0734 | 2702998.6818 | 1148258.3535 | 2703005.9735 | 1148251.4626 | 2703007.0004 | 1148250.897
38 | 2702987.4207 | 1148278.8995 | 2702990.088 | 1148274.0165 | 2702995.5434 | 1148264.0734
39 | 2703024.54 | 1148241.0439 | 2703022.3807 | 1148242.4261 | 2703007.0004 | 1148250.897
40 | 2703032.2433 | 1148236.1129 | 2703024.54 | 1148241.0439
41 | 2703032.2433 | 1148236.1129 | 2703041.2222 | 1148235.6661 | 2703042.6686 | 1148235.2557
42 | 2703032.2433 | 1148236.1129 | 2703039.7655 | 1148231.9166 | 2703045.6412 | 1148228.7817 | 2703047.5818 | 1148226.2466 | 2703049.835 | 1148221.1486 | 2703048.9504 | 1148217.6312
43 | 2703068.2499 | 1148232.341 | 2703062.2942 | 1148232.3242 | 2703050.1291 | 1148233.139 | 2703042.6686 | 1148235.2557
44 | 2703048.9504 | 1148217.6312 | 2703058.6836 | 1148214.3956 | 2703060.6804 | 1148213.9708
45 | 2703048.9504 | 1148217.6312 | 2703045.1895 | 1148215.6768 | 2703038.8388 | 1148215.1807
46 | 2703214.2839 | 1148137.9507 | 2703227.188 | 1148135.4398 | 2703240.8194 | 1148131.986
47 | 2703204.8695 | 1148139.7826 | 2703214.2839 | 1148137.9507
48 | 2703240.8194 | 1148131.986 | 2703253.6604 | 1148162.3076
49 | 2703240.8194 | 1148131.986 | 2703216.2909 | 1148077.7497
50 | 2703204.8695 | 1148139.7826 | 2703163.6641 | 1148142.8393
51 | 2703282.9809 | 1148160.1587 | 2703269.3413 | 1148160.0884 | 2703253.6604 | 1148162.3076
52 | 2703179.082 | 1148071.8255 | 2703183.6133 | 1148072.2316 | 2703208.6679 | 1148076.7744 | 2703216.2909 | 1148077.7497
53 | 2703216.2909 | 1148077.7497 | 2703274.1236 | 1148075.7205
54 | 2703163.6641 | 1148142.8393 | 2703125.5659 | 1148145.6654
55 | 2703099.0027 | 1148150.0888 | 2703117.1949 | 1148146.2864 | 2703125.5659 | 1148145.6654
56 | 2703099.0027 | 1148150.0888 | 2703070.2378 | 1148101.428
57 | 2703027.3056 | 1148128.705 | 2703027.3056 | 1148128.705 | 2703019.1047 | 1148133.5639
58 | 2703027.3056 | 1148128.705 | 2703045.6381 | 1148116.6997 | 2703049.3223 | 1148114.4042
59 | 2703092.5488 | 1148207.1918 | 2703060.6804 | 1148213.9708
60 | 2703092.5488 | 1148207.1918 | 2703104.4022 | 1148204.6704
61 | 2702906.2756 | 1148332.2602 | 2702901.9758 | 1148334.6057 | 2702892.2629 | 1148342.0223
62 | 2702892.2629 | 1148342.0223 | 2702886.0534 | 1148346.7638 | 2702878.7567 | 1148353.5033
63 | 2702970.6437 | 1148380.7118 | 2702951.7235 | 1148383.8194
64 | 2702940.8038 | 1148385.613 | 2702951.7235 | 1148383.8194
65 | 2702878.7567 | 1148353.5033 | 2702855.9152 | 1148374.6004 | 2702849.2656 | 1148380.9442
66 | 2702940.8038 | 1148385.613 | 2702936.947 | 1148386.2465 | 2702916.3833 | 1148390.8204
67 | 2702853.8555 | 1148220.3678 | 2702845.0087 | 1148225.3049
68 | 2703136.6815 | 1148195.1951 | 2703125.8966 | 1148199.7357 | 2703111.4129 | 1148203.179 | 2703104.4022 | 1148204.6704
69 | 2703136.6815 | 1148195.1951 | 2703138.7407 | 1148187.5255 | 2703143.2008 | 1148179.5968
70 | 2703136.6815 | 1148195.1951 | 2703146.8703 | 1148190.0329 | 2703155.1815 | 1148187.2755
71 | 2703155.1815 | 1148187.2755 | 2703177.8692 | 1148236.7607
72 | 2703176.7893 | 1148182.1676 | 2703170.6604 | 1148184.0695 | 2703158.0558 | 1148186.3219 | 2703155.1815 | 1148187.2755
73 | 2703208.3637 | 1148231.7654 | 2703190.6109 | 1148234.1093 | 2703177.8692 | 1148236.7607
74 | 2703176.7893 | 1148182.1676 | 2703193.2394 | 1148177.0627 | 2703196.3616 | 1148176.1094
75 | 2703198.1787 | 1148298.5279 | 2703166.2836 | 1148314.0658 | 2703166.204 | 1148314.1018
76 | 2703198.1787 | 1148298.5279 | 2703206.0889 | 1148294.6744
77 | 2703151.559 | 1148320.7219 | 2703166.204 | 1148314.1018
78 | 2703206.0889 | 1148294.6744 | 2703218.4257 | 1148288.6645 | 2703237.1774 | 1148279.597
79 | 2703151.559 | 1148320.7219 | 2703148.9367 | 1148321.9072 | 2703137.6806 | 1148325.996
80 | 2703265.239 | 1148266.6487 | 2703260.8016 | 1148268.4441 | 2703250.002 | 1148273.3956 | 2703237.1774 | 1148279.597
81 | 2703135.3826 | 1148326.8307 | 2703137.6806 | 1148325.996
82 | 2703265.239 | 1148266.6487 | 2703245.8523 | 1148230.0714
83 | 2703272.6979 | 1148263.6307 | 2703265.239 | 1148266.6487
84 | 2703245.8523 | 1148230.0714 | 2703240.7586 | 1148229.2204 | 2703227.7642 | 1148230.0206 | 2703211.2577 | 1148231.3833 | 2703210.2737 | 1148231.5132
85 | 2703208.3637 | 1148231.7654 | 2703210.2737 | 1148231.5132
86 | 2703070.2378 | 1148101.428 | 2703069.3797 | 1148101.9073 | 2703049.3223 | 1148114.4042
87 | 2703070.2378 | 1148101.428 | 2703088.3875 | 1148091.2923 | 2703099.5513 | 1148087.1592

## bus_geodata
| x | y | coords
0 | 2703051.9849 | 1148304.6603
1 | 2703040.4114 | 1148355.3724
2 | 2703012.8433 | 1148295.7782
3 | 2703015.4939 | 1148371.1676
4 | 2703059.319 | 1148352.232
5 | 2702987.8407 | 1148302.8826
6 | 2702998.0547 | 1148375.2557
7 | 2703063.9945 | 1148349.8209
8 | 2702966.4082 | 1148305.4652
9 | 2702972.0044 | 1148301.4083
10 | 2702942.7748 | 1148315.5602
11 | 2702980.0728 | 1148379.163
12 | 2702959.2724 | 1148217.5902
13 | 2702970.5513 | 1148214.1636
14 | 2702920.7033 | 1148216.2506
15 | 2702975.0637 | 1148213.2227
16 | 2702910.5722 | 1148214.4543
17 | 2702943.5372 | 1148160.1383
18 | 2702974.1351 | 1148152.7038
19 | 2702923.7863 | 1148173.729
20 | 2702989.5481 | 1148212.371
21 | 2702872.2614 | 1148216.6471
22 | 2702909.2488 | 1148227.6637
23 | 2702898.4802 | 1148183.8949
24 | 2703025.7333 | 1148214.237
25 | 2703010.6501 | 1148138.292
26 | 2702855.7842 | 1148219.9277
27 | 2702904.7696 | 1148236.2468
28 | 2702918.8232 | 1148264.1597
29 | 2702915.0525 | 1148257.4984
30 | 2702879.9033 | 1148261.1104
31 | 2702864.5194 | 1148273.9511
32 | 2702995.5434 | 1148264.0734
33 | 2703007.0004 | 1148250.897
34 | 2702987.4207 | 1148278.8995
35 | 2703024.54 | 1148241.0439
36 | 2703032.2433 | 1148236.1129
37 | 2703042.6686 | 1148235.2557
38 | 2703048.9504 | 1148217.6312
39 | 2703214.2839 | 1148137.9507
40 | 2703240.8194 | 1148131.986
41 | 2703204.8695 | 1148139.7826
42 | 2703253.6604 | 1148162.3076
43 | 2703216.2909 | 1148077.7497
44 | 2703163.6641 | 1148142.8393
45 | 2703282.9809 | 1148160.1587
46 | 2703274.1236 | 1148075.7205
47 | 2703179.082 | 1148071.8255
48 | 2703125.5659 | 1148145.6654
49 | 2703099.0027 | 1148150.0888
50 | 2703038.8388 | 1148215.1807
51 | 2703019.1047 | 1148133.5639
52 | 2703027.3056 | 1148128.705
53 | 2703060.6804 | 1148213.9708
54 | 2703092.5488 | 1148207.1918
55 | 2702906.2756 | 1148332.2602
56 | 2702892.2629 | 1148342.0223
57 | 2702970.6437 | 1148380.7118
58 | 2702951.7235 | 1148383.8194
59 | 2702878.7567 | 1148353.5033
60 | 2702940.8038 | 1148385.613
61 | 2702916.3833 | 1148390.8204
62 | 2702849.2656 | 1148380.9442
63 | 2702853.8555 | 1148220.3678
64 | 2702845.0087 | 1148225.3049
65 | 2703104.4022 | 1148204.6704
66 | 2703068.2499 | 1148232.341
67 | 2703136.6815 | 1148195.1951
68 | 2703143.2008 | 1148179.5968
69 | 2703155.1815 | 1148187.2755
70 | 2703177.8692 | 1148236.7607
71 | 2703176.7893 | 1148182.1676
72 | 2703198.1787 | 1148298.5279
73 | 2703166.204 | 1148314.1018
74 | 2703206.0889 | 1148294.6744
75 | 2703151.559 | 1148320.7219
76 | 2703237.1774 | 1148279.597
77 | 2703137.6806 | 1148325.996
78 | 2703265.239 | 1148266.6487
79 | 2703135.3826 | 1148326.8307
80 | 2703245.8523 | 1148230.0714
81 | 2703272.6979 | 1148263.6307
82 | 2703208.3637 | 1148231.7654
83 | 2703210.2737 | 1148231.5132
84 | 2703070.2378 | 1148101.428
85 | 2703099.5513 | 1148087.1592
86 | 2703049.3223 | 1148114.4042
87 | 2702855.6104 | 1148280.3757
88 | 2703196.3616 | 1148176.1094
89 | 2703032.2433 | 1148236.1129

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1