## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5072-10_1_2_node_135 | 0.4 | n |  | TRUE
1 | bus_LV_5072-10_1_2_node_27 | 0.4 | n |  | TRUE
2 | bus_LV_5072-10_1_2_node_35 | 0.4 | n |  | TRUE
3 | bus_LV_5072-10_1_2_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_5072-10_1_2_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_5072-10_1_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_5072-10_1_2_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_5072-10_1_2_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_5072-10_1_2_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_5072-10_1_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_5072-10_1_2_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_5072-10_1_2_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_5072-10_1_2_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_5072-10_1_2_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_5072-10_1_2_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_5072-10_1_2_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_5072-10_1_2_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_5072-10_1_2_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_5072-10_1_2_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_5072-10_1_2_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_5072-10_1_2_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_5072-10_1_2_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_5072-10_1_2_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_5072-10_1_2_node_102 | 0.4 | n |  | TRUE
24 | bus_LV_5072-10_1_2_node_101 | 0.4 | n |  | TRUE
25 | bus_LV_5072-10_1_2_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_5072-10_1_2_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_5072-10_1_2_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_5072-10_1_2_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_5072-10_1_2_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_5072-10_1_2_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_5072-10_1_2_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_5072-10_1_2_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_5072-10_1_2_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_5072-10_1_2_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_5072-10_1_2_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_5072-10_1_2_node_83 | 0.4 | n |  | TRUE
37 | bus_LV_5072-10_1_2_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_5072-10_1_2_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_5072-10_1_2_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_5072-10_1_2_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_5072-10_1_2_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_5072-10_1_2_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_5072-10_1_2_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_5072-10_1_2_node_100 | 0.4 | n |  | TRUE
45 | bus_LV_5072-10_1_2_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_5072-10_1_2_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_5072-10_1_2_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_5072-10_1_2_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_5072-10_1_2_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_5072-10_1_2_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_5072-10_1_2_node_97 | 0.4 | n |  | TRUE
52 | bus_LV_5072-10_1_2_node_98 | 0.4 | n |  | TRUE
53 | bus_LV_5072-10_1_2_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_5072-10_1_2_node_106 | 0.4 | n |  | TRUE
55 | bus_LV_5072-10_1_2_node_103 | 0.4 | n |  | TRUE
56 | bus_LV_5072-10_1_2_node_104 | 0.4 | n |  | TRUE
57 | bus_LV_5072-10_1_2_node_105 | 0.4 | n |  | TRUE
58 | bus_LV_5072-10_1_2_node_107 | 0.4 | n |  | TRUE
59 | bus_LV_5072-10_1_2_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_5072-10_1_2_node_110 | 0.4 | n |  | TRUE
61 | bus_LV_5072-10_1_2_node_109 | 0.4 | n |  | TRUE
62 | bus_MV_188_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5072-10_1_2_load_135 | 0 | 0.0040477 | 0.0010144 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5072-10_1_2_load_27 | 1 | 0.0083298 | 0.0020876 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5072-10_1_2_load_16 | 3 | 0.013582 | 0.003404 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5072-10_1_2_load_20 | 5 | 0.0048881 | 0.0012251 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5072-10_1_2_load_39 | 6 | 0.0017175 | 0.00043044 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5072-10_1_2_load_22 | 8 | 0.00054635 | 0.00013693 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5072-10_1_2_load_23 | 9 | 0.00035945 | 9.0088e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5072-10_1_2_load_24 | 10 | 0.00039339 | 9.8594e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5072-10_1_2_load_48 | 11 | 0.00019426 | 4.8686e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5072-10_1_2_load_25 | 12 | 0.0026231 | 0.00065741 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5072-10_1_2_load_26 | 13 | 0.0014904 | 0.00037352 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5072-10_1_2_load_28 | 14 | 0.0021206 | 0.00053147 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5072-10_1_2_load_29 | 15 | 0.0012132 | 0.00030405 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5072-10_1_2_load_30 | 16 | 0.0035829 | 0.00089795 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5072-10_1_2_load_32 | 18 | 0.0026031 | 0.00065239 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5072-10_1_2_load_33 | 19 | 0.0032916 | 0.00082496 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5072-10_1_2_load_36 | 20 | 0.0029718 | 0.00074481 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5072-10_1_2_load_37 | 21 | 0.0030259 | 0.00075836 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5072-10_1_2_load_101 | 24 | 0.0045878 | 0.0011498 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5072-10_1_2_load_41 | 25 | 0.0017708 | 0.0004438 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5072-10_1_2_load_44 | 26 | 0.0032778 | 0.0008215 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5072-10_1_2_load_38 | 27 | 0.00082937 | 0.00020786 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5072-10_1_2_load_40 | 28 | 0.0021455 | 0.00053771 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5072-10_1_2_load_42 | 29 | 0.006578 | 0.0016486 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5072-10_1_2_load_43 | 30 | 0.0026732 | 0.00066997 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5072-10_1_2_load_45 | 31 | 0.00018001 | 4.5114e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5072-10_1_2_load_46 | 32 | 0.00053949 | 0.00013521 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5072-10_1_2_load_47 | 33 | 0.00041767 | 0.00010468 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5072-10_1_2_load_49 | 34 | 0.00031168 | 7.8114e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5072-10_1_2_load_82 | 35 | 0.0015312 | 0.00038377 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5072-10_1_2_load_83 | 36 | 0.00020367 | 5.1046e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5072-10_1_2_load_85 | 38 | 0.0014087 | 0.00035304 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5072-10_1_2_load_87 | 40 | 0.0001438 | 3.6039e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5072-10_1_2_load_88 | 41 | 0.001441 | 0.00036114 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5072-10_1_2_load_89 | 42 | 0.00047114 | 0.00011808 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5072-10_1_2_load_90 | 43 | 0.00060078 | 0.00015057 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5072-10_1_2_load_100 | 44 | 0.0014313 | 0.00035872 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5072-10_1_2_load_96 | 45 | 0.0004685 | 0.00011742 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5072-10_1_2_load_95 | 46 | 0.00037996 | 9.5226e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5072-10_1_2_load_91 | 47 | 0.00045012 | 0.00011281 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5072-10_1_2_load_92 | 48 | 0.00047157 | 0.00011819 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5072-10_1_2_load_93 | 49 | 0.00040462 | 0.00010141 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5072-10_1_2_load_94 | 50 | 0.00029326 | 7.3499e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5072-10_1_2_load_97 | 51 | 0.00055214 | 0.00013838 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5072-10_1_2_load_98 | 52 | 0.0077844 | 0.001951 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5072-10_1_2_load_99 | 53 | 0.0048062 | 0.0012046 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5072-10_1_2_load_103 | 55 | 0.001114 | 0.00027919 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5072-10_1_2_load_104 | 56 | 0.0016274 | 0.00040788 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5072-10_1_2_load_105 | 57 | 0.004469 | 0.00112 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5072-10_1_2_load_107 | 58 | 0.00096187 | 0.00024107 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5072-10_1_2_load_108 | 59 | 0.00099294 | 0.00024885 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5072-10_1_2_load_110 | 60 | 0.0087879 | 0.0022024 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5072-10_1_2_load_109 | 61 | 0.00045995 | 0.00011527 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5072-10_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.038572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5072-10_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.091893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5072-10_1_2_line_2 | NAYY 4x150 SE | 1 | 12 | 0.020837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5072-10_1_2_line_3 | NAYY 4x150 SE | 2 | 23 | 0.046863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5072-10_1_2_line_4 | NAYY 4x150 SE | 2 | 17 | 0.087514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5072-10_1_2_line_5 | NAYY 4x150 SE | 3 | 4 | 0.0088389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5072-10_1_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.020844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5072-10_1_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.15181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5072-10_1_2_line_8 | NAYY 4x150 SE | 6 | 25 | 0.036651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5072-10_1_2_line_9 | NAYY 4x150 SE | 6 | 27 | 0.016996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5072-10_1_2_line_10 | NAYY 4x150 SE | 7 | 8 | 0.041049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5072-10_1_2_line_11 | NAYY 4x150 SE | 7 | 9 | 0.068902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5072-10_1_2_line_12 | NAYY 4x150 SE | 8 | 10 | 0.0041345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5072-10_1_2_line_13 | NAYY 4x150 SE | 10 | 11 | 5.8873e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5072-10_1_2_line_14 | NAYY 4x150 SE | 11 | 34 | 0.015745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5072-10_1_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0021027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5072-10_1_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.027293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5072-10_1_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.010934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5072-10_1_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.053464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5072-10_1_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.071028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5072-10_1_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.010806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5072-10_1_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.0038264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5072-10_1_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0047083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5072-10_1_2_line_23 | NAYY 4x150 SE | 20 | 25 | 0.012143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5072-10_1_2_line_24 | NAYY 4x150 SE | 21 | 26 | 0.014826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5072-10_1_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.017127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5072-10_1_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.020604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5072-10_1_2_line_27 | NAYY 4x150 SE | 23 | 54 | 0.025038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5072-10_1_2_line_28 | NAYY 4x150 SE | 23 | 55 | 0.029145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5072-10_1_2_line_29 | NAYY 4x150 SE | 24 | 53 | 0.024458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5072-10_1_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.014741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5072-10_1_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0010195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5072-10_1_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0044993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5072-10_1_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.11512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5072-10_1_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.014074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5072-10_1_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0051951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5072-10_1_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0073931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5072-10_1_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.010008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5072-10_1_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.02456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5072-10_1_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0066899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5072-10_1_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.056005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5072-10_1_2_line_41 | NAYY 4x150 SE | 37 | 40 | 0.014106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5072-10_1_2_line_42 | NAYY 4x150 SE | 38 | 41 | 0.0066204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5072-10_1_2_line_43 | NAYY 4x150 SE | 39 | 42 | 0.054003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5072-10_1_2_line_44 | NAYY 4x150 SE | 40 | 43 | 0.0095578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5072-10_1_2_line_45 | NAYY 4x150 SE | 41 | 44 | 0.0066561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5072-10_1_2_line_46 | NAYY 4x150 SE | 42 | 45 | 0.033572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5072-10_1_2_line_47 | NAYY 4x150 SE | 43 | 46 | 0.015607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5072-10_1_2_line_48 | NAYY 4x150 SE | 44 | 52 | 0.069655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5072-10_1_2_line_49 | NAYY 4x150 SE | 45 | 51 | 0.025185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5072-10_1_2_line_50 | NAYY 4x150 SE | 46 | 49 | 0.03324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5072-10_1_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.03727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5072-10_1_2_line_52 | NAYY 4x150 SE | 47 | 49 | 0.006383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5072-10_1_2_line_53 | NAYY 4x150 SE | 48 | 50 | 0.02193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5072-10_1_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.025864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5072-10_1_2_line_55 | NAYY 4x150 SE | 54 | 58 | 0.012297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5072-10_1_2_line_56 | NAYY 4x150 SE | 54 | 59 | 0.1126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5072-10_1_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.032484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5072-10_1_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.057158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5072-10_1_2_line_59 | NAYY 4x150 SE | 58 | 60 | 0.031498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5072-10_1_2_line_60 | NAYY 4x150 SE | 60 | 61 | 0.039159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5072-10_1_2_trafo_29 | 0.25 MVA 20/0.4 kV | 62 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2703538.3793 | 1148995.0325 | 2703561.386 | 1149025.9919
1 | 2703538.3793 | 1148995.0325 | 2703531.5241 | 1148985.0307 | 2703527.9948 | 1148981.7013 | 2703523.231 | 1148979.1512 | 2703518.5122 | 1148978.0027 | 2703494.4705 | 1148976.8669 | 2703469.0428 | 1148975.9409 | 2703459.8258 | 1148976.4497 | 2703457.1292 | 1148976.0587 | 2703454.4389 | 1148973.9557
2 | 2703561.386 | 1149025.9919 | 2703579.7011 | 1149016.0563
3 | 2703429.5425 | 1148940.296 | 2703427.3395 | 1148941.1253 | 2703444.4375 | 1148968.2693 | 2703447.5279 | 1148970.3236 | 2703451.1045 | 1148971.3523 | 2703453.7702 | 1148971.7539 | 2703454.4389 | 1148973.9557
4 | 2703418.2748 | 1149038.3314 | 2703414.1603 | 1149022.5619 | 2703413.3379 | 1149017.2333 | 2703413.1602 | 1149012.3717 | 2703413.3986 | 1149008.3287 | 2703413.8291 | 1149006.068 | 2703414.7646 | 1149003.916 | 2703416.0128 | 1149001.8917 | 2703419.1856 | 1148998.255 | 2703424.1076 | 1148993.3808 | 2703430.5746 | 1148987.0878 | 2703432.0665 | 1148984.7341 | 2703433.0626 | 1148982.1829 | 2703438.6858 | 1148982.5463 | 2703446.2022 | 1148978.6506 | 2703454.4389 | 1148973.9557
5 | 2703609.4638 | 1149178.1368 | 2703609.7129 | 1149176.6068 | 2703610.2055 | 1149175.2033 | 2703611.2023 | 1149173.953 | 2703614.6533 | 1149171.5552
6 | 2703609.4638 | 1149178.1368 | 2703595.1718 | 1149179.0362 | 2703588.7705 | 1149180.2924
7 | 2703441.8152 | 1149142.2021 | 2703588.7705 | 1149180.2924
8 | 2703441.8152 | 1149142.2021 | 2703445.298 | 1149141.7607 | 2703448.7681 | 1149140.9308 | 2703451.1645 | 1149139.5711 | 2703453.0568 | 1149137.6023 | 2703454.6727 | 1149134.7394 | 2703455.2423 | 1149131.9807 | 2703455.476 | 1149129.5499 | 2703455.2332 | 1149127.5889 | 2703454.668 | 1149125.6224 | 2703453.4133 | 1149123.5551 | 2703451.5104 | 1149121.6657 | 2703448.4252 | 1149119.756 | 2703445.7346 | 1149119.0204 | 2703445.7346 | 1149119.0204
9 | 2703424.9539 | 1149144.3388 | 2703441.8152 | 1149142.2021
10 | 2703368.4422 | 1149228.864 | 2703358.1084 | 1149227.7972 | 2703354.9552 | 1149226.7203 | 2703351.761 | 1149224.8977 | 2703348.9829 | 1149222.5485 | 2703342.3582 | 1149214.7745 | 2703340.0482 | 1149212.4445 | 2703337.1738 | 1149210.3383 | 2703334.561 | 1149208.9589
11 | 2703368.4422 | 1149228.864 | 2703363.2391 | 1149231.3319 | 2703337.2758 | 1149240.2034 | 2703323.8377 | 1149259.3852 | 2703313.0918 | 1149265.3396
12 | 2703330.9047 | 1149207.0285 | 2703334.561 | 1149208.9589
13 | 2703330.9047 | 1149207.0285 | 2703330.8527 | 1149207.001
14 | 2703330.8527 | 1149207.001 | 2703328.0105 | 1149205.5004 | 2703324.743 | 1149203.4764 | 2703322.0611 | 1149200.4396 | 2703320.0107 | 1149197.3025 | 2703319.7011 | 1149196.4697
15 | 2703579.7011 | 1149016.0563 | 2703581.5494 | 1149015.0536 | 2703581.5494 | 1149015.0536
16 | 2703593.4801 | 1148992.0552 | 2703590.7573 | 1149006.5843 | 2703581.5494 | 1149015.0536
17 | 2703450.1213 | 1149076.0018 | 2703448.8135 | 1149078.8145 | 2703445.9159 | 1149082.0779 | 2703443.2153 | 1149084.2531
18 | 2703418.2748 | 1149038.3314 | 2703420.8472 | 1149040.5881 | 2703431.3507 | 1149051.0194 | 2703434.7099 | 1149053.5231 | 2703438.2328 | 1149055.4403 | 2703445.2437 | 1149059.0629 | 2703447.602 | 1149060.8156 | 2703449.4151 | 1149063.0148 | 2703450.4612 | 1149065.601 | 2703451.0525 | 1149068.7354 | 2703451.01 | 1149072.5482 | 2703450.1213 | 1149076.0018
19 | 2703430.0656 | 1149121.9646 | 2703423.9661 | 1149123.2829 | 2703419.3658 | 1149123.7376 | 2703416.7282 | 1149123.4922 | 2703414.8959 | 1149122.8604 | 2703412.6461 | 1149121.0539 | 2703411.3512 | 1149119.086 | 2703410.5269 | 1149117.0039 | 2703410.4314 | 1149114.5118 | 2703410.7189 | 1149112.0819 | 2703412.0771 | 1149109.4591 | 2703415.0324 | 1149105.9631 | 2703418.6724 | 1149102.4011 | 2703430.6246 | 1149093.3115 | 2703440.7528 | 1149086.2364 | 2703443.2153 | 1149084.2531
20 | 2703418.2748 | 1149038.3314 | 2703411.7462 | 1149046.9428
21 | 2703433.8057 | 1149121.1563 | 2703430.0656 | 1149121.9646
22 | 2703411.7462 | 1149046.9428 | 2703408.9017 | 1149050.6947
23 | 2703433.8057 | 1149121.1563 | 2703442.7899 | 1149119.2145 | 2703445.7346 | 1149119.0204
24 | 2703399.945 | 1149062.5089 | 2703408.9017 | 1149050.6947
25 | 2703413.6212 | 1148946.6046 | 2703417.7594 | 1148944.8856 | 2703423.4039 | 1148942.6699 | 2703427.3395 | 1148941.1253 | 2703429.5425 | 1148940.296
26 | 2703413.6212 | 1148946.6046 | 2703394.4531 | 1148954.1612
27 | 2703429.5425 | 1148940.296 | 2703425.5031 | 1148930.8873 | 2703424.3161 | 1148926.2196 | 2703423.7914 | 1148921.8856 | 2703424.2869 | 1148916.2906
28 | 2703429.5425 | 1148940.296 | 2703456.5883 | 1148929.4363
29 | 2703372.0952 | 1148964.0694 | 2703378.2124 | 1148961.1619 | 2703394.1358 | 1148954.2863 | 2703394.4531 | 1148954.1612
30 | 2703391.0392 | 1149074.2558 | 2703399.945 | 1149062.5089
31 | 2703424.9539 | 1149144.3388 | 2703423.9425 | 1149144.4669
32 | 2703391.0392 | 1149074.2558 | 2703388.321 | 1149077.8412
33 | 2703388.321 | 1149077.8412 | 2703385.5159 | 1149081.5413 | 2703336.3533 | 1149151.6204 | 2703333.4912 | 1149155.5071 | 2703325.1491 | 1149165.0257 | 2703320.474 | 1149170.7471
34 | 2703317.556 | 1149184.1521 | 2703317.81 | 1149176.5072 | 2703318.4435 | 1149174.0498 | 2703319.9169 | 1149171.429 | 2703320.474 | 1149170.7471
35 | 2703317.556 | 1149184.1521 | 2703317.556 | 1149184.1521 | 2703317.8588 | 1149189.3384
36 | 2703317.8588 | 1149189.3384 | 2703317.8588 | 1149189.3384 | 2703318.6379 | 1149193.61 | 2703319.7011 | 1149196.4697
37 | 2703276.626 | 1149028.6977 | 2703268.5681 | 1149034.6334
38 | 2703248.7939 | 1149049.1995 | 2703268.5681 | 1149034.6334
39 | 2703276.626 | 1149028.6977 | 2703282.0123 | 1149024.73
40 | 2703205.3718 | 1149084.6338 | 2703207.7188 | 1149082.1168 | 2703240.2322 | 1149055.4012 | 2703248.7939 | 1149049.1995
41 | 2703248.7939 | 1149049.1995 | 2703257.1601 | 1149060.5561
42 | 2703282.0123 | 1149024.73 | 2703287.3427 | 1149020.8036
43 | 2703205.3718 | 1149084.6338 | 2703196.9529 | 1149093.7065 | 2703187.3897 | 1149105.4725 | 2703172.58 | 1149125.8318 | 2703171.8406 | 1149126.8861
44 | 2703257.1601 | 1149060.5561 | 2703259.669 | 1149063.9618 | 2703261.33 | 1149066.9699 | 2703261.7676 | 1149068.8101
45 | 2703287.3427 | 1149020.8036 | 2703292.7017 | 1149016.8559
46 | 2703171.8406 | 1149126.8861 | 2703152.5634 | 1149154.3723
47 | 2703261.7676 | 1149068.8101 | 2703261.7813 | 1149068.8677 | 2703261.7105 | 1149070.7566 | 2703260.9508 | 1149072.5114 | 2703259.0945 | 1149075.0701 | 2703253.0168 | 1149081.1328
48 | 2703292.7017 | 1149016.8559 | 2703319.2402 | 1148997.307 | 2703337.6765 | 1148984.0591 | 2703349.3858 | 1148976.4008
49 | 2703152.5634 | 1149154.3723 | 2703144.9496 | 1149165.2283 | 2703137.4688 | 1149174.5156
50 | 2703253.0168 | 1149081.1328 | 2703249.9451 | 1149084.1969 | 2703240.528 | 1149092.8077 | 2703229.8656 | 1149103.732 | 2703229.2427 | 1149104.3469
51 | 2703224.7006 | 1149108.8315 | 2703221.2099 | 1149112.2781 | 2703219.5218 | 1149114.4394 | 2703218.9099 | 1149116.0855 | 2703218.7084 | 1149117.9833 | 2703218.93 | 1149119.8438 | 2703219.5396 | 1149121.9111 | 2703220.6216 | 1149123.753 | 2703222.4538 | 1149126.186 | 2703223.8292 | 1149128.8334 | 2703224.4364 | 1149131.0452 | 2703224.3604 | 1149132.7895 | 2703223.515 | 1149135.0653 | 2703221.3531 | 1149138.4304 | 2703219.1236 | 1149140.8576
52 | 2703224.7006 | 1149108.8315 | 2703229.2427 | 1149104.3469
53 | 2703202.3404 | 1149154.8819 | 2703209.3921 | 1149149.855 | 2703216.6577 | 1149143.5421 | 2703219.1236 | 1149140.8576
54 | 2703349.3858 | 1148976.4008 | 2703350.9116 | 1148975.4028 | 2703364.0116 | 1148967.9116 | 2703372.0952 | 1148964.0694
55 | 2703424.2869 | 1148916.2906 | 2703425.4564 | 1148913.0308 | 2703426.9642 | 1148910.1993 | 2703429.4099 | 1148907.3172 | 2703430.751 | 1148906.0482
56 | 2703424.2869 | 1148916.2906 | 2703417.3444 | 1148910.0119 | 2703397.0471 | 1148889.3728 | 2703381.0593 | 1148874.9339 | 2703374.6783 | 1148857.4134 | 2703369.024 | 1148839.6162 | 2703368.4432 | 1148827.8099 | 2703371.184 | 1148825.4602
57 | 2703456.5883 | 1148929.4363 | 2703486.733 | 1148917.3323
58 | 2703539.7955 | 1148896.0873 | 2703517.7799 | 1148904.866 | 2703486.733 | 1148917.3323
59 | 2703453.7853 | 1148884.5656 | 2703440.8235 | 1148896.5173 | 2703430.751 | 1148906.0482
60 | 2703490.0365 | 1148873.314 | 2703483.861 | 1148872.9078 | 2703477.4178 | 1148873.3308 | 2703471.6671 | 1148874.5773 | 2703466.708 | 1148876.2376 | 2703461.0478 | 1148879.3647 | 2703453.7853 | 1148884.5656 | 2703453.7853 | 1148884.5656

## bus_geodata
| x | y | coords
0 | 2703538.3793 | 1148995.0325
1 | 2703561.386 | 1149025.9919
2 | 2703454.4389 | 1148973.9557
3 | 2703614.6533 | 1149171.5552
4 | 2703609.4638 | 1149178.1368
5 | 2703588.7705 | 1149180.2924
6 | 2703441.8152 | 1149142.2021
7 | 2703368.4422 | 1149228.864
8 | 2703334.561 | 1149208.9589
9 | 2703313.0918 | 1149265.3396
10 | 2703330.9047 | 1149207.0285
11 | 2703330.8527 | 1149207.001
12 | 2703579.7011 | 1149016.0563
13 | 2703581.5494 | 1149015.0536
14 | 2703593.4801 | 1148992.0552
15 | 2703450.1213 | 1149076.0018
16 | 2703443.2153 | 1149084.2531
17 | 2703418.2748 | 1149038.3314
18 | 2703430.0656 | 1149121.9646
19 | 2703411.7462 | 1149046.9428
20 | 2703433.8057 | 1149121.1563
21 | 2703408.9017 | 1149050.6947
22 | 2703413.6212 | 1148946.6046
23 | 2703429.5425 | 1148940.296
24 | 2703394.4531 | 1148954.1612
25 | 2703445.7346 | 1149119.0204
26 | 2703399.945 | 1149062.5089
27 | 2703424.9539 | 1149144.3388
28 | 2703423.9425 | 1149144.4669
29 | 2703391.0392 | 1149074.2558
30 | 2703388.321 | 1149077.8412
31 | 2703320.474 | 1149170.7471
32 | 2703317.556 | 1149184.1521
33 | 2703317.8588 | 1149189.3384
34 | 2703319.7011 | 1149196.4697
35 | 2703268.5681 | 1149034.6334
36 | 2703276.626 | 1149028.6977
37 | 2703248.7939 | 1149049.1995
38 | 2703282.0123 | 1149024.73
39 | 2703205.3718 | 1149084.6338
40 | 2703257.1601 | 1149060.5561
41 | 2703287.3427 | 1149020.8036
42 | 2703171.8406 | 1149126.8861
43 | 2703261.7676 | 1149068.8101
44 | 2703292.7017 | 1149016.8559
45 | 2703152.5634 | 1149154.3723
46 | 2703253.0168 | 1149081.1328
47 | 2703224.7006 | 1149108.8315
48 | 2703219.1236 | 1149140.8576
49 | 2703229.2427 | 1149104.3469
50 | 2703202.3404 | 1149154.8819
51 | 2703137.4688 | 1149174.5156
52 | 2703349.3858 | 1148976.4008
53 | 2703372.0952 | 1148964.0694
54 | 2703424.2869 | 1148916.2906
55 | 2703456.5883 | 1148929.4363
56 | 2703486.733 | 1148917.3323
57 | 2703539.7955 | 1148896.0873
58 | 2703430.751 | 1148906.0482
59 | 2703371.184 | 1148825.4602
60 | 2703453.7853 | 1148884.5656
61 | 2703490.0365 | 1148873.314
62 | 2703418.2748 | 1149038.3314

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1