## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5072-23_1_2_node_130 | 0.4 | n |  | TRUE
1 | bus_LV_5072-23_1_2_node_91 | 0.4 | n |  | TRUE
2 | bus_LV_5072-23_1_2_node_131 | 0.4 | n |  | TRUE
3 | bus_LV_5072-23_1_2_node_132 | 0.4 | n |  | TRUE
4 | bus_LV_5072-23_1_2_node_69 | 0.4 | n |  | TRUE
5 | bus_LV_5072-23_1_2_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_5072-23_1_2_node_71 | 0.4 | n |  | TRUE
7 | bus_LV_5072-23_1_2_node_122 | 0.4 | n |  | TRUE
8 | bus_LV_5072-23_1_2_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_5072-23_1_2_node_73 | 0.4 | n |  | TRUE
10 | bus_LV_5072-23_1_2_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_5072-23_1_2_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_5072-23_1_2_node_76 | 0.4 | n |  | TRUE
13 | bus_LV_5072-23_1_2_node_90 | 0.4 | n |  | TRUE
14 | bus_LV_5072-23_1_2_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_5072-23_1_2_node_92 | 0.4 | n |  | TRUE
16 | bus_LV_5072-23_1_2_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_5072-23_1_2_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_5072-23_1_2_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_5072-23_1_2_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_5072-23_1_2_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_5072-23_1_2_node_83 | 0.4 | n |  | TRUE
22 | bus_LV_5072-23_1_2_node_118 | 0.4 | n |  | TRUE
23 | bus_LV_5072-23_1_2_node_115 | 0.4 | n |  | TRUE
24 | bus_LV_5072-23_1_2_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_5072-23_1_2_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_5072-23_1_2_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_5072-23_1_2_node_87 | 0.4 | n |  | TRUE
28 | bus_LV_5072-23_1_2_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_5072-23_1_2_node_93 | 0.4 | n |  | TRUE
30 | bus_LV_5072-23_1_2_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_5072-23_1_2_node_102 | 0.4 | n |  | TRUE
32 | bus_LV_5072-23_1_2_node_110 | 0.4 | n |  | TRUE
33 | bus_LV_5072-23_1_2_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_5072-23_1_2_node_96 | 0.4 | n |  | TRUE
35 | bus_LV_5072-23_1_2_node_105 | 0.4 | n |  | TRUE
36 | bus_LV_5072-23_1_2_node_97 | 0.4 | n |  | TRUE
37 | bus_LV_5072-23_1_2_node_98 | 0.4 | n |  | TRUE
38 | bus_LV_5072-23_1_2_node_99 | 0.4 | n |  | TRUE
39 | bus_LV_5072-23_1_2_node_100 | 0.4 | n |  | TRUE
40 | bus_LV_5072-23_1_2_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_5072-23_1_2_node_103 | 0.4 | n |  | TRUE
42 | bus_LV_5072-23_1_2_node_104 | 0.4 | n |  | TRUE
43 | bus_LV_5072-23_1_2_node_106 | 0.4 | n |  | TRUE
44 | bus_LV_5072-23_1_2_node_107 | 0.4 | n |  | TRUE
45 | bus_LV_5072-23_1_2_node_119 | 0.4 | n |  | TRUE
46 | bus_LV_5072-23_1_2_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_5072-23_1_2_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_5072-23_1_2_node_111 | 0.4 | n |  | TRUE
49 | bus_LV_5072-23_1_2_node_112 | 0.4 | n |  | TRUE
50 | bus_LV_5072-23_1_2_node_113 | 0.4 | n |  | TRUE
51 | bus_LV_5072-23_1_2_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_5072-23_1_2_node_116 | 0.4 | n |  | TRUE
53 | bus_LV_5072-23_1_2_node_117 | 0.4 | n |  | TRUE
54 | bus_LV_5072-23_1_2_node_120 | 0.4 | n |  | TRUE
55 | bus_LV_5072-23_1_2_node_121 | 0.4 | n |  | TRUE
56 | bus_MV_186_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5072-23_1_2_load_130 | 0 | 0.0052475 | 0.0013152 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5072-23_1_2_load_131 | 2 | 0.0017197 | 0.00043099 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5072-23_1_2_load_132 | 3 | 0.0071806 | 0.0017996 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5072-23_1_2_load_69 | 4 | 0.00070274 | 0.00017612 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5072-23_1_2_load_70 | 5 | 0.00059858 | 0.00015002 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5072-23_1_2_load_122 | 7 | 0.0032947 | 0.00082573 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5072-23_1_2_load_72 | 8 | 0.0046785 | 0.0011725 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5072-23_1_2_load_73 | 9 | 0.0013104 | 0.00032842 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5072-23_1_2_load_75 | 10 | 0.0022789 | 0.00057114 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5072-23_1_2_load_78 | 11 | 0.00054294 | 0.00013607 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5072-23_1_2_load_90 | 13 | 0.00095264 | 0.00023875 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5072-23_1_2_load_92 | 15 | 0.0030423 | 0.00076247 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5072-23_1_2_load_79 | 17 | 0.00065154 | 0.00016329 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5072-23_1_2_load_80 | 18 | 0.0090095 | 0.002258 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5072-23_1_2_load_81 | 19 | 0.0014609 | 0.00036614 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5072-23_1_2_load_82 | 20 | 0.0012156 | 0.00030466 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5072-23_1_2_load_83 | 21 | 0.0033008 | 0.00082726 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5072-23_1_2_load_118 | 22 | 0.0035329 | 0.00088543 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5072-23_1_2_load_115 | 23 | 0.0054666 | 0.00137 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5072-23_1_2_load_84 | 24 | 0.0010261 | 0.00025716 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5072-23_1_2_load_85 | 25 | 0.00086217 | 0.00021608 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5072-23_1_2_load_87 | 27 | 0.0021207 | 0.00053151 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5072-23_1_2_load_89 | 28 | 0.0029238 | 0.00073277 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5072-23_1_2_load_94 | 30 | 0.0010639 | 0.00026664 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5072-23_1_2_load_110 | 32 | 0.0016023 | 0.00040159 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5072-23_1_2_load_95 | 33 | 0.0011292 | 0.00028301 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5072-23_1_2_load_96 | 34 | 0.0010425 | 0.00026128 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5072-23_1_2_load_97 | 36 | 0.0020414 | 0.00051163 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5072-23_1_2_load_98 | 37 | 0.0025967 | 0.00065079 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5072-23_1_2_load_99 | 38 | 0.0010495 | 0.00026304 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5072-23_1_2_load_103 | 41 | 0.0017988 | 0.00045083 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5072-23_1_2_load_104 | 42 | 0.0011625 | 0.00029134 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5072-23_1_2_load_106 | 43 | 0.0032029 | 0.00080272 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5072-23_1_2_load_107 | 44 | 0.0024275 | 0.00060839 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5072-23_1_2_load_119 | 45 | 0.0021164 | 0.00053043 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5072-23_1_2_load_108 | 46 | 0.000861 | 0.00021579 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5072-23_1_2_load_109 | 47 | 0.00093987 | 0.00023555 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5072-23_1_2_load_111 | 48 | 0.0032786 | 0.0008217 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5072-23_1_2_load_112 | 49 | 0.0036241 | 0.00090828 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5072-23_1_2_load_113 | 50 | 0.0018815 | 0.00047155 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5072-23_1_2_load_114 | 51 | 0.0019929 | 0.00049946 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5072-23_1_2_load_116 | 52 | 0.0016302 | 0.00040858 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5072-23_1_2_load_117 | 53 | 0.0025346 | 0.00063523 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5072-23_1_2_load_120 | 54 | 0.0011507 | 0.00028839 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5072-23_1_2_load_121 | 55 | 0.0016824 | 0.00042165 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5072-23_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.039725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5072-23_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5072-23_1_2_line_2 | NAYY 4x150 SE | 1 | 12 | 0.14385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5072-23_1_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.0013535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5072-23_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.16794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5072-23_1_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.035479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5072-23_1_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.47927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5072-23_1_2_line_7 | NAYY 4x150 SE | 7 | 55 | 0.028192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5072-23_1_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.0083759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5072-23_1_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.014399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5072-23_1_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.012651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5072-23_1_2_line_11 | NAYY 4x150 SE | 11 | 17 | 0.014213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5072-23_1_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.025012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5072-23_1_2_line_13 | NAYY 4x150 SE | 13 | 16 | 0.022787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5072-23_1_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.054617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5072-23_1_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.027891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5072-23_1_2_line_16 | NAYY 4x150 SE | 15 | 30 | 0.056151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5072-23_1_2_line_17 | NAYY 4x150 SE | 16 | 26 | 0.022994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5072-23_1_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0054915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5072-23_1_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.012967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5072-23_1_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.022888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5072-23_1_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.016077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5072-23_1_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.011735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5072-23_1_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0079952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5072-23_1_2_line_24 | NAYY 4x150 SE | 22 | 54 | 0.0042662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5072-23_1_2_line_25 | NAYY 4x150 SE | 23 | 50 | 0.0041492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5072-23_1_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.057504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5072-23_1_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.010997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5072-23_1_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.027338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5072-23_1_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.03044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5072-23_1_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.013863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5072-23_1_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.004783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5072-23_1_2_line_32 | NAYY 4x150 SE | 29 | 32 | 0.026771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5072-23_1_2_line_33 | NAYY 4x150 SE | 30 | 33 | 0.014943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5072-23_1_2_line_34 | NAYY 4x150 SE | 31 | 43 | 0.0038089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5072-23_1_2_line_35 | NAYY 4x150 SE | 31 | 39 | 0.012729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5072-23_1_2_line_36 | NAYY 4x150 SE | 32 | 48 | 0.015779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5072-23_1_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.056487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5072-23_1_2_line_38 | NAYY 4x150 SE | 35 | 40 | 0.064794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5072-23_1_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.072154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5072-23_1_2_line_40 | NAYY 4x150 SE | 36 | 38 | 0.037709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5072-23_1_2_line_41 | NAYY 4x150 SE | 37 | 39 | 0.010591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5072-23_1_2_line_42 | NAYY 4x150 SE | 38 | 40 | 0.006662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5072-23_1_2_line_43 | NAYY 4x150 SE | 39 | 41 | 0.070513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5072-23_1_2_line_44 | NAYY 4x150 SE | 40 | 42 | 0.0086137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5072-23_1_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.010811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5072-23_1_2_line_46 | NAYY 4x150 SE | 43 | 45 | 0.040278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5072-23_1_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.012753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5072-23_1_2_line_48 | NAYY 4x150 SE | 45 | 53 | 0.0090334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5072-23_1_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.013465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5072-23_1_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.011578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5072-23_1_2_line_51 | NAYY 4x150 SE | 49 | 51 | 0.0036642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5072-23_1_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0063905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5072-23_1_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.0092675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5072-23_1_2_line_54 | NAYY 4x150 SE | 54 | 55 | 0.036818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5072-23_1_2_trafo_85 | 0.25 MVA 20/0.4 kV | 56 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2707577.6535 | 1144291.9488 | 2707574.6319 | 1144295.4527 | 2707571.8366 | 1144298.7606 | 2707550.2484 | 1144320.6824
1 | 2707550.2484 | 1144320.6824 | 2707533.6714 | 1144337.5155
2 | 2707577.6535 | 1144291.9488 | 2707606.2599 | 1144261.4505 | 2707623.3913 | 1144244.712 | 2707626.83 | 1144247.9866 | 2707631.3696 | 1144252.0257 | 2707649.8197 | 1144269.0548 | 2707652.1474 | 1144271.2756 | 2707677.456 | 1144275.6746 | 2707680.8155 | 1144276.5017 | 2707684.0837 | 1144271.6792 | 2707688.0269 | 1144272.0943
3 | 2707532.7217 | 1144338.4798 | 2707533.6714 | 1144337.5155
4 | 2707532.7217 | 1144338.4798 | 2707386.9036 | 1144255.1691
5 | 2708046.5366 | 1144776.0417 | 2708025.3908 | 1144804.5311
6 | 2707774.7543 | 1144381.2865 | 2708046.5366 | 1144776.0417
7 | 2707746.9527 | 1144377.2254 | 2707751.6751 | 1144378.7663 | 2707772.2146 | 1144381.2015 | 2707774.7543 | 1144381.2865
8 | 2707710.3321 | 1144329.9036 | 2707707.2795 | 1144337.7034
9 | 2707702.0317 | 1144351.112 | 2707707.2795 | 1144337.7034
10 | 2707702.0317 | 1144351.112 | 2707701.2604 | 1144353.0828 | 2707697.3413 | 1144362.8617
11 | 2707692.0539 | 1144376.0548 | 2707697.3413 | 1144362.8617
12 | 2707688.0269 | 1144272.0943 | 2707677.7496 | 1144294.8976
13 | 2707668.3869 | 1144315.6718 | 2707677.7496 | 1144294.8976
14 | 2707647.6693 | 1144296.9344 | 2707620.787 | 1144328.1638 | 2707611.9958 | 1144338.2921
15 | 2707647.6693 | 1144296.9344 | 2707668.3869 | 1144315.6718
16 | 2707611.9958 | 1144338.2921 | 2707589.6642 | 1144364.0206 | 2707575.8348 | 1144381.2369
17 | 2707668.3869 | 1144315.6718 | 2707659.9381 | 1144336.0008 | 2707659.553 | 1144336.9056
18 | 2707690.0111 | 1144381.1522 | 2707692.0539 | 1144376.0548
19 | 2707685.1873 | 1144393.1883 | 2707690.0111 | 1144381.1522
20 | 2707685.1873 | 1144393.1883 | 2707693.8144 | 1144400.3136 | 2707700.2044 | 1144403.5854 | 2707703.5986 | 1144404.6133 | 2707704.5563 | 1144404.4404
21 | 2707685.1873 | 1144393.1883 | 2707678.5335 | 1144407.8236
22 | 2707704.5563 | 1144404.4404 | 2707709.7056 | 1144403.5105 | 2707714.391 | 1144399.0022
23 | 2707678.5335 | 1144407.8236 | 2707675.2245 | 1144415.1019
24 | 2707714.391 | 1144399.0022 | 2707714.4135 | 1144398.9806 | 2707716.8116 | 1144395.4901
25 | 2707673.5072 | 1144418.8791 | 2707675.2245 | 1144415.1019
26 | 2707655.2366 | 1144347.0202 | 2707652.5981 | 1144353.2031 | 2707644.0393 | 1144382.7138 | 2707640.7675 | 1144402.4996
27 | 2707659.553 | 1144336.9056 | 2707655.2366 | 1144347.0202
28 | 2707640.7675 | 1144402.4996 | 2707639.352 | 1144411.0595 | 2707632.5922 | 1144428.4542
29 | 2707616.6515 | 1144454.3278 | 2707631.594 | 1144431.0229 | 2707632.5922 | 1144428.4542
30 | 2707609.872 | 1144466.4137 | 2707615.2285 | 1144456.5473 | 2707616.6515 | 1144454.3278
31 | 2707609.872 | 1144466.4137 | 2707610.5253 | 1144471.1506
32 | 2707609.872 | 1144466.4137 | 2707605.562 | 1144465.4584 | 2707597.0142 | 1144468.5301 | 2707591.7636 | 1144468.1695 | 2707586.4297 | 1144464.7166 | 2707585.2043 | 1144463.6027
33 | 2707575.8348 | 1144381.2369 | 2707566.477 | 1144392.8865
34 | 2707610.5253 | 1144471.1506 | 2707613.7469 | 1144469.1186
35 | 2707610.5253 | 1144471.1506 | 2707599.7434 | 1144477.9626
36 | 2707580.2212 | 1144449.5517 | 2707580.2444 | 1144456.0007 | 2707582.0506 | 1144460.736 | 2707585.2043 | 1144463.6027
37 | 2707474.4654 | 1144508.9269 | 2707509.4241 | 1144464.5567
38 | 2707474.4654 | 1144508.9269 | 2707458.2131 | 1144530.3067 | 2707469.4635 | 1144538.1566 | 2707479.1786 | 1144543.3108 | 2707486.7258 | 1144545.48 | 2707492.0217 | 1144544.5961
39 | 2707530.095 | 1144522.6302 | 2707551.2057 | 1144508.639 | 2707590.7903 | 1144483.6211
40 | 2707530.095 | 1144522.6302 | 2707507.5881 | 1144537.5467 | 2707498.4657 | 1144543.1531
41 | 2707599.7434 | 1144477.9626 | 2707590.7903 | 1144483.6211
42 | 2707492.0217 | 1144544.5961 | 2707497.6724 | 1144543.6406 | 2707498.4657 | 1144543.1531
43 | 2707557.0862 | 1144531.8477 | 2707579.1278 | 1144509.5264 | 2707590.2459 | 1144498.9401 | 2707592.682 | 1144495.0811 | 2707595.7552 | 1144490.4106 | 2707598.7176 | 1144486.3498 | 2707600.115 | 1144482.9836 | 2707599.7434 | 1144477.9626
44 | 2707492.0217 | 1144544.5961 | 2707491.875 | 1144547.2174 | 2707490.6049 | 1144549.0515 | 2707487.559 | 1144551.2516
45 | 2707487.559 | 1144551.2516 | 2707478.7953 | 1144557.5819
46 | 2707613.7469 | 1144469.1186 | 2707647.8143 | 1144447.6307
47 | 2707468.457 | 1144565.0495 | 2707478.7953 | 1144557.5819
48 | 2707647.8143 | 1144447.6307 | 2707655.4548 | 1144442.8115
49 | 2707468.457 | 1144565.0495 | 2707457.5421 | 1144572.9336
50 | 2707668.7154 | 1144429.4189 | 2707673.5072 | 1144418.8791
51 | 2707668.7154 | 1144429.4189 | 2707667.1988 | 1144432.7545
52 | 2707663.0401 | 1144437.5614 | 2707666.8908 | 1144433.4321 | 2707667.1988 | 1144432.7545
53 | 2707655.4548 | 1144442.8115 | 2707661.9854 | 1144438.6924 | 2707663.0401 | 1144437.5614
54 | 2707746.9527 | 1144377.2254 | 2707733.7454 | 1144380.3916 | 2707727.2348 | 1144383.4328 | 2707721.6655 | 1144388.4255 | 2707716.8116 | 1144395.4901

## bus_geodata
| x | y | coords
0 | 2707550.2484 | 1144320.6824
1 | 2707577.6535 | 1144291.9488
2 | 2707533.6714 | 1144337.5155
3 | 2707532.7217 | 1144338.4798
4 | 2707386.9036 | 1144255.1691
5 | 2708025.3908 | 1144804.5311
6 | 2708046.5366 | 1144776.0417
7 | 2707774.7543 | 1144381.2865
8 | 2707710.3321 | 1144329.9036
9 | 2707707.2795 | 1144337.7034
10 | 2707702.0317 | 1144351.112
11 | 2707697.3413 | 1144362.8617
12 | 2707688.0269 | 1144272.0943
13 | 2707677.7496 | 1144294.8976
14 | 2707647.6693 | 1144296.9344
15 | 2707611.9958 | 1144338.2921
16 | 2707668.3869 | 1144315.6718
17 | 2707692.0539 | 1144376.0548
18 | 2707690.0111 | 1144381.1522
19 | 2707685.1873 | 1144393.1883
20 | 2707704.5563 | 1144404.4404
21 | 2707678.5335 | 1144407.8236
22 | 2707714.391 | 1144399.0022
23 | 2707675.2245 | 1144415.1019
24 | 2707655.2366 | 1144347.0202
25 | 2707640.7675 | 1144402.4996
26 | 2707659.553 | 1144336.9056
27 | 2707632.5922 | 1144428.4542
28 | 2707616.6515 | 1144454.3278
29 | 2707609.872 | 1144466.4137
30 | 2707575.8348 | 1144381.2369
31 | 2707610.5253 | 1144471.1506
32 | 2707585.2043 | 1144463.6027
33 | 2707566.4769 | 1144392.8865
34 | 2707509.4241 | 1144464.5567
35 | 2707474.4654 | 1144508.9269
36 | 2707530.095 | 1144522.6302
37 | 2707590.7903 | 1144483.6211
38 | 2707498.4657 | 1144543.1531
39 | 2707599.7434 | 1144477.9626
40 | 2707492.0217 | 1144544.5961
41 | 2707557.0862 | 1144531.8477
42 | 2707487.559 | 1144551.2516
43 | 2707613.7469 | 1144469.1186
44 | 2707478.7953 | 1144557.5819
45 | 2707647.8143 | 1144447.6307
46 | 2707468.457 | 1144565.0495
47 | 2707457.5421 | 1144572.9336
48 | 2707580.2212 | 1144449.5517
49 | 2707668.7154 | 1144429.4189
50 | 2707673.5072 | 1144418.8791
51 | 2707667.1988 | 1144432.7545
52 | 2707663.0401 | 1144437.5614
53 | 2707655.4548 | 1144442.8115
54 | 2707716.8116 | 1144395.4901
55 | 2707746.9527 | 1144377.2254
56 | 2707659.553 | 1144336.9056

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1