## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5072-26_1_2_node_10 | 0.4 | n |  | TRUE
1 | bus_LV_5072-26_1_2_node_11 | 0.4 | n |  | TRUE
2 | bus_LV_5072-26_1_2_node_78 | 0.4 | n |  | TRUE
3 | bus_LV_5072-26_1_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_5072-26_1_2_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_5072-26_1_2_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_5072-26_1_2_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_5072-26_1_2_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_5072-26_1_2_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_5072-26_1_2_node_107 | 0.4 | n |  | TRUE
10 | bus_LV_5072-26_1_2_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_5072-26_1_2_node_90 | 0.4 | n |  | TRUE
12 | bus_LV_5072-26_1_2_node_102 | 0.4 | n |  | TRUE
13 | bus_LV_5072-26_1_2_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_5072-26_1_2_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_5072-26_1_2_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_5072-26_1_2_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_5072-26_1_2_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_5072-26_1_2_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_5072-26_1_2_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_5072-26_1_2_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_5072-26_1_2_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_5072-26_1_2_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_5072-26_1_2_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_5072-26_1_2_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_5072-26_1_2_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_5072-26_1_2_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_5072-26_1_2_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_5072-26_1_2_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_5072-26_1_2_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_5072-26_1_2_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_5072-26_1_2_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_5072-26_1_2_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_5072-26_1_2_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_5072-26_1_2_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_5072-26_1_2_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_5072-26_1_2_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_5072-26_1_2_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_5072-26_1_2_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_5072-26_1_2_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_5072-26_1_2_node_100 | 0.4 | n |  | TRUE
41 | bus_LV_5072-26_1_2_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_5072-26_1_2_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_5072-26_1_2_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_5072-26_1_2_node_98 | 0.4 | n |  | TRUE
45 | bus_LV_5072-26_1_2_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_5072-26_1_2_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_5072-26_1_2_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_5072-26_1_2_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_5072-26_1_2_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_5072-26_1_2_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_5072-26_1_2_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_5072-26_1_2_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_5072-26_1_2_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_5072-26_1_2_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_5072-26_1_2_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_5072-26_1_2_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_5072-26_1_2_node_91 | 0.4 | n |  | TRUE
58 | bus_LV_5072-26_1_2_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_5072-26_1_2_node_94 | 0.4 | n |  | TRUE
60 | bus_LV_5072-26_1_2_node_87 | 0.4 | n |  | TRUE
61 | bus_LV_5072-26_1_2_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_5072-26_1_2_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_5072-26_1_2_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_5072-26_1_2_node_95 | 0.4 | n |  | TRUE
65 | bus_LV_5072-26_1_2_node_96 | 0.4 | n |  | TRUE
66 | bus_LV_5072-26_1_2_node_97 | 0.4 | n |  | TRUE
67 | bus_LV_5072-26_1_2_node_99 | 0.4 | n |  | TRUE
68 | bus_LV_5072-26_1_2_node_101 | 0.4 | n |  | TRUE
69 | bus_LV_5072-26_1_2_node_103 | 0.4 | n |  | TRUE
70 | bus_LV_5072-26_1_2_node_104 | 0.4 | n |  | TRUE
71 | bus_LV_5072-26_1_2_node_105 | 0.4 | n |  | TRUE
72 | bus_LV_5072-26_1_2_node_106 | 0.4 | n |  | TRUE
73 | bus_MV_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5072-26_1_2_load_10 | 0 | 0.00072204 | 0.00018096 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5072-26_1_2_load_78 | 2 | 0.0004122 | 0.00010331 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5072-26_1_2_load_12 | 4 | 0.00074141 | 0.00018582 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5072-26_1_2_load_13 | 5 | 0.00065675 | 0.0001646 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5072-26_1_2_load_15 | 6 | 0.00032505 | 8.1466e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5072-26_1_2_load_16 | 7 | 0.00050478 | 0.00012651 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5072-26_1_2_load_33 | 8 | 0.00032474 | 8.1388e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5072-26_1_2_load_107 | 9 | 0.00055615 | 0.00013938 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5072-26_1_2_load_102 | 12 | 0.00070782 | 0.0001774 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5072-26_1_2_load_18 | 13 | 0.00038995 | 9.7731e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5072-26_1_2_load_22 | 15 | 0.00074141 | 0.00018582 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5072-26_1_2_load_23 | 16 | 0.00074141 | 0.00018582 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5072-26_1_2_load_26 | 17 | 0.00074141 | 0.00018582 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5072-26_1_2_load_27 | 18 | 0.00074141 | 0.00018582 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5072-26_1_2_load_28 | 19 | 0.0028393 | 0.0007116 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5072-26_1_2_load_29 | 20 | 0.00074141 | 0.00018582 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5072-26_1_2_load_30 | 21 | 0.00065675 | 0.0001646 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5072-26_1_2_load_31 | 22 | 0.0013137 | 0.00032925 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5072-26_1_2_load_32 | 23 | 0.00096754 | 0.00024249 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5072-26_1_2_load_34 | 24 | 0.00049447 | 0.00012393 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5072-26_1_2_load_36 | 25 | 0.00032506 | 8.1469e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5072-26_1_2_load_35 | 26 | 0.00049447 | 0.00012393 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5072-26_1_2_load_41 | 27 | 0.00049447 | 0.00012393 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5072-26_1_2_load_38 | 29 | 0.00049447 | 0.00012393 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5072-26_1_2_load_40 | 31 | 0.00049447 | 0.00012393 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5072-26_1_2_load_56 | 32 | 0.00058506 | 0.00014663 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5072-26_1_2_load_71 | 34 | 0.00054173 | 0.00013577 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5072-26_1_2_load_59 | 36 | 0.00064094 | 0.00016064 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5072-26_1_2_load_62 | 37 | 0.00039992 | 0.00010023 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5072-26_1_2_load_63 | 38 | 0.00068575 | 0.00017187 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5072-26_1_2_load_64 | 39 | 0.00072971 | 0.00018288 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5072-26_1_2_load_68 | 41 | 0.0005855 | 0.00014674 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5072-26_1_2_load_69 | 42 | 0.00032793 | 8.2187e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5072-26_1_2_load_80 | 45 | 0.000549 | 0.00013759 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5072-26_1_2_load_72 | 46 | 0.00033602 | 8.4215e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5072-26_1_2_load_73 | 47 | 0.00032275 | 8.089e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5072-26_1_2_load_75 | 49 | 0.00047082 | 0.000118 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5072-26_1_2_load_76 | 50 | 0.00043706 | 0.00010954 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5072-26_1_2_load_77 | 51 | 0.0004403 | 0.00011035 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5072-26_1_2_load_79 | 53 | 0.00049931 | 0.00012514 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5072-26_1_2_load_83 | 54 | 0.00069932 | 0.00017527 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5072-26_1_2_load_92 | 55 | 0.0015601 | 0.00039099 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5072-26_1_2_load_84 | 56 | 0.00072991 | 0.00018293 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5072-26_1_2_load_91 | 57 | 0.0007503 | 0.00018804 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5072-26_1_2_load_86 | 58 | 0.00049376 | 0.00012375 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5072-26_1_2_load_94 | 59 | 0.00029549 | 7.4058e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5072-26_1_2_load_87 | 60 | 0.0009065 | 0.00022719 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5072-26_1_2_load_88 | 61 | 0.0012152 | 0.00030455 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5072-26_1_2_load_93 | 63 | 0.00087073 | 0.00021823 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5072-26_1_2_load_95 | 64 | 0.00031981 | 8.0153e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5072-26_1_2_load_96 | 65 | 0.00042283 | 0.00010597 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5072-26_1_2_load_97 | 66 | 0.00049266 | 0.00012347 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5072-26_1_2_load_99 | 67 | 0.00048839 | 0.0001224 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5072-26_1_2_load_101 | 68 | 0.00038102 | 9.5492e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5072-26_1_2_load_104 | 70 | 0.00065242 | 0.00016351 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5072-26_1_2_load_105 | 71 | 0.00051689 | 0.00012954 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5072-26_1_2_load_106 | 72 | 0.00065386 | 0.00016387 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5072-26_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.13805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5072-26_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.34345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5072-26_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.08664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5072-26_1_2_line_3 | NAYY 4x150 SE | 2 | 50 | 0.029365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5072-26_1_2_line_4 | NAYY 4x150 SE | 3 | 7 | 0.076075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5072-26_1_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.026677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5072-26_1_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.010893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5072-26_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.017508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5072-26_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.017002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5072-26_1_2_line_9 | NAYY 4x150 SE | 8 | 25 | 0.021791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5072-26_1_2_line_10 | NAYY 4x150 SE | 9 | 72 | 0.025537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5072-26_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.18625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5072-26_1_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.23214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5072-26_1_2_line_13 | NAYY 4x150 SE | 11 | 63 | 0.026009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5072-26_1_2_line_14 | NAYY 4x150 SE | 11 | 61 | 0.030835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5072-26_1_2_line_15 | NAYY 4x150 SE | 12 | 69 | 0.0043155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5072-26_1_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.075316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5072-26_1_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.070468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5072-26_1_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.073381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5072-26_1_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.0063034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5072-26_1_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.035021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5072-26_1_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.033514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5072-26_1_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.010207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5072-26_1_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0042433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5072-26_1_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0023718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5072-26_1_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.017054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5072-26_1_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.020002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5072-26_1_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.00063284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5072-26_1_2_line_28 | NAYY 4x150 SE | 25 | 28 | 0.025093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5072-26_1_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.0099699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5072-26_1_2_line_30 | NAYY 4x150 SE | 27 | 31 | 0.01836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5072-26_1_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0044071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5072-26_1_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.15456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5072-26_1_2_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0031931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5072-26_1_2_line_34 | NAYY 4x150 SE | 30 | 32 | 0.17688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5072-26_1_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.02426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5072-26_1_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.021251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5072-26_1_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.18799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5072-26_1_2_line_38 | NAYY 4x150 SE | 34 | 46 | 0.17968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5072-26_1_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.017539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5072-26_1_2_line_40 | NAYY 4x150 SE | 35 | 36 | 0.0061956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5072-26_1_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.019745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5072-26_1_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.055017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5072-26_1_2_line_43 | NAYY 4x150 SE | 40 | 68 | 0.013586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5072-26_1_2_line_44 | NAYY 4x150 SE | 40 | 67 | 0.0095464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5072-26_1_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.037605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5072-26_1_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.014006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5072-26_1_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.040916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5072-26_1_2_line_48 | NAYY 4x150 SE | 43 | 45 | 0.066489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5072-26_1_2_line_49 | NAYY 4x150 SE | 44 | 67 | 0.031999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5072-26_1_2_line_50 | NAYY 4x150 SE | 44 | 66 | 0.039897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5072-26_1_2_line_51 | NAYY 4x150 SE | 45 | 53 | 0.011446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5072-26_1_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.0196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5072-26_1_2_line_53 | NAYY 4x150 SE | 47 | 48 | 0.23165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5072-26_1_2_line_54 | NAYY 4x150 SE | 48 | 49 | 0.011871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5072-26_1_2_line_55 | NAYY 4x150 SE | 48 | 50 | 0.029312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5072-26_1_2_line_56 | NAYY 4x150 SE | 49 | 51 | 0.010044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5072-26_1_2_line_57 | NAYY 4x150 SE | 49 | 52 | 0.2167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5072-26_1_2_line_58 | NAYY 4x150 SE | 52 | 58 | 0.011704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5072-26_1_2_line_59 | NAYY 4x150 SE | 54 | 55 | 0.0057121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5072-26_1_2_line_60 | NAYY 4x150 SE | 55 | 62 | 0.02177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5072-26_1_2_line_61 | NAYY 4x150 SE | 56 | 57 | 0.0056078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5072-26_1_2_line_62 | NAYY 4x150 SE | 57 | 62 | 0.021765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5072-26_1_2_line_63 | NAYY 4x150 SE | 58 | 59 | 0.014412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5072-26_1_2_line_64 | NAYY 4x150 SE | 59 | 64 | 0.0079983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5072-26_1_2_line_65 | NAYY 4x150 SE | 60 | 61 | 0.0082789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5072-26_1_2_line_66 | NAYY 4x150 SE | 60 | 62 | 0.024199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5072-26_1_2_line_67 | NAYY 4x150 SE | 64 | 65 | 0.0442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5072-26_1_2_line_68 | NAYY 4x150 SE | 65 | 66 | 0.05225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5072-26_1_2_line_69 | NAYY 4x150 SE | 69 | 70 | 0.030271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5072-26_1_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.010927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5072-26_1_2_line_71 | NAYY 4x150 SE | 71 | 72 | 0.028367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5072-26_1_2_trafo_78 | 0.25 MVA 20/0.4 kV | 73 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2713171.9353 | 1140147.0963 | 2713158.605 | 1140176.2434 | 2713148.0888 | 1140195.6146 | 2713139.3534 | 1140210.2606 | 2713128.1205 | 1140225.6046 | 2713122.3595 | 1140236.6817 | 2713116.2273 | 1140244.5831 | 2713109.8977 | 1140249.4789 | 2713103.3399 | 1140251.3683 | 2713096.259 | 1140253.2591 | 2713093.4163 | 1140254.8265
1 | 2712977.0718 | 1140577.9682 | 2713093.4163 | 1140254.8265
2 | 2713171.9353 | 1140147.0963 | 2713175.0876 | 1140140.1953 | 2713182.3332 | 1140132.4038 | 2713197.8407 | 1140115.1276 | 2713202.4472 | 1140112.7124 | 2713216.512 | 1140086.2476 | 2713223.3132 | 1140078.7814
3 | 2712956.8356 | 1140598.8543 | 2712959.1735 | 1140594.5617 | 2712970.4834 | 1140585.3117 | 2712977.0718 | 1140577.9682
4 | 2713223.3132 | 1140078.7814 | 2713233.9481 | 1140061.7141 | 2713257.9593 | 1140035.6251 | 2713272.2448 | 1140020.9106
5 | 2712755.7006 | 1140489.6333 | 2712733.0056 | 1140503.6538
6 | 2712723.738 | 1140509.3792 | 2712733.0056 | 1140503.6538
7 | 2712709.2932 | 1140519.2394 | 2712716.1175 | 1140514.087 | 2712723.738 | 1140509.3792
8 | 2713285.1404 | 1140009.8669 | 2713275.2071 | 1140017.8592 | 2713272.2448 | 1140020.9106
9 | 2712709.2932 | 1140519.2394 | 2712706.288 | 1140521.5084 | 2712699.0532 | 1140522.1959 | 2712691.799 | 1140523.9172 | 2712689.264 | 1140526.0343
10 | 2713305.2754 | 1139994.1646 | 2713294.6926 | 1140002.1812 | 2713285.1404 | 1140009.8669
11 | 2713445.0609 | 1139990.6866 | 2713450.7187 | 1139987.1906 | 2713462.6031 | 1139980.2094 | 2713476.2825 | 1139977.1756 | 2713516.5159 | 1139976.9097 | 2713539.6974 | 1139972.9208 | 2713523.4967 | 1140035.9467 | 2713545.8421 | 1140030.5968
12 | 2713445.0609 | 1139990.6866 | 2713451.2781 | 1139979.5294 | 2713457.3243 | 1139971.7379 | 2713466.0634 | 1139963.4967 | 2713463.6913 | 1139962.8406 | 2713444.682 | 1139962.572 | 2713442.5643 | 1139961.4759 | 2713445.9986 | 1139958.0048 | 2713453.3059 | 1139951.8715 | 2713457.7098 | 1139947.1511 | 2713460.6495 | 1139940.5353 | 2713460.0036 | 1139938.8888 | 2713454.8407 | 1139941.4267 | 2713449.7541 | 1139942.3651 | 2713441.5153 | 1139941.5875 | 2713435.4754 | 1139943.3196 | 2713428.736 | 1139942.1589 | 2713420.8149 | 1139942.0766 | 2713407.6601 | 1139944.2087 | 2713399.9931 | 1139944.9318 | 2713389.9078 | 1139950.7239 | 2713377.7991 | 1139955.722 | 2713367.7459 | 1139959.8137 | 2713363.9771 | 1139961.8442 | 2713365.085 | 1139952.8257 | 2713365.1936 | 1139934.7714 | 2713350.0378 | 1139937.9034
13 | 2713545.8421 | 1140030.5968 | 2713571.1431 | 1140024.5703
14 | 2713545.8421 | 1140030.5968 | 2713542.7482 | 1140036.8205 | 2713538.4916 | 1140043.5226 | 2713531.5397 | 1140051.2081 | 2713527.5158 | 1140055.0761
15 | 2713345.8116 | 1139938.7767 | 2713350.0378 | 1139937.9034
16 | 2712602.2234 | 1140543.5361 | 2712589.7247 | 1140555.1106 | 2712568.7206 | 1140575.2877 | 2712556.7618 | 1140585.9606 | 2712545.5102 | 1140592.7218
17 | 2712602.2234 | 1140543.5361 | 2712607.1187 | 1140529.3292 | 2712615.8712 | 1140502.5527 | 2712622.2328 | 1140482.3136 | 2712625.3781 | 1140477.1394
18 | 2712602.2234 | 1140543.5361 | 2712607.5688 | 1140538.5882 | 2712632.7248 | 1140516.8432 | 2712646.729 | 1140507.0314 | 2712660.9517 | 1140500.2751
19 | 2712628.6524 | 1140471.753 | 2712625.3781 | 1140477.1394
20 | 2712660.9517 | 1140500.2751 | 2712662.1326 | 1140499.7141 | 2712676.9289 | 1140491.9741 | 2712688.9997 | 1140486.0289 | 2712692.3151 | 1140484.7336
21 | 2712652.1671 | 1140448.1163 | 2712631.3817 | 1140467.2633 | 2712628.6524 | 1140471.753
22 | 2712692.3151 | 1140484.7336 | 2712698.5604 | 1140482.2938 | 2712702.0494 | 1140481.9902
23 | 2712702.0494 | 1140481.9902 | 2712704.3459 | 1140481.7904 | 2712706.1922 | 1140482.3799
24 | 2712708.4516 | 1140483.1012 | 2712708.4516 | 1140483.1012 | 2712706.1922 | 1140482.3799
25 | 2712708.4516 | 1140483.1012 | 2712709.6279 | 1140486.4143 | 2712707.6944 | 1140490.2807 | 2712701.1362 | 1140496.7542
26 | 2712688.3073 | 1140512.0911 | 2712700.133 | 1140497.7444 | 2712701.1362 | 1140496.7542
27 | 2712688.3073 | 1140512.0911 | 2712687.9048 | 1140512.5794
28 | 2712669.603 | 1140541.5922 | 2712675.6651 | 1140537.3915 | 2712689.264 | 1140526.0343
29 | 2712681.567 | 1140520.2755 | 2712681.7656 | 1140520.0273 | 2712687.9048 | 1140512.5794
30 | 2712670.099 | 1140534.614 | 2712681.567 | 1140520.2755
31 | 2712669.603 | 1140541.5922 | 2712668.4036 | 1140539.5129 | 2712669.0265 | 1140537.6054
32 | 2712619.3826 | 1140684.8049 | 2712624.6046 | 1140676.5747 | 2712624.5822 | 1140669.9477 | 2712627.148 | 1140661.0452 | 2712626.2966 | 1140654.336 | 2712628.1787 | 1140644.9761 | 2712629.4893 | 1140635.75 | 2712635.0675 | 1140619.9771 | 2712642.8039 | 1140602.3098 | 2712648.2345 | 1140587.4458 | 2712653.3569 | 1140573.4322 | 2712658.4577 | 1140562.6425 | 2712660.9761 | 1140551.3376 | 2712669.603 | 1140541.5922
33 | 2712670.099 | 1140534.614 | 2712669.9372 | 1140534.8162 | 2712669.0265 | 1140537.6054
34 | 2712619.3826 | 1140684.8049 | 2712621.7507 | 1140690.6084 | 2712619.2989 | 1140711.1206 | 2712614.2789 | 1140725.8367 | 2712609.7049 | 1140738.9044 | 2712606.9262 | 1140755.0965 | 2712603.2015 | 1140766.7569 | 2712602.4996 | 1140815.4759 | 2712601.7318 | 1140845.4814 | 2712601.0855 | 1140858.6187
35 | 2712606.8494 | 1140880.7334 | 2712602.2017 | 1140875.5099 | 2712600.2412 | 1140870.1253 | 2712601.0749 | 1140858.8334 | 2712601.0855 | 1140858.6187
36 | 2712606.8494 | 1140880.7334 | 2712610.3742 | 1140879.7763 | 2712617.7544 | 1140871.2751 | 2712622.289 | 1140866.8432
37 | 2712606.8494 | 1140880.7334 | 2712613.5524 | 1140889.1418 | 2712618.7259 | 1140901.2129 | 2712617.8706 | 1140907.4789 | 2712616.7198 | 1140920.5104 | 2712614.6263 | 1140926.3641 | 2712613.6041 | 1140928.8022 | 2712611.9009 | 1140930.6383 | 2712607.7229 | 1140932.3948 | 2712601.3516 | 1140935.0555 | 2712596.4194 | 1140943.0131 | 2712594.9009 | 1140949.3779 | 2712589.7377 | 1140975.899 | 2712588.748 | 1140981.1285 | 2712589.1547 | 1140984.0602 | 2712591.5691 | 1140983.6717 | 2712593.5454 | 1140979.9728 | 2712602.6759 | 1140972.4604 | 2712611.7249 | 1140963.9569 | 2712616.5942 | 1140963.4808 | 2712622.7984 | 1140963.5967 | 2712626.41 | 1140963.753 | 2712627.2006 | 1140965.8914 | 2712624.0474 | 1140967.1334 | 2712620.7643 | 1140969.974 | 2712618.7371 | 1140975.1618 | 2712613.8094 | 1140983.2975
38 | 2712622.289 | 1140866.8432 | 2712629.7321 | 1140859.5686 | 2712639.5035 | 1140855.6373 | 2712647.5026 | 1140846.9475 | 2712652.6686 | 1140835.5364 | 2712656.9507 | 1140826.9774 | 2712654.8977 | 1140815.4203 | 2712657.6768 | 1140810.3355 | 2712661.2556 | 1140806.4887 | 2712664.7266 | 1140797.303 | 2712667.3173 | 1140791.1807 | 2712683.4429 | 1140778.1175 | 2712702.982 | 1140770.0548 | 2712717.5356 | 1140764.156 | 2712726.373 | 1140754.6593 | 2712736.2895 | 1140743.3948
39 | 2712613.8094 | 1140983.2975 | 2712624.5172 | 1140976.5706 | 2712629.374 | 1140975.9721
40 | 2712613.8094 | 1140983.2975 | 2712610.746 | 1140988.6827
41 | 2712875.3872 | 1141064.6729 | 2712855.6464 | 1141064.257
42 | 2712914.6052 | 1141030.3708 | 2712907.9926 | 1141040.9874 | 2712897.2575 | 1141050.8042 | 2712888.3847 | 1141060.9671 | 2712883.9899 | 1141064.8541 | 2712875.3872 | 1141064.6729
43 | 2712914.6052 | 1141030.3708 | 2712915.0939 | 1141043.9484
44 | 2712914.6052 | 1141030.3708 | 2712918.5678 | 1141021.6856
45 | 2712912.031 | 1140950.6885 | 2712907.2122 | 1140949.9794 | 2712888.3388 | 1140951.6608 | 2712875.0562 | 1140955.3531
46 | 2712923.0295 | 1140958.3142 | 2712916.2161 | 1140951.3043 | 2712912.031 | 1140950.6885
47 | 2712923.0295 | 1140958.3142 | 2712925.5725 | 1140960.919 | 2712933.9879 | 1140986.6935 | 2712933.0447 | 1140996.8159
48 | 2712923.0295 | 1140958.3142 | 2712934.1239 | 1140954.7861 | 2712941.072 | 1140949.2569 | 2712944.3984 | 1140941.6475 | 2712946.7187 | 1140922.4672 | 2712948.4933 | 1140911.482 | 2712949.4082 | 1140904.3248
49 | 2712933.0447 | 1140996.8159 | 2712929.5932 | 1140996.729 | 2712923.7593 | 1141001.4897 | 2712921.486 | 1141015.2896 | 2712918.5678 | 1141021.6856
50 | 2712933.0447 | 1140996.8159 | 2712937.7338 | 1140996.9259 | 2712943.8768 | 1140997.8415 | 2712948.2431 | 1140997.1227 | 2712952.1068 | 1140995.316 | 2712961.8529 | 1140977.5023
51 | 2712949.8043 | 1140892.9511 | 2712950.2414 | 1140897.8057 | 2712949.4082 | 1140904.3248
52 | 2712736.2895 | 1140743.3948 | 2712749.2404 | 1140728.6833
53 | 2712950.2568 | 1140626.7494 | 2712945.6602 | 1140633.1788 | 2712939.002 | 1140636.3451 | 2712924.9172 | 1140639.3614 | 2712910.8282 | 1140642.5999 | 2712894.4751 | 1140645.5849 | 2712879.9558 | 1140649.6271 | 2712853.408 | 1140657.358 | 2712826.403 | 1140667.3375 | 2712812.665 | 1140674.0184 | 2712775.646 | 1140701.3001 | 2712761.5845 | 1140714.1904 | 2712749.3489 | 1140728.5601 | 2712749.2404 | 1140728.6833
54 | 2712950.2568 | 1140626.7494 | 2712951.1657 | 1140638.5853 | 2712951.1657 | 1140638.5853
55 | 2712950.2568 | 1140626.7494 | 2712950.7463 | 1140626.0692 | 2712950.5235 | 1140615.7916 | 2712953.4069 | 1140605.1497 | 2712956.8356 | 1140598.8543
56 | 2712951.1657 | 1140638.5853 | 2712958.0553 | 1140631.2761
57 | 2712951.1657 | 1140638.5853 | 2712988.2128 | 1140852.0974
58 | 2712988.2128 | 1140852.0974 | 2712984.451 | 1140863.1806
59 | 2713533.9936 | 1140074.4918 | 2713533.3049 | 1140077.9812 | 2713532.43 | 1140079.9511
60 | 2713515.5663 | 1140078.0587 | 2713521.5948 | 1140075.2925 | 2713526.3893 | 1140072.7032 | 2713531.3758 | 1140070.9514 | 2713533.9936 | 1140074.4918
61 | 2713490.4711 | 1140087.0856 | 2713495.9323 | 1140087.707 | 2713496.0322 | 1140087.658
62 | 2713515.5663 | 1140078.0587 | 2713496.0322 | 1140087.658
63 | 2712984.451 | 1140863.1806 | 2712979.8188 | 1140876.828
64 | 2712979.8188 | 1140876.828 | 2712979.7717 | 1140876.9669 | 2712978.1281 | 1140884.6446
65 | 2713521.4929 | 1140060.7563 | 2713526.5028 | 1140056.0499 | 2713527.5158 | 1140055.0761
66 | 2713515.5663 | 1140078.0587 | 2713511.2491 | 1140076.9435 | 2713512.3838 | 1140071.4167 | 2713516.6289 | 1140065.3258 | 2713521.4929 | 1140060.7563
67 | 2712978.1281 | 1140884.6446 | 2712973.8973 | 1140904.4084 | 2712974.4646 | 1140928.3898
68 | 2712974.4646 | 1140928.3898 | 2712974.5883 | 1140933.6184 | 2712974.6338 | 1140952.9542 | 2712969.4904 | 1140963.5427 | 2712961.8529 | 1140977.5023
69 | 2713345.8116 | 1139938.7767 | 2713326.8561 | 1139959.39 | 2713325.4116 | 1139961.1372
70 | 2713325.4116 | 1139961.1372 | 2713318.4489 | 1139969.5585
71 | 2713318.4489 | 1139969.5585 | 2713316.3015 | 1139972.1559 | 2713311.9524 | 1139983.793 | 2713307.6688 | 1139992.3516 | 2713305.2754 | 1139994.1646

## bus_geodata
| x | y | coords
0 | 2713093.4163 | 1140254.8265
1 | 2713171.9353 | 1140147.0963
2 | 2712977.0718 | 1140577.9682
3 | 2713223.3132 | 1140078.7814
4 | 2712755.7006 | 1140489.6333
5 | 2712733.0056 | 1140503.6538
6 | 2712723.738 | 1140509.3792
7 | 2713272.2448 | 1140020.9106
8 | 2712709.2932 | 1140519.2394
9 | 2713285.1404 | 1140009.8669
10 | 2713445.0609 | 1139990.6866
11 | 2713545.8421 | 1140030.5968
12 | 2713350.0378 | 1139937.9034
13 | 2712545.5102 | 1140592.7218
14 | 2712602.2234 | 1140543.5361
15 | 2712625.3781 | 1140477.1394
16 | 2712660.9517 | 1140500.2751
17 | 2712628.6524 | 1140471.753
18 | 2712692.3151 | 1140484.7336
19 | 2712652.1671 | 1140448.1163
20 | 2712702.0494 | 1140481.9902
21 | 2712706.1922 | 1140482.3799
22 | 2712708.4516 | 1140483.1012
23 | 2712701.1362 | 1140496.7542
24 | 2712688.3073 | 1140512.0911
25 | 2712689.264 | 1140526.0343
26 | 2712687.9048 | 1140512.5794
27 | 2712681.567 | 1140520.2755
28 | 2712669.603 | 1140541.5922
29 | 2712669.0265 | 1140537.6054
30 | 2712619.3826 | 1140684.8049
31 | 2712670.099 | 1140534.614
32 | 2712601.0855 | 1140858.6187
33 | 2712606.8494 | 1140880.7334
34 | 2712622.289 | 1140866.8432
35 | 2712613.8094 | 1140983.2975
36 | 2712610.746 | 1140988.6827
37 | 2712629.374 | 1140975.9721
38 | 2712855.6464 | 1141064.257
39 | 2712875.3872 | 1141064.6729
40 | 2712914.6052 | 1141030.3708
41 | 2712875.0562 | 1140955.3531
42 | 2712912.031 | 1140950.6885
43 | 2712923.0295 | 1140958.3142
44 | 2712933.0447 | 1140996.8159
45 | 2712949.4082 | 1140904.3248
46 | 2712736.2895 | 1140743.3948
47 | 2712749.2405 | 1140728.6833
48 | 2712950.2568 | 1140626.7494
49 | 2712951.1657 | 1140638.5853
50 | 2712956.8356 | 1140598.8543
51 | 2712958.0553 | 1140631.2761
52 | 2712988.2128 | 1140852.0974
53 | 2712949.8043 | 1140892.9511
54 | 2713532.43 | 1140079.9511
55 | 2713533.9936 | 1140074.4918
56 | 2713490.4711 | 1140087.0856
57 | 2713496.0322 | 1140087.658
58 | 2712984.451 | 1140863.1806
59 | 2712979.8188 | 1140876.828
60 | 2713521.4929 | 1140060.7563
61 | 2713527.5158 | 1140055.0761
62 | 2713515.5663 | 1140078.0587
63 | 2713571.1431 | 1140024.5703
64 | 2712978.1281 | 1140884.6446
65 | 2712974.4646 | 1140928.3898
66 | 2712961.8529 | 1140977.5023
67 | 2712918.5678 | 1141021.6856
68 | 2712915.0939 | 1141043.9484
69 | 2713345.8116 | 1139938.7767
70 | 2713325.4116 | 1139961.1372
71 | 2713318.4489 | 1139969.5585
72 | 2713305.2754 | 1139994.1646
73 | 2712977.0718 | 1140577.9682

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1