## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5072-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5072-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5072-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5072-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5072-3_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5072-3_0_3_node_123 | 0.4 | n |  | TRUE
6 | bus_LV_5072-3_0_3_node_121 | 0.4 | n |  | TRUE
7 | bus_LV_5072-3_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5072-3_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5072-3_0_3_node_128 | 0.4 | n |  | TRUE
10 | bus_LV_5072-3_0_3_node_127 | 0.4 | n |  | TRUE
11 | bus_LV_5072-3_0_3_node_133 | 0.4 | n |  | TRUE
12 | bus_LV_5072-3_0_3_node_142 | 0.4 | n |  | TRUE
13 | bus_LV_5072-3_0_3_node_129 | 0.4 | n |  | TRUE
14 | bus_LV_5072-3_0_3_node_130 | 0.4 | n |  | TRUE
15 | bus_LV_5072-3_0_3_node_131 | 0.4 | n |  | TRUE
16 | bus_LV_5072-3_0_3_node_132 | 0.4 | n |  | TRUE
17 | bus_LV_5072-3_0_3_node_134 | 0.4 | n |  | TRUE
18 | bus_LV_5072-3_0_3_node_135 | 0.4 | n |  | TRUE
19 | bus_LV_5072-3_0_3_node_136 | 0.4 | n |  | TRUE
20 | bus_LV_5072-3_0_3_node_137 | 0.4 | n |  | TRUE
21 | bus_LV_5072-3_0_3_node_141 | 0.4 | n |  | TRUE
22 | bus_LV_5072-3_0_3_node_138 | 0.4 | n |  | TRUE
23 | bus_LV_5072-3_0_3_node_120 | 0.4 | n |  | TRUE
24 | bus_LV_5072-3_0_3_node_139 | 0.4 | n |  | TRUE
25 | bus_LV_5072-3_0_3_node_140 | 0.4 | n |  | TRUE
26 | bus_LV_5072-3_0_3_node_143 | 0.4 | n |  | TRUE
27 | bus_LV_5072-3_0_3_node_144 | 0.4 | n |  | TRUE
28 | bus_LV_5072-3_0_3_node_90 | 0.4 | n |  | TRUE
29 | bus_LV_5072-3_0_3_node_145 | 0.4 | n |  | TRUE
30 | bus_LV_5072-3_0_3_node_91 | 0.4 | n |  | TRUE
31 | bus_LV_5072-3_0_3_node_107 | 0.4 | n |  | TRUE
32 | bus_LV_5072-3_0_3_node_147 | 0.4 | n |  | TRUE
33 | bus_LV_5072-3_0_3_node_124 | 0.4 | n |  | TRUE
34 | bus_LV_5072-3_0_3_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_5072-3_0_3_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_5072-3_0_3_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_5072-3_0_3_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_5072-3_0_3_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_5072-3_0_3_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_5072-3_0_3_node_86 | 0.4 | n |  | TRUE
41 | bus_LV_5072-3_0_3_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_5072-3_0_3_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_5072-3_0_3_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_5072-3_0_3_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_5072-3_0_3_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_5072-3_0_3_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_5072-3_0_3_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_5072-3_0_3_node_97 | 0.4 | n |  | TRUE
49 | bus_LV_5072-3_0_3_node_98 | 0.4 | n |  | TRUE
50 | bus_LV_5072-3_0_3_node_99 | 0.4 | n |  | TRUE
51 | bus_LV_5072-3_0_3_node_103 | 0.4 | n |  | TRUE
52 | bus_LV_5072-3_0_3_node_104 | 0.4 | n |  | TRUE
53 | bus_LV_5072-3_0_3_node_100 | 0.4 | n |  | TRUE
54 | bus_LV_5072-3_0_3_node_101 | 0.4 | n |  | TRUE
55 | bus_LV_5072-3_0_3_node_102 | 0.4 | n |  | TRUE
56 | bus_LV_5072-3_0_3_node_105 | 0.4 | n |  | TRUE
57 | bus_LV_5072-3_0_3_node_106 | 0.4 | n |  | TRUE
58 | bus_LV_5072-3_0_3_node_118 | 0.4 | n |  | TRUE
59 | bus_LV_5072-3_0_3_node_117 | 0.4 | n |  | TRUE
60 | bus_LV_5072-3_0_3_node_108 | 0.4 | n |  | TRUE
61 | bus_LV_5072-3_0_3_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_5072-3_0_3_node_110 | 0.4 | n |  | TRUE
63 | bus_LV_5072-3_0_3_node_112 | 0.4 | n |  | TRUE
64 | bus_LV_5072-3_0_3_node_113 | 0.4 | n |  | TRUE
65 | bus_LV_5072-3_0_3_node_111 | 0.4 | n |  | TRUE
66 | bus_LV_5072-3_0_3_node_114 | 0.4 | n |  | TRUE
67 | bus_LV_5072-3_0_3_node_115 | 0.4 | n |  | TRUE
68 | bus_LV_5072-3_0_3_node_116 | 0.4 | n |  | TRUE
69 | bus_LV_5072-3_0_3_node_119 | 0.4 | n |  | TRUE
70 | bus_LV_5072-3_0_3_node_126 | 0.4 | n |  | TRUE
71 | bus_LV_5072-3_0_3_node_122 | 0.4 | n |  | TRUE
72 | bus_LV_5072-3_0_3_node_125 | 0.4 | n |  | TRUE
73 | bus_MV_188_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5072-3_0_3_load_0 | 0 | 0.0090172 | 0.0022599 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5072-3_0_3_load_1 | 1 | 0.0032051 | 0.00080326 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5072-3_0_3_load_123 | 5 | 0.0029064 | 0.00072842 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5072-3_0_3_load_4 | 7 | 0.0014807 | 0.00037109 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5072-3_0_3_load_5 | 8 | 0.0034132 | 0.00085544 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5072-3_0_3_load_127 | 10 | 0.0015744 | 0.00039459 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5072-3_0_3_load_133 | 11 | 0.0028546 | 0.00071543 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5072-3_0_3_load_142 | 12 | 0.00068752 | 0.00017231 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5072-3_0_3_load_129 | 13 | 0.001111 | 0.00027845 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5072-3_0_3_load_130 | 14 | 0.0016603 | 0.00041612 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5072-3_0_3_load_131 | 15 | 0.00071898 | 0.00018019 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5072-3_0_3_load_132 | 16 | 0.0024531 | 0.0006148 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5072-3_0_3_load_134 | 17 | 0.00072119 | 0.00018075 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5072-3_0_3_load_136 | 19 | 0.00085808 | 0.00021505 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5072-3_0_3_load_137 | 20 | 0.0018367 | 0.00046031 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5072-3_0_3_load_138 | 22 | 0.0020008 | 0.00050144 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5072-3_0_3_load_120 | 23 | 0.0012374 | 0.00031012 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5072-3_0_3_load_139 | 24 | 0.0020041 | 0.00050229 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5072-3_0_3_load_140 | 25 | 0.0025248 | 0.00063277 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5072-3_0_3_load_143 | 26 | 0.0030184 | 0.00075647 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5072-3_0_3_load_144 | 27 | 0.0019596 | 0.00049113 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5072-3_0_3_load_90 | 28 | 0.0024186 | 0.00060616 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5072-3_0_3_load_145 | 29 | 0.00083422 | 0.00020908 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5072-3_0_3_load_91 | 30 | 0.0011762 | 0.00029478 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5072-3_0_3_load_107 | 31 | 0.0010354 | 0.0002595 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5072-3_0_3_load_147 | 32 | 0.001362 | 0.00034135 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5072-3_0_3_load_124 | 33 | 0.001053 | 0.0002639 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5072-3_0_3_load_81 | 34 | 0.0007536 | 0.00018887 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5072-3_0_3_load_85 | 35 | 0.0016205 | 0.00040613 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5072-3_0_3_load_82 | 36 | 0.0020736 | 0.00051968 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5072-3_0_3_load_83 | 37 | 0.0043404 | 0.0010878 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5072-3_0_3_load_89 | 39 | 0.0010525 | 0.00026377 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5072-3_0_3_load_86 | 40 | 0.0017779 | 0.00044558 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5072-3_0_3_load_87 | 41 | 0.0014263 | 0.00035745 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5072-3_0_3_load_88 | 42 | 0.0035817 | 0.00089766 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5072-3_0_3_load_92 | 43 | 0.0021541 | 0.00053986 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5072-3_0_3_load_93 | 44 | 0.0029419 | 0.0007373 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5072-3_0_3_load_95 | 46 | 0.0017833 | 0.00044694 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5072-3_0_3_load_96 | 47 | 0.0014015 | 0.00035126 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5072-3_0_3_load_97 | 48 | 0.0024823 | 0.00062211 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5072-3_0_3_load_98 | 49 | 0.002139 | 0.00053609 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5072-3_0_3_load_103 | 51 | 0.00153 | 0.00038346 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5072-3_0_3_load_104 | 52 | 0.0015621 | 0.0003915 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5072-3_0_3_load_100 | 53 | 0.0033519 | 0.00084006 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5072-3_0_3_load_101 | 54 | 0.0013602 | 0.0003409 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5072-3_0_3_load_102 | 55 | 0.0021347 | 0.00053502 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5072-3_0_3_load_105 | 56 | 0.0022794 | 0.00057126 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5072-3_0_3_load_106 | 57 | 0.0013684 | 0.00034296 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5072-3_0_3_load_118 | 58 | 0.0022215 | 0.00055676 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5072-3_0_3_load_117 | 59 | 0.0011812 | 0.00029604 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5072-3_0_3_load_108 | 60 | 0.0030673 | 0.00076875 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5072-3_0_3_load_109 | 61 | 0.0013123 | 0.00032888 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5072-3_0_3_load_112 | 63 | 0.0020855 | 0.00052268 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5072-3_0_3_load_113 | 64 | 0.0020267 | 0.00050794 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5072-3_0_3_load_114 | 66 | 0.0010376 | 0.00026005 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5072-3_0_3_load_115 | 67 | 0.0028541 | 0.00071531 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5072-3_0_3_load_119 | 69 | 0.0020731 | 0.00051958 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5072-3_0_3_load_122 | 71 | 0.0027561 | 0.00069074 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5072-3_0_3_load_125 | 72 | 0.0027662 | 0.00069329 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5072-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5072-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.057417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5072-3_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.041289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5072-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.13957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5072-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.019003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5072-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.02078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5072-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.068929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5072-3_0_3_line_7 | NAYY 4x150 SE | 6 | 49 | 0.042727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5072-3_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.066709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5072-3_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.041527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_5072-3_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.018471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5072-3_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.042676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5072-3_0_3_line_12 | NAYY 4x150 SE | 10 | 70 | 0.01148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_5072-3_0_3_line_13 | NAYY 4x150 SE | 11 | 16 | 0.010267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5072-3_0_3_line_14 | NAYY 4x150 SE | 12 | 21 | 0.0045399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_5072-3_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0056656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5072-3_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0042821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5072-3_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.021023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5072-3_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0088267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5072-3_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0083512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5072-3_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.034287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5072-3_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.041438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5072-3_0_3_line_22 | NAYY 4x150 SE | 21 | 25 | 0.015105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_5072-3_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.0073503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_5072-3_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.004556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_5072-3_0_3_line_25 | NAYY 4x150 SE | 23 | 66 | 0.034906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_5072-3_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.040852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_5072-3_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.0042209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5072-3_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.024595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5072-3_0_3_line_29 | NAYY 4x150 SE | 28 | 42 | 0.026351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5072-3_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.019563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5072-3_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0027254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5072-3_0_3_line_32 | NAYY 4x150 SE | 30 | 39 | 0.022602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5072-3_0_3_line_33 | NAYY 4x150 SE | 31 | 52 | 0.01714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5072-3_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.18775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5072-3_0_3_line_35 | NAYY 4x150 SE | 33 | 72 | 0.02557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5072-3_0_3_line_36 | NAYY 4x150 SE | 33 | 71 | 0.026452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5072-3_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.2236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5072-3_0_3_line_38 | NAYY 4x150 SE | 35 | 40 | 0.21551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5072-3_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.005526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5072-3_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.023907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5072-3_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.014428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5072-3_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.035476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5072-3_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.037903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5072-3_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.030526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5072-3_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.023025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5072-3_0_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.0054099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5072-3_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.016921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5072-3_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.020645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5072-3_0_3_line_49 | NAYY 4x150 SE | 45 | 48 | 0.026412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5072-3_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.01944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5072-3_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.02088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_5072-3_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.020646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_5072-3_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.014362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5072-3_0_3_line_54 | NAYY 4x150 SE | 51 | 57 | 0.0071712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_5072-3_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0043505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_5072-3_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.024013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_5072-3_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0051914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_5072-3_0_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.022403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_5072-3_0_3_line_59 | NAYY 4x150 SE | 57 | 59 | 0.0059877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_5072-3_0_3_line_60 | NAYY 4x150 SE | 58 | 69 | 0.0084028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_5072-3_0_3_line_61 | NAYY 4x150 SE | 59 | 64 | 0.028174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_5072-3_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.021146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5072-3_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.0025539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5072-3_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.02673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_5072-3_0_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.02457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_5072-3_0_3_line_66 | NAYY 4x150 SE | 63 | 68 | 0.016913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_5072-3_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.031091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_5072-3_0_3_line_68 | NAYY 4x150 SE | 65 | 67 | 0.015922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_5072-3_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.027098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_5072-3_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.042523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_5072-3_0_3_line_71 | NAYY 4x150 SE | 70 | 72 | 0.024222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5072-3_0_3_trafo_100 | 0.25 MVA 20/0.4 kV | 73 | 53 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2705842.7366 | 1147506.9925 | 2705845.8482 | 1147506.8244 | 2705849.2261 | 1147507.3841 | 2705858.7207 | 1147510.0192 | 2705860.7989 | 1147511.1008 | 2705862.473 | 1147512.4421 | 2705864.4928 | 1147514.6568 | 2705864.4928 | 1147514.6568
1 | 2705806.2083 | 1147486.7714 | 2705807.2363 | 1147503.9115 | 2705808.0151 | 1147506.8048 | 2705809.1778 | 1147508.8376 | 2705810.7707 | 1147510.4332 | 2705812.9264 | 1147511.4717 | 2705816.0412 | 1147511.7043 | 2705820.0996 | 1147511.1308 | 2705826.3092 | 1147509.6722 | 2705840.4119 | 1147507.1181 | 2705842.7366 | 1147506.9925
2 | 2705830.4371 | 1147459.657 | 2705802.755 | 1147483.9423 | 2705806.2083 | 1147486.7714
3 | 2705806.2083 | 1147486.7714 | 2705669.4213 | 1147514.5123
4 | 2705830.4371 | 1147459.657 | 2705828.6345 | 1147458.1911 | 2705827.1678 | 1147457.287 | 2705824.1673 | 1147456.2337 | 2705812.8753 | 1147452.8915
5 | 2705846.3366 | 1147446.2276 | 2705830.4371 | 1147459.657
6 | 2705669.4213 | 1147514.5123 | 2705610.2148 | 1147549.8075
7 | 2705846.3366 | 1147446.2276 | 2705852.7456 | 1147451.3434 | 2705883.2915 | 1147467.4369
8 | 2705610.2148 | 1147549.8075 | 2705587.3664 | 1147563.4282 | 2705554.3303 | 1147586.1722
9 | 2706003.3164 | 1147322.7509 | 2705970.6252 | 1147348.3593
10 | 2706003.3164 | 1147322.7509 | 2706011.7681 | 1147339.175
11 | 2706003.3164 | 1147322.7509 | 2706013.6421 | 1147314.4049 | 2706017.5393 | 1147311.6494 | 2706019.8711 | 1147310.5453 | 2706022.3798 | 1147310.3003 | 2706024.2935 | 1147310.6898 | 2706029.3747 | 1147313.5588 | 2706039.2737 | 1147319.8662
12 | 2705961.5882 | 1147355.4383 | 2705970.6252 | 1147348.3593
13 | 2706011.7681 | 1147339.175 | 2706016.4659 | 1147348.3043
14 | 2706043.1024 | 1147322.3058 | 2706039.2737 | 1147319.8662
15 | 2706026.0854 | 1147366.9978 | 2706028.6777 | 1147372.0355
16 | 2706030.637 | 1147375.8431 | 2706028.6777 | 1147372.0355
17 | 2706026.0854 | 1147366.9978 | 2706016.4659 | 1147348.3043
18 | 2706125.5736 | 1147315.1412 | 2706128.0097 | 1147318.5863 | 2706129.568 | 1147319.959 | 2706131.8695 | 1147321.0113
19 | 2706125.5736 | 1147315.1412 | 2706117.9616 | 1147318.5761
20 | 2706084.4151 | 1147324.7491 | 2706086.1485 | 1147324.7535 | 2706094.0624 | 1147324.248 | 2706103.5225 | 1147322.7468 | 2706111.8708 | 1147320.6925 | 2706117.9616 | 1147318.5761 | 2706117.9616 | 1147318.5761
21 | 2706043.1024 | 1147322.3058 | 2706057.4691 | 1147323.9929 | 2706066.9594 | 1147324.7048 | 2706084.4151 | 1147324.7491
22 | 2706043.1024 | 1147322.3058 | 2706047.8447 | 1147324.7908 | 2706052.7136 | 1147326.6221 | 2706057.1659 | 1147327.558
23 | 2706083.4855 | 1147368.2345 | 2706082.0015 | 1147361.0356
24 | 2706082.0015 | 1147361.0356 | 2706081.3693 | 1147357.9685 | 2706080.9345 | 1147356.6121
25 | 2706084.296 | 1147403.0237 | 2706085.1169 | 1147395.1249 | 2706085.0866 | 1147386.3743 | 2706084.4441 | 1147377.057 | 2706083.4855 | 1147368.2345 | 2706083.4855 | 1147368.2345
26 | 2706057.1659 | 1147327.558 | 2706061.7758 | 1147328.5271 | 2706065.2448 | 1147329.5888 | 2706068.4673 | 1147331.1243 | 2706071.2464 | 1147333.408 | 2706073.4237 | 1147336.2815 | 2706075.0793 | 1147339.1124 | 2706076.1334 | 1147341.6326 | 2706080.9345 | 1147356.6121
27 | 2706054.8508 | 1147505.4682 | 2706057.6521 | 1147502.3109
28 | 2706054.8508 | 1147505.4682 | 2706038.5273 | 1147523.866
29 | 2706038.5273 | 1147523.866 | 2706021.0384 | 1147543.5773
30 | 2705958.8042 | 1147532.8962 | 2705957.7872 | 1147552.4324
31 | 2705958.9459 | 1147530.1745 | 2705958.8042 | 1147532.8962
32 | 2705957.7872 | 1147552.4324 | 2705957.6808 | 1147554.4749 | 2705944.9009 | 1147554.7616 | 2705941.4512 | 1147561.7274
33 | 2705960.4165 | 1147513.1241 | 2705959.5949 | 1147517.7072 | 2705958.9459 | 1147530.1745
34 | 2705922.4751 | 1147386.2496 | 2705814.0269 | 1147232.9858
35 | 2705922.4751 | 1147386.2496 | 2705942.5612 | 1147370.4268
36 | 2705922.4751 | 1147386.2496 | 2705901.6958 | 1147402.6185
37 | 2706043.0982 | 1147783.6429 | 2705823.0453 | 1147823.3244
38 | 2705967.426 | 1147581.85 | 2706043.0982 | 1147783.6429
39 | 2705923.5957 | 1147595.2589 | 2705921.3746 | 1147600.3189
40 | 2705933.2046 | 1147573.368 | 2705923.5957 | 1147595.2589
41 | 2705933.2046 | 1147573.368 | 2705938.3778 | 1147567.9332 | 2705941.4512 | 1147561.7274
42 | 2705933.2046 | 1147573.368 | 2705950.9746 | 1147579.373 | 2705957.9411 | 1147581.1744 | 2705964.8881 | 1147581.8969 | 2705967.426 | 1147581.85
43 | 2706000.3125 | 1147565.9882 | 2705994.5177 | 1147572.2449 | 2705989.6984 | 1147575.8959 | 2705982.5634 | 1147579.3059 | 2705977.0973 | 1147580.8664 | 2705970.4362 | 1147581.7944 | 2705967.426 | 1147581.85
44 | 2706021.0384 | 1147543.5773 | 2706020.3352 | 1147544.3699 | 2706000.3125 | 1147565.9882
45 | 2705927.6674 | 1147513.0799 | 2705927.8981 | 1147510.7902 | 2705927.5833 | 1147508.1608 | 2705926.387 | 1147503.2366 | 2705925.0711 | 1147500.7452 | 2705921.7847 | 1147496.7294 | 2705919.6878 | 1147494.0909 | 2705918.9052 | 1147492.6596
46 | 2705918.007 | 1147487.446 | 2705918.1472 | 1147491.2731 | 2705918.9052 | 1147492.6596
47 | 2705920.9561 | 1147528.5685 | 2705927.1188 | 1147515.3572 | 2705927.6655 | 1147513.0987 | 2705927.6674 | 1147513.0799
48 | 2705918.007 | 1147487.446 | 2705900.3326 | 1147476.7769
49 | 2705918.007 | 1147487.446 | 2705929.0946 | 1147493.4224 | 2705939.0902 | 1147496.8335 | 2705942.2281 | 1147497.6967
50 | 2705900.3326 | 1147476.7769 | 2705895.6212 | 1147473.933 | 2705883.2915 | 1147467.4369
51 | 2705962.9508 | 1147498.9875 | 2705952.1312 | 1147499.1864 | 2705945.9554 | 1147498.722 | 2705942.2281 | 1147497.6967
52 | 2705962.9508 | 1147498.9875 | 2705980.798 | 1147499.7462 | 2705983.5725 | 1147499.5273
53 | 2705962.9508 | 1147498.9875 | 2705960.4165 | 1147513.1241
54 | 2705983.5725 | 1147499.5273 | 2705987.7136 | 1147499.2007 | 2705990.6601 | 1147498.5514
55 | 2705955.4361 | 1147450.6023 | 2705954.9854 | 1147452.6401 | 2705955.2301 | 1147454.8903 | 2705955.2301 | 1147454.8903
56 | 2705955.4361 | 1147450.6023 | 2705955.4361 | 1147450.6023 | 2705956.6474 | 1147448.5556 | 2705960.1513 | 1147444.1365 | 2705965.2307 | 1147437.0546 | 2705968.558 | 1147431.3205 | 2705968.8143 | 1147430.7224
57 | 2705968.8143 | 1147430.7224 | 2705970.8587 | 1147425.9506
58 | 2705975.3217 | 1147404.4778 | 2705975.3217 | 1147404.4778 | 2705975.8149 | 1147408.3222 | 2705975.7544 | 1147411.3231 | 2705975.4644 | 1147414.2754 | 2705973.8532 | 1147418.9612 | 2705970.8587 | 1147425.9506
59 | 2705996.5075 | 1147497.2629 | 2705990.6601 | 1147498.5514
60 | 2705975.3217 | 1147404.4778 | 2705973.0557 | 1147396.3863
61 | 2706022.8537 | 1147487.6282 | 2706020.5469 | 1147489.116 | 2706012.9615 | 1147492.3625 | 2705999.6284 | 1147496.5752 | 2705996.5075 | 1147497.2629
62 | 2706039.8801 | 1147466.9413 | 2706045.8794 | 1147456.5295 | 2706048.8767 | 1147452.5241 | 2706051.8179 | 1147449.6291
63 | 2706038.6051 | 1147469.1541 | 2706039.8801 | 1147466.9413
64 | 2706038.6051 | 1147469.1541 | 2706065.3273 | 1147469.7879
65 | 2706038.6051 | 1147469.1541 | 2706035.0023 | 1147475.2613 | 2706031.4205 | 1147480.1793 | 2706028.1811 | 1147483.5356 | 2706024.8594 | 1147486.3345 | 2706022.8537 | 1147487.6282
66 | 2706082.2358 | 1147470.189 | 2706065.3273 | 1147469.7879
67 | 2706072.6366 | 1147431.1729 | 2706076.4227 | 1147426.4364 | 2706079.7167 | 1147421.2911 | 2706081.5589 | 1147416.576 | 2706083.141 | 1147410.9225 | 2706084.1273 | 1147404.6469 | 2706084.296 | 1147403.0237
68 | 2706072.6366 | 1147431.1729 | 2706078.8581 | 1147437.3307 | 2706080.9471 | 1147440.4139 | 2706082.3436 | 1147443.5627
69 | 2706082.2358 | 1147470.189 | 2706083.1938 | 1147467.7042 | 2706084.0567 | 1147463.1943 | 2706084.3962 | 1147457.8747 | 2706084.2507 | 1147453.0468 | 2706083.4911 | 1147448.197 | 2706082.3436 | 1147443.5627
70 | 2705961.5882 | 1147355.4383 | 2705973.0557 | 1147396.3863
71 | 2705961.5882 | 1147355.4383 | 2705942.5612 | 1147370.4268

## bus_geodata
| x | y | coords
0 | 2705842.7366 | 1147506.9925
1 | 2705864.4928 | 1147514.6568
2 | 2705806.2083 | 1147486.7714
3 | 2705830.4371 | 1147459.657
4 | 2705669.4213 | 1147514.5123
5 | 2705812.8753 | 1147452.8915
6 | 2705846.3366 | 1147446.2276
7 | 2705610.2148 | 1147549.8075
8 | 2705554.3303 | 1147586.1722
9 | 2706003.3164 | 1147322.7509
10 | 2705970.6252 | 1147348.3593
11 | 2706011.7681 | 1147339.175
12 | 2706039.2737 | 1147319.8662
13 | 2706028.6777 | 1147372.0355
14 | 2706026.0854 | 1147366.9978
15 | 2706030.637 | 1147375.8431
16 | 2706016.4659 | 1147348.3043
17 | 2706131.8695 | 1147321.0113
18 | 2706125.5736 | 1147315.1412
19 | 2706117.9616 | 1147318.5761
20 | 2706084.4151 | 1147324.7491
21 | 2706043.1024 | 1147322.3058
22 | 2706082.0015 | 1147361.0356
23 | 2706083.4855 | 1147368.2345
24 | 2706080.9345 | 1147356.6121
25 | 2706057.1659 | 1147327.558
26 | 2706057.6521 | 1147502.3109
27 | 2706054.8508 | 1147505.4682
28 | 2706038.5273 | 1147523.866
29 | 2705958.8042 | 1147532.8962
30 | 2705957.7872 | 1147552.4324
31 | 2705958.9459 | 1147530.1745
32 | 2705814.0269 | 1147232.9858
33 | 2705922.4751 | 1147386.2496
34 | 2705823.0453 | 1147823.3244
35 | 2706043.0982 | 1147783.6429
36 | 2705921.3746 | 1147600.3189
37 | 2705923.5957 | 1147595.2589
38 | 2705933.2046 | 1147573.368
39 | 2705941.4512 | 1147561.7274
40 | 2705967.426 | 1147581.85
41 | 2706000.3125 | 1147565.9882
42 | 2706021.0384 | 1147543.5773
43 | 2705918.9052 | 1147492.6596
44 | 2705927.6674 | 1147513.0799
45 | 2705918.007 | 1147487.446
46 | 2705920.9561 | 1147528.5685
47 | 2705900.3326 | 1147476.7769
48 | 2705942.2281 | 1147497.6967
49 | 2705883.2915 | 1147467.4369
50 | 2705962.9508 | 1147498.9875
51 | 2705983.5725 | 1147499.5273
52 | 2705960.4165 | 1147513.1241
53 | 2705955.2301 | 1147454.8903
54 | 2705955.4361 | 1147450.6023
55 | 2705968.8143 | 1147430.7224
56 | 2705970.8587 | 1147425.9506
57 | 2705990.6601 | 1147498.5514
58 | 2705975.3217 | 1147404.4778
59 | 2705996.5075 | 1147497.2629
60 | 2706039.8801 | 1147466.9413
61 | 2706051.8179 | 1147449.6291
62 | 2706038.6051 | 1147469.1541
63 | 2706065.3272 | 1147469.7879
64 | 2706022.8537 | 1147487.6282
65 | 2706072.6366 | 1147431.1729
66 | 2706084.296 | 1147403.0237
67 | 2706082.3436 | 1147443.5627
68 | 2706082.2358 | 1147470.189
69 | 2705973.0557 | 1147396.3863
70 | 2705961.5882 | 1147355.4383
71 | 2705901.6958 | 1147402.6185
72 | 2705942.5612 | 1147370.4268
73 | 2705962.9508 | 1147498.9875

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1