## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5072-3_1_2_node_148 | 0.4 | n |  | TRUE
1 | bus_LV_5072-3_1_2_node_38 | 0.4 | n |  | TRUE
2 | bus_LV_5072-3_1_2_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_5072-3_1_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_5072-3_1_2_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_5072-3_1_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_5072-3_1_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5072-3_1_2_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_5072-3_1_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_5072-3_1_2_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5072-3_1_2_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_5072-3_1_2_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_5072-3_1_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_5072-3_1_2_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_5072-3_1_2_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_5072-3_1_2_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_5072-3_1_2_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_5072-3_1_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_5072-3_1_2_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_5072-3_1_2_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_5072-3_1_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_5072-3_1_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_5072-3_1_2_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5072-3_1_2_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_5072-3_1_2_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_5072-3_1_2_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_5072-3_1_2_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_5072-3_1_2_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_5072-3_1_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_5072-3_1_2_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_5072-3_1_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_5072-3_1_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_5072-3_1_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_5072-3_1_2_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_5072-3_1_2_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_5072-3_1_2_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_5072-3_1_2_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_5072-3_1_2_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_5072-3_1_2_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_5072-3_1_2_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_5072-3_1_2_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_5072-3_1_2_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_5072-3_1_2_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_5072-3_1_2_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_5072-3_1_2_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_5072-3_1_2_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_5072-3_1_2_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_5072-3_1_2_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_5072-3_1_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_5072-3_1_2_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_5072-3_1_2_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_5072-3_1_2_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_5072-3_1_2_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_5072-3_1_2_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_5072-3_1_2_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_5072-3_1_2_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_5072-3_1_2_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_5072-3_1_2_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_5072-3_1_2_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_5072-3_1_2_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_5072-3_1_2_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_5072-3_1_2_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_5072-3_1_2_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_5072-3_1_2_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_5072-3_1_2_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_5072-3_1_2_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_5072-3_1_2_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_5072-3_1_2_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_5072-3_1_2_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_5072-3_1_2_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_5072-3_1_2_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_5072-3_1_2_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_5072-3_1_2_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_5072-3_1_2_node_78 | 0.4 | n |  | TRUE
74 | bus_MV_188_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5072-3_1_2_load_148 | 0 | 0.00081446 | 0.00020412 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5072-3_1_2_load_38 | 1 | 0.001144 | 0.00028672 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5072-3_1_2_load_7 | 2 | 0.00081835 | 0.0002051 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5072-3_1_2_load_8 | 3 | 0.00074731 | 0.00018729 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5072-3_1_2_load_9 | 5 | 0.00077149 | 0.00019335 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5072-3_1_2_load_14 | 7 | 0.00074268 | 0.00018613 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5072-3_1_2_load_13 | 9 | 0.0012675 | 0.00031766 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5072-3_1_2_load_40 | 10 | 0.0019897 | 0.00049866 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5072-3_1_2_load_43 | 11 | 0.0015444 | 0.00038706 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5072-3_1_2_load_12 | 12 | 0.0010487 | 0.00026282 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5072-3_1_2_load_16 | 13 | 0.00067894 | 0.00017016 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5072-3_1_2_load_35 | 14 | 0.0013574 | 0.00034019 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5072-3_1_2_load_17 | 15 | 0.00051964 | 0.00013023 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5072-3_1_2_load_34 | 16 | 0.00081584 | 0.00020447 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5072-3_1_2_load_18 | 17 | 0.0005291 | 0.0001326 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5072-3_1_2_load_19 | 18 | 0.00080919 | 0.0002028 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5072-3_1_2_load_23 | 19 | 0.00059441 | 0.00014897 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5072-3_1_2_load_21 | 20 | 0.0005555 | 0.00013922 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5072-3_1_2_load_20 | 21 | 0.00065226 | 0.00016347 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5072-3_1_2_load_22 | 22 | 0.00070632 | 0.00017702 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5072-3_1_2_load_25 | 24 | 0.00074791 | 0.00018744 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5072-3_1_2_load_26 | 25 | 0.0008015 | 0.00020088 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5072-3_1_2_load_27 | 26 | 0.0010127 | 0.00025381 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5072-3_1_2_load_28 | 27 | 0.0010449 | 0.00026187 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5072-3_1_2_load_29 | 28 | 0.00099581 | 0.00024957 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5072-3_1_2_load_30 | 29 | 0.0012777 | 0.00032023 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5072-3_1_2_load_31 | 30 | 0.0011384 | 0.0002853 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5072-3_1_2_load_32 | 31 | 0.00067084 | 0.00016813 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5072-3_1_2_load_33 | 32 | 0.00096857 | 0.00024275 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5072-3_1_2_load_36 | 33 | 0.0010073 | 0.00025246 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5072-3_1_2_load_37 | 34 | 0.001847 | 0.0004629 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5072-3_1_2_load_42 | 35 | 0.003142 | 0.00078746 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5072-3_1_2_load_41 | 36 | 0.0014688 | 0.00036811 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5072-3_1_2_load_44 | 37 | 0.00097474 | 0.00024429 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5072-3_1_2_load_79 | 38 | 0.00055917 | 0.00014014 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5072-3_1_2_load_80 | 39 | 0.00067851 | 0.00017005 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5072-3_1_2_load_45 | 40 | 0.00084641 | 0.00021213 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5072-3_1_2_load_46 | 41 | 0.0014124 | 0.00035398 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5072-3_1_2_load_47 | 42 | 0.00095763 | 0.00024001 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5072-3_1_2_load_51 | 43 | 0.0014586 | 0.00036555 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5072-3_1_2_load_49 | 44 | 0.0022692 | 0.00056871 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5072-3_1_2_load_48 | 45 | 0.0029745 | 0.00074548 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5072-3_1_2_load_50 | 46 | 0.0010996 | 0.00027558 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5072-3_1_2_load_52 | 47 | 0.0034782 | 0.00087172 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5072-3_1_2_load_53 | 48 | 0.0012296 | 0.00030816 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5072-3_1_2_load_54 | 49 | 0.00091337 | 0.00022891 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5072-3_1_2_load_55 | 50 | 0.0035095 | 0.00087956 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5072-3_1_2_load_56 | 51 | 0.0018362 | 0.00046019 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5072-3_1_2_load_57 | 52 | 0.0023056 | 0.00057785 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5072-3_1_2_load_58 | 53 | 0.0025704 | 0.00064421 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5072-3_1_2_load_59 | 54 | 0.001946 | 0.00048772 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5072-3_1_2_load_62 | 55 | 0.0014673 | 0.00036773 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5072-3_1_2_load_60 | 56 | 0.00078366 | 0.0001964 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5072-3_1_2_load_61 | 57 | 0.0020793 | 0.00052113 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5072-3_1_2_load_63 | 58 | 0.001182 | 0.00029623 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5072-3_1_2_load_65 | 60 | 0.0017083 | 0.00042814 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5072-3_1_2_load_66 | 61 | 0.0015288 | 0.00038316 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5072-3_1_2_load_70 | 62 | 0.0015527 | 0.00038915 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5072-3_1_2_load_68 | 63 | 0.0018401 | 0.00046117 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5072-3_1_2_load_71 | 64 | 0.0019798 | 0.00049619 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5072-3_1_2_load_67 | 65 | 0.0017796 | 0.000446 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5072-3_1_2_load_69 | 66 | 0.0012387 | 0.00031046 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5072-3_1_2_load_72 | 67 | 0.0015548 | 0.00038966 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5072-3_1_2_load_73 | 68 | 0.0031729 | 0.0007952 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5072-3_1_2_load_74 | 69 | 0.0012917 | 0.00032374 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5072-3_1_2_load_75 | 70 | 0.0016363 | 0.0004101 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5072-3_1_2_load_76 | 71 | 0.0020162 | 0.0005053 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5072-3_1_2_load_77 | 72 | 0.0022699 | 0.0005689 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5072-3_1_2_load_78 | 73 | 0.0015349 | 0.00038469 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5072-3_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.21396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5072-3_1_2_line_1 | NAYY 4x150 SE | 1 | 10 | 0.16858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5072-3_1_2_line_2 | NAYY 4x150 SE | 1 | 34 | 0.019781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5072-3_1_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.01838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5072-3_1_2_line_4 | NAYY 4x150 SE | 2 | 4 | 0.14055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5072-3_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.027221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5072-3_1_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.086143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5072-3_1_2_line_7 | NAYY 4x150 SE | 5 | 12 | 0.015955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5072-3_1_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.11564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5072-3_1_2_line_9 | NAYY 4x150 SE | 6 | 8 | 0.11385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5072-3_1_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.039753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5072-3_1_2_line_11 | NAYY 4x150 SE | 8 | 14 | 0.1479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5072-3_1_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.11246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5072-3_1_2_line_13 | NAYY 4x150 SE | 11 | 37 | 0.0081064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5072-3_1_2_line_14 | NAYY 4x150 SE | 11 | 35 | 0.033367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5072-3_1_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0098913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5072-3_1_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0028857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5072-3_1_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.0070827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5072-3_1_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.00036932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5072-3_1_2_line_19 | NAYY 4x150 SE | 16 | 31 | 0.0052938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5072-3_1_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.005639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5072-3_1_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.011281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5072-3_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0029631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5072-3_1_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0041816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5072-3_1_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.00041236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5072-3_1_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.14188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5072-3_1_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.11634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5072-3_1_2_line_27 | NAYY 4x150 SE | 24 | 25 | 0.017632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5072-3_1_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.12895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5072-3_1_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0015964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5072-3_1_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0023307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5072-3_1_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0051489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5072-3_1_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0042607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5072-3_1_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0030745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5072-3_1_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0093546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5072-3_1_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0070611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5072-3_1_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.14856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5072-3_1_2_line_37 | NAYY 4x150 SE | 36 | 38 | 1.172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5072-3_1_2_line_38 | NAYY 4x150 SE | 37 | 40 | 0.030146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5072-3_1_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.017248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5072-3_1_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.0020526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5072-3_1_2_line_41 | NAYY 4x150 SE | 41 | 42 | 0.0069177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5072-3_1_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.0047058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5072-3_1_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.0087108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5072-3_1_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.0029035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5072-3_1_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.0024493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5072-3_1_2_line_46 | NAYY 4x150 SE | 46 | 47 | 0.010041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5072-3_1_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.0053386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5072-3_1_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.0018577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5072-3_1_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.0022643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5072-3_1_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.0031589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5072-3_1_2_line_51 | NAYY 4x150 SE | 51 | 52 | 0.0018382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5072-3_1_2_line_52 | NAYY 4x150 SE | 52 | 53 | 0.0067878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5072-3_1_2_line_53 | NAYY 4x150 SE | 53 | 54 | 0.0031419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5072-3_1_2_line_54 | NAYY 4x150 SE | 54 | 55 | 0.0076217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5072-3_1_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.0015984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5072-3_1_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.0040462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5072-3_1_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.0037842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5072-3_1_2_line_58 | NAYY 4x150 SE | 58 | 59 | 0.0078589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5072-3_1_2_line_59 | NAYY 4x150 SE | 59 | 60 | 0.0084137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5072-3_1_2_line_60 | NAYY 4x150 SE | 59 | 61 | 0.0055942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5072-3_1_2_line_61 | NAYY 4x150 SE | 60 | 62 | 0.004914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5072-3_1_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.014408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5072-3_1_2_line_63 | NAYY 4x150 SE | 62 | 64 | 0.024243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5072-3_1_2_line_64 | NAYY 4x150 SE | 63 | 65 | 0.025724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5072-3_1_2_line_65 | NAYY 4x150 SE | 64 | 67 | 0.0048963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5072-3_1_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.020563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5072-3_1_2_line_67 | NAYY 4x150 SE | 67 | 68 | 0.0035034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5072-3_1_2_line_68 | NAYY 4x150 SE | 68 | 69 | 0.0034397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5072-3_1_2_line_69 | NAYY 4x150 SE | 69 | 70 | 0.00036109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5072-3_1_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.00045005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5072-3_1_2_line_71 | NAYY 4x150 SE | 71 | 72 | 0.0010791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5072-3_1_2_line_72 | NAYY 4x150 SE | 72 | 73 | 0.0398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5072-3_1_2_trafo_47 | 0.25 MVA 20/0.4 kV | 74 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2705064.699 | 1146020.4134 | 2705228.914 | 1146157.5751
1 | 2705123.8769 | 1145862.5661 | 2705064.699 | 1146020.4134
2 | 2705045.8868 | 1146018.4954 | 2705059.3791 | 1146022.4885 | 2705064.699 | 1146020.4134
3 | 2704692.1014 | 1145765.9208 | 2704675.7947 | 1145774.4011
4 | 2704692.1014 | 1145765.9208 | 2704815.6663 | 1145832.9047
5 | 2704675.7947 | 1145774.4011 | 2704656.8376 | 1145784.2598 | 2704651.4719 | 1145786.5989
6 | 2704822.351 | 1145918.631 | 2704822.5972 | 1145912.4313 | 2704821.8675 | 1145894.7407 | 2704817.7693 | 1145843.6481 | 2704816.708 | 1145837.0699 | 2704815.6663 | 1145832.9047
7 | 2704651.4719 | 1145786.5989 | 2704645.4326 | 1145789.2317 | 2704636.5391 | 1145792.1704
8 | 2704874.5476 | 1145815.7508 | 2704872.5768 | 1145820.8197 | 2704862.5728 | 1145837.5675 | 2704852.8547 | 1145853.7867 | 2704844.9171 | 1145866.6013 | 2704834.5648 | 1145893.216 | 2704822.351 | 1145918.631
9 | 2704857.1313 | 1145990.0033 | 2704854.2303 | 1145984.9497 | 2704851.054 | 1145981.5812 | 2704847.3188 | 1145978.9813 | 2704843.6912 | 1145977.2615 | 2704839.5758 | 1145976.2004 | 2704832.3869 | 1145975.5751 | 2704825.9139 | 1145975.3179 | 2704819.2028 | 1145975.0567 | 2704813.8268 | 1145974.4628 | 2704810.174 | 1145972.865 | 2704807.2605 | 1145970.7352 | 2704805.8851 | 1145968.521 | 2704804.8571 | 1145965.7792 | 2704804.1108 | 1145962.7421 | 2704803.8968 | 1145960.0255 | 2704804.124 | 1145957.5612 | 2704804.9626 | 1145954.8519 | 2704806.2621 | 1145951.7058 | 2704807.3424 | 1145949.2341 | 2704810.6941 | 1145943.8445 | 2704816.3099 | 1145935.5145 | 2704818.9591 | 1145930.3128 | 2704820.4022 | 1145927.3027 | 2704821.8593 | 1145923.0475 | 2704822.351 | 1145918.631
10 | 2704874.5476 | 1145815.7508 | 2704879.7363 | 1145776.3381
11 | 2705001.0406 | 1146024.1247 | 2704857.1313 | 1145990.0033
12 | 2705192.1174 | 1145773.1735 | 2705123.8769 | 1145862.5661
13 | 2705192.1174 | 1145773.1735 | 2705185.5868 | 1145768.3709
14 | 2705219.7384 | 1145791.6734 | 2705208.6403 | 1145785.8953 | 2705196.8452 | 1145776.6504 | 2705192.1174 | 1145773.1735
15 | 2704636.5391 | 1145792.1704 | 2704627.1473 | 1145795.2738
16 | 2704624.4835 | 1145796.3835 | 2704627.1473 | 1145795.2738 | 2704627.1473 | 1145795.2738
17 | 2705008.0785 | 1146023.3294 | 2705001.0406 | 1146024.1247
18 | 2704624.1426 | 1145796.5255 | 2704624.4835 | 1145796.3835
19 | 2705008.0785 | 1146023.3294 | 2705013.3388 | 1146022.735
20 | 2704618.9372 | 1145798.6938 | 2704624.1426 | 1145796.5255
21 | 2704618.9372 | 1145798.6938 | 2704613.3623 | 1145801.0161 | 2704608.3742 | 1145802.628
22 | 2704605.5546 | 1145803.5391 | 2704608.3742 | 1145802.628
23 | 2704605.5546 | 1145803.5391 | 2704601.5756 | 1145804.8249
24 | 2704601.1832 | 1145804.9517 | 2704601.5756 | 1145804.8249
25 | 2704601.1832 | 1145804.9517 | 2704490.8922 | 1145894.2077
26 | 2704490.8922 | 1145894.2077 | 2704480.7882 | 1145903.9388 | 2704471.0576 | 1145913.8543 | 2704458.3331 | 1145923.162 | 2704448.4602 | 1145930.6514 | 2704438.1818 | 1145939.8125 | 2704420.8667 | 1145954.6443 | 2704407.5523 | 1145965.6319 | 2704402.5295 | 1145969.6475
27 | 2704388.8617 | 1145980.7841 | 2704392.9195 | 1145977.3304 | 2704402.5295 | 1145969.6475
28 | 2704388.8617 | 1145980.7841 | 2704305.6873 | 1146079.3303
29 | 2705019.8885 | 1146021.9949 | 2705021.4748 | 1146021.8156
30 | 2705019.8885 | 1146021.9949 | 2705017.5726 | 1146022.2566
31 | 2705026.5912 | 1146021.2375 | 2705021.4748 | 1146021.8156
32 | 2705013.3388 | 1146022.735 | 2705017.5726 | 1146022.2566
33 | 2705026.5912 | 1146021.2375 | 2705028.1156 | 1146021.0653 | 2705029.6401 | 1146020.8448
34 | 2705029.6401 | 1146020.8448 | 2705038.8984 | 1146019.506
35 | 2705038.8984 | 1146019.506 | 2705045.8868 | 1146018.4954 | 2705045.8868 | 1146018.4954
36 | 2705219.7384 | 1145791.6734 | 2705368.279 | 1145794.1321
37 | 2705368.279 | 1145794.1321 | 2706258.3641 | 1145031.6812
38 | 2705185.5868 | 1145768.3709 | 2705177.3018 | 1145762.2781 | 2705171.7518 | 1145755.3547 | 2705170.0829 | 1145750.5892 | 2705167.5941 | 1145745.1968
39 | 2706258.3641 | 1145031.6812 | 2706266.9545 | 1145025.8529 | 2706272.5122 | 1145021.8201
40 | 2705166.7339 | 1145743.3331 | 2705167.5941 | 1145745.1968
41 | 2705166.7339 | 1145743.3331 | 2705166.0995 | 1145741.9587 | 2705164.0505 | 1145736.9582
42 | 2705164.0505 | 1145736.9582 | 2705162.5617 | 1145733.3248 | 2705162.4821 | 1145732.5497
43 | 2705162.4821 | 1145732.5497 | 2705162.2071 | 1145729.872 | 2705164.4234 | 1145724.8407 | 2705164.7764 | 1145724.4573
44 | 2705166.7428 | 1145722.321 | 2705164.7764 | 1145724.4573
45 | 2705166.7428 | 1145722.321 | 2705168.4017 | 1145720.5189
46 | 2705176.4138 | 1145714.5322 | 2705169.6712 | 1145719.1397 | 2705168.4017 | 1145720.5189
47 | 2705176.4138 | 1145714.5322 | 2705176.4138 | 1145714.5322 | 2705179.7371 | 1145710.3541
48 | 2705180.5833 | 1145708.7003 | 2705179.7371 | 1145710.3541 | 2705179.7371 | 1145710.3541
49 | 2705181.6146 | 1145706.6845 | 2705181.6146 | 1145706.6845 | 2705180.5833 | 1145708.7003
50 | 2705183.5957 | 1145704.224 | 2705181.6146 | 1145706.6845
51 | 2705183.5957 | 1145704.224 | 2705184.7485 | 1145702.7923
52 | 2705187.7098 | 1145696.6845 | 2705184.7485 | 1145702.7923 | 2705184.7485 | 1145702.7923
53 | 2705188.3605 | 1145693.6284 | 2705187.929 | 1145696.2324 | 2705187.7098 | 1145696.6845
54 | 2705188.7252 | 1145686.1449 | 2705189.2517 | 1145688.2504 | 2705188.3605 | 1145693.6284
55 | 2705188.3375 | 1145684.5943 | 2705188.7252 | 1145686.1449
56 | 2705188.3375 | 1145684.5943 | 2705188.2102 | 1145684.0852 | 2705188.5173 | 1145680.5772 | 2705188.5173 | 1145680.5772
57 | 2705188.5173 | 1145680.5772 | 2705190.0911 | 1145677.1357
58 | 2705194.143 | 1145670.4021 | 2705192.3791 | 1145673.2843 | 2705190.0911 | 1145677.1357
59 | 2705194.143 | 1145670.4021 | 2705198.0538 | 1145670.4259 | 2705202.31 | 1145669.5996 | 2705202.466 | 1145669.5394
60 | 2705194.143 | 1145670.4021 | 2705194.6342 | 1145667.3532 | 2705194.0534 | 1145664.9155
61 | 2705202.466 | 1145669.5394 | 2705206.2787 | 1145668.0679 | 2705207.0114 | 1145667.6841
62 | 2705189.2293 | 1145651.3656 | 2705192.3136 | 1145658.9852 | 2705193.3812 | 1145662.0947 | 2705194.0534 | 1145664.9155
63 | 2705207.0114 | 1145667.6841 | 2705210.1408 | 1145666.0451 | 2705212.6158 | 1145664.2427 | 2705214.6727 | 1145662.622 | 2705216.9154 | 1145660.9267 | 2705218.8794 | 1145660.2272 | 2705222.1184 | 1145660.4394 | 2705224.3293 | 1145662.7683 | 2705226.6275 | 1145665.6381
64 | 2705169.647 | 1145636.4199 | 2705184.181 | 1145643.2889 | 2705186.9264 | 1145646.2497 | 2705188.9323 | 1145650.632 | 2705189.2293 | 1145651.3656
65 | 2705226.6275 | 1145665.6381 | 2705226.7132 | 1145665.7451 | 2705228.6208 | 1145667.8353 | 2705230.1562 | 1145669.0037
66 | 2705169.647 | 1145636.4199 | 2705169.647 | 1145636.4199 | 2705165.1779 | 1145633.5957 | 2705158.7034 | 1145627.6791 | 2705154.3108 | 1145622.8803
67 | 2705230.1562 | 1145669.0037 | 2705230.7442 | 1145669.4512 | 2705232.9198 | 1145671.1569
68 | 2705232.9198 | 1145671.1569 | 2705232.9198 | 1145671.1569 | 2705236.3469 | 1145671.4506
69 | 2705236.7067 | 1145671.4815 | 2705236.3469 | 1145671.4506
70 | 2705237.1551 | 1145671.5199 | 2705236.7067 | 1145671.4815
71 | 2705237.1551 | 1145671.5199 | 2705237.1551 | 1145671.5199 | 2705238.2308 | 1145671.4337
72 | 2705271.2443 | 1145676.6848 | 2705268.9581 | 1145669.8739 | 2705267.1762 | 1145667.6303 | 2705264.5847 | 1145666.4176 | 2705260.7862 | 1145666.5625 | 2705242.7256 | 1145670.6721 | 2705239.5483 | 1145671.3282 | 2705238.2308 | 1145671.4337

## bus_geodata
| x | y | coords
0 | 2705228.914 | 1146157.5751
1 | 2705064.699 | 1146020.4134
2 | 2704692.1014 | 1145765.9208
3 | 2704675.7947 | 1145774.4011
4 | 2704815.6663 | 1145832.9047
5 | 2704651.4719 | 1145786.5989
6 | 2704822.351 | 1145918.631
7 | 2704874.5476 | 1145815.7508
8 | 2704857.1313 | 1145990.0033
9 | 2704879.7363 | 1145776.3381
10 | 2705123.8769 | 1145862.5661
11 | 2705192.1174 | 1145773.1735
12 | 2704636.5391 | 1145792.1704
13 | 2704627.1473 | 1145795.2738
14 | 2705001.0406 | 1146024.1247
15 | 2704624.4835 | 1145796.3835
16 | 2705008.0785 | 1146023.3294
17 | 2704624.1426 | 1145796.5255
18 | 2704618.9372 | 1145798.6938
19 | 2704608.3742 | 1145802.628
20 | 2704605.5546 | 1145803.5391
21 | 2704601.5756 | 1145804.8249
22 | 2704601.1832 | 1145804.9517
23 | 2704490.8922 | 1145894.2077
24 | 2704402.5295 | 1145969.6475
25 | 2704388.8617 | 1145980.7841
26 | 2704305.6873 | 1146079.3303
27 | 2705019.8885 | 1146021.9949
28 | 2705021.4748 | 1146021.8156
29 | 2705017.5726 | 1146022.2566
30 | 2705026.5912 | 1146021.2375
31 | 2705013.3388 | 1146022.735
32 | 2705029.6401 | 1146020.8448
33 | 2705038.8984 | 1146019.506
34 | 2705045.8868 | 1146018.4954
35 | 2705219.7384 | 1145791.6734
36 | 2705368.279 | 1145794.1321
37 | 2705185.5868 | 1145768.3709
38 | 2706258.3641 | 1145031.6812
39 | 2706272.5122 | 1145021.8201
40 | 2705167.5941 | 1145745.1968
41 | 2705166.7339 | 1145743.3331
42 | 2705164.0505 | 1145736.9582
43 | 2705162.4821 | 1145732.5497
44 | 2705164.7764 | 1145724.4573
45 | 2705166.7428 | 1145722.321
46 | 2705168.4017 | 1145720.5189
47 | 2705176.4138 | 1145714.5322
48 | 2705179.7371 | 1145710.3541
49 | 2705180.5833 | 1145708.7003
50 | 2705181.6146 | 1145706.6845
51 | 2705183.5957 | 1145704.224
52 | 2705184.7485 | 1145702.7923
53 | 2705187.7098 | 1145696.6845
54 | 2705188.3605 | 1145693.6284
55 | 2705188.7252 | 1145686.1449
56 | 2705188.3375 | 1145684.5943
57 | 2705188.5173 | 1145680.5772
58 | 2705190.0911 | 1145677.1357
59 | 2705194.143 | 1145670.4021
60 | 2705202.466 | 1145669.5394
61 | 2705194.0534 | 1145664.9155
62 | 2705207.0114 | 1145667.6841
63 | 2705189.2293 | 1145651.3656
64 | 2705226.6275 | 1145665.6381
65 | 2705169.647 | 1145636.4199
66 | 2705154.3108 | 1145622.8803
67 | 2705230.1562 | 1145669.0037
68 | 2705232.9198 | 1145671.1569
69 | 2705236.3469 | 1145671.4506
70 | 2705236.7067 | 1145671.4815
71 | 2705237.1551 | 1145671.5199
72 | 2705238.2308 | 1145671.4337
73 | 2705271.2443 | 1145676.6848
74 | 2705194.143 | 1145670.4021

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1