## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5072-4_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_5072-4_1_2_node_119 | 0.4 | n |  | TRUE
2 | bus_LV_5072-4_1_2_node_127 | 0.4 | n |  | TRUE
3 | bus_LV_5072-4_1_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_5072-4_1_2_node_130 | 0.4 | n |  | TRUE
5 | bus_LV_5072-4_1_2_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_5072-4_1_2_node_104 | 0.4 | n |  | TRUE
7 | bus_LV_5072-4_1_2_node_132 | 0.4 | n |  | TRUE
8 | bus_LV_5072-4_1_2_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_5072-4_1_2_node_100 | 0.4 | n |  | TRUE
10 | bus_LV_5072-4_1_2_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_5072-4_1_2_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_5072-4_1_2_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_5072-4_1_2_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_5072-4_1_2_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_5072-4_1_2_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_5072-4_1_2_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_5072-4_1_2_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_5072-4_1_2_node_96 | 0.4 | n |  | TRUE
19 | bus_LV_5072-4_1_2_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_5072-4_1_2_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_5072-4_1_2_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_5072-4_1_2_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_5072-4_1_2_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_5072-4_1_2_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_5072-4_1_2_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_5072-4_1_2_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_5072-4_1_2_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_5072-4_1_2_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_5072-4_1_2_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_5072-4_1_2_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_5072-4_1_2_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_5072-4_1_2_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_5072-4_1_2_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_5072-4_1_2_node_103 | 0.4 | n |  | TRUE
35 | bus_LV_5072-4_1_2_node_118 | 0.4 | n |  | TRUE
36 | bus_LV_5072-4_1_2_node_126 | 0.4 | n |  | TRUE
37 | bus_MV_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5072-4_1_2_load_128 | 0 | 0.00050582 | 0.00012677 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5072-4_1_2_load_119 | 1 | 0.00058801 | 0.00014737 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5072-4_1_2_load_127 | 2 | 0.00047498 | 0.00011904 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5072-4_1_2_load_129 | 3 | 0.00041315 | 0.00010354 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5072-4_1_2_load_130 | 4 | 0.00036947 | 9.2599e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5072-4_1_2_load_131 | 5 | 0.00065323 | 0.00016371 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5072-4_1_2_load_132 | 7 | 0.0004402 | 0.00011033 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5072-4_1_2_load_23 | 8 | 0.0014542 | 0.00036447 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5072-4_1_2_load_100 | 9 | 0.00064189 | 0.00016087 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5072-4_1_2_load_26 | 10 | 0.00055958 | 0.00014025 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5072-4_1_2_load_27 | 11 | 0.00067581 | 0.00016937 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5072-4_1_2_load_28 | 12 | 0.00036609 | 9.175e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5072-4_1_2_load_29 | 13 | 0.00083118 | 0.00020831 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5072-4_1_2_load_30 | 14 | 0.00045188 | 0.00011325 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5072-4_1_2_load_31 | 15 | 0.00050314 | 0.0001261 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5072-4_1_2_load_32 | 16 | 0.00052368 | 0.00013125 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5072-4_1_2_load_62 | 17 | 0.00060202 | 0.00015088 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5072-4_1_2_load_96 | 18 | 0.00046643 | 0.0001169 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5072-4_1_2_load_33 | 19 | 0.0020275 | 0.00050813 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5072-4_1_2_load_34 | 20 | 0.00055927 | 0.00014017 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5072-4_1_2_load_35 | 21 | 0.00045127 | 0.0001131 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5072-4_1_2_load_36 | 22 | 0.00064363 | 0.00016131 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5072-4_1_2_load_37 | 23 | 0.0008586 | 0.00021518 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5072-4_1_2_load_38 | 24 | 0.0012281 | 0.00030778 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5072-4_1_2_load_39 | 25 | 0.00044268 | 0.00011095 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5072-4_1_2_load_40 | 26 | 0.00040801 | 0.00010226 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5072-4_1_2_load_41 | 27 | 0.00039958 | 0.00010014 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5072-4_1_2_load_42 | 28 | 0.0004428 | 0.00011098 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5072-4_1_2_load_58 | 29 | 0.00037289 | 9.3455e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5072-4_1_2_load_57 | 30 | 0.00050761 | 0.00012722 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5072-4_1_2_load_59 | 31 | 0.00046691 | 0.00011702 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5072-4_1_2_load_60 | 32 | 0.00060633 | 0.00015196 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5072-4_1_2_load_61 | 33 | 0.00036918 | 9.2525e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5072-4_1_2_load_103 | 34 | 0.00048513 | 0.00012158 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5072-4_1_2_load_118 | 35 | 0.00060202 | 0.00015088 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5072-4_1_2_load_126 | 36 | 0.00040618 | 0.0001018 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5072-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.55789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5072-4_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0099116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5072-4_1_2_line_2 | NAYY 4x150 SE | 1 | 35 | 0.0032747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5072-4_1_2_line_3 | NAYY 4x150 SE | 2 | 36 | 0.010377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5072-4_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.0033072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5072-4_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.090559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5072-4_1_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.075263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5072-4_1_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.10978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5072-4_1_2_line_8 | NAYY 4x150 SE | 6 | 32 | 0.39986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5072-4_1_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.052372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5072-4_1_2_line_10 | NAYY 4x150 SE | 9 | 26 | 0.036548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5072-4_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.58335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5072-4_1_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.035825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5072-4_1_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0023078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5072-4_1_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.011418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5072-4_1_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0044532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5072-4_1_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.010373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5072-4_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0044232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5072-4_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.00088777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5072-4_1_2_line_19 | NAYY 4x150 SE | 17 | 35 | 0.00418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5072-4_1_2_line_20 | NAYY 4x150 SE | 18 | 23 | 0.0026696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5072-4_1_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.023183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5072-4_1_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.00095429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5072-4_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0061724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5072-4_1_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0097263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5072-4_1_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0087799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5072-4_1_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0064202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5072-4_1_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0045623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5072-4_1_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.40243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5072-4_1_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.21913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5072-4_1_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.16747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5072-4_1_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.010841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5072-4_1_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.011413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5072-4_1_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.36443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5072-4_1_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.013348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5072-4_1_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5072-4_1_2_trafo_26 | 0.25 MVA 20/0.4 kV | 37 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40
0 | 2706574.8717 | 1142824.5308 | 2706930.9634 | 1143253.9985
1 | 2706924.543 | 1143261.5497 | 2706930.9634 | 1143253.9985
2 | 2706574.9295 | 1142821.2566 | 2706574.8717 | 1142824.5308
3 | 2706917.9487 | 1143269.5554 | 2706919.139 | 1143267.9053 | 2706924.543 | 1143261.5497
4 | 2706611.2108 | 1141462.2606 | 2706613.6974 | 1141464.441
5 | 2706552.2725 | 1141397.4608 | 2706553.8363 | 1141408.1841 | 2706558.7203 | 1141418.1323 | 2706569.3169 | 1141425.5241 | 2706611.2108 | 1141462.2606
6 | 2706667.3956 | 1141515.7147 | 2706662.8344 | 1141505.3496 | 2706616.2501 | 1141466.6795 | 2706613.6974 | 1141464.441
7 | 2706667.3956 | 1141515.7147 | 2706670.2286 | 1141514.2305 | 2706680.2733 | 1141517.588 | 2706704.1866 | 1141529.8297 | 2706719.5277 | 1141537.1946 | 2706729.5995 | 1141539.0183 | 2706733.1049 | 1141539.0803 | 2706735.3997 | 1141537.5866 | 2706739.8826 | 1141529.3384 | 2706739.8897 | 1141522.8566 | 2706736.9631 | 1141513.5544 | 2706732.4218 | 1141504.6382
8 | 2706395.7285 | 1141809.1141 | 2706667.3956 | 1141515.7147
9 | 2706162.2791 | 1142449.4574 | 2706177.5054 | 1142441.2678 | 2706195.4309 | 1142436.2467 | 2706202.246 | 1142421.2551
10 | 2706238.7575 | 1142422.8877 | 2706202.246 | 1142421.2551
11 | 2706323.9934 | 1142469.6648 | 2706332.1449 | 1142469.4422 | 2706350.7527 | 1142468.8921 | 2706367.6825 | 1142473.2488 | 2706400.6913 | 1142471.3518 | 2706413.3023 | 1142470.7961 | 2706421.2428 | 1142467.4006 | 2706447.511 | 1142474.5352 | 2706455.4307 | 1142472.3179 | 2706485.9635 | 1142483.0747 | 2706499.6967 | 1142486.4526 | 2706501.7336 | 1142482.5638 | 2706520.661 | 1142481.3304 | 2706536.6914 | 1142488.2846 | 2706536.9377 | 1142496.5387 | 2706543.9548 | 1142500.5874 | 2706540.3006 | 1142506.8046 | 2706552.9192 | 1142506.2493 | 2706568.5498 | 1142513.1965 | 2706571.0871 | 1142525.8049 | 2706571.1322 | 1142545.4405 | 2706566.5622 | 1142559.1019 | 2706561.7313 | 1142564.9092 | 2706565.8642 | 1142575.9782 | 2706566.1044 | 1142585.0104 | 2706562.0851 | 1142589.2644 | 2706567.8777 | 1142596.0377 | 2706566.1218 | 1142606.2132 | 2706562.0478 | 1142614.0018 | 2706561.0689 | 1142624.5802 | 2706565.8165 | 1142623.4855 | 2706569.8598 | 1142640.0565 | 2706570.8416 | 1142651.0586 | 2706570.2554 | 1142662.0442 | 2706575.4953 | 1142677.4577 | 2706576.724 | 1142697.1143 | 2706576.0129 | 1142715.1577 | 2706576.7803 | 1142738.7308 | 2706575.5653 | 1142762.6692 | 2706574.0704 | 1142780.6987 | 2706575.0689 | 1142805.8963
12 | 2706323.9934 | 1142469.6648 | 2706320.2683 | 1142469.7665 | 2706303.6986 | 1142471.5868 | 2706288.2806 | 1142472.1823
13 | 2706575.1603 | 1142808.2023 | 2706575.1603 | 1142808.2023 | 2706575.0689 | 1142805.8963
14 | 2706277.5629 | 1142476.1182 | 2706288.2806 | 1142472.1823 | 2706288.2806 | 1142472.1823
15 | 2706575.1603 | 1142808.2023 | 2706575.0816 | 1142812.6548
16 | 2706268.971 | 1142470.3062 | 2706277.5629 | 1142476.1182 | 2706277.5629 | 1142476.1182
17 | 2706575.0034 | 1142817.0773 | 2706575.0816 | 1142812.6548
18 | 2706268.2357 | 1142469.8088 | 2706268.971 | 1142470.3062
19 | 2706575.0034 | 1142817.0773 | 2706574.9295 | 1142821.2566
20 | 2706268.2357 | 1142469.8088 | 2706266.0245 | 1142468.313
21 | 2706256.7856 | 1142439.6623 | 2706255.5435 | 1142446.0112 | 2706259.8971 | 1142451.1356 | 2706258.2626 | 1142460.9909 | 2706258.2626 | 1142460.9909
22 | 2706258.2626 | 1142460.9909 | 2706258.9492 | 1142461.6537
23 | 2706256.7856 | 1142439.6623 | 2706256.7856 | 1142439.6623 | 2706251.3036 | 1142436.8257
24 | 2706258.9492 | 1142461.6537 | 2706265.4293 | 1142467.9104 | 2706266.0245 | 1142468.313
25 | 2706243.5058 | 1142432.7908 | 2706251.3036 | 1142436.8257
26 | 2706240.73 | 1142427.0016 | 2706243.5058 | 1142432.7908 | 2706243.5058 | 1142432.7908
27 | 2706240.73 | 1142427.0016 | 2706238.7575 | 1142422.8877
28 | 2706238.7575 | 1142422.8877 | 2706238.4036 | 1142422.1497 | 2706242.1557 | 1142414.7221 | 2706238.4056 | 1142406.3285 | 2706218.7516 | 1142399.0445 | 2706231.0052 | 1142383.428 | 2706244.1592 | 1142372.1412 | 2706255.4504 | 1142363.5901 | 2706260.6125 | 1142362.9806 | 2706260.1078 | 1142360.2033 | 2706253.2347 | 1142354.9456 | 2706258.6039 | 1142350.8709 | 2706275.0057 | 1142344.6335 | 2706280.4153 | 1142346.1186 | 2706278.8718 | 1142338.5977 | 2706273.167 | 1142330.303 | 2706265.3352 | 1142324.4725 | 2706259.9573 | 1142321.1868 | 2706255.5975 | 1142315.9734 | 2706259.3365 | 1142304.9321 | 2706267.6944 | 1142300.9768 | 2706267.9423 | 1142298.6908 | 2706284.7115 | 1142287.3233 | 2706286.2054 | 1142281.5237 | 2706279.3103 | 1142277.5108 | 2706265.5274 | 1142269.4963 | 2706264.3885 | 1142270.866 | 2706249.3661 | 1142269.4894 | 2706243.157 | 1142274.1053 | 2706232.701 | 1142282.8045 | 2706223.347 | 1142291.8012 | 2706210.2329 | 1142292.96 | 2706194.6523 | 1142291.8517 | 2706189.6947 | 1142288.7069 | 2706182.6939 | 1142274.9749 | 2706180.7189 | 1142260.5087 | 2706176.5619 | 1142243.7693 | 2706168.9412 | 1142233.3619 | 2706165.7938 | 1142229.1812
29 | 2706184.4843 | 1142127.4056 | 2706181.8773 | 1142131.402 | 2706170.4484 | 1142132.0347 | 2706162.0345 | 1142135.222 | 2706141.7285 | 1142133.4748 | 2706141.9102 | 1142139.3151 | 2706133.5893 | 1142137.2229 | 2706126.5083 | 1142143.7581 | 2706116.5486 | 1142139.9805 | 2706109.5945 | 1142139.3023 | 2706098.9519 | 1142142.4394 | 2706095.006 | 1142145.1495 | 2706122.7983 | 1142164.5173 | 2706122.4581 | 1142168.1247 | 2706133.187 | 1142175.8072 | 2706139.4188 | 1142185.6342 | 2706142.0545 | 1142194.0193 | 2706140.8354 | 1142200.3797 | 2706148.1865 | 1142209.9484 | 2706154.9891 | 1142219.2296 | 2706163.2238 | 1142225.7675 | 2706165.7938 | 1142229.1812
30 | 2706221.6437 | 1142040.0569 | 2706220.0592 | 1142043.6957 | 2706218.3066 | 1142044.5431 | 2706215.1699 | 1142044.5213 | 2706208.2304 | 1142043.0093 | 2706198.4154 | 1142046.7278 | 2706194.8762 | 1142057.7726 | 2706199.0919 | 1142055.9011 | 2706198.4038 | 1142063.1047 | 2706203.6117 | 1142068.1996 | 2706191.5872 | 1142070.7674 | 2706200.3884 | 1142077.0263 | 2706204.4349 | 1142084.3244 | 2706204.0801 | 1142088.7544 | 2706196.0776 | 1142084.7332 | 2706187.659 | 1142088.1872 | 2706180.2863 | 1142095.5622 | 2706173.5893 | 1142096.0002 | 2706172.3723 | 1142101.8047 | 2706173.6169 | 1142110.1542 | 2706184.3408 | 1142118.1258 | 2706187.6063 | 1142122.6194 | 2706184.4843 | 1142127.4056
31 | 2706225.9721 | 1142030.1172 | 2706221.6437 | 1142040.0569
32 | 2706225.9721 | 1142030.1172 | 2706227.4632 | 1142026.6929 | 2706222.2651 | 1142021.0422
33 | 2706222.2651 | 1142021.0422 | 2706222.2651 | 1142021.0422 | 2706227.649 | 1142016.145 | 2706236.0582 | 1142013.2356 | 2706251.142 | 1142010.7218 | 2706257.8881 | 1142007.5052 | 2706270.8971 | 1142011.9037 | 2706274.9584 | 1142003.0919 | 2706280.7436 | 1141990.6969 | 2706287.3156 | 1141981.6513 | 2706292.1387 | 1141976.7331 | 2706312.5599 | 1141971.5451 | 2706319.83 | 1141970.0055 | 2706329.3293 | 1141968.5053 | 2706335.5388 | 1141963.8895 | 2706343.3555 | 1141963.1935 | 2706346.5419 | 1141956.034 | 2706354.0622 | 1141956.4445 | 2706351.1274 | 1141948.8991 | 2706354.5397 | 1141945.0679 | 2706353.256 | 1141938.9413 | 2706359.0074 | 1141928.4805 | 2706367.2427 | 1141919.7422 | 2706371.8919 | 1141908.9951 | 2706377.0897 | 1141898.5356 | 2706382.6083 | 1141885.5801 | 2706380.438 | 1141882.2064 | 2706376.93 | 1141875.7626 | 2706377.8414 | 1141871.6094 | 2706385.2537 | 1141862.0228 | 2706389.7512 | 1141859.8785 | 2706397.6973 | 1141851.4131 | 2706406.2439 | 1141840.7348 | 2706413.8325 | 1141821.1561 | 2706420.7797 | 1141806.5581 | 2706395.7285 | 1141809.1141
34 | 2706383.2812 | 1141805.5668 | 2706388.1339 | 1141808.5949 | 2706394.7664 | 1141809.2122 | 2706395.7285 | 1141809.1141
35 | 2706383.2812 | 1141805.5668 | 2706375.9955 | 1141801.0205 | 2706372.3048 | 1141794.1346

## bus_geodata
| x | y | coords
0 | 2706930.9634 | 1143253.9985
1 | 2706574.8717 | 1142824.5308
2 | 2706924.543 | 1143261.5497
3 | 2706611.2108 | 1141462.2606
4 | 2706613.6974 | 1141464.441
5 | 2706552.2725 | 1141397.4608
6 | 2706667.3956 | 1141515.7147
7 | 2706732.4218 | 1141504.6382
8 | 2706162.2791 | 1142449.4574
9 | 2706202.246 | 1142421.2551
10 | 2706323.9934 | 1142469.6648
11 | 2706575.0689 | 1142805.8963
12 | 2706288.2806 | 1142472.1823
13 | 2706575.1603 | 1142808.2023
14 | 2706277.5629 | 1142476.1182
15 | 2706575.0816 | 1142812.6548
16 | 2706268.971 | 1142470.3062
17 | 2706575.0034 | 1142817.0773
18 | 2706268.2357 | 1142469.8088
19 | 2706258.2626 | 1142460.9909
20 | 2706256.7856 | 1142439.6623
21 | 2706258.9492 | 1142461.6537
22 | 2706251.3036 | 1142436.8257
23 | 2706266.0245 | 1142468.313
24 | 2706243.5058 | 1142432.7908
25 | 2706240.73 | 1142427.0016
26 | 2706238.7575 | 1142422.8877
27 | 2706165.7938 | 1142229.1812
28 | 2706184.4843 | 1142127.4056
29 | 2706221.6437 | 1142040.0569
30 | 2706225.9721 | 1142030.1172
31 | 2706222.2651 | 1142021.0422
32 | 2706395.7285 | 1141809.1141
33 | 2706383.2812 | 1141805.5668
34 | 2706372.3048 | 1141794.1346
35 | 2706574.9295 | 1142821.2566
36 | 2706917.9487 | 1143269.5554
37 | 2706323.9934 | 1142469.6648

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1