## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5076-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5076-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5076-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5076-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5076-3_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5076-3_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5076-3_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5076-3_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5076-3_0_2_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_5076-3_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5076-3_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5076-3_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5076-3_0_2_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_5076-3_0_2_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_5076-3_0_2_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_5076-3_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5076-3_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5076-3_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5076-3_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5076-3_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5076-3_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5076-3_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5076-3_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5076-3_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_5076-3_0_2_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_5076-3_0_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_5076-3_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_5076-3_0_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5076-3_0_2_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5076-3_0_2_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_5076-3_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5076-3_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5076-3_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_5076-3_0_2_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_5076-3_0_2_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5076-3_0_2_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_5076-3_0_2_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_5076-3_0_2_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_5076-3_0_2_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_5076-3_0_2_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_5076-3_0_2_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5076-3_0_2_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_5076-3_0_2_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5076-3_0_2_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_5076-3_0_2_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_5076-3_0_2_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_5076-3_0_2_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_5076-3_0_2_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5076-3_0_2_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_5076-3_0_2_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5076-3_0_2_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_5076-3_0_2_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5076-3_0_2_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_5076-3_0_2_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_5076-3_0_2_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_5076-3_0_2_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_5076-3_0_2_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_5076-3_0_2_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_5076-3_0_2_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5076-3_0_2_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5076-3_0_2_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5076-3_0_2_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_5076-3_0_2_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_5076-3_0_2_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_5076-3_0_2_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_5076-3_0_2_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_5076-3_0_2_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_5076-3_0_2_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_5076-3_0_2_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_5076-3_0_2_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_5076-3_0_2_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_5076-3_0_2_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_5076-3_0_2_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_5076-3_0_2_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_5076-3_0_2_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_5076-3_0_2_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_5076-3_0_2_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_5076-3_0_2_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_5076-3_0_2_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_5076-3_0_2_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_5076-3_0_2_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_5076-3_0_2_node_70 | 0.4 | n |  | TRUE
82 | bus_MV_186_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5076-3_0_2_load_0 | 0 | 0.003014 | 0.00075538 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5076-3_0_2_load_1 | 1 | 0.0081011 | 0.0020303 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5076-3_0_2_load_2 | 2 | 0.0048619 | 0.0012185 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5076-3_0_2_load_3 | 3 | 0.0010383 | 0.00026021 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5076-3_0_2_load_4 | 4 | 0.0018832 | 0.00047199 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5076-3_0_2_load_5 | 5 | 0.0056031 | 0.0014043 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5076-3_0_2_load_6 | 6 | 0.008638 | 0.0021649 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5076-3_0_2_load_10 | 8 | 0.0045999 | 0.0011528 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5076-3_0_2_load_8 | 9 | 0.004559 | 0.0011426 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5076-3_0_2_load_11 | 11 | 0.0019803 | 0.00049632 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5076-3_0_2_load_59 | 12 | 0.0043456 | 0.0010891 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5076-3_0_2_load_74 | 13 | 0.012632 | 0.0031658 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5076-3_0_2_load_57 | 14 | 0.0020088 | 0.00050346 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5076-3_0_2_load_12 | 15 | 0.0013224 | 0.00033142 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5076-3_0_2_load_13 | 16 | 0.0019107 | 0.00047886 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5076-3_0_2_load_14 | 17 | 0.0011856 | 0.00029713 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5076-3_0_2_load_15 | 18 | 0.0020658 | 0.00051775 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5076-3_0_2_load_18 | 21 | 0.0021412 | 0.00053663 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5076-3_0_2_load_19 | 22 | 0.0019866 | 0.00049788 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5076-3_0_2_load_23 | 23 | 0.00094864 | 0.00023775 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5076-3_0_2_load_31 | 24 | 0.0021061 | 0.00052785 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5076-3_0_2_load_28 | 25 | 0.00079616 | 0.00019954 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5076-3_0_2_load_26 | 26 | 0.0025745 | 0.00064523 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5076-3_0_2_load_20 | 27 | 0.00077088 | 0.0001932 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5076-3_0_2_load_21 | 28 | 0.0011014 | 0.00027604 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5076-3_0_2_load_54 | 29 | 0.0018081 | 0.00045315 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5076-3_0_2_load_29 | 30 | 0.00072282 | 0.00018116 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5076-3_0_2_load_24 | 32 | 0.0008687 | 0.00021772 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5076-3_0_2_load_85 | 35 | 0.00098855 | 0.00024776 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5076-3_0_2_load_30 | 37 | 0.0012831 | 0.00032159 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5076-3_0_2_load_81 | 38 | 0.0048055 | 0.0012044 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5076-3_0_2_load_55 | 39 | 0.0020148 | 0.00050497 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5076-3_0_2_load_32 | 40 | 0.0014986 | 0.00037559 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5076-3_0_2_load_33 | 41 | 0.0016488 | 0.00041322 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5076-3_0_2_load_34 | 42 | 0.0022533 | 0.00056473 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5076-3_0_2_load_35 | 43 | 0.0014769 | 0.00037014 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5076-3_0_2_load_36 | 44 | 0.0017236 | 0.00043197 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5076-3_0_2_load_37 | 45 | 0.0013367 | 0.000335 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5076-3_0_2_load_38 | 46 | 0.0015056 | 0.00037733 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5076-3_0_2_load_39 | 47 | 0.0017672 | 0.0004429 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5076-3_0_2_load_78 | 48 | 0.0052643 | 0.0013194 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5076-3_0_2_load_40 | 49 | 0.0013566 | 0.00034 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5076-3_0_2_load_41 | 51 | 0.0013155 | 0.0003297 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5076-3_0_2_load_42 | 52 | 0.0027318 | 0.00068466 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5076-3_0_2_load_43 | 53 | 0.0020067 | 0.00050293 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5076-3_0_2_load_58 | 54 | 0.0011921 | 0.00029877 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5076-3_0_2_load_44 | 56 | 0.0019355 | 0.00048508 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5076-3_0_2_load_45 | 57 | 0.0022838 | 0.00057237 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5076-3_0_2_load_47 | 59 | 0.002921 | 0.00073208 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5076-3_0_2_load_49 | 61 | 0.0019332 | 0.0004845 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5076-3_0_2_load_50 | 62 | 0.0018213 | 0.00045646 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5076-3_0_2_load_51 | 63 | 0.0013736 | 0.00034427 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5076-3_0_2_load_53 | 65 | 0.0033918 | 0.00085006 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5076-3_0_2_load_60 | 66 | 0.0026051 | 0.00065289 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5076-3_0_2_load_77 | 67 | 0.0025554 | 0.00064045 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5076-3_0_2_load_76 | 69 | 0.0037697 | 0.00094478 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5076-3_0_2_load_71 | 70 | 0.0027235 | 0.00068257 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5076-3_0_2_load_64 | 74 | 0.0032558 | 0.00081597 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5076-3_0_2_load_65 | 75 | 0.002148 | 0.00053834 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5076-3_0_2_load_66 | 76 | 0.0036749 | 0.00092103 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5076-3_0_2_load_67 | 77 | 0.0023878 | 0.00059845 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5076-3_0_2_load_68 | 78 | 0.0020982 | 0.00052586 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5076-3_0_2_load_70 | 81 | 0.0013523 | 0.00033892 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5076-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5076-3_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0034006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5076-3_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5076-3_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5076-3_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5076-3_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.016271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5076-3_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.019373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5076-3_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.011436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5076-3_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0045627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5076-3_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.048787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5076-3_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.00675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5076-3_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.01967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5076-3_0_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.0056739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5076-3_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.042327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5076-3_0_2_line_14 | NAYY 4x150 SE | 14 | 55 | 0.032003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5076-3_0_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.018906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5076-3_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.0090702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5076-3_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0081969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5076-3_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.030856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5076-3_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.0071099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5076-3_0_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.013795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5076-3_0_2_line_21 | NAYY 4x150 SE | 19 | 22 | 0.014739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5076-3_0_2_line_22 | NAYY 4x150 SE | 20 | 23 | 0.017901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5076-3_0_2_line_23 | NAYY 4x150 SE | 21 | 24 | 0.0028091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5076-3_0_2_line_24 | NAYY 4x150 SE | 22 | 25 | 0.032919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5076-3_0_2_line_25 | NAYY 4x150 SE | 23 | 26 | 0.001063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5076-3_0_2_line_26 | NAYY 4x150 SE | 24 | 29 | 0.025077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5076-3_0_2_line_27 | NAYY 4x150 SE | 25 | 30 | 0.012553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5076-3_0_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.014839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5076-3_0_2_line_29 | NAYY 4x150 SE | 28 | 31 | 0.011263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5076-3_0_2_line_30 | NAYY 4x150 SE | 29 | 39 | 0.04136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5076-3_0_2_line_31 | NAYY 4x150 SE | 30 | 37 | 0.0072194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5076-3_0_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0084546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5076-3_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.0041968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5076-3_0_2_line_34 | NAYY 4x150 SE | 33 | 35 | 0.018089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5076-3_0_2_line_35 | NAYY 4x150 SE | 33 | 37 | 0.0033933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5076-3_0_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0047964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5076-3_0_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.016945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5076-3_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.012337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5076-3_0_2_line_39 | NAYY 4x150 SE | 39 | 55 | 0.0024288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5076-3_0_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.012893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5076-3_0_2_line_41 | NAYY 4x150 SE | 40 | 42 | 0.0080476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5076-3_0_2_line_42 | NAYY 4x150 SE | 41 | 43 | 0.0048943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5076-3_0_2_line_43 | NAYY 4x150 SE | 42 | 44 | 0.015388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5076-3_0_2_line_44 | NAYY 4x150 SE | 43 | 45 | 0.010562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5076-3_0_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0046669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5076-3_0_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.0030219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5076-3_0_2_line_47 | NAYY 4x150 SE | 46 | 48 | 0.0091708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5076-3_0_2_line_48 | NAYY 4x150 SE | 47 | 49 | 0.010129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5076-3_0_2_line_49 | NAYY 4x150 SE | 48 | 50 | 0.0048006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5076-3_0_2_line_50 | NAYY 4x150 SE | 49 | 51 | 0.010926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5076-3_0_2_line_51 | NAYY 4x150 SE | 50 | 79 | 0.006204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5076-3_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.023658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5076-3_0_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.023817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5076-3_0_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.014409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5076-3_0_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.01459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5076-3_0_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.017446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5076-3_0_2_line_57 | NAYY 4x150 SE | 56 | 58 | 0.0081612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5076-3_0_2_line_58 | NAYY 4x150 SE | 57 | 59 | 0.027703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5076-3_0_2_line_59 | NAYY 4x150 SE | 58 | 60 | 0.007856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5076-3_0_2_line_60 | NAYY 4x150 SE | 58 | 61 | 0.036436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5076-3_0_2_line_61 | NAYY 4x150 SE | 59 | 62 | 0.013437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5076-3_0_2_line_62 | NAYY 4x150 SE | 60 | 63 | 0.040444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5076-3_0_2_line_63 | NAYY 4x150 SE | 60 | 64 | 0.03229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5076-3_0_2_line_64 | NAYY 4x150 SE | 61 | 65 | 0.032891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5076-3_0_2_line_65 | NAYY 4x150 SE | 62 | 66 | 0.0028245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5076-3_0_2_line_66 | NAYY 4x150 SE | 64 | 67 | 0.021042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5076-3_0_2_line_67 | NAYY 4x150 SE | 65 | 68 | 0.043003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5076-3_0_2_line_68 | NAYY 4x150 SE | 67 | 69 | 0.014907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5076-3_0_2_line_69 | NAYY 4x150 SE | 68 | 70 | 0.024698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5076-3_0_2_line_70 | NAYY 4x150 SE | 70 | 80 | 0.0039425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5076-3_0_2_line_71 | NAYY 4x150 SE | 71 | 72 | 0.045353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5076-3_0_2_line_72 | NAYY 4x150 SE | 71 | 73 | 0.008823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5076-3_0_2_line_73 | NAYY 4x150 SE | 72 | 74 | 0.035833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5076-3_0_2_line_74 | NAYY 4x150 SE | 72 | 75 | 0.037516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5076-3_0_2_line_75 | NAYY 4x150 SE | 73 | 76 | 0.011684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5076-3_0_2_line_76 | NAYY 4x150 SE | 73 | 77 | 0.0022011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5076-3_0_2_line_77 | NAYY 4x150 SE | 75 | 78 | 0.022907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5076-3_0_2_line_78 | NAYY 4x150 SE | 77 | 79 | 0.024344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5076-3_0_2_line_79 | NAYY 4x150 SE | 78 | 80 | 0.015653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5076-3_0_2_line_80 | NAYY 4x150 SE | 80 | 81 | 0.044786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5076-3_0_2_trafo_43 | 0.25 MVA 20/0.4 kV | 82 | 53 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2713628.5 | 1136672.6188 | 2713634.3674 | 1136680.9028 | 2713643.2316 | 1136688.9701
1 | 2713628.5 | 1136672.6188 | 2713626.5345 | 1136669.8437
2 | 2713653.3666 | 1136698.1939 | 2713653.3666 | 1136698.1939 | 2713643.2316 | 1136688.9701
3 | 2713626.5345 | 1136669.8437 | 2713618.4551 | 1136658.4365
4 | 2713653.3666 | 1136698.1939 | 2713669.9039 | 1136714.1409
5 | 2713618.4551 | 1136658.4365 | 2713609.0506 | 1136645.1584
6 | 2713681.4702 | 1136729.3768 | 2713677.086 | 1136721.0666 | 2713669.9039 | 1136714.1409
7 | 2713609.0506 | 1136645.1584 | 2713609.0506 | 1136645.1584 | 2713607.5104 | 1136636.2124 | 2713608.0081 | 1136633.9074
8 | 2713681.4702 | 1136729.3768 | 2713685.4873 | 1136727.2135
9 | 2713643.7051 | 1136759.6639 | 2713669.4436 | 1136743.1485 | 2713681.4702 | 1136729.3768
10 | 2713609.4327 | 1136627.3094 | 2713608.0081 | 1136633.9074
11 | 2713695.1567 | 1136710.5408 | 2713694.2517 | 1136714.7522 | 2713686.4772 | 1136726.6804 | 2713685.4873 | 1136727.2135
12 | 2713643.7051 | 1136759.6639 | 2713641.0458 | 1136757.0232 | 2713639.2987 | 1136756.212
13 | 2713695.1567 | 1136710.5408 | 2713698.5116 | 1136694.9304 | 2713693.5295 | 1136669.045
14 | 2713707.0674 | 1136641.1225 | 2713701.2595 | 1136650.3749 | 2713695.5854 | 1136659.8855 | 2713692.7213 | 1136664.8459 | 2713693.5295 | 1136669.045
15 | 2713724.8555 | 1136519.0652 | 2713733.4885 | 1136535.8855
16 | 2713737.6301 | 1136543.9549 | 2713733.4885 | 1136535.8855
17 | 2713724.8555 | 1136519.0652 | 2713721.1127 | 1136511.7727
18 | 2713751.8814 | 1136571.3202 | 2713749.0457 | 1136566.1968 | 2713737.6301 | 1136543.9549
19 | 2713717.8662 | 1136505.4472 | 2713721.1127 | 1136511.7727
20 | 2713751.8814 | 1136571.3202 | 2713751.9495 | 1136579.5492 | 2713750.5091 | 1136584.9256
21 | 2713751.8814 | 1136571.3202 | 2713754.6728 | 1136562.0556 | 2713756.594 | 1136557.3717
22 | 2713717.8662 | 1136505.4472 | 2713709.772 | 1136489.4805
23 | 2713749.1086 | 1136587.3607 | 2713750.5091 | 1136584.9256
24 | 2713756.594 | 1136557.3717 | 2713758.2706 | 1136553.2842 | 2713761.377 | 1136546.4938 | 2713764.7223 | 1136542.1428 | 2713776.1367 | 1136533.5188 | 2713776.835 | 1136532.4949
25 | 2713709.772 | 1136489.4805 | 2713709.2913 | 1136488.5323
26 | 2713749.1086 | 1136587.3607 | 2713747.7321 | 1136589.7543 | 2713732.5896 | 1136606.146
27 | 2713779.8074 | 1136520.4999 | 2713779.5662 | 1136524.6997 | 2713777.9335 | 1136530.8842 | 2713776.835 | 1136532.4949
28 | 2713747.9474 | 1136488.8916 | 2713753.0747 | 1136488.8103 | 2713758.1724 | 1136490.7076 | 2713761.595 | 1136493.2643
29 | 2713770.3432 | 1136500.3543 | 2713763.2877 | 1136494.5287 | 2713761.595 | 1136493.2643
30 | 2713732.5896 | 1136606.146 | 2713713.9731 | 1136626.2983 | 2713708.093 | 1136638.9209
31 | 2713779.8074 | 1136520.4999 | 2713779.9099 | 1136518.7134 | 2713778.9355 | 1136513.3716
32 | 2713770.3432 | 1136500.3543 | 2713776.28 | 1136506.3738
33 | 2713778.3265 | 1136510.0334 | 2713776.3546 | 1136506.4494 | 2713776.28 | 1136506.3738
34 | 2713778.3265 | 1136510.0334 | 2713782.9482 | 1136509.0086 | 2713796.3003 | 1136508.7158
35 | 2713778.3265 | 1136510.0334 | 2713778.9355 | 1136513.3716
36 | 2713800.7404 | 1136507.0537 | 2713797.123 | 1136508.6977 | 2713796.3003 | 1136508.7158
37 | 2713800.7404 | 1136507.0537 | 2713811.9916 | 1136519.7518
38 | 2713811.9916 | 1136519.7518 | 2713817.9484 | 1136530.555
39 | 2713707.0674 | 1136641.1225 | 2713708.093 | 1136638.9209
40 | 2713819.8825 | 1136590.6475 | 2713819.8825 | 1136590.6475 | 2713811.0631 | 1136600.0523
41 | 2713819.8825 | 1136590.6475 | 2713823.4773 | 1136588.5694 | 2713827.0396 | 1136586.9932
42 | 2713807.7152 | 1136603.6223 | 2713811.0631 | 1136600.0523
43 | 2713841.9711 | 1136583.5412 | 2713829.6473 | 1136585.8394 | 2713827.0396 | 1136586.9932
44 | 2713807.7152 | 1136603.6223 | 2713801.6767 | 1136610.0617 | 2713800.2719 | 1136611.0794
45 | 2713841.9711 | 1136583.5412 | 2713846.559 | 1136582.6857
46 | 2713797.8247 | 1136612.8523 | 2713800.2719 | 1136611.0794
47 | 2713855.5744 | 1136581.0045 | 2713846.559 | 1136582.6857
48 | 2713797.8247 | 1136612.8523 | 2713794.6464 | 1136615.1548 | 2713789.3452 | 1136618.3784
49 | 2713860.2936 | 1136580.1244 | 2713855.5744 | 1136581.0045
50 | 2713789.3452 | 1136618.3784 | 2713786.861 | 1136619.889 | 2713779.5324 | 1136623.1443
51 | 2713860.2936 | 1136580.1244 | 2713866.4853 | 1136579.5074
52 | 2713757.8238 | 1136632.5435 | 2713766.4026 | 1136628.9763 | 2713779.5324 | 1136623.1443
53 | 2713757.8238 | 1136632.5435 | 2713739.6722 | 1136640.0913 | 2713735.6055 | 1136640.9628
54 | 2713735.6055 | 1136640.9628 | 2713732.1845 | 1136641.6958 | 2713721.3124 | 1136642.6041
55 | 2713707.0674 | 1136641.1225 | 2713712.6873 | 1136643.0741 | 2713717.4154 | 1136642.9297 | 2713721.3124 | 1136642.6041
56 | 2713796.1556 | 1136690.5404 | 2713809.4607 | 1136679.2553
57 | 2713789.9317 | 1136695.8194 | 2713796.1556 | 1136690.5404
58 | 2713830.5874 | 1136661.3361 | 2713809.4607 | 1136679.2553
59 | 2713789.9317 | 1136695.8194 | 2713783.9705 | 1136700.9549
60 | 2713789.9317 | 1136695.8194 | 2713816.1952 | 1136721.0745
61 | 2713840.8348 | 1136652.6445 | 2713830.5874 | 1136661.3361
62 | 2713783.9705 | 1136700.9549 | 2713753.7721 | 1136673.9571
63 | 2713759.3709 | 1136721.9387 | 2713764.4963 | 1136717.8659 | 2713781.7002 | 1136702.9912 | 2713783.9705 | 1136700.9549
64 | 2713839.9035 | 1136743.8726 | 2713816.1952 | 1136721.0745
65 | 2713840.8348 | 1136652.6445 | 2713842.9889 | 1136650.8174
66 | 2713759.3709 | 1136721.9387 | 2713742.8006 | 1136734.9079
67 | 2713873.85 | 1136748.825 | 2713867.8648 | 1136754.4158 | 2713863.9925 | 1136757.3337 | 2713861.3621 | 1136758.4737 | 2713858.2635 | 1136758.7266 | 2713855.3824 | 1136758.0607 | 2713852.7919 | 1136756.2662 | 2713839.9035 | 1136743.8726
68 | 2713730.9784 | 1136743.9751 | 2713732.016 | 1136743.3488 | 2713742.8006 | 1136734.9079
69 | 2713873.85 | 1136748.825 | 2713871.7366 | 1136740.9132 | 2713869.8227 | 1136732.6272 | 2713868.9002 | 1136724.6763
70 | 2713868.4459 | 1136720.7601 | 2713868.9002 | 1136724.6763
71 | 2713884.0938 | 1136609.715 | 2713887.2686 | 1136614.4001 | 2713888.9074 | 1136617.6888 | 2713891.7244 | 1136625.4248 | 2713895.8442 | 1136638.3555 | 2713897.2562 | 1136645.0977 | 2713898.2272 | 1136652.3653
72 | 2713881.4804 | 1136601.3824 | 2713883.745 | 1136606.5841 | 2713884.0938 | 1136609.715
73 | 2713898.2272 | 1136652.3653 | 2713905.2368 | 1136651.23 | 2713933.1793 | 1136644.5416
74 | 2713898.2272 | 1136652.3653 | 2713895.9815 | 1136657.9933 | 2713894.15 | 1136662.4728 | 2713890.3277 | 1136669.6722 | 2713880.2264 | 1136685.1304
75 | 2713881.4804 | 1136601.3824 | 2713891.0268 | 1136594.6461
76 | 2713881.4804 | 1136601.3824 | 2713880.3963 | 1136599.4668
77 | 2713880.2264 | 1136685.1304 | 2713873.7488 | 1136695.043 | 2713870.4158 | 1136702.007 | 2713869.5134 | 1136705.2279
78 | 2713866.4853 | 1136579.5074 | 2713878.9109 | 1136596.842 | 2713880.3963 | 1136599.4668
79 | 2713868.4459 | 1136720.7601 | 2713868.3004 | 1136712.1516 | 2713868.9718 | 1136707.161 | 2713869.5134 | 1136705.2279
80 | 2713868.4459 | 1136720.7601 | 2713878.745 | 1136717.8079 | 2713912.4006 | 1136712.4968

## bus_geodata
| x | y | coords
0 | 2713628.5 | 1136672.6188
1 | 2713643.2316 | 1136688.9701
2 | 2713626.5345 | 1136669.8437
3 | 2713653.3666 | 1136698.1939
4 | 2713618.4551 | 1136658.4365
5 | 2713669.9039 | 1136714.1409
6 | 2713609.0506 | 1136645.1584
7 | 2713681.4702 | 1136729.3768
8 | 2713608.0081 | 1136633.9074
9 | 2713685.4873 | 1136727.2135
10 | 2713643.7051 | 1136759.6639
11 | 2713609.4327 | 1136627.3094
12 | 2713695.1567 | 1136710.5408
13 | 2713639.2987 | 1136756.212
14 | 2713693.5295 | 1136669.045
15 | 2713733.4885 | 1136535.8855
16 | 2713724.8555 | 1136519.0652
17 | 2713737.6301 | 1136543.9549
18 | 2713721.1127 | 1136511.7727
19 | 2713751.8814 | 1136571.3202
20 | 2713717.8662 | 1136505.4472
21 | 2713750.5091 | 1136584.9256
22 | 2713756.594 | 1136557.3717
23 | 2713709.772 | 1136489.4805
24 | 2713749.1086 | 1136587.3607
25 | 2713776.835 | 1136532.4949
26 | 2713709.2913 | 1136488.5323
27 | 2713747.9474 | 1136488.8916
28 | 2713761.595 | 1136493.2643
29 | 2713732.5896 | 1136606.146
30 | 2713779.8074 | 1136520.4999
31 | 2713770.3432 | 1136500.3543
32 | 2713776.28 | 1136506.3738
33 | 2713778.3265 | 1136510.0334
34 | 2713800.7404 | 1136507.0537
35 | 2713796.3003 | 1136508.7158
36 | 2713811.9916 | 1136519.7518
37 | 2713778.9355 | 1136513.3716
38 | 2713817.9484 | 1136530.555
39 | 2713708.093 | 1136638.9209
40 | 2713819.8825 | 1136590.6475
41 | 2713811.0631 | 1136600.0523
42 | 2713827.0396 | 1136586.9932
43 | 2713807.7152 | 1136603.6223
44 | 2713841.9711 | 1136583.5412
45 | 2713800.2719 | 1136611.0794
46 | 2713846.559 | 1136582.6857
47 | 2713797.8247 | 1136612.8523
48 | 2713855.5744 | 1136581.0045
49 | 2713789.3452 | 1136618.3784
50 | 2713860.2936 | 1136580.1244
51 | 2713779.5324 | 1136623.1443
52 | 2713757.8238 | 1136632.5435
53 | 2713735.6055 | 1136640.9628
54 | 2713721.3124 | 1136642.6041
55 | 2713707.0674 | 1136641.1225
56 | 2713796.1556 | 1136690.5404
57 | 2713809.4607 | 1136679.2553
58 | 2713789.9317 | 1136695.8194
59 | 2713830.5874 | 1136661.3361
60 | 2713783.9705 | 1136700.9549
61 | 2713816.1952 | 1136721.0745
62 | 2713840.8348 | 1136652.6445
63 | 2713753.7721 | 1136673.9571
64 | 2713759.3709 | 1136721.9387
65 | 2713839.9035 | 1136743.8726
66 | 2713842.9889 | 1136650.8174
67 | 2713742.8006 | 1136734.9079
68 | 2713873.85 | 1136748.825
69 | 2713730.9784 | 1136743.9751
70 | 2713868.9002 | 1136724.6763
71 | 2713884.0938 | 1136609.715
72 | 2713898.2272 | 1136652.3653
73 | 2713881.4804 | 1136601.3824
74 | 2713933.1793 | 1136644.5416
75 | 2713880.2264 | 1136685.1304
76 | 2713891.0268 | 1136594.6461
77 | 2713880.3963 | 1136599.4668
78 | 2713869.5134 | 1136705.2279
79 | 2713866.4853 | 1136579.5074
80 | 2713868.4459 | 1136720.7601
81 | 2713912.4006 | 1136712.4968
82 | 2713707.0674 | 1136641.1225

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1