## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5077-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5077-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5077-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5077-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5077-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5077-4_0_3_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_5077-4_0_3_node_83 | 0.4 | n |  | TRUE
7 | bus_LV_5077-4_0_3_node_90 | 0.4 | n |  | TRUE
8 | bus_LV_5077-4_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_5077-4_0_3_node_82 | 0.4 | n |  | TRUE
10 | bus_LV_5077-4_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5077-4_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5077-4_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5077-4_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5077-4_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5077-4_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5077-4_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5077-4_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5077-4_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5077-4_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5077-4_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5077-4_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5077-4_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5077-4_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5077-4_0_3_node_102 | 0.4 | n |  | TRUE
25 | bus_LV_5077-4_0_3_node_99 | 0.4 | n |  | TRUE
26 | bus_LV_5077-4_0_3_node_103 | 0.4 | n |  | TRUE
27 | bus_LV_5077-4_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5077-4_0_3_node_105 | 0.4 | n |  | TRUE
29 | bus_LV_5077-4_0_3_node_104 | 0.4 | n |  | TRUE
30 | bus_LV_5077-4_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5077-4_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5077-4_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_5077-4_0_3_node_106 | 0.4 | n |  | TRUE
34 | bus_LV_5077-4_0_3_node_107 | 0.4 | n |  | TRUE
35 | bus_LV_5077-4_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_5077-4_0_3_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_5077-4_0_3_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_5077-4_0_3_node_108 | 0.4 | n |  | TRUE
39 | bus_LV_5077-4_0_3_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_5077-4_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5077-4_0_3_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5077-4_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_5077-4_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5077-4_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5077-4_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_5077-4_0_3_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_5077-4_0_3_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_5077-4_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_5077-4_0_3_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_5077-4_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_5077-4_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_5077-4_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_5077-4_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_5077-4_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_5077-4_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_5077-4_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_5077-4_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_5077-4_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_5077-4_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_5077-4_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_5077-4_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_5077-4_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_5077-4_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_5077-4_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_5077-4_0_3_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_5077-4_0_3_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_5077-4_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_5077-4_0_3_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_5077-4_0_3_node_94 | 0.4 | n |  | TRUE
70 | bus_LV_5077-4_0_3_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_5077-4_0_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_5077-4_0_3_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_5077-4_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_5077-4_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_5077-4_0_3_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_5077-4_0_3_node_91 | 0.4 | n |  | TRUE
77 | bus_LV_5077-4_0_3_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_5077-4_0_3_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_5077-4_0_3_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_5077-4_0_3_node_55 | 0.4 | n |  | TRUE
81 | bus_LV_5077-4_0_3_node_56 | 0.4 | n |  | TRUE
82 | bus_LV_5077-4_0_3_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_5077-4_0_3_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_5077-4_0_3_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_5077-4_0_3_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_5077-4_0_3_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_5077-4_0_3_node_69 | 0.4 | n |  | TRUE
88 | bus_LV_5077-4_0_3_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_5077-4_0_3_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_5077-4_0_3_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_5077-4_0_3_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_5077-4_0_3_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_5077-4_0_3_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_5077-4_0_3_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_5077-4_0_3_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_5077-4_0_3_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_5077-4_0_3_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_5077-4_0_3_node_77 | 0.4 | n |  | TRUE
99 | bus_LV_5077-4_0_3_node_78 | 0.4 | n |  | TRUE
100 | bus_LV_5077-4_0_3_node_79 | 0.4 | n |  | TRUE
101 | bus_LV_5077-4_0_3_node_80 | 0.4 | n |  | TRUE
102 | bus_LV_5077-4_0_3_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_5077-4_0_3_node_85 | 0.4 | n |  | TRUE
104 | bus_LV_5077-4_0_3_node_86 | 0.4 | n |  | TRUE
105 | bus_LV_5077-4_0_3_node_87 | 0.4 | n |  | TRUE
106 | bus_LV_5077-4_0_3_node_89 | 0.4 | n |  | TRUE
107 | bus_LV_5077-4_0_3_node_92 | 0.4 | n |  | TRUE
108 | bus_LV_5077-4_0_3_node_101 | 0.4 | n |  | TRUE
109 | bus_MV_186_1_node_306 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5077-4_0_3_load_0 | 0 | 0.0042388 | 0.0010623 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5077-4_0_3_load_2 | 2 | 0.0032511 | 0.00081481 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5077-4_0_3_load_3 | 3 | 0.0023943 | 0.00060007 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5077-4_0_3_load_4 | 4 | 0.00475 | 0.0011905 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5077-4_0_3_load_83 | 6 | 0.0037279 | 0.00093429 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5077-4_0_3_load_90 | 7 | 0.0041105 | 0.0010302 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5077-4_0_3_load_5 | 10 | 0.0031496 | 0.00078937 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5077-4_0_3_load_6 | 11 | 0.0031506 | 0.00078962 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5077-4_0_3_load_7 | 12 | 0.0031496 | 0.00078938 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5077-4_0_3_load_8 | 13 | 0.00315 | 0.00078945 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5077-4_0_3_load_9 | 14 | 0.0031499 | 0.00078944 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5077-4_0_3_load_10 | 15 | 0.0028296 | 0.00070917 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5077-4_0_3_load_11 | 16 | 0.0031515 | 0.00078983 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5077-4_0_3_load_12 | 17 | 0.0028299 | 0.00070923 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5077-4_0_3_load_13 | 18 | 0.00315 | 0.00078946 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5077-4_0_3_load_14 | 19 | 0.0028312 | 0.00070957 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5077-4_0_3_load_17 | 23 | 0.0030704 | 0.00076953 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5077-4_0_3_load_102 | 24 | 0.0017057 | 0.00042749 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5077-4_0_3_load_99 | 25 | 0.0020334 | 0.00050963 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5077-4_0_3_load_103 | 26 | 0.00094479 | 0.00023679 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5077-4_0_3_load_105 | 28 | 0.00094593 | 0.00023707 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5077-4_0_3_load_104 | 29 | 0.00094533 | 0.00023692 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5077-4_0_3_load_20 | 30 | 0.0041005 | 0.0010277 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5077-4_0_3_load_22 | 32 | 0.0016994 | 0.00042591 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5077-4_0_3_load_106 | 33 | 0.0021386 | 0.00053597 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5077-4_0_3_load_43 | 36 | 0.00059584 | 0.00014933 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5077-4_0_3_load_100 | 37 | 0.0011817 | 0.00029616 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5077-4_0_3_load_108 | 38 | 0.0035815 | 0.00089761 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5077-4_0_3_load_97 | 39 | 0.0016107 | 0.00040369 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5077-4_0_3_load_23 | 40 | 0.0034332 | 0.00086043 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5077-4_0_3_load_24 | 41 | 0.0019543 | 0.00048979 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5077-4_0_3_load_33 | 43 | 0.0014505 | 0.00036352 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5077-4_0_3_load_30 | 45 | 0.00099103 | 0.00024837 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5077-4_0_3_load_98 | 46 | 0.0024602 | 0.00061658 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5077-4_0_3_load_88 | 47 | 0.0038512 | 0.00096519 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5077-4_0_3_load_29 | 48 | 0.0045664 | 0.0011444 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5077-4_0_3_load_31 | 49 | 0.0051305 | 0.0012858 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5077-4_0_3_load_34 | 50 | 0.0017607 | 0.00044126 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5077-4_0_3_load_35 | 51 | 0.0013638 | 0.00034181 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5077-4_0_3_load_36 | 52 | 0.0018713 | 0.00046899 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5077-4_0_3_load_38 | 54 | 0.0013099 | 0.00032829 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5077-4_0_3_load_42 | 58 | 0.0033767 | 0.00084627 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5077-4_0_3_load_57 | 60 | 0.0063964 | 0.0016031 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5077-4_0_3_load_62 | 61 | 0.0014377 | 0.00036033 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5077-4_0_3_load_51 | 62 | 0.0047749 | 0.0011967 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5077-4_0_3_load_44 | 63 | 0.0013491 | 0.00033812 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5077-4_0_3_load_45 | 64 | 0.0019204 | 0.00048129 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5077-4_0_3_load_46 | 65 | 0.0026541 | 0.00066519 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5077-4_0_3_load_48 | 68 | 0.0025496 | 0.00063898 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5077-4_0_3_load_94 | 69 | 0.0019039 | 0.00047716 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5077-4_0_3_load_52 | 71 | 0.0012468 | 0.00031248 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5077-4_0_3_load_53 | 72 | 0.0026162 | 0.00065568 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5077-4_0_3_load_59 | 73 | 0.00099097 | 0.00024836 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5077-4_0_3_load_68 | 74 | 0.0034732 | 0.00087047 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5077-4_0_3_load_93 | 75 | 0.0050055 | 0.0012545 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5077-4_0_3_load_60 | 77 | 0.00076075 | 0.00019066 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5077-4_0_3_load_67 | 78 | 0.0031667 | 0.00079366 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5077-4_0_3_load_54 | 79 | 0.0005618 | 0.0001408 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5077-4_0_3_load_55 | 80 | 0.001081 | 0.00027093 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5077-4_0_3_load_56 | 81 | 0.00071274 | 0.00017863 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5077-4_0_3_load_66 | 82 | 0.00078987 | 0.00019796 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5077-4_0_3_load_63 | 83 | 0.0040833 | 0.0010234 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5077-4_0_3_load_61 | 84 | 0.00053833 | 0.00013492 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5077-4_0_3_load_64 | 85 | 0.0011606 | 0.00029088 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5077-4_0_3_load_65 | 86 | 0.00084272 | 0.00021121 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5077-4_0_3_load_69 | 87 | 0.0028801 | 0.00072183 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5077-4_0_3_load_75 | 90 | 0.0022498 | 0.00056386 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5077-4_0_3_load_72 | 91 | 0.0045014 | 0.0011282 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5077-4_0_3_load_76 | 92 | 0.0032794 | 0.0008219 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5077-4_0_3_load_73 | 93 | 0.0020918 | 0.00052425 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5077-4_0_3_load_84 | 95 | 0.0045483 | 0.0011399 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5077-4_0_3_load_95 | 96 | 0.0018732 | 0.00046946 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5077-4_0_3_load_81 | 97 | 0.0018585 | 0.00046577 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5077-4_0_3_load_77 | 98 | 0.0018565 | 0.00046529 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5077-4_0_3_load_78 | 99 | 0.002092 | 0.00052431 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5077-4_0_3_load_79 | 100 | 0.0063585 | 0.0015936 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5077-4_0_3_load_80 | 101 | 0.0018571 | 0.00046543 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5077-4_0_3_load_96 | 102 | 0.0019152 | 0.00047999 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5077-4_0_3_load_85 | 103 | 0.0038832 | 0.00097323 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5077-4_0_3_load_86 | 104 | 0.0027109 | 0.00067941 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5077-4_0_3_load_87 | 105 | 0.0039629 | 0.00099319 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5077-4_0_3_load_89 | 106 | 0.0042012 | 0.0010529 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5077-4_0_3_load_92 | 107 | 0.0044639 | 0.0011187 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5077-4_0_3_load_101 | 108 | 0.00098613 | 0.00024715 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5077-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5077-4_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5077-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.011454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5077-4_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.018314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5077-4_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.029124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5077-4_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.001627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5077-4_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.014086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5077-4_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.013402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5077-4_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.033337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5077-4_0_3_line_9 | NAYY 4x150 SE | 7 | 47 | 0.030374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5077-4_0_3_line_10 | NAYY 4x150 SE | 8 | 35 | 0.038668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5077-4_0_3_line_11 | NAYY 4x150 SE | 8 | 40 | 0.014437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5077-4_0_3_line_12 | NAYY 4x150 SE | 9 | 97 | 0.010896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5077-4_0_3_line_13 | NAYY 4x150 SE | 9 | 94 | 0.006618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5077-4_0_3_line_14 | NAYY 4x150 SE | 10 | 11 | 0.0093331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5077-4_0_3_line_15 | NAYY 4x150 SE | 10 | 12 | 0.0093936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5077-4_0_3_line_16 | NAYY 4x150 SE | 12 | 13 | 0.0078439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5077-4_0_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.010848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5077-4_0_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.0069625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5077-4_0_3_line_19 | NAYY 4x150 SE | 15 | 16 | 0.011917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5077-4_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.0065192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5077-4_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.012029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5077-4_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.0069115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5077-4_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.011189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5077-4_0_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.062373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5077-4_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.036866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5077-4_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.04816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_5077-4_0_3_line_27 | NAYY 4x150 SE | 22 | 24 | 0.016947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5077-4_0_3_line_28 | NAYY 4x150 SE | 22 | 25 | 0.017126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5077-4_0_3_line_29 | NAYY 4x150 SE | 22 | 26 | 0.038531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5077-4_0_3_line_30 | NAYY 4x150 SE | 23 | 27 | 0.02603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_5077-4_0_3_line_31 | NAYY 4x150 SE | 24 | 36 | 0.012885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5077-4_0_3_line_32 | NAYY 4x150 SE | 25 | 37 | 0.022853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5077-4_0_3_line_33 | NAYY 4x150 SE | 26 | 29 | 0.012793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5077-4_0_3_line_34 | NAYY 4x150 SE | 27 | 30 | 0.011925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5077-4_0_3_line_35 | NAYY 4x150 SE | 27 | 31 | 0.006014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5077-4_0_3_line_36 | NAYY 4x150 SE | 28 | 29 | 0.013693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5077-4_0_3_line_37 | NAYY 4x150 SE | 30 | 32 | 0.012743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5077-4_0_3_line_38 | NAYY 4x150 SE | 31 | 33 | 0.022154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5077-4_0_3_line_39 | NAYY 4x150 SE | 31 | 34 | 0.022157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5077-4_0_3_line_40 | NAYY 4x150 SE | 31 | 35 | 0.015268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_5077-4_0_3_line_41 | NAYY 4x150 SE | 34 | 38 | 0.007723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5077-4_0_3_line_42 | NAYY 4x150 SE | 35 | 39 | 0.02259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_5077-4_0_3_line_43 | NAYY 4x150 SE | 36 | 55 | 0.024771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5077-4_0_3_line_44 | NAYY 4x150 SE | 37 | 108 | 0.04745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5077-4_0_3_line_45 | NAYY 4x150 SE | 39 | 46 | 0.019396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_5077-4_0_3_line_46 | NAYY 4x150 SE | 40 | 41 | 0.0066712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5077-4_0_3_line_47 | NAYY 4x150 SE | 41 | 42 | 0.015097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5077-4_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.007584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5077-4_0_3_line_49 | NAYY 4x150 SE | 42 | 44 | 0.005802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5077-4_0_3_line_50 | NAYY 4x150 SE | 44 | 45 | 0.017392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5077-4_0_3_line_51 | NAYY 4x150 SE | 45 | 48 | 0.002566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5077-4_0_3_line_52 | NAYY 4x150 SE | 47 | 104 | 0.011848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5077-4_0_3_line_53 | NAYY 4x150 SE | 48 | 49 | 0.015731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5077-4_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0019354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5077-4_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.017834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5077-4_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.017622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5077-4_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.0018893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5077-4_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.027268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5077-4_0_3_line_59 | NAYY 4x150 SE | 53 | 56 | 0.063975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5077-4_0_3_line_60 | NAYY 4x150 SE | 53 | 57 | 0.051011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5077-4_0_3_line_61 | NAYY 4x150 SE | 55 | 58 | 0.029379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5077-4_0_3_line_62 | NAYY 4x150 SE | 56 | 59 | 0.061438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5077-4_0_3_line_63 | NAYY 4x150 SE | 57 | 60 | 0.0095015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5077-4_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.049791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5077-4_0_3_line_65 | NAYY 4x150 SE | 60 | 62 | 0.0030887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5077-4_0_3_line_66 | NAYY 4x150 SE | 61 | 83 | 0.013198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5077-4_0_3_line_67 | NAYY 4x150 SE | 62 | 66 | 0.046907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5077-4_0_3_line_68 | NAYY 4x150 SE | 63 | 64 | 0.0062162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5077-4_0_3_line_69 | NAYY 4x150 SE | 64 | 65 | 0.033707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5077-4_0_3_line_70 | NAYY 4x150 SE | 65 | 66 | 0.016355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5077-4_0_3_line_71 | NAYY 4x150 SE | 66 | 67 | 0.016174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5077-4_0_3_line_72 | NAYY 4x150 SE | 66 | 68 | 0.019135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5077-4_0_3_line_73 | NAYY 4x150 SE | 67 | 69 | 0.017418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5077-4_0_3_line_74 | NAYY 4x150 SE | 68 | 70 | 0.0037517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5077-4_0_3_line_75 | NAYY 4x150 SE | 70 | 71 | 0.042838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5077-4_0_3_line_76 | NAYY 4x150 SE | 70 | 72 | 0.0084182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5077-4_0_3_line_77 | NAYY 4x150 SE | 71 | 73 | 0.0094698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5077-4_0_3_line_78 | NAYY 4x150 SE | 72 | 74 | 0.008235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5077-4_0_3_line_79 | NAYY 4x150 SE | 73 | 77 | 0.0095391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5077-4_0_3_line_80 | NAYY 4x150 SE | 74 | 78 | 0.011951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5077-4_0_3_line_81 | NAYY 4x150 SE | 75 | 76 | 0.0058944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5077-4_0_3_line_82 | NAYY 4x150 SE | 76 | 107 | 0.061489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5077-4_0_3_line_83 | NAYY 4x150 SE | 76 | 106 | 0.013324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5077-4_0_3_line_84 | NAYY 4x150 SE | 77 | 84 | 0.0096803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5077-4_0_3_line_85 | NAYY 4x150 SE | 78 | 82 | 0.010751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5077-4_0_3_line_86 | NAYY 4x150 SE | 79 | 80 | 0.00097683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5077-4_0_3_line_87 | NAYY 4x150 SE | 80 | 81 | 0.026347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5077-4_0_3_line_88 | NAYY 4x150 SE | 81 | 82 | 0.015819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5077-4_0_3_line_89 | NAYY 4x150 SE | 83 | 85 | 0.0028936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5077-4_0_3_line_90 | NAYY 4x150 SE | 85 | 86 | 0.014939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5077-4_0_3_line_91 | NAYY 4x150 SE | 87 | 88 | 0.011663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5077-4_0_3_line_92 | NAYY 4x150 SE | 88 | 89 | 0.04312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5077-4_0_3_line_93 | NAYY 4x150 SE | 89 | 90 | 0.027666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5077-4_0_3_line_94 | NAYY 4x150 SE | 89 | 91 | 0.0040306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5077-4_0_3_line_95 | NAYY 4x150 SE | 90 | 92 | 0.029825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5077-4_0_3_line_96 | NAYY 4x150 SE | 91 | 93 | 0.03233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5077-4_0_3_line_97 | NAYY 4x150 SE | 93 | 94 | 0.0078066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5077-4_0_3_line_98 | NAYY 4x150 SE | 94 | 95 | 0.017496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5077-4_0_3_line_99 | NAYY 4x150 SE | 95 | 96 | 0.018814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5077-4_0_3_line_100 | NAYY 4x150 SE | 96 | 102 | 0.019617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5077-4_0_3_line_101 | NAYY 4x150 SE | 97 | 101 | 0.014294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5077-4_0_3_line_102 | NAYY 4x150 SE | 98 | 99 | 0.013518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5077-4_0_3_line_103 | NAYY 4x150 SE | 98 | 100 | 0.010864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5077-4_0_3_line_104 | NAYY 4x150 SE | 99 | 101 | 0.00099836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5077-4_0_3_line_105 | NAYY 4x150 SE | 103 | 104 | 0.028186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5077-4_0_3_line_106 | NAYY 4x150 SE | 103 | 105 | 0.026352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5077-4_0_3_line_107 | NAYY 4x150 SE | 105 | 106 | 0.030451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5077-4_0_3_trafo_98 | 0.25 MVA 20/0.4 kV | 109 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2716973.7106 | 1135653.1428 | 2716988.4409 | 1135651.9805
1 | 2717006.2902 | 1135650.5721 | 2716988.4409 | 1135651.9805
2 | 2716973.7106 | 1135653.1428 | 2716971.0823 | 1135641.9941
3 | 2716973.7106 | 1135653.1428 | 2716972.19 | 1135671.3936
4 | 2716964.3997 | 1135613.6471 | 2716971.0823 | 1135641.9941
5 | 2716972.0549 | 1135673.015 | 2716972.19 | 1135671.3936
6 | 2716964.3997 | 1135613.6471 | 2716952.8753 | 1135621.7466
7 | 2716964.3997 | 1135613.6471 | 2716961.76 | 1135600.5094
8 | 2716969.2871 | 1135706.2372 | 2716972.0549 | 1135673.015
9 | 2716928.0251 | 1135639.2118 | 2716952.8753 | 1135621.7466
10 | 2716961.76 | 1135600.5094 | 2716952.4494 | 1135562.9817
11 | 2716961.76 | 1135600.5094 | 2716976.1967 | 1135600.6207
12 | 2716969.2871 | 1135706.2372 | 2716958.4218 | 1135705.4231
13 | 2716968.7437 | 1135712.8312 | 2716969.2871 | 1135706.2372
14 | 2717018.2237 | 1135550.7519 | 2717021.03 | 1135559.6531
15 | 2717018.2237 | 1135550.7519 | 2717015.3991 | 1135541.793
16 | 2717015.3991 | 1135541.793 | 2717013.0406 | 1135534.3122
17 | 2717009.7786 | 1135523.9658 | 2717013.0406 | 1135534.3122
18 | 2717009.7786 | 1135523.9658 | 2717007.6851 | 1135517.3254
19 | 2717004.1019 | 1135505.96 | 2717007.6851 | 1135517.3254
20 | 2717004.1019 | 1135505.96 | 2717002.1417 | 1135499.7426
21 | 2716998.5246 | 1135488.2699 | 2717002.1417 | 1135499.7426
22 | 2716998.5246 | 1135488.2699 | 2716996.4464 | 1135481.6783
23 | 2716993.0819 | 1135471.0067 | 2716996.4464 | 1135481.6783
24 | 2716930.5327 | 1135470.0617 | 2716993.0819 | 1135471.0067
25 | 2716930.5327 | 1135470.0617 | 2716893.5582 | 1135470.1684
26 | 2716930.5327 | 1135470.0617 | 2716941.497 | 1135516.957
27 | 2716893.5582 | 1135470.1684 | 2716876.6113 | 1135470.2164
28 | 2716893.5582 | 1135470.1684 | 2716897.5171 | 1135486.8309
29 | 2716893.5582 | 1135470.1684 | 2716889.0497 | 1135431.9023
30 | 2716947.4231 | 1135542.3038 | 2716941.497 | 1135516.957
31 | 2716876.6113 | 1135470.2164 | 2716863.726 | 1135470.253
32 | 2716897.5171 | 1135486.8309 | 2716902.7998 | 1135509.0649
33 | 2716889.0497 | 1135431.9023 | 2716901.6542 | 1135429.7161
34 | 2716947.4231 | 1135542.3038 | 2716959.003 | 1135539.4537
35 | 2716947.4231 | 1135542.3038 | 2716948.8881 | 1135548.1361
36 | 2716901.6542 | 1135429.7161 | 2716915.1453 | 1135427.3762
37 | 2716971.3771 | 1135536.4081 | 2716959.003 | 1135539.4537
38 | 2716948.8881 | 1135548.1361 | 2716927.5464 | 1135554.2938
39 | 2716948.8881 | 1135548.1361 | 2716970.4314 | 1135542.7051
40 | 2716952.4494 | 1135562.9817 | 2716948.8881 | 1135548.1361
41 | 2716970.4314 | 1135542.7051 | 2716970.582 | 1135550.4243
42 | 2716952.4494 | 1135562.9817 | 2716930.7461 | 1135569.2494
43 | 2716838.9549 | 1135470.3232 | 2716863.726 | 1135470.253
44 | 2716895.4782 | 1135550.3038 | 2716906.0845 | 1135543.2043 | 2716907.3197 | 1135533.4772 | 2716906.4482 | 1135524.4209 | 2716902.7998 | 1135509.0649
45 | 2716912.1112 | 1135574.6309 | 2716930.7461 | 1135569.2494
46 | 2716976.1967 | 1135600.6207 | 2716982.8677 | 1135600.6721
47 | 2716997.9641 | 1135600.7885 | 2716982.8677 | 1135600.6721
48 | 2716997.9641 | 1135600.7885 | 2716998.1418 | 1135593.209
49 | 2716997.9641 | 1135600.7885 | 2717003.7798 | 1135600.979
50 | 2717003.7798 | 1135600.979 | 2717021.1643 | 1135601.4948
51 | 2717023.7292 | 1135601.5709 | 2717021.1643 | 1135601.4948
52 | 2716918.3318 | 1135646.0245 | 2716928.0251 | 1135639.2118
53 | 2717039.4532 | 1135602.0375 | 2717023.7292 | 1135601.5709
54 | 2716817.6122 | 1135491.1602 | 2716817.0532 | 1135489.3072
55 | 2716817.6122 | 1135491.1602 | 2716822.7624 | 1135508.2339
56 | 2716811.9642 | 1135472.436 | 2716817.0532 | 1135489.3072
57 | 2716823.308 | 1135510.0427 | 2716822.7624 | 1135508.2339
58 | 2716838.9549 | 1135470.3232 | 2716817.7465 | 1135470.3798 | 2716811.9642 | 1135472.436
59 | 2716791.9331 | 1135449.4333 | 2716793.1853 | 1135456.729 | 2716788.9685 | 1135458.2374 | 2716783.5973 | 1135461.3245 | 2716781.4234 | 1135464.2734 | 2716781.03 | 1135468.6909 | 2716781.466 | 1135472.8132 | 2716784.5828 | 1135476.8318 | 2716788.839 | 1135478.4596 | 2716793.0343 | 1135477.6624 | 2716799.4928 | 1135476.8645 | 2716811.9642 | 1135472.436
60 | 2716785.8163 | 1135501.4054 | 2716780.0989 | 1135486.1847 | 2716799.4928 | 1135476.8645 | 2716811.9642 | 1135472.436
61 | 2716838.9549 | 1135470.3232 | 2716845.7191 | 1135498.9128
62 | 2716744.6355 | 1135457.9136 | 2716755.8918 | 1135455.0181 | 2716757.2081 | 1135459.0017 | 2716759.7451 | 1135462.353 | 2716763.233 | 1135464.6998 | 2716767.2913 | 1135465.8123 | 2716771.484 | 1135465.5487 | 2716774.8419 | 1135464.2683 | 2716777.7085 | 1135462.1223 | 2716779.8732 | 1135459.2511 | 2716781.1541 | 1135455.907 | 2716781.454 | 1135452.3437 | 2716791.9331 | 1135449.4333
63 | 2716785.8163 | 1135501.4054 | 2716789.1576 | 1135510.3001
64 | 2716744.6355 | 1135457.9136 | 2716702.9462 | 1135472.1509 | 2716697.5159 | 1135474.004
65 | 2716789.1576 | 1135510.3001 | 2716790.2437 | 1135513.1915
66 | 2716697.5159 | 1135474.004 | 2716691.013 | 1135476.2231 | 2716685.1332 | 1135478.559
67 | 2716806.7387 | 1135557.1029 | 2716790.2437 | 1135513.1915
68 | 2716860.2453 | 1135539.6611 | 2716854.3352 | 1135541.5876
69 | 2716854.3352 | 1135541.5876 | 2716822.2881 | 1135552.0342
70 | 2716806.7387 | 1135557.1029 | 2716822.2881 | 1135552.0342
71 | 2716806.7387 | 1135557.1029 | 2716812.3725 | 1135572.2664
72 | 2716806.7387 | 1135557.1029 | 2716797.5171 | 1135557.8918 | 2716788.2827 | 1135561.4039
73 | 2716812.3725 | 1135572.2664 | 2716828.6263 | 1135566.0049
74 | 2716784.7761 | 1135562.7376 | 2716788.2827 | 1135561.4039
75 | 2716784.7761 | 1135562.7376 | 2716742.8699 | 1135553.8514
76 | 2716784.7761 | 1135562.7376 | 2716778.8904 | 1135564.9697 | 2716776.8002 | 1135565.3441
77 | 2716742.8699 | 1135553.8514 | 2716733.6061 | 1135551.8871
78 | 2716768.6941 | 1135566.7961 | 2716768.6941 | 1135566.7961 | 2716776.8002 | 1135565.3441
79 | 2716733.6061 | 1135551.8871 | 2716724.2745 | 1135549.9083
80 | 2716756.8503 | 1135565.199 | 2716768.6941 | 1135566.7961
81 | 2716842.0673 | 1135632.0587 | 2716840.7637 | 1135630.6102 | 2716838.1197 | 1135627.6815
82 | 2716842.0673 | 1135632.0587 | 2716815.6822 | 1135644.2788 | 2716800.1965 | 1135644.1904 | 2716803.8022 | 1135660.7267
83 | 2716842.0673 | 1135632.0587 | 2716850.9964 | 1135641.9477
84 | 2716724.2745 | 1135549.9083 | 2716714.8047 | 1135547.9003
85 | 2716746.1962 | 1135563.7624 | 2716756.8503 | 1135565.199
86 | 2716703.72 | 1135567.5076 | 2716704.6968 | 1135567.5107
87 | 2716704.6968 | 1135567.5107 | 2716716.1432 | 1135567.5476 | 2716725.3685 | 1135564.5795 | 2716730.5267 | 1135563.8473
88 | 2716730.5267 | 1135563.8473 | 2716738.4673 | 1135562.7202 | 2716746.1962 | 1135563.7624
89 | 2716682.444 | 1135479.6273 | 2716685.1332 | 1135478.559
90 | 2716682.444 | 1135479.6273 | 2716668.5607 | 1135485.1428
91 | 2716965.5175 | 1135799.4824 | 2716977.149 | 1135798.6282
92 | 2716965.0736 | 1135756.8452 | 2716962.5244 | 1135787.5053 | 2716965.5175 | 1135799.4824
93 | 2716965.0736 | 1135756.8452 | 2716953.3639 | 1135763.3006 | 2716943.2123 | 1135766.017 | 2716939.4363 | 1135765.7464
94 | 2716965.0736 | 1135756.8452 | 2716965.4085 | 1135752.8285
95 | 2716915.603 | 1135749.2602 | 2716927.5977 | 1135761.4672 | 2716936.8323 | 1135765.5598 | 2716939.4363 | 1135765.7464
96 | 2716965.4085 | 1135752.8285 | 2716968.095 | 1135720.6107
97 | 2716968.7437 | 1135712.8312 | 2716968.095 | 1135720.6107
98 | 2716968.7437 | 1135712.8312 | 2716986.0484 | 1135710.2475
99 | 2716986.0484 | 1135710.2475 | 2717004.6558 | 1135707.4693
100 | 2717004.6558 | 1135707.4693 | 2717024.0575 | 1135704.5726
101 | 2716944.1672 | 1135704.3549 | 2716958.4218 | 1135705.4231
102 | 2716929.6911 | 1135703.2702 | 2716943.1717 | 1135704.2803
103 | 2716918.8572 | 1135702.4584 | 2716929.6911 | 1135703.2702
104 | 2716943.1717 | 1135704.2803 | 2716944.1672 | 1135704.3549
105 | 2716895.2716 | 1135662.2316 | 2716918.3318 | 1135646.0245
106 | 2716895.2716 | 1135662.2316 | 2716884.4499 | 1135669.8373 | 2716874.3117 | 1135661.502
107 | 2716874.3117 | 1135661.502 | 2716852.3464 | 1135643.4429 | 2716850.9964 | 1135641.9477

## bus_geodata
| x | y | coords
0 | 2716988.4409 | 1135651.9805
1 | 2716973.7106 | 1135653.1428
2 | 2717006.2902 | 1135650.5721
3 | 2716971.0823 | 1135641.9941
4 | 2716972.19 | 1135671.3936
5 | 2716964.3997 | 1135613.6471
6 | 2716972.0549 | 1135673.015
7 | 2716952.8753 | 1135621.7466
8 | 2716961.76 | 1135600.5094
9 | 2716969.2871 | 1135706.2372
10 | 2717018.2237 | 1135550.7519
11 | 2717021.03 | 1135559.6531
12 | 2717015.3991 | 1135541.793
13 | 2717013.0406 | 1135534.3122
14 | 2717009.7786 | 1135523.9658
15 | 2717007.6851 | 1135517.3254
16 | 2717004.1019 | 1135505.96
17 | 2717002.1417 | 1135499.7426
18 | 2716998.5246 | 1135488.2699
19 | 2716996.4464 | 1135481.6783
20 | 2716993.0819 | 1135471.0067
21 | 2716930.5327 | 1135470.0617
22 | 2716893.5582 | 1135470.1684
23 | 2716941.497 | 1135516.957
24 | 2716876.6113 | 1135470.2164
25 | 2716897.5171 | 1135486.8309
26 | 2716889.0497 | 1135431.9023
27 | 2716947.4231 | 1135542.3038
28 | 2716915.1453 | 1135427.3762
29 | 2716901.6542 | 1135429.7161
30 | 2716959.003 | 1135539.4537
31 | 2716948.8881 | 1135548.1361
32 | 2716971.3771 | 1135536.4081
33 | 2716927.5464 | 1135554.2938
34 | 2716970.4314 | 1135542.7051
35 | 2716952.4494 | 1135562.9817
36 | 2716863.726 | 1135470.253
37 | 2716902.7998 | 1135509.0649
38 | 2716970.582 | 1135550.4243
39 | 2716930.7461 | 1135569.2494
40 | 2716976.1967 | 1135600.6207
41 | 2716982.8677 | 1135600.6721
42 | 2716997.9641 | 1135600.7885
43 | 2716998.1418 | 1135593.209
44 | 2717003.7798 | 1135600.979
45 | 2717021.1643 | 1135601.4948
46 | 2716912.1112 | 1135574.6309
47 | 2716928.0251 | 1135639.2118
48 | 2717023.7292 | 1135601.5709
49 | 2717039.4532 | 1135602.0375
50 | 2716817.6122 | 1135491.1602
51 | 2716817.0532 | 1135489.3072
52 | 2716822.7624 | 1135508.2339
53 | 2716811.9642 | 1135472.436
54 | 2716823.308 | 1135510.0427
55 | 2716838.9549 | 1135470.3232
56 | 2716791.9331 | 1135449.4333
57 | 2716785.8163 | 1135501.4054
58 | 2716845.7191 | 1135498.9128
59 | 2716744.6355 | 1135457.9136
60 | 2716789.1576 | 1135510.3001
61 | 2716697.5159 | 1135474.004
62 | 2716790.2437 | 1135513.1915
63 | 2716860.2453 | 1135539.6611
64 | 2716854.3352 | 1135541.5876
65 | 2716822.2881 | 1135552.0342
66 | 2716806.7387 | 1135557.1029
67 | 2716812.3725 | 1135572.2664
68 | 2716788.2827 | 1135561.4039
69 | 2716828.6263 | 1135566.0049
70 | 2716784.7761 | 1135562.7376
71 | 2716742.8699 | 1135553.8514
72 | 2716776.8002 | 1135565.3441
73 | 2716733.6061 | 1135551.8871
74 | 2716768.6941 | 1135566.7961
75 | 2716838.1197 | 1135627.6815
76 | 2716842.0673 | 1135632.0587
77 | 2716724.2745 | 1135549.9083
78 | 2716756.8503 | 1135565.199
79 | 2716703.72 | 1135567.5076
80 | 2716704.6968 | 1135567.5107
81 | 2716730.5267 | 1135563.8473
82 | 2716746.1962 | 1135563.7624
83 | 2716685.1332 | 1135478.559
84 | 2716714.8047 | 1135547.9003
85 | 2716682.444 | 1135479.6273
86 | 2716668.5607 | 1135485.1428
87 | 2716977.149 | 1135798.6282
88 | 2716965.5175 | 1135799.4824
89 | 2716965.0736 | 1135756.8452
90 | 2716939.4363 | 1135765.7464
91 | 2716965.4085 | 1135752.8285
92 | 2716915.603 | 1135749.2602
93 | 2716968.095 | 1135720.6107
94 | 2716968.7437 | 1135712.8312
95 | 2716986.0484 | 1135710.2475
96 | 2717004.6558 | 1135707.4693
97 | 2716958.4218 | 1135705.4231
98 | 2716929.6911 | 1135703.2702
99 | 2716943.1717 | 1135704.2803
100 | 2716918.8572 | 1135702.4584
101 | 2716944.1672 | 1135704.3549
102 | 2717024.0575 | 1135704.5726
103 | 2716895.2716 | 1135662.2316
104 | 2716918.3318 | 1135646.0245
105 | 2716874.3117 | 1135661.502
106 | 2716850.9964 | 1135641.9477
107 | 2716803.8022 | 1135660.7267
108 | 2716895.4782 | 1135550.3038
109 | 2716952.4494 | 1135562.9817

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1