## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5078-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5078-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5078-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5078-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5078-3_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5078-3_0_2_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_5078-3_0_2_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_5078-3_0_2_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_5078-3_0_2_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_5078-3_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5078-3_0_2_node_78 | 0.4 | n |  | TRUE
11 | bus_LV_5078-3_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_5078-3_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5078-3_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5078-3_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5078-3_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5078-3_0_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_5078-3_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5078-3_0_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_5078-3_0_2_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_5078-3_0_2_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_5078-3_0_2_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5078-3_0_2_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5078-3_0_2_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5078-3_0_2_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_5078-3_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_5078-3_0_2_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_5078-3_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5078-3_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5078-3_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5078-3_0_2_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_5078-3_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_5078-3_0_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5078-3_0_2_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_5078-3_0_2_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_5078-3_0_2_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5078-3_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5078-3_0_2_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5078-3_0_2_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5078-3_0_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_5078-3_0_2_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_5078-3_0_2_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_5078-3_0_2_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_5078-3_0_2_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_5078-3_0_2_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_5078-3_0_2_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_5078-3_0_2_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_5078-3_0_2_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_5078-3_0_2_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_5078-3_0_2_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5078-3_0_2_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5078-3_0_2_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_5078-3_0_2_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_5078-3_0_2_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5078-3_0_2_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_5078-3_0_2_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_5078-3_0_2_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_5078-3_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5078-3_0_2_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_5078-3_0_2_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_5078-3_0_2_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_5078-3_0_2_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_5078-3_0_2_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_5078-3_0_2_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_5078-3_0_2_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_5078-3_0_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_5078-3_0_2_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_5078-3_0_2_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5078-3_0_2_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5078-3_0_2_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5078-3_0_2_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_5078-3_0_2_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5078-3_0_2_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_5078-3_0_2_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5078-3_0_2_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5078-3_0_2_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5078-3_0_2_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5078-3_0_2_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5078-3_0_2_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_5078-3_0_2_node_77 | 0.4 | n |  | TRUE
80 | bus_MV_188_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5078-3_0_2_load_0 | 0 | 0.00078911 | 0.00019777 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5078-3_0_2_load_1 | 1 | 0.0038215 | 0.00095776 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5078-3_0_2_load_2 | 2 | 0.0011942 | 0.0002993 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5078-3_0_2_load_3 | 3 | 0.0011718 | 0.00029368 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5078-3_0_2_load_30 | 5 | 0.0018431 | 0.00046193 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5078-3_0_2_load_31 | 6 | 0.0032448 | 0.00081323 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5078-3_0_2_load_79 | 8 | 0.0017693 | 0.00044342 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5078-3_0_2_load_8 | 9 | 0.0014092 | 0.00035319 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5078-3_0_2_load_78 | 10 | 0.0014802 | 0.00037097 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5078-3_0_2_load_5 | 11 | 0.00066701 | 0.00016717 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5078-3_0_2_load_6 | 12 | 0.00049598 | 0.00012431 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5078-3_0_2_load_10 | 15 | 0.00051748 | 0.00012969 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5078-3_0_2_load_22 | 16 | 0.0012496 | 0.00031317 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5078-3_0_2_load_14 | 17 | 0.00046871 | 0.00011747 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5078-3_0_2_load_21 | 18 | 0.00093296 | 0.00023382 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5078-3_0_2_load_56 | 19 | 0.0040631 | 0.0010183 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5078-3_0_2_load_11 | 21 | 0.00060547 | 0.00015175 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5078-3_0_2_load_12 | 22 | 0.00069621 | 0.00017449 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5078-3_0_2_load_13 | 23 | 0.00063841 | 0.00016 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5078-3_0_2_load_45 | 24 | 0.00078138 | 0.00019583 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5078-3_0_2_load_16 | 25 | 0.0027559 | 0.0006907 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5078-3_0_2_load_17 | 26 | 0.0020076 | 0.00050315 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5078-3_0_2_load_18 | 27 | 0.0028904 | 0.00072441 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5078-3_0_2_load_19 | 28 | 0.0020088 | 0.00050346 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5078-3_0_2_load_46 | 30 | 0.0027631 | 0.00069249 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5078-3_0_2_load_28 | 31 | 0.0025795 | 0.00064649 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5078-3_0_2_load_29 | 32 | 0.0020065 | 0.00050287 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5078-3_0_2_load_32 | 33 | 0.002798 | 0.00070123 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5078-3_0_2_load_47 | 34 | 0.0092389 | 0.0023155 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5078-3_0_2_load_24 | 36 | 0.0019172 | 0.00048049 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5078-3_0_2_load_25 | 37 | 0.00094486 | 0.0002368 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5078-3_0_2_load_27 | 38 | 0.00079739 | 0.00019984 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5078-3_0_2_load_38 | 39 | 0.0028526 | 0.00071492 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5078-3_0_2_load_26 | 40 | 0.0015228 | 0.00038165 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5078-3_0_2_load_39 | 41 | 0.00099645 | 0.00024973 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5078-3_0_2_load_33 | 42 | 0.001483 | 0.00037167 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5078-3_0_2_load_69 | 44 | 0.0020563 | 0.00051536 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5078-3_0_2_load_70 | 45 | 0.0021202 | 0.00053138 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5078-3_0_2_load_68 | 46 | 0.0018531 | 0.00046444 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5078-3_0_2_load_34 | 47 | 0.0014136 | 0.00035428 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5078-3_0_2_load_43 | 48 | 0.00068797 | 0.00017242 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5078-3_0_2_load_42 | 49 | 0.0011923 | 0.00029883 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5078-3_0_2_load_35 | 50 | 0.0007083 | 0.00017752 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5078-3_0_2_load_36 | 51 | 0.0013979 | 0.00035034 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5078-3_0_2_load_37 | 52 | 0.0013004 | 0.00032591 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5078-3_0_2_load_40 | 53 | 0.001398 | 0.00035038 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5078-3_0_2_load_41 | 54 | 0.0010971 | 0.00027495 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5078-3_0_2_load_57 | 55 | 0.0022812 | 0.00057174 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5078-3_0_2_load_54 | 56 | 0.0029031 | 0.00072759 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5078-3_0_2_load_49 | 58 | 0.0048514 | 0.0012159 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5078-3_0_2_load_50 | 59 | 0.0023603 | 0.00059155 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5078-3_0_2_load_58 | 60 | 0.0028312 | 0.00070958 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5078-3_0_2_load_59 | 61 | 0.00386 | 0.0009674 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5078-3_0_2_load_51 | 62 | 0.002393 | 0.00059975 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5078-3_0_2_load_52 | 63 | 0.0023919 | 0.00059947 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5078-3_0_2_load_53 | 64 | 0.0023903 | 0.00059907 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5078-3_0_2_load_60 | 65 | 0.0017023 | 0.00042663 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5078-3_0_2_load_61 | 66 | 0.0036904 | 0.00092489 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5078-3_0_2_load_62 | 67 | 0.0018038 | 0.00045208 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5078-3_0_2_load_63 | 68 | 0.0025344 | 0.00063519 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5078-3_0_2_load_67 | 69 | 0.0018406 | 0.00046131 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5078-3_0_2_load_65 | 70 | 0.0021462 | 0.0005379 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5078-3_0_2_load_64 | 71 | 0.001245 | 0.00031202 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5078-3_0_2_load_66 | 72 | 0.0013479 | 0.00033782 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5078-3_0_2_load_71 | 73 | 0.0014736 | 0.00036932 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5078-3_0_2_load_72 | 74 | 0.0030031 | 0.00075265 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5078-3_0_2_load_74 | 76 | 0.0024713 | 0.00061937 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5078-3_0_2_load_75 | 77 | 0.0026675 | 0.00066854 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5078-3_0_2_load_76 | 78 | 0.0025066 | 0.00062821 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5078-3_0_2_load_77 | 79 | 0.0036268 | 0.00090896 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5078-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5078-3_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.058967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5078-3_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.06017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5078-3_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0064754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5078-3_0_2_line_4 | NAYY 4x150 SE | 3 | 7 | 0.0052316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5078-3_0_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.16986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5078-3_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0056318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5078-3_0_2_line_7 | NAYY 4x150 SE | 6 | 44 | 0.029799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5078-3_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.033633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5078-3_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.11458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5078-3_0_2_line_10 | NAYY 4x150 SE | 9 | 12 | 0.029636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5078-3_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.078766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5078-3_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.005664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5078-3_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.015977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5078-3_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.10021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5078-3_0_2_line_15 | NAYY 4x150 SE | 14 | 17 | 0.044433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5078-3_0_2_line_16 | NAYY 4x150 SE | 14 | 21 | 0.008776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5078-3_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.14602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5078-3_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0040778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5078-3_0_2_line_19 | NAYY 4x150 SE | 18 | 35 | 0.0022147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5078-3_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.082983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5078-3_0_2_line_21 | NAYY 4x150 SE | 20 | 55 | 0.010219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5078-3_0_2_line_22 | NAYY 4x150 SE | 20 | 56 | 0.041482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5078-3_0_2_line_23 | NAYY 4x150 SE | 20 | 41 | 0.014949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5078-3_0_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.089607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5078-3_0_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.0036497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5078-3_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.057647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5078-3_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0092976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5078-3_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0093054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5078-3_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.027225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5078-3_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.017096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5078-3_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.036367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5078-3_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.037261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5078-3_0_2_line_33 | NAYY 4x150 SE | 29 | 32 | 0.034592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5078-3_0_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.0039625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5078-3_0_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.02452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5078-3_0_2_line_36 | NAYY 4x150 SE | 33 | 42 | 0.021688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5078-3_0_2_line_37 | NAYY 4x150 SE | 34 | 43 | 0.045448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5078-3_0_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.063224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5078-3_0_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.047191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5078-3_0_2_line_40 | NAYY 4x150 SE | 36 | 38 | 0.015841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5078-3_0_2_line_41 | NAYY 4x150 SE | 37 | 39 | 0.017683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5078-3_0_2_line_42 | NAYY 4x150 SE | 38 | 40 | 0.053014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5078-3_0_2_line_43 | NAYY 4x150 SE | 39 | 41 | 0.0068612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5078-3_0_2_line_44 | NAYY 4x150 SE | 42 | 47 | 0.0060014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5078-3_0_2_line_45 | NAYY 4x150 SE | 43 | 58 | 0.022948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5078-3_0_2_line_46 | NAYY 4x150 SE | 43 | 59 | 0.022753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5078-3_0_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.045051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5078-3_0_2_line_48 | NAYY 4x150 SE | 44 | 46 | 0.015117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5078-3_0_2_line_49 | NAYY 4x150 SE | 45 | 73 | 0.014798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5078-3_0_2_line_50 | NAYY 4x150 SE | 46 | 72 | 0.001616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5078-3_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.017445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5078-3_0_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.003221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5078-3_0_2_line_53 | NAYY 4x150 SE | 49 | 57 | 0.014498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5078-3_0_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0068737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5078-3_0_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.019318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5078-3_0_2_line_56 | NAYY 4x150 SE | 52 | 53 | 0.011173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5078-3_0_2_line_57 | NAYY 4x150 SE | 53 | 54 | 0.020222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5078-3_0_2_line_58 | NAYY 4x150 SE | 54 | 57 | 0.012779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5078-3_0_2_line_59 | NAYY 4x150 SE | 55 | 58 | 0.027485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5078-3_0_2_line_60 | NAYY 4x150 SE | 56 | 63 | 0.019361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5078-3_0_2_line_61 | NAYY 4x150 SE | 59 | 60 | 0.016054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5078-3_0_2_line_62 | NAYY 4x150 SE | 60 | 61 | 0.0028595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5078-3_0_2_line_63 | NAYY 4x150 SE | 61 | 65 | 0.0056472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5078-3_0_2_line_64 | NAYY 4x150 SE | 62 | 63 | 0.019307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5078-3_0_2_line_65 | NAYY 4x150 SE | 62 | 64 | 0.0051361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5078-3_0_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.017117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5078-3_0_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.0032699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5078-3_0_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.0018415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5078-3_0_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0079488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5078-3_0_2_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0047863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5078-3_0_2_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0045511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5078-3_0_2_line_72 | NAYY 4x150 SE | 71 | 72 | 0.0076712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5078-3_0_2_line_73 | NAYY 4x150 SE | 73 | 74 | 0.0015539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5078-3_0_2_line_74 | NAYY 4x150 SE | 74 | 75 | 0.0041907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5078-3_0_2_line_75 | NAYY 4x150 SE | 75 | 76 | 0.017761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5078-3_0_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0052816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5078-3_0_2_line_77 | NAYY 4x150 SE | 77 | 78 | 0.00045071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5078-3_0_2_line_78 | NAYY 4x150 SE | 78 | 79 | 0.031211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5078-3_0_2_trafo_49 | 0.25 MVA 20/0.4 kV | 80 | 58 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2700636.4488 | 1149151.9565 | 2700644.3066 | 1149147.9993 | 2700652.1066 | 1149143.549 | 2700659.2613 | 1149139.1592
1 | 2700636.4488 | 1149151.9565 | 2700634.8193 | 1149152.7772 | 2700625.3517 | 1149156.8328 | 2700618.3996 | 1149159.7185 | 2700607.5851 | 1149163.4959 | 2700596.7051 | 1149166.5941 | 2700585.5312 | 1149169.3649 | 2700580.5836 | 1149170.3037
2 | 2700705.3356 | 1149100.6625 | 2700696.8485 | 1149109.0636 | 2700685.5014 | 1149119.4249 | 2700676.1713 | 1149127.1962 | 2700668.1778 | 1149133.1108 | 2700660.1684 | 1149138.6027 | 2700659.2613 | 1149139.1592
3 | 2700574.2217 | 1149171.5108 | 2700580.5836 | 1149170.3037
4 | 2700709.0537 | 1149096.9821 | 2700705.3356 | 1149100.6625
5 | 2700574.2217 | 1149171.5108 | 2700514.1076 | 1149012.642
6 | 2700750.2636 | 1148770.0714 | 2700754.208 | 1148766.0517
7 | 2700773.1398 | 1148743.076 | 2700767.5816 | 1148748.909 | 2700754.208 | 1148766.0517 | 2700754.208 | 1148766.0517
8 | 2700709.0537 | 1149096.9821 | 2700733.3828 | 1149073.7605
9 | 2700476.1604 | 1148904.5306 | 2700514.1076 | 1149012.642
10 | 2700733.3828 | 1149073.7605 | 2700754.8208 | 1149053.2984
11 | 2700817.1708 | 1149005.5093 | 2700784.9697 | 1149027.0628 | 2700770.6997 | 1149038.1422 | 2700754.8208 | 1149053.2984
12 | 2700821.6971 | 1149002.1169 | 2700819.4386 | 1149003.9914 | 2700817.1708 | 1149005.5093
13 | 2700821.6971 | 1149002.1169 | 2700834.0175 | 1148991.9055
14 | 2700821.6971 | 1149002.1169 | 2700810.8762 | 1148996.1544 | 2700798.2114 | 1148989.7831 | 2700783.9103 | 1148982.973 | 2700761.7196 | 1148979.5221 | 2700738.3066 | 1148975.228 | 2700726.8546 | 1148973.5493
15 | 2700834.0175 | 1148991.9055 | 2700839.979 | 1148979.3974 | 2700843.5017 | 1148966.6928 | 2700845.1553 | 1148949.3791
16 | 2700834.0175 | 1148991.9055 | 2700842.2958 | 1148988.9921
17 | 2700906.3987 | 1148816.8182 | 2700845.1553 | 1148949.3791
18 | 2700906.3987 | 1148816.8182 | 2700909.98 | 1148814.868
19 | 2700911.925 | 1148813.8088 | 2700909.98 | 1148814.868
20 | 2700899.998 | 1148739.0623 | 2700890.9994 | 1148743.9592 | 2700849.7262 | 1148774.71 | 2700840.1022 | 1148782.565 | 2700837.325 | 1148791.1017
21 | 2700899.998 | 1148739.0623 | 2700894.6553 | 1148733.8585 | 2700892.4957 | 1148732.1382
22 | 2700899.998 | 1148739.0623 | 2700937.9688 | 1148722.3606
23 | 2700899.998 | 1148739.0623 | 2700911.4494 | 1148748.6711 | 2700911.4494 | 1148748.6711
24 | 2700842.2958 | 1148988.9921 | 2700917.2148 | 1149038.1499
25 | 2700916.4205 | 1149041.7121 | 2700917.2148 | 1149038.1499
26 | 2700936.857 | 1149087.2754 | 2700925.8053 | 1149083.1878 | 2700918.8893 | 1149077.9465 | 2700914.7587 | 1149065.9587 | 2700914.1745 | 1149051.7845 | 2700916.4205 | 1149041.7121
27 | 2700949.628 | 1148627.9789 | 2700940.9763 | 1148624.574
28 | 2700949.628 | 1148627.9789 | 2700950.4844 | 1148628.3159 | 2700957.5672 | 1148632.804
29 | 2700940.9763 | 1148624.574 | 2700940.039 | 1148624.2051 | 2700926.8043 | 1148620.6368 | 2700915.0483 | 1148616.3596 | 2700915.0483 | 1148616.3596
30 | 2700958.6023 | 1148649.8654 | 2700957.8756 | 1148640.5252 | 2700957.5672 | 1148632.804 | 2700957.5672 | 1148632.804
31 | 2700920.8197 | 1148593.3707 | 2700918.322 | 1148595.1566 | 2700910.1882 | 1148601.1353 | 2700904.3959 | 1148606.7196 | 2700906.2144 | 1148611.4086 | 2700915.0483 | 1148616.3596
32 | 2700958.6023 | 1148649.8654 | 2700980.7155 | 1148647.0118 | 2700995.5126 | 1148644.7813
33 | 2700958.6023 | 1148649.8654 | 2700926.8065 | 1148653.9689 | 2700924.4106 | 1148654.7891
34 | 2700999.4309 | 1148644.1907 | 2700995.5126 | 1148644.7813
35 | 2700902.801 | 1148666.1042 | 2700911.5865 | 1148660.2513 | 2700919.1592 | 1148656.5869 | 2700924.4106 | 1148654.7891
36 | 2700999.4309 | 1148644.1907 | 2700999.9647 | 1148644.1103 | 2701014.7008 | 1148643.7903 | 2701021.0641 | 1148644.5485
37 | 2700864.9776 | 1148691.3018 | 2700902.801 | 1148666.1042
38 | 2700911.925 | 1148813.8088 | 2700918.7488 | 1148810.3653 | 2700928.066 | 1148806.619 | 2700946.4957 | 1148804.0148 | 2700960.3913 | 1148803.4138 | 2700973.3975 | 1148803.9463
39 | 2700911.925 | 1148813.8088 | 2700916.9165 | 1148803.2969 | 2700924.2151 | 1148789.3881 | 2700925.5158 | 1148778.2251 | 2700922.9859 | 1148769.9973
40 | 2700989.2252 | 1148804.5942 | 2700973.3975 | 1148803.9463
41 | 2700922.9859 | 1148769.9973 | 2700920.2136 | 1148760.9811 | 2700915.4288 | 1148754.2605
42 | 2700989.2252 | 1148804.5942 | 2701024.7826 | 1148806.0499 | 2701042.1531 | 1148807.4554
43 | 2700915.4288 | 1148754.2605 | 2700911.4494 | 1148748.6711
44 | 2701021.0641 | 1148644.5485 | 2701027.0234 | 1148645.2586
45 | 2700864.9776 | 1148691.3018 | 2700866.4225 | 1148697.6633 | 2700873.7916 | 1148712.3422
46 | 2700864.9776 | 1148691.3018 | 2700862.3625 | 1148688.3229 | 2700859.7265 | 1148687.0446 | 2700855.2594 | 1148686.8809 | 2700845.6644 | 1148693.0171
47 | 2700773.1398 | 1148743.076 | 2700755.8247 | 1148749.2904 | 2700746.4504 | 1148751.4017 | 2700739.9536 | 1148747.235 | 2700736.5676 | 1148742.5866 | 2700735.1791 | 1148739.2904
48 | 2700773.1398 | 1148743.076 | 2700776.9573 | 1148742.1281 | 2700786.2522 | 1148735.9094
49 | 2700732.8199 | 1148724.8605 | 2700733.7736 | 1148726.8745 | 2700734.5583 | 1148737.8167 | 2700735.1791 | 1148739.2904
50 | 2700786.2522 | 1148735.9094 | 2700787.5954 | 1148735.0108
51 | 2701044.3456 | 1148647.3226 | 2701027.0234 | 1148645.2586
52 | 2701047.544 | 1148647.7037 | 2701044.3456 | 1148647.3226
53 | 2701061.9398 | 1148649.419 | 2701047.544 | 1148647.7037
54 | 2701029.2385 | 1148711.7242 | 2701032.433 | 1148705.6379
55 | 2701041.4106 | 1148688.5329 | 2701032.433 | 1148705.6379
56 | 2701041.4106 | 1148688.5329 | 2701046.6031 | 1148678.6398
57 | 2701056.0009 | 1148660.7342 | 2701046.6031 | 1148678.6398
58 | 2701061.9398 | 1148649.419 | 2701056.0009 | 1148660.7342
59 | 2700873.7916 | 1148712.3422 | 2700875.2372 | 1148715.2218 | 2700884.3327 | 1148725.6361 | 2700892.4957 | 1148732.1382
60 | 2700956.2412 | 1148716.0211 | 2700942.2197 | 1148720.4909 | 2700937.9688 | 1148722.3606
61 | 2700845.6644 | 1148693.0171 | 2700844.5693 | 1148693.7174 | 2700832.2537 | 1148701.8429
62 | 2700829.8668 | 1148703.4176 | 2700832.2537 | 1148701.8429
63 | 2700829.8668 | 1148703.4176 | 2700825.1531 | 1148706.5275
64 | 2700974.6361 | 1148710.1571 | 2700956.2412 | 1148716.0211
65 | 2700979.5295 | 1148708.5972 | 2700974.6361 | 1148710.1571
66 | 2700811.1829 | 1148716.3867 | 2700815.4471 | 1148712.9312 | 2700825.1531 | 1148706.5275
67 | 2700811.1829 | 1148716.3867 | 2700808.6424 | 1148718.4454
68 | 2700807.2117 | 1148719.6047 | 2700808.6424 | 1148718.4454
69 | 2700807.2117 | 1148719.6047 | 2700801.0361 | 1148724.6092
70 | 2700797.3174 | 1148727.6226 | 2700801.0361 | 1148724.6092
71 | 2700793.7815 | 1148730.4878 | 2700797.3174 | 1148727.6226
72 | 2700793.7815 | 1148730.4878 | 2700791.0623 | 1148732.6914 | 2700787.5954 | 1148735.0108
73 | 2700732.8199 | 1148724.8605 | 2700732.1548 | 1148723.4561
74 | 2700730.3613 | 1148719.6685 | 2700732.1548 | 1148723.4561
75 | 2700730.3613 | 1148719.6685 | 2700739.7527 | 1148704.5938 | 2700739.7527 | 1148704.5938
76 | 2700739.7527 | 1148704.5938 | 2700741.6855 | 1148699.6786
77 | 2700741.8505 | 1148699.2592 | 2700741.6855 | 1148699.6786
78 | 2700741.8505 | 1148699.2592 | 2700746.6109 | 1148687.1531 | 2700750.4745 | 1148669.3653

## bus_geodata
| x | y | coords
0 | 2700636.4488 | 1149151.9565
1 | 2700659.2613 | 1149139.1592
2 | 2700580.5836 | 1149170.3037
3 | 2700705.3356 | 1149100.6625
4 | 2700574.2217 | 1149171.5108
5 | 2700750.2636 | 1148770.0714
6 | 2700754.208 | 1148766.0517
7 | 2700709.0537 | 1149096.9821
8 | 2700514.1076 | 1149012.642
9 | 2700733.3828 | 1149073.7605
10 | 2700476.1604 | 1148904.5306
11 | 2700817.1708 | 1149005.5093
12 | 2700754.8208 | 1149053.2984
13 | 2700821.6971 | 1149002.1169
14 | 2700834.0175 | 1148991.9055
15 | 2700726.8546 | 1148973.5493
16 | 2700906.3987 | 1148816.8182
17 | 2700845.1553 | 1148949.3791
18 | 2700909.98 | 1148814.868
19 | 2700837.325 | 1148791.1017
20 | 2700899.998 | 1148739.0623
21 | 2700842.2958 | 1148988.9921
22 | 2700917.2148 | 1149038.1499
23 | 2700916.4205 | 1149041.7121
24 | 2700936.857 | 1149087.2754
25 | 2700949.628 | 1148627.9789
26 | 2700940.9763 | 1148624.574
27 | 2700957.5672 | 1148632.804
28 | 2700915.0483 | 1148616.3596
29 | 2700958.6023 | 1148649.8654
30 | 2700920.8197 | 1148593.3707
31 | 2700995.5126 | 1148644.7813
32 | 2700924.4106 | 1148654.7891
33 | 2700999.4309 | 1148644.1907
34 | 2700902.801 | 1148666.1042
35 | 2700911.925 | 1148813.8088
36 | 2700973.3975 | 1148803.9463
37 | 2700922.9859 | 1148769.9973
38 | 2700989.2252 | 1148804.5942
39 | 2700915.4288 | 1148754.2605
40 | 2701042.1531 | 1148807.4554
41 | 2700911.4494 | 1148748.6711
42 | 2701021.0641 | 1148644.5485
43 | 2700864.9776 | 1148691.3018
44 | 2700773.1398 | 1148743.076
45 | 2700735.1791 | 1148739.2904
46 | 2700786.2522 | 1148735.9094
47 | 2701027.0234 | 1148645.2586
48 | 2701044.3456 | 1148647.3226
49 | 2701047.544 | 1148647.7037
50 | 2701029.2385 | 1148711.7242
51 | 2701032.433 | 1148705.6379
52 | 2701041.4106 | 1148688.5329
53 | 2701046.6031 | 1148678.6398
54 | 2701056.0009 | 1148660.7342
55 | 2700892.4957 | 1148732.1382
56 | 2700937.9688 | 1148722.3606
57 | 2701061.9398 | 1148649.419
58 | 2700873.7915 | 1148712.3422
59 | 2700845.6644 | 1148693.0171
60 | 2700832.2537 | 1148701.8429
61 | 2700829.8668 | 1148703.4176
62 | 2700974.6361 | 1148710.1571
63 | 2700956.2412 | 1148716.0211
64 | 2700979.5295 | 1148708.5972
65 | 2700825.1531 | 1148706.5275
66 | 2700811.1829 | 1148716.3867
67 | 2700808.6424 | 1148718.4454
68 | 2700807.2117 | 1148719.6047
69 | 2700801.036 | 1148724.6092
70 | 2700797.3174 | 1148727.6226
71 | 2700793.7815 | 1148730.4878
72 | 2700787.5954 | 1148735.0108
73 | 2700732.8199 | 1148724.8605
74 | 2700732.1548 | 1148723.4561
75 | 2700730.3613 | 1148719.6685
76 | 2700739.7527 | 1148704.5938
77 | 2700741.6855 | 1148699.6786
78 | 2700741.8505 | 1148699.2592
79 | 2700750.4745 | 1148669.3653
80 | 2700864.9776 | 1148691.3018

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1