## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5079-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5079-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5079-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5079-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5079-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5079-11_0_3_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_5079-11_0_3_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_5079-11_0_3_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_5079-11_0_3_node_94 | 0.4 | n |  | TRUE
9 | bus_LV_5079-11_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_5079-11_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5079-11_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5079-11_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5079-11_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5079-11_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5079-11_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5079-11_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5079-11_0_3_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_5079-11_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_5079-11_0_3_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_5079-11_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_5079-11_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5079-11_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5079-11_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5079-11_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5079-11_0_3_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_5079-11_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_5079-11_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_5079-11_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_5079-11_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5079-11_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5079-11_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5079-11_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5079-11_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5079-11_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5079-11_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_5079-11_0_3_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_5079-11_0_3_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_5079-11_0_3_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_5079-11_0_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_5079-11_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_5079-11_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5079-11_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_5079-11_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_5079-11_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_5079-11_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_5079-11_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_5079-11_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_5079-11_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_5079-11_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5079-11_0_3_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_5079-11_0_3_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_5079-11_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_5079-11_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_5079-11_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_5079-11_0_3_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_5079-11_0_3_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_5079-11_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_5079-11_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5079-11_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_5079-11_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_5079-11_0_3_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_5079-11_0_3_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_5079-11_0_3_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_5079-11_0_3_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_5079-11_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_5079-11_0_3_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_5079-11_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_5079-11_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_5079-11_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_5079-11_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_5079-11_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_5079-11_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_5079-11_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5079-11_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_5079-11_0_3_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_5079-11_0_3_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_5079-11_0_3_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_5079-11_0_3_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_5079-11_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_5079-11_0_3_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_5079-11_0_3_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_5079-11_0_3_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_5079-11_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_5079-11_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_5079-11_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_5079-11_0_3_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_5079-11_0_3_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_5079-11_0_3_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_5079-11_0_3_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_5079-11_0_3_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_5079-11_0_3_node_90 | 0.4 | n |  | TRUE
92 | bus_MV_187_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5079-11_0_3_load_0 | 0 | 0.000763 | 0.00019123 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5079-11_0_3_load_1 | 1 | 0.00054337 | 0.00013618 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5079-11_0_3_load_3 | 3 | 0.00253 | 0.00063407 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5079-11_0_3_load_48 | 5 | 0.0081307 | 0.0020378 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5079-11_0_3_load_34 | 6 | 0.0045989 | 0.0011526 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5079-11_0_3_load_94 | 8 | 0.0015673 | 0.00039281 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5079-11_0_3_load_6 | 10 | 0.0081847 | 0.0020513 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5079-11_0_3_load_7 | 11 | 0.0029539 | 0.00074032 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5079-11_0_3_load_9 | 13 | 0.0019865 | 0.00049786 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5079-11_0_3_load_10 | 14 | 0.0038553 | 0.00096623 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5079-11_0_3_load_11 | 15 | 0.0050219 | 0.0012586 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5079-11_0_3_load_12 | 16 | 0.004954 | 0.0012416 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5079-11_0_3_load_24 | 17 | 0.0012162 | 0.00030481 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5079-11_0_3_load_32 | 18 | 0.0019888 | 0.00049845 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5079-11_0_3_load_44 | 19 | 0.0026243 | 0.00065771 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5079-11_0_3_load_33 | 20 | 0.0012901 | 0.00032333 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5079-11_0_3_load_13 | 21 | 0.00045001 | 0.00011278 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5079-11_0_3_load_15 | 23 | 0.00050004 | 0.00012532 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5079-11_0_3_load_38 | 25 | 0.00043877 | 0.00010997 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5079-11_0_3_load_29 | 26 | 0.00089084 | 0.00022327 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5079-11_0_3_load_28 | 28 | 0.0005625 | 0.00014098 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5079-11_0_3_load_18 | 29 | 0.0036046 | 0.0009034 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5079-11_0_3_load_19 | 30 | 0.0028607 | 0.00071695 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5079-11_0_3_load_20 | 31 | 0.0013647 | 0.00034203 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5079-11_0_3_load_21 | 32 | 0.010691 | 0.0026793 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5079-11_0_3_load_22 | 33 | 0.0041994 | 0.0010525 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5079-11_0_3_load_23 | 34 | 0.0051655 | 0.0012946 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5079-11_0_3_load_42 | 35 | 0.0019005 | 0.00047632 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5079-11_0_3_load_49 | 36 | 0.0041772 | 0.0010469 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5079-11_0_3_load_43 | 37 | 0.0021511 | 0.00053912 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5079-11_0_3_load_50 | 38 | 0.0051393 | 0.001288 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5079-11_0_3_load_57 | 39 | 0.0012338 | 0.00030922 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5079-11_0_3_load_25 | 40 | 0.00066715 | 0.0001672 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5079-11_0_3_load_26 | 41 | 0.00058454 | 0.0001465 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5079-11_0_3_load_27 | 42 | 0.0005367 | 0.00013451 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5079-11_0_3_load_30 | 43 | 0.00040988 | 0.00010273 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5079-11_0_3_load_31 | 44 | 0.00040953 | 0.00010264 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5079-11_0_3_load_41 | 46 | 0.0033706 | 0.00084476 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5079-11_0_3_load_45 | 47 | 0.001281 | 0.00032106 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5079-11_0_3_load_36 | 48 | 0.0010525 | 0.00026379 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5079-11_0_3_load_37 | 49 | 0.00085286 | 0.00021375 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5079-11_0_3_load_92 | 50 | 0.002351 | 0.00058923 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5079-11_0_3_load_91 | 51 | 0.0051945 | 0.0013019 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5079-11_0_3_load_40 | 52 | 0.00045353 | 0.00011367 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5079-11_0_3_load_51 | 54 | 0.0044002 | 0.0011028 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5079-11_0_3_load_72 | 55 | 0.0021126 | 0.00052948 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5079-11_0_3_load_73 | 56 | 0.0024828 | 0.00062225 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5079-11_0_3_load_52 | 57 | 0.0022455 | 0.00056278 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5079-11_0_3_load_53 | 58 | 0.0018344 | 0.00045973 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5079-11_0_3_load_56 | 60 | 0.0019157 | 0.00048012 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5079-11_0_3_load_66 | 61 | 0.0016198 | 0.00040596 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5079-11_0_3_load_63 | 62 | 0.00066745 | 0.00016728 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5079-11_0_3_load_77 | 63 | 0.001481 | 0.00037118 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5079-11_0_3_load_87 | 64 | 0.00145 | 0.00036341 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5079-11_0_3_load_64 | 65 | 0.0017351 | 0.00043487 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5079-11_0_3_load_78 | 66 | 0.0027272 | 0.00068349 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5079-11_0_3_load_58 | 67 | 0.0013771 | 0.00034513 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5079-11_0_3_load_59 | 68 | 0.00093236 | 0.00023367 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5079-11_0_3_load_60 | 69 | 0.00099145 | 0.00024848 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5079-11_0_3_load_61 | 70 | 0.00099372 | 0.00024905 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5079-11_0_3_load_62 | 71 | 0.00085443 | 0.00021414 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5079-11_0_3_load_68 | 72 | 0.00069396 | 0.00017392 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5079-11_0_3_load_71 | 73 | 0.00097073 | 0.00024329 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5079-11_0_3_load_69 | 74 | 0.0016212 | 0.00040632 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5079-11_0_3_load_67 | 75 | 0.00074907 | 0.00018774 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5079-11_0_3_load_86 | 77 | 0.00086207 | 0.00021605 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5079-11_0_3_load_70 | 78 | 0.0016163 | 0.00040509 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5079-11_0_3_load_74 | 79 | 0.0016949 | 0.00042478 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5079-11_0_3_load_75 | 80 | 0.0013817 | 0.00034629 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5079-11_0_3_load_85 | 81 | 0.0030335 | 0.00076026 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5079-11_0_3_load_84 | 82 | 0.0020313 | 0.0005091 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5079-11_0_3_load_76 | 83 | 0.0014126 | 0.00035403 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5079-11_0_3_load_79 | 84 | 0.0015411 | 0.00038623 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5079-11_0_3_load_80 | 85 | 0.0014253 | 0.00035722 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5079-11_0_3_load_81 | 86 | 0.0022347 | 0.00056006 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5079-11_0_3_load_82 | 87 | 0.0028802 | 0.00072184 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5079-11_0_3_load_83 | 88 | 0.003051 | 0.00076466 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5079-11_0_3_load_88 | 89 | 0.0012968 | 0.000325 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5079-11_0_3_load_89 | 90 | 0.0027561 | 0.00069075 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5079-11_0_3_load_90 | 91 | 0.0010783 | 0.00027025 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5079-11_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5079-11_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5079-11_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5079-11_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.097236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5079-11_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.29722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_5079-11_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.047077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5079-11_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.21915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_5079-11_0_3_line_7 | NAYY 4x150 SE | 5 | 9 | 0.23035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5079-11_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.1142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_5079-11_0_3_line_9 | NAYY 4x150 SE | 7 | 48 | 0.027737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5079-11_0_3_line_10 | NAYY 4x150 SE | 7 | 49 | 0.045131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5079-11_0_3_line_11 | NAYY 4x150 SE | 9 | 25 | 0.037179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5079-11_0_3_line_12 | NAYY 4x150 SE | 9 | 22 | 0.031761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5079-11_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.0055629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5079-11_0_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.044822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5079-11_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.016006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5079-11_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.01793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5079-11_0_3_line_17 | NAYY 4x150 SE | 12 | 15 | 0.039872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5079-11_0_3_line_18 | NAYY 4x150 SE | 12 | 16 | 0.057121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5079-11_0_3_line_19 | NAYY 4x150 SE | 13 | 17 | 0.060139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5079-11_0_3_line_20 | NAYY 4x150 SE | 14 | 18 | 0.0019268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5079-11_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.041323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_5079-11_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.031045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5079-11_0_3_line_23 | NAYY 4x150 SE | 19 | 39 | 0.0033332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_5079-11_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.025072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5079-11_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.03479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5079-11_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.025914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5079-11_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.021277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5079-11_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.043799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5079-11_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0046847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5079-11_0_3_line_30 | NAYY 4x150 SE | 27 | 52 | 0.085401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5079-11_0_3_line_31 | NAYY 4x150 SE | 27 | 46 | 0.092916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5079-11_0_3_line_32 | NAYY 4x150 SE | 28 | 42 | 0.023691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5079-11_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.022789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5079-11_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.0049646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5079-11_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.042533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5079-11_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.0027099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5079-11_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.015281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5079-11_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0023746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5079-11_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.020904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5079-11_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.021962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5079-11_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.014191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5079-11_0_3_line_42 | NAYY 4x150 SE | 38 | 54 | 0.043158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5079-11_0_3_line_43 | NAYY 4x150 SE | 39 | 53 | 0.015576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_5079-11_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.020788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5079-11_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0028362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5079-11_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.010446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5079-11_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.11 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5079-11_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.03155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5079-11_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.0542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5079-11_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0071217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_5079-11_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.018344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_5079-11_0_3_line_52 | NAYY 4x150 SE | 51 | 91 | 0.00062219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_5079-11_0_3_line_53 | NAYY 4x150 SE | 53 | 60 | 0.0014204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5079-11_0_3_line_54 | NAYY 4x150 SE | 53 | 57 | 0.011214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5079-11_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.018972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5079-11_0_3_line_56 | NAYY 4x150 SE | 55 | 56 | 0.012294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5079-11_0_3_line_57 | NAYY 4x150 SE | 56 | 81 | 0.0040374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5079-11_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0012052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_5079-11_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.011941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_5079-11_0_3_line_60 | NAYY 4x150 SE | 59 | 61 | 0.00203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_5079-11_0_3_line_61 | NAYY 4x150 SE | 59 | 62 | 0.018105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5079-11_0_3_line_62 | NAYY 4x150 SE | 60 | 63 | 0.01515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5079-11_0_3_line_63 | NAYY 4x150 SE | 61 | 64 | 0.0099086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_5079-11_0_3_line_64 | NAYY 4x150 SE | 62 | 65 | 0.017729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5079-11_0_3_line_65 | NAYY 4x150 SE | 63 | 66 | 0.0053786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5079-11_0_3_line_66 | NAYY 4x150 SE | 64 | 77 | 0.013081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_5079-11_0_3_line_67 | NAYY 4x150 SE | 65 | 76 | 0.026444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5079-11_0_3_line_68 | NAYY 4x150 SE | 66 | 84 | 0.0041727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5079-11_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0042466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5079-11_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.0048809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5079-11_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.0060959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5079-11_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.0021596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5079-11_0_3_line_73 | NAYY 4x150 SE | 70 | 72 | 0.0053204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5079-11_0_3_line_74 | NAYY 4x150 SE | 71 | 73 | 0.0088965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5079-11_0_3_line_75 | NAYY 4x150 SE | 72 | 74 | 0.0072754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5079-11_0_3_line_76 | NAYY 4x150 SE | 73 | 75 | 0.0058927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5079-11_0_3_line_77 | NAYY 4x150 SE | 74 | 78 | 0.0058145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5079-11_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.0044054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5079-11_0_3_line_79 | NAYY 4x150 SE | 77 | 89 | 0.0071212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_5079-11_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.010405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5079-11_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.002087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5079-11_0_3_line_82 | NAYY 4x150 SE | 80 | 83 | 0.0014706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5079-11_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.014975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5079-11_0_3_line_84 | NAYY 4x150 SE | 82 | 88 | 0.0037146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5079-11_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.0084606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5079-11_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.0034205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5079-11_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.0092035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5079-11_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.011166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5079-11_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.0037378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_5079-11_0_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.020255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5079-11_0_3_trafo_24 | 0.25 MVA 20/0.4 kV | 92 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2697497.2138 | 1151485.5553 | 2697498.8786 | 1151483.9318 | 2697510.9242 | 1151475.7995 | 2697512.8407 | 1151474.0628 | 2697514.196 | 1151471.9056 | 2697516.4949 | 1151465.0497 | 2697517.5939 | 1151463.6271
1 | 2697490.0631 | 1151495.0183 | 2697494.7292 | 1151487.9783 | 2697497.2138 | 1151485.5553
2 | 2697517.5939 | 1151463.6271 | 2697520.0154 | 1151460.4927 | 2697518.4691 | 1151454.0637
3 | 2697430.4639 | 1151420.4748 | 2697456.0066 | 1151464.4151 | 2697463.2635 | 1151474.2163 | 2697470.0499 | 1151481.7752 | 2697477.0972 | 1151487.9263 | 2697482.9025 | 1151491.6003 | 2697487.8685 | 1151494.0155 | 2697490.0631 | 1151495.0183
4 | 2697319.7035 | 1151738.5637 | 2697490.0631 | 1151495.0183
5 | 2697430.4639 | 1151420.4748 | 2697452.9317 | 1151403.4943 | 2697455.3965 | 1151402.0333 | 2697459.5418 | 1151400.6106 | 2697470.8452 | 1151397.7218
6 | 2697225.7367 | 1151342.2994 | 2697430.4639 | 1151420.4748
7 | 2697222.2976 | 1151947.3045 | 2697319.7035 | 1151738.5637
8 | 2697156.2863 | 1151432.9552 | 2697225.7367 | 1151342.2994
9 | 2697156.2863 | 1151432.9552 | 2697163.3796 | 1151438.6509 | 2697177.4605 | 1151450.8642
10 | 2697156.2863 | 1151432.9552 | 2697133.0817 | 1151461.8879 | 2697127.9848 | 1151468.1091
11 | 2697222.2976 | 1151947.3045 | 2697185.2815 | 1151950.7857
12 | 2697222.2976 | 1151947.3045 | 2697225.7162 | 1151959.0113 | 2697231.312 | 1151967.5625 | 2697238.1788 | 1151973.9328
13 | 2697013.7454 | 1151658.8549 | 2697013.8749 | 1151657.1434 | 2697014.2345 | 1151653.3138
14 | 2697010.3638 | 1151703.5488 | 2697013.7454 | 1151658.8549
15 | 2697015.7308 | 1151637.3783 | 2697014.2345 | 1151653.3138
16 | 2697010.3638 | 1151703.5488 | 2697027.4528 | 1151698.1225
17 | 2697010.3638 | 1151703.5488 | 2696976.9191 | 1151725.2563
18 | 2697010.3638 | 1151703.5488 | 2697002.834 | 1151757.8389 | 2697002.5288 | 1151760.1295
19 | 2697015.7308 | 1151637.3783 | 2697015.9691 | 1151634.8411 | 2697017.6345 | 1151617.7129 | 2697018.3609 | 1151609.7864 | 2697018.2741 | 1151601.8356 | 2697017.9797 | 1151593.4257 | 2697016.4446 | 1151584.3621 | 2697016.5624 | 1151577.5
20 | 2697029.2893 | 1151697.5393 | 2697027.4528 | 1151698.1225
21 | 2697016.5624 | 1151577.5 | 2697016.5694 | 1151577.0929 | 2697017.3136 | 1151569.0221 | 2697018.5765 | 1151564.9622 | 2697021.156 | 1151561.1347 | 2697038.4634 | 1151544.5897
22 | 2697029.2893 | 1151697.5393 | 2697058.8785 | 1151688.1436
23 | 2697040.647 | 1151542.0794 | 2697040.6463 | 1151542.0813 | 2697039.1815 | 1151543.9032 | 2697038.4634 | 1151544.5897
24 | 2697238.1788 | 1151973.9328 | 2697234.4813 | 1151977.5976 | 2697217.8001 | 1151988.3863
25 | 2697186.862 | 1152004.1234 | 2697209.0388 | 1151994.0528 | 2697217.8001 | 1151988.3863
26 | 2697238.1788 | 1151973.9328 | 2697260.0515 | 1151987.9279
27 | 2697260.0515 | 1151987.9279 | 2697257.38 | 1151991.2757 | 2697252.2148 | 1151995.9841 | 2697244.8836 | 1152002.7926
28 | 2697141.7177 | 1151955.2985 | 2697163.4725 | 1151952.8367 | 2697185.2815 | 1151950.7857
29 | 2697244.8836 | 1152002.7926 | 2697241.4509 | 1152005.9806
30 | 2697141.7177 | 1151955.2985 | 2697141.9173 | 1151971.4784 | 2697144.4275 | 1151994.2997 | 2697150.3084 | 1151999.9313 | 2697154.2538 | 1152010.8683 | 2697168.1664 | 1152033.4125
31 | 2697141.7177 | 1151955.2985 | 2697128.3296 | 1151956.817 | 2697114.6485 | 1151956.9854 | 2697106.0557 | 1151961.0049 | 2697098.6094 | 1151968.1894 | 2697084.7339 | 1151980.4178 | 2697062.908 | 1151997.0349
32 | 2697224.2647 | 1152022.2826 | 2697229.8576 | 1152016.7472 | 2697241.4509 | 1152005.9806
33 | 2696773.8529 | 1151566.2176 | 2696774.2575 | 1151566.1449 | 2696790.9855 | 1151564.1568 | 2696796.4897 | 1151563.5973
34 | 2696773.8529 | 1151566.2176 | 2696768.9665 | 1151567.0954
35 | 2696838.8043 | 1151559.296 | 2696796.4897 | 1151563.5973
36 | 2696766.2993 | 1151567.5745 | 2696768.9665 | 1151567.0954
37 | 2696838.8043 | 1151559.296 | 2696851.2359 | 1151558.0324 | 2696854.0052 | 1151557.7317
38 | 2696763.9622 | 1151567.9944 | 2696766.2993 | 1151567.5745
39 | 2696874.787 | 1151555.4751 | 2696854.0052 | 1151557.7317
40 | 2696763.9622 | 1151567.9944 | 2696758.5216 | 1151568.9717 | 2696742.4676 | 1151572.4873
41 | 2696874.787 | 1151555.4751 | 2696888.8953 | 1151553.9432
42 | 2696888.8953 | 1151553.9432 | 2696927.7495 | 1151549.7243 | 2696931.8004 | 1151549.2751
43 | 2697041.5162 | 1151526.6858 | 2697041.8522 | 1151537.2755 | 2697041.5053 | 1151539.7492 | 2697040.647 | 1151542.0794
44 | 2697223.4884 | 1152025.0105 | 2697221.3515 | 1152032.5197 | 2697216.5722 | 1152044.5887
45 | 2697223.4884 | 1152025.0105 | 2697224.2647 | 1152022.2826 | 2697224.2647 | 1152022.2826
46 | 2697083.5964 | 1152116.0255 | 2697073.8586 | 1152119.8061
47 | 2697037.6536 | 1152015.9368 | 2697073.8586 | 1152119.8061
48 | 2697037.6536 | 1152015.9368 | 2697041.7903 | 1152013.1128 | 2697062.908 | 1151997.0349
49 | 2697037.6536 | 1152015.9368 | 2697033.5792 | 1152018.7062 | 2697020.4298 | 1152023.0415 | 2697002.9237 | 1152026.7064 | 2696988.7526 | 1152033.0043 | 2696986.9875 | 1152034.0162
50 | 2697123.4715 | 1151473.6181 | 2697127.9848 | 1151468.1091
51 | 2697123.4715 | 1151473.6181 | 2697122.1501 | 1151475.231 | 2697111.1392 | 1151487.1942
52 | 2697111.1392 | 1151487.1942 | 2697110.7178 | 1151487.652
53 | 2697041.5162 | 1151526.6858 | 2697040.1592 | 1151527.1055
54 | 2697041.5162 | 1151526.6858 | 2697051.9539 | 1151522.5856
55 | 2696931.8004 | 1151549.2751 | 2696950.6565 | 1151547.184
56 | 2696962.8756 | 1151545.829 | 2696950.6565 | 1151547.184
57 | 2696962.8756 | 1151545.829 | 2696965.5694 | 1151545.5302 | 2696966.875 | 1151545.2922
58 | 2697051.9539 | 1151522.5856 | 2697053.0757 | 1151522.1449
59 | 2697064.1901 | 1151517.7788 | 2697053.0757 | 1151522.1449
60 | 2697064.1901 | 1151517.7788 | 2697066.0668 | 1151517.005
61 | 2697064.1901 | 1151517.7788 | 2697057.8454 | 1151507.5481 | 2697055.2525 | 1151502.0639
62 | 2697040.1592 | 1151527.1055 | 2697025.6854 | 1151531.582
63 | 2697066.0668 | 1151517.005 | 2697075.2272 | 1151513.2277
64 | 2697055.2525 | 1151502.0639 | 2697049.8578 | 1151490.6534 | 2697046.8175 | 1151486.5499
65 | 2697020.5469 | 1151533.1712 | 2697025.6854 | 1151531.582
66 | 2697086.912 | 1151507.3556 | 2697076.23 | 1151512.8142 | 2697075.2272 | 1151513.2277
67 | 2697031.0752 | 1151465.3019 | 2697046.8175 | 1151486.5499
68 | 2697020.5469 | 1151533.1712 | 2697016.5605 | 1151534.4041
69 | 2697009.8078 | 1151480.0626 | 2697006.5027 | 1151482.729
70 | 2697009.8078 | 1151480.0626 | 2697013.6066 | 1151476.998
71 | 2697006.5027 | 1151482.729 | 2697001.7583 | 1151486.5566
72 | 2697013.6066 | 1151476.998 | 2697015.2874 | 1151475.642
73 | 2696997.6174 | 1151489.8973 | 2697001.7583 | 1151486.5566
74 | 2697022.2115 | 1151470.0559 | 2697015.2874 | 1151475.642
75 | 2696997.6174 | 1151489.8973 | 2696991.9549 | 1151494.4655
76 | 2697022.2115 | 1151470.0559 | 2697026.7977 | 1151466.3559 | 2697026.7977 | 1151466.3559
77 | 2696987.4296 | 1151498.1164 | 2696991.9549 | 1151494.4655
78 | 2697031.0752 | 1151465.3019 | 2697026.7977 | 1151466.3559
79 | 2697086.912 | 1151507.3556 | 2697090.3403 | 1151505.6038 | 2697093.06 | 1151503.786
80 | 2696979.3315 | 1151504.6495 | 2696987.4296 | 1151498.1164
81 | 2696979.3315 | 1151504.6495 | 2696977.7072 | 1151505.9599
82 | 2696976.5626 | 1151506.8833 | 2696977.7072 | 1151505.9599
83 | 2696966.875 | 1151545.2922 | 2696981.6072 | 1151542.606
84 | 2696985.2616 | 1151541.9397 | 2696981.6072 | 1151542.606
85 | 2697008.4777 | 1151536.904 | 2697016.5605 | 1151534.4041
86 | 2697005.2099 | 1151537.9147 | 2697008.4777 | 1151536.904
87 | 2697005.2099 | 1151537.9147 | 2697002.1551 | 1151538.8595 | 2696996.2466 | 1151539.9368
88 | 2696985.2616 | 1151541.9397 | 2696996.2466 | 1151539.9368
89 | 2697093.06 | 1151503.786 | 2697096.1677 | 1151501.7089
90 | 2697096.1677 | 1151501.7089 | 2697096.4475 | 1151501.5219 | 2697105.6639 | 1151493.143 | 2697110.7178 | 1151487.652

## bus_geodata
| x | y | coords
0 | 2697497.2138 | 1151485.5553
1 | 2697517.5939 | 1151463.6271
2 | 2697490.0631 | 1151495.0183
3 | 2697518.4691 | 1151454.0637
4 | 2697430.4639 | 1151420.4748
5 | 2697319.7035 | 1151738.5637
6 | 2697225.7367 | 1151342.2994
7 | 2697156.2863 | 1151432.9552
8 | 2697470.8452 | 1151397.7218
9 | 2697222.2976 | 1151947.3045
10 | 2697013.7454 | 1151658.8549
11 | 2697014.2345 | 1151653.3138
12 | 2697010.3638 | 1151703.5488
13 | 2697015.7308 | 1151637.3783
14 | 2697027.4528 | 1151698.1225
15 | 2696976.9191 | 1151725.2563
16 | 2697002.5288 | 1151760.1295
17 | 2697016.5624 | 1151577.5
18 | 2697029.2893 | 1151697.5393
19 | 2697038.4634 | 1151544.5897
20 | 2697058.8785 | 1151688.1436
21 | 2697217.8001 | 1151988.3863
22 | 2697238.1788 | 1151973.9328
23 | 2697186.862 | 1152004.1234
24 | 2697260.0515 | 1151987.9279
25 | 2697185.2815 | 1151950.7857
26 | 2697244.8836 | 1152002.7926
27 | 2697141.7177 | 1151955.2985
28 | 2697241.4509 | 1152005.9806
29 | 2696773.8529 | 1151566.2176
30 | 2696796.4897 | 1151563.5973
31 | 2696768.9665 | 1151567.0954
32 | 2696838.8043 | 1151559.296
33 | 2696766.2993 | 1151567.5745
34 | 2696854.0052 | 1151557.7317
35 | 2696763.9622 | 1151567.9944
36 | 2696874.787 | 1151555.4751
37 | 2696742.4676 | 1151572.4873
38 | 2696888.8953 | 1151553.9432
39 | 2697040.647 | 1151542.0794
40 | 2697216.5722 | 1152044.5887
41 | 2697223.4884 | 1152025.0105
42 | 2697224.2647 | 1152022.2826
43 | 2697073.8586 | 1152119.8061
44 | 2697083.5964 | 1152116.0255
45 | 2697037.6536 | 1152015.9368
46 | 2697062.908 | 1151997.0349
47 | 2696986.9875 | 1152034.0162
48 | 2697177.4605 | 1151450.8642
49 | 2697127.9848 | 1151468.1091
50 | 2697123.4715 | 1151473.6181
51 | 2697111.1392 | 1151487.1942
52 | 2697168.1664 | 1152033.4125
53 | 2697041.5162 | 1151526.6858
54 | 2696931.8004 | 1151549.2751
55 | 2696950.6565 | 1151547.184
56 | 2696962.8756 | 1151545.829
57 | 2697051.9539 | 1151522.5856
58 | 2697053.0757 | 1151522.1449
59 | 2697064.1901 | 1151517.7788
60 | 2697040.1592 | 1151527.1055
61 | 2697066.0668 | 1151517.005
62 | 2697055.2525 | 1151502.0639
63 | 2697025.6854 | 1151531.582
64 | 2697075.2272 | 1151513.2277
65 | 2697046.8175 | 1151486.5499
66 | 2697020.5469 | 1151533.1712
67 | 2697009.8078 | 1151480.0626
68 | 2697006.5027 | 1151482.729
69 | 2697013.6066 | 1151476.998
70 | 2697001.7583 | 1151486.5566
71 | 2697015.2874 | 1151475.642
72 | 2696997.6174 | 1151489.8973
73 | 2697022.2115 | 1151470.0559
74 | 2696991.9549 | 1151494.4655
75 | 2697026.7977 | 1151466.3559
76 | 2697031.0752 | 1151465.3019
77 | 2697086.912 | 1151507.3556
78 | 2696987.4296 | 1151498.1164
79 | 2696979.3315 | 1151504.6495
80 | 2696977.7072 | 1151505.9599
81 | 2696966.875 | 1151545.2922
82 | 2696981.6072 | 1151542.606
83 | 2696976.5626 | 1151506.8833
84 | 2697016.5605 | 1151534.4041
85 | 2697008.4777 | 1151536.904
86 | 2697005.2099 | 1151537.9147
87 | 2696996.2466 | 1151539.9368
88 | 2696985.2616 | 1151541.9397
89 | 2697093.06 | 1151503.786
90 | 2697096.1677 | 1151501.7089
91 | 2697110.7178 | 1151487.652
92 | 2697041.5162 | 1151526.6858

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1