## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5079-1_2_2_node_93 | 0.4 | n |  | TRUE
1 | bus_LV_5079-1_2_2_node_92 | 0.4 | n |  | TRUE
2 | bus_LV_5079-1_2_2_node_27 | 0.4 | n |  | TRUE
3 | bus_LV_5079-1_2_2_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_5079-1_2_2_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_5079-1_2_2_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_5079-1_2_2_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_5079-1_2_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_5079-1_2_2_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_5079-1_2_2_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_5079-1_2_2_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_5079-1_2_2_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_5079-1_2_2_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_5079-1_2_2_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_5079-1_2_2_node_84 | 0.4 | n |  | TRUE
15 | bus_LV_5079-1_2_2_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_5079-1_2_2_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_5079-1_2_2_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_5079-1_2_2_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_5079-1_2_2_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_5079-1_2_2_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_5079-1_2_2_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_5079-1_2_2_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_5079-1_2_2_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_5079-1_2_2_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_5079-1_2_2_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_5079-1_2_2_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_5079-1_2_2_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_5079-1_2_2_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_5079-1_2_2_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_5079-1_2_2_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_5079-1_2_2_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_5079-1_2_2_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_5079-1_2_2_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_5079-1_2_2_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_5079-1_2_2_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_5079-1_2_2_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_5079-1_2_2_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_5079-1_2_2_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_5079-1_2_2_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_5079-1_2_2_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_5079-1_2_2_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_5079-1_2_2_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_5079-1_2_2_node_101 | 0.4 | n |  | TRUE
44 | bus_LV_5079-1_2_2_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_5079-1_2_2_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_5079-1_2_2_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_5079-1_2_2_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_5079-1_2_2_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_5079-1_2_2_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_5079-1_2_2_node_76 | 0.4 | n |  | TRUE
51 | bus_MV_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5079-1_2_2_load_93 | 0 | 0.0027969 | 0.00070096 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5079-1_2_2_load_92 | 1 | 0.00057007 | 0.00014287 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5079-1_2_2_load_27 | 2 | 0.00094852 | 0.00023772 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5079-1_2_2_load_26 | 3 | 0.0010625 | 0.00026629 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5079-1_2_2_load_15 | 4 | 0.00085853 | 0.00021517 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5079-1_2_2_load_18 | 6 | 0.00094141 | 0.00023594 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5079-1_2_2_load_19 | 7 | 0.00034165 | 8.5625e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5079-1_2_2_load_24 | 10 | 0.0013492 | 0.00033813 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5079-1_2_2_load_21 | 12 | 0.00077332 | 0.00019381 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5079-1_2_2_load_83 | 13 | 0.0032121 | 0.00080504 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5079-1_2_2_load_28 | 15 | 0.0016031 | 0.00040179 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5079-1_2_2_load_33 | 17 | 0.0022241 | 0.00055741 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5079-1_2_2_load_32 | 18 | 0.00099121 | 0.00024842 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5079-1_2_2_load_44 | 19 | 0.00095597 | 0.00023959 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5079-1_2_2_load_45 | 20 | 0.0010274 | 0.00025749 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5079-1_2_2_load_60 | 21 | 0.0016424 | 0.00041163 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5079-1_2_2_load_58 | 22 | 0.0015203 | 0.00038103 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5079-1_2_2_load_46 | 23 | 0.0010729 | 0.00026889 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5079-1_2_2_load_47 | 24 | 0.0011094 | 0.00027805 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5079-1_2_2_load_50 | 27 | 0.00090094 | 0.0002258 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5079-1_2_2_load_51 | 28 | 0.00076243 | 0.00019108 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5079-1_2_2_load_64 | 29 | 0.0012748 | 0.00031949 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5079-1_2_2_load_81 | 31 | 0.0027009 | 0.00067691 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5079-1_2_2_load_62 | 32 | 0.0017806 | 0.00044625 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5079-1_2_2_load_67 | 33 | 0.0013561 | 0.00033986 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5079-1_2_2_load_57 | 34 | 0.0013458 | 0.0003373 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5079-1_2_2_load_59 | 35 | 0.0017874 | 0.00044795 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5079-1_2_2_load_61 | 36 | 0.0013129 | 0.00032905 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5079-1_2_2_load_80 | 37 | 0.0015676 | 0.00039289 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5079-1_2_2_load_78 | 38 | 0.0011196 | 0.00028059 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5079-1_2_2_load_63 | 39 | 0.0016339 | 0.00040949 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5079-1_2_2_load_65 | 40 | 0.001661 | 0.00041627 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5079-1_2_2_load_74 | 42 | 0.0013837 | 0.0003468 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5079-1_2_2_load_101 | 43 | 0.0010748 | 0.00026938 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5079-1_2_2_load_70 | 44 | 0.0017671 | 0.00044287 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5079-1_2_2_load_71 | 45 | 0.003153 | 0.00079021 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5079-1_2_2_load_72 | 46 | 0.0016602 | 0.00041607 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5079-1_2_2_load_73 | 47 | 0.0025375 | 0.00063595 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5079-1_2_2_load_77 | 48 | 0.0022135 | 0.00055476 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5079-1_2_2_load_75 | 49 | 0.0037337 | 0.00093576 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5079-1_2_2_load_76 | 50 | 0.0017185 | 0.00043069 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5079-1_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.15167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5079-1_2_2_line_1 | NAYY 4x150 SE | 1 | 26 | 0.030388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5079-1_2_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.085705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5079-1_2_2_line_3 | NAYY 4x150 SE | 3 | 10 | 0.042471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5079-1_2_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.021872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5079-1_2_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0051495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5079-1_2_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.22206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5079-1_2_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0035808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5079-1_2_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.020324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5079-1_2_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.12976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5079-1_2_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.38523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5079-1_2_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.010068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5079-1_2_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.052057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5079-1_2_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.029296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5079-1_2_2_line_14 | NAYY 4x150 SE | 14 | 41 | 0.029044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5079-1_2_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.094554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5079-1_2_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.21209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5079-1_2_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.14771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5079-1_2_2_line_18 | NAYY 4x150 SE | 18 | 19 | 0.010174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5079-1_2_2_line_19 | NAYY 4x150 SE | 19 | 20 | 0.0043583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5079-1_2_2_line_20 | NAYY 4x150 SE | 20 | 21 | 0.012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5079-1_2_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.0157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5079-1_2_2_line_22 | NAYY 4x150 SE | 22 | 34 | 0.013214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5079-1_2_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.063364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5079-1_2_2_line_24 | NAYY 4x150 SE | 23 | 25 | 0.019593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5079-1_2_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.015972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5079-1_2_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.19645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5079-1_2_2_line_27 | NAYY 4x150 SE | 25 | 28 | 0.014361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5079-1_2_2_line_28 | NAYY 4x150 SE | 26 | 29 | 0.01559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5079-1_2_2_line_29 | NAYY 4x150 SE | 27 | 30 | 0.12708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5079-1_2_2_line_30 | NAYY 4x150 SE | 28 | 31 | 0.13169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5079-1_2_2_line_31 | NAYY 4x150 SE | 29 | 32 | 0.0041929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5079-1_2_2_line_32 | NAYY 4x150 SE | 30 | 33 | 0.062601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5079-1_2_2_line_33 | NAYY 4x150 SE | 32 | 39 | 0.0068861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5079-1_2_2_line_34 | NAYY 4x150 SE | 33 | 43 | 0.062215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5079-1_2_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.012441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5079-1_2_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.01282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5079-1_2_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.017763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5079-1_2_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0011474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5079-1_2_2_line_39 | NAYY 4x150 SE | 38 | 50 | 0.0075695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5079-1_2_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.0015284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5079-1_2_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.018643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5079-1_2_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.009457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5079-1_2_2_line_43 | NAYY 4x150 SE | 42 | 46 | 0.0040213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5079-1_2_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.011051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5079-1_2_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.00046915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5079-1_2_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.014927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5079-1_2_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.0016839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5079-1_2_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.016012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5079-1_2_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.0089654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5079-1_2_2_trafo_75 | 0.25 MVA 20/0.4 kV | 51 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34
0 | 2696455.761 | 1152840.1703 | 2696442.5949 | 1152833.9636 | 2696424.8706 | 1152826.9867 | 2696413.3707 | 1152826.2244 | 2696399.5382 | 1152827.3481 | 2696377.7168 | 1152826.0426 | 2696362.9606 | 1152824.4611 | 2696343.1248 | 1152826.1671 | 2696331.3599 | 1152824.2222 | 2696310.9656 | 1152818.626 | 2696308.0918 | 1152817.8407
1 | 2696485.9309 | 1152842.296 | 2696468.3648 | 1152842.2147 | 2696456.8771 | 1152840.6964 | 2696455.761 | 1152840.1703
2 | 2696809.597 | 1152636.1516 | 2696804.0494 | 1152637.9181 | 2696792.2227 | 1152640.752 | 2696783.4435 | 1152643.5571 | 2696779.1905 | 1152645.5345 | 2696771.2867 | 1152654.5131 | 2696763.8655 | 1152658.3073 | 2696744.5538 | 1152662.6998 | 2696730.8645 | 1152663.5153
3 | 2696850.9201 | 1152631.9374 | 2696837.5515 | 1152630.2296 | 2696826.4624 | 1152630.1513 | 2696813.4225 | 1152634.9335 | 2696809.597 | 1152636.1516
4 | 2696972.0227 | 1152654.2075 | 2696980.9554 | 1152654.2625 | 2696988.6761 | 1152653.8087 | 2696993.4191 | 1152652.8623 | 2696993.7839 | 1152652.8104
5 | 2696972.0227 | 1152654.2075 | 2696966.875 | 1152654.069
6 | 2696972.0227 | 1152654.2075 | 2697023.4117 | 1152633.411 | 2697041.9775 | 1152637.2235 | 2697056.1213 | 1152634.4385 | 2697076.4494 | 1152622.7255 | 2697095.6107 | 1152621.0222 | 2697111.8783 | 1152611.245 | 2697128.7493 | 1152595.4628 | 2697159.3878 | 1152568.8515 | 2697166.7238 | 1152565.9445
7 | 2696963.8883 | 1152656.0444 | 2696966.875 | 1152654.069
8 | 2697186.6631 | 1152563.2658 | 2697171.5461 | 1152564.0336 | 2697166.7238 | 1152565.9445
9 | 2696963.8883 | 1152656.0444 | 2696950.6393 | 1152661.4122 | 2696940.3571 | 1152666.0385 | 2696920.1756 | 1152669.6271 | 2696912.1376 | 1152668.8195 | 2696904.3291 | 1152666.1478 | 2696894.8301 | 1152658.3569 | 2696890.7915 | 1152653.2109 | 2696884.2783 | 1152643.0221 | 2696877.8048 | 1152636.5585 | 2696871.4414 | 1152635.1775 | 2696862.1454 | 1152633.3714 | 2696850.9201 | 1152631.9374
10 | 2696634.128 | 1152799.3673 | 2696637.5391 | 1152796.2757 | 2696642.9629 | 1152794.506 | 2696650.3429 | 1152793.7462 | 2696657.4049 | 1152794.1486 | 2696667.3897 | 1152795.5875 | 2696677.384 | 1152796.9154 | 2696690.7471 | 1152796.3518 | 2696699.1684 | 1152797.6544 | 2696704.8459 | 1152798.724 | 2696709.3576 | 1152798.7965 | 2696716.4524 | 1152797.1538 | 2696721.6876 | 1152795.1811 | 2696725.9585 | 1152791.1249 | 2696745.8246 | 1152772.7437 | 2696753.5309 | 1152768.8762 | 2696762.9767 | 1152767.5604 | 2696769.8927 | 1152764.6364 | 2696778.3957 | 1152760.8596 | 2696781.2006 | 1152757.2913 | 2696797.1804 | 1152752.9454 | 2696814.654 | 1152746.8669 | 2696825.298 | 1152742.6353 | 2696840.1901 | 1152733.8693 | 2696855.6696 | 1152729.6155 | 2696864.9221 | 1152728.3969 | 2696872.6891 | 1152727.4434 | 2696878.8734 | 1152727.5429 | 2696888.9317 | 1152730.6177 | 2696900.0361 | 1152728.7841 | 2696907.2897 | 1152715.8595 | 2696918.5955 | 1152701.9883 | 2696931.8394 | 1152692.162 | 2696958.5451 | 1152659.4716 | 2696963.8883 | 1152656.0444
11 | 2697186.6631 | 1152563.2658 | 2697196.5934 | 1152561.6038
12 | 2696634.128 | 1152799.3673 | 2696610.3739 | 1152801.3208 | 2696591.0826 | 1152803.0459 | 2696582.2426 | 1152802.5414
13 | 2696554.227 | 1152809.3478 | 2696567.4736 | 1152803.6122 | 2696577.802 | 1152802.288 | 2696582.2426 | 1152802.5414
14 | 2696527.498 | 1152820.7042 | 2696539.8671 | 1152816.5554 | 2696554.227 | 1152809.3478
15 | 2696819.5743 | 1152929.5921 | 2696831.8155 | 1152936.2596 | 2696850.235 | 1152942.9154 | 2696863.8496 | 1152941.489 | 2696884.0363 | 1152940.3796 | 2696897.566 | 1152931.3583 | 2696906.9123 | 1152925.824
16 | 2696906.9123 | 1152925.824 | 2696930.2446 | 1153136.6266
17 | 2696819.5743 | 1152929.5921 | 2696776.4853 | 1152895.4564 | 2696769.3203 | 1152892.873 | 2696760.2896 | 1152891.2936 | 2696750.2636 | 1152887.6526 | 2696727.4001 | 1152875.2778 | 2696717.0565 | 1152866.0838 | 2696704.4121 | 1152858.6985 | 2696694.5905 | 1152854.1947
18 | 2696694.5905 | 1152854.1947 | 2696692.3519 | 1152853.1681 | 2696685.7629 | 1152849.1626
19 | 2696685.7629 | 1152849.1626 | 2696685.4202 | 1152848.9543 | 2696682.0794 | 1152846.8331
20 | 2696671.7683 | 1152840.7068 | 2696676.4555 | 1152843.2624 | 2696682.0794 | 1152846.8331
21 | 2696656.6295 | 1152837.222 | 2696668.7028 | 1152839.0354 | 2696671.7683 | 1152840.7068
22 | 2696643.4354 | 1152836.7842 | 2696654.9445 | 1152836.9689 | 2696656.6295 | 1152837.222
23 | 2696410.1368 | 1152860.3508 | 2696413.2359 | 1152858.1196 | 2696419.1041 | 1152855.9122 | 2696427.4034 | 1152854.2885 | 2696444.3686 | 1152854.0266 | 2696457.1305 | 1152853.1415 | 2696465.9746 | 1152851.5266 | 2696471.7212 | 1152849.574
24 | 2696394.9592 | 1152872.7028 | 2696403.4919 | 1152865.1347 | 2696410.1368 | 1152860.3508
25 | 2696485.9309 | 1152842.296 | 2696472.3177 | 1152849.3713 | 2696471.7212 | 1152849.574
26 | 2696394.9592 | 1152872.7028 | 2696384.6155 | 1152883.6218 | 2696363.4597 | 1152907.8761 | 2696358.5267 | 1152911.5994 | 2696353.7524 | 1152913.5576 | 2696330.4629 | 1152919.133 | 2696313.4406 | 1152923.4524 | 2696287.8448 | 1152929.269 | 2696274.7748 | 1152932.1619 | 2696255.4808 | 1152934.5661 | 2696247.0695 | 1152934.5651 | 2696237.8319 | 1152935.3624 | 2696226.8166 | 1152936.943 | 2696218.5452 | 1152938.8177
27 | 2696394.9592 | 1152872.7028 | 2696380.6664 | 1152874.0956
28 | 2696485.9309 | 1152842.296 | 2696499.7657 | 1152835.1096
29 | 2696096.1616 | 1152972.7126 | 2696112.406 | 1152966.6236 | 2696169.8874 | 1152951.3093 | 2696203.4011 | 1152942.25 | 2696218.5452 | 1152938.8177
30 | 2696380.6664 | 1152874.0956 | 2696375.4582 | 1152874.6031 | 2696347.5508 | 1152880.5047 | 2696330.8291 | 1152882.8165 | 2696315.4895 | 1152883.6495 | 2696301.7097 | 1152880.0492 | 2696281.0276 | 1152875.6603 | 2696264.5155 | 1152873.5062 | 2696250.863 | 1152873.5696
31 | 2696503.4865 | 1152833.1769 | 2696499.7657 | 1152835.1096
32 | 2696096.1616 | 1152972.7126 | 2696100.6832 | 1152978.3993 | 2696106.2121 | 1152980.1219 | 2696119.7053 | 1152982.4387 | 2696138.1886 | 1152984.168 | 2696155.6283 | 1152984.9246
33 | 2696503.4865 | 1152833.1769 | 2696509.5974 | 1152830.0026
34 | 2696155.6283 | 1152984.9246 | 2696161.5461 | 1153046.8572
35 | 2696643.4354 | 1152836.7842 | 2696630.996 | 1152836.5845
36 | 2696630.996 | 1152836.5845 | 2696630.4531 | 1152836.5758 | 2696618.3008 | 1152834.8288
37 | 2696601.9128 | 1152828.3948 | 2696604.835 | 1152829.3938 | 2696614.4346 | 1152834.2729 | 2696618.3008 | 1152834.8288
38 | 2696601.9128 | 1152828.3948 | 2696600.8271 | 1152828.0237
39 | 2696600.8271 | 1152828.0237 | 2696596.645 | 1152826.594 | 2696593.5589 | 1152825.9637
40 | 2696509.5974 | 1152830.0026 | 2696510.9537 | 1152829.2981
41 | 2696527.498 | 1152820.7042 | 2696510.9537 | 1152829.2981
42 | 2696527.498 | 1152820.7042 | 2696536.8826 | 1152821.8724
43 | 2696536.8826 | 1152821.8724 | 2696540.873 | 1152822.3691
44 | 2696541.3386 | 1152822.4271 | 2696552.3419 | 1152821.4005
45 | 2696540.873 | 1152822.3691 | 2696541.3386 | 1152822.4271 | 2696541.3386 | 1152822.4271
46 | 2696567.1971 | 1152822.1107 | 2696556.3883 | 1152821.023 | 2696552.3419 | 1152821.4005
47 | 2696567.1971 | 1152822.1107 | 2696568.8725 | 1152822.2793
48 | 2696584.7624 | 1152824.2451 | 2696570.9774 | 1152822.4911 | 2696568.8725 | 1152822.2793
49 | 2696584.7624 | 1152824.2451 | 2696585.7748 | 1152824.3739 | 2696593.5589 | 1152825.9637

## bus_geodata
| x | y | coords
0 | 2696308.0918 | 1152817.8407
1 | 2696455.761 | 1152840.1703
2 | 2696730.8645 | 1152663.5153
3 | 2696809.597 | 1152636.1516
4 | 2696993.7839 | 1152652.8104
5 | 2696972.0227 | 1152654.2075
6 | 2696966.875 | 1152654.069
7 | 2697166.7238 | 1152565.9445
8 | 2696963.8883 | 1152656.0444
9 | 2697186.6631 | 1152563.2658
10 | 2696850.9201 | 1152631.9374
11 | 2696634.128 | 1152799.3673
12 | 2697196.5934 | 1152561.6038
13 | 2696582.2426 | 1152802.5414
14 | 2696554.227 | 1152809.3478
15 | 2696906.9123 | 1152925.824
16 | 2696819.5743 | 1152929.5921
17 | 2696930.2446 | 1153136.6266
18 | 2696694.5905 | 1152854.1947
19 | 2696685.7629 | 1152849.1626
20 | 2696682.0794 | 1152846.8331
21 | 2696671.7683 | 1152840.7068
22 | 2696656.6295 | 1152837.222
23 | 2696410.1368 | 1152860.3508
24 | 2696471.7212 | 1152849.574
25 | 2696394.9592 | 1152872.7028
26 | 2696485.9309 | 1152842.296
27 | 2696218.5452 | 1152938.8177
28 | 2696380.6664 | 1152874.0956
29 | 2696499.7657 | 1152835.1096
30 | 2696096.1616 | 1152972.7126
31 | 2696250.863 | 1152873.5696
32 | 2696503.4865 | 1152833.1769
33 | 2696155.6283 | 1152984.9246
34 | 2696643.4354 | 1152836.7842
35 | 2696630.996 | 1152836.5845
36 | 2696618.3008 | 1152834.8288
37 | 2696601.9128 | 1152828.3948
38 | 2696600.8271 | 1152828.0237
39 | 2696509.5974 | 1152830.0026
40 | 2696510.9537 | 1152829.2981
41 | 2696527.498 | 1152820.7042
42 | 2696536.8826 | 1152821.8724
43 | 2696161.5461 | 1153046.8572
44 | 2696541.3386 | 1152822.4271
45 | 2696552.3419 | 1152821.4005
46 | 2696540.873 | 1152822.3691
47 | 2696567.1971 | 1152822.1107
48 | 2696568.8725 | 1152822.2793
49 | 2696584.7624 | 1152824.2451
50 | 2696593.5589 | 1152825.9637
51 | 2696584.7624 | 1152824.2451

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1