## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5079-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5079-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5079-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5079-6_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5079-6_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5079-6_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5079-6_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5079-6_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5079-6_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5079-6_0_6_node_137 | 0.4 | n |  | TRUE
10 | bus_LV_5079-6_0_6_node_125 | 0.4 | n |  | TRUE
11 | bus_LV_5079-6_0_6_node_138 | 0.4 | n |  | TRUE
12 | bus_LV_5079-6_0_6_node_139 | 0.4 | n |  | TRUE
13 | bus_LV_5079-6_0_6_node_126 | 0.4 | n |  | TRUE
14 | bus_LV_5079-6_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5079-6_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5079-6_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5079-6_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5079-6_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_5079-6_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5079-6_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5079-6_0_6_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_5079-6_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5079-6_0_6_node_122 | 0.4 | n |  | TRUE
24 | bus_LV_5079-6_0_6_node_123 | 0.4 | n |  | TRUE
25 | bus_LV_5079-6_0_6_node_97 | 0.4 | n |  | TRUE
26 | bus_LV_5079-6_0_6_node_146 | 0.4 | n |  | TRUE
27 | bus_LV_5079-6_0_6_node_141 | 0.4 | n |  | TRUE
28 | bus_LV_5079-6_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5079-6_0_6_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5079-6_0_6_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_5079-6_0_6_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_5079-6_0_6_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_5079-6_0_6_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_5079-6_0_6_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_5079-6_0_6_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_5079-6_0_6_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_5079-6_0_6_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_5079-6_0_6_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_5079-6_0_6_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_5079-6_0_6_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_5079-6_0_6_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_5079-6_0_6_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_5079-6_0_6_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_5079-6_0_6_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_5079-6_0_6_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_5079-6_0_6_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_5079-6_0_6_node_94 | 0.4 | n |  | TRUE
48 | bus_LV_5079-6_0_6_node_118 | 0.4 | n |  | TRUE
49 | bus_LV_5079-6_0_6_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_5079-6_0_6_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_5079-6_0_6_node_116 | 0.4 | n |  | TRUE
52 | bus_LV_5079-6_0_6_node_117 | 0.4 | n |  | TRUE
53 | bus_LV_5079-6_0_6_node_119 | 0.4 | n |  | TRUE
54 | bus_LV_5079-6_0_6_node_120 | 0.4 | n |  | TRUE
55 | bus_LV_5079-6_0_6_node_135 | 0.4 | n |  | TRUE
56 | bus_LV_5079-6_0_6_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_5079-6_0_6_node_18 | 0.4 | n |  | TRUE
58 | bus_LV_5079-6_0_6_node_19 | 0.4 | n |  | TRUE
59 | bus_LV_5079-6_0_6_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_5079-6_0_6_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_5079-6_0_6_node_20 | 0.4 | n |  | TRUE
62 | bus_LV_5079-6_0_6_node_21 | 0.4 | n |  | TRUE
63 | bus_LV_5079-6_0_6_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_5079-6_0_6_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_5079-6_0_6_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_5079-6_0_6_node_132 | 0.4 | n |  | TRUE
67 | bus_LV_5079-6_0_6_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_5079-6_0_6_node_134 | 0.4 | n |  | TRUE
69 | bus_LV_5079-6_0_6_node_142 | 0.4 | n |  | TRUE
70 | bus_LV_5079-6_0_6_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_5079-6_0_6_node_127 | 0.4 | n |  | TRUE
72 | bus_LV_5079-6_0_6_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_5079-6_0_6_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5079-6_0_6_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_5079-6_0_6_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5079-6_0_6_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5079-6_0_6_node_147 | 0.4 | n |  | TRUE
78 | bus_LV_5079-6_0_6_node_148 | 0.4 | n |  | TRUE
79 | bus_LV_5079-6_0_6_node_150 | 0.4 | n |  | TRUE
80 | bus_LV_5079-6_0_6_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_5079-6_0_6_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_5079-6_0_6_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_5079-6_0_6_node_102 | 0.4 | n |  | TRUE
84 | bus_LV_5079-6_0_6_node_115 | 0.4 | n |  | TRUE
85 | bus_LV_5079-6_0_6_node_133 | 0.4 | n |  | TRUE
86 | bus_LV_5079-6_0_6_node_100 | 0.4 | n |  | TRUE
87 | bus_LV_5079-6_0_6_node_149 | 0.4 | n |  | TRUE
88 | bus_LV_5079-6_0_6_node_130 | 0.4 | n |  | TRUE
89 | bus_LV_5079-6_0_6_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_5079-6_0_6_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_5079-6_0_6_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_5079-6_0_6_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_5079-6_0_6_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_5079-6_0_6_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_5079-6_0_6_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_5079-6_0_6_node_112 | 0.4 | n |  | TRUE
97 | bus_LV_5079-6_0_6_node_121 | 0.4 | n |  | TRUE
98 | bus_LV_5079-6_0_6_node_110 | 0.4 | n |  | TRUE
99 | bus_LV_5079-6_0_6_node_109 | 0.4 | n |  | TRUE
100 | bus_LV_5079-6_0_6_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_5079-6_0_6_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_5079-6_0_6_node_101 | 0.4 | n |  | TRUE
103 | bus_LV_5079-6_0_6_node_103 | 0.4 | n |  | TRUE
104 | bus_LV_5079-6_0_6_node_124 | 0.4 | n |  | TRUE
105 | bus_LV_5079-6_0_6_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_5079-6_0_6_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_5079-6_0_6_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_5079-6_0_6_node_111 | 0.4 | n |  | TRUE
109 | bus_LV_5079-6_0_6_node_113 | 0.4 | n |  | TRUE
110 | bus_LV_5079-6_0_6_node_114 | 0.4 | n |  | TRUE
111 | bus_LV_5079-6_0_6_node_128 | 0.4 | n |  | TRUE
112 | bus_LV_5079-6_0_6_node_129 | 0.4 | n |  | TRUE
113 | bus_LV_5079-6_0_6_node_145 | 0.4 | n |  | TRUE
114 | bus_LV_5079-6_0_6_node_140 | 0.4 | n |  | TRUE
115 | bus_LV_5079-6_0_6_node_143 | 0.4 | n |  | TRUE
116 | bus_LV_5079-6_0_6_node_144 | 0.4 | n |  | TRUE
117 | bus_MV_187_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5079-6_0_6_load_0 | 0 | 0.0071984 | 0.0018041 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5079-6_0_6_load_5 | 5 | 0.0015099 | 0.00037842 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5079-6_0_6_load_6 | 6 | 0.0046357 | 0.0011618 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5079-6_0_6_load_7 | 7 | 0.0032539 | 0.00081551 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5079-6_0_6_load_8 | 8 | 0.0015213 | 0.00038128 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5079-6_0_6_load_138 | 11 | 0.0022933 | 0.00057476 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5079-6_0_6_load_139 | 12 | 0.0025724 | 0.00064471 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5079-6_0_6_load_126 | 13 | 0.00037268 | 9.3402e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5079-6_0_6_load_9 | 14 | 0.00049898 | 0.00012506 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5079-6_0_6_load_11 | 16 | 0.00080064 | 0.00020066 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5079-6_0_6_load_14 | 18 | 0.00042998 | 0.00010776 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5079-6_0_6_load_23 | 21 | 0.0015024 | 0.00037654 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5079-6_0_6_load_16 | 22 | 0.00095863 | 0.00024026 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5079-6_0_6_load_122 | 23 | 0.0020087 | 0.00050342 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5079-6_0_6_load_97 | 25 | 0.00093637 | 0.00023468 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5079-6_0_6_load_146 | 26 | 0.002108 | 0.00052831 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5079-6_0_6_load_141 | 27 | 0.00090411 | 0.00022659 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5079-6_0_6_load_22 | 28 | 0.00052535 | 0.00013167 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5079-6_0_6_load_15 | 29 | 0.0009902 | 0.00024817 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5079-6_0_6_load_58 | 30 | 0.00083235 | 0.00020861 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5079-6_0_6_load_56 | 31 | 0.00056377 | 0.00014129 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5079-6_0_6_load_57 | 32 | 0.00047236 | 0.00011838 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5079-6_0_6_load_60 | 34 | 0.00064971 | 0.00016283 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5079-6_0_6_load_62 | 36 | 0.0010543 | 0.00026424 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5079-6_0_6_load_63 | 37 | 0.0012028 | 0.00030145 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5079-6_0_6_load_64 | 38 | 0.0014477 | 0.00036283 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5079-6_0_6_load_79 | 41 | 0.00071795 | 0.00017994 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5079-6_0_6_load_80 | 42 | 0.00069445 | 0.00017404 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5079-6_0_6_load_82 | 44 | 0.00050999 | 0.00012782 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5079-6_0_6_load_84 | 45 | 0.00056065 | 0.00014051 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5079-6_0_6_load_86 | 46 | 0.0017065 | 0.00042768 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5079-6_0_6_load_94 | 47 | 0.00054482 | 0.00013655 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5079-6_0_6_load_118 | 48 | 0.00089751 | 0.00022494 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5079-6_0_6_load_95 | 49 | 0.0018886 | 0.00047334 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5079-6_0_6_load_96 | 50 | 0.00083932 | 0.00021035 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5079-6_0_6_load_116 | 51 | 0.00080499 | 0.00020175 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5079-6_0_6_load_117 | 52 | 0.00094029 | 0.00023566 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5079-6_0_6_load_119 | 53 | 0.0009119 | 0.00022854 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5079-6_0_6_load_120 | 54 | 0.0018095 | 0.0004535 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5079-6_0_6_load_135 | 55 | 0.0018765 | 0.00047029 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5079-6_0_6_load_18 | 57 | 0.003189 | 0.00079924 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5079-6_0_6_load_19 | 58 | 0.0020926 | 0.00052446 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5079-6_0_6_load_108 | 59 | 0.0021307 | 0.00053401 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5079-6_0_6_load_106 | 60 | 0.0022693 | 0.00056873 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5079-6_0_6_load_20 | 61 | 0.00085785 | 0.000215 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5079-6_0_6_load_21 | 62 | 0.0016279 | 0.00040798 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5079-6_0_6_load_65 | 63 | 0.00046823 | 0.00011735 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5079-6_0_6_load_66 | 64 | 0.00049528 | 0.00012413 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5079-6_0_6_load_67 | 65 | 0.00072344 | 0.00018131 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5079-6_0_6_load_132 | 66 | 0.00034724 | 8.7026e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5079-6_0_6_load_134 | 68 | 0.00037718 | 9.4531e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5079-6_0_6_load_69 | 70 | 0.0015307 | 0.00038362 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5079-6_0_6_load_127 | 71 | 0.00040784 | 0.00010222 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5079-6_0_6_load_70 | 72 | 0.0024745 | 0.00062017 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5079-6_0_6_load_71 | 73 | 0.0018449 | 0.00046237 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5079-6_0_6_load_73 | 75 | 0.0018921 | 0.00047419 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5079-6_0_6_load_147 | 77 | 0.0061239 | 0.0015348 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5079-6_0_6_load_148 | 78 | 0.0019077 | 0.0004781 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5079-6_0_6_load_150 | 79 | 0.0015728 | 0.00039417 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5079-6_0_6_load_77 | 80 | 0.0056272 | 0.0014103 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5079-6_0_6_load_78 | 81 | 0.0038425 | 0.00096301 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5079-6_0_6_load_102 | 83 | 0.003421 | 0.00085738 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5079-6_0_6_load_115 | 84 | 0.0066371 | 0.0016634 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5079-6_0_6_load_133 | 85 | 0.0036266 | 0.00090891 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5079-6_0_6_load_100 | 86 | 0.0011659 | 0.00029221 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5079-6_0_6_load_130 | 88 | 0.0029108 | 0.00072951 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5079-6_0_6_load_87 | 89 | 0.0013327 | 0.00033401 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5079-6_0_6_load_88 | 90 | 0.0022282 | 0.00055844 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5079-6_0_6_load_89 | 91 | 0.0012951 | 0.00032457 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5079-6_0_6_load_90 | 92 | 0.0042396 | 0.0010626 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5079-6_0_6_load_91 | 93 | 0.002573 | 0.00064485 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5079-6_0_6_load_92 | 94 | 0.0016838 | 0.00042199 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5079-6_0_6_load_93 | 95 | 0.001424 | 0.00035689 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5079-6_0_6_load_112 | 96 | 0.0031273 | 0.00078377 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5079-6_0_6_load_121 | 97 | 0.0018562 | 0.00046522 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5079-6_0_6_load_110 | 98 | 0.0041196 | 0.0010325 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5079-6_0_6_load_109 | 99 | 0.0022302 | 0.00055894 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5079-6_0_6_load_98 | 100 | 0.0018949 | 0.00047491 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5079-6_0_6_load_99 | 101 | 0.0023277 | 0.00058338 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5079-6_0_6_load_101 | 102 | 0.0020869 | 0.00052302 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5079-6_0_6_load_103 | 103 | 0.0027699 | 0.0006942 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5079-6_0_6_load_124 | 104 | 0.0017127 | 0.00042923 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5079-6_0_6_load_104 | 105 | 0.0017565 | 0.00044023 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5079-6_0_6_load_105 | 106 | 0.001609 | 0.00040326 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5079-6_0_6_load_107 | 107 | 0.0033968 | 0.00085132 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5079-6_0_6_load_111 | 108 | 0.0017998 | 0.00045108 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5079-6_0_6_load_113 | 109 | 0.0021476 | 0.00053824 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5079-6_0_6_load_114 | 110 | 0.0019019 | 0.00047667 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5079-6_0_6_load_128 | 111 | 0.0050144 | 0.0012567 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5079-6_0_6_load_129 | 112 | 0.0034732 | 0.00087047 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5079-6_0_6_load_145 | 113 | 0.0028517 | 0.0007147 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5079-6_0_6_load_140 | 114 | 0.0023814 | 0.00059683 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5079-6_0_6_load_143 | 115 | 0.0038278 | 0.00095934 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5079-6_0_6_load_144 | 116 | 0.0033551 | 0.00084088 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5079-6_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.04929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_5079-6_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.10621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_5079-6_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.12568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5079-6_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.11446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_5079-6_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.10339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5079-6_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.011567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5079-6_0_6_line_6 | NAYY 4x150 SE | 4 | 7 | 0.023271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5079-6_0_6_line_7 | NAYY 4x150 SE | 5 | 8 | 0.20548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5079-6_0_6_line_8 | NAYY 4x150 SE | 6 | 9 | 0.014237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_5079-6_0_6_line_9 | NAYY 4x150 SE | 7 | 10 | 0.15617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_5079-6_0_6_line_10 | NAYY 4x150 SE | 9 | 11 | 0.032594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_5079-6_0_6_line_11 | NAYY 4x150 SE | 9 | 12 | 0.016038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5079-6_0_6_line_12 | NAYY 4x150 SE | 10 | 13 | 0.091746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5079-6_0_6_line_13 | NAYY 4x150 SE | 11 | 114 | 0.0085863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_5079-6_0_6_line_14 | NAYY 4x150 SE | 12 | 110 | 0.022608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5079-6_0_6_line_15 | NAYY 4x150 SE | 13 | 71 | 0.017247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5079-6_0_6_line_16 | NAYY 4x150 SE | 14 | 15 | 0.084161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5079-6_0_6_line_17 | NAYY 4x150 SE | 15 | 16 | 0.011517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5079-6_0_6_line_18 | NAYY 4x150 SE | 15 | 17 | 0.069762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5079-6_0_6_line_19 | NAYY 4x150 SE | 17 | 18 | 0.10301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5079-6_0_6_line_20 | NAYY 4x150 SE | 18 | 21 | 0.017593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5079-6_0_6_line_21 | NAYY 4x150 SE | 18 | 19 | 0.11117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5079-6_0_6_line_22 | NAYY 4x150 SE | 19 | 20 | 0.01816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5079-6_0_6_line_23 | NAYY 4x150 SE | 20 | 22 | 0.18744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5079-6_0_6_line_24 | NAYY 4x150 SE | 21 | 28 | 0.016972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5079-6_0_6_line_25 | NAYY 4x150 SE | 22 | 29 | 0.042747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5079-6_0_6_line_26 | NAYY 4x150 SE | 23 | 24 | 0.18195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_5079-6_0_6_line_27 | NAYY 4x150 SE | 23 | 25 | 0.026472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_5079-6_0_6_line_28 | NAYY 4x150 SE | 24 | 104 | 0.021953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_5079-6_0_6_line_29 | NAYY 4x150 SE | 24 | 103 | 0.01066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_5079-6_0_6_line_30 | NAYY 4x150 SE | 25 | 50 | 0.01321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_5079-6_0_6_line_31 | NAYY 4x150 SE | 26 | 27 | 0.015259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5079-6_0_6_line_32 | NAYY 4x150 SE | 27 | 54 | 0.0081975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5079-6_0_6_line_33 | NAYY 4x150 SE | 28 | 62 | 0.0031361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5079-6_0_6_line_34 | NAYY 4x150 SE | 29 | 30 | 0.1396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5079-6_0_6_line_35 | NAYY 4x150 SE | 30 | 31 | 0.14231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5079-6_0_6_line_36 | NAYY 4x150 SE | 31 | 32 | 0.010147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5079-6_0_6_line_37 | NAYY 4x150 SE | 32 | 33 | 0.10761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5079-6_0_6_line_38 | NAYY 4x150 SE | 33 | 34 | 0.14904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5079-6_0_6_line_39 | NAYY 4x150 SE | 34 | 35 | 0.095413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_5079-6_0_6_line_40 | NAYY 4x150 SE | 35 | 36 | 0.12609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5079-6_0_6_line_41 | NAYY 4x150 SE | 35 | 37 | 0.0090634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_5079-6_0_6_line_42 | NAYY 4x150 SE | 37 | 38 | 0.034065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_5079-6_0_6_line_43 | NAYY 4x150 SE | 38 | 39 | 0.039944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_5079-6_0_6_line_44 | NAYY 4x150 SE | 39 | 40 | 0.11747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_5079-6_0_6_line_45 | NAYY 4x150 SE | 40 | 46 | 0.020796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5079-6_0_6_line_46 | NAYY 4x150 SE | 40 | 43 | 0.010022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_5079-6_0_6_line_47 | NAYY 4x150 SE | 41 | 42 | 0.008406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_5079-6_0_6_line_48 | NAYY 4x150 SE | 41 | 43 | 0.026593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_5079-6_0_6_line_49 | NAYY 4x150 SE | 42 | 44 | 0.014077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_5079-6_0_6_line_50 | NAYY 4x150 SE | 44 | 45 | 0.01066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_5079-6_0_6_line_51 | NAYY 4x150 SE | 45 | 47 | 0.0050035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_5079-6_0_6_line_52 | NAYY 4x150 SE | 46 | 48 | 0.0259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5079-6_0_6_line_53 | NAYY 4x150 SE | 47 | 49 | 0.016622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_5079-6_0_6_line_54 | NAYY 4x150 SE | 48 | 51 | 0.0055001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5079-6_0_6_line_55 | NAYY 4x150 SE | 49 | 50 | 0.030009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_5079-6_0_6_line_56 | NAYY 4x150 SE | 51 | 52 | 0.066079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5079-6_0_6_line_57 | NAYY 4x150 SE | 52 | 53 | 0.025969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5079-6_0_6_line_58 | NAYY 4x150 SE | 53 | 54 | 0.012658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5079-6_0_6_line_59 | NAYY 4x150 SE | 55 | 56 | 0.12538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5079-6_0_6_line_60 | NAYY 4x150 SE | 56 | 82 | 0.1721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5079-6_0_6_line_61 | NAYY 4x150 SE | 57 | 58 | 0.012986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5079-6_0_6_line_62 | NAYY 4x150 SE | 58 | 59 | 0.016648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5079-6_0_6_line_63 | NAYY 4x150 SE | 59 | 60 | 0.014231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5079-6_0_6_line_64 | NAYY 4x150 SE | 60 | 105 | 0.017284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5079-6_0_6_line_65 | NAYY 4x150 SE | 61 | 62 | 0.038765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5079-6_0_6_line_66 | NAYY 4x150 SE | 63 | 64 | 0.005651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5079-6_0_6_line_67 | NAYY 4x150 SE | 63 | 65 | 0.1595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5079-6_0_6_line_68 | NAYY 4x150 SE | 63 | 66 | 0.33212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5079-6_0_6_line_69 | NAYY 4x150 SE | 65 | 67 | 0.076327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5079-6_0_6_line_70 | NAYY 4x150 SE | 66 | 68 | 0.061408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5079-6_0_6_line_71 | NAYY 4x150 SE | 67 | 70 | 0.051599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5079-6_0_6_line_72 | NAYY 4x150 SE | 69 | 70 | 0.16282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5079-6_0_6_line_73 | NAYY 4x150 SE | 69 | 71 | 0.13428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5079-6_0_6_line_74 | NAYY 4x150 SE | 72 | 73 | 0.036312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5079-6_0_6_line_75 | NAYY 4x150 SE | 72 | 74 | 0.033393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5079-6_0_6_line_76 | NAYY 4x150 SE | 73 | 75 | 0.0047151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5079-6_0_6_line_77 | NAYY 4x150 SE | 74 | 76 | 0.029867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5079-6_0_6_line_78 | NAYY 4x150 SE | 75 | 80 | 0.021606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5079-6_0_6_line_79 | NAYY 4x150 SE | 76 | 81 | 0.015274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5079-6_0_6_line_80 | NAYY 4x150 SE | 76 | 82 | 0.10886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5079-6_0_6_line_81 | NAYY 4x150 SE | 77 | 78 | 0.15272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_5079-6_0_6_line_82 | NAYY 4x150 SE | 77 | 79 | 0.22389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_5079-6_0_6_line_83 | NAYY 4x150 SE | 78 | 87 | 0.054984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_5079-6_0_6_line_84 | NAYY 4x150 SE | 79 | 104 | 0.021083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_5079-6_0_6_line_85 | NAYY 4x150 SE | 80 | 84 | 0.020825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5079-6_0_6_line_86 | NAYY 4x150 SE | 81 | 85 | 0.0037034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5079-6_0_6_line_87 | NAYY 4x150 SE | 82 | 83 | 0.020258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5079-6_0_6_line_88 | NAYY 4x150 SE | 83 | 86 | 0.018004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5079-6_0_6_line_89 | NAYY 4x150 SE | 85 | 88 | 0.0063156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_5079-6_0_6_line_90 | NAYY 4x150 SE | 86 | 100 | 0.015184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5079-6_0_6_line_91 | NAYY 4x150 SE | 87 | 113 | 0.21938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
92 | LV_5079-6_0_6_line_92 | NAYY 4x150 SE | 88 | 112 | 0.015813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5079-6_0_6_line_93 | NAYY 4x150 SE | 89 | 90 | 0.017827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_5079-6_0_6_line_94 | NAYY 4x150 SE | 89 | 91 | 0.00050944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5079-6_0_6_line_95 | NAYY 4x150 SE | 90 | 92 | 0.0061115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5079-6_0_6_line_96 | NAYY 4x150 SE | 91 | 93 | 0.0028727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5079-6_0_6_line_97 | NAYY 4x150 SE | 92 | 94 | 0.0069243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5079-6_0_6_line_98 | NAYY 4x150 SE | 93 | 95 | 0.007506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5079-6_0_6_line_99 | NAYY 4x150 SE | 94 | 96 | 0.00018889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5079-6_0_6_line_100 | NAYY 4x150 SE | 95 | 97 | 0.0023017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5079-6_0_6_line_101 | NAYY 4x150 SE | 96 | 98 | 0.014591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5079-6_0_6_line_102 | NAYY 4x150 SE | 97 | 99 | 0.0035683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5079-6_0_6_line_103 | NAYY 4x150 SE | 98 | 108 | 0.0025974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5079-6_0_6_line_104 | NAYY 4x150 SE | 99 | 107 | 0.01264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5079-6_0_6_line_105 | NAYY 4x150 SE | 100 | 101 | 0.015141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5079-6_0_6_line_106 | NAYY 4x150 SE | 101 | 102 | 0.066314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
107 | LV_5079-6_0_6_line_107 | NAYY 4x150 SE | 102 | 103 | 0.043862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
108 | LV_5079-6_0_6_line_108 | NAYY 4x150 SE | 105 | 106 | 0.01153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5079-6_0_6_line_109 | NAYY 4x150 SE | 106 | 107 | 0.006598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5079-6_0_6_line_110 | NAYY 4x150 SE | 108 | 109 | 0.010188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5079-6_0_6_line_111 | NAYY 4x150 SE | 109 | 110 | 0.0040083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5079-6_0_6_line_112 | NAYY 4x150 SE | 111 | 112 | 0.031358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5079-6_0_6_line_113 | NAYY 4x150 SE | 113 | 116 | 0.0091178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
114 | LV_5079-6_0_6_line_114 | NAYY 4x150 SE | 114 | 115 | 0.013915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
115 | LV_5079-6_0_6_line_115 | NAYY 4x150 SE | 115 | 116 | 0.026099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5079-6_0_6_trafo_147 | 0.25 MVA 20/0.4 kV | 117 | 77 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2697626.8661 | 1152388.7644 | 2697632.5525 | 1152390.2464 | 2697636.342 | 1152389.4295 | 2697644.5309 | 1152387.1053 | 2697651.4479 | 1152382.2811 | 2697658.4604 | 1152380.0823 | 2697665.7467 | 1152379.4667 | 2697673.6696 | 1152379.7972
1 | 2697779.2039 | 1152389.8469 | 2697772.1449 | 1152387.8199 | 2697759.9443 | 1152386.6768 | 2697741.3499 | 1152385.0741 | 2697722.2556 | 1152384.0081 | 2697699.9017 | 1152380.8991 | 2697677.0831 | 1152379.9396 | 2697673.6696 | 1152379.7972
2 | 2697728.1234 | 1152315.6832 | 2697725.1067 | 1152321.3711 | 2697722.8352 | 1152324.1804 | 2697711.9876 | 1152332.832 | 2697705.6735 | 1152336.9211 | 2697696.3794 | 1152343.0186 | 2697654.0947 | 1152368.1597 | 2697626.8661 | 1152388.7644
3 | 2697779.2039 | 1152389.8469 | 2697769.5236 | 1152396.5717 | 2697758.2782 | 1152399.0018 | 2697748.9821 | 1152407.1116 | 2697733.5028 | 1152419.7682 | 2697719.6015 | 1152434.0405 | 2697703.6272 | 1152442.6756 | 2697695.5255 | 1152447.6695 | 2697691.6514 | 1152451.8093 | 2697688.5865 | 1152456.6959
4 | 2697779.2039 | 1152389.8469 | 2697791.4328 | 1152391.6131 | 2697808.5562 | 1152393.9926 | 2697815.6033 | 1152390.616 | 2697818.3779 | 1152384.713 | 2697819.5592 | 1152375.3041 | 2697818.5205 | 1152363.1797 | 2697819.1903 | 1152352.6618 | 2697823.2761 | 1152341.6436 | 2697830.8018 | 1152334.7949 | 2697835.2718 | 1152331.9695
5 | 2697728.1234 | 1152315.6832 | 2697731.8201 | 1152309.2391 | 2697733.5899 | 1152305.4983
6 | 2697688.5865 | 1152456.6959 | 2697684.9518 | 1152465.4758 | 2697679.9466 | 1152478.3026
7 | 2697877.2459 | 1152415.9885 | 2697871.89 | 1152415.9014 | 2697869.273 | 1152412.5791 | 2697868.922 | 1152408.6709 | 2697870.458 | 1152402.9479 | 2697873.509 | 1152392.3242 | 2697876.3302 | 1152383.5535 | 2697888.2455 | 1152347.0133 | 2697892.1686 | 1152333.7355 | 2697898.5224 | 1152322.9654 | 2697903.5866 | 1152315.0428 | 2697905.5536 | 1152308.3039 | 2697904.4049 | 1152302.9486 | 2697901.7502 | 1152301.4712 | 2697899.2595 | 1152302.6537 | 2697895.7002 | 1152306.2981 | 2697887.7843 | 1152312.1175 | 2697880.2583 | 1152318.9773 | 2697869.6411 | 1152326.187 | 2697860.1231 | 1152329.5234 | 2697847.5595 | 1152329.9307 | 2697837.4556 | 1152330.5892 | 2697835.2718 | 1152331.9695
8 | 2697740.8598 | 1152293.287 | 2697735.3332 | 1152301.8137 | 2697733.5899 | 1152305.4983
9 | 2697573.4974 | 1152581.6415 | 2697573.8142 | 1152580.0901 | 2697573.5854 | 1152575.2612 | 2697573.3498 | 1152570.8546 | 2697576.9751 | 1152563.1197 | 2697579.7201 | 1152558.5502 | 2697589.3422 | 1152548.7555 | 2697597.5969 | 1152542.3631 | 2697606.8386 | 1152537.5765 | 2697622.9233 | 1152532.0448 | 2697631.4454 | 1152526.6685 | 2697636.6062 | 1152522.6941 | 2697647.8365 | 1152511.7138 | 2697661.663 | 1152502.51 | 2697668.8802 | 1152496.679 | 2697674.5084 | 1152490.3885 | 2697679.9466 | 1152478.3026
10 | 2697740.8598 | 1152293.287 | 2697740.8055 | 1152287.6493 | 2697742.6328 | 1152281.464 | 2697745.713 | 1152277.0668 | 2697751.1335 | 1152271.2956 | 2697756.9291 | 1152266.9889
11 | 2697740.8598 | 1152293.287 | 2697748.0357 | 1152292.3807 | 2697756.56 | 1152290.1757
12 | 2697573.4974 | 1152581.6415 | 2697571.1562 | 1152583.0822 | 2697564.5151 | 1152582.263 | 2697551.7767 | 1152577.3871 | 2697527.8159 | 1152574.0192 | 2697506.4423 | 1152568.7144 | 2697484.6208 | 1152563.4506
13 | 2697763.8209 | 1152261.8677 | 2697756.9291 | 1152266.9889
14 | 2697778.6329 | 1152287.1849 | 2697776.0787 | 1152288.3221 | 2697770.2805 | 1152289.462 | 2697766.1879 | 1152289.0843 | 2697761.4627 | 1152288.9075 | 2697756.56 | 1152290.1757
15 | 2697467.7984 | 1152559.6901 | 2697468.5038 | 1152559.7393 | 2697478.132 | 1152561.8854 | 2697484.6208 | 1152563.4506
16 | 2698196.5478 | 1152014.958 | 2698204.3329 | 1152013.4395 | 2698244.6808 | 1152007.0934 | 2698259.3912 | 1152004.5317 | 2698272.0729 | 1152001.6367 | 2698277.8588 | 1152000.7972 | 2698279.3958 | 1152001.2393
17 | 2698196.5478 | 1152014.958 | 2698185.2437 | 1152017.164
18 | 2698247.0383 | 1151967.5183 | 2698244.0213 | 1151973.1838 | 2698239.9767 | 1151977.8541 | 2698225.1978 | 1151992.1442 | 2698209.8444 | 1152005.8913 | 2698196.5478 | 1152014.958
19 | 2698247.0383 | 1151967.5183 | 2698231.0787 | 1151974.6625 | 2698225.1935 | 1151976.8791 | 2698218.7778 | 1151978.2086 | 2698205.1925 | 1151979.0877 | 2698178.7653 | 1151983.2707 | 2698173.6947 | 1151983.0769 | 2698166.7679 | 1151981.8632 | 2698162.0291 | 1151981.5636 | 2698154.6212 | 1151982.5435 | 2698146.5409 | 1151984.2796
20 | 2698146.5409 | 1151984.2796 | 2698156.9654 | 1151977.1784 | 2698161.6089 | 1151975.381
21 | 2698146.5409 | 1151984.2796 | 2698127.1461 | 1151989.8005 | 2698116.8294 | 1151993.5903 | 2698105.2587 | 1151999.4389 | 2698090.3648 | 1152006.6786 | 2698074.6762 | 1152015.1062 | 2698067.3203 | 1152019.5003 | 2698063.7463 | 1152022.6219 | 2698053.6312 | 1152033.8309 | 2698051.0914 | 1152037.5474
22 | 2698051.0914 | 1152037.5474 | 2698048.591 | 1152041.1978 | 2698043.2877 | 1152049.172 | 2698039.1837 | 1152049.9613
23 | 2698039.1837 | 1152049.9613 | 2698053.7522 | 1152022.1589 | 2698062.032 | 1152010.0528 | 2698067.9643 | 1152003.0562 | 2698074.8606 | 1151996.7201 | 2698088.9205 | 1151986.9651 | 2698136.333 | 1151956.9075 | 2698152.4753 | 1151945.1409 | 2698174.3143 | 1151927.6637 | 2698175.7131 | 1151926.7863
24 | 2698161.6089 | 1151975.381 | 2698168.8999 | 1151972.5589 | 2698176.7452 | 1151967.8423
25 | 2698212.054 | 1151904.2964 | 2698209.3682 | 1151905.6769 | 2698175.7131 | 1151926.7863
26 | 2697803.4272 | 1151873.8648 | 2697812.4207 | 1151872.143 | 2697843.0063 | 1151865.2576 | 2697849.0267 | 1151862.2758 | 2697856.5356 | 1151856.0272 | 2697860.7799 | 1151848.5026 | 2697863.9077 | 1151833.1661 | 2697864.9566 | 1151819.6414 | 2697866.6084 | 1151806.3267 | 2697873.2935 | 1151787.9572 | 2697878.0579 | 1151773.4701 | 2697882.9829 | 1151761.854 | 2697886.9968 | 1151755.7599 | 2697894.5292 | 1151748.0775 | 2697901.8276 | 1151744.3179
27 | 2697901.8276 | 1151744.3179 | 2697902.6263 | 1151743.9065 | 2697914.2197 | 1151739.9814 | 2697924.5673 | 1151736.6697 | 2697926.9756 | 1151736.1259
28 | 2697803.4272 | 1151873.8648 | 2697802.0884 | 1151877.3674 | 2697795.0374 | 1151882.3672 | 2697788.5752 | 1151886.0868 | 2697786.6924 | 1151887.0245
29 | 2697803.4272 | 1151873.8648 | 2697799.6926 | 1151872.2254 | 2697797.4686 | 1151869.7322 | 2697797.9696 | 1151866.5305
30 | 2697939.8607 | 1151733.2161 | 2697926.9756 | 1151736.1259
31 | 2697924.0054 | 1151783.9677 | 2697933.9664 | 1151779.4045 | 2697938.2514 | 1151779.0118
32 | 2697946.4228 | 1151778.6966 | 2697943.4452 | 1151778.5358 | 2697938.2514 | 1151779.0118
33 | 2698179.433 | 1151966.2264 | 2698176.7452 | 1151967.8423
34 | 2698212.054 | 1151904.2964 | 2698137.1455 | 1151786.4928
35 | 2698137.1455 | 1151786.4928 | 2698153.0397 | 1151758.4231 | 2698171.6734 | 1151749.2544 | 2698174.4205 | 1151747.8983 | 2698183.6836 | 1151735.3192 | 2698217.7774 | 1151689.9023 | 2698227.8696 | 1151680.4752
36 | 2698227.8696 | 1151680.4752 | 2698234.5056 | 1151674.2764 | 2698235.263 | 1151673.5255
37 | 2698308.6521 | 1151597.0823 | 2698297.6082 | 1151617.626 | 2698285.8435 | 1151632.0097 | 2698267.7385 | 1151644.0329 | 2698257.3201 | 1151651.6566 | 2698235.263 | 1151673.5255
38 | 2698308.6521 | 1151597.0823 | 2698285.4092 | 1151608.299 | 2698258.1207 | 1151614.8246 | 2698240.2634 | 1151611.6648 | 2698175.1154 | 1151629.4806 | 2698165.9473 | 1151631.9543
39 | 2698083.619 | 1151674.863 | 2698088.7403 | 1151673.8457 | 2698095.6991 | 1151663.6972 | 2698108.6219 | 1151654.0572 | 2698124.623 | 1151644.8787 | 2698150.7125 | 1151636.0649 | 2698165.9473 | 1151631.9543
40 | 2698083.619 | 1151674.863 | 2698076.755 | 1151690.5054 | 2698066.6322 | 1151703.0929 | 2698050.4626 | 1151725.4658 | 2698046.0669 | 1151739.4363 | 2698045.1998 | 1151757.3333 | 2698049.1469 | 1151789.782
41 | 2698083.619 | 1151674.863 | 2698085.2787 | 1151665.9529
42 | 2698094.0087 | 1151633.1056 | 2698088.0353 | 1151651.1535 | 2698085.2787 | 1151665.9529
43 | 2698111.6087 | 1151597.9488 | 2698111.675 | 1151602.8307 | 2698109.0071 | 1151607.8014 | 2698094.0744 | 1151632.9072 | 2698094.0087 | 1151633.1056
44 | 2698025.8651 | 1151665.7619 | 2698030.7447 | 1151664.9741 | 2698035.2594 | 1151661.6122 | 2698040.7548 | 1151650.8171 | 2698049.1579 | 1151637.768 | 2698066.8528 | 1151618.8553 | 2698082.1481 | 1151606.3521 | 2698101.1644 | 1151594.9213 | 2698107.2035 | 1151594.5861 | 2698111.6087 | 1151597.9488
45 | 2698025.8651 | 1151665.7619 | 2698025.7249 | 1151669.662 | 2698024.8236 | 1151674.5726 | 2698020.6124 | 1151680.0408 | 2698016.8626 | 1151683.3462
46 | 2698018.1983 | 1151659.5222 | 2698021.3015 | 1151663.1749 | 2698025.8651 | 1151665.7619
47 | 2697994.3299 | 1151670.9743 | 2697987.1967 | 1151675.4217
48 | 2698018.1983 | 1151659.5222 | 2698008.7506 | 1151662.7149 | 2697996.0677 | 1151669.8908 | 2697994.3299 | 1151670.9743
49 | 2697976.8212 | 1151684.8141 | 2697978.3644 | 1151682.7442 | 2697985.4667 | 1151676.5003 | 2697987.1967 | 1151675.4217
50 | 2697976.8212 | 1151684.8141 | 2697971.4115 | 1151692.0703 | 2697970.5964 | 1151693.4578
51 | 2697968.0621 | 1151697.7719 | 2697970.5964 | 1151693.4578
52 | 2698016.8626 | 1151683.3462 | 2698011.002 | 1151688.512 | 2698006.8353 | 1151691.7239 | 2698003.2023 | 1151699.8699 | 2698003.3435 | 1151703.7742
53 | 2697968.0621 | 1151697.7719 | 2697962.0955 | 1151707.9286 | 2697959.6249 | 1151712.0935
54 | 2698003.5421 | 1151709.2707 | 2698003.3435 | 1151703.7742
55 | 2697939.8607 | 1151733.2161 | 2697939.8607 | 1151733.2161 | 2697945.4535 | 1151731.0502 | 2697950.88 | 1151726.8358 | 2697959.6249 | 1151712.0935
56 | 2698003.5421 | 1151709.2707 | 2698003.6258 | 1151711.5841 | 2698004.9685 | 1151730.4843 | 2698004.1767 | 1151740.9334 | 2698000.5579 | 1151748.6794 | 2697995.0813 | 1151755.9726 | 2697987.5656 | 1151762.6211 | 2697982.0707 | 1151766.336
57 | 2697982.0707 | 1151766.336 | 2697975.6982 | 1151770.6442 | 2697964.7023 | 1151775.5907 | 2697958.8162 | 1151777.6002
58 | 2697958.8162 | 1151777.6002 | 2697954.3511 | 1151779.1246 | 2697946.4228 | 1151778.6966
59 | 2697779.6301 | 1151749.1679 | 2697804.9218 | 1151699.6255 | 2697815.0408 | 1151678.2544 | 2697825.4552 | 1151646.7372 | 2697826.6847 | 1151633.8762
60 | 2697734.8849 | 1151859.4102 | 2697733.1351 | 1151860.8049 | 2697723.8194 | 1151863.9335 | 2697716.8341 | 1151862.9974 | 2697707.8221 | 1151860.1828 | 2697700.39 | 1151857.4495 | 2697713.7439 | 1151842.4568 | 2697720.1826 | 1151833.5668 | 2697724.4682 | 1151821.5956 | 2697745.6721 | 1151794.9564 | 2697758.9142 | 1151775.9928 | 2697775.1737 | 1151760.3025 | 2697777.9806 | 1151755.2561 | 2697779.6301 | 1151749.1679
61 | 2697893.3088 | 1152188.2602 | 2697900.4976 | 1152184.5006 | 2697905.2719 | 1152183.5233
62 | 2697893.3088 | 1152188.2602 | 2697892.4156 | 1152188.7274 | 2697885.6631 | 1152195.2106 | 2697882.2605 | 1152200.4872
63 | 2697882.2605 | 1152200.4872 | 2697881.6473 | 1152201.4381 | 2697875.7773 | 1152213.1487
64 | 2697868.0321 | 1152228.6006 | 2697875.7773 | 1152213.1487
65 | 2698207.3711 | 1151939.5986 | 2698196.0902 | 1151950.2993 | 2698184.0239 | 1151963.4663 | 2698179.433 | 1151966.2264
66 | 2697203.5514 | 1152427.6987 | 2697198.0344 | 1152428.9218
67 | 2697358.7596 | 1152395.135 | 2697347.3286 | 1152400.7594 | 2697326.4322 | 1152407.1924 | 2697316.549 | 1152407.0327 | 2697305.0104 | 1152407.6689 | 2697277.7674 | 1152412.1539 | 2697231.5106 | 1152421.046 | 2697211.8762 | 1152425.8655 | 2697206.9158 | 1152426.9528 | 2697203.5514 | 1152427.6987
68 | 2697203.5514 | 1152427.6987 | 2697187.4673 | 1152095.9677
69 | 2697430.7869 | 1152382.9198 | 2697423.1998 | 1152381.2627 | 2697413.3531 | 1152378.8465 | 2697404.9358 | 1152377.2649 | 2697392.3391 | 1152379.7295 | 2697381.5793 | 1152383.4578 | 2697362.6863 | 1152393.2029 | 2697358.7596 | 1152395.135
70 | 2697187.4673 | 1152095.9677 | 2697173.6553 | 1152095.2334 | 2697160.8339 | 1152093.0363 | 2697151.3006 | 1152094.4724 | 2697127.6038 | 1152102.2062
71 | 2697430.7869 | 1152382.9198 | 2697417.8113 | 1152390.3034 | 2697403.1528 | 1152399.7055 | 2697388.7796 | 1152404.2871 | 2697384.7613 | 1152405.3989
72 | 2697336.0227 | 1152560.7535 | 2697384.7613 | 1152405.3989
73 | 2697336.0227 | 1152560.7535 | 2697342.4258 | 1152561.1016 | 2697349.0091 | 1152558.373 | 2697359.5831 | 1152554.7194 | 2697373.5738 | 1152550.9876 | 2697381.9643 | 1152550.4118 | 2697391.7637 | 1152550.9928 | 2697401.5554 | 1152551.5737 | 2697413.8549 | 1152555.5973 | 2697428.8989 | 1152556.9748 | 2697467.7984 | 1152559.6901
74 | 2697605.1877 | 1151874.4136 | 2697593.2761 | 1151877.5148 | 2697588.3007 | 1151879.491 | 2697584.7317 | 1151883.7358 | 2697582.9486 | 1151891.9231 | 2697582.9758 | 1151896.6481
75 | 2697631.2015 | 1151857.2612 | 2697628.2884 | 1151864.1293 | 2697626.2522 | 1151866.6201 | 2697623.3836 | 1151868.8528 | 2697619.2461 | 1151870.7536 | 2697605.1877 | 1151874.4136
76 | 2697583.0029 | 1151901.3632 | 2697582.9758 | 1151896.6481
77 | 2697641.8135 | 1151883.0602 | 2697641.6713 | 1151873.8411 | 2697640.9274 | 1151868.5925 | 2697639.6322 | 1151865.1582 | 2697637.7521 | 1151862.2815 | 2697631.2015 | 1151857.2612
78 | 2697583.0029 | 1151901.3632 | 2697583.0029 | 1151901.3632 | 2697580.0189 | 1151907.8744 | 2697572.0351 | 1151917.3954 | 2697570.2984 | 1151918.4225
79 | 2697641.8135 | 1151883.0602 | 2697638.7825 | 1151894.3625 | 2697638.0012 | 1151897.8486
80 | 2697641.8135 | 1151883.0602 | 2697662.835 | 1151884.6686 | 2697678.0191 | 1151882.7135 | 2697687.9457 | 1151879.3057 | 2697691.4079 | 1151875.9709 | 2697693.3523 | 1151869.6763 | 2697700.39 | 1151857.4495 | 2697707.8221 | 1151860.1828 | 2697716.8341 | 1151862.9974 | 2697723.8194 | 1151863.9335 | 2697733.1351 | 1151860.8049 | 2697734.8849 | 1151859.4102
81 | 2697765.2586 | 1152120.297 | 2697750.8745 | 1152136.9082 | 2697734.2611 | 1152150.825 | 2697718.127 | 1152162.1704 | 2697702.4576 | 1152171.3664 | 2697692.0765 | 1152173.4882 | 2697656.3287 | 1152179.7903 | 2697645.4946 | 1152183.3391 | 2697637.3575 | 1152189.0775 | 2697635.3874 | 1152191.2463
82 | 2697765.2586 | 1152120.297 | 2697767.8204 | 1151896.4231
83 | 2697614.5368 | 1152240.2838 | 2697615.1826 | 1152226.9638 | 2697624.9159 | 1152202.7732 | 2697635.3874 | 1152191.2463
84 | 2697767.8204 | 1151896.4231 | 2697786.6924 | 1151887.0245
85 | 2697550.9107 | 1151925.4695 | 2697563.9284 | 1151922.1893 | 2697570.2984 | 1151918.4225
86 | 2697638.0012 | 1151897.8486 | 2697637.5412 | 1151899.9014 | 2697637.3827 | 1151901.4932
87 | 2697734.8849 | 1151859.4102 | 2697746.067 | 1151850.5417 | 2697750.9459 | 1151847.0728
88 | 2697750.9459 | 1151847.0728 | 2697758.7716 | 1151841.5089 | 2697766.8383 | 1151839.1587
89 | 2697636.757 | 1151907.7777 | 2697637.3827 | 1151901.4932
90 | 2697781.4862 | 1151835.1813 | 2697776.7726 | 1151836.2644 | 2697766.8383 | 1151839.1587
91 | 2697614.5368 | 1152240.2838 | 2697617.887 | 1152246.2084 | 2697622.2988 | 1152249.1484 | 2697630.2142 | 1152248.5541 | 2697636.2874 | 1152246.0732 | 2697656.0634 | 1152231.6404 | 2697670.7087 | 1152223.5728 | 2697693.2347 | 1152217.0562 | 2697723.0781 | 1152215.1168 | 2697767.4795 | 1152220.4183 | 2697776.4026 | 1152219.696 | 2697790.3958 | 1152216.3432 | 2697799.0365 | 1152215.0493 | 2697803.4598 | 1152217.2781 | 2697805.835 | 1152221.3192 | 2697805.7232 | 1152228.1994 | 2697803.0697 | 1152232.3144 | 2697803.0697 | 1152232.3144
92 | 2697636.757 | 1151907.7777 | 2697636.551 | 1151909.8471 | 2697636.1873 | 1151915.2334 | 2697635.16 | 1151918.9413 | 2697633.8193 | 1151921.6212 | 2697632.9093 | 1151922.8016
93 | 2697833.1901 | 1152257.7226 | 2697824.7459 | 1152259.6833 | 2697816.8491 | 1152264.3224
94 | 2697833.6864 | 1152257.6074 | 2697833.1901 | 1152257.7226
95 | 2697811.5795 | 1152267.418 | 2697816.8491 | 1152264.3224
96 | 2697836.4726 | 1152256.911 | 2697835.4861 | 1152257.1895 | 2697833.6864 | 1152257.6074
97 | 2697811.5795 | 1152267.418 | 2697805.6092 | 1152270.9253
98 | 2697843.6962 | 1152254.8713 | 2697836.4726 | 1152256.911
99 | 2697805.6092 | 1152270.9253 | 2697805.4464 | 1152271.021
100 | 2697843.6962 | 1152254.8713 | 2697845.9112 | 1152254.2459 | 2697845.9112 | 1152254.2459
101 | 2697805.4464 | 1152271.021 | 2697792.8657 | 1152278.4116
102 | 2697848.727 | 1152252.054 | 2697845.9112 | 1152254.2459
103 | 2697790.6262 | 1152279.7272 | 2697792.8657 | 1152278.4116
104 | 2697858.1118 | 1152243.7235 | 2697856.4604 | 1152246.0344 | 2697848.727 | 1152252.054
105 | 2697781.4862 | 1151835.1813 | 2697796.2422 | 1151831.7908
106 | 2697832.9993 | 1151840.453 | 2697837.279 | 1151837.4474 | 2697840.8215 | 1151834.8478 | 2697843.1421 | 1151831.3944 | 2697842.9894 | 1151828.5124 | 2697841.1855 | 1151825.2032 | 2697836.0605 | 1151824.0971 | 2697830.0802 | 1151824.6114 | 2697819.5554 | 1151826.0859 | 2697800.9503 | 1151830.7089 | 2697796.2422 | 1151831.7908
107 | 2697832.9993 | 1151840.453 | 2697800.6533 | 1151863.1687 | 2697798.0083 | 1151866.2832 | 2697797.9696 | 1151866.5305
108 | 2697868.0321 | 1152228.6006 | 2697865.9482 | 1152232.758 | 2697861.9481 | 1152238.3554
109 | 2697858.1118 | 1152243.7235 | 2697861.9481 | 1152238.3554
110 | 2697782.2947 | 1152285.5546 | 2697782.2947 | 1152285.5546 | 2697787.1766 | 1152281.7537 | 2697790.6262 | 1152279.7272
111 | 2697782.2947 | 1152285.5546 | 2697778.6329 | 1152287.1849
112 | 2697632.9093 | 1151922.8016 | 2697631.373 | 1151924.7946 | 2697628.1984 | 1151927.4337 | 2697622.9348 | 1151930.6171 | 2697606.4387 | 1151939.128
113 | 2697803.0697 | 1152232.3144 | 2697795.7889 | 1152237.803
114 | 2697774.9483 | 1152253.5134 | 2697766.9905 | 1152259.5123 | 2697763.8209 | 1152261.8677
115 | 2697774.9483 | 1152253.5134 | 2697795.7889 | 1152237.803

## bus_geodata
| x | y | coords
0 | 2697673.6696 | 1152379.7972
1 | 2697626.8661 | 1152388.7644
2 | 2697779.2039 | 1152389.8469
3 | 2697728.1234 | 1152315.6832
4 | 2697688.5865 | 1152456.6959
5 | 2697835.2718 | 1152331.9695
6 | 2697733.5899 | 1152305.4983
7 | 2697679.9466 | 1152478.3026
8 | 2697877.2459 | 1152415.9885
9 | 2697740.8598 | 1152293.287
10 | 2697573.4974 | 1152581.6415
11 | 2697756.9291 | 1152266.9889
12 | 2697756.56 | 1152290.1757
13 | 2697484.6208 | 1152563.4506
14 | 2698279.3958 | 1152001.2393
15 | 2698196.5478 | 1152014.958
16 | 2698185.2437 | 1152017.164
17 | 2698247.0383 | 1151967.5183
18 | 2698146.5409 | 1151984.2796
19 | 2698051.0914 | 1152037.5474
20 | 2698039.1837 | 1152049.9613
21 | 2698161.6089 | 1151975.381
22 | 2698175.7131 | 1151926.7863
23 | 2697901.8276 | 1151744.3179
24 | 2697803.4272 | 1151873.8648
25 | 2697926.9756 | 1151736.1259
26 | 2697924.0054 | 1151783.9677
27 | 2697938.2514 | 1151779.0118
28 | 2698176.7452 | 1151967.8423
29 | 2698212.054 | 1151904.2964
30 | 2698137.1455 | 1151786.4928
31 | 2698227.8696 | 1151680.4752
32 | 2698235.263 | 1151673.5255
33 | 2698308.6521 | 1151597.0823
34 | 2698165.9473 | 1151631.9543
35 | 2698083.619 | 1151674.863
36 | 2698049.1469 | 1151789.782
37 | 2698085.2787 | 1151665.9529
38 | 2698094.0087 | 1151633.1056
39 | 2698111.6087 | 1151597.9488
40 | 2698025.8651 | 1151665.7619
41 | 2697994.3299 | 1151670.9743
42 | 2697987.1967 | 1151675.4217
43 | 2698018.1983 | 1151659.5222
44 | 2697976.8212 | 1151684.8141
45 | 2697970.5964 | 1151693.4578
46 | 2698016.8626 | 1151683.3462
47 | 2697968.0621 | 1151697.7719
48 | 2698003.3435 | 1151703.7742
49 | 2697959.6249 | 1151712.0935
50 | 2697939.8607 | 1151733.2161
51 | 2698003.5421 | 1151709.2707
52 | 2697982.0707 | 1151766.336
53 | 2697958.8162 | 1151777.6002
54 | 2697946.4228 | 1151778.6966
55 | 2697826.6847 | 1151633.8762
56 | 2697779.6301 | 1151749.1679
57 | 2697905.2719 | 1152183.5233
58 | 2697893.3088 | 1152188.2602
59 | 2697882.2605 | 1152200.4872
60 | 2697875.7773 | 1152213.1487
61 | 2698207.3711 | 1151939.5986
62 | 2698179.433 | 1151966.2264
63 | 2697203.5514 | 1152427.6987
64 | 2697198.0344 | 1152428.9218
65 | 2697358.7596 | 1152395.135
66 | 2697187.4673 | 1152095.9677
67 | 2697430.7869 | 1152382.9198
68 | 2697127.6038 | 1152102.2062
69 | 2697336.0227 | 1152560.7535
70 | 2697384.7613 | 1152405.3989
71 | 2697467.7984 | 1152559.6901
72 | 2697605.1877 | 1151874.4136
73 | 2697582.9758 | 1151896.6481
74 | 2697631.2015 | 1151857.2612
75 | 2697583.0029 | 1151901.3632
76 | 2697641.8135 | 1151883.0602
77 | 2697765.2586 | 1152120.297
78 | 2697635.3874 | 1152191.2463
79 | 2697767.8204 | 1151896.4231
80 | 2697570.2984 | 1151918.4225
81 | 2697638.0012 | 1151897.8486
82 | 2697734.8849 | 1151859.4102
83 | 2697750.9459 | 1151847.0728
84 | 2697550.9107 | 1151925.4695
85 | 2697637.3827 | 1151901.4932
86 | 2697766.8383 | 1151839.1587
87 | 2697614.5368 | 1152240.2838
88 | 2697636.757 | 1151907.7778
89 | 2697833.1901 | 1152257.7226
90 | 2697816.8491 | 1152264.3224
91 | 2697833.6864 | 1152257.6074
92 | 2697811.5795 | 1152267.418
93 | 2697836.4726 | 1152256.911
94 | 2697805.6092 | 1152270.9253
95 | 2697843.6962 | 1152254.8713
96 | 2697805.4464 | 1152271.021
97 | 2697845.9112 | 1152254.2459
98 | 2697792.8657 | 1152278.4116
99 | 2697848.727 | 1152252.054
100 | 2697781.4862 | 1151835.1813
101 | 2697796.2422 | 1151831.7908
102 | 2697832.9993 | 1151840.453
103 | 2697797.9696 | 1151866.5305
104 | 2697786.6924 | 1151887.0245
105 | 2697868.0321 | 1152228.6006
106 | 2697861.9481 | 1152238.3554
107 | 2697858.1118 | 1152243.7235
108 | 2697790.6262 | 1152279.7272
109 | 2697782.2947 | 1152285.5546
110 | 2697778.6329 | 1152287.1849
111 | 2697606.4387 | 1151939.128
112 | 2697632.9093 | 1151922.8016
113 | 2697803.0697 | 1152232.3144
114 | 2697763.8209 | 1152261.8677
115 | 2697774.9483 | 1152253.5134
116 | 2697795.7889 | 1152237.803
117 | 2697614.5368 | 1152240.2838

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1