## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5079-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5079-7_0_3_node_96 | 0.4 | n |  | TRUE
2 | bus_LV_5079-7_0_3_node_102 | 0.4 | n |  | TRUE
3 | bus_LV_5079-7_0_3_node_128 | 0.4 | n |  | TRUE
4 | bus_LV_5079-7_0_3_node_127 | 0.4 | n |  | TRUE
5 | bus_LV_5079-7_0_3_node_129 | 0.4 | n |  | TRUE
6 | bus_LV_5079-7_0_3_node_130 | 0.4 | n |  | TRUE
7 | bus_LV_5079-7_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_5079-7_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5079-7_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5079-7_0_3_node_103 | 0.4 | n |  | TRUE
11 | bus_LV_5079-7_0_3_node_216 | 0.4 | n |  | TRUE
12 | bus_LV_5079-7_0_3_node_116 | 0.4 | n |  | TRUE
13 | bus_LV_5079-7_0_3_node_123 | 0.4 | n |  | TRUE
14 | bus_LV_5079-7_0_3_node_131 | 0.4 | n |  | TRUE
15 | bus_LV_5079-7_0_3_node_135 | 0.4 | n |  | TRUE
16 | bus_LV_5079-7_0_3_node_132 | 0.4 | n |  | TRUE
17 | bus_LV_5079-7_0_3_node_133 | 0.4 | n |  | TRUE
18 | bus_LV_5079-7_0_3_node_134 | 0.4 | n |  | TRUE
19 | bus_LV_5079-7_0_3_node_136 | 0.4 | n |  | TRUE
20 | bus_LV_5079-7_0_3_node_139 | 0.4 | n |  | TRUE
21 | bus_LV_5079-7_0_3_node_137 | 0.4 | n |  | TRUE
22 | bus_LV_5079-7_0_3_node_138 | 0.4 | n |  | TRUE
23 | bus_LV_5079-7_0_3_node_140 | 0.4 | n |  | TRUE
24 | bus_LV_5079-7_0_3_node_146 | 0.4 | n |  | TRUE
25 | bus_LV_5079-7_0_3_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_5079-7_0_3_node_118 | 0.4 | n |  | TRUE
27 | bus_LV_5079-7_0_3_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_5079-7_0_3_node_101 | 0.4 | n |  | TRUE
29 | bus_LV_5079-7_0_3_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_5079-7_0_3_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_5079-7_0_3_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_5079-7_0_3_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_5079-7_0_3_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_5079-7_0_3_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_5079-7_0_3_node_92 | 0.4 | n |  | TRUE
36 | bus_LV_5079-7_0_3_node_93 | 0.4 | n |  | TRUE
37 | bus_LV_5079-7_0_3_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_5079-7_0_3_node_98 | 0.4 | n |  | TRUE
39 | bus_LV_5079-7_0_3_node_104 | 0.4 | n |  | TRUE
40 | bus_LV_5079-7_0_3_node_110 | 0.4 | n |  | TRUE
41 | bus_LV_5079-7_0_3_node_105 | 0.4 | n |  | TRUE
42 | bus_LV_5079-7_0_3_node_106 | 0.4 | n |  | TRUE
43 | bus_LV_5079-7_0_3_node_107 | 0.4 | n |  | TRUE
44 | bus_LV_5079-7_0_3_node_113 | 0.4 | n |  | TRUE
45 | bus_LV_5079-7_0_3_node_108 | 0.4 | n |  | TRUE
46 | bus_LV_5079-7_0_3_node_109 | 0.4 | n |  | TRUE
47 | bus_LV_5079-7_0_3_node_111 | 0.4 | n |  | TRUE
48 | bus_LV_5079-7_0_3_node_112 | 0.4 | n |  | TRUE
49 | bus_LV_5079-7_0_3_node_114 | 0.4 | n |  | TRUE
50 | bus_LV_5079-7_0_3_node_115 | 0.4 | n |  | TRUE
51 | bus_LV_5079-7_0_3_node_117 | 0.4 | n |  | TRUE
52 | bus_LV_5079-7_0_3_node_119 | 0.4 | n |  | TRUE
53 | bus_LV_5079-7_0_3_node_120 | 0.4 | n |  | TRUE
54 | bus_LV_5079-7_0_3_node_121 | 0.4 | n |  | TRUE
55 | bus_LV_5079-7_0_3_node_122 | 0.4 | n |  | TRUE
56 | bus_LV_5079-7_0_3_node_124 | 0.4 | n |  | TRUE
57 | bus_LV_5079-7_0_3_node_125 | 0.4 | n |  | TRUE
58 | bus_LV_5079-7_0_3_node_126 | 0.4 | n |  | TRUE
59 | bus_MV_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5079-7_0_3_load_0 | 0 | 0.00091516 | 0.00022936 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5079-7_0_3_load_96 | 1 | 0.0021593 | 0.00054118 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5079-7_0_3_load_102 | 2 | 0.001021 | 0.00025589 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5079-7_0_3_load_128 | 3 | 0.00036485 | 9.144e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5079-7_0_3_load_127 | 4 | 0.00043967 | 0.00011019 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5079-7_0_3_load_129 | 5 | 0.00045241 | 0.00011338 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5079-7_0_3_load_130 | 6 | 0.00069698 | 0.00017468 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5079-7_0_3_load_4 | 8 | 0.00019593 | 4.9105e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5079-7_0_3_load_103 | 10 | 0.00057797 | 0.00014485 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5079-7_0_3_load_216 | 11 | 0.00043542 | 0.00010913 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5079-7_0_3_load_123 | 13 | 0.0005742 | 0.00014391 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5079-7_0_3_load_135 | 15 | 0.00053935 | 0.00013517 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5079-7_0_3_load_132 | 16 | 0.0005063 | 0.00012689 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5079-7_0_3_load_133 | 17 | 0.00041355 | 0.00010365 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5079-7_0_3_load_134 | 18 | 0.00037598 | 9.423e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5079-7_0_3_load_136 | 19 | 0.00038623 | 9.6798e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5079-7_0_3_load_139 | 20 | 0.00090107 | 0.00022583 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5079-7_0_3_load_138 | 22 | 0.00045193 | 0.00011327 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5079-7_0_3_load_140 | 23 | 0.00080149 | 0.00020087 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5079-7_0_3_load_146 | 24 | 0.00068125 | 0.00017074 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5079-7_0_3_load_89 | 25 | 0.00072996 | 0.00018295 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5079-7_0_3_load_61 | 27 | 0.0011227 | 0.00028139 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5079-7_0_3_load_101 | 28 | 0.00088886 | 0.00022277 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5079-7_0_3_load_82 | 29 | 0.0008528 | 0.00021373 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5079-7_0_3_load_83 | 30 | 0.0015139 | 0.00037941 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5079-7_0_3_load_85 | 32 | 0.00043489 | 0.00010899 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5079-7_0_3_load_86 | 33 | 0.001482 | 0.00037143 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5079-7_0_3_load_90 | 34 | 0.00033329 | 8.3531e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5079-7_0_3_load_92 | 35 | 0.00034868 | 8.7387e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5079-7_0_3_load_94 | 37 | 0.00025012 | 6.2685e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5079-7_0_3_load_98 | 38 | 0.0009007 | 0.00022574 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5079-7_0_3_load_104 | 39 | 0.00035584 | 8.9183e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5079-7_0_3_load_110 | 40 | 0.00048384 | 0.00012126 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5079-7_0_3_load_105 | 41 | 0.0013047 | 0.000327 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5079-7_0_3_load_106 | 42 | 0.00037154 | 9.3117e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5079-7_0_3_load_107 | 43 | 0.0004464 | 0.00011188 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5079-7_0_3_load_108 | 45 | 0.00038749 | 9.7114e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5079-7_0_3_load_109 | 46 | 0.00068521 | 0.00017173 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5079-7_0_3_load_111 | 47 | 0.00056737 | 0.0001422 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5079-7_0_3_load_112 | 48 | 0.00069843 | 0.00017504 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5079-7_0_3_load_114 | 49 | 0.00050282 | 0.00012602 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5079-7_0_3_load_115 | 50 | 0.00061393 | 0.00015387 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5079-7_0_3_load_117 | 51 | 0.0012928 | 0.000324 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5079-7_0_3_load_119 | 52 | 0.001215 | 0.00030451 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5079-7_0_3_load_121 | 54 | 0.0016657 | 0.00041747 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5079-7_0_3_load_122 | 55 | 0.0024242 | 0.00060756 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5079-7_0_3_load_124 | 56 | 0.00052459 | 0.00013147 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5079-7_0_3_load_125 | 57 | 0.00043166 | 0.00010819 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5079-7_0_3_load_126 | 58 | 0.00046927 | 0.00011761 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5079-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.095276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5079-7_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.15536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5079-7_0_3_line_2 | NAYY 4x150 SE | 1 | 38 | 0.023964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5079-7_0_3_line_3 | NAYY 4x150 SE | 1 | 37 | 0.06224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5079-7_0_3_line_4 | NAYY 4x150 SE | 2 | 10 | 0.29197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5079-7_0_3_line_5 | NAYY 4x150 SE | 2 | 28 | 0.019598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5079-7_0_3_line_6 | NAYY 4x150 SE | 3 | 4 | 0.022165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5079-7_0_3_line_7 | NAYY 4x150 SE | 3 | 5 | 0.010596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5079-7_0_3_line_8 | NAYY 4x150 SE | 4 | 58 | 0.010146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5079-7_0_3_line_9 | NAYY 4x150 SE | 5 | 6 | 0.051712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5079-7_0_3_line_10 | NAYY 4x150 SE | 6 | 13 | 0.17528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5079-7_0_3_line_11 | NAYY 4x150 SE | 6 | 14 | 0.018153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5079-7_0_3_line_12 | NAYY 4x150 SE | 7 | 8 | 0.035472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5079-7_0_3_line_13 | NAYY 4x150 SE | 7 | 9 | 0.05222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5079-7_0_3_line_14 | NAYY 4x150 SE | 7 | 10 | 0.27428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5079-7_0_3_line_15 | NAYY 4x150 SE | 9 | 11 | 0.055339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5079-7_0_3_line_16 | NAYY 4x150 SE | 9 | 12 | 0.027853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5079-7_0_3_line_17 | NAYY 4x150 SE | 10 | 39 | 0.10522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5079-7_0_3_line_18 | NAYY 4x150 SE | 12 | 36 | 0.062849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5079-7_0_3_line_19 | NAYY 4x150 SE | 12 | 50 | 0.10068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5079-7_0_3_line_20 | NAYY 4x150 SE | 13 | 56 | 0.0123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5079-7_0_3_line_21 | NAYY 4x150 SE | 13 | 49 | 0.043597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5079-7_0_3_line_22 | NAYY 4x150 SE | 14 | 15 | 0.0076917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5079-7_0_3_line_23 | NAYY 4x150 SE | 14 | 16 | 0.017933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5079-7_0_3_line_24 | NAYY 4x150 SE | 15 | 20 | 0.016459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5079-7_0_3_line_25 | NAYY 4x150 SE | 16 | 17 | 0.0024014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5079-7_0_3_line_26 | NAYY 4x150 SE | 17 | 18 | 0.0086185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5079-7_0_3_line_27 | NAYY 4x150 SE | 18 | 19 | 0.0037872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5079-7_0_3_line_28 | NAYY 4x150 SE | 19 | 21 | 0.051376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5079-7_0_3_line_29 | NAYY 4x150 SE | 20 | 23 | 0.24626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5079-7_0_3_line_30 | NAYY 4x150 SE | 21 | 22 | 0.011744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5079-7_0_3_line_31 | NAYY 4x150 SE | 24 | 25 | 0.015329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5079-7_0_3_line_32 | NAYY 4x150 SE | 24 | 26 | 0.14879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5079-7_0_3_line_33 | NAYY 4x150 SE | 26 | 52 | 0.10895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5079-7_0_3_line_34 | NAYY 4x150 SE | 26 | 36 | 0.15405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5079-7_0_3_line_35 | NAYY 4x150 SE | 27 | 28 | 0.011801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5079-7_0_3_line_36 | NAYY 4x150 SE | 29 | 30 | 0.029251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5079-7_0_3_line_37 | NAYY 4x150 SE | 29 | 31 | 0.04868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5079-7_0_3_line_38 | NAYY 4x150 SE | 30 | 32 | 0.016831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5079-7_0_3_line_39 | NAYY 4x150 SE | 31 | 33 | 0.17666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5079-7_0_3_line_40 | NAYY 4x150 SE | 31 | 34 | 0.10009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5079-7_0_3_line_41 | NAYY 4x150 SE | 33 | 35 | 0.1258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5079-7_0_3_line_42 | NAYY 4x150 SE | 35 | 36 | 0.038022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5079-7_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.020195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5079-7_0_3_line_44 | NAYY 4x150 SE | 40 | 45 | 0.015539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5079-7_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0048257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5079-7_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.0067746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5079-7_0_3_line_47 | NAYY 4x150 SE | 41 | 44 | 0.12035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5079-7_0_3_line_48 | NAYY 4x150 SE | 42 | 45 | 0.013118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5079-7_0_3_line_49 | NAYY 4x150 SE | 43 | 46 | 0.0071716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5079-7_0_3_line_50 | NAYY 4x150 SE | 44 | 49 | 0.017509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5079-7_0_3_line_51 | NAYY 4x150 SE | 46 | 47 | 0.010709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5079-7_0_3_line_52 | NAYY 4x150 SE | 47 | 48 | 0.0068962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5079-7_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.014426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5079-7_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.075386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5079-7_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.015875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5079-7_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.060669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5079-7_0_3_line_57 | NAYY 4x150 SE | 57 | 58 | 0.011852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5079-7_0_3_trafo_103 | 0.25 MVA 20/0.4 kV | 59 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2699048.6333 | 1151522.6266 | 2699085.4231 | 1151610.5133
1 | 2699085.4231 | 1151610.5133 | 2699179.8337 | 1151733.8962
2 | 2699048.6333 | 1151522.6266 | 2699057.6151 | 1151513.9643 | 2699067.2664 | 1151507.738
3 | 2699047.4898 | 1151478.498 | 2699047.4898 | 1151478.498 | 2699045.2508 | 1151489.5458 | 2699043.4329 | 1151500.1892 | 2699037.0998 | 1151509.5243 | 2699034.0994 | 1151516.457 | 2699035.2271 | 1151523.0352 | 2699039.7212 | 1151525.166 | 2699046.7338 | 1151524.4586 | 2699048.6333 | 1151522.6266
4 | 2699179.8337 | 1151733.8962 | 2698999.1637 | 1151963.25
5 | 2699195.5379 | 1151722.187 | 2699186.2545 | 1151729.4815 | 2699179.8337 | 1151733.8962
6 | 2699149.7491 | 1152355.9402 | 2699140.1058 | 1152356.4127 | 2699127.6506 | 1152357.5818
7 | 2699117.104 | 1152358.5953 | 2699117.8357 | 1152358.5031 | 2699127.6506 | 1152357.5818
8 | 2699159.883 | 1152355.4436 | 2699149.7491 | 1152355.9402
9 | 2699117.104 | 1152358.5953 | 2699106.2832 | 1152359.9584 | 2699095.6532 | 1152355.2695 | 2699084.1549 | 1152353.4348 | 2699078.3247 | 1152357.4414 | 2699077.8166 | 1152363.5924 | 2699080.2394 | 1152367.1424
10 | 2699080.2394 | 1152367.1424 | 2698995.9389 | 1152213.4634
11 | 2699086.547 | 1152383.4373 | 2699087.028 | 1152378.9313 | 2699082.6357 | 1152370.6539 | 2699080.2394 | 1152367.1424
12 | 2698823.4019 | 1151752.689 | 2698816.7743 | 1151757.5499 | 2698792.0873 | 1151769.2746
13 | 2698823.4019 | 1151752.689 | 2698819.7908 | 1151749.1497 | 2698811.6262 | 1151742.4228 | 2698800.856 | 1151733.5628 | 2698789.8304 | 1151726.233 | 2698785.0128 | 1151724.175 | 2698780.8353 | 1151723.3393
14 | 2698823.4019 | 1151752.689 | 2698999.1637 | 1151963.25
15 | 2698833.1698 | 1151737.0283 | 2698825.9104 | 1151735.4861 | 2698802.4459 | 1151726.9626 | 2698790.8322 | 1151722.2581 | 2698785.6683 | 1151721.1839 | 2698780.8353 | 1151723.3393
16 | 2698758.0751 | 1151738.798 | 2698765.2363 | 1151732.7561 | 2698774.3937 | 1151725.7574 | 2698777.6263 | 1151723.8315 | 2698780.8353 | 1151723.3393
17 | 2698962.1728 | 1152056.8293 | 2698967.8361 | 1152053.0357 | 2698978.9406 | 1152041.5109 | 2698985.9005 | 1152031.3634 | 2698994.4886 | 1152009.9578 | 2698997.6496 | 1151992.7769 | 2698999.1637 | 1151963.25 | 2698999.1637 | 1151963.25
18 | 2698700.9832 | 1151736.2276 | 2698705.1266 | 1151739.1417 | 2698719.0004 | 1151747.3964 | 2698724.2685 | 1151749.1282 | 2698729.6604 | 1151749.8726 | 2698734.6304 | 1151749.1869 | 2698741.3913 | 1151747.43 | 2698746.6111 | 1151745.0918 | 2698758.0751 | 1151738.798
19 | 2698758.0751 | 1151738.798 | 2698758.5928 | 1151741.397 | 2698758.3104 | 1151744.1052 | 2698756.7936 | 1151746.2595 | 2698755.6834 | 1151747.4865 | 2698753.1651 | 1151748.9239 | 2698750.0098 | 1151750.8178 | 2698744.7087 | 1151755.7784 | 2698739.9266 | 1151761.8483 | 2698736.0172 | 1151770.4117 | 2698728.7281 | 1151784.2565 | 2698724.0712 | 1151792.5297 | 2698720.9801 | 1151799.4056 | 2698717.3718 | 1151810.6757 | 2698713.818 | 1151819.0894 | 2698709.4354 | 1151823.7427
20 | 2698985.0762 | 1152219.2335 | 2698995.9389 | 1152213.4634
21 | 2699031.0369 | 1152188.6694 | 2699028.7524 | 1152192.0455 | 2699019.5491 | 1152200.922 | 2698995.9389 | 1152213.4634
22 | 2699086.547 | 1152383.4373 | 2699080.3362 | 1152385.3919 | 2699079.3425 | 1152386.0293
23 | 2699086.547 | 1152383.4373 | 2699092.249 | 1152387.2223 | 2699099.5996 | 1152390.6342 | 2699102.5543 | 1152391.0621
24 | 2699066.1645 | 1152395.832 | 2699072.8504 | 1152390.194 | 2699079.3425 | 1152386.0293
25 | 2699102.5543 | 1152391.0621 | 2699104.9309 | 1152391.4062
26 | 2699113.4081 | 1152392.8548 | 2699112.3334 | 1152392.4782 | 2699104.9309 | 1152391.4062
27 | 2699113.4081 | 1152392.8548 | 2699116.9821 | 1152394.1074
28 | 2699164.3074 | 1152411.8122 | 2699158.1651 | 1152410.0656 | 2699149.103 | 1152409.9163 | 2699143.4011 | 1152406.1312 | 2699135.2352 | 1152401.8942 | 2699125.8485 | 1152397.2146 | 2699116.9821 | 1152394.1074
29 | 2699066.1645 | 1152395.832 | 2698904.7657 | 1152581.8292
30 | 2699164.3074 | 1152411.8122 | 2699170.1107 | 1152412.2302 | 2699175.3293 | 1152409.4222
31 | 2698495.0456 | 1151657.7508 | 2698499.7993 | 1151650.7153 | 2698502.8337 | 1151644.5871
32 | 2698495.0456 | 1151657.7508 | 2698559.7613 | 1151791.728
33 | 2698559.7613 | 1151791.728 | 2698549.078 | 1151797.7125 | 2698539.7986 | 1151805.1542 | 2698533.1849 | 1151811.5278 | 2698526.6809 | 1151818.2367 | 2698501.8783 | 1151851.1516 | 2698487.9794 | 1151872.0108
34 | 2698700.9832 | 1151736.2276 | 2698699.3438 | 1151735.0889 | 2698695.9361 | 1151734.5883 | 2698692.3916 | 1151735.4085 | 2698679.0497 | 1151742.0052 | 2698655.1546 | 1151752.7206 | 2698642.5711 | 1151759.8856 | 2698632.7594 | 1151766.5403 | 2698622.9563 | 1151772.2055 | 2698608.1831 | 1151778.5565 | 2698601.5266 | 1151780.9824 | 2698595.776 | 1151781.989 | 2698588.1418 | 1151783.1759 | 2698577.3078 | 1151784.7663 | 2698570.6603 | 1151786.6365 | 2698559.7613 | 1151791.728
35 | 2699195.5379 | 1151722.187 | 2699204.817 | 1151714.8959
36 | 2698813.4261 | 1151509.7186 | 2698801.003 | 1151513.6173 | 2698784.8136 | 1151514.7653
37 | 2698855.8172 | 1151485.788 | 2698832.962 | 1151498.5432 | 2698813.4261 | 1151509.7186 | 2698813.4261 | 1151509.7186
38 | 2698784.8136 | 1151514.7653 | 2698768.0248 | 1151515.9559
39 | 2698855.8172 | 1151485.788 | 2698858.5478 | 1151495.272 | 2698860.8168 | 1151507.6281 | 2698860.2137 | 1151519.1142 | 2698853.4541 | 1151529.6654 | 2698842.5864 | 1151539.3487 | 2698737.996 | 1151589.3538
40 | 2698855.8172 | 1151485.788 | 2698924.5786 | 1151558.5174
41 | 2698737.996 | 1151589.3538 | 2698732.3305 | 1151715.0247
42 | 2698700.9832 | 1151736.2276 | 2698703.7514 | 1151733.1265 | 2698709.1355 | 1151729.1901 | 2698727.9545 | 1151718.1471 | 2698732.3305 | 1151715.0247
43 | 2698962.1728 | 1152056.8293 | 2698960.9674 | 1152057.6368 | 2698956.956 | 1152063.519 | 2698955.0055 | 1152069.6464 | 2698956.5744 | 1152074.5974
44 | 2698971.445 | 1152071.2984 | 2698963.5668 | 1152074.6123 | 2698956.5744 | 1152074.5974 | 2698956.5744 | 1152074.5974
45 | 2698987.8949 | 1152064.1356 | 2698983.5076 | 1152066.1454
46 | 2698987.8949 | 1152064.1356 | 2698994.054 | 1152061.3142
47 | 2698987.8949 | 1152064.1356 | 2699038.9499 | 1152173.1235
48 | 2698971.445 | 1152071.2984 | 2698981.3981 | 1152067.1117 | 2698983.5076 | 1152066.1454
49 | 2698994.054 | 1152061.3142 | 2699000.5741 | 1152058.3274
50 | 2699038.9499 | 1152173.1235 | 2699034.2434 | 1152183.9307 | 2699031.0369 | 1152188.6694
51 | 2699009.8895 | 1152053.052 | 2699001.3133 | 1152057.9888 | 2699000.5741 | 1152058.3274
52 | 2699009.8895 | 1152053.052 | 2699015.8663 | 1152049.6116
53 | 2698697.392 | 1151831.6836 | 2698709.4354 | 1151823.7427
54 | 2698424.9245 | 1151907.1176 | 2698437.9314 | 1151903.5946 | 2698448.4164 | 1151901.2756 | 2698460.7965 | 1151898.0648 | 2698469.437 | 1151894.0035 | 2698478.4862 | 1151884.6678 | 2698485.1405 | 1151876.2714 | 2698487.9794 | 1151872.0108
55 | 2698424.9245 | 1151907.1176 | 2698414.2302 | 1151912.3795 | 2698411.1898 | 1151914.9104
56 | 2698428.9254 | 1151862.3997 | 2698432.4322 | 1151863.8801 | 2698435.2663 | 1151866.1278 | 2698437.5852 | 1151872.6586 | 2698439.7248 | 1151883.5781 | 2698442.5136 | 1151888.1265 | 2698444.5708 | 1151890.4727 | 2698443.4411 | 1151892.4333 | 2698437.215 | 1151895.3 | 2698431.9686 | 1151899.2834 | 2698426.4992 | 1151902.8185 | 2698424.9245 | 1151907.1176
57 | 2699171.729 | 1152355.1782 | 2699165.2402 | 1152355.1812 | 2699159.883 | 1152355.4436

## bus_geodata
| x | y | coords
0 | 2699085.4231 | 1151610.5133
1 | 2699048.6333 | 1151522.6266
2 | 2699179.8337 | 1151733.8962
3 | 2699127.6506 | 1152357.5818
4 | 2699149.7491 | 1152355.9402
5 | 2699117.104 | 1152358.5953
6 | 2699080.2394 | 1152367.1424
7 | 2698823.4019 | 1151752.689
8 | 2698792.0873 | 1151769.2746
9 | 2698780.8353 | 1151723.3393
10 | 2698999.1637 | 1151963.25
11 | 2698833.1698 | 1151737.0283
12 | 2698758.0751 | 1151738.798
13 | 2698995.9389 | 1152213.4634
14 | 2699086.547 | 1152383.4373
15 | 2699079.3425 | 1152386.0293
16 | 2699102.5543 | 1152391.0621
17 | 2699104.9309 | 1152391.4062
18 | 2699113.4081 | 1152392.8548
19 | 2699116.9821 | 1152394.1074
20 | 2699066.1645 | 1152395.832
21 | 2699164.3074 | 1152411.8122
22 | 2699175.3293 | 1152409.4222
23 | 2698904.7657 | 1152581.8292
24 | 2698495.0456 | 1151657.7508
25 | 2698502.8337 | 1151644.5871
26 | 2698559.7613 | 1151791.728
27 | 2699204.817 | 1151714.8959
28 | 2699195.5379 | 1151722.187
29 | 2698813.4261 | 1151509.7186
30 | 2698784.8136 | 1151514.7653
31 | 2698855.8172 | 1151485.788
32 | 2698768.0248 | 1151515.9559
33 | 2698737.996 | 1151589.3538
34 | 2698924.5786 | 1151558.5174
35 | 2698732.3305 | 1151715.0247
36 | 2698700.9832 | 1151736.2276
37 | 2699047.4898 | 1151478.498
38 | 2699067.2664 | 1151507.738
39 | 2698962.1728 | 1152056.8293
40 | 2698956.5744 | 1152074.5974
41 | 2698987.8949 | 1152064.1356
42 | 2698983.5076 | 1152066.1454
43 | 2698994.054 | 1152061.3142
44 | 2699038.9499 | 1152173.1235
45 | 2698971.445 | 1152071.2984
46 | 2699000.5741 | 1152058.3274
47 | 2699009.8896 | 1152053.052
48 | 2699015.8663 | 1152049.6116
49 | 2699031.0369 | 1152188.6694
50 | 2698709.4354 | 1151823.7427
51 | 2698697.392 | 1151831.6836
52 | 2698487.9794 | 1151872.0108
53 | 2698424.9245 | 1151907.1176
54 | 2698411.1898 | 1151914.9104
55 | 2698428.9254 | 1151862.3997
56 | 2698985.0762 | 1152219.2335
57 | 2699171.729 | 1152355.1782
58 | 2699159.883 | 1152355.4436
59 | 2698999.1637 | 1151963.25

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1