## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5097-12_2_2_node_62 | 0.4 | n |  | TRUE
1 | bus_LV_5097-12_2_2_node_61 | 0.4 | n |  | TRUE
2 | bus_LV_5097-12_2_2_node_27 | 0.4 | n |  | TRUE
3 | bus_LV_5097-12_2_2_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_5097-12_2_2_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_5097-12_2_2_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_5097-12_2_2_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_5097-12_2_2_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_5097-12_2_2_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_5097-12_2_2_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_5097-12_2_2_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_5097-12_2_2_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_5097-12_2_2_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_5097-12_2_2_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_5097-12_2_2_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_5097-12_2_2_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_5097-12_2_2_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_5097-12_2_2_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_5097-12_2_2_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_5097-12_2_2_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_5097-12_2_2_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_5097-12_2_2_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_5097-12_2_2_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_5097-12_2_2_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_5097-12_2_2_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_5097-12_2_2_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_5097-12_2_2_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_5097-12_2_2_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_5097-12_2_2_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_5097-12_2_2_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_5097-12_2_2_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_5097-12_2_2_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_5097-12_2_2_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_5097-12_2_2_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_5097-12_2_2_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_5097-12_2_2_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_5097-12_2_2_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_5097-12_2_2_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_5097-12_2_2_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_5097-12_2_2_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_5097-12_2_2_node_65 | 0.4 | n |  | TRUE
41 | bus_MV_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5097-12_2_2_load_62 | 0 | 0.00059778 | 0.00014982 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5097-12_2_2_load_61 | 1 | 0.00073683 | 0.00018467 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5097-12_2_2_load_27 | 2 | 0.00076974 | 0.00019291 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5097-12_2_2_load_28 | 3 | 0.00091131 | 0.0002284 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5097-12_2_2_load_29 | 4 | 0.0014505 | 0.00036354 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5097-12_2_2_load_30 | 5 | 0.00075352 | 0.00018885 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5097-12_2_2_load_31 | 6 | 0.0015227 | 0.00038161 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5097-12_2_2_load_32 | 7 | 0.0018459 | 0.00046262 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5097-12_2_2_load_33 | 8 | 0.00079487 | 0.00019921 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5097-12_2_2_load_35 | 10 | 0.0012426 | 0.00031143 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5097-12_2_2_load_36 | 11 | 0.0012651 | 0.00031706 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5097-12_2_2_load_37 | 12 | 0.001915 | 0.00047995 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5097-12_2_2_load_38 | 13 | 0.004742 | 0.0011885 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5097-12_2_2_load_51 | 14 | 0.0011643 | 0.00029179 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5097-12_2_2_load_56 | 15 | 0.0012963 | 0.00032489 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5097-12_2_2_load_39 | 17 | 0.0008429 | 0.00021125 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5097-12_2_2_load_40 | 18 | 0.0008913 | 0.00022338 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5097-12_2_2_load_42 | 20 | 0.00090959 | 0.00022796 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5097-12_2_2_load_43 | 21 | 0.0017751 | 0.00044488 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5097-12_2_2_load_44 | 22 | 0.0008431 | 0.0002113 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5097-12_2_2_load_46 | 24 | 0.0014964 | 0.00037503 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5097-12_2_2_load_47 | 25 | 0.00068626 | 0.00017199 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5097-12_2_2_load_48 | 26 | 0.00063303 | 0.00015865 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5097-12_2_2_load_49 | 28 | 0.00076514 | 0.00019176 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5097-12_2_2_load_50 | 29 | 0.00118 | 0.00029573 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5097-12_2_2_load_53 | 31 | 0.00079839 | 0.00020009 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5097-12_2_2_load_54 | 32 | 0.0011663 | 0.00029231 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5097-12_2_2_load_60 | 36 | 0.00081947 | 0.00020538 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5097-12_2_2_load_66 | 37 | 0.0013039 | 0.00032679 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5097-12_2_2_load_68 | 38 | 0.0005819 | 0.00014584 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5097-12_2_2_load_64 | 39 | 0.00069385 | 0.0001739 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5097-12_2_2_load_65 | 40 | 0.00148 | 0.00037091 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5097-12_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0064237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5097-12_2_2_line_1 | NAYY 4x150 SE | 1 | 34 | 0.058463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5097-12_2_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0047964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5097-12_2_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5097-12_2_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.003125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5097-12_2_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.002142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5097-12_2_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.0036873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5097-12_2_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0029219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5097-12_2_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.12191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5097-12_2_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.041908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5097-12_2_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.053692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5097-12_2_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.051641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5097-12_2_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.024389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5097-12_2_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.074443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5097-12_2_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.015676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5097-12_2_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0062688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5097-12_2_2_line_16 | NAYY 4x150 SE | 16 | 32 | 0.0075331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5097-12_2_2_line_17 | NAYY 4x150 SE | 16 | 31 | 0.012421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5097-12_2_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.00065486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5097-12_2_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.018839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5097-12_2_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.033999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5097-12_2_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.28322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5097-12_2_2_line_22 | NAYY 4x150 SE | 19 | 22 | 0.013681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5097-12_2_2_line_23 | NAYY 4x150 SE | 20 | 23 | 0.099415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5097-12_2_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.11299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5097-12_2_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.061128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5097-12_2_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.024333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5097-12_2_2_line_27 | NAYY 4x150 SE | 24 | 27 | 0.10854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5097-12_2_2_line_28 | NAYY 4x150 SE | 25 | 28 | 0.019009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5097-12_2_2_line_29 | NAYY 4x150 SE | 26 | 29 | 0.036349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5097-12_2_2_line_30 | NAYY 4x150 SE | 27 | 30 | 0.084409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5097-12_2_2_line_31 | NAYY 4x150 SE | 28 | 31 | 0.0050221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5097-12_2_2_line_32 | NAYY 4x150 SE | 30 | 33 | 0.1109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5097-12_2_2_line_33 | NAYY 4x150 SE | 30 | 34 | 0.012114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5097-12_2_2_line_34 | NAYY 4x150 SE | 33 | 35 | 0.2247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5097-12_2_2_line_35 | NAYY 4x150 SE | 33 | 36 | 0.0088066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5097-12_2_2_line_36 | NAYY 4x150 SE | 35 | 37 | 0.14745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5097-12_2_2_line_37 | NAYY 4x150 SE | 37 | 38 | 0.056478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5097-12_2_2_line_38 | NAYY 4x150 SE | 38 | 40 | 0.039285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5097-12_2_2_line_39 | NAYY 4x150 SE | 39 | 40 | 0.039093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5097-12_2_2_trafo_48 | 0.25 MVA 20/0.4 kV | 41 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2696762.9048 | 1108443.1186 | 2696765.3839 | 1108449.0446
1 | 2696799.7793 | 1108494.7054 | 2696798.4069 | 1108488.6575 | 2696795.3221 | 1108482.36 | 2696792.6638 | 1108477.4367 | 2696786.6381 | 1108469.3912 | 2696769.8893 | 1108455.0374 | 2696765.8688 | 1108450.2036 | 2696765.3839 | 1108449.0446
2 | 2696535.4261 | 1108744.7783 | 2696530.8296 | 1108746.1485
3 | 2696535.4261 | 1108744.7783 | 2696543.3789 | 1108742.4075 | 2696545.7718 | 1108741.2438
4 | 2696548.5369 | 1108739.7911 | 2696547.1421 | 1108740.5773 | 2696545.7718 | 1108741.2438
5 | 2696548.5369 | 1108739.7911 | 2696550.4029 | 1108738.7392 | 2696550.4029 | 1108738.7392
6 | 2696552.752 | 1108735.897 | 2696552.752 | 1108735.897 | 2696550.4029 | 1108738.7392
7 | 2696552.752 | 1108735.897 | 2696554.108 | 1108733.3088
8 | 2696546.0362 | 1108647.3686 | 2696538.9335 | 1108655.494 | 2696534.8528 | 1108658.8089 | 2696530.2872 | 1108661.9938 | 2696526.814 | 1108663.5728 | 2696522.0555 | 1108664.7868 | 2696518.6718 | 1108666.0893 | 2696516.2243 | 1108667.8292 | 2696514.6048 | 1108670.0048 | 2696513.5046 | 1108673.5562 | 2696513.2747 | 1108677.7996 | 2696513.756 | 1108681.076 | 2696514.8808 | 1108683.7511 | 2696517.187 | 1108687.0009 | 2696521.5356 | 1108692.5957 | 2696523.1039 | 1108695.5781 | 2696524.1269 | 1108700.2751 | 2696524.9003 | 1108704.1453 | 2696526.3788 | 1108706.9372 | 2696528.3733 | 1108709.3705 | 2696532.1254 | 1108712.61 | 2696536.6905 | 1108715.2842 | 2696543.6206 | 1108718.4854 | 2696549.148 | 1108720.9304 | 2696551.4477 | 1108722.6458 | 2696553.3684 | 1108724.8555 | 2696554.4843 | 1108727.1192 | 2696554.819 | 1108729.8929 | 2696554.2828 | 1108732.9751 | 2696554.108 | 1108733.3088
9 | 2696546.0362 | 1108647.3686 | 2696550.8024 | 1108642.2746 | 2696553.2701 | 1108640.2348 | 2696556.2039 | 1108638.5471 | 2696559.634 | 1108637.2454 | 2696565.6482 | 1108635.3399 | 2696569.9298 | 1108633.9738 | 2696572.6496 | 1108632.6163 | 2696574.1095 | 1108631.2387 | 2696574.7064 | 1108629.6805 | 2696574.8106 | 1108627.9923 | 2696574.228 | 1108626.2263 | 2696572.8963 | 1108624.404 | 2696571.6977 | 1108623.7824
10 | 2696546.0362 | 1108647.3686 | 2696551.2625 | 1108646.3956 | 2696557.5269 | 1108646.2507 | 2696579.9256 | 1108647.1078 | 2696588.5002 | 1108647.0553 | 2696596.0308 | 1108646.0524 | 2696599.445 | 1108645.1823
11 | 2696549.6666 | 1108610.6522 | 2696542.5128 | 1108618.5947 | 2696540.8377 | 1108621.8367 | 2696540.4246 | 1108624.4762 | 2696540.7448 | 1108626.2157 | 2696542.1366 | 1108627.661 | 2696543.9091 | 1108628.5008 | 2696546.5621 | 1108628.9099 | 2696549.4523 | 1108628.5001 | 2696555.7407 | 1108626.8547 | 2696565.6262 | 1108623.132 | 2696568.2042 | 1108622.9062 | 2696570.7954 | 1108623.3143 | 2696571.6977 | 1108623.7824
12 | 2696599.445 | 1108645.1823 | 2696600.4244 | 1108644.9327 | 2696604.5953 | 1108642.7533 | 2696608.1153 | 1108641.6309 | 2696612.5697 | 1108641.0681 | 2696623.057 | 1108641.1121
13 | 2696549.6666 | 1108610.6522 | 2696553.1849 | 1108606.746 | 2696556.8658 | 1108601.3457 | 2696560.1376 | 1108595.4274 | 2696563.5089 | 1108589.5663 | 2696566.5295 | 1108586.3124 | 2696570.3228 | 1108582.5927 | 2696574.2981 | 1108580.0766 | 2696577.788 | 1108578.9092 | 2696582.1443 | 1108578.1892 | 2696595.0492 | 1108577.6054 | 2696608.6124 | 1108576.0232
14 | 2696637.5454 | 1108645.1573 | 2696635.077 | 1108642.8721 | 2696632.5906 | 1108641.7096 | 2696627.7138 | 1108641.1315 | 2696623.057 | 1108641.1121
15 | 2696614.8391 | 1108575.2968 | 2696608.6124 | 1108576.0232
16 | 2696614.8391 | 1108575.2968 | 2696616.8632 | 1108569.0807 | 2696616.9594 | 1108568.0896
17 | 2696614.8391 | 1108575.2968 | 2696617.1506 | 1108575.3003 | 2696619.238 | 1108575.7894 | 2696625.4379 | 1108578.2452 | 2696626.7174 | 1108578.4573
18 | 2696781.493 | 1108694.6068 | 2696781.4836 | 1108695.2616
19 | 2696785.5705 | 1108712.1138 | 2696784.18 | 1108711.5579 | 2696782.9344 | 1108710.6486 | 2696781.9732 | 1108709.3547 | 2696781.3138 | 1108707.0761 | 2696781.4836 | 1108695.2616
20 | 2696781.493 | 1108694.6068 | 2696781.5239 | 1108692.4592 | 2696781.6192 | 1108688.4249 | 2696781.2576 | 1108684.4389 | 2696780.7258 | 1108681.4285 | 2696779.1787 | 1108676.6453 | 2696777.2746 | 1108672.9127 | 2696774.8442 | 1108669.216 | 2696770.2926 | 1108663.7469
21 | 2696785.5705 | 1108712.1138 | 2696780.5818 | 1108717.582 | 2696772.9939 | 1108723.6314 | 2696769.1106 | 1108727.1717 | 2696759.8079 | 1108739.4309 | 2696757.12 | 1108742.1787 | 2696753.4436 | 1108746.3226 | 2696751.6269 | 1108749.7069 | 2696749.2372 | 1108757.9961 | 2696747.7264 | 1108761.5965 | 2696745.7157 | 1108764.544 | 2696741.5606 | 1108769.6143 | 2696727.1011 | 1108782.8698 | 2696721.0589 | 1108787.9877 | 2696716.0569 | 1108791.3879 | 2696711.0557 | 1108795.2217 | 2696686.6029 | 1108819.4692 | 2696683.0767 | 1108821.9479 | 2696675.3028 | 1108826.1044 | 2696666.3411 | 1108831.5428 | 2696653.4678 | 1108841.3326 | 2696646.8751 | 1108848.9879 | 2696644.0333 | 1108853.6455 | 2696640.623 | 1108862.4411 | 2696639.0698 | 1108873.0674 | 2696639.1197 | 1108879.1498 | 2696638.083 | 1108880.6564 | 2696636.917 | 1108880.5711 | 2696635.8423 | 1108879.609 | 2696634.2606 | 1108874.0804 | 2696631.4294 | 1108860.1155 | 2696626.6098 | 1108842.8614 | 2696624.2471 | 1108831.5167
22 | 2696785.5705 | 1108712.1138 | 2696787.7896 | 1108712.0936 | 2696789.8811 | 1108711.3487 | 2696791.4044 | 1108710.3613 | 2696792.4059 | 1108709.1321 | 2696793.1445 | 1108707.4206 | 2696793.4107 | 1108705.7571 | 2696793.3622 | 1108703.466
23 | 2696704.1728 | 1108589.8289 | 2696718.4799 | 1108602.1535 | 2696723.8981 | 1108607.5654 | 2696734.742 | 1108620.3462 | 2696745.3773 | 1108634.0799 | 2696768.0551 | 1108661.0583 | 2696770.2926 | 1108663.7469
24 | 2696793.3622 | 1108703.466 | 2696790.8443 | 1108693.1417 | 2696789.602 | 1108683.3046 | 2696788.7717 | 1108670.9059 | 2696788.6801 | 1108665.023 | 2696789.416 | 1108660.0872 | 2696792.9111 | 1108646.9682 | 2696794.6848 | 1108639.981 | 2696794.8988 | 1108635.2926 | 2696794.7864 | 1108630.7102 | 2696793.4617 | 1108624.0961 | 2696790.9324 | 1108617.396 | 2696782.3485 | 1108597.6802 | 2696781.242 | 1108594.1747
25 | 2696704.1728 | 1108589.8289 | 2696695.6998 | 1108582.5338 | 2696690.1288 | 1108577.9755 | 2696685.1275 | 1108575.0162 | 2696679.9447 | 1108572.7767 | 2696675.9926 | 1108571.4129 | 2696672.2817 | 1108570.442 | 2696668.8222 | 1108569.6976 | 2696665.3856 | 1108569.4649 | 2696661.339 | 1108569.6672 | 2696653.5631 | 1108570.5328 | 2696649.2024 | 1108571.2295
26 | 2696704.1728 | 1108589.8289 | 2696704.6902 | 1108592.7723 | 2696705.8251 | 1108594.8139 | 2696713.5626 | 1108601.6859 | 2696715.1313 | 1108603.6677 | 2696717.1188 | 1108607.0237 | 2696718.1235 | 1108609.0165
27 | 2696745.8886 | 1108493.0004 | 2696762.1867 | 1108520.0994 | 2696765.8389 | 1108527.1731 | 2696768.8483 | 1108534.8036 | 2696770.879 | 1108541.2622 | 2696772.3924 | 1108549.1357 | 2696776.2061 | 1108574.1899 | 2696779.3681 | 1108588.2379 | 2696781.242 | 1108594.1747
28 | 2696649.2024 | 1108571.2295 | 2696640.7818 | 1108572.5749 | 2696639.0952 | 1108573.1373 | 2696636.687 | 1108574.3441 | 2696633.0011 | 1108576.6535 | 2696631.5322 | 1108577.4278
29 | 2696736.8015 | 1108640.0246 | 2696731.0263 | 1108632.7614 | 2696727.6179 | 1108627.8484 | 2696718.1235 | 1108609.0165
30 | 2696745.8886 | 1108493.0004 | 2696763.9129 | 1108496.2232 | 2696774.8473 | 1108500.4335 | 2696786.321 | 1108506.6982 | 2696800.1382 | 1108516.7804 | 2696800.557 | 1108511.8507 | 2696807.8581 | 1108515.0692 | 2696807.9866 | 1108503.6308
31 | 2696631.5322 | 1108577.4278 | 2696630.4828 | 1108577.9809 | 2696628.6813 | 1108578.4747 | 2696626.9955 | 1108578.5035 | 2696626.7174 | 1108578.4573
32 | 2696807.9866 | 1108503.6308 | 2696816.2438 | 1108508.9436 | 2696814.0331 | 1108483.2479 | 2696836.0609 | 1108498.6534 | 2696844.8524 | 1108501.4955 | 2696844.6998 | 1108492.6543 | 2696840.2477 | 1108472.7375 | 2696840.5585 | 1108469.2514 | 2696846.56 | 1108466.7012
33 | 2696807.9866 | 1108503.6308 | 2696803.1951 | 1108498.1843 | 2696799.7793 | 1108494.7054
34 | 2696846.56 | 1108466.7012 | 2696846.5113 | 1108465.8776 | 2696846.7449 | 1108461.9011 | 2696847.8875 | 1108458.6173 | 2696850.3727 | 1108455.9776 | 2696853.8211 | 1108454.9987 | 2696857.926 | 1108455.509 | 2696861.6124 | 1108457.5357 | 2696864.708 | 1108461.6988 | 2696867.0987 | 1108467.8853 | 2696867.6814 | 1108471.5747 | 2696873.7957 | 1108489.072 | 2696876.8525 | 1108474.3673 | 2696885.3353 | 1108488.7894 | 2696888.2794 | 1108488.8809 | 2696900.9171 | 1108465.357 | 2696905.1557 | 1108474.9195 | 2696906.8539 | 1108486.6984 | 2696910.1446 | 1108492.1988 | 2696914.0779 | 1108480.7101 | 2696916.3173 | 1108470.7174 | 2696920.6153 | 1108468.8182 | 2696923.014 | 1108450.3117 | 2696922.883 | 1108435.2892 | 2696927.1778 | 1108420.0483
35 | 2696846.56 | 1108466.7012 | 2696846.8309 | 1108471.0415 | 2696847.6472 | 1108475.424
36 | 2696927.1778 | 1108420.0483 | 2696928.3989 | 1108406.5372 | 2696931.1809 | 1108401.7787 | 2696941.3073 | 1108402.3741 | 2696945.8018 | 1108398.3434 | 2696943.5012 | 1108393.7816 | 2696933.171 | 1108384.6554 | 2696933.6859 | 1108381.4616 | 2696934.6456 | 1108378.4973 | 2696940.1044 | 1108379.4407 | 2696939.541 | 1108376.9635 | 2696932.0136 | 1108361.7782 | 2696935.511 | 1108361.1226 | 2696967.5304 | 1108372.5079 | 2696979.8601 | 1108371.66 | 2696991.4437 | 1108368.4537
37 | 2696991.4437 | 1108368.4537 | 2696994.3278 | 1108367.6554 | 2696995.9074 | 1108366.0574 | 2696996.437 | 1108364.3648 | 2696995.5932 | 1108362.0166 | 2696992.6295 | 1108358.7894 | 2696984.9351 | 1108353.5743 | 2696985.083 | 1108351.5754 | 2697011.868 | 1108358.141 | 2697015.4573 | 1108359.0845
38 | 2697015.4573 | 1108359.0845 | 2697053.3618 | 1108369.4062
39 | 2697031.0813 | 1108400.141 | 2697032.8909 | 1108396.2453 | 2697039.4818 | 1108387.801 | 2697043.9627 | 1108380.7571 | 2697046.5503 | 1108374.6281 | 2697048.2845 | 1108371.5872 | 2697051.0628 | 1108369.964 | 2697053.3618 | 1108369.4062

## bus_geodata
| x | y | coords
0 | 2696762.9048 | 1108443.1186
1 | 2696765.3839 | 1108449.0446
2 | 2696535.4261 | 1108744.7783
3 | 2696530.8296 | 1108746.1485
4 | 2696545.7718 | 1108741.2438
5 | 2696548.5369 | 1108739.7911
6 | 2696550.4029 | 1108738.7392
7 | 2696552.752 | 1108735.897
8 | 2696554.108 | 1108733.3088
9 | 2696546.0362 | 1108647.3686
10 | 2696571.6977 | 1108623.7824
11 | 2696599.445 | 1108645.1823
12 | 2696549.6666 | 1108610.6522
13 | 2696623.057 | 1108641.112
14 | 2696608.6124 | 1108576.0232
15 | 2696637.5454 | 1108645.1573
16 | 2696614.8391 | 1108575.2968
17 | 2696781.4836 | 1108695.2616
18 | 2696781.493 | 1108694.6068
19 | 2696785.5705 | 1108712.1138
20 | 2696770.2926 | 1108663.7469
21 | 2696624.2471 | 1108831.5167
22 | 2696793.3622 | 1108703.466
23 | 2696704.1728 | 1108589.8289
24 | 2696781.242 | 1108594.1747
25 | 2696649.2024 | 1108571.2295
26 | 2696718.1235 | 1108609.0165
27 | 2696745.8886 | 1108493.0004
28 | 2696631.5322 | 1108577.4278
29 | 2696736.8015 | 1108640.0246
30 | 2696807.9866 | 1108503.6308
31 | 2696626.7174 | 1108578.4573
32 | 2696616.9594 | 1108568.0896
33 | 2696846.56 | 1108466.7012
34 | 2696799.7793 | 1108494.7054
35 | 2696927.1778 | 1108420.0483
36 | 2696847.6472 | 1108475.424
37 | 2696991.4437 | 1108368.4537
38 | 2697015.4573 | 1108359.0845
39 | 2697031.0813 | 1108400.141
40 | 2697053.3618 | 1108369.4062
41 | 2696718.1235 | 1108609.0165

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1