## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5097-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5097-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5097-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5097-1_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5097-1_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5097-1_0_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_5097-1_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_5097-1_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_5097-1_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_5097-1_0_4_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_5097-1_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_5097-1_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5097-1_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5097-1_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5097-1_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5097-1_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5097-1_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_5097-1_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_5097-1_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5097-1_0_4_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_5097-1_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_5097-1_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5097-1_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5097-1_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_5097-1_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_5097-1_0_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_5097-1_0_4_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_5097-1_0_4_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_5097-1_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_5097-1_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5097-1_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_5097-1_0_4_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_5097-1_0_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_5097-1_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_5097-1_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_5097-1_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_5097-1_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_5097-1_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_5097-1_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_5097-1_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_5097-1_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_5097-1_0_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_5097-1_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_5097-1_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_MV_65_0_node_216 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5097-1_0_4_load_0 | 0 | 0.0052146 | 0.0013069 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5097-1_0_4_load_1 | 1 | 0.0028837 | 0.00072271 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5097-1_0_4_load_4 | 3 | 0.0011374 | 0.00028507 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5097-1_0_4_load_16 | 5 | 0.0040307 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5097-1_0_4_load_21 | 6 | 0.0028869 | 0.00072351 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5097-1_0_4_load_12 | 7 | 0.0037075 | 0.00092919 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5097-1_0_4_load_17 | 8 | 0.0038525 | 0.00096552 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5097-1_0_4_load_11 | 10 | 0.0075248 | 0.0018859 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5097-1_0_4_load_6 | 11 | 0.059543 | 0.014923 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5097-1_0_4_load_7 | 12 | 0.0024778 | 0.00062099 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5097-1_0_4_load_8 | 13 | 0.0026057 | 0.00065306 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5097-1_0_4_load_14 | 16 | 0.0028176 | 0.00070616 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5097-1_0_4_load_29 | 19 | 0.008341 | 0.0020905 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5097-1_0_4_load_15 | 20 | 0.0068666 | 0.0017209 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5097-1_0_4_load_34 | 23 | 0.0034296 | 0.00085954 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5097-1_0_4_load_32 | 24 | 0.0091999 | 0.0023057 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5097-1_0_4_load_28 | 25 | 0.0026897 | 0.00067411 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5097-1_0_4_load_36 | 26 | 0.0032591 | 0.0008168 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5097-1_0_4_load_33 | 27 | 0.0057634 | 0.0014444 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5097-1_0_4_load_23 | 28 | 0.0021641 | 0.00054236 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5097-1_0_4_load_24 | 29 | 0.0050289 | 0.0012604 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5097-1_0_4_load_26 | 30 | 0.0027303 | 0.00068429 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5097-1_0_4_load_46 | 31 | 0.0026408 | 0.00066184 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5097-1_0_4_load_45 | 32 | 0.0039134 | 0.00098078 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5097-1_0_4_load_35 | 33 | 0.0033633 | 0.00084292 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5097-1_0_4_load_37 | 34 | 0.0016316 | 0.00040891 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5097-1_0_4_load_38 | 35 | 0.0055844 | 0.0013996 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5097-1_0_4_load_39 | 36 | 0.016229 | 0.0040673 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5097-1_0_4_load_40 | 37 | 0.0054029 | 0.0013541 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5097-1_0_4_load_41 | 38 | 0.0051373 | 0.0012875 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5097-1_0_4_load_42 | 39 | 0.0080583 | 0.0020196 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5097-1_0_4_load_43 | 40 | 0.0064611 | 0.0016193 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5097-1_0_4_load_44 | 41 | 0.0077813 | 0.0019502 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5097-1_0_4_load_48 | 43 | 0.0073923 | 0.0018527 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5097-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5097-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5097-1_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.032634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_5097-1_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.028815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_5097-1_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.02371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_5097-1_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0066203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5097-1_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0089051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_5097-1_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.040062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5097-1_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.11557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5097-1_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.028985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_5097-1_0_4_line_10 | NAYY 4x150 SE | 8 | 21 | 0.017863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_5097-1_0_4_line_11 | NAYY 4x150 SE | 9 | 25 | 0.063901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5097-1_0_4_line_12 | NAYY 4x150 SE | 10 | 18 | 0.011212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_5097-1_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.08139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5097-1_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.035735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5097-1_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.016905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5097-1_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.032625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5097-1_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.030226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5097-1_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.046744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5097-1_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.02315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5097-1_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.038193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5097-1_0_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.029164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5097-1_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.013353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_5097-1_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.013564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5097-1_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.0063105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5097-1_0_4_line_25 | NAYY 4x150 SE | 23 | 26 | 0.00057431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5097-1_0_4_line_26 | NAYY 4x150 SE | 24 | 27 | 0.0094861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5097-1_0_4_line_27 | NAYY 4x150 SE | 26 | 33 | 0.0022616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5097-1_0_4_line_28 | NAYY 4x150 SE | 27 | 30 | 0.0061192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5097-1_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.080201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5097-1_0_4_line_30 | NAYY 4x150 SE | 29 | 30 | 0.027809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5097-1_0_4_line_31 | NAYY 4x150 SE | 31 | 32 | 0.01537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5097-1_0_4_line_32 | NAYY 4x150 SE | 32 | 41 | 0.042415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5097-1_0_4_line_33 | NAYY 4x150 SE | 33 | 34 | 0.0095458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5097-1_0_4_line_34 | NAYY 4x150 SE | 34 | 35 | 0.0017962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5097-1_0_4_line_35 | NAYY 4x150 SE | 35 | 36 | 0.0070482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5097-1_0_4_line_36 | NAYY 4x150 SE | 36 | 37 | 0.0055133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5097-1_0_4_line_37 | NAYY 4x150 SE | 37 | 38 | 0.016324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5097-1_0_4_line_38 | NAYY 4x150 SE | 38 | 39 | 0.00998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5097-1_0_4_line_39 | NAYY 4x150 SE | 39 | 40 | 0.012348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5097-1_0_4_line_40 | NAYY 4x150 SE | 40 | 41 | 0.015295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5097-1_0_4_line_41 | NAYY 4x150 SE | 41 | 42 | 0.1154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5097-1_0_4_line_42 | NAYY 4x150 SE | 42 | 43 | 0.015677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5097-1_0_4_trafo_13 | 0.25 MVA 20/0.4 kV | 44 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2697992.6087 | 1108278.4947 | 2697986.8554 | 1108278.5573 | 2697982.0021 | 1108276.9891 | 2697976.3799 | 1108274.8097
1 | 2698001.2953 | 1108283.0267 | 2697997.9256 | 1108280.0815 | 2697992.6087 | 1108278.4947
2 | 2698001.2953 | 1108283.0267 | 2698005.9067 | 1108289.5163 | 2698007.7951 | 1108294.6611 | 2698004.5281 | 1108298.2773 | 2697997.4582 | 1108305.6566 | 2697994.665 | 1108308.6578
3 | 2698029.0857 | 1108287.1448 | 2698028.255 | 1108287.8318 | 2698025.9432 | 1108288.317 | 2698022.8395 | 1108287.5664 | 2698019.1352 | 1108286.1834 | 2698015.7324 | 1108286.2396 | 2698013.6911 | 1108286.2511 | 2698009.5345 | 1108285.1055 | 2698007.4334 | 1108284.9937 | 2698005.0099 | 1108284.2541 | 2698001.2953 | 1108283.0267
4 | 2697974.401 | 1108320.1385 | 2697982.3431 | 1108313.7842 | 2697984.6324 | 1108313.2542 | 2697989.0343 | 1108310.2234 | 2697994.665 | 1108308.6578
5 | 2698029.0857 | 1108287.1448 | 2698023.7898 | 1108283.1722
6 | 2698029.0857 | 1108287.1448 | 2698036.2094 | 1108292.4884
7 | 2698001.3639 | 1108349.5915 | 2697988.5274 | 1108335.3754 | 2697974.3066 | 1108320.2141 | 2697974.401 | 1108320.1385
8 | 2698023.7211 | 1108187.1068 | 2698026.898 | 1108193.3731 | 2698033.9032 | 1108203.8817 | 2698039.7778 | 1108213.0602 | 2698041.1918 | 1108216.4629 | 2698042.0244 | 1108220.4344 | 2698042.1226 | 1108223.927 | 2698041.563 | 1108227.9316 | 2698040.1532 | 1108231.9224 | 2698037.6931 | 1108235.3626 | 2698031.8668 | 1108241.8503 | 2698023.6804 | 1108248.4555 | 2698016.9588 | 1108255.8071 | 2698014.7162 | 1108259.1841 | 2698013.4915 | 1108262.7221 | 2698013.1854 | 1108266.8308 | 2698013.6149 | 1108269.9175 | 2698014.4752 | 1108272.6553 | 2698016.2887 | 1108275.7421 | 2698018.7388 | 1108278.6612 | 2698021.9662 | 1108281.8042 | 2698023.7898 | 1108283.1722
9 | 2698036.2094 | 1108292.4884 | 2698059.3958 | 1108309.881
10 | 2697995.9057 | 1108360.0988 | 2697998.2368 | 1108360.3366 | 2698002.2194 | 1108357.4102 | 2697998.257 | 1108352.3876 | 2698001.3639 | 1108349.5915 | 2698001.3639 | 1108349.5915
11 | 2698023.7211 | 1108187.1068 | 2698027.3057 | 1108189.6774 | 2698030.0318 | 1108192.2675 | 2698036.3231 | 1108199.1067 | 2698041.0623 | 1108205.3428 | 2698045.4299 | 1108212.0842 | 2698048.9349 | 1108219.5788 | 2698051.6763 | 1108226.0049 | 2698054.8789 | 1108234.9845 | 2698056.0624 | 1108240.685
12 | 2698068.365 | 1108316.609 | 2698059.3958 | 1108309.881
13 | 2698147.524 | 1108231.9907 | 2698139.0586 | 1108239.9151 | 2698126.5298 | 1108245.8718 | 2698114.0499 | 1108246.8928 | 2698103.7533 | 1108249.1611 | 2698098.326 | 1108252.4866 | 2698092.1292 | 1108257.9787 | 2698096.8566 | 1108267.8057 | 2698101.0127 | 1108273.8148
14 | 2698147.524 | 1108231.9907 | 2698155.4271 | 1108224.5925 | 2698173.5809 | 1108221.74 | 2698178.8019 | 1108217.8124
15 | 2698110.6292 | 1108287.7186 | 2698101.0127 | 1108273.8148
16 | 2698202.802 | 1108195.7632 | 2698189.8121 | 1108208.6944 | 2698178.8328 | 1108217.7891 | 2698178.8019 | 1108217.8124
17 | 2698110.6292 | 1108287.7186 | 2698085.4395 | 1108304.425
18 | 2698171.2637 | 1108161.4203 | 2698187.5137 | 1108182.0851 | 2698202.802 | 1108195.7632
19 | 2698068.365 | 1108316.609 | 2698073.1023 | 1108309.57 | 2698075.5926 | 1108310.9556 | 2698085.4395 | 1108304.425
20 | 2698171.2637 | 1108161.4203 | 2698168.014 | 1108167.2937 | 2698168.3702 | 1108174.4261 | 2698169.8154 | 1108179.2414 | 2698184.3664 | 1108191.9385
21 | 2698068.365 | 1108316.609 | 2698091.5995 | 1108334.2349
22 | 2697987.1279 | 1108367.4395 | 2697988.969 | 1108363.0665 | 2697994.1294 | 1108362.8497 | 2697995.5635 | 1108361.661 | 2697995.9057 | 1108360.0988
23 | 2697987.1279 | 1108367.4395 | 2697988.8819 | 1108370.8477 | 2697993.6275 | 1108379.3431
24 | 2697987.1279 | 1108367.4395 | 2697984.7177 | 1108367.3116 | 2697981.256 | 1108369.1012
25 | 2697993.9075 | 1108379.8445 | 2697993.6275 | 1108379.3431
26 | 2697981.256 | 1108369.1012 | 2697981.256 | 1108369.1012 | 2697974.8986 | 1108362.0607
27 | 2697995.0104 | 1108381.8189 | 2697993.9075 | 1108379.8445
28 | 2697969.2916 | 1108360.247 | 2697974.0022 | 1108361.068 | 2697974.8986 | 1108362.0607
29 | 2697907.6531 | 1108291.441 | 2697907.6537 | 1108291.4425 | 2697906.6217 | 1108299.3308 | 2697904.3024 | 1108302.6732 | 2697911.155 | 1108299.1705 | 2697922.8865 | 1108301.3945 | 2697928.9843 | 1108313.0335 | 2697932.6943 | 1108317.4184 | 2697941.1158 | 1108333.5755 | 2697942.6582 | 1108335.257 | 2697949.5108 | 1108341.3269
30 | 2697949.5108 | 1108341.3269 | 2697949.5108 | 1108341.3269 | 2697957.6723 | 1108346.7732 | 2697962.3678 | 1108350.4513 | 2697966.8761 | 1108357.573 | 2697969.2916 | 1108360.247
31 | 2698072.2503 | 1108449.6126 | 2698075.5359 | 1108449.2744 | 2698081.289 | 1108450.168 | 2698087.0566 | 1108452.5627
32 | 2698032.6313 | 1108443.557 | 2698036.213 | 1108446.9486 | 2698042.3288 | 1108450.2828 | 2698051.242 | 1108449.393 | 2698058.7989 | 1108451.0939 | 2698062.2971 | 1108451.8287 | 2698068.4421 | 1108450.0047 | 2698072.2503 | 1108449.6126
33 | 2697995.0104 | 1108381.8189 | 2697997.7185 | 1108386.6669 | 2698001.1047 | 1108388.7825
34 | 2698002.6281 | 1108389.7342 | 2698001.1047 | 1108388.7825
35 | 2698002.6281 | 1108389.7342 | 2698005.1354 | 1108391.3007 | 2698007.9514 | 1108394.2694
36 | 2698007.9514 | 1108394.2694 | 2698010.4263 | 1108396.8786 | 2698011.7167 | 1108398.2962
37 | 2698011.7167 | 1108398.2962 | 2698018.6534 | 1108405.9171 | 2698021.6067 | 1108411.1612
38 | 2698021.6067 | 1108411.1612 | 2698022.7795 | 1108413.2439 | 2698026.1877 | 1108420.0254
39 | 2698026.5861 | 1108432.3345 | 2698026.8453 | 1108430.5203 | 2698026.1877 | 1108420.0254 | 2698026.1877 | 1108420.0254
40 | 2698026.5861 | 1108432.3345 | 2698025.59 | 1108439.3055 | 2698031.865 | 1108442.8313 | 2698032.6313 | 1108443.557
41 | 2698032.6313 | 1108443.557 | 2697935.941 | 1108506.5443
42 | 2697940.9817 | 1108521.3905 | 2697935.941 | 1108506.5443

## bus_geodata
| x | y | coords
0 | 2697992.6087 | 1108278.4947
1 | 2697976.3799 | 1108274.8097
2 | 2698001.2953 | 1108283.0267
3 | 2697994.665 | 1108308.6578
4 | 2698029.0857 | 1108287.1448
5 | 2697974.401 | 1108320.1385
6 | 2698023.7898 | 1108283.1722
7 | 2698036.2094 | 1108292.4884
8 | 2698001.3639 | 1108349.5915
9 | 2698023.7211 | 1108187.1068
10 | 2698059.3958 | 1108309.881
11 | 2698147.524 | 1108231.9907
12 | 2698101.0127 | 1108273.8148
13 | 2698178.8019 | 1108217.8124
14 | 2698110.6292 | 1108287.7186
15 | 2698202.802 | 1108195.7632
16 | 2698085.4395 | 1108304.425
17 | 2698171.2637 | 1108161.4203
18 | 2698068.365 | 1108316.609
19 | 2698184.3664 | 1108191.9385
20 | 2698091.5995 | 1108334.2349
21 | 2697995.9057 | 1108360.0988
22 | 2697987.1279 | 1108367.4395
23 | 2697993.6275 | 1108379.3431
24 | 2697981.256 | 1108369.1012
25 | 2698056.0624 | 1108240.685
26 | 2697993.9075 | 1108379.8445
27 | 2697974.8986 | 1108362.0607
28 | 2697907.6531 | 1108291.441
29 | 2697949.5108 | 1108341.3269
30 | 2697969.2916 | 1108360.247
31 | 2698087.0566 | 1108452.5627
32 | 2698072.2503 | 1108449.6126
33 | 2697995.0104 | 1108381.8189
34 | 2698001.1047 | 1108388.7825
35 | 2698002.6281 | 1108389.7342
36 | 2698007.9514 | 1108394.2694
37 | 2698011.7167 | 1108398.2962
38 | 2698021.6067 | 1108411.1612
39 | 2698026.1877 | 1108420.0254
40 | 2698026.5861 | 1108432.3345
41 | 2698032.6313 | 1108443.557
42 | 2697935.941 | 1108506.5443
43 | 2697940.9817 | 1108521.3905
44 | 2698029.0857 | 1108287.1448

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1