## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5136-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5136-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5136-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5136-5_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5136-5_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5136-5_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5136-5_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5136-5_0_2_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_5136-5_0_2_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_5136-5_0_2_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_5136-5_0_2_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_5136-5_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5136-5_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5136-5_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5136-5_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5136-5_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5136-5_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5136-5_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5136-5_0_2_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_5136-5_0_2_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_5136-5_0_2_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_5136-5_0_2_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_5136-5_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5136-5_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5136-5_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5136-5_0_2_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_5136-5_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5136-5_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_5136-5_0_2_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_5136-5_0_2_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_5136-5_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5136-5_0_2_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_5136-5_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_5136-5_0_2_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_5136-5_0_2_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_5136-5_0_2_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_5136-5_0_2_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5136-5_0_2_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5136-5_0_2_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5136-5_0_2_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_5136-5_0_2_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_5136-5_0_2_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_5136-5_0_2_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_5136-5_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_5136-5_0_2_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5136-5_0_2_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_5136-5_0_2_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_5136-5_0_2_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5136-5_0_2_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5136-5_0_2_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5136-5_0_2_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_5136-5_0_2_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_5136-5_0_2_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_5136-5_0_2_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_5136-5_0_2_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_5136-5_0_2_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_5136-5_0_2_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_5136-5_0_2_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_5136-5_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_5136-5_0_2_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_5136-5_0_2_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5136-5_0_2_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_5136-5_0_2_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_5136-5_0_2_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_5136-5_0_2_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_5136-5_0_2_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5136-5_0_2_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5136-5_0_2_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_5136-5_0_2_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5136-5_0_2_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_5136-5_0_2_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_5136-5_0_2_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_5136-5_0_2_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_5136-5_0_2_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_5136-5_0_2_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_5136-5_0_2_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_5136-5_0_2_node_74 | 0.4 | n |  | TRUE
77 | bus_MV_65_1_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5136-5_0_2_load_0 | 0 | 0.0040752 | 0.0010213 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5136-5_0_2_load_1 | 1 | 0.0020592 | 0.00051609 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5136-5_0_2_load_2 | 2 | 0.0029335 | 0.00073519 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5136-5_0_2_load_3 | 3 | 0.0040205 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5136-5_0_2_load_4 | 4 | 0.0025088 | 0.00062877 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5136-5_0_2_load_5 | 5 | 0.0012996 | 0.00032572 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5136-5_0_2_load_6 | 6 | 0.002749 | 0.00068896 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5136-5_0_2_load_69 | 7 | 0.0037454 | 0.00093869 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5136-5_0_2_load_44 | 8 | 0.0015752 | 0.00039478 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5136-5_0_2_load_68 | 9 | 0.0021102 | 0.00052886 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5136-5_0_2_load_42 | 10 | 0.0028898 | 0.00072425 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5136-5_0_2_load_7 | 11 | 0.0010036 | 0.00025152 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5136-5_0_2_load_8 | 12 | 0.0016155 | 0.00040487 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5136-5_0_2_load_9 | 13 | 0.0012753 | 0.00031962 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5136-5_0_2_load_10 | 14 | 0.0018072 | 0.00045293 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5136-5_0_2_load_11 | 15 | 0.0012358 | 0.00030971 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5136-5_0_2_load_12 | 16 | 0.00082752 | 0.0002074 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5136-5_0_2_load_13 | 17 | 0.0014317 | 0.00035883 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5136-5_0_2_load_50 | 18 | 0.0015068 | 0.00037764 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5136-5_0_2_load_20 | 19 | 0.0014002 | 0.00035092 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5136-5_0_2_load_58 | 20 | 0.00091411 | 0.0002291 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5136-5_0_2_load_21 | 21 | 0.0040236 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5136-5_0_2_load_14 | 22 | 0.00291 | 0.00072932 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5136-5_0_2_load_18 | 24 | 0.00055366 | 0.00013876 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5136-5_0_2_load_16 | 26 | 0.0011666 | 0.00029238 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5136-5_0_2_load_19 | 27 | 0.0020223 | 0.00050684 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5136-5_0_2_load_49 | 28 | 0.00157 | 0.00039349 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5136-5_0_2_load_76 | 29 | 0.0010751 | 0.00026945 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5136-5_0_2_load_17 | 30 | 0.0015554 | 0.00038982 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5136-5_0_2_load_31 | 31 | 0.0010154 | 0.00025449 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5136-5_0_2_load_30 | 32 | 0.00083483 | 0.00020923 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5136-5_0_2_load_46 | 33 | 0.0020703 | 0.00051887 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5136-5_0_2_load_47 | 34 | 0.0013115 | 0.0003287 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5136-5_0_2_load_22 | 35 | 0.0020656 | 0.0005177 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5136-5_0_2_load_23 | 36 | 0.00080007 | 0.00020052 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5136-5_0_2_load_24 | 37 | 0.00059439 | 0.00014897 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5136-5_0_2_load_25 | 38 | 0.00087901 | 0.0002203 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5136-5_0_2_load_26 | 39 | 0.00064399 | 0.0001614 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5136-5_0_2_load_27 | 40 | 0.00099895 | 0.00025036 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5136-5_0_2_load_28 | 41 | 0.0010846 | 0.00027183 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5136-5_0_2_load_29 | 42 | 0.0010307 | 0.00025831 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5136-5_0_2_load_33 | 43 | 0.0015555 | 0.00038984 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5136-5_0_2_load_32 | 44 | 0.00066814 | 0.00016745 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5136-5_0_2_load_35 | 46 | 0.00071456 | 0.00017909 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5136-5_0_2_load_36 | 47 | 0.0012826 | 0.00032145 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5136-5_0_2_load_37 | 48 | 0.0080008 | 0.0020052 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5136-5_0_2_load_38 | 49 | 0.0010843 | 0.00027176 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5136-5_0_2_load_65 | 50 | 0.0013614 | 0.00034119 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5136-5_0_2_load_61 | 51 | 0.0023459 | 0.00058795 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5136-5_0_2_load_66 | 52 | 0.00099677 | 0.00024981 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5136-5_0_2_load_62 | 53 | 0.00064481 | 0.0001616 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5136-5_0_2_load_39 | 54 | 0.0012594 | 0.00031564 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5136-5_0_2_load_40 | 55 | 0.0030444 | 0.00076299 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5136-5_0_2_load_41 | 56 | 0.0021569 | 0.00054057 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5136-5_0_2_load_43 | 57 | 0.0031044 | 0.00077803 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5136-5_0_2_load_45 | 58 | 0.0019442 | 0.00048727 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5136-5_0_2_load_57 | 59 | 0.0013359 | 0.0003348 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5136-5_0_2_load_51 | 60 | 0.0017943 | 0.0004497 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5136-5_0_2_load_52 | 61 | 0.0016298 | 0.00040847 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5136-5_0_2_load_53 | 62 | 0.00125 | 0.00031327 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5136-5_0_2_load_54 | 63 | 0.0047723 | 0.001196 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5136-5_0_2_load_55 | 64 | 0.0007581 | 0.00019 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5136-5_0_2_load_56 | 65 | 0.0030417 | 0.00076233 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5136-5_0_2_load_59 | 66 | 0.0010873 | 0.0002725 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5136-5_0_2_load_60 | 67 | 0.00053442 | 0.00013394 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5136-5_0_2_load_63 | 68 | 0.00092915 | 0.00023287 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5136-5_0_2_load_64 | 69 | 0.0014115 | 0.00035376 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5136-5_0_2_load_70 | 70 | 0.00466 | 0.0011679 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5136-5_0_2_load_71 | 71 | 0.0011721 | 0.00029375 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5136-5_0_2_load_67 | 72 | 0.003199 | 0.00080174 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5136-5_0_2_load_72 | 73 | 0.00085654 | 0.00021467 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5136-5_0_2_load_73 | 74 | 0.00074595 | 0.00018695 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5136-5_0_2_load_75 | 75 | 0.0010121 | 0.00025366 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5136-5_0_2_load_74 | 76 | 0.0012152 | 0.00030455 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5136-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00042663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5136-5_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.00054343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5136-5_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0047129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5136-5_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5136-5_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0031052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5136-5_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.00060383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5136-5_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0085309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5136-5_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.018429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5136-5_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0099225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5136-5_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0030323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5136-5_0_2_line_10 | NAYY 4x150 SE | 9 | 72 | 0.014203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5136-5_0_2_line_11 | NAYY 4x150 SE | 10 | 55 | 0.014793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5136-5_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0075474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5136-5_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.046515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5136-5_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.057456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5136-5_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.094317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5136-5_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.012862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5136-5_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.058643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5136-5_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.011406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5136-5_0_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0039813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5136-5_0_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.030317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5136-5_0_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.091133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5136-5_0_2_line_22 | NAYY 4x150 SE | 20 | 59 | 0.006537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5136-5_0_2_line_23 | NAYY 4x150 SE | 21 | 33 | 0.039134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5136-5_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.019488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5136-5_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.38067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5136-5_0_2_line_26 | NAYY 4x150 SE | 22 | 25 | 0.43878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5136-5_0_2_line_27 | NAYY 4x150 SE | 23 | 26 | 0.072874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5136-5_0_2_line_28 | NAYY 4x150 SE | 24 | 27 | 0.0070308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5136-5_0_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.035247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5136-5_0_2_line_30 | NAYY 4x150 SE | 26 | 30 | 0.03168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5136-5_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0061073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5136-5_0_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.0035363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5136-5_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.057142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5136-5_0_2_line_34 | NAYY 4x150 SE | 32 | 39 | 0.01119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5136-5_0_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.02902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5136-5_0_2_line_36 | NAYY 4x150 SE | 34 | 58 | 0.012432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5136-5_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0057989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5136-5_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0014416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5136-5_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.00040618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5136-5_0_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.0046695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5136-5_0_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.011167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5136-5_0_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0030128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5136-5_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0046531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5136-5_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.00819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5136-5_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.13656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5136-5_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.098144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5136-5_0_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.060673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5136-5_0_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.1537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5136-5_0_2_line_49 | NAYY 4x150 SE | 46 | 48 | 0.033881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5136-5_0_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.068049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5136-5_0_2_line_51 | NAYY 4x150 SE | 48 | 50 | 0.003044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5136-5_0_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.0020504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5136-5_0_2_line_53 | NAYY 4x150 SE | 50 | 52 | 0.034982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5136-5_0_2_line_54 | NAYY 4x150 SE | 51 | 53 | 0.014629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5136-5_0_2_line_55 | NAYY 4x150 SE | 52 | 72 | 0.0053676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5136-5_0_2_line_56 | NAYY 4x150 SE | 53 | 68 | 0.0050741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5136-5_0_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.0069357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5136-5_0_2_line_58 | NAYY 4x150 SE | 54 | 56 | 0.029003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5136-5_0_2_line_59 | NAYY 4x150 SE | 56 | 57 | 0.014059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5136-5_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.0027513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5136-5_0_2_line_61 | NAYY 4x150 SE | 59 | 65 | 0.00080579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5136-5_0_2_line_62 | NAYY 4x150 SE | 60 | 61 | 0.01133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5136-5_0_2_line_63 | NAYY 4x150 SE | 60 | 62 | 0.0093715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5136-5_0_2_line_64 | NAYY 4x150 SE | 61 | 63 | 0.0099097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5136-5_0_2_line_65 | NAYY 4x150 SE | 62 | 64 | 0.15303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5136-5_0_2_line_66 | NAYY 4x150 SE | 63 | 65 | 0.027932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5136-5_0_2_line_67 | NAYY 4x150 SE | 64 | 66 | 0.28148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5136-5_0_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.064436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5136-5_0_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0023589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5136-5_0_2_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0015453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5136-5_0_2_line_71 | NAYY 4x150 SE | 70 | 71 | 0.013204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5136-5_0_2_line_72 | NAYY 4x150 SE | 71 | 73 | 0.037689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5136-5_0_2_line_73 | NAYY 4x150 SE | 73 | 74 | 0.00012117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5136-5_0_2_line_74 | NAYY 4x150 SE | 74 | 75 | 0.015092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5136-5_0_2_line_75 | NAYY 4x150 SE | 75 | 76 | 0.0071915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5136-5_0_2_trafo_6 | 0.25 MVA 20/0.4 kV | 77 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2692678.757 | 1117060.4152 | 2692679.1836 | 1117060.4086
1 | 2692679.1836 | 1117060.4086 | 2692679.727 | 1117060.4001
2 | 2692678.757 | 1117060.4152 | 2692675.4547 | 1117060.4663 | 2692674.0466 | 1117060.5421
3 | 2692698.5725 | 1117060.1526 | 2692697.4779 | 1117060.1252 | 2692679.727 | 1117060.4001
4 | 2692670.9459 | 1117060.7091 | 2692674.0466 | 1117060.5421
5 | 2692698.5725 | 1117060.1526 | 2692699.1762 | 1117060.1678
6 | 2692662.4274 | 1117061.1677 | 2692670.9459 | 1117060.7091
7 | 2692699.1762 | 1117060.1678 | 2692717.5992 | 1117060.6294
8 | 2692652.5182 | 1117061.6537 | 2692653.2641 | 1117061.661 | 2692662.4274 | 1117061.1677
9 | 2692720.6306 | 1117060.7054 | 2692717.5992 | 1117060.6294
10 | 2692638.3157 | 1117061.5146 | 2692652.5182 | 1117061.6537
11 | 2692735.4178 | 1117061.1102 | 2692729.4117 | 1117060.9254 | 2692720.6306 | 1117060.7054
12 | 2693156.2409 | 1117131.5101 | 2693163.4069 | 1117133.8789
13 | 2693156.2409 | 1117131.5101 | 2693137.1379 | 1117125.1955 | 2693111.7312 | 1117118.04
14 | 2693163.4069 | 1117133.8789 | 2693217.9598 | 1117151.912
15 | 2693111.7312 | 1117118.04 | 2693094.4222 | 1117113.1651 | 2693064.2972 | 1117105.6978 | 2693020.0333 | 1117096.0751
16 | 2693217.9598 | 1117151.912 | 2693222.1516 | 1117153.2976 | 2693230.2113 | 1117155.8253
17 | 2692962.3392 | 1117085.6677 | 2693001.2874 | 1117091.9998 | 2693020.0333 | 1117096.0751
18 | 2693241.0943 | 1117159.2383 | 2693230.2113 | 1117155.8253
19 | 2692962.3392 | 1117085.6677 | 2692958.4096 | 1117085.0288
20 | 2693270.0009 | 1117168.3781 | 2693260.8124 | 1117165.4221 | 2693241.0943 | 1117159.2383
21 | 2692958.4096 | 1117085.0288 | 2692918.4483 | 1117078.5319 | 2692868.1903 | 1117072.2643
22 | 2693276.2238 | 1117170.38 | 2693270.0009 | 1117168.3781
23 | 2692868.1903 | 1117072.2643 | 2692829.3567 | 1117067.4214
24 | 2692207.4916 | 1117240.7696 | 2692206.0973 | 1117243.6168 | 2692204.6006 | 1117246.0844 | 2692202.0788 | 1117248.4474 | 2692193.5382 | 1117253.6023
25 | 2692193.5382 | 1117253.6023 | 2692069.5047 | 1117613.4966
26 | 2692193.5382 | 1117253.6023 | 2691830.2901 | 1117007.4782
27 | 2692207.4916 | 1117240.7696 | 2692212.8778 | 1117237.3717 | 2692218.7115 | 1117232.9801 | 2692222.7241 | 1117229.0388 | 2692226.7528 | 1117224.5529 | 2692251.5573 | 1117197.1695 | 2692255.8805 | 1117193.6221 | 2692259.859 | 1117191.4146 | 2692260.2929 | 1117191.2625
28 | 2692069.5047 | 1117613.4966 | 2692069.0992 | 1117618.3378 | 2692068.1968 | 1117620.3142 | 2692068.1968 | 1117620.3142
29 | 2691830.2901 | 1117007.4782 | 2691821.373 | 1116991.7113 | 2691812.532 | 1116977.0351
30 | 2692290.6607 | 1117194.3545 | 2692286.1914 | 1117191.9604 | 2692280.9617 | 1117190.1463 | 2692276.7911 | 1117189.2489 | 2692272.0331 | 1117188.9096 | 2692268.231 | 1117189.163 | 2692263.4138 | 1117190.168 | 2692260.2929 | 1117191.2625
31 | 2691806.4495 | 1116976.4852 | 2691812.532 | 1116977.0351 | 2691812.532 | 1116977.0351
32 | 2692293.675 | 1117196.1946 | 2692292.0876 | 1117195.1188 | 2692290.6607 | 1117194.3545
33 | 2692293.675 | 1117196.1946 | 2692298.4985 | 1117199.4635 | 2692337.2874 | 1117233.0596
34 | 2692337.2874 | 1117233.0596 | 2692345.7461 | 1117240.3859 | 2692345.7461 | 1117240.3859
35 | 2692800.5037 | 1117064.346 | 2692816.7982 | 1117065.8552 | 2692829.3567 | 1117067.4214
36 | 2692788.1208 | 1117063.2535 | 2692789.4689 | 1117063.324 | 2692800.5037 | 1117064.346
37 | 2692350.56 | 1117244.1505 | 2692355.6435 | 1117246.9408 | 2692355.6435 | 1117246.9408
38 | 2692349.4244 | 1117243.2625 | 2692350.56 | 1117244.1505 | 2692350.56 | 1117244.1505
39 | 2692356.0257 | 1117247.0782 | 2692355.6435 | 1117246.9408
40 | 2692349.4244 | 1117243.2625 | 2692345.7461 | 1117240.3859
41 | 2692366.742 | 1117250.1563 | 2692360.3883 | 1117248.6475 | 2692356.0257 | 1117247.0782
42 | 2692369.745 | 1117250.3988 | 2692366.742 | 1117250.1563 | 2692366.742 | 1117250.1563
43 | 2692369.745 | 1117250.3988 | 2692374.383 | 1117250.7732
44 | 2692382.5725 | 1117250.8648 | 2692382.5725 | 1117250.8648 | 2692374.383 | 1117250.7732
45 | 2692422.0292 | 1117138.5923 | 2692417.6478 | 1117142.8787 | 2692411.7048 | 1117150.3704 | 2692407.3546 | 1117156.1853 | 2692403.9118 | 1117162.2365 | 2692400.1854 | 1117171.1851 | 2692397.7599 | 1117179.8756 | 2692396.4301 | 1117186.5816 | 2692395.8725 | 1117192.2654 | 2692396.106 | 1117198.7173 | 2692398.9737 | 1117212.147 | 2692403.2492 | 1117234.4924 | 2692403.6346 | 1117239.5902 | 2692403.2088 | 1117242.7078 | 2692402.3141 | 1117245.1846 | 2692400.5043 | 1117247.425 | 2692398.4432 | 1117248.9389 | 2692395.471 | 1117249.9498 | 2692391.4834 | 1117250.7228 | 2692382.5725 | 1117250.8648
46 | 2692513.2122 | 1117108.1604 | 2692472.5214 | 1117113.5982 | 2692463.1013 | 1117115.7224 | 2692455.6575 | 1117118.3548 | 2692449.5477 | 1117120.5852 | 2692441.3082 | 1117124.7731 | 2692430.5686 | 1117131.4133 | 2692423.9253 | 1117136.7374 | 2692422.0292 | 1117138.5923
47 | 2692513.2122 | 1117108.1604 | 2692530.1132 | 1117105.528 | 2692535.7611 | 1117103.7132 | 2692540.773 | 1117101.0881 | 2692545.4825 | 1117097.5357 | 2692558.504 | 1117084.56 | 2692564.0123 | 1117079.1853
48 | 2692513.2122 | 1117108.1604 | 2692512.7317 | 1117101.7159 | 2692518.8318 | 1117101.1309 | 2692523.2004 | 1117099.1742 | 2692514.2657 | 1117096.3027 | 2692506.5609 | 1117094.7952 | 2692488.2843 | 1117097.0176 | 2692477.0254 | 1117094.1774 | 2692471.4321 | 1117089.378 | 2692462.2405 | 1117089.6823 | 2692459.1531 | 1117083.0646 | 2692457.9663 | 1117080.4004 | 2692461.4085 | 1117075.4055 | 2692463.6907 | 1117072.5719 | 2692466.0167 | 1117066.8595 | 2692456.0126 | 1117052.6204 | 2692460.9627 | 1117043.4237 | 2692465.1393 | 1117030.2795 | 2692460.9273 | 1117028.0472
49 | 2692564.0123 | 1117079.1853 | 2692565.1341 | 1117078.0907 | 2692568.0826 | 1117076.1123 | 2692571.9765 | 1117074.4041 | 2692580.073 | 1117072.0041 | 2692595.61 | 1117067.9153
50 | 2692409.3567 | 1117015.2548 | 2692410.6005 | 1117021.3866 | 2692408.0682 | 1117024.9279 | 2692410.3282 | 1117026.0741 | 2692413.3506 | 1117024.3081 | 2692446.6745 | 1117035.7122 | 2692460.9273 | 1117028.0472 | 2692460.9273 | 1117028.0472
51 | 2692598.5537 | 1117067.1406 | 2692595.61 | 1117067.9153
52 | 2692408.9491 | 1117013.2453 | 2692409.3567 | 1117015.2548
53 | 2692598.5537 | 1117067.1406 | 2692611.5746 | 1117063.7138 | 2692622.4459 | 1117062.1124 | 2692631.0333 | 1117061.4432 | 2692632.9484 | 1117061.462
54 | 2692408.9491 | 1117013.2453 | 2692408.9491 | 1117013.2453 | 2692405.7512 | 1117004.2467 | 2692402.2933 | 1117000.5264
55 | 2692638.3157 | 1117061.5146 | 2692632.9484 | 1117061.462
56 | 2692398.8389 | 1116996.8098 | 2692402.2933 | 1117000.5264
57 | 2692742.3502 | 1117061.3236 | 2692735.4178 | 1117061.1102
58 | 2692742.3502 | 1117061.3236 | 2692763.9356 | 1117061.9878 | 2692771.3333 | 1117062.3749
59 | 2692785.3733 | 1117063.1097 | 2692771.3333 | 1117062.3749
60 | 2692785.3733 | 1117063.1097 | 2692788.1208 | 1117063.2535
61 | 2693276.2238 | 1117170.38 | 2693276.9909 | 1117170.6267
62 | 2693324.5497 | 1117182.9252 | 2693324.5497 | 1117182.9252 | 2693321.4864 | 1117181.8218 | 2693313.5865 | 1117180.153
63 | 2693324.5497 | 1117182.9252 | 2693327.5611 | 1117184.3947 | 2693332.7311 | 1117187.48
64 | 2693313.5865 | 1117180.153 | 2693303.8908 | 1117178.1049
65 | 2693332.7311 | 1117187.48 | 2693338.8061 | 1117191.1053 | 2693342.5275 | 1117194.0867 | 2693344.9281 | 1117196.6141 | 2693346.7406 | 1117199.2325 | 2693348.134 | 1117201.989 | 2693351.6322 | 1117209.9366 | 2693358.1341 | 1117231.3609 | 2693362.7569 | 1117245.474 | 2693364.891 | 1117250.2654 | 2693367.4119 | 1117253.9954 | 2693370.6315 | 1117257.9807 | 2693374.1827 | 1117261.482 | 2693376.965 | 1117263.7819 | 2693379.9718 | 1117265.5404 | 2693389.2641 | 1117269.7084 | 2693397.4805 | 1117272.0587 | 2693404.5232 | 1117273.4236 | 2693411.1242 | 1117273.8923 | 2693419.8335 | 1117273.8154 | 2693429.8031 | 1117274.1138 | 2693437.108 | 1117274.8768
66 | 2693276.9909 | 1117170.6267 | 2693280.0865 | 1117171.6226 | 2693299.4018 | 1117177.1567 | 2693303.8908 | 1117178.1049
67 | 2693437.108 | 1117274.8768 | 2693716.1983 | 1117311.4815
68 | 2693716.1983 | 1117311.4815 | 2693719.7694 | 1117313.6826 | 2693722.2696 | 1117316.245 | 2693724.7635 | 1117319.7079 | 2693728.0437 | 1117326.7407 | 2693732.5616 | 1117336.1052 | 2693734.4752 | 1117339.1589 | 2693737.1813 | 1117341.8802 | 2693740.4281 | 1117344.0873 | 2693745.5039 | 1117346.3339 | 2693749.8813 | 1117347.3133 | 2693755.2589 | 1117347.5189 | 2693760.2571 | 1117346.7958 | 2693762.5838 | 1117346.2037
69 | 2692398.8389 | 1116996.8098 | 2692397.2329 | 1116995.082
70 | 2692396.1808 | 1116993.9501 | 2692397.2329 | 1116995.082
71 | 2692396.1808 | 1116993.9501 | 2692396.1808 | 1116993.9501 | 2692383.7385 | 1116998.3689
72 | 2692368.1096 | 1116978.0888 | 2692362.4846 | 1116983.1409 | 2692376.7906 | 1117000.8364 | 2692383.7385 | 1116998.3689
73 | 2692368.1997 | 1116978.0078 | 2692368.1096 | 1116978.0888
74 | 2692370.1855 | 1116964.7085 | 2692371.8933 | 1116974.6903 | 2692368.1997 | 1116978.0078
75 | 2692368.9727 | 1116957.62 | 2692370.1855 | 1116964.7085

## bus_geodata
| x | y | coords
0 | 2692679.1836 | 1117060.4086
1 | 2692678.757 | 1117060.4152
2 | 2692679.727 | 1117060.4001
3 | 2692674.0466 | 1117060.5421
4 | 2692698.5725 | 1117060.1526
5 | 2692670.9459 | 1117060.7091
6 | 2692699.1762 | 1117060.1678
7 | 2692662.4274 | 1117061.1677
8 | 2692717.5992 | 1117060.6294
9 | 2692652.5182 | 1117061.6537
10 | 2692720.6306 | 1117060.7054
11 | 2693156.2409 | 1117131.5101
12 | 2693163.4069 | 1117133.8789
13 | 2693111.7312 | 1117118.04
14 | 2693217.9598 | 1117151.912
15 | 2693020.0333 | 1117096.0751
16 | 2693230.2113 | 1117155.8253
17 | 2692962.3392 | 1117085.6677
18 | 2693241.0943 | 1117159.2383
19 | 2692958.4096 | 1117085.0288
20 | 2693270.0009 | 1117168.3781
21 | 2692868.1903 | 1117072.2643
22 | 2692193.5382 | 1117253.6023
23 | 2692207.4916 | 1117240.7696
24 | 2692069.5047 | 1117613.4966
25 | 2691830.2901 | 1117007.4782
26 | 2692260.2929 | 1117191.2625
27 | 2692068.1968 | 1117620.3142
28 | 2691812.532 | 1116977.0351
29 | 2691806.4495 | 1116976.4852
30 | 2692290.6607 | 1117194.3545
31 | 2692293.675 | 1117196.1946
32 | 2692337.2874 | 1117233.0596
33 | 2692829.3567 | 1117067.4214
34 | 2692800.5037 | 1117064.346
35 | 2692350.56 | 1117244.1505
36 | 2692355.6435 | 1117246.9408
37 | 2692349.4244 | 1117243.2625
38 | 2692356.0257 | 1117247.0782
39 | 2692345.7461 | 1117240.3859
40 | 2692366.742 | 1117250.1563
41 | 2692369.745 | 1117250.3988
42 | 2692374.383 | 1117250.7732
43 | 2692382.5725 | 1117250.8648
44 | 2692422.0292 | 1117138.5923
45 | 2692513.2122 | 1117108.1604
46 | 2692564.0123 | 1117079.1853
47 | 2692460.9273 | 1117028.0472
48 | 2692595.61 | 1117067.9153
49 | 2692409.3567 | 1117015.2548
50 | 2692598.5537 | 1117067.1406
51 | 2692408.9491 | 1117013.2453
52 | 2692632.9484 | 1117061.462
53 | 2692402.2933 | 1117000.5264
54 | 2692742.3502 | 1117061.3236
55 | 2692735.4178 | 1117061.1102
56 | 2692771.3333 | 1117062.3749
57 | 2692785.3733 | 1117063.1097
58 | 2692788.1208 | 1117063.2535
59 | 2693276.2238 | 1117170.38
60 | 2693324.5497 | 1117182.9252
61 | 2693313.5865 | 1117180.153
62 | 2693332.7311 | 1117187.48
63 | 2693303.8908 | 1117178.1049
64 | 2693437.108 | 1117274.8768
65 | 2693276.9909 | 1117170.6267
66 | 2693716.1983 | 1117311.4815
67 | 2693762.5838 | 1117346.2037
68 | 2692398.8389 | 1116996.8098
69 | 2692397.2329 | 1116995.082
70 | 2692396.1808 | 1116993.9501
71 | 2692383.7385 | 1116998.3689
72 | 2692638.3157 | 1117061.5146
73 | 2692368.1096 | 1116978.0888
74 | 2692368.1997 | 1116978.0078
75 | 2692370.1855 | 1116964.7085
76 | 2692368.9727 | 1116957.62
77 | 2692513.2122 | 1117108.1604

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1