## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5136-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5136-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5136-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5136-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5136-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5136-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5136-6_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5136-6_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_5136-6_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5136-6_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_5136-6_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5136-6_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5136-6_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5136-6_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_5136-6_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5136-6_0_4_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_5136-6_0_4_node_80 | 0.4 | n |  | TRUE
17 | bus_LV_5136-6_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5136-6_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5136-6_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_5136-6_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_5136-6_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5136-6_0_4_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_5136-6_0_4_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_5136-6_0_4_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_5136-6_0_4_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_5136-6_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_5136-6_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_5136-6_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5136-6_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5136-6_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5136-6_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_5136-6_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5136-6_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5136-6_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_5136-6_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5136-6_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_5136-6_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_5136-6_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_5136-6_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5136-6_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_5136-6_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_5136-6_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_5136-6_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_5136-6_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5136-6_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_5136-6_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5136-6_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5136-6_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_5136-6_0_4_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_5136-6_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_5136-6_0_4_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_5136-6_0_4_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_5136-6_0_4_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_5136-6_0_4_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_5136-6_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_5136-6_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_5136-6_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_5136-6_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_5136-6_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_5136-6_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5136-6_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_5136-6_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_5136-6_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_5136-6_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_5136-6_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_5136-6_0_4_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_5136-6_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_5136-6_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_5136-6_0_4_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_5136-6_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_5136-6_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5136-6_0_4_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_5136-6_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5136-6_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_5136-6_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5136-6_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_5136-6_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5136-6_0_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_5136-6_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_5136-6_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_5136-6_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_MV_65_1_node_173 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5136-6_0_4_load_0 | 0 | 0.0030651 | 0.00076818 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5136-6_0_4_load_2 | 2 | 0.0030233 | 0.00075771 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5136-6_0_4_load_3 | 3 | 0.0031482 | 0.00078901 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5136-6_0_4_load_5 | 5 | 0.0021472 | 0.00053815 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5136-6_0_4_load_6 | 6 | 0.0028919 | 0.00072478 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5136-6_0_4_load_13 | 7 | 0.0022853 | 0.00057275 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5136-6_0_4_load_7 | 8 | 0.0029724 | 0.00074495 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5136-6_0_4_load_14 | 9 | 0.0012496 | 0.00031317 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5136-6_0_4_load_9 | 11 | 0.0015599 | 0.00039096 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5136-6_0_4_load_10 | 12 | 0.00098251 | 0.00024624 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5136-6_0_4_load_15 | 13 | 0.0019036 | 0.00047709 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5136-6_0_4_load_11 | 14 | 0.0019279 | 0.00048318 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5136-6_0_4_load_81 | 15 | 0.0047661 | 0.0011945 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5136-6_0_4_load_80 | 16 | 0.00088054 | 0.00022069 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5136-6_0_4_load_12 | 17 | 0.0028306 | 0.00070942 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5136-6_0_4_load_16 | 18 | 0.0091994 | 0.0023056 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5136-6_0_4_load_17 | 19 | 0.0017698 | 0.00044355 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5136-6_0_4_load_18 | 20 | 0.0042873 | 0.0010745 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5136-6_0_4_load_60 | 22 | 0.0026725 | 0.00066978 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5136-6_0_4_load_58 | 23 | 0.0033942 | 0.00085068 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5136-6_0_4_load_62 | 24 | 0.0038379 | 0.00096186 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5136-6_0_4_load_20 | 26 | 0.0014927 | 0.0003741 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5136-6_0_4_load_21 | 27 | 0.001663 | 0.00041679 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5136-6_0_4_load_22 | 28 | 0.0019002 | 0.00047624 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5136-6_0_4_load_23 | 29 | 0.0019398 | 0.00048615 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5136-6_0_4_load_24 | 30 | 0.0018084 | 0.00045324 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5136-6_0_4_load_25 | 31 | 0.001513 | 0.0003792 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5136-6_0_4_load_26 | 32 | 0.0017189 | 0.00043081 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5136-6_0_4_load_27 | 33 | 0.0020247 | 0.00050744 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5136-6_0_4_load_31 | 34 | 0.00096477 | 0.00024179 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5136-6_0_4_load_28 | 35 | 0.0013605 | 0.00034099 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5136-6_0_4_load_35 | 36 | 0.0014104 | 0.00035347 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5136-6_0_4_load_32 | 37 | 0.0026227 | 0.00065732 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5136-6_0_4_load_29 | 38 | 0.0037923 | 0.00095045 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5136-6_0_4_load_30 | 39 | 0.0024039 | 0.00060248 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5136-6_0_4_load_40 | 40 | 0.0033771 | 0.00084639 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5136-6_0_4_load_41 | 41 | 0.0050806 | 0.0012733 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5136-6_0_4_load_45 | 42 | 0.0022299 | 0.00055887 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5136-6_0_4_load_47 | 43 | 0.0011308 | 0.00028341 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5136-6_0_4_load_37 | 44 | 0.0020684 | 0.00051838 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5136-6_0_4_load_33 | 45 | 0.0018215 | 0.00045651 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5136-6_0_4_load_34 | 46 | 0.0018915 | 0.00047404 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5136-6_0_4_load_36 | 47 | 0.0013154 | 0.00032967 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5136-6_0_4_load_38 | 48 | 0.00081184 | 0.00020347 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5136-6_0_4_load_69 | 49 | 0.0016853 | 0.00042238 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5136-6_0_4_load_39 | 50 | 0.001281 | 0.00032105 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5136-6_0_4_load_68 | 51 | 0.00080473 | 0.00020168 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5136-6_0_4_load_66 | 53 | 0.0017316 | 0.00043398 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5136-6_0_4_load_67 | 54 | 0.0021447 | 0.0005375 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5136-6_0_4_load_42 | 55 | 0.002511 | 0.00062931 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5136-6_0_4_load_43 | 57 | 0.00097988 | 0.00024558 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5136-6_0_4_load_44 | 58 | 0.0013788 | 0.00034556 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5136-6_0_4_load_56 | 59 | 0.002223 | 0.00055712 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5136-6_0_4_load_49 | 61 | 0.0023344 | 0.00058506 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5136-6_0_4_load_54 | 62 | 0.00052927 | 0.00013265 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5136-6_0_4_load_50 | 63 | 0.0013498 | 0.0003383 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5136-6_0_4_load_51 | 64 | 0.00067355 | 0.00016881 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5136-6_0_4_load_52 | 65 | 0.000541 | 0.00013559 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5136-6_0_4_load_53 | 66 | 0.00074883 | 0.00018768 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5136-6_0_4_load_55 | 67 | 0.0008361 | 0.00020955 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5136-6_0_4_load_57 | 68 | 0.0012223 | 0.00030634 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5136-6_0_4_load_63 | 70 | 0.0010646 | 0.00026682 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5136-6_0_4_load_64 | 71 | 0.0011673 | 0.00029256 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5136-6_0_4_load_72 | 72 | 0.0021135 | 0.0005297 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5136-6_0_4_load_71 | 73 | 0.003534 | 0.0008857 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5136-6_0_4_load_70 | 74 | 0.0024079 | 0.00060348 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5136-6_0_4_load_73 | 75 | 0.0014036 | 0.00035178 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5136-6_0_4_load_74 | 76 | 0.0021844 | 0.00054745 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5136-6_0_4_load_75 | 77 | 0.0044102 | 0.0011053 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5136-6_0_4_load_76 | 78 | 0.00086371 | 0.00021647 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5136-6_0_4_load_77 | 79 | 0.00079927 | 0.00020032 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5136-6_0_4_load_78 | 80 | 0.0041034 | 0.0010284 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5136-6_0_4_load_79 | 81 | 0.0013608 | 0.00034105 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5136-6_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5136-6_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.029668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5136-6_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.055352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5136-6_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.10002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5136-6_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.010531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5136-6_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.11669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5136-6_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.056868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5136-6_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0050961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5136-6_0_4_line_8 | NAYY 4x150 SE | 7 | 14 | 0.082554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5136-6_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.065491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5136-6_0_4_line_10 | NAYY 4x150 SE | 9 | 13 | 0.023544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5136-6_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.12387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5136-6_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.10492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5136-6_0_4_line_13 | NAYY 4x150 SE | 11 | 15 | 0.18661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_5136-6_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0066507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5136-6_0_4_line_15 | NAYY 4x150 SE | 14 | 17 | 0.010013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5136-6_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.042425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_5136-6_0_4_line_17 | NAYY 4x150 SE | 16 | 81 | 0.024241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_5136-6_0_4_line_18 | NAYY 4x150 SE | 18 | 19 | 0.05871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5136-6_0_4_line_19 | NAYY 4x150 SE | 18 | 20 | 0.0072266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5136-6_0_4_line_20 | NAYY 4x150 SE | 20 | 21 | 0.01368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5136-6_0_4_line_21 | NAYY 4x150 SE | 21 | 22 | 0.0056696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_5136-6_0_4_line_22 | NAYY 4x150 SE | 21 | 23 | 0.014595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_5136-6_0_4_line_23 | NAYY 4x150 SE | 22 | 24 | 0.017488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_5136-6_0_4_line_24 | NAYY 4x150 SE | 23 | 25 | 0.0043702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_5136-6_0_4_line_25 | NAYY 4x150 SE | 24 | 72 | 0.0057844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_5136-6_0_4_line_26 | NAYY 4x150 SE | 25 | 69 | 0.014258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_5136-6_0_4_line_27 | NAYY 4x150 SE | 26 | 27 | 1.427e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_5136-6_0_4_line_28 | NAYY 4x150 SE | 26 | 28 | 0.014556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_5136-6_0_4_line_29 | NAYY 4x150 SE | 27 | 29 | 0.013421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_5136-6_0_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0046997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_5136-6_0_4_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0027189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_5136-6_0_4_line_32 | NAYY 4x150 SE | 30 | 32 | 0.00623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_5136-6_0_4_line_33 | NAYY 4x150 SE | 31 | 33 | 0.0053226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_5136-6_0_4_line_34 | NAYY 4x150 SE | 32 | 34 | 0.0073944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_5136-6_0_4_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0061741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5136-6_0_4_line_36 | NAYY 4x150 SE | 34 | 36 | 0.0040501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_5136-6_0_4_line_37 | NAYY 4x150 SE | 34 | 37 | 0.017227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5136-6_0_4_line_38 | NAYY 4x150 SE | 35 | 38 | 0.028831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_5136-6_0_4_line_39 | NAYY 4x150 SE | 36 | 44 | 0.0059155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_5136-6_0_4_line_40 | NAYY 4x150 SE | 37 | 45 | 0.0098108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5136-6_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.030883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_5136-6_0_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.014937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5136-6_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.022491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5136-6_0_4_line_44 | NAYY 4x150 SE | 41 | 55 | 0.22512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5136-6_0_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.1874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5136-6_0_4_line_46 | NAYY 4x150 SE | 43 | 56 | 0.029773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5136-6_0_4_line_47 | NAYY 4x150 SE | 44 | 49 | 0.0057755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_5136-6_0_4_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0067616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5136-6_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.00037013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5136-6_0_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.01134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5136-6_0_4_line_51 | NAYY 4x150 SE | 49 | 51 | 0.0047945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_5136-6_0_4_line_52 | NAYY 4x150 SE | 50 | 52 | 0.012212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5136-6_0_4_line_53 | NAYY 4x150 SE | 51 | 71 | 0.0069973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5136-6_0_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.017233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5136-6_0_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.015573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_5136-6_0_4_line_56 | NAYY 4x150 SE | 53 | 74 | 0.0087553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_5136-6_0_4_line_57 | NAYY 4x150 SE | 54 | 73 | 0.0021525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5136-6_0_4_line_58 | NAYY 4x150 SE | 55 | 57 | 0.043514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5136-6_0_4_line_59 | NAYY 4x150 SE | 56 | 60 | 0.018126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5136-6_0_4_line_60 | NAYY 4x150 SE | 57 | 58 | 0.019209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5136-6_0_4_line_61 | NAYY 4x150 SE | 58 | 59 | 0.0008126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5136-6_0_4_line_62 | NAYY 4x150 SE | 59 | 68 | 0.00013426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5136-6_0_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.035532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5136-6_0_4_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0042587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5136-6_0_4_line_65 | NAYY 4x150 SE | 62 | 65 | 0.0063261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5136-6_0_4_line_66 | NAYY 4x150 SE | 63 | 64 | 0.000137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5136-6_0_4_line_67 | NAYY 4x150 SE | 63 | 65 | 0.0072439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5136-6_0_4_line_68 | NAYY 4x150 SE | 64 | 66 | 0.018905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5136-6_0_4_line_69 | NAYY 4x150 SE | 66 | 67 | 0.012431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5136-6_0_4_line_70 | NAYY 4x150 SE | 67 | 68 | 0.020749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5136-6_0_4_line_71 | NAYY 4x150 SE | 69 | 70 | 0.024888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5136-6_0_4_line_72 | NAYY 4x150 SE | 69 | 71 | 0.004591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_5136-6_0_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0055598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_5136-6_0_4_line_74 | NAYY 4x150 SE | 74 | 75 | 0.00011408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_5136-6_0_4_line_75 | NAYY 4x150 SE | 75 | 76 | 0.00011706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_5136-6_0_4_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0065265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_5136-6_0_4_line_77 | NAYY 4x150 SE | 77 | 78 | 0.019352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_5136-6_0_4_line_78 | NAYY 4x150 SE | 78 | 79 | 0.045549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_5136-6_0_4_line_79 | NAYY 4x150 SE | 79 | 80 | 0.015712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_5136-6_0_4_line_80 | NAYY 4x150 SE | 80 | 81 | 0.0008945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5136-6_0_4_trafo_78 | 0.25 MVA 20/0.4 kV | 82 | 80 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2686630.2145 | 1117457.2934 | 2686613.7615 | 1117459.6484 | 2686612.9661 | 1117459.8554
1 | 2686630.2145 | 1117457.2934 | 2686645.5644 | 1117460.8149 | 2686658.7555 | 1117465.2575
2 | 2686630.2145 | 1117457.2934 | 2686641.8484 | 1117471.268 | 2686660.3376 | 1117481.4384 | 2686671.1982 | 1117489.0315 | 2686672.838 | 1117491.3194
3 | 2686751.9231 | 1117485.0511 | 2686728.6316 | 1117477.6466 | 2686703.4617 | 1117462.8665 | 2686683.6173 | 1117462.1711 | 2686667.9049 | 1117468.3389 | 2686658.7555 | 1117465.2575
4 | 2686678.9732 | 1117499.8793 | 2686672.838 | 1117491.3194
5 | 2686751.9231 | 1117485.0511 | 2686868.3759 | 1117492.5484
6 | 2686678.9732 | 1117499.8793 | 2686689.8767 | 1117515.0919 | 2686700.3993 | 1117529.0285 | 2686714.4707 | 1117544.1944
7 | 2686873.4023 | 1117493.3882 | 2686868.3759 | 1117492.5484
8 | 2686760.387 | 1117612.0481 | 2686756.7418 | 1117607.2368 | 2686749.2259 | 1117596.8119 | 2686736.2188 | 1117580.1158 | 2686726.4722 | 1117559.4307 | 2686720.6081 | 1117549.5521 | 2686714.4707 | 1117544.1944 | 2686714.4707 | 1117544.1944
9 | 2686873.4023 | 1117493.3882 | 2686884.6663 | 1117495.2702 | 2686904.9436 | 1117495.3833 | 2686920.8362 | 1117507.3294 | 2686926.0785 | 1117501.3567 | 2686925.2369 | 1117495.4522
10 | 2686919.714 | 1117474.7274 | 2686918.0885 | 1117487.4005 | 2686925.2369 | 1117495.4522 | 2686925.2369 | 1117495.4522
11 | 2686861.6317 | 1117394.6248 | 2686846.7384 | 1117377.0232 | 2686837.2343 | 1117371.7283 | 2686843.4171 | 1117369.6156 | 2686871.6975 | 1117373.6679 | 2686902.0027 | 1117374.8698 | 2686919.3744 | 1117364.4684 | 2686923.5805 | 1117363.8208
12 | 2686861.6317 | 1117394.6248 | 2686902.944 | 1117415.2516 | 2686902.8335 | 1117433.1718 | 2686901.8812 | 1117445.1986 | 2686916.5982 | 1117462.153 | 2686918.1144 | 1117468.2719
13 | 2687065.801 | 1117243.0097 | 2686923.5805 | 1117363.8208
14 | 2686918.1144 | 1117468.2719 | 2686919.714 | 1117474.7274 | 2686919.714 | 1117474.7274
15 | 2686760.387 | 1117612.0481 | 2686766.4338 | 1117620.0291
16 | 2687105.7391 | 1117250.2547 | 2687105.7391 | 1117250.2547 | 2687090.0197 | 1117243.4136 | 2687077.7714 | 1117243.7488 | 2687071.2803 | 1117245.8123 | 2687069.3195 | 1117245.2727 | 2687065.801 | 1117243.0097
17 | 2687129.3265 | 1117251.2302 | 2687119.7656 | 1117248.1217 | 2687105.7391 | 1117250.2547
18 | 2687171.3236 | 1117106.4415 | 2687192.6695 | 1117139.9062 | 2687181.2109 | 1117155.0837 | 2687181.2109 | 1117155.0837
19 | 2687181.2109 | 1117155.0837 | 2687181.4156 | 1117158.0217 | 2687185.0895 | 1117160.2203 | 2687185.0895 | 1117160.2203
20 | 2687179.0304 | 1117172.4848 | 2687185.0895 | 1117160.2203
21 | 2687179.0304 | 1117172.4848 | 2687177.8383 | 1117174.858 | 2687175.4041 | 1117176.6351
22 | 2687179.0304 | 1117172.4848 | 2687185.0707 | 1117178.6865 | 2687187.5458 | 1117181.5683 | 2687188.7087 | 1117183.364
23 | 2687163.0868 | 1117185.5076 | 2687169.167 | 1117179.2803 | 2687171.2105 | 1117181.0441 | 2687175.4041 | 1117176.6351
24 | 2687190.9943 | 1117187.0878 | 2687189.6679 | 1117184.8452 | 2687188.7087 | 1117183.364
25 | 2687163.0868 | 1117185.5076 | 2687163.0868 | 1117185.5076 | 2687158.2875 | 1117182.2786
26 | 2687190.9943 | 1117187.0878 | 2687193.4126 | 1117192.3146 | 2687196.6498 | 1117200.177
27 | 2687231.8364 | 1117254.7481 | 2687231.8281 | 1117254.7364
28 | 2687231.8281 | 1117254.7364 | 2687228.8117 | 1117250.4697 | 2687223.4864 | 1117242.8086
29 | 2687239.5837 | 1117265.7067 | 2687231.8364 | 1117254.7481
30 | 2687223.4864 | 1117242.8086 | 2687220.804 | 1117238.9496
31 | 2687239.5837 | 1117265.7067 | 2687241.1533 | 1117267.9268
32 | 2687217.2481 | 1117233.834 | 2687220.804 | 1117238.9496
33 | 2687241.1533 | 1117267.9268 | 2687244.2259 | 1117272.273
34 | 2687213.0276 | 1117227.7624 | 2687217.2481 | 1117233.834
35 | 2687244.2259 | 1117272.273 | 2687247.7901 | 1117277.3145
36 | 2687213.0276 | 1117227.7624 | 2687210.8263 | 1117224.3627
37 | 2687213.0276 | 1117227.7624 | 2687197.8641 | 1117235.9379
38 | 2687247.7901 | 1117277.3145 | 2687256.9933 | 1117290.3324 | 2687263.4404 | 1117301.4927
39 | 2687207.6111 | 1117219.3973 | 2687210.8263 | 1117224.3627
40 | 2687197.8641 | 1117235.9379 | 2687188.1663 | 1117234.453
41 | 2687263.4404 | 1117301.4927 | 2687264.8038 | 1117303.8529 | 2687266.6892 | 1117308.5495 | 2687267.0753 | 1117311.757 | 2687266.5809 | 1117315.5299 | 2687265.7236 | 1117319.3086 | 2687264.0448 | 1117323.8427 | 2687260.418 | 1117330.2372
42 | 2687252.9398 | 1117343.166 | 2687254.8567 | 1117340.0422 | 2687260.418 | 1117330.2372
43 | 2687252.9398 | 1117343.166 | 2687241.6629 | 1117361.5428 | 2687241.2439 | 1117362.3736
44 | 2687241.2439 | 1117362.3736 | 2687332.6059 | 1117568.1221
45 | 2687516.7087 | 1117512.9434 | 2687699.4506 | 1117471.4261
46 | 2687491.2648 | 1117507.1169 | 2687494.2887 | 1117511.541 | 2687496.6629 | 1117513.91 | 2687499.8396 | 1117515.7681 | 2687502.4849 | 1117516.4734 | 2687505.8394 | 1117516.1772 | 2687516.7087 | 1117512.9434
47 | 2687207.6111 | 1117219.3973 | 2687204.4719 | 1117214.5493
48 | 2687183.8779 | 1117229.2253 | 2687188.1663 | 1117234.453
49 | 2687169.5166 | 1117214.1079 | 2687169.2464 | 1117213.8549
50 | 2687169.2464 | 1117213.8549 | 2687163.764 | 1117208.72 | 2687161.5949 | 1117205.5659
51 | 2687201.866 | 1117210.5248 | 2687201.866 | 1117210.5248 | 2687204.4719 | 1117214.5493
52 | 2687154.675 | 1117195.5037 | 2687161.5949 | 1117205.5659
53 | 2687198.7163 | 1117204.2765 | 2687201.866 | 1117210.5248
54 | 2687154.675 | 1117195.5037 | 2687144.8238 | 1117197.6966 | 2687139.8999 | 1117192.5258
55 | 2687154.675 | 1117195.5037 | 2687150.843 | 1117186.5877 | 2687151.2827 | 1117182.8585 | 2687151.3748 | 1117180.7475
56 | 2687139.8999 | 1117192.5258 | 2687137.1277 | 1117189.6145 | 2687134.3058 | 1117193.417
57 | 2687153.3928 | 1117179.9983 | 2687151.3748 | 1117180.7475 | 2687151.3748 | 1117180.7475
58 | 2687368.7266 | 1117562.8943 | 2687362.5757 | 1117560.0025 | 2687353.6734 | 1117555.3158 | 2687349.2564 | 1117554.3516 | 2687345.9176 | 1117555.1706 | 2687342.0923 | 1117557.6058 | 2687332.6059 | 1117568.1221
59 | 2687474.0883 | 1117513.0502 | 2687491.2648 | 1117507.1169
60 | 2687368.7266 | 1117562.8943 | 2687374.3834 | 1117565.5539 | 2687376.0379 | 1117565.9113 | 2687377.7987 | 1117565.8588 | 2687380.8869 | 1117565.2919 | 2687386.9453 | 1117563.3437
61 | 2687387.7189 | 1117563.095 | 2687386.9453 | 1117563.3437
62 | 2687387.8467 | 1117563.0539 | 2687387.7189 | 1117563.095
63 | 2687474.0883 | 1117513.0502 | 2687444.1024 | 1117522.4007 | 2687440.2484 | 1117523.8636
64 | 2687436.2668 | 1117525.3749 | 2687440.2484 | 1117523.8636
65 | 2687436.2668 | 1117525.3749 | 2687430.3525 | 1117527.6199
66 | 2687423.4984 | 1117529.9607 | 2687423.3683 | 1117530.0037
67 | 2687423.4984 | 1117529.9607 | 2687428.8657 | 1117528.1843 | 2687430.3525 | 1117527.6199
68 | 2687423.3683 | 1117530.0037 | 2687421.5591 | 1117530.6025 | 2687416.3412 | 1117532.7174 | 2687414.2161 | 1117533.943 | 2687413.0157 | 1117535.282 | 2687412.3933 | 1117536.685 | 2687410.2491 | 1117541.8399
69 | 2687405.4531 | 1117553.308 | 2687406.5876 | 1117550.6428 | 2687410.2491 | 1117541.8399
70 | 2687405.4531 | 1117553.308 | 2687405.3411 | 1117553.571 | 2687404.1021 | 1117555.4432 | 2687402.9419 | 1117556.6716 | 2687401.1381 | 1117558.102 | 2687397.8943 | 1117559.8229 | 2687387.8467 | 1117563.0539
71 | 2687196.6498 | 1117200.177 | 2687216.3999 | 1117184.9633
72 | 2687196.6498 | 1117200.177 | 2687198.7163 | 1117204.2765
73 | 2687153.3928 | 1117179.9983 | 2687153.3928 | 1117179.9983 | 2687155.0663 | 1117180.1113 | 2687158.2875 | 1117182.2786
74 | 2687134.2378 | 1117193.5087 | 2687134.3058 | 1117193.417
75 | 2687134.1681 | 1117193.6027 | 2687134.2378 | 1117193.5087
76 | 2687134.1681 | 1117193.6027 | 2687130.2787 | 1117198.8437
77 | 2687130.2787 | 1117198.8437 | 2687130.2787 | 1117198.8437 | 2687145.7829 | 1117210.4242
78 | 2687145.7829 | 1117210.4242 | 2687152.6648 | 1117215.5644 | 2687147.4622 | 1117224.1058 | 2687133.7472 | 1117229.2671 | 2687128.5987 | 1117235.6636 | 2687131.0986 | 1117238.9044
79 | 2687131.0986 | 1117238.9044 | 2687135.3283 | 1117244.3877 | 2687130.1772 | 1117251.5068 | 2687130.1772 | 1117251.5068
80 | 2687129.3265 | 1117251.2302 | 2687130.1772 | 1117251.5068

## bus_geodata
| x | y | coords
0 | 2686612.9661 | 1117459.8554
1 | 2686630.2145 | 1117457.2934
2 | 2686658.7555 | 1117465.2575
3 | 2686672.838 | 1117491.3194
4 | 2686751.9231 | 1117485.0511
5 | 2686678.9732 | 1117499.8793
6 | 2686868.3759 | 1117492.5484
7 | 2686714.4707 | 1117544.1944
8 | 2686873.4023 | 1117493.3882
9 | 2686925.2369 | 1117495.4522
10 | 2686861.6317 | 1117394.6248
11 | 2686923.5805 | 1117363.8208
12 | 2686918.1144 | 1117468.2719
13 | 2686919.714 | 1117474.7274
14 | 2686760.387 | 1117612.0481
15 | 2687065.801 | 1117243.0097
16 | 2687105.7391 | 1117250.2547
17 | 2686766.4338 | 1117620.0291
18 | 2687181.2109 | 1117155.0837
19 | 2687171.3236 | 1117106.4415
20 | 2687185.0895 | 1117160.2203
21 | 2687179.0304 | 1117172.4848
22 | 2687175.4041 | 1117176.6351
23 | 2687188.7087 | 1117183.364
24 | 2687163.0868 | 1117185.5076
25 | 2687190.9943 | 1117187.0878
26 | 2687231.8281 | 1117254.7364
27 | 2687231.8364 | 1117254.7481
28 | 2687223.4864 | 1117242.8086
29 | 2687239.5837 | 1117265.7067
30 | 2687220.804 | 1117238.9496
31 | 2687241.1533 | 1117267.9268
32 | 2687217.2481 | 1117233.834
33 | 2687244.2259 | 1117272.273
34 | 2687213.0276 | 1117227.7624
35 | 2687247.7901 | 1117277.3145
36 | 2687210.8263 | 1117224.3627
37 | 2687197.8641 | 1117235.9379
38 | 2687263.4404 | 1117301.4927
39 | 2687260.418 | 1117330.2372
40 | 2687252.9398 | 1117343.166
41 | 2687241.2439 | 1117362.3736
42 | 2687699.4506 | 1117471.4261
43 | 2687516.7087 | 1117512.9434
44 | 2687207.6111 | 1117219.3973
45 | 2687188.1663 | 1117234.453
46 | 2687183.8779 | 1117229.2253
47 | 2687169.5166 | 1117214.1079
48 | 2687169.2464 | 1117213.8549
49 | 2687204.4719 | 1117214.5493
50 | 2687161.5949 | 1117205.5659
51 | 2687201.866 | 1117210.5248
52 | 2687154.675 | 1117195.5037
53 | 2687139.8999 | 1117192.5258
54 | 2687151.3748 | 1117180.7475
55 | 2687332.6059 | 1117568.1221
56 | 2687491.2648 | 1117507.1169
57 | 2687368.7266 | 1117562.8943
58 | 2687386.9453 | 1117563.3437
59 | 2687387.7189 | 1117563.095
60 | 2687474.0883 | 1117513.0502
61 | 2687440.2484 | 1117523.8636
62 | 2687436.2668 | 1117525.3749
63 | 2687423.4984 | 1117529.9607
64 | 2687423.3683 | 1117530.0037
65 | 2687430.3525 | 1117527.6199
66 | 2687410.2491 | 1117541.8399
67 | 2687405.4531 | 1117553.308
68 | 2687387.8467 | 1117563.0539
69 | 2687196.6498 | 1117200.177
70 | 2687216.3999 | 1117184.9633
71 | 2687198.7163 | 1117204.2765
72 | 2687158.2875 | 1117182.2786
73 | 2687153.3928 | 1117179.9983
74 | 2687134.3058 | 1117193.417
75 | 2687134.2378 | 1117193.5087
76 | 2687134.1681 | 1117193.6027
77 | 2687130.2787 | 1117198.8437
78 | 2687145.7829 | 1117210.4242
79 | 2687131.0986 | 1117238.9044
80 | 2687130.1772 | 1117251.5068
81 | 2687129.3265 | 1117251.2302
82 | 2687154.675 | 1117195.5037

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1