## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5136-7_1_3_node_32 | 0.4 | n |  | TRUE
1 | bus_LV_5136-7_1_3_node_33 | 0.4 | n |  | TRUE
2 | bus_LV_5136-7_1_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_5136-7_1_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5136-7_1_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5136-7_1_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5136-7_1_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5136-7_1_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_5136-7_1_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_5136-7_1_3_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_5136-7_1_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_5136-7_1_3_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_5136-7_1_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_5136-7_1_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5136-7_1_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5136-7_1_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5136-7_1_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5136-7_1_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5136-7_1_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5136-7_1_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_5136-7_1_3_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_5136-7_1_3_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_5136-7_1_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5136-7_1_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5136-7_1_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_5136-7_1_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_5136-7_1_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_5136-7_1_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5136-7_1_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_5136-7_1_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_5136-7_1_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_5136-7_1_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5136-7_1_3_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_5136-7_1_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_5136-7_1_3_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_5136-7_1_3_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_5136-7_1_3_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_5136-7_1_3_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_5136-7_1_3_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_5136-7_1_3_node_82 | 0.4 | n |  | TRUE
40 | bus_LV_5136-7_1_3_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_5136-7_1_3_node_102 | 0.4 | n |  | TRUE
42 | bus_LV_5136-7_1_3_node_108 | 0.4 | n |  | TRUE
43 | bus_LV_5136-7_1_3_node_98 | 0.4 | n |  | TRUE
44 | bus_LV_5136-7_1_3_node_100 | 0.4 | n |  | TRUE
45 | bus_LV_5136-7_1_3_node_109 | 0.4 | n |  | TRUE
46 | bus_LV_5136-7_1_3_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_5136-7_1_3_node_134 | 0.4 | n |  | TRUE
48 | bus_LV_5136-7_1_3_node_133 | 0.4 | n |  | TRUE
49 | bus_LV_5136-7_1_3_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_5136-7_1_3_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_5136-7_1_3_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_5136-7_1_3_node_90 | 0.4 | n |  | TRUE
53 | bus_LV_5136-7_1_3_node_91 | 0.4 | n |  | TRUE
54 | bus_LV_5136-7_1_3_node_96 | 0.4 | n |  | TRUE
55 | bus_LV_5136-7_1_3_node_97 | 0.4 | n |  | TRUE
56 | bus_LV_5136-7_1_3_node_92 | 0.4 | n |  | TRUE
57 | bus_LV_5136-7_1_3_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_5136-7_1_3_node_94 | 0.4 | n |  | TRUE
59 | bus_LV_5136-7_1_3_node_95 | 0.4 | n |  | TRUE
60 | bus_LV_5136-7_1_3_node_99 | 0.4 | n |  | TRUE
61 | bus_LV_5136-7_1_3_node_101 | 0.4 | n |  | TRUE
62 | bus_LV_5136-7_1_3_node_103 | 0.4 | n |  | TRUE
63 | bus_LV_5136-7_1_3_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_5136-7_1_3_node_105 | 0.4 | n |  | TRUE
65 | bus_LV_5136-7_1_3_node_106 | 0.4 | n |  | TRUE
66 | bus_LV_5136-7_1_3_node_107 | 0.4 | n |  | TRUE
67 | bus_LV_5136-7_1_3_node_120 | 0.4 | n |  | TRUE
68 | bus_LV_5136-7_1_3_node_114 | 0.4 | n |  | TRUE
69 | bus_LV_5136-7_1_3_node_121 | 0.4 | n |  | TRUE
70 | bus_LV_5136-7_1_3_node_113 | 0.4 | n |  | TRUE
71 | bus_LV_5136-7_1_3_node_110 | 0.4 | n |  | TRUE
72 | bus_LV_5136-7_1_3_node_111 | 0.4 | n |  | TRUE
73 | bus_LV_5136-7_1_3_node_112 | 0.4 | n |  | TRUE
74 | bus_LV_5136-7_1_3_node_115 | 0.4 | n |  | TRUE
75 | bus_LV_5136-7_1_3_node_116 | 0.4 | n |  | TRUE
76 | bus_LV_5136-7_1_3_node_117 | 0.4 | n |  | TRUE
77 | bus_LV_5136-7_1_3_node_118 | 0.4 | n |  | TRUE
78 | bus_LV_5136-7_1_3_node_119 | 0.4 | n |  | TRUE
79 | bus_LV_5136-7_1_3_node_128 | 0.4 | n |  | TRUE
80 | bus_LV_5136-7_1_3_node_129 | 0.4 | n |  | TRUE
81 | bus_LV_5136-7_1_3_node_127 | 0.4 | n |  | TRUE
82 | bus_LV_5136-7_1_3_node_130 | 0.4 | n |  | TRUE
83 | bus_LV_5136-7_1_3_node_124 | 0.4 | n |  | TRUE
84 | bus_LV_5136-7_1_3_node_122 | 0.4 | n |  | TRUE
85 | bus_LV_5136-7_1_3_node_123 | 0.4 | n |  | TRUE
86 | bus_LV_5136-7_1_3_node_125 | 0.4 | n |  | TRUE
87 | bus_LV_5136-7_1_3_node_126 | 0.4 | n |  | TRUE
88 | bus_LV_5136-7_1_3_node_131 | 0.4 | n |  | TRUE
89 | bus_LV_5136-7_1_3_node_132 | 0.4 | n |  | TRUE
90 | bus_MV_65_1_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5136-7_1_3_load_32 | 0 | 0.00079129 | 0.00019832 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5136-7_1_3_load_33 | 1 | 0.00059459 | 0.00014902 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5136-7_1_3_load_4 | 2 | 0.0014593 | 0.00036572 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5136-7_1_3_load_5 | 3 | 0.0035291 | 0.00088448 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5136-7_1_3_load_6 | 4 | 0.0013529 | 0.00033907 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5136-7_1_3_load_7 | 5 | 0.0034839 | 0.00087315 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5136-7_1_3_load_21 | 7 | 0.0040621 | 0.0010181 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5136-7_1_3_load_10 | 8 | 0.0025542 | 0.00064015 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5136-7_1_3_load_19 | 9 | 0.005252 | 0.0013163 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5136-7_1_3_load_17 | 10 | 0.0011512 | 0.00028851 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5136-7_1_3_load_77 | 11 | 0.00060326 | 0.00015119 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5136-7_1_3_load_9 | 13 | 0.0015441 | 0.000387 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5136-7_1_3_load_11 | 14 | 0.00036924 | 9.2541e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5136-7_1_3_load_12 | 15 | 0.00047332 | 0.00011862 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5136-7_1_3_load_13 | 16 | 0.00038152 | 9.5617e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5136-7_1_3_load_14 | 17 | 0.0038774 | 0.00097177 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5136-7_1_3_load_16 | 18 | 0.0003452 | 8.6514e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5136-7_1_3_load_28 | 19 | 0.0010899 | 0.00027316 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5136-7_1_3_load_34 | 20 | 0.00075851 | 0.0001901 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5136-7_1_3_load_76 | 21 | 0.00057606 | 0.00014437 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5136-7_1_3_load_18 | 22 | 0.012103 | 0.0030333 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5136-7_1_3_load_20 | 23 | 0.0028517 | 0.00071469 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5136-7_1_3_load_22 | 24 | 0.0040174 | 0.0010069 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5136-7_1_3_load_29 | 25 | 0.0014283 | 0.00035796 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5136-7_1_3_load_30 | 26 | 0.0025135 | 0.00062995 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5136-7_1_3_load_23 | 27 | 0.0024362 | 0.00061057 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5136-7_1_3_load_24 | 28 | 0.001561 | 0.00039121 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5136-7_1_3_load_25 | 29 | 0.0028798 | 0.00072174 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5136-7_1_3_load_26 | 30 | 0.0017445 | 0.00043722 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5136-7_1_3_load_27 | 31 | 0.0024917 | 0.00062447 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5136-7_1_3_load_84 | 32 | 0.0016836 | 0.00042194 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5136-7_1_3_load_31 | 33 | 0.001218 | 0.00030527 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5136-7_1_3_load_85 | 34 | 0.0019319 | 0.00048417 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5136-7_1_3_load_78 | 35 | 0.00048433 | 0.00012138 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5136-7_1_3_load_79 | 36 | 0.00088573 | 0.00022198 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5136-7_1_3_load_80 | 37 | 0.00040013 | 0.00010028 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5136-7_1_3_load_82 | 39 | 0.00081027 | 0.00020307 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5136-7_1_3_load_83 | 40 | 0.00035597 | 8.9214e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5136-7_1_3_load_108 | 42 | 0.00052559 | 0.00013173 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5136-7_1_3_load_98 | 43 | 0.0010596 | 0.00026556 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5136-7_1_3_load_100 | 44 | 0.00070599 | 0.00017694 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5136-7_1_3_load_109 | 45 | 0.00098362 | 0.00024652 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5136-7_1_3_load_86 | 46 | 0.001463 | 0.00036665 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5136-7_1_3_load_134 | 47 | 0.001399 | 0.00035062 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5136-7_1_3_load_133 | 48 | 0.0010708 | 0.00026836 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5136-7_1_3_load_87 | 49 | 0.0012153 | 0.00030458 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5136-7_1_3_load_89 | 51 | 0.00084202 | 0.00021103 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5136-7_1_3_load_90 | 52 | 0.0011162 | 0.00027974 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5136-7_1_3_load_91 | 53 | 0.00056239 | 0.00014095 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5136-7_1_3_load_96 | 54 | 0.0005569 | 0.00013957 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5136-7_1_3_load_97 | 55 | 0.00076535 | 0.00019181 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5136-7_1_3_load_92 | 56 | 0.00085551 | 0.00021441 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5136-7_1_3_load_93 | 57 | 0.0063111 | 0.0015817 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5136-7_1_3_load_94 | 58 | 0.00064246 | 0.00016101 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5136-7_1_3_load_95 | 59 | 0.0078411 | 0.0019652 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5136-7_1_3_load_99 | 60 | 0.0034789 | 0.00087189 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5136-7_1_3_load_101 | 61 | 0.0031746 | 0.00079564 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5136-7_1_3_load_103 | 62 | 0.010755 | 0.0026954 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5136-7_1_3_load_104 | 63 | 0.0032844 | 0.00082314 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5136-7_1_3_load_105 | 64 | 0.0030473 | 0.00076373 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5136-7_1_3_load_106 | 65 | 0.0035475 | 0.0008891 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5136-7_1_3_load_107 | 66 | 0.0043901 | 0.0011003 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5136-7_1_3_load_120 | 67 | 0.0026485 | 0.00066378 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5136-7_1_3_load_114 | 68 | 0.0023202 | 0.00058149 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5136-7_1_3_load_121 | 69 | 0.0014049 | 0.00035211 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5136-7_1_3_load_113 | 70 | 0.0018121 | 0.00045414 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5136-7_1_3_load_110 | 71 | 0.0025941 | 0.00065015 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5136-7_1_3_load_111 | 72 | 0.00038241 | 9.5842e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5136-7_1_3_load_112 | 73 | 0.0012325 | 0.00030889 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5136-7_1_3_load_115 | 74 | 0.0041964 | 0.0010517 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5136-7_1_3_load_116 | 75 | 0.0017164 | 0.00043016 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5136-7_1_3_load_117 | 76 | 0.001173 | 0.00029398 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5136-7_1_3_load_118 | 77 | 0.0015001 | 0.00037596 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5136-7_1_3_load_119 | 78 | 0.0016182 | 0.00040556 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5136-7_1_3_load_128 | 79 | 0.0022374 | 0.00056076 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5136-7_1_3_load_129 | 80 | 0.0023188 | 0.00058114 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5136-7_1_3_load_127 | 81 | 0.0025035 | 0.00062745 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5136-7_1_3_load_124 | 83 | 0.0049047 | 0.0012292 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5136-7_1_3_load_122 | 84 | 0.0028851 | 0.00072307 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5136-7_1_3_load_123 | 85 | 0.0022094 | 0.00055373 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5136-7_1_3_load_125 | 86 | 0.0027187 | 0.00068138 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5136-7_1_3_load_126 | 87 | 0.0029015 | 0.00072718 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5136-7_1_3_load_131 | 88 | 0.0011469 | 0.00028743 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5136-7_1_3_load_132 | 89 | 0.0016737 | 0.00041947 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 88 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5136-7_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5136-7_1_3_line_1 | NAYY 4x150 SE | 1 | 20 | 0.0341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5136-7_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 6.8459e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5136-7_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5136-7_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5136-7_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.026942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5136-7_1_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.038169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5136-7_1_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.007256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5136-7_1_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0095687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5136-7_1_3_line_9 | NAYY 4x150 SE | 8 | 13 | 0.0037242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5136-7_1_3_line_10 | NAYY 4x150 SE | 9 | 22 | 0.0068639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5136-7_1_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.10021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5136-7_1_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5136-7_1_3_line_13 | NAYY 4x150 SE | 11 | 21 | 0.11802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5136-7_1_3_line_14 | NAYY 4x150 SE | 12 | 16 | 0.021374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5136-7_1_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.0056204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5136-7_1_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.030697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5136-7_1_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.018623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5136-7_1_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5136-7_1_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.066067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5136-7_1_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.12392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5136-7_1_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.19711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5136-7_1_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.024664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5136-7_1_3_line_23 | NAYY 4x150 SE | 23 | 24 | 0.039631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5136-7_1_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.000107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5136-7_1_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.0099707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5136-7_1_3_line_26 | NAYY 4x150 SE | 26 | 33 | 0.0067157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5136-7_1_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.020136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5136-7_1_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.001112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5136-7_1_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.0070121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5136-7_1_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.013879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5136-7_1_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.010572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5136-7_1_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.00071269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5136-7_1_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.034539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5136-7_1_3_line_34 | NAYY 4x150 SE | 34 | 46 | 0.0059463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5136-7_1_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.091615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5136-7_1_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.11841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5136-7_1_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.091181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5136-7_1_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.0064903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5136-7_1_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.0098939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5136-7_1_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.022776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5136-7_1_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.0046183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5136-7_1_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.045911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5136-7_1_3_line_43 | NAYY 4x150 SE | 41 | 44 | 0.02766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5136-7_1_3_line_44 | NAYY 4x150 SE | 42 | 45 | 0.0087996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5136-7_1_3_line_45 | NAYY 4x150 SE | 43 | 55 | 0.020725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5136-7_1_3_line_46 | NAYY 4x150 SE | 44 | 61 | 0.021978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5136-7_1_3_line_47 | NAYY 4x150 SE | 45 | 71 | 0.013474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5136-7_1_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.011995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5136-7_1_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.0012866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5136-7_1_3_line_50 | NAYY 4x150 SE | 48 | 89 | 0.013984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5136-7_1_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.11241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5136-7_1_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.018755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5136-7_1_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.05558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5136-7_1_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.035958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5136-7_1_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.016519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5136-7_1_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.037563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5136-7_1_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.017103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5136-7_1_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.0061775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5136-7_1_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.12339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5136-7_1_3_line_60 | NAYY 4x150 SE | 59 | 60 | 0.0059349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5136-7_1_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0031384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5136-7_1_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0037176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5136-7_1_3_line_63 | NAYY 4x150 SE | 62 | 64 | 0.010029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5136-7_1_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.0065777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5136-7_1_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.00024254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5136-7_1_3_line_66 | NAYY 4x150 SE | 65 | 67 | 0.001724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5136-7_1_3_line_67 | NAYY 4x150 SE | 66 | 68 | 0.015611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5136-7_1_3_line_68 | NAYY 4x150 SE | 67 | 69 | 0.0025951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5136-7_1_3_line_69 | NAYY 4x150 SE | 68 | 70 | 0.0071021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5136-7_1_3_line_70 | NAYY 4x150 SE | 69 | 83 | 0.011208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5136-7_1_3_line_71 | NAYY 4x150 SE | 70 | 73 | 0.0021816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5136-7_1_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.0046866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5136-7_1_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.030473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5136-7_1_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.0059187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5136-7_1_3_line_75 | NAYY 4x150 SE | 74 | 76 | 0.013078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5136-7_1_3_line_76 | NAYY 4x150 SE | 75 | 77 | 0.0026701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5136-7_1_3_line_77 | NAYY 4x150 SE | 76 | 78 | 0.013138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5136-7_1_3_line_78 | NAYY 4x150 SE | 77 | 79 | 0.0092685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5136-7_1_3_line_79 | NAYY 4x150 SE | 78 | 80 | 0.0024017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5136-7_1_3_line_80 | NAYY 4x150 SE | 79 | 81 | 0.0018346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5136-7_1_3_line_81 | NAYY 4x150 SE | 80 | 82 | 0.011628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_5136-7_1_3_line_82 | NAYY 4x150 SE | 81 | 87 | 0.012178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5136-7_1_3_line_83 | NAYY 4x150 SE | 82 | 88 | 0.03287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_5136-7_1_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0012905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5136-7_1_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.0010648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5136-7_1_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.0010056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5136-7_1_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.00067316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5136-7_1_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.0073052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5136-7_1_3_trafo_131 | 0.25 MVA 20/0.4 kV | 90 | 88 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2688875.1605 | 1120536.1921 | 2688877.1163 | 1120535.4356 | 2688884.1137 | 1120533.3815 | 2688890.2298 | 1120532.4929 | 2688895.2184 | 1120532.2031
1 | 2688929.2864 | 1120533.0913 | 2688928.8066 | 1120533.1041 | 2688916.7539 | 1120532.638 | 2688904.7659 | 1120531.9727 | 2688897.1025 | 1120532.0936 | 2688895.2184 | 1120532.2031
2 | 2689393.8244 | 1120295.3505 | 2689393.8895 | 1120295.3295
3 | 2689393.8244 | 1120295.3505 | 2689380.7468 | 1120299.559
4 | 2689415.675 | 1120290.682 | 2689410.0569 | 1120291.001 | 2689404.2553 | 1120291.9937 | 2689393.8895 | 1120295.3295
5 | 2689355.9079 | 1120309.7241 | 2689360.3906 | 1120307.1221 | 2689365.1326 | 1120304.7351 | 2689380.1752 | 1120299.7429 | 2689380.7468 | 1120299.559
6 | 2689415.675 | 1120290.682 | 2689417.8257 | 1120290.5599 | 2689453.8402 | 1120290.6828
7 | 2689355.9079 | 1120309.7241 | 2689353.3773 | 1120312.3217 | 2689351.0827 | 1120315.134
8 | 2689463.3829 | 1120290.0704 | 2689455.9868 | 1120290.6902 | 2689453.8402 | 1120290.6828
9 | 2689351.0827 | 1120315.134 | 2689351.0827 | 1120315.134 | 2689349.1148 | 1120318.2957
10 | 2689463.3829 | 1120290.0704 | 2689465.7982 | 1120289.8679 | 2689470.1261 | 1120288.8757
11 | 2689331.5273 | 1120374.9589 | 2689331.33 | 1120378.3914 | 2689330.7528 | 1120380.9066 | 2689329.13 | 1120382.6393 | 2689327.4533 | 1120383.3261 | 2689323.1025 | 1120382.7393 | 2689317.9585 | 1120383.097 | 2689312.3945 | 1120384.2045 | 2689308.8066 | 1120385.7748 | 2689305.8533 | 1120388.7886 | 2689303.9466 | 1120391.9846 | 2689301.1427 | 1120399.5144 | 2689300.4427 | 1120400.9382 | 2689299.4294 | 1120402.1574 | 2689297.6041 | 1120402.9754 | 2689292.3237 | 1120403.6868 | 2689287.9006 | 1120404.3442 | 2689282.8536 | 1120406.4933 | 2689279.7084 | 1120408.9151 | 2689278.2177 | 1120411.1166 | 2689277.2531 | 1120413.2148 | 2689276.6411 | 1120418.609 | 2689276.0584 | 1120421.5021 | 2689274.5591 | 1120423.7591 | 2689272.3785 | 1120425.1278 | 2689269.373 | 1120425.9284 | 2689260.7985 | 1120424.3476
12 | 2689331.5273 | 1120374.9589 | 2689316.3851 | 1120361.094
13 | 2689161.8066 | 1120473.2261 | 2689163.9385 | 1120471.4023 | 2689174.7466 | 1120463.6569 | 2689186.9891 | 1120455.9548 | 2689191.2924 | 1120454.5284 | 2689196.5471 | 1120454.5058 | 2689201.581 | 1120455.8585 | 2689206.0806 | 1120455.7692 | 2689208.9926 | 1120452.9326 | 2689218.0353 | 1120441.9481 | 2689225.4845 | 1120434.3867 | 2689231.3855 | 1120432.3947 | 2689236.6956 | 1120432.8065 | 2689243.1974 | 1120433.5027 | 2689256.5918 | 1120423.572 | 2689260.7985 | 1120424.3476
14 | 2689316.3851 | 1120361.094 | 2689314.0231 | 1120363.2494 | 2689310.3439 | 1120365.7744 | 2689303.0068 | 1120369.3906 | 2689297.958 | 1120371.6562
15 | 2689316.3851 | 1120361.094 | 2689320.4894 | 1120357.2543
16 | 2689334.089 | 1120344.5314 | 2689337.6895 | 1120341.163 | 2689340.9953 | 1120337.2761 | 2689343.0272 | 1120333.4371 | 2689345.0163 | 1120328.319 | 2689349.1148 | 1120318.2957 | 2689349.1148 | 1120318.2957
17 | 2689320.4894 | 1120357.2543 | 2689334.089 | 1120344.5314
18 | 2689282.8133 | 1120378.4521 | 2689297.958 | 1120371.6562
19 | 2689282.8133 | 1120378.4521 | 2689277.7245 | 1120380.7357 | 2689267.5974 | 1120385.7116 | 2689225.9708 | 1120411.9503
20 | 2689225.9708 | 1120411.9503 | 2689207.3793 | 1120423.6692 | 2689201.4769 | 1120426.2727 | 2689194.4695 | 1120428.4708 | 2689175.8341 | 1120433.3103 | 2689169.623 | 1120435.3979 | 2689112.4155 | 1120460.1693
21 | 2689112.4155 | 1120460.1693 | 2688929.2864 | 1120533.0913
22 | 2689492.4019 | 1120278.3295 | 2689476.1956 | 1120286.464 | 2689470.1261 | 1120288.8757 | 2689470.1261 | 1120288.8757
23 | 2689492.4019 | 1120278.3295 | 2689498.5293 | 1120275.2539 | 2689521.203 | 1120263.4931 | 2689525.1878 | 1120261.6954 | 2689527.92 | 1120260.8465
24 | 2689527.92 | 1120260.8465 | 2689528.0222 | 1120260.8147
25 | 2689537.8789 | 1120259.4716 | 2689531.532 | 1120260.0215 | 2689528.4668 | 1120260.6766 | 2689528.0222 | 1120260.8147
26 | 2689537.8789 | 1120259.4716 | 2689540.9576 | 1120259.2048 | 2689544.5812 | 1120259.322
27 | 2689560.0959 | 1120257.699 | 2689561.425 | 1120257.3286 | 2689569.0841 | 1120254.3956 | 2689573.9781 | 1120251.6441 | 2689577.8507 | 1120248.5774 | 2689577.8507 | 1120248.5774
28 | 2689559.0247 | 1120257.9975 | 2689560.0959 | 1120257.699
29 | 2689582.6729 | 1120243.4877 | 2689582.6319 | 1120243.5451 | 2689577.8507 | 1120248.5774
30 | 2689559.0247 | 1120257.9975 | 2689556.3113 | 1120258.7538 | 2689549.8267 | 1120259.4917 | 2689545.2935 | 1120259.3451
31 | 2689588.8226 | 1120234.8887 | 2689582.6729 | 1120243.4877
32 | 2689544.5812 | 1120259.322 | 2689545.2935 | 1120259.3451
33 | 2689608.9277 | 1120207.0527 | 2689606.9857 | 1120208.4844 | 2689604.6834 | 1120210.7628 | 2689601.4025 | 1120215.5616 | 2689598.3404 | 1120220.6971 | 2689593.5838 | 1120228.2313 | 2689588.8226 | 1120234.8887
34 | 2689614.1635 | 1120204.258 | 2689609.6615 | 1120206.5117 | 2689608.9277 | 1120207.0527
35 | 2690094.2222 | 1120034.4198 | 2690101.6931 | 1120048.317 | 2690094.9902 | 1120070.9531 | 2690092.3258 | 1120073.704 | 2690083.9743 | 1120073.8687 | 2690082.9195 | 1120078.378 | 2690082.8874 | 1120082.0908 | 2690051.6781 | 1120076.5225
36 | 2689934.8197 | 1120081.9352 | 2690030.0027 | 1120080.3812 | 2690041.2147 | 1120074.6556 | 2690051.6781 | 1120076.5225
37 | 2689857.756 | 1120097.3556 | 2689857.8119 | 1120083.1924 | 2689934.8197 | 1120081.9352
38 | 2689857.756 | 1120097.3556 | 2689862.1071 | 1120099.4881 | 2689863.5428 | 1120100.2904
39 | 2689857.756 | 1120097.3556 | 2689854.7016 | 1120096.7544 | 2689851.2579 | 1120096.9034 | 2689848.1186 | 1120098.0259
40 | 2689884.1777 | 1120109.7329 | 2689878.8773 | 1120108.131 | 2689872.224 | 1120105.1416 | 2689863.5428 | 1120100.2904
41 | 2689843.9261 | 1120099.9472 | 2689846.9293 | 1120098.4512 | 2689848.1186 | 1120098.0259
42 | 2689884.1777 | 1120109.7329 | 2689929.261 | 1120118.4111
43 | 2689884.1777 | 1120109.7329 | 2689884.6178 | 1120122.7027 | 2689888.3478 | 1120127.1718 | 2689894.8672 | 1120130.8597 | 2689896.2126 | 1120131.1255
44 | 2689843.9261 | 1120099.9472 | 2689836.0496 | 1120103.8707
45 | 2689929.261 | 1120118.4111 | 2689949.6126 | 1120122.3286
46 | 2689896.2126 | 1120131.1255 | 2689902.8377 | 1120132.4345 | 2689915.3568 | 1120141.0983
47 | 2689836.0496 | 1120103.8707 | 2689823.9894 | 1120109.8781
48 | 2689614.1635 | 1120204.258 | 2689614.4501 | 1120204.1145 | 2689624.6555 | 1120200.1409 | 2689625.3345 | 1120199.8921
49 | 2689626.5426 | 1120199.4494 | 2689625.3345 | 1120199.8921
50 | 2689626.5426 | 1120199.4494 | 2689639.6725 | 1120194.6384
51 | 2690106.1137 | 1120152.5563 | 2690109.3238 | 1120149.4355 | 2690133.8988 | 1120146.3882 | 2690125.0638 | 1120135.5058 | 2690113.2598 | 1120123.9899 | 2690081.6952 | 1120116.0601 | 2690082.1152 | 1120104.426 | 2690079.0015 | 1120096.5488
52 | 2690106.1137 | 1120152.5563 | 2690101.9002 | 1120152.0711 | 2690096.5561 | 1120151.8581 | 2690089.4299 | 1120152.1412 | 2690087.4081 | 1120152.3554
53 | 2690087.4081 | 1120152.3554 | 2690067.2573 | 1120154.4906 | 2690059.8615 | 1120154.2249 | 2690055.798 | 1120153.5085 | 2690051.3243 | 1120151.841 | 2690046.06 | 1120148.8609 | 2690035.5765 | 1120141.2303
54 | 2690003.2623 | 1120127.2037 | 2690004.1827 | 1120127.181 | 2690009.432 | 1120127.5481 | 2690014.0589 | 1120128.7732 | 2690019.3684 | 1120130.7978 | 2690027.8006 | 1120135.5704 | 2690035.5765 | 1120141.2303
55 | 2689986.7488 | 1120127.5031 | 2689988.4206 | 1120127.5693 | 2690003.2623 | 1120127.2037
56 | 2689986.7488 | 1120127.5031 | 2689979.4211 | 1120127.2131 | 2689969.4214 | 1120126.1417 | 2689949.6126 | 1120122.3286
57 | 2690042.9351 | 1120192.7405 | 2690058.1137 | 1120200.1264 | 2690058.3315 | 1120200.1715
58 | 2690042.9351 | 1120192.7405 | 2690037.3803 | 1120190.0376
59 | 2690037.3803 | 1120190.0376 | 2689969.7555 | 1120157.1319 | 2689922.8178 | 1120146.2616
60 | 2689922.8178 | 1120146.2616 | 2689922.8178 | 1120146.2616 | 2689917.9375 | 1120142.8842
61 | 2689917.9375 | 1120142.8842 | 2689915.3568 | 1120141.0983
62 | 2689755.1708 | 1120135.9346 | 2689758.888 | 1120135.8793
63 | 2689768.653 | 1120133.7336 | 2689764.2004 | 1120135.1131 | 2689758.888 | 1120135.8793 | 2689758.888 | 1120135.8793
64 | 2689755.1708 | 1120135.9346 | 2689748.5939 | 1120136.0324
65 | 2689768.653 | 1120133.7336 | 2689768.8847 | 1120133.6618
66 | 2689746.8701 | 1120136.0581 | 2689748.5939 | 1120136.0324
67 | 2689783.3533 | 1120127.8071 | 2689769.6111 | 1120133.4367 | 2689768.8847 | 1120133.6618
68 | 2689746.8701 | 1120136.0581 | 2689744.2753 | 1120136.0967
69 | 2689789.9253 | 1120125.1148 | 2689783.3533 | 1120127.8071
70 | 2689733.0676 | 1120136.1938 | 2689738.3045 | 1120136.1855 | 2689744.2753 | 1120136.0967
71 | 2689789.9253 | 1120125.1148 | 2689791.9441 | 1120124.2878
72 | 2689819.7945 | 1120111.9677 | 2689823.9894 | 1120109.8781
73 | 2689819.7945 | 1120111.9677 | 2689809.4992 | 1120117.0961 | 2689791.9441 | 1120124.2878
74 | 2689703.7124 | 1120141.4653 | 2689698.8423 | 1120143.0829 | 2689698.1127 | 1120143.3779
75 | 2689686.4755 | 1120149.2645 | 2689687.1838 | 1120148.7692 | 2689693.0358 | 1120145.4316 | 2689698.1127 | 1120143.3779
76 | 2689703.7124 | 1120141.4653 | 2689705.8599 | 1120140.7521 | 2689706.2553 | 1120140.6545
77 | 2689675.709 | 1120156.7936 | 2689686.4755 | 1120149.2645
78 | 2689715.2536 | 1120138.4333 | 2689706.2553 | 1120140.6545
79 | 2689673.7409 | 1120158.17 | 2689675.709 | 1120156.7936
80 | 2689717.0348 | 1120137.9936 | 2689715.2536 | 1120138.4333
81 | 2689665.4504 | 1120166.28 | 2689668.9424 | 1120162.3405 | 2689672.97 | 1120158.7091 | 2689673.7409 | 1120158.17
82 | 2689729.0335 | 1120136.2001 | 2689726.0973 | 1120136.2047 | 2689719.7535 | 1120137.3225 | 2689717.0348 | 1120137.9936
83 | 2689665.4504 | 1120166.28 | 2689661.947 | 1120171.5091 | 2689656.5369 | 1120182.5245 | 2689653.8783 | 1120186.9766 | 2689651.4022 | 1120189.5304 | 2689648.861 | 1120191.2716 | 2689646.5318 | 1120192.1251
84 | 2689733.0676 | 1120136.1938 | 2689731.7771 | 1120136.1958
85 | 2689730.7123 | 1120136.1974 | 2689731.7771 | 1120136.1958
86 | 2689730.7123 | 1120136.1974 | 2689729.7067 | 1120136.199
87 | 2689729.0335 | 1120136.2001 | 2689729.7067 | 1120136.199
88 | 2689646.5318 | 1120192.1251 | 2689639.6725 | 1120194.6384

## bus_geodata
| x | y | coords
0 | 2688875.1605 | 1120536.1921
1 | 2688895.2184 | 1120532.2031
2 | 2689393.8244 | 1120295.3505
3 | 2689393.8895 | 1120295.3295
4 | 2689380.7468 | 1120299.559
5 | 2689415.675 | 1120290.682
6 | 2689355.9078 | 1120309.7241
7 | 2689453.8402 | 1120290.6828
8 | 2689351.0827 | 1120315.134
9 | 2689463.3829 | 1120290.0704
10 | 2689331.5273 | 1120374.9589
11 | 2689260.7985 | 1120424.3476
12 | 2689316.3851 | 1120361.094
13 | 2689349.1148 | 1120318.2957
14 | 2689334.089 | 1120344.5314
15 | 2689320.4894 | 1120357.2543
16 | 2689297.958 | 1120371.6562
17 | 2689282.8133 | 1120378.4521
18 | 2689225.9708 | 1120411.9503
19 | 2689112.4155 | 1120460.1693
20 | 2688929.2863 | 1120533.0913
21 | 2689161.8066 | 1120473.2261
22 | 2689470.1261 | 1120288.8757
23 | 2689492.4019 | 1120278.3295
24 | 2689527.92 | 1120260.8465
25 | 2689528.0222 | 1120260.8147
26 | 2689537.8789 | 1120259.4716
27 | 2689560.0959 | 1120257.699
28 | 2689577.8507 | 1120248.5774
29 | 2689559.0247 | 1120257.9975
30 | 2689582.6729 | 1120243.4877
31 | 2689545.2935 | 1120259.3451
32 | 2689588.8226 | 1120234.8887
33 | 2689544.5812 | 1120259.322
34 | 2689608.9277 | 1120207.0527
35 | 2690094.2222 | 1120034.4198
36 | 2690051.6781 | 1120076.5225
37 | 2689934.8197 | 1120081.9352
38 | 2689857.756 | 1120097.3556
39 | 2689863.5428 | 1120100.2904
40 | 2689848.1186 | 1120098.0259
41 | 2689884.1777 | 1120109.7329
42 | 2689843.9261 | 1120099.9472
43 | 2689929.2609 | 1120118.4111
44 | 2689896.2126 | 1120131.1255
45 | 2689836.0496 | 1120103.8707
46 | 2689614.1635 | 1120204.258
47 | 2689625.3345 | 1120199.8921
48 | 2689626.5426 | 1120199.4494
49 | 2690079.0015 | 1120096.5488
50 | 2690106.1137 | 1120152.5563
51 | 2690087.4081 | 1120152.3554
52 | 2690035.5765 | 1120141.2303
53 | 2690003.2623 | 1120127.2037
54 | 2689986.7488 | 1120127.5031
55 | 2689949.6126 | 1120122.3286
56 | 2690042.9351 | 1120192.7405
57 | 2690058.3315 | 1120200.1715
58 | 2690037.3803 | 1120190.0376
59 | 2689922.8178 | 1120146.2616
60 | 2689917.9375 | 1120142.8842
61 | 2689915.3568 | 1120141.0983
62 | 2689758.888 | 1120135.8793
63 | 2689755.1708 | 1120135.9346
64 | 2689768.653 | 1120133.7336
65 | 2689748.5939 | 1120136.0324
66 | 2689768.8847 | 1120133.6618
67 | 2689746.8701 | 1120136.0581
68 | 2689783.3533 | 1120127.8071
69 | 2689744.2753 | 1120136.0967
70 | 2689789.9253 | 1120125.1148
71 | 2689823.9894 | 1120109.8781
72 | 2689819.7945 | 1120111.9677
73 | 2689791.9441 | 1120124.2878
74 | 2689698.1127 | 1120143.3779
75 | 2689703.7124 | 1120141.4653
76 | 2689686.4755 | 1120149.2645
77 | 2689706.2553 | 1120140.6545
78 | 2689675.709 | 1120156.7936
79 | 2689715.2537 | 1120138.4333
80 | 2689673.7409 | 1120158.17
81 | 2689717.0348 | 1120137.9936
82 | 2689665.4504 | 1120166.28
83 | 2689733.0676 | 1120136.1938
84 | 2689731.7771 | 1120136.1958
85 | 2689730.7123 | 1120136.1974
86 | 2689729.7067 | 1120136.199
87 | 2689729.0335 | 1120136.2001
88 | 2689646.5318 | 1120192.1251
89 | 2689639.6725 | 1120194.6384
90 | 2689665.4504 | 1120166.28

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1