## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5136-9_1_4_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_5136-9_1_4_node_117 | 0.4 | n |  | TRUE
2 | bus_LV_5136-9_1_4_node_107 | 0.4 | n |  | TRUE
3 | bus_LV_5136-9_1_4_node_54 | 0.4 | n |  | TRUE
4 | bus_LV_5136-9_1_4_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_5136-9_1_4_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_5136-9_1_4_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_5136-9_1_4_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_5136-9_1_4_node_122 | 0.4 | n |  | TRUE
9 | bus_LV_5136-9_1_4_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_5136-9_1_4_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_5136-9_1_4_node_79 | 0.4 | n |  | TRUE
12 | bus_LV_5136-9_1_4_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_5136-9_1_4_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_5136-9_1_4_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_5136-9_1_4_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_5136-9_1_4_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_5136-9_1_4_node_78 | 0.4 | n |  | TRUE
18 | bus_LV_5136-9_1_4_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_5136-9_1_4_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_5136-9_1_4_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_5136-9_1_4_node_81 | 0.4 | n |  | TRUE
22 | bus_LV_5136-9_1_4_node_82 | 0.4 | n |  | TRUE
23 | bus_LV_5136-9_1_4_node_84 | 0.4 | n |  | TRUE
24 | bus_LV_5136-9_1_4_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_5136-9_1_4_node_112 | 0.4 | n |  | TRUE
26 | bus_LV_5136-9_1_4_node_92 | 0.4 | n |  | TRUE
27 | bus_LV_5136-9_1_4_node_86 | 0.4 | n |  | TRUE
28 | bus_LV_5136-9_1_4_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_5136-9_1_4_node_88 | 0.4 | n |  | TRUE
30 | bus_LV_5136-9_1_4_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_5136-9_1_4_node_90 | 0.4 | n |  | TRUE
32 | bus_LV_5136-9_1_4_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_5136-9_1_4_node_93 | 0.4 | n |  | TRUE
34 | bus_LV_5136-9_1_4_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_5136-9_1_4_node_105 | 0.4 | n |  | TRUE
36 | bus_LV_5136-9_1_4_node_106 | 0.4 | n |  | TRUE
37 | bus_LV_5136-9_1_4_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_5136-9_1_4_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_5136-9_1_4_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_5136-9_1_4_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_5136-9_1_4_node_110 | 0.4 | n |  | TRUE
42 | bus_LV_5136-9_1_4_node_108 | 0.4 | n |  | TRUE
43 | bus_LV_5136-9_1_4_node_99 | 0.4 | n |  | TRUE
44 | bus_LV_5136-9_1_4_node_104 | 0.4 | n |  | TRUE
45 | bus_LV_5136-9_1_4_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_5136-9_1_4_node_102 | 0.4 | n |  | TRUE
47 | bus_LV_5136-9_1_4_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_5136-9_1_4_node_111 | 0.4 | n |  | TRUE
49 | bus_LV_5136-9_1_4_node_113 | 0.4 | n |  | TRUE
50 | bus_LV_5136-9_1_4_node_114 | 0.4 | n |  | TRUE
51 | bus_LV_5136-9_1_4_node_115 | 0.4 | n |  | TRUE
52 | bus_LV_5136-9_1_4_node_116 | 0.4 | n |  | TRUE
53 | bus_LV_5136-9_1_4_node_118 | 0.4 | n |  | TRUE
54 | bus_LV_5136-9_1_4_node_119 | 0.4 | n |  | TRUE
55 | bus_LV_5136-9_1_4_node_120 | 0.4 | n |  | TRUE
56 | bus_LV_5136-9_1_4_node_123 | 0.4 | n |  | TRUE
57 | bus_LV_5136-9_1_4_node_124 | 0.4 | n |  | TRUE
58 | bus_LV_5136-9_1_4_node_121 | 0.4 | n |  | TRUE
59 | bus_LV_5136-9_1_4_node_125 | 0.4 | n |  | TRUE
60 | bus_LV_5136-9_1_4_node_127 | 0.4 | n |  | TRUE
61 | bus_LV_5136-9_1_4_node_126 | 0.4 | n |  | TRUE
62 | bus_MV_65_1_node_219 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5136-9_1_4_load_128 | 0 | 0.00097265 | 0.00024377 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5136-9_1_4_load_107 | 2 | 0.00059886 | 0.00015009 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5136-9_1_4_load_54 | 3 | 0.00092144 | 0.00023094 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5136-9_1_4_load_55 | 4 | 0.0068595 | 0.0017192 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5136-9_1_4_load_56 | 6 | 0.0019398 | 0.00048615 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5136-9_1_4_load_122 | 8 | 0.00059016 | 0.00014791 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5136-9_1_4_load_67 | 9 | 0.009963 | 0.002497 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5136-9_1_4_load_68 | 10 | 0.0011254 | 0.00028204 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5136-9_1_4_load_71 | 12 | 0.0015447 | 0.00038714 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5136-9_1_4_load_72 | 13 | 0.00096568 | 0.00024202 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5136-9_1_4_load_74 | 15 | 0.0011519 | 0.0002887 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5136-9_1_4_load_75 | 16 | 0.00097854 | 0.00024525 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5136-9_1_4_load_78 | 17 | 0.00096773 | 0.00024254 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5136-9_1_4_load_76 | 18 | 0.0012752 | 0.00031959 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5136-9_1_4_load_77 | 19 | 0.001491 | 0.00037368 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5136-9_1_4_load_80 | 20 | 0.0015884 | 0.00039809 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5136-9_1_4_load_81 | 21 | 0.0011415 | 0.00028608 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5136-9_1_4_load_82 | 22 | 0.0011186 | 0.00028034 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5136-9_1_4_load_112 | 25 | 0.00067764 | 0.00016983 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5136-9_1_4_load_92 | 26 | 0.0012007 | 0.00030091 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5136-9_1_4_load_86 | 27 | 0.0014477 | 0.00036282 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5136-9_1_4_load_87 | 28 | 0.0018007 | 0.00045131 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5136-9_1_4_load_90 | 31 | 0.0013287 | 0.00033301 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5136-9_1_4_load_94 | 34 | 0.0016772 | 0.00042034 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5136-9_1_4_load_105 | 35 | 0.0031195 | 0.00078182 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5136-9_1_4_load_106 | 36 | 0.003299 | 0.00082681 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5136-9_1_4_load_100 | 37 | 0.0014253 | 0.00035722 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5136-9_1_4_load_95 | 38 | 0.0034226 | 0.00085779 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5136-9_1_4_load_110 | 41 | 0.0019114 | 0.00047905 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5136-9_1_4_load_108 | 42 | 0.0041434 | 0.0010384 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5136-9_1_4_load_102 | 46 | 0.0012041 | 0.00030179 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5136-9_1_4_load_109 | 47 | 0.0047444 | 0.0011891 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5136-9_1_4_load_111 | 48 | 0.0022703 | 0.00056899 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5136-9_1_4_load_113 | 49 | 0.0005723 | 0.00014343 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5136-9_1_4_load_114 | 50 | 0.0012098 | 0.0003032 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5136-9_1_4_load_118 | 53 | 0.0010808 | 0.00027087 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5136-9_1_4_load_119 | 54 | 0.0010922 | 0.00027372 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5136-9_1_4_load_120 | 55 | 0.00076278 | 0.00019117 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5136-9_1_4_load_121 | 58 | 0.00086351 | 0.00021642 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5136-9_1_4_load_125 | 59 | 0.00068486 | 0.00017164 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5136-9_1_4_load_126 | 61 | 0.00054123 | 0.00013564 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5136-9_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.19901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_5136-9_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0072489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5136-9_1_4_line_2 | NAYY 4x150 SE | 1 | 51 | 0.060345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_5136-9_1_4_line_3 | NAYY 4x150 SE | 2 | 43 | 0.02087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5136-9_1_4_line_4 | NAYY 4x150 SE | 3 | 4 | 0.32708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_5136-9_1_4_line_5 | NAYY 4x150 SE | 3 | 5 | 0.46685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_5136-9_1_4_line_6 | NAYY 4x150 SE | 4 | 6 | 0.13844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_5136-9_1_4_line_7 | NAYY 4x150 SE | 5 | 9 | 0.05395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_5136-9_1_4_line_8 | NAYY 4x150 SE | 5 | 10 | 0.079909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5136-9_1_4_line_9 | NAYY 4x150 SE | 6 | 7 | 0.079161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_5136-9_1_4_line_10 | NAYY 4x150 SE | 7 | 8 | 0.05584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_5136-9_1_4_line_11 | NAYY 4x150 SE | 8 | 53 | 0.018693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_5136-9_1_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.1262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_5136-9_1_4_line_13 | NAYY 4x150 SE | 11 | 21 | 0.017676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5136-9_1_4_line_14 | NAYY 4x150 SE | 11 | 17 | 0.088987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_5136-9_1_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.16751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5136-9_1_4_line_16 | NAYY 4x150 SE | 12 | 14 | 0.081922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_5136-9_1_4_line_17 | NAYY 4x150 SE | 13 | 15 | 0.062668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5136-9_1_4_line_18 | NAYY 4x150 SE | 14 | 16 | 0.10554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5136-9_1_4_line_19 | NAYY 4x150 SE | 14 | 17 | 0.45977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_5136-9_1_4_line_20 | NAYY 4x150 SE | 15 | 18 | 0.05339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5136-9_1_4_line_21 | NAYY 4x150 SE | 16 | 19 | 0.097104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5136-9_1_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.02378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5136-9_1_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.016784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5136-9_1_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.13472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5136-9_1_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.04241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5136-9_1_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0043456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5136-9_1_4_line_27 | NAYY 4x150 SE | 25 | 49 | 0.078302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5136-9_1_4_line_28 | NAYY 4x150 SE | 26 | 31 | 0.0064484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5136-9_1_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0099251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5136-9_1_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.02217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5136-9_1_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.091325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5136-9_1_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0092483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5136-9_1_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.1052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5136-9_1_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.005224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5136-9_1_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.012664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5136-9_1_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.051278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5136-9_1_4_line_37 | NAYY 4x150 SE | 33 | 36 | 0.026442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5136-9_1_4_line_38 | NAYY 4x150 SE | 34 | 37 | 0.012108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5136-9_1_4_line_39 | NAYY 4x150 SE | 36 | 47 | 0.010016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5136-9_1_4_line_40 | NAYY 4x150 SE | 37 | 45 | 0.01642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5136-9_1_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0060712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5136-9_1_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.071191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5136-9_1_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.0090288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5136-9_1_4_line_44 | NAYY 4x150 SE | 40 | 42 | 0.040664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5136-9_1_4_line_45 | NAYY 4x150 SE | 41 | 48 | 0.0004231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5136-9_1_4_line_46 | NAYY 4x150 SE | 42 | 47 | 0.00040979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5136-9_1_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.1341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5136-9_1_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.035002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5136-9_1_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.032145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5136-9_1_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.01123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_5136-9_1_4_line_51 | NAYY 4x150 SE | 50 | 52 | 0.019838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_5136-9_1_4_line_52 | NAYY 4x150 SE | 51 | 53 | 0.029919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_5136-9_1_4_line_53 | NAYY 4x150 SE | 52 | 54 | 0.007454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5136-9_1_4_line_54 | NAYY 4x150 SE | 52 | 55 | 0.05802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_5136-9_1_4_line_55 | NAYY 4x150 SE | 54 | 56 | 0.046515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5136-9_1_4_line_56 | NAYY 4x150 SE | 55 | 57 | 0.011407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_5136-9_1_4_line_57 | NAYY 4x150 SE | 56 | 59 | 0.015947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5136-9_1_4_line_58 | NAYY 4x150 SE | 57 | 60 | 0.063491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_5136-9_1_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.002768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5136-9_1_4_line_60 | NAYY 4x150 SE | 60 | 61 | 0.010225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5136-9_1_4_trafo_127 | 0.25 MVA 20/0.4 kV | 62 | 60 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2695838.1833 | 1118865.872 | 2695961.3624 | 1119022.1846
1 | 2695961.3624 | 1119022.1846 | 2695960.1759 | 1119029.3357
2 | 2695802.4946 | 1118817.1442 | 2695838.1833 | 1118865.872
3 | 2695963.8198 | 1119049.7405 | 2695961.4471 | 1119036.3169 | 2695959.8777 | 1119031.1333 | 2695960.1759 | 1119029.3357
4 | 2695703.3089 | 1118552.0805 | 2695629.2412 | 1118233.4954
5 | 2695629.2412 | 1118233.4954 | 2695188.4441 | 1118387.2566
6 | 2695716.6076 | 1118689.8798 | 2695703.3089 | 1118552.0805
7 | 2695188.4441 | 1118387.2566 | 2695204.9453 | 1118409.4183 | 2695198.7234 | 1118434.9918
8 | 2695188.4441 | 1118387.2566 | 2695132.4444 | 1118444.2602
9 | 2695760.1548 | 1118742.8848 | 2695723.3498 | 1118725.1255 | 2695724.1142 | 1118701.1896 | 2695716.6482 | 1118693.5336 | 2695716.6076 | 1118689.8798
10 | 2695760.1548 | 1118742.8848 | 2695778.3465 | 1118751.6666 | 2695796.2062 | 1118763.3785 | 2695805.9384 | 1118773.8311
11 | 2695812.127 | 1118789.5859 | 2695810.435 | 1118785.5393 | 2695811.9764 | 1118780.316 | 2695805.9384 | 1118773.8311
12 | 2695166.4864 | 1118530.5326 | 2695161.8918 | 1118505.623 | 2695173.7939 | 1118488.4216 | 2695171.4316 | 1118480.1017 | 2695159.0214 | 1118476.5934 | 2695164.1625 | 1118466.7348 | 2695179.7796 | 1118456.2627 | 2695198.7234 | 1118434.9918
13 | 2695166.4864 | 1118530.5326 | 2695177.5192 | 1118528.3602 | 2695178.3738 | 1118521.9858
14 | 2695166.4864 | 1118530.5326 | 2695153.4282 | 1118546.6484 | 2695130.9762 | 1118559.3703 | 2695093.7839 | 1118579.8117
15 | 2694671.9824 | 1118915.6195 | 2694659.7538 | 1118954.3409 | 2694637.678 | 1118984.6367 | 2694618.8632 | 1119019.1194 | 2694622.6927 | 1119053.5891 | 2694611.5127 | 1119064.2654
16 | 2694722.9196 | 1118851.5545 | 2694701.6908 | 1118875.5149 | 2694671.9824 | 1118915.6195 | 2694671.9824 | 1118915.6195
17 | 2694662.663 | 1119086.6449 | 2694637.4782 | 1119079.8583 | 2694609.8795 | 1119071.978 | 2694611.5127 | 1119064.2654 | 2694611.5127 | 1119064.2654
18 | 2694722.9196 | 1118851.5545 | 2694756.004 | 1118951.7777
19 | 2694722.9196 | 1118851.5545 | 2695093.7839 | 1118579.8117
20 | 2694662.663 | 1119086.6449 | 2694662.663 | 1119086.6449 | 2694657.0033 | 1119110.5043 | 2694645.5902 | 1119137.0209
21 | 2694756.004 | 1118951.7777 | 2694786.4433 | 1119043.9878
22 | 2694645.5902 | 1119137.0209 | 2694638.0471 | 1119154.5461 | 2694636.188 | 1119158.8634
23 | 2695178.3738 | 1118521.9858 | 2695179.2505 | 1118515.4461 | 2695189.138 | 1118517.8919
24 | 2695971.4519 | 1119240.6119 | 2695969.335 | 1119243.6802 | 2695962.0231 | 1119247.7891 | 2695947.4955 | 1119249.9381 | 2695937.3296 | 1119251.5225 | 2695925.3864 | 1119254.2238 | 2695921.8898 | 1119259.127 | 2695911.4992 | 1119261.7419 | 2695904.3989 | 1119265.6541 | 2695900.6161 | 1119266.2168 | 2695896.8258 | 1119266.7682 | 2695890.9736 | 1119263.9961 | 2695889.567 | 1119261.1943 | 2695888.5392 | 1119254.4628 | 2695872.8105 | 1119234.5127 | 2695865.6979 | 1119226.0394
25 | 2695865.6979 | 1119226.0394 | 2695856.2889 | 1119203.699 | 2695845.7814 | 1119188.877
26 | 2695971.4519 | 1119240.6119 | 2695975.7974 | 1119240.5807
27 | 2695845.7814 | 1119188.877 | 2695842.8895 | 1119184.7976 | 2695832.9479 | 1119171.232 | 2695829.07 | 1119153.4264 | 2695842.7333 | 1119117.6894
28 | 2695981.6652 | 1119243.2548 | 2695975.7974 | 1119240.5807
29 | 2695995.0751 | 1119225.3892 | 2695998.8617 | 1119216.2148
30 | 2695990.1278 | 1119246.9784 | 2695991.885 | 1119238.3676 | 2695994.5559 | 1119226.6472 | 2695995.0751 | 1119225.3892
31 | 2696043.2101 | 1119173.4525 | 2696042.0109 | 1119177.0468 | 2696048.6385 | 1119183.9672 | 2696044.758 | 1119186.7963 | 2696025.238 | 1119190.8226 | 2696022.9341 | 1119192.5427 | 2696014.2478 | 1119192.3049 | 2695997.9415 | 1119195.6485 | 2695997.3952 | 1119197.4965 | 2696004.657 | 1119209.6857 | 2695999.7166 | 1119214.1435 | 2695998.8617 | 1119216.2148
32 | 2695990.1278 | 1119246.9784 | 2695988.2331 | 1119246.2479 | 2695981.6652 | 1119243.2548
33 | 2696082.6269 | 1119125.6149 | 2696085.0566 | 1119132.024 | 2696087.1342 | 1119138.2497 | 2696084.6038 | 1119141.1002 | 2696079.3787 | 1119144.5194 | 2696071.3477 | 1119148.2165 | 2696058.4839 | 1119150.0692 | 2696052.0545 | 1119150.5898 | 2696048.2488 | 1119155.9994 | 2696046.2552 | 1119157.6132 | 2696040.1453 | 1119157.9388 | 2696034.568 | 1119163.6205 | 2696024.7403 | 1119169.6573 | 2696031.7574 | 1119171.0027 | 2696043.2101 | 1119173.4525
34 | 2696082.6269 | 1119125.6149 | 2696087.4519 | 1119123.579
35 | 2696082.6269 | 1119125.6149 | 2696069.9873 | 1119126.3952
36 | 2696087.4519 | 1119123.579 | 2696087.534 | 1119119.3778 | 2696084.3484 | 1119118.2932 | 2696083.574 | 1119114.5676 | 2696083.3848 | 1119107.0377 | 2696086.467 | 1119108.3207 | 2696090.2376 | 1119099.2972 | 2696090.7381 | 1119093.535 | 2696104.2157 | 1119092.4036
37 | 2696087.4519 | 1119123.579 | 2696105.6722 | 1119115.8745 | 2696112.2153 | 1119114.6348
38 | 2696058.2299 | 1119128.4922 | 2696061.8537 | 1119126.8973 | 2696069.9873 | 1119126.3952
39 | 2696112.2153 | 1119114.6348 | 2696122.0558 | 1119112.7704
40 | 2696043.201 | 1119135.1066 | 2696058.2299 | 1119128.4922
41 | 2696162.8396 | 1119036.0439 | 2696166.2761 | 1119032.0293 | 2696166.811 | 1119031.4525
42 | 2696138.8817 | 1119091.5643 | 2696135.6325 | 1119082.3293 | 2696136.1747 | 1119082.2045 | 2696144.7967 | 1119080.1846 | 2696150.6711 | 1119079.6219 | 2696151.8978 | 1119070.9027 | 2696153.711 | 1119067.5294 | 2696154.2844 | 1119066.4156 | 2696157.3408 | 1119060.5716 | 2696157.8546 | 1119053.9757 | 2696159.3982 | 1119041.8261 | 2696162.2733 | 1119036.7131 | 2696162.8396 | 1119036.0439
43 | 2696138.8817 | 1119091.5643 | 2696129.9215 | 1119092.6752
44 | 2696138.8817 | 1119091.5643 | 2696144.8184 | 1119108.4578 | 2696122.4585 | 1119112.6941
45 | 2696129.5016 | 1119092.7273 | 2696129.9215 | 1119092.6752
46 | 2696122.0558 | 1119112.7704 | 2696122.4585 | 1119112.6941
47 | 2695963.8198 | 1119049.7405 | 2695950.2287 | 1119058.5083 | 2695940.5848 | 1119066.0936 | 2695942.3096 | 1119068.2889 | 2695951.3468 | 1119066.3642 | 2695959.688 | 1119062.5718 | 2695977.4595 | 1119071.003 | 2695991.0527 | 1119075.2432 | 2696001.2043 | 1119074.5814 | 2696019.2212 | 1119067.5405 | 2696031.414 | 1119069.0791 | 2696039.4193 | 1119073.3309
48 | 2696039.4193 | 1119073.3309 | 2696041.379 | 1119080.1773 | 2696039.3249 | 1119085.6036 | 2696037.4086 | 1119095.4793 | 2696036.8801 | 1119103.0089 | 2696037.7731 | 1119107.3897
49 | 2696043.201 | 1119135.1066 | 2696040.1716 | 1119130.5001 | 2696035.5424 | 1119128.4699 | 2696038.1758 | 1119119.1171 | 2696038.7991 | 1119112.4228 | 2696037.7731 | 1119107.3897
50 | 2695802.4946 | 1118817.1442 | 2695795.5342 | 1118819.9914 | 2695793.5822 | 1118823.1462
51 | 2695784.5083 | 1118840.7632 | 2695790.861 | 1118827.5444 | 2695793.5822 | 1118823.1462
52 | 2695802.4946 | 1118817.1442 | 2695811.039 | 1118799.0683 | 2695813.0229 | 1118791.7285 | 2695812.127 | 1118789.5859
53 | 2695784.5083 | 1118840.7632 | 2695777.1824 | 1118839.3872
54 | 2695784.5083 | 1118840.7632 | 2695784.1172 | 1118841.5797 | 2695785.8047 | 1118846.1425 | 2695788.5106 | 1118858.0482 | 2695790.648 | 1118866.854 | 2695788.8496 | 1118869.3049 | 2695781.1071 | 1118874.7524 | 2695777.2277 | 1118877.9931 | 2695776.5261 | 1118882.8294 | 2695773.843 | 1118885.5776 | 2695771.7543 | 1118889.7766
55 | 2695742.2853 | 1118809.8656 | 2695754.3797 | 1118817.1724 | 2695768.3964 | 1118834.2044 | 2695775.4588 | 1118839.0635 | 2695777.1824 | 1118839.3872
56 | 2695767.3751 | 1118900.2287 | 2695769.9721 | 1118895.1111 | 2695770.6385 | 1118892.0197 | 2695771.7543 | 1118889.7766
57 | 2695742.2853 | 1118809.8656 | 2695729.9932 | 1118799.7069
58 | 2695711.3999 | 1118877.5746 | 2695718.1137 | 1118878.6035 | 2695721.1912 | 1118880.1976 | 2695725.9029 | 1118883.374 | 2695731.0992 | 1118888.6149 | 2695746.8101 | 1118896.6014 | 2695748.4496 | 1118897.8614 | 2695752.5292 | 1118898.5486 | 2695755.5362 | 1118897.7623 | 2695758.928 | 1118896.0704 | 2695766.2844 | 1118899.411 | 2695767.3751 | 1118900.2287
59 | 2695767.3751 | 1118900.2287 | 2695768.0692 | 1118900.7511 | 2695768.6635 | 1118902.5551
60 | 2695711.3999 | 1118877.5746 | 2695714.7619 | 1118874.8372 | 2695716.5734 | 1118871.5638 | 2695716.3264 | 1118869.4294

## bus_geodata
| x | y | coords
0 | 2695961.3624 | 1119022.1846
1 | 2695838.1833 | 1118865.872
2 | 2695960.1759 | 1119029.3357
3 | 2695629.2412 | 1118233.4954
4 | 2695703.3089 | 1118552.0805
5 | 2695188.4441 | 1118387.2566
6 | 2695716.6076 | 1118689.8798
7 | 2695760.1548 | 1118742.8848
8 | 2695805.9384 | 1118773.8311
9 | 2695198.7234 | 1118434.9918
10 | 2695132.4445 | 1118444.2602
11 | 2695166.4864 | 1118530.5326
12 | 2694671.9824 | 1118915.6195
13 | 2694611.5127 | 1119064.2654
14 | 2694722.9196 | 1118851.5545
15 | 2694662.663 | 1119086.6449
16 | 2694756.004 | 1118951.7777
17 | 2695093.7839 | 1118579.8117
18 | 2694645.5902 | 1119137.0209
19 | 2694786.4433 | 1119043.9878
20 | 2694636.188 | 1119158.8634
21 | 2695178.3738 | 1118521.9858
22 | 2695189.138 | 1118517.8919
23 | 2695865.6979 | 1119226.0394
24 | 2695971.4519 | 1119240.6119
25 | 2695845.7814 | 1119188.877
26 | 2695975.7974 | 1119240.5807
27 | 2695995.0751 | 1119225.3892
28 | 2695998.8617 | 1119216.2148
29 | 2695990.1278 | 1119246.9784
30 | 2696043.2101 | 1119173.4525
31 | 2695981.6652 | 1119243.2548
32 | 2696082.6269 | 1119125.6149
33 | 2696087.4519 | 1119123.579
34 | 2696069.9873 | 1119126.3952
35 | 2696104.2157 | 1119092.4036
36 | 2696112.2153 | 1119114.6348
37 | 2696058.2299 | 1119128.4922
38 | 2696166.811 | 1119031.4525
39 | 2696162.8396 | 1119036.0439
40 | 2696138.8817 | 1119091.5643
41 | 2696129.9215 | 1119092.6752
42 | 2696122.4585 | 1119112.6941
43 | 2695963.8198 | 1119049.7405
44 | 2696039.4193 | 1119073.3309
45 | 2696043.2011 | 1119135.1066
46 | 2696037.7731 | 1119107.3897
47 | 2696122.0558 | 1119112.7704
48 | 2696129.5016 | 1119092.7273
49 | 2695842.7333 | 1119117.6894
50 | 2695793.5822 | 1118823.1462
51 | 2695802.4946 | 1118817.1442
52 | 2695784.5083 | 1118840.7632
53 | 2695812.127 | 1118789.5859
54 | 2695777.1824 | 1118839.3872
55 | 2695771.7543 | 1118889.7766
56 | 2695742.2853 | 1118809.8656
57 | 2695767.3751 | 1118900.2287
58 | 2695768.6635 | 1118902.5551
59 | 2695729.9932 | 1118799.7069
60 | 2695711.3999 | 1118877.5746
61 | 2695716.3264 | 1118869.4294
62 | 2695766.2844 | 1118899.411

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1