## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5281-24_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5281-24_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5281-24_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5281-24_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5281-24_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_5281-24_0_4_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_5281-24_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_5281-24_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_5281-24_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5281-24_0_4_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_5281-24_0_4_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_5281-24_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_5281-24_0_4_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_5281-24_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_5281-24_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5281-24_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5281-24_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_5281-24_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5281-24_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5281-24_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5281-24_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5281-24_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5281-24_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5281-24_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5281-24_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_5281-24_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_5281-24_0_4_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_5281-24_0_4_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_5281-24_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_5281-24_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_5281-24_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5281-24_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_5281-24_0_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_5281-24_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_5281-24_0_4_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_5281-24_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_5281-24_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5281-24_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_5281-24_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_5281-24_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_5281-24_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_5281-24_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_5281-24_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_5281-24_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_5281-24_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_5281-24_0_4_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_5281-24_0_4_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_5281-24_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5281-24_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_5281-24_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_5281-24_0_4_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_5281-24_0_4_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_5281-24_0_4_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_5281-24_0_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_5281-24_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_5281-24_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_5281-24_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_5281-24_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_5281-24_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5281-24_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_5281-24_0_4_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_5281-24_0_4_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_5281-24_0_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_5281-24_0_4_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_5281-24_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_5281-24_0_4_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_5281-24_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_5281-24_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_5281-24_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_5281-24_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_5281-24_0_4_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_5281-24_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_5281-24_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_5281-24_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_MV_186_1_node_299 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5281-24_0_4_load_0 | 0 | 0.0039673 | 0.00099429 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5281-24_0_4_load_3 | 3 | 0.0037962 | 0.00095142 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5281-24_0_4_load_8 | 4 | 0.0034987 | 0.00087686 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5281-24_0_4_load_24 | 5 | 0.0022869 | 0.00057314 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5281-24_0_4_load_21 | 6 | 0.0020339 | 0.00050975 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5281-24_0_4_load_17 | 7 | 0.01026 | 0.0025714 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5281-24_0_4_load_22 | 10 | 0.01603 | 0.0040175 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5281-24_0_4_load_15 | 11 | 0.0032472 | 0.00081383 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5281-24_0_4_load_4 | 12 | 0.0012181 | 0.00030529 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5281-24_0_4_load_5 | 13 | 0.0030217 | 0.0007573 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5281-24_0_4_load_7 | 14 | 0.0028134 | 0.00070511 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5281-24_0_4_load_9 | 15 | 0.0053367 | 0.0013375 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5281-24_0_4_load_14 | 16 | 0.0062717 | 0.0015718 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5281-24_0_4_load_13 | 18 | 0.0024804 | 0.00062165 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5281-24_0_4_load_10 | 19 | 0.0019914 | 0.00049909 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5281-24_0_4_load_11 | 20 | 0.0023976 | 0.0006009 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5281-24_0_4_load_19 | 21 | 0.0037063 | 0.00092889 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5281-24_0_4_load_16 | 22 | 0.0046041 | 0.0011539 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5281-24_0_4_load_18 | 23 | 0.0050095 | 0.0012555 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5281-24_0_4_load_25 | 25 | 0.01191 | 0.002985 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5281-24_0_4_load_77 | 26 | 0.0029499 | 0.00073932 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5281-24_0_4_load_28 | 29 | 0.0040107 | 0.0010052 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5281-24_0_4_load_29 | 30 | 0.0025099 | 0.00062903 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5281-24_0_4_load_30 | 31 | 0.0040815 | 0.0010229 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5281-24_0_4_load_46 | 32 | 0.0054295 | 0.0013608 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5281-24_0_4_load_44 | 34 | 0.0024757 | 0.00062046 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5281-24_0_4_load_31 | 35 | 0.0051021 | 0.0012787 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5281-24_0_4_load_32 | 36 | 0.0017163 | 0.00043014 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5281-24_0_4_load_34 | 37 | 0.0060222 | 0.0015093 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5281-24_0_4_load_35 | 38 | 0.0024211 | 0.0006068 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5281-24_0_4_load_37 | 39 | 0.0025872 | 0.00064841 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5281-24_0_4_load_38 | 40 | 0.0022655 | 0.0005678 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5281-24_0_4_load_40 | 42 | 0.0021273 | 0.00053315 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5281-24_0_4_load_42 | 44 | 0.001315 | 0.00032958 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5281-24_0_4_load_54 | 45 | 0.0019744 | 0.00049482 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5281-24_0_4_load_55 | 46 | 0.0013913 | 0.0003487 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5281-24_0_4_load_43 | 47 | 0.0023078 | 0.00057839 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5281-24_0_4_load_45 | 48 | 0.0037319 | 0.0009353 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5281-24_0_4_load_58 | 51 | 0.0030971 | 0.0007762 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5281-24_0_4_load_76 | 52 | 0.0045997 | 0.0011528 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5281-24_0_4_load_57 | 53 | 0.0035158 | 0.00088114 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5281-24_0_4_load_48 | 54 | 0.0031997 | 0.00080192 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5281-24_0_4_load_49 | 55 | 0.0038223 | 0.00095797 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5281-24_0_4_load_53 | 58 | 0.0020814 | 0.00052164 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5281-24_0_4_load_73 | 62 | 0.0030066 | 0.00075351 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5281-24_0_4_load_61 | 63 | 0.0017914 | 0.00044897 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5281-24_0_4_load_64 | 64 | 0.0044366 | 0.0011119 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5281-24_0_4_load_69 | 65 | 0.003068 | 0.00076892 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5281-24_0_4_load_59 | 66 | 0.0030846 | 0.00077307 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5281-24_0_4_load_63 | 67 | 0.0033991 | 0.0008519 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5281-24_0_4_load_60 | 68 | 0.004406 | 0.0011042 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5281-24_0_4_load_62 | 69 | 0.0032331 | 0.0008103 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5281-24_0_4_load_67 | 70 | 0.0029833 | 0.00074768 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5281-24_0_4_load_65 | 71 | 0.0029908 | 0.00074956 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5281-24_0_4_load_70 | 72 | 0.0022285 | 0.00055852 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5281-24_0_4_load_72 | 73 | 0.0050267 | 0.0012598 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5281-24_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.052355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5281-24_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.024712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5281-24_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.031832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5281-24_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.024193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5281-24_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.025139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5281-24_0_4_line_5 | NAYY 4x150 SE | 2 | 6 | 0.01325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5281-24_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.026496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5281-24_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.012069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5281-24_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.050958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5281-24_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.039568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5281-24_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0045544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5281-24_0_4_line_11 | NAYY 4x150 SE | 8 | 15 | 0.011457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5281-24_0_4_line_12 | NAYY 4x150 SE | 8 | 12 | 0.0080052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5281-24_0_4_line_13 | NAYY 4x150 SE | 9 | 26 | 0.005978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5281-24_0_4_line_14 | NAYY 4x150 SE | 9 | 27 | 0.013713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5281-24_0_4_line_15 | NAYY 4x150 SE | 10 | 24 | 0.030389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5281-24_0_4_line_16 | NAYY 4x150 SE | 11 | 22 | 0.021583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5281-24_0_4_line_17 | NAYY 4x150 SE | 12 | 13 | 0.0059068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5281-24_0_4_line_18 | NAYY 4x150 SE | 13 | 14 | 0.021764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5281-24_0_4_line_19 | NAYY 4x150 SE | 14 | 16 | 0.01394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5281-24_0_4_line_20 | NAYY 4x150 SE | 15 | 17 | 0.019464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5281-24_0_4_line_21 | NAYY 4x150 SE | 17 | 18 | 0.013068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5281-24_0_4_line_22 | NAYY 4x150 SE | 17 | 19 | 0.03014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5281-24_0_4_line_23 | NAYY 4x150 SE | 18 | 21 | 0.032335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5281-24_0_4_line_24 | NAYY 4x150 SE | 19 | 20 | 0.015682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5281-24_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.017071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5281-24_0_4_line_26 | NAYY 4x150 SE | 24 | 25 | 0.040476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5281-24_0_4_line_27 | NAYY 4x150 SE | 27 | 33 | 0.03034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5281-24_0_4_line_28 | NAYY 4x150 SE | 27 | 30 | 0.01811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_5281-24_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.045138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5281-24_0_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.033825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_5281-24_0_4_line_31 | NAYY 4x150 SE | 28 | 31 | 0.053879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5281-24_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.026647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5281-24_0_4_line_33 | NAYY 4x150 SE | 32 | 34 | 0.025957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5281-24_0_4_line_34 | NAYY 4x150 SE | 33 | 38 | 0.029828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5281-24_0_4_line_35 | NAYY 4x150 SE | 33 | 35 | 0.029116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5281-24_0_4_line_36 | NAYY 4x150 SE | 34 | 47 | 0.0072527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5281-24_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.019569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5281-24_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0038693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5281-24_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.01863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5281-24_0_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.0069278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5281-24_0_4_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0030101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5281-24_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.022629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5281-24_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.040069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5281-24_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.017392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5281-24_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.027463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5281-24_0_4_line_46 | NAYY 4x150 SE | 45 | 46 | 0.0095085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5281-24_0_4_line_47 | NAYY 4x150 SE | 47 | 48 | 0.023299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5281-24_0_4_line_48 | NAYY 4x150 SE | 48 | 49 | 0.012216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5281-24_0_4_line_49 | NAYY 4x150 SE | 49 | 50 | 0.023091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5281-24_0_4_line_50 | NAYY 4x150 SE | 49 | 51 | 0.017407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5281-24_0_4_line_51 | NAYY 4x150 SE | 50 | 52 | 0.021747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5281-24_0_4_line_52 | NAYY 4x150 SE | 51 | 53 | 0.019394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5281-24_0_4_line_53 | NAYY 4x150 SE | 52 | 60 | 0.0040923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5281-24_0_4_line_54 | NAYY 4x150 SE | 54 | 55 | 0.026566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5281-24_0_4_line_55 | NAYY 4x150 SE | 54 | 56 | 0.012458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5281-24_0_4_line_56 | NAYY 4x150 SE | 56 | 57 | 0.029942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5281-24_0_4_line_57 | NAYY 4x150 SE | 56 | 58 | 0.019142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5281-24_0_4_line_58 | NAYY 4x150 SE | 57 | 62 | 0.02162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5281-24_0_4_line_59 | NAYY 4x150 SE | 57 | 63 | 0.013197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5281-24_0_4_line_60 | NAYY 4x150 SE | 57 | 64 | 0.020727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5281-24_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.016938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5281-24_0_4_line_62 | NAYY 4x150 SE | 59 | 61 | 0.013575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5281-24_0_4_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0089408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5281-24_0_4_line_64 | NAYY 4x150 SE | 61 | 65 | 0.013803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5281-24_0_4_line_65 | NAYY 4x150 SE | 63 | 66 | 0.016786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5281-24_0_4_line_66 | NAYY 4x150 SE | 64 | 67 | 0.0052953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5281-24_0_4_line_67 | NAYY 4x150 SE | 65 | 72 | 0.00090848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5281-24_0_4_line_68 | NAYY 4x150 SE | 66 | 68 | 0.0013217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5281-24_0_4_line_69 | NAYY 4x150 SE | 67 | 71 | 0.030007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5281-24_0_4_line_70 | NAYY 4x150 SE | 68 | 69 | 0.018147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5281-24_0_4_line_71 | NAYY 4x150 SE | 69 | 70 | 0.022718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5281-24_0_4_line_72 | NAYY 4x150 SE | 72 | 73 | 0.027593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5281-24_0_4_trafo_27 | 0.25 MVA 20/0.4 kV | 74 | 28 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2717632.6188 | 1136088.1757 | 2717616.7208 | 1136060.7143 | 2717602.7135 | 1136045.5774
1 | 2717632.6188 | 1136088.1757 | 2717657.3071 | 1136085.9996
2 | 2717632.6188 | 1136088.1757 | 2717602.2716 | 1136097.7838
3 | 2717657.3071 | 1136085.9996 | 2717656.7464 | 1136061.8132
4 | 2717657.3071 | 1136085.9996 | 2717658.898 | 1136111.0886
5 | 2717657.3071 | 1136085.9996 | 2717670.5475 | 1136085.4846
6 | 2717577.0112 | 1136105.7813 | 2717602.2716 | 1136097.7838
7 | 2717656.4666 | 1136049.7477 | 2717656.7464 | 1136061.8132
8 | 2717662.1229 | 1136161.9445 | 2717658.898 | 1136111.0886
9 | 2717710.0855 | 1136083.9469 | 2717670.5475 | 1136085.4846
10 | 2717577.0112 | 1136105.7813 | 2717572.6692 | 1136107.156
11 | 2717656.4666 | 1136049.7477 | 2717656.2022 | 1136038.2937
12 | 2717656.4666 | 1136049.7477 | 2717664.4717 | 1136049.7926
13 | 2717662.1229 | 1136161.9445 | 2717656.3137 | 1136163.4213
14 | 2717662.9953 | 1136175.6263 | 2717662.1229 | 1136161.9445
15 | 2717740.4518 | 1136082.7731 | 2717734.8057 | 1136082.9854 | 2717710.0855 | 1136083.9469
16 | 2717552.093 | 1136113.6705 | 2717572.6692 | 1136107.156
17 | 2717664.4717 | 1136049.7926 | 2717670.3785 | 1136049.8258
18 | 2717688.3066 | 1136043.1603 | 2717688.3084 | 1136045.0648 | 2717686.318 | 1136048.0614 | 2717681.3101 | 1136049.8873 | 2717670.3785 | 1136049.8258
19 | 2717688.294 | 1136029.2205 | 2717688.3066 | 1136043.1603
20 | 2717655.753 | 1136018.8351 | 2717656.2022 | 1136038.2937
21 | 2717655.753 | 1136018.8351 | 2717655.7485 | 1136005.767
22 | 2717655.753 | 1136018.8351 | 2717625.718 | 1136021.3511
23 | 2717655.7375 | 1135973.4317 | 2717655.7485 | 1136005.767
24 | 2717625.718 | 1136021.3511 | 2717620.0031 | 1136021.8298 | 2717615.3775 | 1136020.6278 | 2717613.0036 | 1136018.8137 | 2717612.1816 | 1136016.7949
25 | 2717535.8183 | 1136118.8231 | 2717552.093 | 1136113.6705
26 | 2717740.4518 | 1136082.7731 | 2717735.5188 | 1136101.2783 | 2717730.1602 | 1136118.7189 | 2717729.106 | 1136121.6119
27 | 2717662.9953 | 1136175.6263 | 2717634.4433 | 1136186.1106
28 | 2717662.9953 | 1136175.6263 | 2717665.4163 | 1136193.5736
29 | 2717669.4183 | 1136227.1528 | 2717643.8919 | 1136264.3803
30 | 2717669.4183 | 1136227.1528 | 2717668.4224 | 1136215.8591 | 2717665.4163 | 1136193.5736
31 | 2717669.4183 | 1136227.1528 | 2717669.8552 | 1136232.7762 | 2717673.5841 | 1136280.8702
32 | 2717673.5841 | 1136280.8702 | 2717675.6439 | 1136307.4375
33 | 2717675.6439 | 1136307.4375 | 2717677.6504 | 1136333.3166
34 | 2717634.4433 | 1136186.1106 | 2717628.6308 | 1136168.7968 | 2717617.5572 | 1136172.2391
35 | 2717634.4433 | 1136186.1106 | 2717610.9264 | 1136203.2768
36 | 2717678.2111 | 1136340.5476 | 2717677.6504 | 1136333.3166
37 | 2717610.9264 | 1136203.2768 | 2717603.11 | 1136208.9825 | 2717595.6363 | 1136215.4625
38 | 2717595.6363 | 1136215.4625 | 2717592.7128 | 1136217.9972
39 | 2717578.6368 | 1136230.2017 | 2717592.7128 | 1136217.9972
40 | 2717573.4024 | 1136234.74 | 2717578.6368 | 1136230.2017
41 | 2717571.1281 | 1136236.7119 | 2717573.4024 | 1136234.74
42 | 2717571.1281 | 1136236.7119 | 2717576.2391 | 1136247.7633 | 2717577.3213 | 1136258.1603
43 | 2717545.217 | 1136267.3282 | 2717571.1281 | 1136236.7119
44 | 2717577.3213 | 1136258.1603 | 2717579.027 | 1136274.5467 | 2717579.0409 | 1136275.4633
45 | 2717545.217 | 1136267.3282 | 2717523.848 | 1136250.0778
46 | 2717523.848 | 1136250.0778 | 2717516.4494 | 1136244.1052
47 | 2717678.2111 | 1136340.5476 | 2717680.0121 | 1136363.7765
48 | 2717680.9564 | 1136375.9557 | 2717680.0121 | 1136363.7765
49 | 2717680.9564 | 1136375.9557 | 2717681.9216 | 1136382.112 | 2717682.9497 | 1136385.4342 | 2717684.2951 | 1136387.8843 | 2717685.9218 | 1136389.7172 | 2717687.7096 | 1136391.1864 | 2717689.8122 | 1136392.2948 | 2717693.0353 | 1136393.5696
50 | 2717680.9564 | 1136375.9557 | 2717663.5519 | 1136376.2419
51 | 2717693.0353 | 1136393.5696 | 2717684.201 | 1136413.4415
52 | 2717644.1605 | 1136376.5609 | 2717663.5519 | 1136376.2419
53 | 2717682.5386 | 1136417.1809 | 2717684.201 | 1136413.4415
54 | 2717739.4648 | 1136412.7195 | 2717714.1133 | 1136404.7774
55 | 2717751.3529 | 1136416.4439 | 2717739.4648 | 1136412.7195
56 | 2717751.3529 | 1136416.4439 | 2717749.8159 | 1136417.1144 | 2717748.9654 | 1136418.4987 | 2717738.0545 | 1136442.8135
57 | 2717751.3529 | 1136416.4439 | 2717770.4199 | 1136418.6838
58 | 2717738.0545 | 1136442.8135 | 2717718.4054 | 1136433.7936
59 | 2717738.0545 | 1136442.8135 | 2717732.1617 | 1136454.6218
60 | 2717738.0545 | 1136442.8135 | 2717756.9371 | 1136451.3609
61 | 2717697.9386 | 1136424.3303 | 2717682.5386 | 1136417.1809
62 | 2717697.9386 | 1136424.3303 | 2717710.2799 | 1136430.0635
63 | 2717710.2799 | 1136430.0635 | 2717718.4054 | 1136433.7936
64 | 2717710.2799 | 1136430.0635 | 2717704.5481 | 1136442.6198
65 | 2717724.6663 | 1136469.6417 | 2717732.1617 | 1136454.6218
66 | 2717761.7611 | 1136453.5445 | 2717756.9371 | 1136451.3609
67 | 2717704.1708 | 1136443.4463 | 2717704.5481 | 1136442.6198
68 | 2717724.6663 | 1136469.6417 | 2717724.0761 | 1136470.8243
69 | 2717761.7611 | 1136453.5445 | 2717789.0981 | 1136465.9188
70 | 2717715.9731 | 1136487.0617 | 2717724.0761 | 1136470.8243
71 | 2717705.8289 | 1136507.3895 | 2717715.9731 | 1136487.0617
72 | 2717692.7124 | 1136468.5471 | 2717704.1708 | 1136443.4463

## bus_geodata
| x | y | coords
0 | 2717602.7135 | 1136045.5774
1 | 2717632.6188 | 1136088.1757
2 | 2717657.3071 | 1136085.9996
3 | 2717602.2716 | 1136097.7838
4 | 2717656.7464 | 1136061.8132
5 | 2717658.898 | 1136111.0886
6 | 2717670.5475 | 1136085.4846
7 | 2717577.0112 | 1136105.7813
8 | 2717656.4666 | 1136049.7477
9 | 2717662.1229 | 1136161.9445
10 | 2717710.0855 | 1136083.9469
11 | 2717572.6692 | 1136107.156
12 | 2717664.4717 | 1136049.7926
13 | 2717670.3785 | 1136049.8258
14 | 2717688.3066 | 1136043.1603
15 | 2717656.2022 | 1136038.2937
16 | 2717688.294 | 1136029.2205
17 | 2717655.753 | 1136018.8351
18 | 2717655.7485 | 1136005.767
19 | 2717625.718 | 1136021.3511
20 | 2717612.1816 | 1136016.7949
21 | 2717655.7375 | 1135973.4317
22 | 2717552.093 | 1136113.6705
23 | 2717535.8183 | 1136118.8231
24 | 2717740.4518 | 1136082.7731
25 | 2717729.106 | 1136121.6119
26 | 2717656.3137 | 1136163.4213
27 | 2717662.9953 | 1136175.6263
28 | 2717669.4183 | 1136227.1528
29 | 2717643.8919 | 1136264.3803
30 | 2717665.4163 | 1136193.5736
31 | 2717673.5841 | 1136280.8702
32 | 2717675.6439 | 1136307.4375
33 | 2717634.4433 | 1136186.1106
34 | 2717677.6504 | 1136333.3166
35 | 2717610.9264 | 1136203.2768
36 | 2717595.6363 | 1136215.4625
37 | 2717592.7128 | 1136217.9972
38 | 2717617.5572 | 1136172.2391
39 | 2717578.6368 | 1136230.2017
40 | 2717573.4024 | 1136234.74
41 | 2717571.1281 | 1136236.7119
42 | 2717577.3213 | 1136258.1603
43 | 2717545.217 | 1136267.3282
44 | 2717579.0409 | 1136275.4633
45 | 2717523.848 | 1136250.0778
46 | 2717516.4494 | 1136244.1052
47 | 2717678.2111 | 1136340.5476
48 | 2717680.0121 | 1136363.7765
49 | 2717680.9564 | 1136375.9557
50 | 2717693.0353 | 1136393.5696
51 | 2717663.5519 | 1136376.2419
52 | 2717684.201 | 1136413.4415
53 | 2717644.1605 | 1136376.5609
54 | 2717739.4648 | 1136412.7195
55 | 2717714.1133 | 1136404.7774
56 | 2717751.3529 | 1136416.4439
57 | 2717738.0545 | 1136442.8135
58 | 2717770.4199 | 1136418.6838
59 | 2717697.9386 | 1136424.3303
60 | 2717682.5386 | 1136417.1809
61 | 2717710.2799 | 1136430.0635
62 | 2717718.4054 | 1136433.7936
63 | 2717732.1617 | 1136454.6218
64 | 2717756.9371 | 1136451.3609
65 | 2717704.5481 | 1136442.6198
66 | 2717724.6663 | 1136469.6417
67 | 2717761.7611 | 1136453.5445
68 | 2717724.0761 | 1136470.8243
69 | 2717715.9731 | 1136487.0617
70 | 2717705.8289 | 1136507.3895
71 | 2717789.0981 | 1136465.9188
72 | 2717704.1708 | 1136443.4463
73 | 2717692.7124 | 1136468.5471
74 | 2717662.9953 | 1136175.6263

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1