## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5281-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5281-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5281-2_0_2_node_20 | 0.4 | n |  | TRUE
3 | bus_LV_5281-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5281-2_0_2_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_5281-2_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5281-2_0_2_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_5281-2_0_2_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_5281-2_0_2_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_5281-2_0_2_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_5281-2_0_2_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_5281-2_0_2_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_5281-2_0_2_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_5281-2_0_2_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_5281-2_0_2_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_5281-2_0_2_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_5281-2_0_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_5281-2_0_2_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_5281-2_0_2_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_5281-2_0_2_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_5281-2_0_2_node_59 | 0.4 | n |  | TRUE
21 | bus_MV_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5281-2_0_2_load_0 | 0 | 0.0078137 | 0.0019583 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5281-2_0_2_load_1 | 1 | 0.0053688 | 0.0013455 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5281-2_0_2_load_20 | 2 | 0.00078104 | 0.00019575 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5281-2_0_2_load_75 | 6 | 0.0024994 | 0.0006264 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5281-2_0_2_load_23 | 7 | 0.0017472 | 0.00043788 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5281-2_0_2_load_74 | 9 | 0.0018327 | 0.00045931 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5281-2_0_2_load_14 | 10 | 0.023497 | 0.0058888 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5281-2_0_2_load_15 | 11 | 0.0047329 | 0.0011862 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5281-2_0_2_load_16 | 12 | 0.0021664 | 0.00054294 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5281-2_0_2_load_17 | 13 | 0.0034479 | 0.00086413 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5281-2_0_2_load_18 | 14 | 0.0066661 | 0.0016707 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5281-2_0_2_load_58 | 15 | 0.0015796 | 0.00039589 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5281-2_0_2_load_19 | 16 | 0.0063341 | 0.0015875 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5281-2_0_2_load_46 | 17 | 0.00095808 | 0.00024012 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5281-2_0_2_load_54 | 18 | 0.00087193 | 0.00021853 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5281-2_0_2_load_55 | 19 | 0.00049853 | 0.00012494 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5281-2_0_2_load_59 | 20 | 0.00071977 | 0.00018039 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5281-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.049541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5281-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.12087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5281-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5281-2_0_2_line_3 | NAYY 4x150 SE | 2 | 16 | 0.016902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5281-2_0_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.009606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5281-2_0_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.010055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5281-2_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.014265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5281-2_0_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.025318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5281-2_0_2_line_8 | NAYY 4x150 SE | 5 | 7 | 0.023776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5281-2_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.018656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5281-2_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.071835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5281-2_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.018618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5281-2_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.023262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5281-2_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.014597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5281-2_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.43678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5281-2_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.027733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5281-2_0_2_line_16 | NAYY 4x150 SE | 15 | 20 | 0.083517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5281-2_0_2_line_17 | NAYY 4x150 SE | 17 | 18 | 0.20879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5281-2_0_2_line_18 | NAYY 4x150 SE | 18 | 19 | 0.70208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5281-2_0_2_line_19 | NAYY 4x150 SE | 19 | 20 | 0.43217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5281-2_0_2_trafo_14 | 0.25 MVA 20/0.4 kV | 21 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90 | x91 | y91 | x92 | y92 | x93 | y93 | x94 | y94 | x95 | y95 | x96 | y96 | x97 | y97
0 | 2718143.2148 | 1134691.1718 | 2718155.2396 | 1134643.1119
1 | 2718252.858 | 1134742.0535 | 2718143.2148 | 1134691.1718
2 | 2718160.8705 | 1134620.6065 | 2718155.2396 | 1134643.1119
3 | 2718260.8125 | 1134727.1398 | 2718252.858 | 1134742.0535
4 | 2718151.4307 | 1134618.6873 | 2718160.8705 | 1134620.6065
5 | 2718151.4307 | 1134618.6873 | 2718153.6397 | 1134608.8794
6 | 2718151.4307 | 1134618.6873 | 2718148.5199 | 1134632.6524
7 | 2718143.6038 | 1134655.9149 | 2718118.4826 | 1134652.7617
8 | 2718143.6038 | 1134655.9149 | 2718146.3667 | 1134642.9824 | 2718148.5199 | 1134632.6524
9 | 2718153.6397 | 1134608.8794 | 2718135.3832 | 1134605.039
10 | 2718280.7143 | 1134670.0343 | 2718288.701 | 1134613.6588 | 2718290.4528 | 1134602.4411 | 2718291.021 | 1134598.9442
11 | 2718280.7143 | 1134670.0343 | 2718279.2573 | 1134680.319 | 2718277.6963 | 1134688.3999
12 | 2718291.021 | 1134598.9442 | 2718292.5364 | 1134589.6177 | 2718293.718 | 1134575.8554
13 | 2718272.3265 | 1134701.9281 | 2718277.3038 | 1134690.432 | 2718277.6963 | 1134688.3999
14 | 2718293.718 | 1134575.8554 | 2718714.1984 | 1134457.66
15 | 2718260.8125 | 1134727.1398 | 2718263.9907 | 1134721.1811 | 2718272.3265 | 1134701.9281
16 | 2718714.1984 | 1134457.66 | 2718717.8423 | 1134459.2828 | 2718719.9306 | 1134464.6719 | 2718726.4741 | 1134467.0577 | 2718734.2203 | 1134471.3239 | 2718735.7665 | 1134476.48 | 2718732.1637 | 1134481.546 | 2718727.318 | 1134486.7876 | 2718733.5887 | 1134492.8705 | 2718743.0263 | 1134494.9018 | 2718745.6121 | 1134499.2667 | 2718738.2754 | 1134505.8937 | 2718733.6696 | 1134509.5056 | 2718733.6696 | 1134509.5056
17 | 2719450.7436 | 1133943.5695 | 2719450.2196 | 1133943.9234 | 2719443.3008 | 1133939.4725 | 2719438.6119 | 1133937.1227 | 2719433.8379 | 1133939.0741 | 2719429.843 | 1133942.8977 | 2719427.7066 | 1133946.9693 | 2719422.5047 | 1133949.5349 | 2719416.5076 | 1133950.6505 | 2719414.539 | 1133956.3599 | 2719410.9233 | 1133962.0368 | 2719408.5508 | 1133967.5381 | 2719406.7008 | 1133977.764 | 2719397.6665 | 1133975.9398 | 2719393.8864 | 1133969.2939 | 2719388.7656 | 1133967.7584 | 2719385.3821 | 1133972.2056 | 2719380.6092 | 1133984.2306 | 2719378.6081 | 1133991.585 | 2719371.0753 | 1134008.0695 | 2719368.2263 | 1134016.6413 | 2719365.487 | 1134019.667 | 2719361.7727 | 1134020.2051 | 2719359.9868 | 1134016.6786 | 2719359.2808 | 1134010.7161 | 2719355.3091 | 1134003.2437 | 2719347.7665 | 1133999.192 | 2719345.2543 | 1134000.8546 | 2719342.9605 | 1134002.377 | 2719341.3642 | 1134005.2252 | 2719341.4074 | 1134008.1057 | 2719342.5051 | 1134014.8987 | 2719340.8574 | 1134023.9767
18 | 2719340.8574 | 1134023.9767 | 2719340.6732 | 1134024.9916 | 2719340.6522 | 1134029.1718 | 2719337.4306 | 1134032.0546 | 2719331.5808 | 1134036.2419 | 2719325.3109 | 1134040.6433 | 2719318.2705 | 1134042.3498 | 2719316.9294 | 1134047.8715 | 2719320.8607 | 1134057.389 | 2719324.8323 | 1134064.8614 | 2719326.3454 | 1134071.6737 | 2719329.5098 | 1134078.3073 | 2719325.9066 | 1134083.3618 | 2719324.1701 | 1134087.8528 | 2719321.5697 | 1134094.3725 | 2719316.3881 | 1134095.9157 | 2719305.3972 | 1134099.6012 | 2719298.1852 | 1134099.859 | 2719293.175 | 1134103.2512 | 2719291.1904 | 1134109.7831 | 2719292.1446 | 1134113.7046 | 2719296.8333 | 1134116.0655 | 2719299.1337 | 1134124.7279 | 2719295.7016 | 1134131.6426 | 2719290.3488 | 1134131.3367 | 2719284.8933 | 1134126.0921 | 2719277.4155 | 1134118.7617 | 2719266.526 | 1134117.3125 | 2719256.8924 | 1134114.6538 | 2719251.8579 | 1134119.2798 | 2719248.6797 | 1134134.0049 | 2719250.2052 | 1134140.1947 | 2719246.0105 | 1134144.0145 | 2719245.33 | 1134147.2811 | 2719246.6799 | 1134151.8331 | 2719244.104 | 1134157.1191 | 2719239.4851 | 1134161.7534 | 2719235.0826 | 1134165.5691 | 2719237.0445 | 1134170.3221 | 2719240.673 | 1134174.5077 | 2719243.8456 | 1134180.7301 | 2719241.7302 | 1134183.3568 | 2719237.0089 | 1134182.652 | 2719231.0364 | 1134182.5341 | 2719226.8865 | 1134184.0866 | 2719222.9078 | 1134187.4993 | 2719216.9473 | 1134186.77 | 2719218.493 | 1134191.9374 | 2719223.5083 | 1134198.8077 | 2719220.9405 | 1134203.6825 | 2719216.5582 | 1134206.4757 | 2719206.8559 | 1134207.3071 | 2719200.8388 | 1134209.4454 | 2719196.2731 | 1134211.0008 | 2719194.2829 | 1134207.6815 | 2719181.7628 | 1134205.3774 | 2719172.7733 | 1134201.2973 | 2719164.5206 | 1134191.4835 | 2719166.6805 | 1134186.6005 | 2719169.1054 | 1134178.4317 | 2719168.4075 | 1134172.0469 | 2719166.0555 | 1134176.5258 | 2719161.6166 | 1134182.1866 | 2719158.6979 | 1134183.7745 | 2719157.3814 | 1134188.0626 | 2719153.5527 | 1134183.8731 | 2719148.8441 | 1134182.1346 | 2719148.6171 | 1134193.638 | 2719143.726 | 1134232.7569 | 2719142.7443 | 1134240.7541 | 2719145.9535 | 1134245.1204 | 2719153.3583 | 1134256.1517 | 2719160.1554 | 1134266.7596 | 2719152.1324 | 1134265.9897 | 2719150.6041 | 1134270.4737 | 2719158.5181 | 1134276.3783 | 2719157.9926 | 1134282.3275 | 2719153.0636 | 1134281.6187 | 2719146.6879 | 1134280.8702 | 2719143.3493 | 1134283.0614 | 2719144.0958 | 1134286.9788 | 2719140.517 | 1134290.8108 | 2719135.1153 | 1134293.3727 | 2719131.7483 | 1134297.0088 | 2719129.8083 | 1134301.2846 | 2719124.3789 | 1134304.8688 | 2719130.2622 | 1134309.4991 | 2719138.1959 | 1134314.7924 | 2719145.7263 | 1134319.4552 | 2719153.2443 | 1134324.7404 | 2719157.9045 | 1134328.5349 | 2719165.4105 | 1134334.4314 | 2719170.0264 | 1134340.4709 | 2719167.4708 | 1134344.7345 | 2719162.6645 | 1134348.3422 | 2719157.2107 | 1134353.1601 | 2719152.9839 | 1134358.6138 | 2719140.1306 | 1134362.6742
19 | 2718733.6696 | 1134509.5056 | 2719140.1306 | 1134362.6742

## bus_geodata
| x | y | coords
0 | 2718143.2148 | 1134691.1718
1 | 2718155.2396 | 1134643.1119
2 | 2718252.858 | 1134742.0535
3 | 2718160.8705 | 1134620.6065
4 | 2718151.4307 | 1134618.6873
5 | 2718143.6038 | 1134655.9149
6 | 2718118.4826 | 1134652.7617
7 | 2718148.5199 | 1134632.6524
8 | 2718153.6397 | 1134608.8794
9 | 2718135.3832 | 1134605.039
10 | 2718280.7143 | 1134670.0343
11 | 2718291.021 | 1134598.9442
12 | 2718277.6963 | 1134688.3999
13 | 2718293.718 | 1134575.8554
14 | 2718272.3265 | 1134701.9281
15 | 2718714.1984 | 1134457.66
16 | 2718260.8125 | 1134727.1398
17 | 2719450.7436 | 1133943.5695
18 | 2719340.8574 | 1134023.9767
19 | 2719140.1306 | 1134362.6742
20 | 2718733.6696 | 1134509.5056
21 | 2718280.7143 | 1134670.0343

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1