## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5281-2_2_2_node_24 | 0.4 | n |  | TRUE
1 | bus_LV_5281-2_2_2_node_25 | 0.4 | n |  | TRUE
2 | bus_LV_5281-2_2_2_node_26 | 0.4 | n |  | TRUE
3 | bus_LV_5281-2_2_2_node_27 | 0.4 | n |  | TRUE
4 | bus_LV_5281-2_2_2_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_5281-2_2_2_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_5281-2_2_2_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_5281-2_2_2_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_5281-2_2_2_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_5281-2_2_2_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_5281-2_2_2_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_5281-2_2_2_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_5281-2_2_2_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_5281-2_2_2_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_5281-2_2_2_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_5281-2_2_2_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_5281-2_2_2_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_5281-2_2_2_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_5281-2_2_2_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_5281-2_2_2_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_5281-2_2_2_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_5281-2_2_2_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_5281-2_2_2_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_5281-2_2_2_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_5281-2_2_2_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_5281-2_2_2_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_5281-2_2_2_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_5281-2_2_2_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_5281-2_2_2_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_5281-2_2_2_node_56 | 0.4 | n |  | TRUE
30 | bus_MV_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5281-2_2_2_load_24 | 0 | 0.0011213 | 0.00028103 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5281-2_2_2_load_25 | 1 | 0.0038015 | 0.00095274 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5281-2_2_2_load_26 | 2 | 0.0024588 | 0.00061624 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5281-2_2_2_load_27 | 3 | 0.0015169 | 0.00038017 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5281-2_2_2_load_28 | 4 | 0.0011026 | 0.00027635 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5281-2_2_2_load_29 | 5 | 0.0014428 | 0.0003616 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5281-2_2_2_load_47 | 7 | 0.0010466 | 0.0002623 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5281-2_2_2_load_43 | 8 | 0.00064482 | 0.00016161 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5281-2_2_2_load_31 | 9 | 0.0007083 | 0.00017752 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5281-2_2_2_load_32 | 10 | 0.00049549 | 0.00012418 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5281-2_2_2_load_33 | 11 | 0.00082261 | 0.00020616 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5281-2_2_2_load_34 | 12 | 0.00050422 | 0.00012637 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5281-2_2_2_load_36 | 14 | 0.00046727 | 0.00011711 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5281-2_2_2_load_38 | 15 | 0.00047835 | 0.00011989 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5281-2_2_2_load_53 | 17 | 0.00043054 | 0.0001079 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5281-2_2_2_load_39 | 18 | 0.00070912 | 0.00017772 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5281-2_2_2_load_40 | 19 | 0.001528 | 0.00038295 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5281-2_2_2_load_41 | 20 | 0.0017554 | 0.00043996 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5281-2_2_2_load_42 | 21 | 0.00043657 | 0.00010941 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5281-2_2_2_load_52 | 22 | 0.00087347 | 0.00021891 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5281-2_2_2_load_44 | 23 | 0.00043574 | 0.00010921 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5281-2_2_2_load_50 | 24 | 0.0010257 | 0.00025707 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5281-2_2_2_load_48 | 25 | 0.00060205 | 0.00015089 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5281-2_2_2_load_49 | 26 | 0.0011704 | 0.00029333 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5281-2_2_2_load_51 | 27 | 0.00072698 | 0.0001822 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5281-2_2_2_load_57 | 28 | 0.00040676 | 0.00010194 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5281-2_2_2_load_56 | 29 | 0.00049889 | 0.00012503 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5281-2_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.040547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5281-2_2_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.71615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5281-2_2_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5281-2_2_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.06083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5281-2_2_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.07481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5281-2_2_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.059429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5281-2_2_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.05236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5281-2_2_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.23852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5281-2_2_2_line_8 | NAYY 4x150 SE | 7 | 24 | 0.016242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5281-2_2_2_line_9 | NAYY 4x150 SE | 8 | 23 | 0.0026816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5281-2_2_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.00030492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5281-2_2_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.053923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5281-2_2_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.30291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5281-2_2_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.056773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5281-2_2_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0055138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5281-2_2_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.25878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5281-2_2_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.32145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5281-2_2_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.0011935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5281-2_2_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.050828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5281-2_2_2_line_19 | NAYY 4x150 SE | 17 | 28 | 0.083022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5281-2_2_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.1248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5281-2_2_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.0077461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5281-2_2_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.12624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5281-2_2_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.1771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5281-2_2_2_line_24 | NAYY 4x150 SE | 22 | 27 | 0.025501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5281-2_2_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.083388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5281-2_2_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.37617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5281-2_2_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.29699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5281-2_2_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.08515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5281-2_2_2_trafo_48 | 0.25 MVA 20/0.4 kV | 30 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45
0 | 2719606.1339 | 1135157.4036 | 2719593.5982 | 1135149.2458 | 2719568.0975 | 1135147.1062
1 | 2720261.1533 | 1134970.6689 | 2720254.9896 | 1134972.7883 | 2720233.8362 | 1134981.9513 | 2720222.1101 | 1134985.487 | 2720209.6855 | 1134995.113 | 2720198.4979 | 1135000.9944 | 2720179.242 | 1135002.6347 | 2720163.0698 | 1135009.8623 | 2720149.8449 | 1135015.9924 | 2720143.6066 | 1135020.7605 | 2720133.2446 | 1135029.2602 | 2720126.4051 | 1135036.3846 | 2720111.9067 | 1135047.7151 | 2720099.996 | 1135060.5426 | 2720095.7501 | 1135068.875 | 2720087.6851 | 1135079.1773 | 2720078.5238 | 1135085.3772 | 2720060.4799 | 1135099.2502 | 2720046.3608 | 1135106.23 | 2720027.2977 | 1135112.5221 | 2720014.1078 | 1135116.9075 | 2720001.4875 | 1135121.3043 | 2719990.2369 | 1135130.3759 | 2719973.5363 | 1135135.5588 | 2719955.9736 | 1135139.5683 | 2719930.4907 | 1135146.6116 | 2719895.3678 | 1135154.909 | 2719881.2952 | 1135159.5662 | 2719869.3423 | 1135160.2072 | 2719853.8999 | 1135160.1897 | 2719836.4373 | 1135159.554 | 2719818.3727 | 1135159.7736 | 2719804.0576 | 1135161.5242 | 2719782.2184 | 1135161.0908 | 2719762.453 | 1135158.9531 | 2719750.5406 | 1135157.5604 | 2719733.0245 | 1135159.2366 | 2719720.1197 | 1135163.6283 | 2719706.6206 | 1135168.8754 | 2719689.4024 | 1135170.2797 | 2719681.2531 | 1135170.1181 | 2719667.8845 | 1135168.3965 | 2719657.6614 | 1135169.9395 | 2719633.5455 | 1135170.5735 | 2719613.1234 | 1135161.9521 | 2719606.1339 | 1135157.4036
2 | 2719558.187 | 1135161.1874 | 2719568.0975 | 1135147.1062 | 2719568.0975 | 1135147.1062
3 | 2720318.3414 | 1134949.9881 | 2720305.7598 | 1134954.3421 | 2720289.314 | 1134960.9858 | 2720261.1533 | 1134970.6689
4 | 2719558.187 | 1135161.1874 | 2719556.6751 | 1135163.3356 | 2719550.0995 | 1135182.0627 | 2719547.9649 | 1135206.6594 | 2719533.4466 | 1135230.1867
5 | 2720327.9315 | 1134894.0981 | 2720327.7811 | 1134901.6447 | 2720327.0458 | 1134909.1797 | 2720324.7654 | 1134921.6205 | 2720324.0128 | 1134930.0224 | 2720326.1249 | 1134941.0942 | 2720319.2484 | 1134949.6742 | 2720318.3414 | 1134949.9881
6 | 2719526.7569 | 1135279.3336 | 2719526.7569 | 1135279.3336 | 2719521.4158 | 1135257.88 | 2719530.9446 | 1135234.2413 | 2719533.4466 | 1135230.1867
7 | 2720327.9315 | 1134894.0981 | 2720320.9786 | 1134892.2139 | 2720310.6591 | 1134883.8805 | 2720309.1609 | 1134871.3643 | 2720306.218 | 1134857.941 | 2720303.7692 | 1134849.4754 | 2720292.9895 | 1134849.5497 | 2720280.4918 | 1134848.1332 | 2720267.0762 | 1134848.7443 | 2720256.5946 | 1134848.5355 | 2720247.5156 | 1134850.9676 | 2720234.5081 | 1134845.7718 | 2720219.3573 | 1134845.7592 | 2720206.4457 | 1134850.4388 | 2720172.3422 | 1134851.5055 | 2720138.6774 | 1134859.5414 | 2720125.1713 | 1134865.0877
8 | 2719533.4896 | 1135294.1139 | 2719526.7569 | 1135279.3336
9 | 2720122.4947 | 1134864.9238 | 2720125.1713 | 1134865.0877 | 2720125.1713 | 1134865.0877
10 | 2719110.3983 | 1135796.1107 | 2719110.3923 | 1135796.4156
11 | 2719115.1584 | 1135742.9071 | 2719110.7751 | 1135755.9517 | 2719110.5263 | 1135789.6252 | 2719110.3983 | 1135796.1107
12 | 2719110.3923 | 1135796.4156 | 2719110.0081 | 1135815.8884 | 2719111.6572 | 1135836.8573 | 2719113.004 | 1135852.0831 | 2719115.2877 | 1135861.5679 | 2719115.5334 | 1135869.7894 | 2719110.618 | 1135868.4583 | 2719106.2156 | 1135861.8003 | 2719100.0366 | 1135862.0898 | 2719103.5595 | 1135871.1876 | 2719107.0333 | 1135883.1642 | 2719107.2144 | 1135894.6645 | 2719105.0466 | 1135900.3701 | 2719102.2751 | 1135896.4906 | 2719098.8764 | 1135891.6314 | 2719096.4706 | 1135887.9481 | 2719092.0226 | 1135884.3802 | 2719087.6627 | 1135884.1496 | 2719087.2816 | 1135888.6452 | 2719091.0932 | 1135894.8134 | 2719093.9819 | 1135903.2872 | 2719093.4716 | 1135906.9129 | 2719091.1595 | 1135906.278 | 2719089.473 | 1135903.1982 | 2719087.9249 | 1135900.1212 | 2719085.1855 | 1135898.9108 | 2719083.5136 | 1135902.5025 | 2719085.5641 | 1135909.3698 | 2719085.6305 | 1135920.8345 | 2719089.8474 | 1135943.1327 | 2719089.4352 | 1135964.0277 | 2719093.1467 | 1135982.6802 | 2719097.9167 | 1135991.7693 | 2719101.1693 | 1136004.0306
13 | 2719117.8777 | 1135688.1902 | 2719115.6177 | 1135698.5638 | 2719112.7914 | 1135716.5759 | 2719109.9813 | 1135733.7654 | 2719115.1584 | 1135742.9071
14 | 2719101.1693 | 1136004.0306 | 2719101.1693 | 1136004.0306 | 2719101.0605 | 1136009.5433 | 2719101.0605 | 1136009.5433
15 | 2719117.8777 | 1135688.1902 | 2719120.6034 | 1135675.6688 | 2719126.7878 | 1135654.4431 | 2719141.6645 | 1135651.8569 | 2719156.908 | 1135651.7464 | 2719174.3191 | 1135646.3418 | 2719186.3746 | 1135640.8314 | 2719198.9678 | 1135628.7606 | 2719208.6831 | 1135616.633 | 2719217.3401 | 1135616.3926 | 2719222.0018 | 1135609.9246 | 2719225.1066 | 1135598.4893 | 2719224.5427 | 1135585.3359 | 2719237.8698 | 1135578.2052 | 2719253.4134 | 1135562.9128 | 2719264.9808 | 1135561.0843 | 2719277.3066 | 1135562.562 | 2719277.2093 | 1135567.4857 | 2719279.328 | 1135577.9124 | 2719278.3543 | 1135588.6585
16 | 2718970.2634 | 1135877.4761 | 2718971.3127 | 1135883.601 | 2718974.6515 | 1135891.5054 | 2718979.2209 | 1135895.9429 | 2718987.0157 | 1135899.5878 | 2718999.1448 | 1135904.7636 | 2719006.6417 | 1135908.6806 | 2719013.8346 | 1135913.1809 | 2719019.9808 | 1135926.6556 | 2719018.5481 | 1135939.9808 | 2719020.7537 | 1135946.4064 | 2719029.6072 | 1135955.298 | 2719037.796 | 1135968.2348 | 2719036.9671 | 1135980.9938 | 2719038.5936 | 1135987.1189 | 2719043.9712 | 1135995.0636 | 2719054.8408 | 1136005.1514 | 2719065.4638 | 1136012.9105 | 2719070.8243 | 1136021.7221 | 2719072.1066 | 1136030.4644 | 2719076.3778 | 1136035.1852 | 2719076.7732 | 1136029.9672 | 2719076.3391 | 1136022.7093 | 2719077.9023 | 1136017.2141 | 2719081.0342 | 1136020.7672 | 2719083.2625 | 1136026.0369 | 2719089.8363 | 1136032.2596 | 2719092.397 | 1136035.5012 | 2719095.076 | 1136032.363 | 2719094.9038 | 1136026.2666 | 2719091.3244 | 1136015.7444 | 2719083.9844 | 1136004.2697 | 2719081.24 | 1135995.5097 | 2719082.7457 | 1135992.9265 | 2719086.5199 | 1135993.5791 | 2719089.3557 | 1135997.7045 | 2719092.7287 | 1136003.8641 | 2719095.8208 | 1136009.4399 | 2719101.0605 | 1136009.5433
17 | 2719278.3543 | 1135588.6585 | 2719278.2466 | 1135589.8472
18 | 2718970.2634 | 1135877.4761 | 2718966.575 | 1135872.4668 | 2718961.96 | 1135870.3411 | 2718956.921 | 1135874.8894 | 2718955.5455 | 1135885.3138 | 2718955.3454 | 1135895.4723 | 2718950.5757 | 1135901.1934 | 2718950.4848 | 1135905.8072
19 | 2718950.4848 | 1135905.8072 | 2718950.4099 | 1135909.6069 | 2718953.9783 | 1135920.7069 | 2718947.9592 | 1135930.4617 | 2718942.4042 | 1135931.5086 | 2718937.9079 | 1135937.8132 | 2718932.9949 | 1135935.9708 | 2718926.9371 | 1135933.2385 | 2718920.2353 | 1135933.1065 | 2718920.1037 | 1135939.7862 | 2718916.5306 | 1135943.7741 | 2718909.5442 | 1135943.6365 | 2718904.5738 | 1135944.706
20 | 2719295.5243 | 1135656.0589 | 2719290.782 | 1135651.9333 | 2719282.5325 | 1135652.593 | 2719275.4087 | 1135658.612 | 2719270.852 | 1135660.1564 | 2719265.2266 | 1135653.0627 | 2719262.5194 | 1135643.9809 | 2719252.68 | 1135641.7296 | 2719248.6444 | 1135637.5471 | 2719254.9047 | 1135633.1566 | 2719263.1944 | 1135630.852 | 2719266.5932 | 1135625.5822 | 2719268.8828 | 1135613.7193 | 2719269.5173 | 1135602.6466 | 2719277.9694 | 1135592.9068 | 2719278.2466 | 1135589.8472
21 | 2719295.5243 | 1135656.0589 | 2719301.3685 | 1135661.1431
22 | 2719301.3685 | 1135661.1431 | 2719303.3366 | 1135662.8553 | 2719316.2985 | 1135674.1968 | 2719322.7715 | 1135680.0731 | 2719324.3186 | 1135664.5042 | 2719335.2187 | 1135675.3936 | 2719339.4588 | 1135690.2541 | 2719341.5636 | 1135708.7749 | 2719346.9942 | 1135725.716 | 2719350.5243 | 1135734.8252 | 2719354.2981 | 1135731.6087
23 | 2719430.0217 | 1135600.002 | 2719429.8038 | 1135600.4787 | 2719429.708 | 1135625.9385 | 2719428.4625 | 1135647.2617 | 2719417.1489 | 1135656.889 | 2719409.1935 | 1135663.3028 | 2719394.3899 | 1135662.1872 | 2719381.7883 | 1135674.6688 | 2719368.5263 | 1135678.5093 | 2719367.4918 | 1135689.1739 | 2719356.9611 | 1135700.8738 | 2719353.8561 | 1135712.3091 | 2719356.5798 | 1135720.1571 | 2719354.2981 | 1135731.6087 | 2719354.2981 | 1135731.6087
24 | 2719434.0728 | 1135575.7353 | 2719435.3796 | 1135588.2806 | 2719430.0217 | 1135600.002
25 | 2719553.296 | 1135374.7264 | 2719549.9541 | 1135356.167 | 2719545.5752 | 1135327.3386 | 2719535.4402 | 1135298.3961 | 2719533.4896 | 1135294.1139
26 | 2719553.296 | 1135374.7264 | 2719556.6328 | 1135393.2578 | 2719556.448 | 1135444.1776 | 2719556.7186 | 1135472.102 | 2719560.4451 | 1135491.8892 | 2719567.2699 | 1135521.5889 | 2719571.7058 | 1135547.1385 | 2719577.9751 | 1135563.685 | 2719576.6152 | 1135590.7542 | 2719577.9528 | 1135606.3913 | 2719569.0837 | 1135596.3534 | 2719551.5556 | 1135566.4417 | 2719535.4224 | 1135548.8771 | 2719522.6877 | 1135526.4544 | 2719511.592 | 1135504.0641 | 2719504.5233 | 1135486.6679
27 | 2719504.5233 | 1135486.6679 | 2719504.5233 | 1135486.6679 | 2719500.0814 | 1135503.0134 | 2719504.7128 | 1135518.7046 | 2719509.5745 | 1135534.4226 | 2719503.9246 | 1135534.7999 | 2719495.7701 | 1135512.3678 | 2719488.5201 | 1135495.9688 | 2719482.3687 | 1135482.7826 | 2719478.7285 | 1135475.7392 | 2719470.1422 | 1135467.7306 | 2719463.4879 | 1135465.5642 | 2719458.7062 | 1135471.8516 | 2719463.7854 | 1135480.091 | 2719469.163 | 1135488.0361 | 2719475.9234 | 1135512.0639 | 2719464.7457 | 1135505.0826 | 2719448.5158 | 1135504.4501 | 2719442.0255 | 1135508.7802 | 2719434.9602 | 1135519.2143 | 2719433.483 | 1135535.9075 | 2719433.8918 | 1135573.9971 | 2719434.0728 | 1135575.7353
28 | 2718899.7085 | 1136014.2907 | 2718899.7085 | 1136014.2907 | 2718900.1248 | 1136007.6166 | 2718898.7564 | 1136003.2312 | 2718896.5928 | 1135995.0608 | 2718902.4381 | 1135993.7305 | 2718909.4608 | 1135992.4123 | 2718903.802 | 1135983.8841 | 2718898.1091 | 1135977.0896 | 2718899.9756 | 1135971.0334 | 2718901.3148 | 1135962.0536 | 2718902.4091 | 1135951.0455 | 2718904.5738 | 1135944.706 | 2718904.5738 | 1135944.706

## bus_geodata
| x | y | coords
0 | 2719606.1339 | 1135157.4036
1 | 2719568.0975 | 1135147.1062
2 | 2720261.1533 | 1134970.6689
3 | 2719558.187 | 1135161.1874
4 | 2720318.3414 | 1134949.9881
5 | 2719533.4466 | 1135230.1867
6 | 2720327.9315 | 1134894.0981
7 | 2719526.7569 | 1135279.3336
8 | 2720125.1713 | 1134865.0877
9 | 2719110.3983 | 1135796.1107
10 | 2719110.3923 | 1135796.4156
11 | 2719115.1584 | 1135742.9071
12 | 2719101.1693 | 1136004.0306
13 | 2719117.8777 | 1135688.1902
14 | 2719101.0605 | 1136009.5433
15 | 2719278.3543 | 1135588.6585
16 | 2718970.2634 | 1135877.4761
17 | 2718950.4848 | 1135905.8072
18 | 2719278.2466 | 1135589.8472
19 | 2719295.5243 | 1135656.0589
20 | 2719301.3685 | 1135661.1431
21 | 2719354.2981 | 1135731.6087
22 | 2719430.0217 | 1135600.002
23 | 2720122.4947 | 1134864.9238
24 | 2719533.4896 | 1135294.1139
25 | 2719553.296 | 1135374.7264
26 | 2719504.5233 | 1135486.6679
27 | 2719434.0728 | 1135575.7353
28 | 2718904.5738 | 1135944.706
29 | 2718899.7085 | 1136014.2907
30 | 2719553.296 | 1135374.7264

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1